Contract No: HS 04-2025/26 THE CONSTRUCTION OF A 30ML RESERVOIR AND THE COMPLETION OF A BULK WATER FEEDER LINE,

WATER RETICULATION AND SEWER RETICULATION IN BOOYSENS EXTENSION 4 FOR A PERIOD OF 36 MONTHS

Date: 11 FEBRUARY 2026

CITY OF TSHWANE: HUMAN SETLEMENT

DEPARTMENT

TENDER NO: HS 04-2025.26

The tender for the construction of a 30ML reservoir and the completion of a bulk water feeder line, water reticulation and sewer reticulation in Booysens extension 4 for a period of 36 months.

ADDENDUM 1 TO TENDER

- THIS ADDENDUM SHALL FORM PART OF THE CONTRACT

Tenderers are required to attach this addendum to the tender document when submitting their bid.

- ALTERATIONS TO TENDER DOCUMENTS

The following changes, additions, amendments and/or omissions to the paragraphs below must be incorporated:

# 2.1:        PART C2.2: (COST OF TENDERING)

The Bill of quantities that are loaded on the Tender No. HS 04-2025-26 has been amended:

Bidders are requested to replace the BOQ page (Part C2: Page C. 2. 2. 18) with amended BOQ page (Part C2: Page C .2 2.18) when submitting their Bid documents.

# CITY OF TSHWANE:

# TENDER NO: HS 04-2025-26

# PAGES TO BE REMOVED

| SPECIFICAT ION REFERS | ITEM | DESCRIPTION | UNIT | Q'TY | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| SERIES 8 | 1.1 | SPECIFIC WORKS |  |  |  |  |
| B810 |  | BULK STEEL PIPELINE REMEDIAL WORK |  |  |  |  |
| B810.01 | 1.1.6 | Pigging services. (Cleaning, Inspection, Gauging and Batching for 1100mm, 1000mm, 900mm, 800mm and 700mm pipe) | Prov Sum | 1,00 | R1 280 000,00 | R1 280 000,00 |
| B810.02 | 1.1.7 | Cleaning of all foreign materials inside partially installed Steel Pipes by previous contractor, |  |  |  |  |
| B810.02.01 | 1.1.8 | 1 100mm NB | m | 10,00 |  |  |
| B810.02.02 | 1.1.9 | 1 000mm NB | m | 10,00 |  |  |
| B810.02.03 | 1.1.10 | 900mm NB | m | 10,00 |  |  |
| B810.02.04 | 1.1.11 | 800mm NB | m | 10,00 |  |  |
| B810.03 | 1.1.17 | Testing of internal pipe lining and external coating of partially installed Steel Pipes by previous contractor, | Lump Sum | 1,00 |  |  |
| B810.04 | 1.1.18 | X-ray scanning of partially installed steel pipe joints by previous contractor |  |  |  |  |
| B810.04.01 | 1.1.19 | 1100mm steel | No. | 30,00 |  |  |
| B810.04.02 | 1.1.20 | 1000mm steel | No. | 35,00 |  |  |
| B810.04.03 | 1.1.21 | 900mm steel | No. | 20,00 |  |  |
| B810.04.04 | 1.1.22 | 800mm steel | No. | 45,00 |  |  |
| B810.05 | 1.1.23 | lidar Camera Inspection of Existing steel pipe irrespective of pipe diameter | PC sum | 1,00 |  |  |
| B810.06 | 1.1.24 | Service detection along pipe route including detection of existing bulk water pipe | m | 4831,00 |  |  |
| B810.07 | 1.1.25 | Repair of all pipe defects of partial installed Steel Pipes by previous contractor, | PC sum | 1,00 |  |  |
| TOTAL SECTION 001: BULK WATER REMEDIAL |  |  |  |  |  |  |

# CITY OF TSHWANE:

# TENDER NO: HS 04-2025-26

# PAGES TO BE ADDED

| SPECIFICAT ION REFERS | ITEM | DESCRIPTION | UNIT | Q'TY | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| SERIES 8 | 1.1 | SPECIFIC WORKS |  |  |  |  |
| B810 |  | BULK STEEL PIPELINE REMEDIAL WORK |  |  |  |  |
| B810.01 | 1.1.6 | Pigging services. (Cleaning, Inspection, Gauging and Batching for 1100mm, 1000mm, 900mm, 800mm and 700mm pipe) | Prov Sum | 1,00 | R1 280 000,00 | R1 280 000,00 |
| B810.02 | 1.1.7 | Cleaning of all foreign materials inside partially installed Steel Pipes by previous contractor, |  |  |  |  |
| B810.02.01 | 1.1.8 | 1 100mm NB | m | 10,00 |  |  |
| B810.02.02 | 1.1.9 | 1 000mm NB | m | 10,00 |  |  |
| B810.02.03 | 1.1.10 | 900mm NB | m | 10,00 |  |  |
| B810.02.04 | 1.1.11 | 800mm NB | m | 10,00 |  |  |
| B810.03 | 1.1.17 | Testing of internal pipe lining and external coating of partially installed Steel Pipes by previous contractor, | Lump Sum | 1,00 |  |  |
| B810.04 | 1.1.18 | X-ray scanning of partially installed steel pipe joints by previous contractor |  |  |  |  |
| B810.04.01 | 1.1.19 | 1100mm steel | No. | 30,00 |  |  |
| B810.04.02 | 1.1.20 | 1000mm steel | No. | 35,00 |  |  |
| B810.04.03 | 1.1.21 | 900mm steel | No. | 20,00 |  |  |
| B810.04.04 | 1.1.22 | 800mm steel | No. | 45,00 |  |  |
| B810.05 | 1.1.23 | lidar Camera Inspection of Existing steel pipe irrespective of pipe diameter | Prov sum | 1,00 | R100 000,00 | R100 000,00 |
| B810.06 | 1.1.24 | Service detection along pipe route including detection of existing bulk water pipe | m | 4831,00 |  |  |
| B810.07 | 1.1.25 | Repair of all pipe defects of partial installed Steel Pipes by previous contractor, | Prov sum | 1,00 | R300 000,00 | R300 000,00 |
| TOTAL SECTION 001: BULK WATER REMEDIAL |  |  |  |  |  |  |

# CONFIRMATION OF RECEIPT OF ADDENDUM NO: 1

For any further enquiries, please contact the following officials:

- Supply Chain enquiries: Ms. Maureen Radingoana (012 358 6153 or Maureenr@tshwane.gov.za)

- Technical enquiries:  Ms. Semakaleng Dlavani (012 358 5775 or SemakalengD@tshwane.gov.za)

# END OF ADDENDUM 1