Specification for Precision balance minimum capacity: 500 g

  - Specs: readability: 0.01g; accuracy: ± 0.1%; minimum capacity: 500 g