MAT00458 - Provision of Maintenance and Repairs of Milling Plant at Matimba Power Station

- Question/Comment

The Price List C2.2 and Clause 4.3.5 Plant & Materials provided “free issue” by the Employer of the Employers Service Information contradicts each other.

  - Clause 4.3.5 states that: All materials, e.g components, spare parts, cleaning materials and steel will be provided by the Employer to carry out the service. The Contractor will collect the materials at the issuing store on site and inspect if fit for use and ensure the correct quantity is received. Care and control will be taken of material while in the possession of the Contractor and unused material will be handed over to the Employer. Temporary storage of material will be in a safe and secure place during work in progress. Please advise why should we then quote for the Stock and Non-stock items as per the C2.2 the price list.

  - If we have to price in accordance with C2.2 the price list , then more details and or drawings will be required in order to obtain quotations from suppliers.

Response

  - It is correct that Eskom will supply material, etc. as per clause indicated on as and when required basis.

The items (stock and non- stock) that are listed on the contract for pricing are of a critical nature and will only be required on an urgent basis from the contractor as determined by the employer.

Find attached more information (drawings and specs) regarding the items [drawings and specs uploaded on addendum folder]

- Question/Comment

  - Attached are a spreadsheet from the price list for the above-mentioned tender where we need additional information or drawing

Response

  - drawings and specs uploaded on addendum folder

- Question/Comment

Please clarify the Price List as per our understanding this prices for the Scope plus the people which becomes difficult to comply to the NEC Regulation

  - The Scoping per head versus the Scoping per activity which we believe it should either or.

  - How do we cater for standby, Call out Stay-ons if it is per activity

  - What has happened to the previous billing regime

Response

  - The contract is rates based for the core crew and activity based on an “as and when required basis” which may then require additional personnel

- Question/Comment

We have noticed that the following Annexures have not been provided. Will these annexures be forming part of the submission?

  - Annexure F2 - Local content Declaration-Summary Schedule (annex C)

  - Annexure F3 - Imports Declaration-Supporting schedule to Annex C(annex D)

  - Annexure F4 - Local Content Declaration-Supporting Schedule to Annex C (annex E)

Response

  - Annexures that should form part of the submission are stipulated in the invitation-to-tender document and have been provided therein?

- Question/Comment

  - With regards to the attached Annexure G, Please kindly furnish us with the details of the technical representative for the above mentioned project. We have also prefilled the client’s information, under part A. If the client can kindly verify is that section is in order.

Response

  - Technical representative details may be left blank for tender submission purposes. All queries, technical or otherwise must be addressed to Pumelele Vapi

- Question/Comment

  - Section 1 of technical evaluation criteria, what proof is required to be declared competent.

Response

  - By providing proof of previous contracts for tube mills as stated in the technical evaluation criteria.

- Question/Comment

  - Section A of price list, do you include running maintenance cost and cost of things like LDVs in this point 11 or is it only site establishment and de-establishment?

Response

  - The establishment and de-establishment is for coming to site and leaving site. For other costs of running, the site should be catered for in your overheads.

- Question/Comment

  - Is there a site walk scheduled?

Response

  - No

- Question/Comment

  - Section 3 of technical evaluation criteria, do we need to give timeframes for all activities in method statement?

Response

  - Give high-level time frames for activities sited