## Finance and Procurement Department

Supply Chain Management

# Request for Bid (RFB)

### APPOINTMENT OF SERVICE PROVIDERS FOR SUPPLY, INSTALLATION OF SMART ELECTRICITY METERS, METER RELATED MATERIALS AND MANAGEMENT OF THE SYSTEM FOR SMALL ENTERPRISE FINANCE AGENCY (sefa)/ KHULA BUSINESS PREMISES (PTY) LTD (KBP) ON A NEED BASIS FOR A PERIOD OF THREE (3) YEARS FROM DATE OF APPOINTMENT

Bid Information

| Bid Number | 02/KBP/2022/23 |
| --- | --- |
| Bid Proposal Submission Date | 15 December 2022 |
| Bid Validity Period from Date of Publication | 120 days |
| Bid Non-Compulsory Briefing Session | 06 December 2022 |
| Address for Compulsory Briefing Session | Microsoft Teams: https://teams.microsoft.com/l/meetup-join/19:meeting_NTY0ODUxY2YtYzU4OS00MTI5LWJiYmItZjNmODkwYzEzMWU0@thread.v2/0?context=%7B%22Tid%22:%226187a86c-22f3-4f3b-9fd9-6a7438e5f7ce%22,%22Oid%22:%22a4795552-61c4-4802-8601-98871a439d7a%22%7D |
| Bid Contact Person | Tamsanqa Mgudlwa on (012) 747-2540 tamsanqam@sefa.org.za/procurement@sefa.org.za Tebogo Seima on (012) 748 9685 tebogos@sefa.org.za/procurement@sefa.org.za |
| Evaluation Method: Points System | 80/20 |
| Deadline for Responding to Clarifications for this bid | 9 December 2022 |
| Fraud Hotline to report any wrongful or criminal deception or coercion intended to result in financial or personal gain by any sefa employee or person involved in this bidding process | 0800 000 663 (For anonymous reporting) |
| Internal Use Only: File Ref No | 7/2/2/1 |

APPOINTMENT OF SERVICE PROVIDERS FOR THE SUPPLY, INSTALLATION AND MANAGEMENT OF SMART ELECTRICITY METERS, METER RELATED MATERIALS AND METER READING DATA FOR SMALL ENTERPRISE FINANCE AGENCY (sefa)/ KHULA BUSINESS PREMISES (PTY) LTD (KBP) ON A NEED BASIS FOR A PERIOD OF THREE (3) YEARS FROM DATE OF APPOINTMENT.

### Introduction and Background

  - Following a Cabinet decision and the State of the Nation address of 2011, the Small Enterprise Finance Agency (SOC) Limited (sefa), was established on 01 April 2012 in terms of section 3 (d) of the Industrial Development Corporation Act, No. 22 of 1940 (IDC Act). sefa is a wholly owned subsidiary of the Industrial Development Corporation (IDC) and brings together the activities of the three previous structures (Khula, samaf and the IDC small business activities).

  - sefa operates as a Development Finance Institution (DFI) to foster the establishment, development, and growth of Small, Micro and Medium Enterprises (SMMEs) and contributes towards poverty alleviation, job creation and economic growth. sefa provides products and services to qualifying SMMEs as defined in the National Small Business Act of 1996, as amended in 2004, through a hybrid of wholesale and direct lending channels.

### Purpose

  - Khula Business Premises (Pty) Ltd (KBP) a wholly owned subsidiary of the Small Enterprise Finance Agency (sefa) seeks to appoint a panel of service providers who are registered with relevant authorities to be listed on the panel provide general building maintenance services at its properties.

  - The service providers shall comply with all relevant government legislation as well as comply with sefa’s terms and conditions.

  - sefa requests proposals from reputable, competent, and experienced companies in Gauteng (Johannesburg, Pretoria, Ekurhuleni, and Vereeniging), Gqeberha, Bloemfontein, Kimberley, Upington, and Cape Town.

  - sefa will consider bids documents/tenders from entities or companies who are based in any/or all the cities listed above.

  - Bids must be submitted in a sealed envelope and marked as follows:

##### ATTENTION: sefa SUPPLY CHAIN MANAGEMENT

Description of the     Bid Number

Name of the Bidder

  - General RFB requirements

    - Bid documents must be initialled on every page.

    - Number of sealed envelopes/files must compose of one (1) ORIGINAL and one (1) electronic PDF copy of the original bid proposal document on a CD or flash drive.

    - Submissions of the Bid responses MUST be made by depositing the Bid proposal into the Tender Box situated at sefa Head Office at the physical address below on or before the closing date as stated on page 1 of this Request for Information document under Bid Information.

    - The bidder will bear all expenses associated with the preparation and submission of this Bid.

  - sefa Physical Address

11 Byls Bridge Boulevard, Doringkloof, Centurion, 0157

For more information, please visit the sefa website: www.sefa.org.za

##### RFB RESPONSES

  - RFB Format

  - Bidders shall submit their bid response in accordance with the requirements as outlined in the Bid Response Template provided in Appendix 1.

  - Each section must be clearly marked and the documents must be bound.

##### General Conditions of Contract

  - Completion of all Standard Bidding Documents (SBD by hand, attached in Annexures A, and adhering to all other requirements as outlined on each form. The following SBD and other forms must be duly completed and signed, and returned as part of the Bid Proposal:

    - SBD 1: Invitation to Bid.

    - SBD 4: Bidders Disclosure.

    - SBD 6.1: Preference Points Claim Form.

    - Original and valid Tax Clearance Certificate(s) (TCC) or PIN issued by SARS.

    - In bids where Consortium; Joint Ventures and Sub-Contractors are involved, it is required that each party must submit separate proof of Tax Clearance Certificate(s) or PIN issued by SARS

    - Submission of a certified copy of a valid B-BBEE certificate issued through a SANAS Accredited Agency, with the exception of Exempted Micro Enterprises (EMEs) and Qualifying Small Enterprises (QSEs). These enterprises need to submit B-BBEE sworn affidavits as per the requirements of the Department of Trade and Industry (DTI) for qualifying enterprises except those who fall under the Construction Sector Charter Council (CSCC). Other sworn affidavits will not be accepted. The DTI and CSCC affidavit templates are available under Annexure C.

    - National Treasury Central Supplier Database (CSD) registration (attached proof of registration).

    - Submission of bidder’s Companies & Intellectual Property Commission (CIPC) registration documents, listing all Directors or Shareholders and certified copies of the Identify Documents (ID) of Directors or Shareholders.

  - The successful bidder and its staff shall comply with all the laws of the Republic of South Africa and as it relates to this bid.

  - The bidder’s staff must be South African citizens and sefa reserves the right to validate citizenship.

##### Price Proposal

    - Bidders are required to complete and sign their pricing proposals.

    - NB: Failure to complete and submit a pricing proposal, will lead to disqualification of the bid.

##### Late Bids

Bids submitted at the stated bid address, after the closing date & time, shall not be considered under any circumstances. Please note that sefa is situated inside a secure office park complex and entrance requires registration at the gate before access will be granted.

##### Counter Conditions

Bidder’s attention is drawn to the fact that amendments to any of the bid conditions or setting of counter conditions by the bidder shall render the bid invalid.

##### Bid Distribution

  - The distribution of this RFB outside the Republic of South Africa may be restricted or prohibited by the laws of other countries. Recipients of this RFB are advised to familiarise themselves with and comply with all such restrictions or prohibitions applicable in those jurisdictions, and neither sefa, nor any of their respective directors, officers, employees, agents, representatives, or advisors, accepts liability to any person or company for any damages arising out of or in connection with the breach of any restriction or provision outside the Republic of South Africa. Persons contemplating submitting a Bid are advised to obtain legal advice as to the possible consequences thereof in terms of the law of the jurisdictions in which they are located.

  - Recipients of this RFB document may only distributed it to other parties whom they wish to involve as part of their bidder consortium in submitting a bid.

##### PRESENTATIONS

sefa reserves the right to require that any bidder provides a formal presentation of its bid proposal, at a date and time to be determined by sefa. All instructions and clarification regarding the purpose and scope of the presentation/demonstration shall be provided by sefa. The bidder shall bear all expenses associated with the preparation of such presentations/demonstrations.

##### EVALUATION PROCESS

- Bids shall be evaluated in terms of the process outlined below.

##### Stage 1: Initial Screening Process & Pre-Target Requirements

During this stage, bid responses will be reviewed for purposes of assessing compliance with the RFB requirements including the General Conditions of Contract as outlined in this RFB, stated Special Conditions of Contract; and pre-target requirements.

##### Stage 2: Evaluation of Proposal on Applicable Points System

Only bidders who scored 60 points or more out of a 100 on the functional evaluation will be evaluated during stage 3 on price and preference. In terms of Preferential Procurement Regulations pertaining to the Preferential Procurement Policy Framework Act, 2000 (Act 5 of 2000) and the amended regulations, responsive bids will be adjudicated by the State on the applicable point system.

In terms of 80/20 points system, points are awarded to bidders on the basis of:

##### The bid price (maximum 80 points)

Following formula will be used to calculate the points for price:

Where

Ps = Points scored for comparative price of bid under consideration Pt = Comparative price of bid under consideration

Pmin = Comparative price of lowest acceptable bid

| B-BBEE Status Level of Contributor | Number of Points |
| --- | --- |
| 1 | 20 |
| 2 | 18 |
| 3 | 14 |
| 4 | 12 |
| 5 | 8 |
| 6 | 6 |
| 7 | 4 |
| 8 | 2 |
| Non-compliant contributor | 0 |

  - The points scored by a bidder in respect of the level of B-BBEE contribution will be added to the points scored for price.

  - Only bidders who have completed and signed the declaration part of the preference claim form and who have submitted a B-BBEE status level certificate issued by a SANAS accredited verification agency will be considered for preference points. See requirements as outlined under item 3.4.

  - sefa may, before a bid is adjudicated or at any time, require a bidder to substantiate claims it has made with regard to preference.

  - The points scored will be rounded off to the nearest 2 decimals.

  - In the event that two or more bids have scored equal total points, the contract will be awarded to the bidder scoring the highest number of preference points for B-BBEE.

  - However, when functionality is part of the evaluation process and two or more bidders have scored equal points including equal preference points for B-BBEE, the contract will be awarded to the bidder scoring the highest for functionality.

  - Should two or more bids be equal in all respects, the award shall be decided by the drawing of lots.

  - A contract may, on reasonable and justifiable grounds, be awarded to a bid that did not score the highest number of points.

  - sefa reserves the right to enter into negotiations with the preferred bidder.

##### POST AWARD CONDITIONS

  - Services will be rendered during working hours from Mondays to Sundays, unless otherwise stated in the Scope of Work / Terms of Reference.

  - Equipment and/or productivity tools brought onto or used on site must comply with the Occupational Health & Safety Act and any regulations promulgated in terms of this Act.

  - The bidder shall be liable for insuring his/her staff members against any injury or death.

  - The successful bidder shall submit a monthly statement of all outstanding payments, credit notes issued, and payments made. Such statements shall also contain the order number, the details of the date of the transaction, the invoice number, remittance number and credit note details.

  - sefa shall not be held responsible in any way for any damages, losses, theft of equipment or any valuables of the successful bidder or injury of his/her employees whilst on site or in the execution of their duties.

  - All procurement related to this service, as outlined in this RFB, shall be conducted by sefa’s Supply Chain Management department only.

### STAFF REQUIREMENTS

  - Where applicable for this specific contract, the successful bidder must ensure    that:

    - Staff working under this contract are in good health and will adhere to sefa’s COVID-19 regulations

    - Staff are adequately trained prior to commencement of the contract.

    - Replacement staff is available should the need arise. The bidder is obligated to inform sefa of any removal and replacement of staff, which can only be done with the formal approval of sefa.

    - Staff members are dressed appropriately and where required, staff uniforms must be in good condition.

    - Staff members are South African citizens and sefa reserves the right to validate citizenship.

### RESOURCE REQUIREMENTS

- Ensure that personnel working under this contract are in good health;

- That they are adequately trained prior to commencement of the contract;

- Ensure that replacement staff is available should the need arise and inform sefa of any removal and replacement;

- Comprehensive CV of proposed professional staff;

- Personnel must be SA citizens and sefa reserves the right to validate citizenship.

### Service Level Agreement

  - The successful bidder will be required to enter into a Service Level Agreement with sefa.

A performance measurement processes will form an integral part of the Service Level Agreement, to be signed after the successful bidder has been appointed.

### Supplier Due Diligence

  - sefa shall be always entitled to conduct bidder due diligence for short listed bidders prior to final award or at any time during the contract period. This may include site visits if applicable.

  - sefa reserves the right to request the successful bidder and its staff to undergo a security vetting and/or credit vetting processes via external services providers such as Credit Bureaus and the South African Police Services. By submitting a bid proposal, the bidder gives explicit approval for sefa to conduct such vetting requirements, if and when required.

### Bid Cancellation

In the case of the cancellation of this RFB, sefa shall endeavour to inform all bidders, through the same medium used for the communication of the RFB

### Material Changes

  - Any material change in the control and/or composition of any bidder or any core member of a bidder after submission of a Bid, shall require the prior written approval of sefa, and any failure to seek such approval from sefa shall result in sefa being entitled, in its sole discretion, to exclude the relevant bidder from any further participation in the bid process or to cancel the engagement. This shall be interpreted to include post appointment and subcontracting of work arising out of this bid to complete certain work.

  - sefa shall be the sole arbiter as to what constitutes a “material change in the control and/or composition of any bidder”, and as to what constitutes a “core member of a bidder” for purposes of such approval. Any request for such approval shall be made to sefa’s Supply Chain Management in writing and shall provide sufficient reasons and information to allow sefa to make such a decision. sefa reserves the right to accept or reject any such request for approval.

### Communication

  - sefa may communicate with bidders where clarity is sought after the closing date of the bid and prior to the award of the contract, or to extend the validity period of the bid, if necessary. Such communications will be done via the Supply Chain officials listed as the contact persons for this bid process.

  - All communication (enquiries/clarifications) relating to this bid shall take place between the bidder and the Supply Chain Management officials listed as the contact persons for this bid process. Such communication shall be done in writing only.

  - Communication between the closing date and the award of the bid, between the bidder and other sefa officials or persons acting in an advisory capacity for the State, in respect of this bid, is prohibited.

### Contact Details

  - Main Contact

Name	:	Tamsanqa Mgudlwa

Tel	:	(012) 747 2540

Email	:	tamsanqam@sefa.org.za/procurement@sefa.org.za

  - Alternative Contact

Name	:	Tebogo Seima

Tel	:	(012) 748 9685

Email	:	tebogos@sefa.org.za/procurement@sefa.org.za

NB: Communication outside this platform is strictly prohibited and should bidders be found to be in contact with any of sefa’s staff members on matters relating to this bid, such bidders shall automatically be disqualified from this bid process.

### Scope of Work / Terms of Reference

The Scope of Work / Term of Reference is attached as Annexure D.

#### Annexures

| 12 |  |
| --- | --- |
|  | Annexure A : | Standard Bidding Documents: SBD1 to 6. |
|  | Annexure B : | Affidavit Templates for EMEs and QSEs |
|  | Annexure C : | Mandatory Evaluation Criteria |
|  | Annexure D : | Functionality Evaluation Criteria |
|  | Annexure E : | Scope of Work / Terms of Reference |
|  | Appendix 1 : | Proposal Template |

Annexure A

Standard Bidding Documents: SBD1 to SBD9 Forms

| Document Name | Template |
| --- | --- |
| SBD 1 | SBD 1.pdf |
| SBD 4 | SCM-Bid documents SBD 4.p |
| SBD 6.1 - Preference | SBD 6.1 2017 Preference.pdf |
| OTHER REGULATIONS, INSTRUCTION NOTES OR GUIDELINES |  |
| National Treasury “Guide on Hourly Fee Rates for Consultants, published January 2003”. | NT GUIDE_CONSULTAN |

## Annexure B

### Sworn Affidavits for EMEs and QSEs

Department of Trade and Industry (DTI) Templates

Applicable to all sectors except Construction

Also available from the DTI: https://www.thedti.gov.za/economic_empowerment/docs/Affidavit-QSE-Gen.pdf https://www.thedti.gov.za/economic_empowerment/docs/Affidavit-EME-Gen.pdf

### Construction Sector Charter Council (CSCC)Templates

Applicable for EMEs and QSEs in the construction industry, residing under the CSCC.

Also available from the CSCC: http://www.cscconline.org.za/documents/Final%20CSC%20EME%20Affidavit%20-

%20March%202018.pdf

## Annexure C

### Mandatory Requirements

21         Mandatory Evaluation Criteria

| NO | MANDATORY REQUIREMENTS | COMPLY/NOT COMPLY |
| --- | --- | --- |
| 1) | The service provider must provide proof of membership to the respective trade or industry body e.g., Electrical Contractors Association South Africa (ECASA), Electrical Contractors Board (ECB) Standard Transfer Specification (STS). Copy of membership/ registration must be certified within the last three (3) months. |  |
| 2) | The Bidder’s presence in South Africa including support centres in location bidding for: Attach: Copy of Utility Bill, Lease agreement and title Deed outlining the physical address of the company. |  |
| 3) | Professional Electrical Engineer (ECSA) certificate. Copy must be certified within the last three (3) months. |  |

Bidder (s) failed to comply with above Mandatory requirements will be automatically disqualified and they will not be considered for further evaluation.

## Annexure D

## Functional Requirements

| No | EVALUATION CRITERIA ON FUNCTIONALITY |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Criteria | Objective |  |  | Points allocation |  | Weight |
| 1 | Reference to similar work / general experience in supply, installation, and management of prepaid metering systems and or related services within last 5 years. | To ensure that the appointed Service Provider/ company has adequate track record/experience of implementing prepaid metering system |  |  | - Point = 0 No submission of reference letters - Point = 1 Reference letters - Points =2 Reference Letters - Points =3 Reference Letters - Points = 4 Reference Letters - Points = 5 and above reference Letters |  | 40 |
| NB: (i) Reference letters must be on a client letterhead, contact numbers / email, indicating the description of the project, duration, and contract value. (ii) company profile (iii) List |  |  |  |  |  |  |  |
| 2 | Personnel Experience. CV and Certified Qualifications. Professional Electrical Engineer (ECSA) | To ensure that individuals have relevant knowledge and experience in the implementation of the Project. |  |  | 0 Point = No related experience post professional registration - Point = 1 , 1 to 2 years’ experience post professional registration. - Point = 2, 3 to 4 years’ experience post professional experience. - Points = 3, 5 to 7 years’ experience post professional experience. - Points = 8 to 10 years’ experience post professional experience. - Points = 5, 10 years’ and more experience post professional experience. |  | 30 |
| NB: CVs of personnel must be attached, accompanied by certified and verifiable and valid certificates |  |  |  |  |  |  |  |
| 3 | Relevant regional footprint | To demonstrate presence in the locations provided namely Gauteng (Johannesburg, Pretoria, Ekurhuleni, and Vereeniging), Gqeberha, Bloemfontein, Kimberley, Upington and Cape Town. |  |  | - Points = 1, footprint in 1 of the locations. - Points = 2, footprint in 2 of the stated locations. - Points = 3, footprint in 3 of the stated locations. - Points = 4, footprint in 4 of the stated locations. - Points = 5, footprint in 5 and above of the stated locations. |  | 15 |
| No | EVALUATION CRITERIA ON FUNCTIONALITY |  |  |  |  |  |  |
|  | Criteria |  | Objective | Points allocation |  |  | Weight |
| 4 | Prepaid metering management plan and methodology - Municipal expenditure management (accounts). - Reduction in municipal expenditure. - Utilities recoveries from tenants. - Municipal Account audits. - Management Reporting Utilities expenditure and recoveries reporting, nationally monthly per region, property, and municipality. |  | To ensure technical expertise and capability of the system | The bidder will be scored depending on how many of the deliverables has been addressed in their Utilities Management Plan and Methodology: 0. No submission. 1. 1 to 2 deliverables covered. 2. Three deliverables covered. 3. Four deliverables covered. 4. Five deliverables covered. 5. Comprehensive Utilities Management Plan and methodology covering all 5 and more deliverables with innovative approach in prepaid metering management provided. |  |  | 15 |
| TOTAL |  |  |  |  |  | 100 |  |

The minimum required score/threshold for functionality is 70. Bidder scoring less     than 70 will not proceed to the next stage of the evaluation on price and preference points.

### LIST OF PROPERTIES

### 22         List of properties with their physical addresses

| No: | Property Name | Physical Address | Municipality | Units |
| --- | --- | --- | --- | --- |
| 1 | Eldorado Park Industrial | 20 Industrial Crescent, Eldorado Park, Jhb | City of Joburg | 9 |  |
| 2 | Geluksdal - Brakpan | 725 Uittog Avenue Geluksdal, Brakpan | Ekurhuleni | 8 |  |
| 3 | Klipspruit West | 70 St Helena Street, Klipspruit West Klipspruit | City of Joburg | 4 |  |
| 4 | Lenasia Industrial | 38 Tugela Street, Lenasia Ext10, Lenasia | City of Joburg | 12 |  |
| 5 | Pennyville Hive | 114 New Canada Road, Pennyville, Jhb | City of Joburg | 131 |  |
| 6 | Emndeni - Soweto | Cnr. Tshangisa (16) & Masango Roads, Emndeni | City of Joburg | 11 |  |
| 7 | Sebokeng 1 | Sebenza Street, Zone 6, (Residensia) Sebokeng | Eskom | 33 |  |
| 8 | Sebokeng 2 | Erf 28 Moshoeshoe Street, Zone 10, Sebokeng | Eskom | 29 |  |
| 9 | Orlando West Industrial - Soweto | Klipvalley Drive, Orlando West, Orlando | Eskom | 81 |  |
| 10 | Vuka Tsoga - Vosloorus | Tshipi Road, Vosloorus Ext1, Vosloorus, Boksburg | Ekurhuleni | 34 |  |
| 11 | Garankuwa Industrial Park | Zone 15, South Street, Garankuwa, Pretoria | City of Tshwane | 8 |  |
| 12 | Hennospark Industrial Park | 167 Edison Crescent, Hennopspark Ext 7, Centurion | City of Tshwane | 8 |  |
| 13 | Rosslyn 20 | 6630 (7) Piet Pretorius Street, Rosslyn, Pretoria | City of Tshwane | 1 |  |
| 14 | Rosslyn 21, 22 & 23 | 6618 Piet Pretorius Street, Rosslyn, Pretoria | City of Tshwane | 3 |  |
| 15 | Atteridgeville Industrial Park 1 | 49 Malebye Street, Saulsville, Pretoria | City of Tshwane | 22 |  |
| 16 | Atteridgeville Industrial Park 2 | 23 Mammogale Street, Saulsville, Pretoria | City of Tshwane | 19 |  |
| 17 | Mamelodi Industrial Park | 19159 Tsamaya Road, Mamelodi, Pretoria | City of Tshwane | 30 |  |
| 18 | Bohlokong Shopping Centre | Cnr. Maseko & Mlangeni Street, Bohlokong, Bethlehem | Dihlabeng | 10 |  |
| 19 | Harvey Korf | 62 & 64 Harvey Road, Oranjesig Bloemfontein | Centlec | 20 |  |
| 20 | Galeshewe Shopping Centre | 157 Sediti Street, Galeshewe, Kimberley | Sol Plaatjie | 10 |  |
| 21 | Longstreet Joint Venture | 72-74 Long Street, Kimberley | Sol Plaatjie | 9 |  |
| 22 | Lentegeur SC | Merrydale Avenue, Mitchells Plein | Cape Town City | 20 |  |
| 23 | Westridge SC | Cnr. Westpoort & Simonsig Avenue | Cape Town City | 31 |  |
| 24 | Neil Hare 1 | Neil Hare Road, Atlantis Industrial | Cape Town City | 2 |  |
| 25 | Khayelitsha Village (Village 1) | Cnr. Monza & Makabeni Road | Cape Town City | 9 |  |
|  |  |  | Total | 554 |  |

23      Prepayment Electricity Vending System – (For use in light industrial and retail units)

- The successful bidder will be requested to enter into a contract for period of 36 months with KBP/ sefa, where throughout the contract period, the bidder will be requested to provide the management of the prepayment vending system. The prepaid meters for electricity must be compatible to the vending system of the relevant municipality.

- sefa/ KBP Properties are currently supplied electricity directly from Eskom and the municipality of the area in which the properties are located. The properties have conventional electrical reticulation.

- The service provider is expected to conduct technical assessments of the electrical reticulation of the properties to determine the compatibility of the smart prepaid electrical system.

- The service provider will remain the owner of the software. sefa/ KBP is not purchasing the system or software.

- The services required are for the supply, installation, and maintenance of a complete smart prepayment electricity meters and management solution, use on-line technology to vend tokens in a secure and efficient way in designated areas (service points).

- The service provider is expected to provide labour and materials.

- The smart prepaid electricity meters must have tamper proof to prevent tampering.

- The system should enable tenants to purchase electricity from various outlets nearer to the location of the property, through cellular phones, banking, and other platforms.

- The prepaid system should ideally include:

- Meter and tariff management,

- Token generation,

- Revenue collection enhancement methodologies,

- Rollout of prepaid electricity retail and banking vending points in the properties within the respective Municipality,

- Full onsite technical/ electrical auditing of the respective buildings,

- Replacement of post-paid electricity meters with prepaid electricity meters as well as replacement of faulty/ bridged prepaid electricity meters (where required),

- Project management of the installation of the meters.

- Supply and installation of prepaid electricity meters.

- The prospective service provider should over and above the afore-mentioned also:

- Act as supervisor vendor to manage all vending of the identified properties.

- Provide electricity prepayment data management

- Collect all money from vendors and pay KBP/ sefa,

- Support and maintain the system to enable the efficient and effective management of utilities,

- Impart skills transfer and train the KBP/sefa staff on all system aspects needed to facilitate efficient service delivery,

- Furnish detailed operations and maintenance manual for each of the supplied goods/products.

24         Reports

  - Annual reports

  - Total Revenue Collection per year

25        Monthly Report:

- Total Revenue collection receipted per date and counter display unit (CDU),

- Total Revenue collection summary per date period,

- Consumer by property and tenant code or meter number,

26        Adhoc Reports:

- Tenant’s vending report

- Consumption per property

- Purchase history pattern

27         Automated Metering Technical Services

The service provider is expected to provide SEFA/ KBP with the following technical services and support:

- To supply, install/replace and commission Single-Phase Electricity Credit Smart Meters (remote readable meters) when requested.

- To supply, install/replace and commission Three Phase Electricity Credit Smart Meters (remote readable meters) on request of SEFA/ KBP.

- To supply, install/replace and commission Single Phase Pre-Paid Electricity Meters (PLC) when requested.

- To supply, install and commission Three Phase Pre-Paid Electricity Meters (PLC) when requested.

- To supply, install /replace Electricity Credit Meter Modems when requested.

- The installation/replacement of Electricity Credit Smart Meters Sim Cards.

- Supplying, installation/replacement/commissioning of Electricity Pre-Paid Meter

- Keypads (customer user interfaces) (PLC) on request.

- Installation or replacement of meter antennas to ensure effective communication with the Utilities Management System/Automated Meter Reading (AMR) system of the service provider.

- Supplying, installation, replacement, and commissioning of Pre-Paid Meters Keypads (customer user interfaces).

- Supplying, installation or replacement of Conventional Meters.

- Supply, install, and commission Internet of Things (IoT) Retrofittable communicating devices for existing conventional water meters. This is to enable the remote reading and management of already installed water meters.

- Site inspection and reporting on meters when non-function on request of SEFA/ KBP.

- Supplying, installation or replacement of check meters (electricity).

- Completion of the SEFA/ KBP Meter Installation Certificate Templates in respect of each new meter installation for Capitalization purposes.

28         The required meter specifications are described in the section below.

28.1 SINGLE PHASE SMART CREDIT ELECTRICITY METER (REMOTE READABLE) SPECIFICATIONS

This specification applies to single phase bulk BS (British Standard) mounting Single Phase Commercial   and Industrial Meters for direct connection, measurement   of alternating current electrical energy consumption at a nominal frequency of 50 Hz.

- General Specification:

- Voltage ratings:  Nominal voltage between 60V and 230VAC (Voltage Alternating Current)

- Supply frequency: 50Hz.

- Current ratings (lb): Base current – 1-10A; and

- Max current (MAX): 100A

- Measurement:

  - True four quadrant measurements of kilowatt-hours delivered or received as well as kilowatt-hours leading and lagging for power delivered or received.

  - Active, reactive and apparent energy in both import and export mode.

  - Phase voltage and currents in individual phases and a sum up of the same.

  - Apparent, active and reactive power.

  - Power factor.

  - Frequency; and

  - Phasor angles.

  - Accuracy:  Class 0.5.

  - Connection Types: Direct connection.

  - Tariffs: Meter shall allow for programmable TOU (Time of Use).

  - Load Profiles: At least 8 channels.

  - End of Billing Data: 18 months.

  - Communication: Allow for GPRS (General Packet Radio Service) internal or external plugin module.

  - Meter must be provided together with a SABS approved PVC Type quality meter box.

  - The meter must be compatible for use on the utilities management system of the service provider.

  - Product life: Expectancy should be at least 15 years.

  - Product warranty: 12 months from date of installation

  - The following National and International specifications apply:

- SANS 1524-1(2014): Electricity payment systems – Part 1: Payment meters.

- SANS 1799 (2015): Watt-hour meters – AC electronic meters for active energy.

- SANS/IEC  62053-21(2003): Electricity metering equipment (ac.)  – Particular Requirements - Part 21: Static meters for active energy (class 1).

- SANS/IEC 62055-41: 1st Ed, (2007) Electricity Metering Payment Systems, Part 41 - Standard Transfer Specification (STS) – Application Layer protocol for one- way token carrier systems.

- SANS/IEC 62055-51: 1st Ed, (2007) Electricity Metering Payment Systems, Part 51 - Standard Transfer Specification (STS) - Physical Layer Protocol for one-way numeric and magnetic card token carriers.

- SANS/IEC 62055-52: Ed 1, (2009) Electricity Metering Payment Systems, Part 52 - Standard Transfer Specification (STS) - Physical Layer Protocol for a two- way virtual token carrier for direct local connection.

- SANS 473(2017): Automated meter reading for large power users; and

- SANS 474(2009): Code of practice for electricity metering.

28.2 THREE PHASE SMART CREDIT ELECTRICITY METER (REMOTE READABLE) SPECIFICATIONS

This specification applies to three-phase bulk BS (British Standard) mounting, Three Phase Commercial and Industrial Meters for CT (current transformer), measurement of alternating current electrical energy consumption at a nominal frequency of 50 Hz.

- General Specification:

- Voltage ratings: Nominal voltage between 60/100V and 230/400VAC (Voltage

Alternating Current)

- Supply frequency: 50Hz.

- Current ratings (lb): Base current – 1-10A.

- Max current (MAX): 100A and above.

- Measurement:

- True four quadrant measurements of kilowatt-hours delivered or received as well as kilowatt-hours leading and lagging for power delivered or received.

- Active, reactive, and apparent energy in both import and export mode.

- Phase voltage and currents in individual phases and a sum up of the same.

- Apparent, active and reactive power.

- True RMS (Route Mean Square) voltage (3 phase).

- True RMS current (3 phase).

- Power factor.

- Frequency.

- Phasor angles

- Accuracy: Class 0.5.

- Connection Types: Direct connection. CT (Current Transformer) and VT (Voltage Transformer) connection, 3 or 4 wires.

- Tariffs: Meter shall allow for programmable TOU (Time of Use).

- Load Profiles: At least 8 channels.

- End of Billing Data: 18 months.

- Communication: Allow for GPRS (General Packet Radio Service) internal or external plugin module.

- Meter must be provided together with a SABS approved PVC Type quality meter box.

- The meter must be compatible for use on the utilities management system of the service provider.

- Product life: Expectancy should be at least 15 years.

- Product warranty: 12 months from date of installation.

- The following National and International specifications apply:

- SANS 1524-1(2014): Electricity payment systems – Part 1: Payment meters.

- SANS 1799 (2015): Watt-hour meters – AC electronic meters for active energy.

- SANS/IEC 62053-21(2003): Electricity metering equipment (ac) – Particular Requirements - Part 21: Static meters for active energy (class 1).

- SANS/IEC 62055-41: 1st Ed, (2007) Electricity Metering Payment Systems, Part

- 41 - Standard Transfer Specification (STS) – Application Layer protocol for one- way token carrier systems.

- SANS/IEC 62055-51: 1st Ed, (2007) Electricity Metering Payment Systems, Part 51 - Standard Transfer Specification (STS) - Physical Layer Protocol for one- way numeric and magnetic card token carriers.

- SANS/IEC 62055-52: Ed 1, (2009) Electricity Metering Payment Systems, Part 52 - Standard Transfer Specification (STS) - Physical Layer Protocol for a two- way virtual token carrier for direct local connection.

- SANS 473(2017): Automated meter reading for large power users.

- SANS 474(2009): Code of practice for electricity meter

28.3 ELECTRICITY SINGLE PHASE SPLIT PLC (POWER LINE CARRIER) PRE-PAID METER SPECIFICATIONS

Single-phase, 100Amp, multi-frequency split prepayment meter - din rail mounting static watt-hour meters for active energy using Power Line Carrier as the medium of communication between the MCU (Meter Control Unit) and CIU (Customer Interface Unit).

- General Specification:

- This specification applies to newly manufactured, single-phase split DIN rail mounting static watt-hour prepayment meters for direct connection, for measurement of alternating current electrical energy consumption at a nominal frequency of 50 Hz. The method of credit transfer shall be through encrypted numeric tokens complying with the 20-digit STS (Standard Transfer Specification) encryption algorithms. The meters shall include a load switch for the purpose of interruption or restoration of the electricity supply to the load in accordance with the current value of the available credit maintained in the prepayment meter. The Measurement and Control Unit (MCU) shall be separated from the Customer Interface Unit (CIU) and method of communication between them shall be over the mains Power lines.

  - Voltage ratings: Nominal voltage 230VAC (Voltage Alternating Current).

  - Supply frequency: 50Hz.

  - Current ratings (lb): Base current - 5A.

  - Max current (MAX): 100A.

  - Min starting current: 20mA.

  - Measurement: Bi-directional Active energy.

  - Accuracy: Class 1.

  - Trip Rating: 100 Amp.

  - Status indicators: Rate LED (1000 PULSES /kWh).

  - User Interface:  12-digit rubber button type keypad with audio feedback 7 character, 7 segment LCD (Liquid Crystal Display) low credit warning: display flashing.

  - Product life: Expectancy should be at least 15 years.

  - Product warranty: 12 months from date of installation.

  - Supply Group Code: Default.

  - Tariff Index: 01.

  - STS (Standard Transfer Specification) compliant.

  - Meter must be provided together with a SABS approved PVC Type quality meter box.

  - For use on the service providers vending system.

  - The following National and International specifications apply:

- SANS 1524-1(2014): Electricity payment systems – Part 1: Payment meters

- SANS 1799 (2015): Watt-hour meters – AC electronic meters for active energy.

- SANS/IEC 62053-21(2003): Electricity metering equipment (ac) – Particular

Requirements - Part 21: Static meters for active energy (class 1).

- SANS/IEC 62055-41: 1st Ed, (2007) Electricity Metering Payment Systems, Part 41 - Standard Transfer Specification (STS) – Application Layer protocol for one-way token carrier systems.

- SANS/IEC 62055-51: 1st Ed, (2007) Electricity Metering Payment Systems, Part 51 - Standard Transfer Specification (STS) - Physical Layer Protocol for one-way numeric and magnetic card token carriers.

- SANS/IEC 62055-52: Ed 1, (2009) Electricity Metering Payment Systems, Part

52 - Standard Transfer Specification (STS) - Physical Layer Protocol for a two- way virtual token carrier for direct local connection.

- SANS 473(2017): Automated meter reading for large power users.

- SANS 474(2009): Code of practice for electricity metering.

28.4   ELECTRICITY THREE PHASE SPLIT PLC PRE-PAID METER SPECIFICATIONS

Three-phase, 100Amp, multi-frequency split prepayment meter – BS (British Standard) mounted static watt-hour meters for active energy using Power Line Carrier as the medium of communication between MCU (Meter Control Unit) and CIU (Customer Interface Unit)

- General Specification:

- This specification applies to three-phase split BS (British standard) mounting static watt- hour prepayment meters for direct connection, for measurement of alternating current electrical energy consumption at a nominal frequency of 50 Hz. The method of credit transfer shall be through encrypted numeric tokens complying with the 20-digit STS (Standard Transfer Specification) encryption algorithms. The meters shall include a load switch for the purpose of interruption or restoration of the electricity supply to the load in accordance with the current value of the available credit maintained in the prepayment meter. The Measurement and Control Unit (MCU) shall be separated from the Customer Interface Unit (CIU) and method of communication between them shall be over the mains power lines.

- Voltage ratings: Nominal voltage 230/400VAC (Voltage Alternating Current).

- Supply frequency: 50Hz.

- Current ratings (lb): Base current - 5A.

- Max current (IMAX): 100A.

- Min starting current: - 20mA.

- Measurement: Bi-directional Active energy.

- Accuracy: Class 1.

- Trip Rating: 100 Amp.

- Status indicators: Rate LED (1000 PULSES /kWh).

- User Interface: 12-digit rubber button type keypad with audio feedback 7 character, 7 segment LCD (Liquid Crystal Display) low credit warning: display flashing.

- Product life: Expectancy should be at least 15 years.

- Product warranty: 12 months from date of installation.

- Supply Group Code: Default.

- Tariff Index: 01.

- STS (Standard Transfer Specification) compliant.

- Meter must be provided together with a SABS approved PVC Type quality meter box.

- For use on the service providers vending system.

- The following National and International specifications apply:

- SANS 1524-1(2014): Electricity payment systems – Part 1: Payment meters.

- SANS 1799 (2015): Watt-hour meters – AC electronic meters for active energy.

- SANS/IEC  62053-21(2003):  Electricity metering equipment (ac) – Particular Requirements - Part 21: Static meters for active energy (class 1).

- SANS/IEC 62055-41: 1st Ed, (2007) Electricity Metering Payment Systems, Part 41 - Standard Transfer Specification (STS) – Application Layer protocol for one- way token carrier systems.

- SANS/IEC 62055-51: 1st Ed, (2007) Electricity Metering Payment Systems, Part 51- Standard Transfer Specification (STS) - Physical Layer Protocol for one-way numeric and magnetic card token carriers.

- SANS/IEC 62055-52: Ed 1, (2009) Electricity Metering Payment Systems, Part 52 - Standard Transfer Specification (STS) - Physical Layer Protocol for a two-way virtual token carrier for direct local connection.

- SANS 473(2017): Automated meter reading for large power users.

- SANS 474(2009): Code of practice for electricity metering.

29             Reference Checks

The bidder must provide client references relating to this bid. Please refer to the requirements for references as outlined in the functional evaluation criteria (Refer to Annexure D).

#### 30             Time Scale

The duration of the contract is three years.

#### 31             Bid Proposal Format

All bidders must return their proposals categorized and indexed under the following sections:

#### Section 1: Legislative Requirements

The bidder must supply the required documentation for this Request for Bid document as outlined in item 3.4.

#### Section 2: Company Profile, References & CVs

  - The bidder must attach a copy of the company’s profile, clearly outlining the number of years involved in the provision of the required professional services.

  - Reference letters, as outline in the evaluation criteria, must be submitted as part of this section.

  - Submit Curriculum Vitae to substantiate staff experience and submit proof of qualifications.

#### Section 3: Pricing Proposal

The bidder must submit a pricing proposal as outlined in the Bid Proposal Template (Annexure E).

#### Section 4: Additional Information

Any additional information pertinent to the proposal can be attached under this Section.

##### 32                Bid Proposal Template

    - A template has been developed to assist both the bidder and the evaluation committee and is outlined in Appendix 1.

    - An electronic editable copy of the Bid Proposal Template will be available on the sefa website: http://www.sefa.org.za/publications/tenders

## Annexure F

### Pricing Schedule

OFFER TO BE VALID FOR 120 DAYS FROM THE CLOSING DATE OF BID.

| Description | Price Excl VAT |
| --- | --- |
| Supply and delivery of Prepaid Meters units: 554 |  |
| Installation of Prepaid Meters units: 554 |  |
| Other Vendor Management fees |  |
| Total VAT Exclusive |  |
| VAT |  |
| Total Price VAT Inclusive |  |

## Appendix 1

Cover Page

# Bid Proposal

### Properties: Smart Prepaid Meters

| Bid Number |  |
| --- | --- |
| Company name |  |
| Contact Person |  |
| Telephone Number |  |
| e-mail address |  |

Section 1: Legislative Requirements

Attach all documentation relating to the general conditions of contract behind this section.

### Section 2: Company Profile, References, CVs & Proof of Qualifications

Attach company profile, reference letters, CVs & proof of qualifications behind this section. References for successful implementation should include:

- Company name

- Date of implementation

- Period of service delivery

- Number of key team

### Section 3: Pricing Proposals

- Pricing should be provided for the time scale in Annexure E.

- All prices must be listed inclusive of VAT

NOTE:

- Pricing must include all increases/escalations that will be incurred for the duration of the contract.

- Please check the correctness of ALL Calculations/Total Price/Rate per Hour stated for pricing purposes.

### Section 4: Additional Information

Any additional information that is considered pertinent to the proposal can be attached under this section.