NEC3 Supply Contract (SC3)

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________ ) |  |
| for | Supply and delivery of Fuses, Relays, Contactors and Circuit Breakers to Matimba Power Station over a period of five (5) years. Insert title of the goods and services |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | [●] |
| Part C2 | Pricing Data | [●] |
| Part C3 | Scope of Work | [●] |
| CONTRACT No. | [Insert at award stage] |  |

# PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] | [●] |
| C1.2a | Contract Data provided by the Purchaser | [●] |
| C1.2b | Contract Data provided by the Supplier [to be inserted from Returnable Documents at award stage] | [●] |
| C1.3 | Proforma Guarantees | [●] |

C1.1 Form of Offer & Acceptance

## Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Supply, and delivery of Fuses, relays, Contactors and Circuit Breakers

to Matimba Power Station over a period of five years.

The tenderer, identified in the Offer signature block, has

| either | examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender. |
| --- | --- |
| or | examined the draft contract as listed in the Acceptance section and agreed to provide this Offer. |

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

|  | The offered total of the Prices exclusive of VAT is | R [●] |
| --- | --- | --- |
|  | Value Added Tax @ 15% is | R [●] |
|  | The offered total of the amount due inclusive of VAT is | R [●] |
|  | (in words) [●] |  |

This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  | Dumisani Makamu |  |
| Capacity |  |  | Procurement Manager |  |
| for the Purchaser | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |  |  |  |
| Name & signature of witness | Eskom Holdings SOC Ltd (Reg No 2002/015527/30) Matimba Power Station Private Bag x215,Lephalale 0555 |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | [●] | [●] |
| 2 | [●] | [●] |
| 3 | [●] | [●] |
| 4 | [●] | [●] |
| 5 | [●] | [●] |
| 6 | [●] | [●] |
| 7 | [●] | [●] |

By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | For the Purchaser: |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  | Wikus Janse Van Rensburg |
| Capacity |  |  | Manager Procurement |
| On behalf of | (Insert name and address of organisation) |  | Eskom Holdings SOC Ltd (Reg No 2002/015527/30) Matimba Power Station Private Bag x215, Lephalale 0555 |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 SC3 Contract Data

# Part one - Data provided by the Purchaser

[Instructions to the contract compiler:  (delete these two notes in the final draft of a contract)

- Please read the relevant clauses in the conditions of contract before you enter data.  The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data.

- Some SC3 options are always selected by Eskom Holdings SOC Ltd.   The remaining SC3 options are identified by shading in the left hand column.  In the event that the option is not required select and delete the whole row.  Where the following symbol is used “[●]” - data is required to be inserted relevant to the specific option selected.]

Completion of this data in full, according to the Options chosen, is essential to create a complete contract.

| Clause |  |  | ## Statement |  | ## Data |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  | ## General |  |  |  |  |  |  |  |  |
|  |  |  | The conditions of contract are the core clauses and the clauses for Options |  |  |  |  |  |  |  |  |
|  |  |  |  |  | X1: Price adjustment for inflation |  |  |  |  |  |  |
|  |  |  |  |  | X2 Changes in the law |  |  |  |  |  |  |
|  |  |  |  |  | X7: Delay damages |  |  |  |  |  |  |
|  |  |  |  |  | Z: Additional conditions of contract |  |  |  |  |  |  |
|  |  |  | of the NEC3 Supply Contract (April 2013) |  | (If the December 2009 edition is to be used delete April 2013 and replace by December 2013) |  |  |  |  |  |  |
| 10.1 |  |  | The Purchaser is (name): |  | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |  |  |  |
|  |  |  | Address |  | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |  |  |  |
|  |  |  | Tel No. |  | [●] |  |  |  |  |  |  |
|  |  |  | Fax No. |  | [●] |  |  |  |  |  |  |
| 10.1 |  |  | The Supply Manager is (name): |  | S Tisane |  |  |  |  |  |  |
|  |  |  | Address |  | Eskom Holdings SOC Limited (Reg No: 2002/015527/06) Matimba Power Station Private Bag x215, Lephalale 0555 |  |  |  |  |  |  |
|  |  |  | Tel |  | 014 763 8036 |  |  |  |  |  |  |
|  |  |  | Fax |  |  |  |  |  |  |  |  |
|  |  |  | e-mail |  | tisanets@eskom.co.za |  |  |  |  |  |  |
| 11.2(13) |  |  | The goods are |  | Fuses, Relays, Contactors and Circuit Breakers. |  |  |  |  |  |  |
| 11.2(13) |  |  | The services are |  | Supply and deliver Fuse, relay, Contactors and Circuit Breakers on site Matimba Power Station, Main Stores Receiving. ` |  |  |  |  |  |  |
| 11.2(14) |  |  | The following matters will be included in the Risk Register |  | N/A |  |  |  |  |  |  |
| 11.2(15) |  |  | The Goods Information is in |  | Part 3: Scope of Work and all documents and drawings to which it refers. |  |  |  |  |  |  |
| 11.2(15) |  |  | The Supply Requirements as part of the Goods Information is in |  | Annexure A to this Contract Data |  |  |  |  |  |  |
| 12.2 |  |  | The law of the contract is the law of |  | the Republic of South Africa |  |  |  |  |  |  |
| 13.1 |  |  | The language of this contract is |  | English |  |  |  |  |  |  |
| 13.3 |  |  | The period for reply is |  | 3 working days |  |  |  |  |  |  |
| ## 2 |  |  | # The Supplier’s main responsibilities |  | Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |
| ## 3 |  |  | # Time |  |  |  |  |  |  |  |  |
| 30.1 |  |  | The starting date is. |  | 2025/06/01 |  |  |  |  |  |  |
| 30.1 |  |  | The delivery date of the goods and services is: |  | Goods and services |  |  |  |  | delivery date |  |
|  |  |  |  |  | 1 | As per the order per item on as and when required basis as stipulated in this contract agreement |  |  |  | As per agreed programme |  |
| 31.1 |  |  | The Supplier is to submit a first programme for acceptance within |  | 2 weeks of the Contract Date indicating lead times of each item on the contract. |  |  |  |  |  |  |
| 32.2 |  |  | The Supplier submits revised programmes at intervals no longer than |  | 1 week |  |  |  |  |  |  |
| ## 4 |  |  | # Testing and defects |  |  |  |  |  |  |  |  |
| 42 |  |  | The defects date is |  | 1 week after Delivery of goods. |  |  |  |  |  |  |
| 43.2 |  |  | The defect correction period is |  | As per the agreed lead times. |  |  |  |  |  |  |
| 42.2 |  |  | The defects access period is |  | As per agreed arrangement made |  |  |  |  |  |  |
| ## 5 |  |  | # Payment |  |  |  |  |  |  |  |  |
| 50.1 |  |  | The assessment interval is |  | within 7 days after delivery. |  |  |  |  |  |  |
| 51.1 |  |  | The currency of this contract is the |  | South African Rand |  |  |  |  |  |  |
| 51.2 |  |  | The period within which payments are made is |  | As per Eskom terms linked to the vendor registration |  |  |  |  |  |  |
| 51.4 |  |  | The interest rate is |  | the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |  |  |  |
| ## 6 |  |  | # Compensation events |  | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |
| ## 7 |  |  | # Title |  | ## There is no reference to Contract Data In this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data |  |  |  |  |  |  |
| ## 8 |  |  | # Risks, liabilities, indemnities, and insurance |  | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |
| 88.1 |  |  | The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to |  | R10 000 (Ten thousand Rand) |  |  |  |  |  |  |
| 88.2 |  |  | For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to |  | - the Purchaser's existing and surrounding property in the care, custody and control of the supplier: the amount of the deductible (first amount payable) relevant to the event described in the "Format A" insurance policy available on request from Eskom’s Insurance Management Services. - or all other existing Purchaser's property For any one occurrence or series of occurrences arising out of one event but unlimited during the period of contract: - R25 million (Twenty-five million Rand) for Generation property; |  |  |  |  |  |  |
| 88.3 |  |  | The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to: |  | N/A |  |  |  |  |  |  |
| 88.4 |  |  | The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to |  | N/A |  |  |  |  |  |  |
| 88.5 |  |  | The end of liability date is |  | After Quality check has been done and the Guarantee period lapsed. |  |  |  |  |  |  |
| ## 9 |  |  | # Termination and dispute resolution |  |  |  |  |  |  |  |  |
| 94.1 |  |  | The Adjudicator is |  | the person nominated from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him and appointed on agreement by both Parties. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the ICE-SA Division. |  |  |  |  |  |  |
|  |  |  | Address |  | To be determent |  |  |  |  |  |  |
|  |  |  | Tel No. |  | To be determent |  |  |  |  |  |  |
|  |  |  | Fax No. |  | To be determent |  |  |  |  |  |  |
|  |  |  | e-mail |  | To be determent |  |  |  |  |  |  |
| 94.2(3) |  |  | The Adjudicator nominating body is: |  | the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za) |  |  |  |  |  |  |
| 94.4(2) |  |  | The tribunal is: |  | arbitration |  |  |  |  |  |  |
| 94.4(5) |  |  | The arbitration procedure is |  | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |
| 94.4(5) |  |  | The place where arbitration is to be held is |  | Lephalale South Africa |  |  |  |  |  |  |
|  |  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is |  | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |
| ## 10 |  |  | # Data for Option clauses |  |  |  |  |  |  |  |  |
| X1 |  |  | Price adjustment for inflation |  |  |  |  |  |  |  |  |
| X1.1 |  |  | The base date for indices is |  | One month prior to tender closing date. CPA will kick in 16 months from the base date of the contract. |  |  |  |  |  |  |
|  |  |  | The proportions used to calculate the Price Adjustment Factor are: |  | proportion |  | linked to index for |  | Index prepared by |  |  |
|  |  |  |  |  | 80% |  | Electrical Components |  | SEIFSA Table M-6 (Electrical Components) |  |  |
|  |  |  |  |  | 5% |  | Transportation |  | SEIFSA Table L-1(A) |  |  |
|  |  |  |  |  | 15% |  | non-adjustable |  | Fixed |  |  |
|  |  |  |  |  | 1.00 |  |  |  |  |  |  |
| X2 |  |  | Changes in Law |  |  |  |  |  |  |  |  |
| X2.1 |  |  | A change in the law of |  | South Africa. It is a compensation event if it occurs after the Contract Date |  |  |  |  |  |  |
| X7 |  |  | Delay damages |  |  |  |  |  |  |  |  |
| X7.1 |  |  | Delay damages for Delivery are |  | Delivery of |  |  | amount per day |  |  |  |
|  |  |  |  |  | Items as per Scope of Work as stipulated in this Contract |  |  | 1% per day up to a maximum of 10% of the order value. |  |  |  |
| Z |  |  | The additional conditions of contract are |  | Z1 to Z15 always apply for Eskom |  |  |  |  |  |  |
| Z1 |  | Cession delegation and assignment |  |  |  |  |  |  |  |  |  |
| Z1.1 |  | The Supplier does not cede, delegate, or assign any of its rights or obligations to any person without the written consent of the Purchaser. |  |  |  |  |  |  |  |  |  |
| Z1.2 |  | Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |  |  |  |  |
| Z2 |  | Joint ventures |  |  |  |  |  |  |  |  |  |
| Z2.1 |  | If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract. |  |  |  |  |  |  |  |  |  |
| Z2.2 |  | Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf. |  |  |  |  |  |  |  |  |  |
| Z2.3 |  | The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing. |  |  |  |  |  |  |  |  |  |
| Z3 |  |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |  |  |  |  |
| Z3.1 |  |  | Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change. |  |  |  |  |  |  |  |  |
| Z3.2 |  |  | The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager. |  |  |  |  |  |  |  |  |
| Z3.3 |  |  | Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services. |  |  |  |  |  |  |  |  |
| Z3.4 |  |  | Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |  |  |  |  |
| Z4 |  | Confidentiality |  |  |  |  |  |  |  |  |  |
| Z4.1 |  | The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time). Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |  |  |  |  |
| Z4.2 |  | If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager. |  |  |  |  |  |  |  |  |  |
| Z4.3 |  | In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |  |  |  |  |
| Z4.4 |  | The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager. All rights in and to all such images vests exclusively in the Purchaser. |  |  |  |  |  |  |  |  |  |
| Z4.5 |  | The Supplier ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |  |  |  |  |
| Z5 |  | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |  |  |  |  |
| Z5.1 |  | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |  |  |  |  |
| Z6 |  |  | Health, safety and the environment: Add to core clause 25.4 |  |  |  |  |  |  |  |  |
| Z6.1 |  |  | The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. Without limitation the Supplier: warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |
| Z6.2 |  |  | The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |
| Z7 |  | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |  |  |  |  |
| Z7.1 |  | Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |  |  |  |  |
| Z7.2 |  | If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |  |  |  |  |
| Z7.3 |  | The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |  |  |  |  |
| Z8 |  | Notifying compensation events |  |  |  |  |  |  |  |  |  |
| Z8.1 |  | Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”. |  |  |  |  |  |  |  |  |  |
| Z9 |  | Purchaser’s limitation of liability |  |  |  |  |  |  |  |  |  |
| Z9.1 |  | The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |  |  |  |  |
| Z9.2 |  | The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited. |  |  |  |  |  |  |  |  |  |
| Z10 |  | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |  |  |  |  |
| Z10.1 |  | or had a business rescue order granted against it. |  |  |  |  |  |  |  |  |  |
| Z11 |  | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |  |  |  |  |  |
| Z11.1 |  | If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |  |  |  |  |  |
| Z12 | Ethics |  |  |  |  |  |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |  |  |  |  |
| Affected Party |  |  |  | means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |  |  |  |  |  |  |
| Coercive Action |  |  |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |
| Collusive Action |  |  |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |
| Committing Party |  |  |  | means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees, |  |  |  |  |  |  |
| Corrupt Action |  |  |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |  |  |  |  |  |  |
| Fraudulent Action |  |  |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |  |  |  |  |  |  |
| Obstructive Action |  |  |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |  |  |  |  |  |  |
| Prohibited Action |  |  |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |  |  |  |  |  |  |
| Z12.1 | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |  |  |  |  |  |  |  |  |
| Z12.2 | The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason. |  |  |  |  |  |  |  |  |  |
| Z12.3 | If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |  |  |  |  |  |  |  |  |
| Z12.4 | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation. |  |  |  |  |  |  |  |  |  |

Z13	Insurance

Z __13.1	Replace core clause 84 with the following:

| Insurance cover | 84 |  |
| --- | --- | --- |
|  | 84.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 84.2 | The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued. |

INSURANCE TABLE A

Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage to the goods, plant and materials; The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.. Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract; Loss of or damage to property Purchaser’s property The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance. Other property The replacement cost Death of or bodily injury The amount required by the applicable law.. Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law.

Z _13.2		Replace core clause 87 with the following:

| Insurance by the Purchaser |  |  |  | 87 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 87.1 | The Purchaser provides the insurances stated in the Insurance Table B |  |
|  |  |  |  |  | INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |
| Z14 |  | Nuclear Liability |  |  |  |  |
| Z14.1 |  | The Purchaser is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |  |  |  |
| Z14.2 |  | The Purchaser is solely responsible for and indemnifies the Supplier or any other person against any and all liabilities which the Supplier or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Supplier or any other person or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |
| Z14.3 |  | Subject to clause Z14.4 below, the Purchaser waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Supplier or any other person, or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |
| Z14.4 |  | The Purchaser does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter. |  |  |  |  |
| Z14.5 |  | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |  |  |  |
| Z15 |  | Asbestos |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |
| AAIA |  |  |  | means approved asbestos inspection authority. |  |  |
| ACM |  |  |  | means asbestos containing materials. |  |  |
| AL |  |  |  | means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL. |  |  |
| Ambient Air |  |  |  | means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |  |  |
| Compliance Monitoring |  |  |  | means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |
| OEL |  |  |  | means occupational exposure limit. |  |  |
| Parallel Measurements |  |  |  | means measurements performed in parallel, yet separately, to existing measurements to verify validity of results. |  |  |
| Safe Levels |  |  |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |
| Standard |  |  |  | means the Purchaser’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |  |  |
| SANAS |  |  |  | means the South African National Accreditation System. |  |  |
| TWA |  |  |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA. |  |  |
| Z15.1 |  | The Purchaser ensures that the Ambient Air in the area where the Supplier will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |  |  |  |
| Z15.2 |  | Upon written request by the Supplier, the Purchaser certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Supplier may perform Parallel Measurements and related control measures at the Supplier’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |  |  |  |
| Z15.3 |  | The Purchaser manages asbestos and ACM according to the Standard. |  |  |  |  |
| Z15.4 |  | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe. |  |  |  |  |
| Z15.5 |  | The Supplier’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |  |  |  |
| Z15.6 |  | The Supplier continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations. |  |  |  |  |
| Z15.7 |  | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Purchaser at the Purchaser’s expense, and conducted in line with South African legislation. |  |  |  |  |

Annexure A:	Supply Requirements

[Notes: The example given in the NEC3 Supply Contract Guidance Notes pages 15 to 20 inclusive is based on Incoterms 2000.   However users will probably wish to use Incoterms 2010 which the details below are based on.    Users may need to adjust the information to comply with actual requirements. First decide whether Incoterms will be used or not, then delete the arrangement below which does not apply and delete these notes]

## The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2010 as follows:

[Select the group and then term within the group which applies and state the applicable delivery place.  Delete all the other groups and this note]

| Group | Category | Term | Delivery Place |
| --- | --- | --- | --- |
| E | departure | EXW |  |
| F | main carriage unpaid | FCA, FAS, FOB |  |
| C | main carriage paid | CFR, CIF, CPT, CIP |  |
| D | arrival | DAT, DAP, DDP |  |

The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

| A | The Supplier’s obligations | B | The Purchaser’s obligations |
| --- | --- | --- | --- |
| A1 | Provision of goods in conformity with contract | B1 | Payment of the price |
| A2 | Licences, authorisations and formalities | B2 | Licences, authorisations and formalities |
| A3 | Contracts of carriage and insurance | B3 | Contracts of carriage and insurance |
| A4 | Delivery | B4 | Taking delivery |
| A5 | Transfer of risks | B5 | Transfer of risks |
| A6 | Division of costs | B6 | Division of costs |
| A7 | Notice to the buyer | B7 | Notice to the seller |
| A8 | Proof of delivery, transport document or equivalent electronic message | B8 | Proof of delivery, transport document or equivalent electronic message |
| A9 | Checking - packing - marking | B9 | Inspection of goods |
| A10 | Other obligations | B10 | Other obligations |

[Should there be a need to amplify any of the published obligations listed above for the chosen INCOTERM, add them here.]

All other information NOT pertinent to the above is given in the balance of the Goods Information

## The Supply Requirements for this contract are as follows:

[Use these when INCOTERMS do not apply].  [Revise and complete as required]

| 1. The requirements for the supply are | [State the constraints on how the Supplier manufactures, prototypes, tests and stores the goods including order and timing] |  |
| --- | --- | --- |
| 2. The requirements for transport are | [State the extent to which the Supplier transports the goods and the mode of transport] |  |
| 3. The delivery place is | [State the location where the goods are to be placed by the Supplier, such as whether it is a dispatch department at the Supplier’s premises, the Purchaser is to collect or other location the Purchaser may require. If the delivery place for the services is different to the goods state it here] |  |
| 4. Actions of the Parties during supply | Action | Party which does it |
|  | Giving notice of Delivery |  |
|  | Checking packing and marking before dispatch |  |
|  | Contracting for transport |  |
|  | Pay costs of transport |  |
|  | Arrange access to delivery place |  |
|  | Loading the goods |  |
|  | Unloading the goods |  |
| For international procurement | Undertake export requirements |  |
|  | Undertake import requirements |  |
| 5. Information to be provided by the Supplier | Title of document |  |
|  | Packing lists for cases and their contents |  |
|  | Copy of invoice for the goods |  |
|  | Delivery Note |  |
|  | Test results and maintenance manuals |  |
| For international procurement | Licences, authorisations and other formalities associated with export of the goods |  |
|  | Air Waybill or Bill of Lading with associated landing, delivery and forwarding order |  |
|  | The Bill of Entry endorsed by the importation authority |  |
|  | Customs work sheets, showing tax, duties and surcharges which the law of the country into which the goods are being imported requires the importer to pay |  |
|  | Invoice from the importation clearing agent showing airline fees, landing charges, wharfage and dock dues as applicable |  |
|  | Specify other import documents required by authorised officials. |  |

All other information NOT pertinent to the above is given in the balance of the Goods Information

C1.2 Contract Data

# Part two - Data provided by the Supplier

[Instructions to the contract compiler:  (delete this note before issue to tenderers with an enquiry)

Whenever a cell is shaded in the left hand column it denotes this data is optional and would be required in relation to the option selected.  In the event that the option is not required select and delete the whole row.]

Notes to a tendering supplier:

- Please read both the NEC3 Supply Contract (SC3) and the relevant parts of its Guidance Notes (SC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.

- The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

- Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | # Statement | # Data |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 10.1 | The Supplier is (Name): |  |  |  |  |
|  | Address |  |  |  |  |
|  | Tel No. |  |  |  |  |
|  | Fax No. |  |  |  |  |
| 11.2(8) | The Goods Information for the Supplier’s design is in: |  |  |  |  |
| 11.2(11) | The tendered total of the Prices is | R , (in words) |  |  |  |
| 11.2(12) | The price schedule is in: |  |  |  |  |
| 11.2(14) | The following matters will be included in the Risk Register |  |  |  |  |
| 25.2 | The restrictions to access for the Supply Manager and Others to work being done for this contract are |  |  |  |  |
| 30.1 | The delivery date of the goods and services is: | goods and services |  | delivery date |
|  |  | 1 | [●] | [●] |
|  |  | 2 | [●] | [●] |
|  |  | 3 | [●] | [●] |
| 31.1 | The programme identified in the Contract Data is contained in: |  |  |  |  |
| 63.2 | The percentage for overheads and profit added to the Defined Cost is | % |  |  |  |

# Part 2: Pricing Data

NEC3 Supply Contract

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions | 2 |
| C2.2 | The price schedule | [●] |

C2.1 Pricing assumptions

# How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

| Identified and defined terms | 11 11.2 | (11) The Prices are the amounts stated in the price column of the Price Schedule. Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate. |
| --- | --- | --- |
|  |  | (12) The Price Schedule is the price schedule unless later changed in accordance with this contract. |
| Assessing the amount due | 50.2 | The amount due is the Price for each lump sum item in the Price Schedule which the Supplier has completed, where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate, plus other amounts to be paid to the Supplier, less amounts to be paid by or retained from the Supplier. Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due. |

This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

# Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.

# Preparing the price schedule

Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has

- Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;

- Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

- Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices;

- Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;

- Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.

## Format of the price schedule

Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier.

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule

Supply and Delivery of Fuses, Relays, Contactors, and circuit Breakers. Item nr; Material number; Material Description and Texts (Fuses); UOM; QTY; Unit Price; Total Price. 1; 607750; FUSE, ASSORTMENT: FUSE TYPE: LIP; FUSE QUANTITY: 3; EA; 50. 2; 117160; FUSE, CARTRIDGE: CURRENT: 0.5 A; POTENTIAL: 220 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5.2 X LG 20 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GMA; EA; 250. 3; 117166; FUSE, CARTRIDGE: CURRENT: 0.5 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: FAST BLOW, ONE TIME REJECTION, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GMA; EA; 20. 4; 117169; FUSE, CARTRIDGE: CURRENT: 0.5 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.3 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: AGC; EA; 100. 5; 117172; FUSE, CARTRIDGE: CURRENT: 0.5 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.3 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: AGC; CONNECTION XE; EA; 100. 6; 117181; FUSE, CARTRIDGE: CURRENT: 0.5 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: ONE TIME REJECTION; CASE MATERIAL: GLASS; EA; 500. 7; 118304; FUSE, CARTRIDGE: CURRENT: 0.5 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: TIME DELAY SLO BLO; CASE MATERIAL: GLASS; REFERENCE NO: 19195; T0-5-250; EA; 500. 8; 118487; FUSE, CARTRIDGE: CURRENT: 0.5 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.35 X LG 31.8 MM; TYPE: TIME DELAY SLO BLO; CASE MATERIAL: GLASS; REFERENCE NO: MDL1-2; 18 SEC AT 200PCT LOAD, 15MS AT 1000PCT LOAD, TRANSPARENT BODIED OR WINDOW TYPE; EA; 20. 9; 117167; FUSE, CARTRIDGE: CURRENT: 0.75 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: ONE TIME REJECTION VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: AGC; EA; 250. 10; 117829; FUSE, CARTRIDGE: CURRENT: 0.8 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 30 MM; TYPE: ONE TIME REJECTION; CASE MATERIAL: GLASS; REFERENCE NO: 19408; BREAKING CAPACITY C; EA; 20. 11; 118423; FUSE, CARTRIDGE: CURRENT: 1 A; POTENTIAL: 125 VAC; CONNECTION TYPE: AXIAL LEADS SOLDER; DIMENSIONS: DIA 2 X LG 83 MM; TYPE: SUB MINIATURE CIRCUIT BOARD; CASE MATERIAL: POLYESTER FILM; REFERENCE NO: 275001; SOLDERED INTO PRINTED CIRCUIT BOARDS; EA; 50. 12; 118516; FUSE, CARTRIDGE: CURRENT: 1 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.3 X LG 32 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: ABC; EA; 20. 13; 118211; FUSE, CARTRIDGE: CURRENT: 1 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: FAST BLOW; CASE MATERIAL: GLASS; REFERENCE NO: T1-250; TRANSPARENT BODIED OR WINDOW TYPE; EA; 250. 14; 117176; FUSE, CARTRIDGE: CURRENT: 1 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: ONE TIME REJECTION; CASE MATERIAL: GLASS; REFERENCE NO: 19200; EA; 1200. 15; 118488; FUSE, CARTRIDGE: CURRENT: 1 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.35 X LG 31.8 MM; TYPE: SLOW BLOW; CASE MATERIAL: GLASS; REFERENCE NO: 632.000; MDL1; TIME DELAY, RATINGS 20 SECONDS AT 200 PCT LOAD AND 25 MILLI SECONDS AT 1000 PCT LOAD; EA; 30. 16; 117737; FUSE, CARTRIDGE: CURRENT: 1 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 38 MM; INTERRUPT CAPACITY: 120 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: CEI 269-2; REFERENCE NO: 13001; NFC63210; EA; 125. 17; 118424; FUSE, CARTRIDGE: CURRENT: 1.5 A; POTENTIAL: 125 VAC; CONNECTION TYPE: AXIAL LEADS SOLDER; DIMENSIONS: DIA 2.4 X LG 83.2 MM; TYPE: ONE TIME REJECTION; CASE MATERIAL: POLYESTER FILM; REFERENCE NO: 27501-5; NONINDICATING, TYPE GMBH; EA; 10. 18; 117803; FUSE, CARTRIDGE: CURRENT: 1.6 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 25 MM; TYPE: INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GMA; EA; 35. 19; 117328; FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 11 KV; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 64 X LG 255 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: KEBX010; EA; 20. 20; 118050; FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 12 KV; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 64 X LG 256 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: 380/97; REFERENCE NO: A4; CONTROL FUSE FOR MINSEMI; EA; 20. 21; 117202; FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GDB; EA; 200. 22; 117205; FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GLH; EA; 50. 23; 118714; FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 32 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.3 X LG 32 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: GLASS; REFERENCE NO: 311010; EA; 20. 24; 4509; FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 415 V; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 14 X LG 60 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: NS10A; FUSE, CARTRIDGE; CURRENT 10 A, POTENTIAL 415 V, DIMENSIONS DIA 14 X LG 60 MM, TYPE CURRENT LIMITING, CASE MATERIAL CERAMIC, CONNECTION TYPE BLADE KNIFE, PART NUMBER: NS10A FUSE,CARTD;NS10A,10 A,415 V,BLADE KNIFE; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 100. 25; 118323; FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 38 MM; INTERRUPT CAPACITY: 100 KA; TYPE: INSTANTANEOUS; CASE MATERIAL: CERAMIC; EA; 10. 26; 4526; FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 22 X LG 50 MM; TYPE: BOTTLE TIME DELAY SLO BLO INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: 5SB251; TDZ; MARKING GL/GG, DIAZED; EA; 10. 27; 117224; FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 550 V; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 86 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; SUPPL P/N: TIA10; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A2; EA; 150. 28; 118146; FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 13 X LG 54 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: NIT10; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; EA; 400. 29; 117841; FUSE, CARTRIDGE: CURRENT: 100 A; POTENTIAL: 460-550 VDC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 27.5 X LG 135 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: B1TC; HRC, CLASS Q1; EA; 200. 30; 117680; FUSE, CARTRIDGE: CURRENT: 100 A; POTENTIAL: 550 VAC; 400 VDC; CONNECTION TYPE: CAPTIVE SCREW; DIMENSIONS: DIA 34 X LG 110 MM; INTERRUPT CAPACITY: 80 KA AC; 40 KA DC; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; REFERENCE NO: 3NWTCP100; A4; LABEL COLOUR CODE: GREEN, BASE TYPE C, CLASS Q1, SLOT 5.2MM; EA; 150. 31; 117742; FUSE, CARTRIDGE: CURRENT: 12 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 38 MM; INTERRUPT CAPACITY: 100 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: CEI 269-2; NFC 63210; REFERENCE NO: 13012; EA; 50. 32; 117701; FUSE, CARTRIDGE: CURRENT: 125 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: GLASS; REFERENCE NO: F125MA; 19194; EA; 100. 33; 117636; FUSE, CARTRIDGE: CURRENT: 125 A; POTENTIAL: 500 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 40 X LG 124 MM; TYPE: INDICATING; CASE MATERIAL: PORCELAIN; SUPPL P/N: J83383; REFERENCE NO: 63210; EA; 10. 34; 117899; FUSE, CARTRIDGE: CURRENT: 125 A; POTENTIAL: 550 VAC; 250 VDC; CONNECTION TYPE: SCREW CLAMP OFFSET TAGS; DIMENSIONS: DIA 32 X LG 110 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: 3NWTFP125; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 75. 35; 117307; FUSE, CARTRIDGE: CURRENT: 125 A; POTENTIAL: 550 VAC; 460 VDC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 40 X LG 135 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TO BS 66-2; TF125; REFERENCE NO: B2; CLASS Q; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 60. 36; 4681; FUSE, CARTRIDGE: CURRENT: 125 A; POTENTIAL: 660 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: WD 30 X LG 78 X HT 47.7 MM; TYPE: INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: 3NE8022; HIGH RUPTURING CAPACITANCE, USED ON BBT SF6 TYPE ELK4 765KV GIS; EA; 50. 37; 117730; FUSE, CARTRIDGE: CURRENT: 125 A; POTENTIAL: 7.2 KVAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 76 X LG 442 MM; TYPE: INDICATING; CASE MATERIAL: CERAMIC; REFERENCE NO: 7.2WFMSJ125; MGK FUSE, WITH STRIKER PIN; EA; 15. 38; 117173; FUSE, CARTRIDGE: CURRENT: 15 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.35 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: ABC; EA; 200. 39; 117207; FUSE, CARTRIDGE: CURRENT: 15 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: AGC; EA; 20. 40; 117359; FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 415 V; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 14 X LG 55 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: NIT16; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; EA; 50. 41; 4501; FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 415 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 14 X LG 60 MM; TYPE: TIME LAG MEDIUM; CASE MATERIAL: CERAMIC; SUPPL P/N: NS16; FUSE, CARTRIDGE; CURRENT 16 A, POTENTIAL 415 VAC, DIMENSIONS DIA 14 X LG 60 MM, TYPE TIME LAG MEDIUM, CASE MATERIAL CERAMIC, CONNECTION TYPE BLADE KNIFE, PART NUMBER: NS16~FUSE,CARTD;NS16,16 A,415 VAC,CERAMIC; EA; 150. 42; 117225; FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 415 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 84 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TIA16; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 1000. 43; 117741; FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 38 MM; INTERRUPT CAPACITY: 100 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: CEI 269-2; 63210; REFERENCE NO: 13316; EA; 50. 44; 118817; FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 22 X LG 50 MM; TYPE: BOTTLE INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: 1000507/16; PACKED 5 PER BOX; EA; 25. 45; 221074; FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 550 V; CONNECTION TYPE: BLADE; DIMENSIONS: DIA 10 X LG 38 MM; TYPE: INDICATING; CASE MATERIAL: PLASTIC MOLDED; SUPPL P/N: 420016; EA; 20. 46; 117679; FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 80 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; SUPPL P/N: 3NWTIA16; REFERENCE NO: A2; LABEL COLOUR CODE LIGHT BLUE, BASE TYPE A, CLASS Q1; EA; 500. 47; 117541; FUSE, CARTRIDGE: CURRENT: 160 A; POTENTIAL: 1 KV; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: WD 30 X LG 123 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: DIN 43620; IEC 269; VDE 0636; REFERENCE NO: 3NE4124; EA; 100. 48; 117309; FUSE, CARTRIDGE: CURRENT: 160 A; POTENTIAL: 660 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 34 X LG 134 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TF160; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 200. 49; 117728; FUSE, CARTRIDGE: CURRENT: 160 A; POTENTIAL: 7.2 KV; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 81 X LG 438 MM; INTERRUPT CAPACITY: 50 KA; TYPE: INDICATING; CASE MATERIAL: FIBRE GLASS; SPECIFICATION: IEC 60282-1, IEC 60787, UTE C64200, UTE C64210; SUPPL P/N: 0757316; WITH STRIKER PIN; EA; 75. 50; 117813; FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 240 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 13.5 X LG 50 MM; INTERRUPT CAPACITY: 20 KA; TYPE: NORMAL BLOW; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88-1967 PART 1; IEC 269-1; REFERENCE NO: 50-013-01; SS; CURRENT LIMITING; CONTROL, GG; EA; 1250. 51; 117783; FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: GLASS; ULTRASONIC; EA; 100. 52; 117830; FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: MEDIUM TIME LAG; CASE MATERIAL: GLASS; SPECIFICATION: DIN 41571; REFERENCE NO: 013532; CURRENT LIMITING; BREAKING CAPACITY E, MTL; EA; 50. 53; 117894; FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: ONE TIME REJECTION; CASE MATERIAL: GLASS; SUPPL P/N: F2A; EA; 25. 54; 117203; FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: AGC; EA; 50. 55; 118515; FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.3 X LG 32 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: GLASS; REFERENCE NO: AGC; EA; 25. 56; 117198; FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GDA; EA; 50. 57; 117170; FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.3 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GLH; EA; 150. 58; 4504; FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 415 V; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 14 X LG 60 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: GLASS; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: NS2; FUSE, CARTRIDGE; CURRENT 2 A, POTENTIAL 415 V, DIMENSIONS DIA 14 X LG 60 MM, TYPE CURRENT LIMITING, CASE MATERIAL GLASS, CONNECTION TYPE BLADE KNIFE, PART NUMBER: NS2 FUSE,CARTD; NS2,2 A,415 V,BLADE KNIFE; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 500. 59; 117839; FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 415 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 11 X LG 35 MM; TYPE: BOTTLE INDICATING; CASE MATERIAL: CERAMIC; SPECIFICATION: DIN 49522; SUPPL P/N: 5SE2302; EA; 50. 60; 117805; FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 415-550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 80 MM; INTERRUPT CAPACITY: 80 KA; TYPE: INDICATING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88-1967 PART 1; REFERENCE NO: 2SB2; ASTA CERTIFIED; EA; 150. 61; 117285; FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 23 X LG 84 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC60269; SUPPL P/N: 2STIA; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGHT 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE A2; EA; 500. 62; 117208; FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: 307020; EA; 25. 63; 117174; FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.35 X LG 32 MM; TYPE: SLO BLOW; CASE MATERIAL: CERAMIC; REFERENCE NO: 314020; EA; 25. 64; 117361; FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 415 VAC; 250 VDC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 14 X LG 55 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: NIT20; TAG ONE SIDE, TWO HOLES; EA; 250. 65; 117226; FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 415 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 13.9 X LG 60.3 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: NS20; FUSE, CARTRIDGE; CURRENT 20 A, POTENTIAL 415 VAC, DIMENSIONS DIA 13.9 X LG 60.3 MM, TYPE CURRENT LIMITING, CASE MATERIAL CERAMIC, CONNECTION TYPE BLADE KNIFE, PART NUMBER: NS20~FUSE, CARTD; NS20,20 A,415 VAC, CERAMIC; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 25. 66; 117227; FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 415 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 84 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TIA20; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 500. 67; 117696; FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 500 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: WD 20 X LG 78 X HT 35 MM; INTERRUPT CAPACITY: 1.12 KA; TYPE: INDICATING; CASE MATERIAL: CERAMIC; REFERENCE NO: NH00CGL; LIST NO 2000013; EA; 25. 68; 118298; FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 500 VAC; CONNECTION TYPE: LUG KNIFE BLADE AXIAL CENTER; DIMENSIONS: WD 27 X LG 78 X HT 58.5 MM; TYPE: TIME DELAY INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: 3NA3807; INCLOSED LINK, ONE TIME, PIN EXTENDS FROM END; EA; 25. 69; 221075; FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 550 V; CONNECTION TYPE: BLADE; DIMENSIONS: DIA 10 X LG 38 MM; TYPE: INDICATING; CASE MATERIAL: PLASTIC MOLDED; SUPPL P/N: 420020; EA; 25. 70; 117879; FUSE, CARTRIDGE: CURRENT: 200 A; POTENTIAL: 1.25 KVAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 51 X LG 138 MM; TYPE: INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: K79957; REFERENCE NO: 170E5690; HRC, PROTISTER; EA; 20. 71; 117196; FUSE, CARTRIDGE: CURRENT: 200 A; POTENTIAL: 3-3.3 KVAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 73 X LG 370 MM; CASE MATERIAL: PORCELAIN; REFERENCE NO: DRVAL6-200S; IEC/CEI282; SPRING LOADED PIN 120 N; EA; 25. 72; 117913; FUSE, CARTRIDGE: CURRENT: 200 A; POTENTIAL: 380-550 VAC; CONNECTION TYPE: SCREW OFFSET TAGS; DIMENSIONS: DIA 34 X LG 112 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: 200STFP SIBA; LOW VOLTAGE, HRC, BASE TYPE D, CLASS Q1, PLANT UNIT BOARDS; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 50. 73; 117883; FUSE, CARTRIDGE: CURRENT: 200 A; POTENTIAL: 660 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: WD 63 X LG 135 X HT 31 MM; INTERRUPT CAPACITY: 80 KA AC; 40 KA DC; TYPE: CURRENT LIMITING; CASE MATERIAL: PORCELAIN WHITE; SUPPL P/N: 317632; REFERENCE NO: B2TF200A; HRC, ASTA CERT; EA; 250. 74; 117882; FUSE, CARTRIDGE: CURRENT: 200 A; POTENTIAL: 660 VAC; CONNECTION TYPE: SCREW; DIMENSIONS: DIA 52 X LG 138 MM; TYPE: INDICATING; CASE MATERIAL: CERAMIC; REFERENCE NO: 170L4941; TYPOWER; EA; 25. 75; 117776; FUSE, CARTRIDGE: CURRENT: 200 A; POTENTIAL: 7.2 KVAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 81 X LG 438 MM; TYPE: INDICATING; CASE MATERIAL: GLASS FIBER; SPECIFICATION: IEC 60282-1; IEC 60787; REFERENCE NO: 757-317; SWITCH GEAR FUSE, 3.3 KV, FREQUENCY 50 HZ, PRESSURE 2.5 BAR, WITH STRIKER PIN, USED ON MERLIN GERIN BREAKERS; EA; 25. 76; 118049; FUSE, CARTRIDGE: CURRENT: 200 A; POTENTIAL: 900 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 51 X LG 137 MM; TYPE: INDICATING; CASE MATERIAL: CERAMIC; REFERENCE NO: F1F6; FOR MONISEMI 380/270; EA; 30. 77; 117164; FUSE, CARTRIDGE: CURRENT: 200 MA; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: ONE TIME REJECTION VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GBB; EA; 100. 78; 117888; FUSE, CARTRIDGE: CURRENT: 25 A; POTENTIAL: 240 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 14 X LG 50 MM; TYPE: INDICATING; CASE MATERIAL: PORCELAIN WHITE; SPECIFICATION: BS 88; HRC, CLASS Q1, 16, 12MM THICK; EA; 100. 79; 117209; FUSE, CARTRIDGE: CURRENT: 25 A; POTENTIAL: 32 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: FAST BLOW; CASE MATERIAL: GLASS; EA; 20. 80; 118332; FUSE, CARTRIDGE: CURRENT: 25 A; POTENTIAL: 415 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 13.9 X LG 55.6 MM; TYPE: INSTANTANEOUS ONE TIME REJECTION; CASE MATERIAL: CERAMIC; SUPPL P/N: NIT25; REFERENCE NO: 5001201; NORMAL OPERATING, OFFSET AXIAL LUG TYPE, 5.2 MM WITH SLOT, 44.5 MM MTG CENTRES, ONE TIME INDICATING, HOLE BLOWN IN LABEL; EA; 100. 81; 4645; FUSE, CARTRIDGE: CURRENT: 25 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 22 X LG 50 MM; TYPE: SLO BLO, BOTTLE, TIME DELAY INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: 5SB281; DIAZED, TYPE TDZ, MARKING GL/GG; EA; 75. 82; 119091; FUSE, CARTRIDGE: CURRENT: 25 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 14 X LG 51 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: C63211; TYPE AM, STRIKER; EA; 100. 83; 117229; FUSE, CARTRIDGE: CURRENT: 25 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 80 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: TIA25; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 250. 84; 117525; FUSE, CARTRIDGE: CURRENT: 25 A; POTENTIAL: 660 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: WD 48 X LG 50 X HT 30 MM; TYPE: INDICATING; CASE MATERIAL: PORCELAIN; SUPPL P/N: 3NE8015; REFERENCE NO: 2020920/25; EA; 50. 85; 117325; FUSE, CARTRIDGE: CURRENT: 250 A; POTENTIAL: 550 VAC; 460 VDC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 50 X LG 135 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TKF250; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 150. 86; 117798; FUSE, CARTRIDGE: CURRENT: 250 A; POTENTIAL: 660 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 38 X LG 110 MM; TYPE: TRIP INDICATOR; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; SUPPL P/N: TI700; REFERENCE NO: 250MT; SEMI CONDUCTOR, BRUSH; EA; 50. 87; 117729; FUSE, CARTRIDGE: CURRENT: 250 A; POTENTIAL: 7.2 KVAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 81 X LG 440 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: 0757318; USED ON MERLIN GERIN BREAKERS; EA; 50. 88; 117162; FUSE, CARTRIDGE: CURRENT: 3 A; POTENTIAL: 220 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5.2 X LG 20 MM; TYPE: SLO BLOW; CASE MATERIAL: GLASS; REFERENCE NO: GMA; EA; 100. 89; 117237; FUSE, CARTRIDGE: CURRENT: 315 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 39.7 X LG 136.5 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TKF315; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 50. 90; 117951; FUSE, CARTRIDGE: CURRENT: 315 A; POTENTIAL: 600 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 51 X LG 112 MM; TYPE: INDICATING; CASE MATERIAL: PORCELAIN; SUPPL P/N: 6B0DK3URGG31E315; REFERENCE NO: 19765; PROTISTOR; EA; 75. 91; 117614; FUSE, CARTRIDGE: CURRENT: 315 A; POTENTIAL: 800 VAC; CONNECTION TYPE: KNIFE BLADE W/SLOTS; DIMENSIONS: SQ 60 X LG 142 MM; TYPE: INDICATING; CASE MATERIAL: CERAMIC; SPECIFICATION: DIN 43620; REFERENCE NO: 3NE4330; SLOT LENGTH 17MM X 10.5MM; EA; 50. 92; 118220; FUSE, CARTRIDGE: CURRENT: 32 A; POTENTIAL: 415 VAC; CONNECTION TYPE: KNIFE BLADE AXIAL OFFSET; DIMENSIONS: DIA 14.5 X LG 59 MM; TYPE: INSTANTANEOUS INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: NS32; REFERENCE NO: 32F06; HOLE BLOWN IN LABEL; EA; 150. 93; 117726; FUSE, CARTRIDGE: CURRENT: 32 A; POTENTIAL: 415 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 28 MM; INTERRUPT CAPACITY: 80 KA; TYPE: INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: MD32A; CLASS Q1; EA; 50. 94; 118481; FUSE, CARTRIDGE: CURRENT: 32 A; POTENTIAL: 415 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 84 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TIA32; HRCFUSE BODY LENGTH: 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A2; EA; 250. 95; 119179; FUSE, CARTRIDGE: CURRENT: 32 A; POTENTIAL: 500 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 12 X LG 54 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: NIT32; TAG TYPE, ONE SIDE, TWO HOLES; EA; 150. 96; 607755; FUSE, CARTRIDGE: CURRENT: 100 A; POTENTIAL: 690 VAC; CONNECTION TYPE: CLIP IN; DIMENSIONS: WD 97 X LG 130 X HT 50 MM; CASE MATERIAL: CERAMIC; SPECIFICATION: IEC 269; OEM P/N: 3NE1021-0; EA; 10. 97; 117630; FUSE, CARTRIDGE: CURRENT: 4 A; POTENTIAL: 240 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 14 X LG 47 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: SS4A; REFERENCE NO: BS881967; 20 PER BOX; EA; 100. 98; 117891; FUSE, CARTRIDGE: CURRENT: 4 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: SLO BLOW; CASE MATERIAL: GLASS; EA; 50. 99; 117218; FUSE, CARTRIDGE: CURRENT: 4 A; POTENTIAL: 415 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 14 X LG 60 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: NS4; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; EA; 50. 100; 117740; FUSE, CARTRIDGE: CURRENT: 4 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 38 MM; INTERRUPT CAPACITY: 100 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: CEI269-2; SUPPL P/N: NCF 63210; REFERENCE NO: 13004; EA; 25. 101; 221073; FUSE, CARTRIDGE: CURRENT: 4 A; POTENTIAL: 550 V; CONNECTION TYPE: BLADE; DIMENSIONS: DIA 10 X LG 38 MM; TYPE: INDICATING; CASE MATERIAL: PLASTIC MOLDED; SUPPL P/N: 420004; EA; 10. 102; 117293; FUSE, CARTRIDGE: CURRENT: 4 A; POTENTIAL: 550 V; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 84 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; REFERENCE NO: TIA4; CLASS Q1(HRC); BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 200. 103; 118168; FUSE, CARTRIDGE: CURRENT: 40 A; POTENTIAL: 415 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 85 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TIS40; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; EA; 100. 104; 117914; FUSE, CARTRIDGE: CURRENT: 40 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP OFFSET TAGS; DIMENSIONS: DIA 22 X LG 84 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: A3; LOW VOLTAGE HRC, BASE TYPE B, CLASS Q1, BS88, FIXING CENTRE 73 MM; EA; 100. 105; 117239; FUSE, CARTRIDGE: CURRENT: 400 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 56 X LG 210 MM; INTERRUPT CAPACITY: 80 KA; TYPE: INDICATING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TM400; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 200. 106; 117653; FUSE, CARTRIDGE: CURRENT: 450 A; POTENTIAL: 600 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 76 X LG 210 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: PORCELAIN; SPECIFICATION: BS 88 IEC 60269; REFERENCE NO: 50-04001; FF450; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY HEIGHT 74 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG: SIZE C2; EA; 60. 107; 117163; FUSE, CARTRIDGE: CURRENT: 5 A; POTENTIAL: 220 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GMA; EA; 20. 108; 117895; FUSE, CARTRIDGE: CURRENT: 5 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: ONE TIME REJECTION; CASE MATERIAL: CERAMIC; REFERENCE NO: FF5A; EA; 50. 109; 117885; FUSE, CARTRIDGE: CURRENT: 50 A; POTENTIAL: 415-660 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 23 X LG 87 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: PORCELAIN WHITE; SPECIFICATION: BS 88/2-1975 Q1; REFERENCE NO: 5000201; A3; HRC, LG 50MM, THK 23.5MM; EA; 150. 110; 117231; FUSE, CARTRIDGE: CURRENT: 50 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 85 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TIS50; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 75. 111; 118199; FUSE, CARTRIDGE: CURRENT: 500 A; POTENTIAL: 500 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: WD 70 X LG 150 X HT 79 MM; INTERRUPT CAPACITY: 120 KA; TYPE: INSTANTANEOUS INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: 3NA1434; REFERENCE NO: 2000513/500; ENCLOSED LINK; NORMAL OPERATING, PIN EXTENDS FROM END; EA; 20. 112; 117240; FUSE, CARTRIDGE: CURRENT: 500 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 85 X LG 212 MM; INTERRUPT CAPACITY: 80 KA; TYPE: INSTANTANEOUS; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TTM/FFM500; NORMAL INSTANTANEOUS OPERATING; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY HEIGHT 85 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: C2; EA; 300. 113; 117778; FUSE, CARTRIDGE: CURRENT: 500 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 59 X LG 210 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; BRUSH, MOTOR CIRCUIT FUSELINK, ASTA 20; EA; 60. 114; 575408; FUSE, CARTRIDGE: CURRENT: 500 A; POTENTIAL: 690 V; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 77.5 X LG 210 MM; INTERRUPT CAPACITY: 80 KA; TYPE: INSTANTANEOUS; CASE MATERIAL: CERAMIC; SPECIFICATION: BS88; IEC 269-1; MANUF P/N: FF500; EA; 600. 115; 4506; FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 240 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 14 X LG 50 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: GLASS; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: SS6; REFERENCE NO: SS6; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 400. 116; 117168; FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.3 X LG 30 MM; TYPE: ONE TIME REJECTION; CASE MATERIAL: GLASS; REFERENCE NO: AGC; EA; 20. 117; 117201; FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GMA; EA; 100. 118; 117640; FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 440 V; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 10 X LG 58 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: NS6; EA; 250. 119; 221078; FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 500 V; CONNECTION TYPE: BLADE; DIMENSIONS: DIA 10 X LG 38 MM; TYPE: INDICATING; CASE MATERIAL: PLASTIC MOLDED; SPECIFICATION: CLASS GG; SUPPL P/N: 420006; EA; 10. 120; 117256; FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 500 V; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 22 X LG 50 MM; TYPE: BOTTLE FAST BLOW; CASE MATERIAL: CERAMIC; SUPPL P/N: 5SB131; DIAZED, FLINK; EA; 50. 121; 117909; FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 14 X LG 54 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: 3NWNIT6; TYPE 5008501/6; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 100. 122; 117738; FUSE, CARTRIDGE: CURRENT: 63 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 22 X LG 58 MM; INTERRUPT CAPACITY: 100 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: CEI269-2; SUPPL P/N: NFC 63210; TYPE 15063; EA; 20. 123; 118275; FUSE, CARTRIDGE: CURRENT: 63 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP TAG; DIMENSIONS: DIA 22.2 X LG 90.5 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; SUPPL P/N: TIS63; ONE SIDE, TWO HOLES; FUSE BODY LENGTH: 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; EA; 180. 124; 117912; FUSE, CARTRIDGE: CURRENT: 63 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: LG 75 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: 3NWTIS63; REFERENCE NO: A3; LOW VOLTAGE HRC, LABEL COLOUR CODE PURPLE, BASE TYPE B, CLASS: Q1, BS88, SIDE TAGS WITH SLOT HOLES; EA; 100. 125; 117643; FUSE, CARTRIDGE: CURRENT: 63 A; POTENTIAL: 660 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: WD 30 X LG 77 X HT 47 MM; TYPE: INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: 3NE8 018; TEF 2020920/63; EA; 20. 126; 118519; FUSE, CARTRIDGE: CURRENT: 630 A; POTENTIAL: 550 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 75 X LG 210 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88-1975; SABS 172-1977; SUPPL P/N: TTM630; REFERENCE NO: TTM630; HRC; EA; 100. 127; 575581; FUSE, CARTRIDGE: CURRENT: 630 A; POTENTIAL: 700 V; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: WD 43 X LG 58 MM; INTERRUPT CAPACITY: 700KA AC; 200KA DC; TYPE: SEMI CONDUCTOR; MANUF P/N: 170M3273; 0-1367 (MILLI OHMS); EA; 20. 128; 118028; FUSE, CARTRIDGE: CURRENT: 630 A; POTENTIAL: 750 VAC; CONNECTION TYPE: SCREW DOWN; DIMENSIONS: DIA 64 X LG 85 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: STL; REFERENCE NO: N78028-750 C1G URE 630; PROTISTOR, 35 DEG C, TWO CONNECTIONS ON ONE SIDE THREADED +- 10MM HOLE, THREE CONNECTIONS OTHER SIDE THREADED +- 10MM HOLE, FOR USE ON GENERATOR ROTATING DIODES ON EXITER; EA; 30. 129; 117908; FUSE, CARTRIDGE: CURRENT: 80 A; POTENTIAL: 550 VAC; 250 VDC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 33 X LG 112 MM; INTERRUPT CAPACITY: 80/40 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; SUPPL P/N: TCP80A; REFERENCE NO: A4; LOW VOLTAGE, LABEL COLOUR CODE YELLOW, BASE TYPE C, CLASS: Q1, SLOT 5.2MM; EA; 300. 130; 117233; FUSE, CARTRIDGE: CURRENT: 80 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 26.2 X LG 111 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TCP80; OFF-SET TAGS 2-HOLE FIXING; FUSE BODY LENGTH: 58 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A4; EA; 50. 131; 117193; FUSE, CARTRIDGE: CURRENT: 80 A; POTENTIAL: 660 VAC; CONNECTION TYPE: FERRULE OPEN SLOTTED TAGS; DIMENSIONS: WD 30 X LG 54 X HT 51 MM; TYPE: ULTRA RAPID INDICATING; CASE MATERIAL: CERAMIC; TYPOWER SILCO, 2800A2S, WITH STRIKER PIN, BLOWN INDICATOR, PRE ARCHING INTEGRAL FROM COLD, 390A2S; EA; 30. 132; 117777; FUSE, CARTRIDGE: CURRENT: 800 A; POTENTIAL: 1250 VAC; CONNECTION TYPE: BOLTED; DIMENSIONS: DIA 73 X LG 75 MM; INTERRUPT CAPACITY: 100 KA; TYPE: ULTRA FAST ACTING; CASE MATERIAL: PORCELAIN; SPECIFICATION: BS 88/4-1976; IEC 269-4; SUPPL P/N: C3URL; TYPE ONE TIME REJECTION, (850 GSG 1000 150A) HRC LINK FOR PROTECTIVE SEMI CONDUCTORS, 660 VAC; EA; 10. 133; 595719; FUSE, CARTRIDGE: CURRENT: 100 A; POTENTIAL: 415 VDC; CONNECTION TYPE: KNIFE BLADE AXIAL OFFSET; DIMENSIONS: DIA 21 X LG 36.5 MM; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; OEM P/N: ESD63M100; EA; 150. 134; 595718; FUSE, CARTRIDGE: CURRENT: 63 A; POTENTIAL: 415 VAC; CONNECTION TYPE: KNIFE BLADE AXIAL OFFSET; DIMENSIONS: DIA 17.5 X LG 34.6 MM; TYPE: CARTRIDGE; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; OEM P/N: NSD32M63; EA; 260. 135; 253313; HOLDER, FUSE: POTENTIAL: 400 VAC; CURRENT: 32 A; FUSE SIZE: DIA 10 X LG 38 MM; FUSE STYLE: CYLINDRICAL; MOUNT: DIN RAIL; SUPPL P/N: 480032; INDUSTRIAL MODULAR; EA; 10. 136; 117177; HOLDER, FUSE: FUSE SIZE: LG 46 MM; FUSE STYLE: FERRULE; CONNECTION TYPE: 2 PIN; SUPPL P/N: SMSF372; C/W NYLON WASHER AND LOCKING NUT; EA; 20. 137; 142147; LEVER: TYPE: HANDLE; MATERIAL: BAKELITE; APPLICATION: FUSED ISOLATOR; REFERENCE NO: 8UC6313-1BB30; SIZE: 180MM LG; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).; EA; 20. 138; 142150; LEVER: TYPE: HANDLE; MATERIAL: PLASTIC; APPLICATION: FUSED ISOLATOR; REFERENCE NO: 8UC7414-1BB44; SIZE: 235MM LG; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).; EA; 150. 139; 590712; FUSE: TYPE: SQUARE BODY; CURRENT: 900 A; POTENTIAL: 700 VAC; CONNECTION: 653 STUD MOUNT; DIMENSIONS: SQ 76 X LG 139 MM; SPECIFICATION: EC 60269: PART 4; MANUF P/N: 3BHB022904R0001; HIGH SPEED; EA; 45. 140; 580041; FUSE, CARTRIDGE: CURRENT: 32 A; POTENTIAL: 6 KV; CONNECTION TYPE: FUNNEL; DIMENSIONS: DIA 51 X LG 295 MM; MANUF P/N: HIES417848P0001; EA; 10. 141; 117159; FUSE, CARTRIDGE: CURRENT: 125 A; POTENTIAL: 220 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GMA; AE; EA; 10. 142; 118048; FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 500 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 21 X LG 50 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: 029-006036; F13F14; FOR MINISEMI 380/270, RE ORDER NO 029.006036; EA; 50. 143; 117699; FUSE, CARTRIDGE: CURRENT: 4 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 38 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: 13304; GL / 133-04; EA; 50. 144; 117194; FUSE, CARTRIDGE: CURRENT: 50 A; POTENTIAL: 660 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: WD 48 X LG 78 X HT 30 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: IEC 269; REFERENCE NO: 3NE8017; VDE 0636; ENCLOSED LINK, 80MM LONG, BLOCK TYPE; EA; 50. 145; 117749; FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 38 MM; INTERRUPT CAPACITY: 100 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: CEI 269-2; NCF 63210; REFERENCE NO: 13306; EA; 50. Item nr; Material number; Material Description and Texts (Relays); UOM; QTY; Unit Price; Total Price. 1; 126366; RELAY, OVERLOAD: TYPE: THERMAL OVERCURRENT; CONTACT ARRANGEMENT: 1NO; RESET: MANUAL; TERMINAL: 15 PIN; MOUNT: PLUG IN; ENCLOSURE RATING: PLASTIC CLEAR; REFERENCE NO: RK642 003AA; EA; 10. 2; 126127; RELAY, TIME DELAY: OPERATION: 0.3-6 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 220 VAC; COIL VOLTAGE: 220 VAC; TERMINAL: CAPTIVE CLAMP; MOUNT: BRACKET; ENCLOSURE RATING: PLASTIC; SPECIFICATION: VDE0435; SUPPL P/N: 0110; AI953N0082; UNIVERSAL CONTACT; EA; 20. 3; 689548; RELAY, TIME DELAY: OPERATION: DELAY-ON; CONTACT ARRANGEMENT: 1NC 1NO; ACTION: SPDT; CONTACT RATING: 250 VAC 10 A; COIL VOLTAGE: 24-250 VAC; TERMINAL: 11 PIN PLUG IN; MOUNT: BASE; DP1/DP2/DP3; EA; 5. 4; 126197; RELAY, TIME DELAY: OPERATION: ON 0.15-3 S; CONTACT ARRANGEMENT: 1NO 1NC; ACTION: SPDT; CONTACT RATING: 250 VAC 5 A; COIL VOLTAGE: 220 VAC; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; REFERENCE NO: E72-OX 302F; FOR CONTROL PANELS; UNIVERSAL CONTACT; EA; 20. 5; 126198; RELAY, TIME DELAY: OPERATION: ON 0.5-10 S; CONTACT ARRANGEMENT: 1NO 1NC; ACTION: SPDT; CONTACT RATING: 250 VAC 6 A; COIL VOLTAGE: 220 VDC; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; REFERENCE NO: E72-OX 323F; FOR CONTROL PANELS; UNIVERSAL CONTACT; EA; 20. 6; 128030; RELAY, TIME DELAY: OPERATION: ON 0-1 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: 4PDT; COIL VOLTAGE: 220 VAC; TERMINAL: CAPTIVE SCREW QUICK CONNECT; MOUNT: PANEL; CONTACT MATERIAL: AG PLTD; ENCLOSURE RATING: PLASTIC CLEAR; SUPPL P/N: PR1KY; REFERENCE NO: HE341113/24; 50HZ; EA; 5. 7; 125888; RELAY, TIME DELAY: OPERATION: ON/OFF 0.1 S TO 60 HR; CONTACT ARRANGEMENT: 1NO 1NC; ACTION: SPDT; CONTACT RATING: 250 VAC 5 A; COIL VOLTAGE: 220 VAC; TERMINAL: CAPTIVE SCREW; MOUNT: BRACKET; REFERENCE NO: 25727706; RTC24; 245TCR; 15952; AUXILIARY, TIMING RANGE 0.6 +/- 0.3 S, 2 SETS OF CONTACTS FOR N/O AND N/C; UNIVERSAL CONTACT; EA; 5. 8; 124687; RELAY, TIME DELAY: OPERATION: ON/OFF 1-10 S; CONTACT ARRANGEMENT: 4NO 4NC; ACTION: 4PDT; CONTACT RATING: 380 V; COIL VOLTAGE: 48 VDC; TERMINAL: 14 PIN PLUG IN; MOUNT: TERMINAL SOCKET; CONTACT MATERIAL: AG PLTD; ENCLOSURE RATING: PLASTIC; REFERENCE NO: CEF4A-2222; TEMP 22, INST 22, USED ON GENERATOR AVR SYSTEM, GENERATOR CLOSE/OPEN LOOP CONTROL AND PROTECTION; EA; 5. 9; 187444; RELAY, TIME DELAY: OPERATION: ON/OFF 3-60 MIN; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 220 VAC 4 A; COIL VOLTAGE: 100/240 VAC; TERMINAL: 10 PIN PLUG IN; MOUNT: PANEL; CONTACT MATERIAL: AG PLTD; ENCLOSURE RATING: CLOSE; SUPPL P/N: GHC4620008R0004; EA; 5. 10; 126376; RELAY: CONTACT ARRANGEMENT: 1NO 1NC; CONTACT RATING: 220 VAC 2 A; 24 VDC 2 A; SPECIFICATION: DIN 42566; SUPPL P/N: BF50/10K; BUCHOLTZ, DC AT R L/R 75 MS, 50 HZ, REED SWITCHES DESIGN, MUST CORRESPOND TO THE STANDARD TGL15290 AND TO THE CONDITIONS LAID DOWN IN STIPULATIONS, THE CASING MUST BE FITTED WITH AT LEAST ONE LIQUID DISCHARGING SCREW AT THE LOWEST POINT, THE COVER MUST BE FITTED WITH A TEST COCK AND TEST KEY MOUNTED ON TOP, IN ORDER TO AVOID AN ACCUMULATION OF CONDENSED WATER IN THE TERMINAL BOX, THE LATTER SHOULD BE EQUIPPED WITH LABYRINTH, LIKE EARATION AND VENTILATION OPENINGS, TEST CERTIFICATE MUST BE SUPPLIED ON DELIVERY; EA; 5. 11; 125950; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 220 VAC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 250 VAC 10 A; ACTION: DPDT; TERMINAL: 8 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; REFERENCE NO: MK29-8; EA; 30. 12; 115380; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 3NO 3NC; CONTACT RATING: 110 VDC; ACTION: 3PDT; TERMINAL: 10 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; REFERENCE NO: RK279001 AA; TRC4800; TRIP CIRCUIT SUPERVISION; EA; 10. 13; 187436; RELAY, OVERLOAD: TRIP RANGE: 6-8.5 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 2NO 2NC; RESET: AUTOMATIC; TERMINAL: 7 PIN PLUG IN; MOUNT: CLIP ON; ENCLOSURE RATING: CLOSE; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: GJZ2420201R0039; T25; EA; 10. 14; 126986; BASE, RELAY: TYPE: 11 PIN TERMINAL; WIDTH: 42 MM; HEIGHT: 30 MM; MATERIAL: PLASTIC; LENGTH: 51 MM; SUPPL P/N: MK3PE5; REFERENCE NO: 2M4X30; EA; 5.00. 15; 147393; ALARM: TYPE: YODALARM SOUNDER; RATING: 220-240 VAC; OUTPUT: SIREN; SUPPL P/N: Y05AC; OUTPUT: 800 HZ AT 100 DB(A), COLOUR: RED, SOLID STATE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).; EA; 3.00. 16; 251528; BASE, RELAY: TYPE: PLUG IN 4 CONTACT; WIDTH: 22.5 MM; HEIGHT: 28 MM; MATERIAL: PLASTIC; POTENTIAL: 230 VAC; CURRENT: 6 A; REFERENCE NO: LZXPT570730; INCLUDES TEST BRACKET AND MECHANICAL SWITCH POS ITION INDICATOR WITHOUT LED; EA; 2.00. 17; 193563; RELAY, CONTROL: CONTACT RATING: 230-400 VAC; CONTACT ARRANGEMENT: 4NO; COIL VOLTAGE: 24 VDC; ACTION: SPDT; MOUNT: PLUG IN; TERMINAL: SCREW; ENCLOSURE RATING: IP20; REFERENCE NO: 3TH2040-OBB4; 40E; SCREW TERMINALS DC OPERATION DC SOLENOID SYSTEM DC 24 V; CONTROL SUPPLY VOLTAGE FOR DC/RATED VALUE: 24 V; AUXILIARY CIRCUIT: OPERATING CURRENT AT AC-15 AT 230 V/RATED VALUE= 4A; AT 400 V/RATED VALUE= 3 A; TEMPARATURE DURING OPERATION; -25 TO 55 DEG C; EA; 10. 18; 637247; RELAY, CONTROL: CONTACT RATING: 5 A; CONTACT ARRANGEMENT: 4NO; COIL VOLTAGE: 220 VAC; ACTION: 4PDT; MOUNT: BASE; TERMINAL: PLUG IN; CONTACT MATERIAL: CU; SPECIFICATION: IEC; TYPE: INSTANTANEOUS; REFERENCE NO: RHN 411M; EA; 25. 19; 125764; RELAY, CONTROL: CONTACT RATING: 600 VAC 10 A; CONTACT ARRANGEMENT: 2NO 2NC; COIL VOLTAGE: 220 VAC; ACTION: 4PST; MOUNT: PANEL; TERMINAL: CAPTIVE CLAMP; ENCLOSURE RATING: BAKELITE; SUPPL P/N: CAD32M7; REFERENCE NO: 023463; CONTACT UNIVERSAL; EA; 30. 20; 126045; RELAY, OVERLOAD: TRIP RANGE: 0.12-0.18 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: 910-341-922-00; B17S; REFERENCE NO: 910-341-922-00; GENERAL PURPOSE ENCLOSURE, RATED VOLTAGE: 660VAC, TO BE SET TO MOTOR CURRENT, VDE 0660, IEC 292-1; EA; 10. 21; 126049; RELAY, OVERLOAD: TRIP RANGE: 0.18-0.28 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B17S; REFERENCE NO: 910-341-923-00; RATED VOLTAGE 660VAC, FOR USE ON 380VOLT BOARDS; EA; 10. 22; 742540; RELAY, OVERLOAD: TRIP RANGE: 0.4 - 0.63 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL/AUTO; CURRENT: 0.4 - 0.63 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; APPLICATION: OVERLOAD PROTECTION; SUPPL P/N: LRD 04; RATED VOLTAGE 66OVAC; EA; 100. 23; 126058; RELAY, OVERLOAD: TRIP RANGE: 0.4-0.6 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B17S; REFERENCE NO: 910-341-925-00; RATED VOLTAGE: 66VAC, TO BE SET TO MOTOR CURRENT, FOR USE ON 380VOLT BOARDS; EA; 10. 24; 126019; RELAY, OVERLOAD: TRIP RANGE: 0.4-0.6 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP;; EA; 10. 25; 126039; RELAY, OVERLOAD: TRIP RANGE: 0.63-1 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; CURRENT: 0.8-1.2 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: LRD 05-034675; RATED VOLTAGE 660VAC; EA; 100. 26; 125728; RELAY, OVERLOAD: TRIP RANGE: 0.63-1 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; CURRENT: 10 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PLUG IN; CONTACT MATERIAL: SILVER PLTD; STORAGE TEMP RANGE: AMBIENT; SUPPL P/N: LRD05 0.63A-1A; RATING 380VAC, 0.37KW, RATED INSULATION VOLTAGE 660V, RATED CURRENT 10AMP; EA; 100. 27; 217377; RELAY, OVERLOAD: TRIP RANGE: 0.8-1.2 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT: 110 VAC; 24/48 VDC; SUPPL P/N: LR2-K0306; MODEL NO: 255899; RATED VOLTAGE 660V; EA; 10. 28; 742542; RELAY, OVERLOAD: TRIP RANGE: 1 - 1.6 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1 NO 1 NC; RESET: MANUAL/AUTO; CURRENT: 1 - 1.6 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; APPLICATION: OVERLOAD PROTECTION; SUPPL P/N: LRD 06; RATED VOLTAGE 660VAC; EA; 100. 29; 126057; RELAY, OVERLOAD: TRIP RANGE: 1.2-1.8 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 6 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B17S; REFERENCE NO: 910-351-928-00; RATED VOLTAGE: 660VAC, T = 6A, TO BE SET AT MOTOR RATED CURRENT, FOR USE ON 380VOLT BOARDS; EA; 10. 30; 126511; RELAY, THERMAL: TYPE: THERMISTOR; COIL VOLTAGE: 220 - 240 V; CONTACT RATING: 10 A; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE RATING: IP65; CONTACT TYPE: SILVER PLATED; CONTACT PLATING: SILVER; OVERALL DIAMETER: 20 MM; OVERALL WIDTH: 80 MM; OVERALL HEIGHT: 100 MM; CONTACT QUANTITY: 1NO 1NC; SUPPL P/N: 1SVR730712R2200; REFERENCE NO: CM-MSS.33S; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).; EA; 10. 31; 743856; RELAY, OVERLOAD: TRIP RANGE: 1.6 - 2.5 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1 NO 1 NC; RESET: MANUAL/AUTO; CURRENT: 1.6 - 2.5 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; APPLICATION: OVERLOAD PROTECTION; SUPPL P/N: LRD 07; RATED VOLTAGE 660VAC; EA; 100. 32; 148474; COMPARATOR: TYPE: VOLTAGE WINDOW; SUPPL P/N: SP230-380V-AC-DP; 380 VAC, THREE PHASE, TYPE: VC-180; EA; 300. 33; 125663; RELAY, OVERLOAD: TRIP RANGE: 1.8-2.8 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: 910-341-228-00; B27; REFERENCE NO: 910-341-228-00; UNIVERSAL CONTACT, RATED VOLTAGE 660VAC, SET TO MOTOR RATED CURRENT, FOR USE ON 380V BOARDS; EA; 10. 34; 126051; RELAY, OVERLOAD: TRIP RANGE: 1.8-2.8 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 1.8-2.8 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B17S; REFERENCE NO: 910-341-929-00; RATED VOLTAGE: 660VAC, VDE 0660, IEC 292/1; FOR USE ON 380VOLT PANEL BOARDS, PART NUMBER: B17S, REFERENCE: 910-341-929-00; EA; 10. 35; 126309; RELAY, OVERLOAD: TRIP RANGE: 1.8-2.8 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B27S; REFERENCE NO: 110585N; RATED VOLTAGE 660VAC; EA; 10. 36; 125271; RELAY, OVERLOAD: TRIP RANGE: 10-16 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SUPPL P/N: Z00-16; AUXILIARY CONTACT B150 R150, FOR USE ON ASH PLANT; UNIVERSAL CONTACT; EA; 10. 37; 126953; RELAY, OVERLOAD: TRIP RANGE: 1-1.6 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: SCREW CLAMP; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; SUPPL P/N: LR1-D09306; RATED VOLTAGE 600VAC, NUMBERS ON DIAL ARE FULL LOAD MOTOR CURRENTS; UNIVERSAL CONTACT; EA; 10. 38; 126717; RELAY, OVERLOAD: TRIP RANGE: 110-360 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 110 A; TERMINAL: 10 SCREW CLAMP; MOUNT: PANEL; ENCLOSURE RATING: OPEN; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: ET-360YN-360; WITH MODE SELECTIONS FOR 1 OVERLOAD, 2 SINGLE PHASE, 3 REVERSE PHASE, USED ON LP HEATER DRAIN PUMPS 380VOLT SWITCHGEAR; EA; 10. 39; 126052; RELAY, OVERLOAD: TRIP RANGE: 11-17 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 17 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B17S; REFERENCE NO: 910-341-937-00; RATED VOLTAGE 660VAC, TO BE SET TO MOTOR RATED CURRENT, FOR USE ON 380VOLT BOARDS; EA; 20. 40; 125254; RELAY, OVERLOAD: TRIP RANGE: 11-17 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 11-17 A; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; SPECIFICATION: IEC 947-4-1; VDE 0660; REFERENCE NO: 910-341- 957-00; B27S; 600VAC, 3 PIN, SIZE 76.5MM LONG 45MM WIDE 48MM THICK; EA; 10. 41; 126044; RELAY, OVERLOAD: TRIP RANGE: 12-18 A; TYPE: DIFFERENTIAL THERMAL OVERLOAD; CONTACT ARRANGEMENT: 1NO 1NC; RESET: PUSH-BUTTON; CURRENT: 10 A; TERMINAL: SCREW CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; APPLICATION: MOTOR PROTECTION; SPECIFICATION: IEC 60947-4-1; SUPPL P/N: LRD21; REFERENCE NO: 910-341-957-00; RATED VOLTAGE 660VAC, TO BE SET TO MOTOR RATED CURRENT, FOR USE ON 380VOLT BOARDS; EA; 10. 42; 125703; RELAY, OVERLOAD: TRIP RANGE: 15-23 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B67; REFERENCE NO: 910-341-334-00; RATED VOLTAGE: 660VAC, TO BE SET AT MOTOR CURRENT, TRIP CURRENT IS 120 PCT OF DIAL SETTING; EA; 10. 43; 187435; RELAY, OVERLOAD: TRIP RANGE: 160-250 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC; TERMINAL: 18 PIN PLUG IN; MOUNT: RAIL; ENCLOSURE RATING: CLOSE; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: T250; GJZ5221201R0071; EA; 10. 44; 126041; RELAY, OVERLOAD: TRIP RANGE: 16-24 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: PUSH-BUTTON; CURRENT: 10 A; TERMINAL: SCREW CLAMP; MOUNT: PANEL; ENCLOSURE RATING: IP20; CONTACT MATERIAL: SILVER PLTD; APPLICATION: MOTOR PROTECTION; SPECIFICATION: IEC 60529; REFERENCE NO: LRD22; RATED VOLTAGE: 660VAC, TRIP CURRENT IS 125 PCT OF DIAL SETTING; EA; 10. 45; 578445; RELAY, OVERLOAD: TRIP RANGE: 175-280 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 2NO 2NC; RESET: MANUAL; CURRENT: 310 A; TERMINAL: SCREW; MOUNT: REAR; ENCLOSURE RATING: NEMA 1; APPLICATION: CONTACTOR; OPERATING TEMP RANGE: -20 TO 55 DEG C; STORAGE TEMP RANGE: -30 TO 78 DEG C; REFERENCE NO: RTN5B; SEPARATE MOUNT; WITH AUXILLIARY CONTANTS; EA; 15. 46; 8202; RELAY, OVERLOAD: TRIP RANGE: 2.5-4 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 10 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PLUG IN; ENCLOSURE RATING: BAKELITE; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: 023257; LR2D1308; FOR USE ON M AND G SF6 BREAKERS; EA; 10. 47; 125259; RELAY, OVERLOAD: TRIP RANGE: 2.8-4 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 2.5-4.1 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; CONTACT MATERIAL: SILVER PLTD; OPERATING TEMP RANGE: -25 TO 60 DEG C; SUPPL P/N: B17S; REFERENCE NO: 910-341-930-00; B18K 2.5-4.1A; 380VAC, PLANT 380V UNIT BOARDS, 3 PIN; EA; 10. 48; 128014; RELAY, OVERLOAD: TRIP RANGE: 20-30 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 30 A; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; CONTACT MATERIAL: SILVER PLTD; REFERENCE NO: CT1-30; DELAYED TRIPLE POLE; EA; 10. 49; 607749; RELAY, OVERLOAD: TRIP RANGE: 23-32 A; TYPE: LOAD PROTECTION; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTO / MANUAL; CURRENT: 32 A; TERMINAL: SCREW DOWN; MOUNT: BASE; ENCLOSURE RATING: IP65; OPERATING TEMP RANGE: -4 TO 50 DEG C; REFERENCE NO: LRD 32; EA; 25. 50; 126994; RELAY, OVERLOAD: TRIP RANGE: 23-32 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: LRD3353; MOTOR FUSE RATING 40A AT 380V, 15KW AT 500V 18.5KW, 600V MAX RATED, MAX FUSE CAPACITY 110A; EA; 15. 51; 578448; RELAY, OVERLOAD: TRIP RANGE: 250-400 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 2NO 2NC; RESET: MANUAL; CURRENT: 500 A; TERMINAL: SCREW; MOUNT: REAR; ENCLOSURE RATING: NEMA 1; APPLICATION: CONTACTOR; OPERATING TEMP RANGE: -20 TO 55 DEG C; STORAGE TEMP RANGE: -30 TO 78 DEG C; REFERENCE NO: RTN5C; SEPARATE MOUNT; WITH AUXILLIARY CONTACTS; EA; 10. 52; 126995; RELAY, OVERLOAD: TRIP RANGE: 30-40 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; CURRENT: 40 A; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; REFERENCE NO: LR1D40355; O/A DIMENSIONS 53MM LONG X 90MM HIGH X 44MM WIDE, VOLTAGE 380VAC, 4 N/O CONTACTS, NUMBER ON DIAL ARE FULL LOAD MOTOR CURRENTS; UNIVERSAL CONTACT; EA; 10. 53; 126055; RELAY, OVERLOAD: TRIP RANGE: 32-50 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; CURRENT: 30-40 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 282-1; VDE 0660; SUPPL P/N: B77S; REFERENCE NO: 910-341-985; RATED CURRENT 30-40AMP, RATED VOLTAGE 660VAC, TRIP CURRENT 120 PCT OF DIAL SETTING, TO BE SET TO MOTOR CURRENT, FOR USE ON 380VOLT BOARDS; EA; 20. 54; 219515; RELAY, OVERLOAD: TRIP RANGE: 37-50 A; TYPE: THERMAL; MOUNT: SCREW; MANUF P/N: LA7D3064; LRD3357; LA7D902; POWER: 22 KW; NO OF POLES: 3; 380 VAC; WD 75 X LG 126 X HT 131 MM; EA; 20. 55; 126043; RELAY, OVERLOAD: TRIP RANGE: 22-32 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B77S; REFERENCE NO: 910-341-983-00; CURRENT VOLTAGE: 660VAC, AUXILLIARY CONTACTS A600 P300, TRIP CURRENT SET AT 125 PCT OF DIAL SETTING; EA; 10; R 5 637.41. 56; 742545; RELAY, OVERLOAD: TRIP RANGE: 4 - 6.3 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1 NO 1 NC; RESET: MANUAL/AUTO; CURRENT: 4 - 6.3 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; APPLICATION: OVERLOAD PROTECTION; SUPPL P/N: LRD 10; RATED VOLTAGE 660VAC; EA; 100. 57; 126546; RELAY, OVERLOAD: TRIP RANGE: 4.5-6.5 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; CURRENT: 25 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; SPECIFICATION: IEC 292-1; SUPPL P/N: SK831-101-K; REFERENCE NO: RVH22; MAX FUSE 35AMP, DELAY 25AMP, FOR USE ON GENERATOR TRANSFORMER COOLING FAN; UNIVERSAL CONTACT; EA; 10. 58; 126040; RELAY, OVERLOAD: TRIP RANGE: 4-6 A; TYPE: DIFFERENTIAL THERMAL OVERLOAD; CONTACT ARRANGEMENT: 1NO 1NC; RESET: PUSH-BUTTON; CURRENT: 10 A; TERMINAL: SCREW CLAMP; MOUNT: PANEL; ENCLOSURE RATING: IP20; CONTACT MATERIAL: SILVER PLTD; APPLICATION: MOTOR PROTECTION; SPECIFICATION: EN 50495; REFERENCE NO: LRD10; RATED VOLTAGE 660VAC; EA; 10. 59; 126310; RELAY, OVERLOAD: TRIP RANGE: 4-6 A; TYPE: THERMAL; RESET: MANUAL; SUPPL P/N: LR1-D09310; 600VOLT, 10AMP; EA; 10. 60; 125261; RELAY, OVERLOAD: TRIP RANGE: 4-6.3 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; OPERATING TEMP RANGE: -25 TO 60 DEG C; SUPPL P/N: B17S; REFERENCE NO: 910-341-931-00; 380VAC, 3 PIN MOUNTING, MAX SWITCHING FREQUENCY 15 OPERATIONS/HOUR, COMPLETE WITH MULTIFUNCTION BUTTON R, FOR USE ON 380V BOARDS; EA; 10. 61; 120764; RELAY, OVERLOAD: TRIP RANGE: 4-6.3 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; REFERENCE NO: M611; EA; 10. 62; 125253; RELAY, OVERLOAD: TRIP RANGE: 5.6-8 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B27; REFERENCE NO: 910-341-231-00; RATED VOLTAGE 660VAC, AUXILLIARY CONTACT A600 P300, TRIP CURRENT IS 125 PCT OF DIAL SETTING, TO BE SET TO MOTOR RATED CURRENT, FOR USE ON 380V BOARDS; EA; 5. 63; 126748; RELAY, OVERLOAD: TRIP RANGE: 5-7 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: 3 PIN; 7 SCREW CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; REFERENCE NO: 910-341-933-00; PLANT 380V UNIT BOARDS CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B77S; REFERENCE NO: 910-341-983-00; CURRENT VOLTAGE: 660VAC, AUXILLIARY CONTACTS A600 P300, TRIP CURRENT SET AT 125 PCT OF DIAL SETTING; EA; 5. 64; 128609; RELAY, OVERLOAD: TRIP RANGE: 57-66 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; CURRENT: 10 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: LA7D3064; O/A DIMS 64MM LG X 115MM HT X 65MM WD, RATING 380VAC, 30KW, RATED INSULATION VOLTAGE 660V, RATED CURRENT 10AMP, FOR USE ON WATER TREATMENT PLANT CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B77S; REFERENCE NO: 910-341-983-00; CURRENT VOLTAGE: 660VAC, AUXILLIARY CONTACTS A600 P300, TRIP CURRENT SET AT 125 PCT OF DIAL SETTING; EA; 15. 65; 742541; RELAY, OVERLOAD: TRIP RANGE: 6 - 10 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1 NO 1 NC; RESET: MANUAL/AUTO; CURRENT: 6 - 10 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; APPLICATION: OVERLOAD PROTECTION; SUPPL P/N: LRD 14; RATED VOLTAGE 660VAC; EA; 100. 66; 126047; RELAY, OVERLOAD: TRIP RANGE: 6.5-8 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B17S; REFERENCE NO: 910-341-934-00; RATED VOLTAGE 660VAC, TRIP CURRENT IS 125 PCT OF DIAL SETTING, FOR USE ON 380VOLT BOARDS; EA; 10. 67; 126998; RELAY, OVERLOAD: TRIP RANGE: 63-80 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; CURRENT: 60-80 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: LR2 D3363; LA7 D3064; REFERENCE NO: RA1FA60-80; RATED VOLTAGE 380V, O/A DIMS 135MM LG X 122MM HT X 124MM WD, NUMBERS ON DIAL ARE FULL LOAD MOTOR CURRENTS, NEW REPLACEMENT, 3 POLE, COMPLETE WITH BASE; EA; 20. 68; 125258; RELAY, OVERLOAD: TRIP RANGE: 660 V; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 55-80 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: 910-341-782; REFERENCE NO: B177S; RATED VOLTAGE 660V, TRIP CURRENT IS 120 PCT OF DIAL SETTING; EA; 10. 69; 126050; RELAY, OVERLOAD: TRIP RANGE: 660 VAC 0.28-0.4 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B17S; REFERENCE NO: 910-341-924-00; TO BE SET TO MOTOR FULL LOAD CURRENT, FOR USE ON 380VOLT BOARDS; EA; 10. 70; 126547; RELAY, OVERLOAD: TRIP RANGE: 6-8.5 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SPECIFICATION: IEC 292-1; SUPPL P/N: RV22 / 1; SK831101-L; REFERENCE NO: T25D48.5; MAX FUSE 35AMP, DELAY 35AMP, FOR USE ON GENERATOR TRANSFORMER 400KV , COOLING FAN; UNIVERSAL CONTACT; EA; 10. 71; 126038; RELAY, OVERLOAD: TRIP RANGE: 80-110 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B117S; REFERENCE NO: 910-341-593-00; RATED VOLTAGE: 660VAC, TRIP CURRENT 125 PCT OF DIAL SETTING; EA; 10. 72; 125260; RELAY, OVERLOAD: TRIP RANGE: 8-12.5 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 8-12 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B18KM 8-12A; REFERENCE NO: 910-341-936-00; RATED VOLTAGE 660VAC, TO BE SET AT MOTOR RATED CURRENT; EA; 20. 73; 126048; RELAY, OVERLOAD: TRIP RANGE: 8-12.5 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B17S; REFERENCE NO: 910-342-047; TRIP CURRENT IS 125 PCT OF DIAL SETTING, FOR USE ON 380VOLT BOARDS; EA; 10. 74; 742543; RELAY, OVERLOAD: TRIP RANGE: 9 - 14 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1 NO 1 NC; RESET: MANUAL/AUTO; CURRENT: 9 - 14 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; APPLICATION: OVERLOAD PROTECTION; SUPPL P/N: LRD 16; RATED VOLTAGE 660VAC; EA; 100. 75; 742532; RELAY, OVERLOAD: TRIP RANGE: 2.5 - 4 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1 NO 1 NC; RESET: MANUAL/AUTO; CURRENT: 4 A; TERMINAL: CAPTIVE; EA; 100. 76; 237035; RELAY, SOLID STATE: TYPE: PROTECTION; COIL VOLTAGE: 1.7 KVAC; CONTACT RATING: 10 KA; MOUNT: SURFACE; SUPPL P/N: M550; CAPTIVE SCREW TERMINAL, GENERAL PURPOSE ENCLOSURE, MOTOR MASTER, 3 CORE BALANCE CT, 2 CTS, MOUNTING BRACKET CONVERTER; EA; 30. 77; 126616; RELAY, SOLID STATE: TYPE: PROTECTION; CONTACT RATING: 265 VAC 50 HZ; CURRENT: 5 A; MANUF P/N: SPAM 150C-AA; SUPPL P/N: SPCJ5034 SPAM150C; REFERENCE NO: RS 641 041-AA; EA; 5. 78; 148135; RELAY, TIME DELAY: OPERATION: 0.1 S TO 30 MIN; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 24-230 V AC/DC; COIL VOLTAGE: 220-240 VAC; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; REFERENCE NO: S117166-920; FOR 380 V CONTROL PANEL; UNIVERSAL CONTACT; EA; 20. 79; 126011; RELAY, TIME DELAY: OPERATION: 0.1-0.95 S; CONTACT ARRANGEMENT: 1NO 1NC; ACTION: SPDT; CONTACT RATING: 220 VAC 3 A; COIL VOLTAGE: 24 VDC; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SPECIFICATION: VDE0110/0435; REFERENCE NO: AI93004; M 10812/2; VARIMETER, RATING AI+/A2 24 VOLT, I+/K 0.5-5 AMP; EA; 20. 80; 151365; RELAY, TIME DELAY: OPERATION: 0.1S-1HR; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 220-240 VAC 10 A 1-6 VA; COIL VOLTAGE: 20-265 V AC/DC; SUPPL P/N: ST101DPDT; TYPE PROGRAM MULTI-FUNCTIONAL, 1PH, TIMER RANGE: 10 SEC-240 MIN, AUX. CONTACTS: 1 X INSTANTANEOUS AND 1 CONTACTS; EA; 100. 81; 126497; RELAY, TIME DELAY: OPERATION: 0.6-6 S; CONTACT ARRANGEMENT: 1NO; ACTION: SPST; CONTACT RATING: 250 VDC 300 MA; COIL VOLTAGE: 250 VDC; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; REFERENCE NO: 7PU7020; USE ON ACC FAN TRANSFORMER PROTECTION CIRCUIT; UNIVERSAL CONTACT; EA; 20. 82; 128633; RELAY, TIME DELAY: OPERATION: 1.8-120 S; 1-4 HR; ACTION: DPDT; COIL VOLTAGE: 90-250 VAC; TERMINAL: 11 PIN; REFERENCE NO: ST100DPDT; TYPE MULTI-FUNCTION, SLIMLINE MULTI FUNCTION, 0PCT TO 100PCT; EA; 20. 83; 125857; RELAY, TIME DELAY: OPERATION: 0.1 S TO 30 MIN; 0.1 MIN TO 30 HR; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 220/240 VAC 5 A; COIL VOLTAGE: 220 VAC; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; SUPPL P/N: RS122MHATX; COMPLETE WITH BASE, 11 FERRULE CONNECTORS, FOR USE ON 380 V BOARDS; UNIVERSAL CONTACT; EA; 20. 84; 638084; RELAY, TIME DELAY: OPERATION: 4-6 MS; CONTACT ARRANGEMENT: 4NO 4NC; ACTION: 4PDT; CONTACT RATING: 220 VAC 5 A; COIL VOLTAGE: 220 VAC; TERMINAL: HOLE; MOUNT: PLUG IN; REFERENCE NO: RHT 411M; EA; 15. 85; 695949; RELAY, TIME DELAY: OPERATION: 50MS TO 100 HR; CONTACT ARRANGEMENT: 2NC; ACTION: DPDT; CONTACT RATING: 250 VAC 5A; COIL VOLTAGE: 24-240 V AC/DC; TERMINAL: 9 SCREW; MOUNT: DIN RAIL; ENCLOSURE RATING: IP40; SPECIFICATION: EN 50178; REFERENCE NO: ETD-SL-1T-DTF; DATA SHEET OR MANUAL SHOULD BE PROVIDED WITH RELAY; MUST BE CAPABLE OF 3S SWITCH OF DELAY; EA; 50. 86; 125863; RELAY, TIME DELAY: OPERATION: ON 0-0.5 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; COIL VOLTAGE: 24 VDC; TERMINAL: 14 PIN PLUG IN; MOUNT: TERMINAL SOCKET; CONTACT MATERIAL: AG PLTD; ENCLOSURE RATING: PLASTIC CLEAR; OEM P/N: 9213-003; REFERENCE NO: HR115-02; FOR 665 MW REHEAT TURBO GENERATOR; EA; 5. 87; 125882; RELAY, TIME DELAY: OPERATION: ON 0.1-3 S; CONTACT ARRANGEMENT: 1NO; ACTION: SPST; CONTACT RATING: 240 VAC 15 A; COIL VOLTAGE: 24-240 V AC/DC; TERMINAL: CAPTIVE SCREW QUICK CONNECT; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; REFERENCE NO: VDE 0110-C; NFC 20010/20040; RE1LA001; MAX CURRENT 0.7 AMPS AT 20 DEG C, 2.5 W MAXIMUM; UNIVERSAL CONTACT; EA; 25. 88; 126543; RELAY, TIME DELAY: OPERATION: ON 0.1-30 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPST; CONTACT RATING: 500 VAC 10 A; TERMINAL: CAPTIVE CLAMP; SPECIFICATION: IEC 337/1; SUPPL P/N: TIDD0N; AC11, ITH 10 A, FOR USE ON GENERATOR TRANSFORMER COOLING FAN MOTORS AND PUMPS; UNIVERSAL CONTACT; CONTACTOR MOUNT; EA; 45. 89; 151366; RELAY, TIME DELAY: OPERATION: ON 0-10 S; CONTACT ARRANGEMENT: 1NO 1NC; ACTION: SPDT; CONTACT RATING: 250 VAC 5 A; COIL VOLTAGE: 48 VDC; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; ; PNEUMATIC, FOR USE ON MILL GREASING PLANT; UNIVERSAL CONTACT; EA; 10. 90; 151389; RELAY, TIME DELAY: OPERATION: ON 0-15 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 250 VAC 8 A; COIL VOLTAGE: 240 VAC; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; SPECIFICATION: VDE0435; SUPPL P/N: 4VA; REFERENCE NO: K3ZA20; PDA20; TELE, TIME ADJUSTMENT 0-100 PCT OF 15 SECONDS, DELAY OFF ON R1 SWITCH; UNIVERSAL CONTACT; EA; 30. 91; 239176; RELAY, TIME DELAY: OPERATION: ON 1-10 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 250 VAC 4 A; COIL VOLTAGE: 220 VAC; TERMINAL: 11 PIN; MOUNT: PLUG IN; ENCLOSURE RATING: PLASTIC; SUPPL P/N: KFA6-DWB.EX1.D; ADJUSTABLE RANGE X1,X10,X100/10MS-100MS, UNIVERSAL CONTACT; EA; 50. 92; 589595; RELAY, TIME DELAY: OPERATION: ON 1-10 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 250 VAC 4 A; COIL VOLTAGE: 230 VAC; TERMINAL: 11 PIN PLUG IN; MOUNT: RAIL; ENCLOSURE RATING: PLASTIC; REFERENCE NO: KFA6-DU-EX1.D; EA; 40. 93; 125932; RELAY, TIME DELAY: OPERATION: ON/OFF 0.6 S TO 60 MIN; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 220 VAC 5/8 A; COIL VOLTAGE: 10-265 V AC/DC; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; REFERENCE NO: XMS2; EA; 20. 94; 695950; RELAY: TYPE: CONTACTOR; COIL VOLTAGE: 24 V; CONTACT ARRANGEMENT: 8NO; CONTACT RATING: 10 A; ACTION: (8) SPDT; TERMINAL: 8 SCREW; MOUNT: DIN RAIL; ENCLOSURE RATING: IP00; OEM P/N: 3TH4280-0BB4; DATA SHEET OR MANUAL SHOULD BE PROVIDED WITH THE ITEM; MUST HAVE 8 X NO CONTACTS; EA; 50. 95; 661457; RELAY: TYPE: 4 CHANGE OVER CONTACTS; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: SINGLE THROW; CONTACT RATING: 2 A; ACTION: 4PDT; TERMINAL: SCREW ON; MOUNT: DIN RAIL; ENCLOSURE RATING: IP20; CONTACT MATERIAL: AG NI; REFERENCE NO: RIF-2-RSC-LDP-24DC/4X21; FOR HP BYPASS AND REHEAT SAFETY VALVE; EA; 35. 96; 125870; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 3NO; ACTION: DPDT; TERMINAL: 14 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; OEM P/N: 9233-007; REFERENCE NO: HR114-02; COMPLETE WITH BASE, FOR 665 MW REHEAT TURBO GENERATOR; EA; 5. 97; 613948; RELAY: TYPE: ANTI SEISMIC; COIL VOLTAGE: 24-240 VAC; CONTACT ARRANGEMENT: DOUBLE THROW; CONTACT RATING: 24-240 VAC 3 A; ACTION: SPST; TERMINAL: 2; MOUNT: BOLTED FLANGE; ENCLOSURE RATING: IP65; SPECIFICATION: TSP41-60 REV 1; DRAWING NO: 1ZZA566001-TA REV 0; MAGNETIC READ SWITCHES; BREAKING: 400 VAC OR 250 W DC CAPACITY; MAXIMUM TILT OF 2 DEG TO 4 DEG ON HORIZONTAL AXIS; TRANSFORMER OIL CONTENT 10 000 TO 50 000 L; ALARM TO OPERATE AT APPROX 800+/-100 CC GAS ACCUMULATION; OIL SURGE FLOW RATE BETWEEN 900 AND 1600 MM/S; INSPECTION WINDOW TO BE TEMPERED GLASS; OIL FLOW DIRECTION (FROM TANK TO CONSERVATORS); EA; 5. 98; 125693; RELAY: TYPE: AUX; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 230 VAC 16 A; ACTION: DPDT; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: IP67; SPECIFICATION: EN 60529; REFERENCE NO: SH04-22E; 910.302.191.00; 24 VDC; 220 VAC, CONTACT UNIVERSAL; EA; 120. 99; 125252; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 220 VAC; CONTACT ARRANGEMENT: 3NO 3NC; CONTACT RATING: 380 VAC 16 A 50 HZ; ACTION: 4PST; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SPECIFICATION: BS 4794; IEC 337; VDE 0660; SUPPL P/N: SH05-31E; REFERENCE NO: 910-303-052-00; FOR USE ON 380 V BOARDS, CONTACT UNIVERSAL; EA; 50. 100; 6081; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 220 VAC; CONTACT ARRANGEMENT: 3NO 3NC; CONTACT RATING: 250 VAC 10 A; ACTION: SPDT; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; REFERENCE NO: MK3P5; SUPPLIED WITHOUT BASE; EA; 200. 101; 126553; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: (2) 4NO 4NC; ACTION: (2) 4PDT; TERMINAL: 34 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; REFERENCE NO: RK251401AS; PROTECTION; EA; 5. 102; 125661; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 230 VAC 16 A; ACTION: 4PST; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SPECIFICATION: VDE0660; SUPPL P/N: SH0422E; REFERENCE NO: 910-302-191-00; 220 VDC COIL, CONTACT UNIVERSAL; EA; 50. 101; 126551; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 220/250 V; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 40-120 V V; ACTION: SPDT; TERMINAL: 24 PIN PLUG IN; MOUNT: PLUG IN; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: RK411102 DD; REFERENCE NO: RXEG21; VOLT SCALE 40-120 V, USE ON GENERATOR PROTECTION PANEL; EA; 5. 102; 125904; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 230 VAC; CONTACT ARRANGEMENT: 3NO 3NC; CONTACT RATING: 250 VAC 10 A; ACTION: 3PDT; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: BS 3955-1979 PART 3; SUPPL P/N: 60-13; CONTROL, VARIANT; EA; 25. 103; 126542; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 V AC/DC; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 220 VAC 6 A 250 VDC; ACTION: SPDT; TERMINAL: CAPTIVE SCREW; MOUNT: BRACKET; ENCLOSURE RATING: PLASTIC CLEAR; REFERENCE NO: RELKSR2947527; EA; 20. 104; 126540; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 250 VAC 10 A; ACTION: SPDT; TERMINAL: CAPTIVE SCREW; MOUNT: BRACKET; CONTACT MATERIAL: SILVER PLTD; REFERENCE NO: EMG10RELKSRG24-1; INTERPOSING, COMPLETE WITH BASE, SIEMENS ONLY; EA; 10. 105; 125248; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 4NO 4NC; CONTACT RATING: 240 VAC 5 A; 28 VDC 5 A; ACTION: 4PDT; TERMINAL: 14 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; REFERENCE NO: 55.34.9.024.0094; MY4 OMRON; EA; 75. 106; 125269; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 300 VAC 16 A; ACTION: 4PDT; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: IP67; SPECIFICATION: BS 4794; VDE 0660; SUPPL P/N: SH04-31E; REFERENCE NO: 910-302-171-00; ITH, CONTACT UNIVERSAL; EA; 75. 107; 125793; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 3NO 1NC; CONTACT RATING: 220/280 VAC 4/3 A; ACTION: 4PDT; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SPECIFICATION: IEC 337; VDE 0660; SUPPL P/N: 3TH2031E-0BB4; PLANT TURBINE AND COAL STACKER, CONTACT UNIVERSAL; EA; 25. 108; 125848; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 3NO 1NC; CONTACT RATING: 240 VAC 10 A; ACTION: 4PDT; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: IP67; SPECIFICATION: IEC 947 VDE 0660; REFERENCE NO: 31Z; 3TH2031-0BB4; CONTACT UNIVERSAL; EA; 25. 109; 125986; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 4NO 4NC; CONTACT RATING: 110/220/300 VAC 7.5/10 A; 30 VDC 10 A; ACTION: 4PDT; TERMINAL: 14 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: SH4B-05U; REFERENCE NO: RH4BU05U; WITH BASE; EA; 10. 110; 125792; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 4NO 4NC; CONTACT RATING: 380 VAC 10 A 2 W; ACTION: 8PDT; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: IP67; SPECIFICATION: IEC 337; VDE 0660; REFERENCE NO: 3TJ1114-0BB4; 44E; CONTACTOR, CONTACT UNIVERSAL; EA; 25. 111; 125976; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 250 VAC 7 A; ACTION: DPDT; TERMINAL: 8 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: MK2P; TILT SWITCH; EA; 75. 112; 125987; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 120/240 VAC 17.5/10 A; 30 VDC 7.5 A; ACTION: DPDT; TERMINAL: 8 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: SH2B05U; REFERENCE NO: RH2B; WITH SOCKET, LOCATED ON ANALYSER PANEL; EA; 50. 113; 125279; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; TERMINAL: 8 PIN SOLDER; MOUNT: PCB; ENCLOSURE RATING: OPEN; SUPPL P/N: E1-24V; REFERENCE NO: BRG8411; EA; 25. 114; 126074; RELAY: TYPE: AUXILIARY OVERCURRENT; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; TERMINAL: 10 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: METAL CAN; REFERENCE NO: HB561-4088; V23162GO721C404; 000000145441; HALLER, 890 OHM, CONTACT UNIVERSAL; EA; 20. 115; 125746; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 304-425 VAC; CONTACT ARRANGEMENT: 4NO 4NC; ACTION: 4PDT; TERMINAL: 14 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: RE3000; REFERENCE NO: 02582412; EA; 10. 116; 125250; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 380 VAC; CONTACT ARRANGEMENT: 4NO 1NC; CONTACT RATING: 600 VAC 16 A; ACTION: 4PDT; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SUPPL P/N: SH04-40E; REFERENCE NO: 910-302-043-813; SIZE 39 MM WD X 46 MM LG X 43.5 MM HT, FOR USE ON 380 V BOARDS; EA; 20. 117; 124688; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 48 VDC; CONTACT ARRANGEMENT: 4NO 4NC; ACTION: 4PDT; TERMINAL: 12 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: 405134; REFERENCE NO: REL 2089; CHAUVIN ARNOUX, FOR 665 MW REHEAT TURBO GENERATOR; EA; 5. 118; 126350; RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 48-55 VDC; CONTACT ARRANGEMENT: 2NO; ACTION: DPDT; TERMINAL: 6 PIN PLUG IN; MOUNT: TERMINAL SOCKET; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: RXME 18; REFERENCE NO: HEAVY DUTY, PROTECTION; EA; 5. 119; 126343; RELAY: TYPE: AUXILIARY; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 220-250 V; TERMINAL: 24 PIN PLUG IN; MOUNT: FLANGE; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: HG; SUPPL P/N: EEDR3; REFERENCE NO: CR600; BUCHHOLZ; EA; 5. 120; 144098; RELAY: TYPE: AUXILIARY; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 250 VAC 2 A 400 VA; MOUNT: FLANGE; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: HG; SUPPL P/N: 2DE/BS50 HA; BUCHOLZ, DIMENSIONS PIPE ID 51 MM 2 INCH, FLANGE WIDTH 139 MM 5.5 INCH, MAGNETIC CONTACTS; EA; 5. 121; 126375; RELAY: TYPE: AUXILIARY; CONTACT ARRANGEMENT: 1NO; MOUNT: FLANGE; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: HG; SUPPL P/N: CG663; REFERENCE NO: EEDR2; BUCHOLTZ, FOR USE ON ASEA TRANSFORMER 3150KVA, 50HZ, 3 PHASE; EA; 10. 122; 611406; RELAY: TYPE: ISOMETER; COIL VOLTAGE: 250 VAC; 300 VDC; CONTACT ARRANGEMENT: (2) 2NO 2NC; CONTACT RATING: 88-264 VAC; 77-286 VDC; ACTION: SPDT; TERMINAL: SCREW; MOUNT: DIN RAIL; ENCLOSURE RATING: HALOGEN; CONTACT MATERIAL: CD FREE CONTACT; SPECIFICATION: IEC 60715; OEM P/N: B91065104; RS485; EA; 10. 123; 257318; RELAY: TYPE: COUPLING; COIL VOLTAGE: 24 VDC; CONTACT RATING: 6 A; ACTION: SPDT; SUPPL P/N: REL-MR-24VDC/21 AU; POWER RATING MAXIMUM: 140 W; EA; 15. 124; 624214; RELAY: TYPE: ELECTROMAGNETIC; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: (2) 2NO 2NC; CONTACT RATING: 24 VDC 10 A; ACTION: (2) DPDT; TERMINAL: BASE; MOUNT: DIN RAIL; ENCLOSURE RATING: IP67; SPECIFICATION: IEC 60715; REFERENCE NO: MY2N-DC24 (24VDC); EA; 75. 125; 126079; RELAY: TYPE: FEED PUMP; COIL VOLTAGE: 24 VDC; CONTACT RATING: 1 A; TERMINAL: 12 PIN PLUG IN; MOUNT: BRACKET; ENCLOSURE RATING: OPEN; SUPPL P/N: IT94-3; HESG440-204R1; EA; 5. 126; 617141; RELAY: TYPE: GENERAL PURPOSE; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: (2) 3NO; CONTACT RATING: 30/110/220 VAC; ACTION: 3P; TERMINAL: 11 PIN PLUG IN; MOUNT: PLUG IN; ENCLOSURE RATING: IP40; CONTACT MATERIAL: CD FREE CONTACT; SPECIFICATION: ICS 31.220; REFERENCE NO: 60.13.9.220.0040; 60 SERIES RELAY; EA; 20. 127; 612359; RELAY: TYPE: GENERAL PURPOSE; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 2NO 3NC; CONTACT RATING: 30/110/220 VDC; ACTION: (2) 3PDT; TERMINAL: 11 PIN PLUG IN; MOUNT: PLUG IN; ENCLOSURE RATING: IP40; CONTACT MATERIAL: CD FREE CONTACT; SPECIFICATION: EN 60255; EA; 10. 128; 595899; RELAY: TYPE: ISOLATED AMPLIFIER; COIL VOLTAGE: 220-230 VAC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 500 VAC 4 A; ACTION: DPDT; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; ISOLATED AMPLIFIER; OUTPUT/CHANGE OVER 250 V; SUPPLY 15 PCT/45-65 HZ; CONTACT UNIVERSAL; VARIABLE PERCENTAGE DIFFERENTIAL; EA; 5. 129; 597747; RELAY: TYPE: PLUG IN; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 4 C/O CONTACTS; CONTACT RATING: 6 A; ACTION: 4P; TERMINAL: SCREW; MOUNT: PLUG IN; ENCLOSURE RATING: IP00; SPECIFICATION: DIN EN50022; OEM P/N: LZX: PT570024; 4 CONTACTS; EA; 30. 130; 503058; RELAY: TYPE: PHASE SEQUENCE SENSOR; COIL VOLTAGE: 220 VAC; CONTACT ARRANGEMENT: 1NO 1NC; TERMINAL: 3 SCREW; MOUNT: DIN RAIL TH-35; ENCLOSURE RATING: IP20; SPECIFICATION: PN-EN 60730-1; REFERENCE NO: CKM-01; 3 PHASE MONITOR; INPUT RATED VOLTAGE 230-400V; COLLECT PHASE SEQUENCE INDICATOR-LED GREEN; WRONG PHASE SEQUENCE INDICATOR-LED RED; EA; 25. 131; 618823; RELAY: TYPE: POWER SUPPLY MODULE; COIL VOLTAGE: 90-250 VDC; CONTACT ARRANGEMENT: PRE-CONFIGURED; CONTACT RATING: 8-10 A; ACTION: 3P; TERMINAL: PLUG IN; MOUNT: FLUSH; ENCLOSURE RATING: IP54; IP40; IP65; SPECIFICATION: IEC 61850; REFERENCE NO: T1035024; RET670V2.2; IT HAS 16 BINARY INPUT MODULE; FLUSH MOUNTING KIT WITH CUT-OUT DIMENSION; -1/2 CASE SIZE (H) 254.3MM (W) 210.1MM; EA; 10. 132; 590919; RELAY: TYPE: PROTECTION; COIL VOLTAGE: 24 VAC; CONTACT ARRANGEMENT: 20NO 2NC; CONTACT RATING: 18 A; ACTION: DPDT; TERMINAL: 8 PIN PLUG IN; MOUNT: BASE; ENCLOSURE RATING: OPEN; CONTACT MATERIAL: NI PLTD; MANUF P/N: MKS P15AC24; EA; 75. 133; 590920; RELAY: TYPE: PROTECTION; COIL VOLTAGE: 24 VAC; CONTACT ARRANGEMENT: 3NO 3NC; CONTACT RATING: 10 A; ACTION: 3PDT; TERMINAL: 11 PIN PLUG IN; MOUNT: BASE; ENCLOSURE RATING: OPEN; CONTACT MATERIAL: NI PLTD; MANUF P/N: 60.13.8.024.0040; EA; 50. 134; 613040; RELAY: TYPE: RELAY PROTECTION; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 11NO 8NC; CONTACT RATING: 10 A; ACTION: SPDT; TERMINAL: 8/11 PIN PLUG IN; MOUNT: PIN PLUG IN; ENCLOSURE RATING: IP40; CONTACT MATERIAL: AG NI; SPECIFICATION: CE; CSA; UL; VDE; REFERENCE NO: 60.13.9.024.0040; EA; 15. 135; 7241; RELAY: TYPE: SOLID STATE; COIL VOLTAGE: 3.5-32 VDC; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 400 VDC 12 A; ACTION: SPST; TERMINAL: SCREW; MOUNT: PANEL; ENCLOSURE RATING: OPEN; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: D4D12; REFERENCE NO: HIER464627P0001; CRYDOM MOFET, FOR USE ON TSS; EA; 15. 136; 229623; RELAY: TYPE: STARTING; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 250 VAC 10 A; TERMINAL: 8 PIN PLUG IN; MOUNT: BASE; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: CU; SUPPL P/N: 60.12.9.024.0040; 1 POLE; EA; 50. 137; 660884; RELAY: TYPE: TEMPERATURE; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 5 CHANGEOVER CONTACTS; CONTACT RATING: 220 VAC; ACTION: SPDP; TERMINAL: PLUG IN; MOUNT: PLUG IN; ENCLOSURE RATING: IP30; IP20; CONTACT MATERIAL: GALVANIC SEPARATION; SPECIFICATION: EN60715; REFERENCE NO: T224380; THE PT 100 THERMOSTAT TR400 IS A TEMPERATURE CONTROLLER AND MONITORS UP TO 4 PT 100 SENSORS AT THE SAME TIME; EA; 15. 138; 617142; RELAY: TYPE: TRANSFORMER PROTECTION/CONTROL; COIL VOLTAGE: 110-250 VDC; CONTACT ARRANGEMENT: (2) 2NO 1NC; CONTACT RATING: 110/220 VDC; ACTION: 3P; TERMINAL: PLUG IN; MOUNT: PANEL; ENCLOSURE RATING: IP65; SPECIFICATION: SFS-EN ISO 9001-2000; REFERENCE NO: RET630E_B; 1VHR91034623; SBTNAAABABAZENNBXB; RET630; OVERCURRENT RELAY; IT CONTAINS THE DISPLY LCD SCREEN; BUTTONS LED INDICATORS AND COMMUNICATION PORT; LCD RESOLUTION OF 30 X 240 PIXELS RJ-45 COMMUNICATION PORT; OUTPUT/INPUT BINARY SIGNAL INTERFACES; EA; 20. 139; 247013; RELAY: TYPE: UNDERVOLTAGE; COIL VOLTAGE: 220/380 VDC; MOUNT: PANEL; SUPPL P/N: G2PM400VSY20; THREE PHASE MONITORING RELAY; USED ON PROTECTION CIRCUIT BOARDS; EA; 25. 140; 126426; RELAY: TYPE: UNDERVOLTAGE; COIL VOLTAGE: 380 VAC; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SUPPL P/N: 4 VA; TR3-220V; MODEL NO: PW 380V O4X; VOLTAGE MONITURING, 50/60HZ; EA; 10. 141; 121098; RELAY: TYPE: VARIABLE PERCENTAGE DIFFERENTIAL; COIL VOLTAGE: 220 VAC; CONTACT ARRANGEMENT: 1NO 1NC; ACTION: SPDT; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; REFERENCE NO: SV190; SV190-220V; LEVEL INDICATION, ELECTROMATIC SYSTEM FOR CONTROL LEVEL SWITCH, CONTACT UNIVERSAL; EA; 5. 142; 125975; RELAY: TYPE: VARIABLE PERCENTAGE DIFFERENTIAL; COIL VOLTAGE: 220 VAC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 250 VAC 4 A; ACTION: DPDT; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: STL; SUPPL P/N: KFU8-UFT-2.D; REFERENCE NO: WE77GLU; 00283; WEM/GLU; +/- 15 PCT/50 HZ; EA; 10. 143; 126498; RELAY: TYPE: VARIABLE PERCENTAGE DIFFERENTIAL; COIL VOLTAGE: 19-24 VDC; CONTACT RATING: 30-240 VDC; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; MANUF P/N: 6EP17312BA00; 7PX8040-0A; CONTACT UNIVERSAL; EA; 25. 144; 613775; RELAY: TYPE: VARIABLE PERCENTAGE DIFFERENTIAL; COIL VOLTAGE: 220-230 VAC; CONTACT ARRANGEMENT: 1NO 1NC; CONTACT RATING: 500 VAC 4 A; ACTION: SPDT; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SUPPL P/N: KFA6-SR1-EX1.W.LB; AMPLIFIER SWITCH F KEI-1; EA; 40. 145; 630176; PROTECTOR, OVERLOAD: CURRENT: 0.4-0.6 A; TRIP RANGE: 0.6 A; POLE: 3; POTENTIAL: 415-600 VAC; TYPE: COAL STACKER; FREQUENCY: 50 HZ; CONTACT ARRANGEMENT: 1NO 1NC; MOUNT: BASE; TERMINAL: 3; INDUSTRY SIZE: 00; SPECIFICATION: 3VU1300-1ME00-7; SUPPLY VOLTAGE: 415 VAC; REFERENCE NO: 3VU1300-1ME00-7; EA; 50. 146; 142404; PROTECTOR, OVERLOAD: TRIP RANGE: 1.6-2.5 A; POLE: 3; POTENTIAL: 380 VAC; TYPE: MOTOR PROTECTION; SUPPL P/N: GV2 ME07; REFERENCE NO: 034307; TELEMECANIQUE; EA; 20. 147; 641423; PROTECTOR, OVERLOAD: CURRENT: 250 A; TRIP RANGE: 480 V 35-65 KA; POLE: 3; POTENTIAL: 380 V; REFERENCE NO: 140MG-J8P-D25; EA; 20. 148; 727052; PROTECTOR, OVERLOAD: CURRENT: 6-10 A; TRIP RANGE: 10 A; POLE: 3; POTENTIAL: 690 V; TYPE: MOTOR CIRCUIT BREAKER; FREQUENCY: 50/60 HZ; MOUNT: DIN RAIL; INDUSTRY SIZE: 0.26 KG; SUPPLY VOLTAGE: 690 V; REFERENCE NO: GV2ME14; EA; 100. 149; 126127; RELAY, TIME DELAY: OPERATION: 0.3-6 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 220 VAC; COIL VOLTAGE: 220 VAC; TERMINAL: CAPTIVE CLAMP; MOUNT: BRACKET; ENCLOSURE RATING: PLASTIC; SPECIFICATION: VDE0435; SUPPL P/N: 0110; AI953N0082; UNIVERSAL CONTACT; EA; 20. 150; 689548; RELAY, TIME DELAY: OPERATION: DELAY-ON; CONTACT ARRANGEMENT: 1NC 1NO; ACTION: SPDT; CONTACT RATING: 250 VAC 10 A; COIL VOLTAGE: 24-250 VAC; TERMINAL: 11 PIN PLUG IN; MOUNT: BASE; DP1/DP2/DP3; EA; 5. Item nr; Material number; Material Description and Texts (Contactors and Circuit Breakers); UOM; QTY; Unit Price; Total Price. 1; 657711; BREAKER, CIRCUIT, LOW VOLTAGE: MOUNT: DIN RAIL; TYPE: CURRENT; CONTROL VOLTAGE: 400 V; POLES: 2; CURRENT RATING: 10 A; VOLTAGE PROTECTION LEVEL: 440 VAC; RATED INSULATION VOLTAGE: 400 V; IMPULSE WITHSTAND VOLTAGE: 440 V AC; SHORT TIME CURRENT: 10 KA; POLLUTION CLASS: 3 DEG; ENCLOSURE RATING: IP20; SPECIFICATION: IEC 60068-2-27; APPLICATION: VARIOUS; PROTECTION: OVER CURRENT; CONTROL TYPE: PROTECTION; MANUF P/N: 5SY5210-7; EA; 20.00. 2; 554545; BREAKER, CIRCUIT: CURRENT: 10 A; TYPE: MINI; MANUF P/N: S282 UC-K; ABB ID NUMBER:GHS2820164R0427; EA; 50.00. 3; 623097; BREAKER, CIRCUIT: POTENTIAL: 480 VAC; CURRENT: 36 KA; POLE: 3; SPECIFICATION: IEC UL 489/CSA C22.2; TEMPERATURE RATING: -25 TO 55 DEG C; WIDTH: 105 MM; HEIGHT: 205 MM; TYPE: SWITCHGEAR; INTERRUPT CAPACITY: 36 KA; OEM P/N: 1SDA054117R1; EA; 5.00. 4; 119823; BREAKER, CIRCUIT: POTENTIAL: 220 V; CURRENT: 10 A; POLE: 1; TYPE: HYDRAULIC/MAGNETIC; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: SF1G3; EA; 20.00. 5; 119824; BREAKER, CIRCUIT: POTENTIAL: 220 V; CURRENT: 25 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: QFRG 325A; EA; 20.00. 6; 257314; BREAKER, CIRCUIT: POTENTIAL: 220 V; CURRENT: 6 A; TYPE: MINIATURE; SUPPL P/N: FSA 231 RT 6.0A; EA; 15.00. 7; 246563; BREAKER, CIRCUIT: POTENTIAL: 220 VAC; CURRENT: 0.4 A; TYPE: MINIATURE; REFERENCE NO: 01-20-1 71; FSA2310.4AGN; REQUIRED FOR TURBINE PLANT; EA; 15.00. 8; 119443; BREAKER, CIRCUIT: POTENTIAL: 220 VAC; CURRENT: 0.5 A; POLE: 1; TYPE: MINIATURE THERMAL MAGNETIC; COMPLETE WITH ALARM CONTACT; EA; 5.00. 9; 119598; BREAKER, CIRCUIT: POTENTIAL: 220 VAC; CURRENT: 15 A; POLE: 3; SPECIFICATION: SABS 156; TYPE: THERMAL; EA; 10.00. 10; 246564; BREAKER, CIRCUIT: POTENTIAL: 220 VAC; CURRENT: 2 A; TYPE: MINIATURE; REFERENCE NO: FSA231 2.0AGN; 0 1-20-174; REQUIRED FOR TURBINE PLANT; GREEN; EA; 5.00. 11; 119599; BREAKER, CIRCUIT: POTENTIAL: 220 VAC; CURRENT: 32 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT; EA; 25.00. 12; 257312; BREAKER, CIRCUIT: POTENTIAL: 220 VAC; CURRENT: 4 A; TYPE: MINIATURE; SUPPL P/N: FSA 231 GN 4.0A; EA; 5.00. 13; 257313; BREAKER, CIRCUIT: POTENTIAL: 220 VAC; CURRENT: 4 A; TYPE: MINIATURE; SUPPL P/N: FSA 231 RT; EA; 5.00. 14; 125991; BREAKER, CIRCUIT: POTENTIAL: 220/380 VAC; CURRENT: 1.6 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N: S210HS; S213K; REFERENCE NO: GHS2137251VO; STOTZ CONTACT; EA; 20.00. 15; 4795; BREAKER, CIRCUIT: POTENTIAL: 220/380 VAC; CURRENT: 10 A; POLE: 2; WIDTH: 59 MM; LENGTH: 80 MM; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 6 KA; REFERENCE NO: 5SQ22; 4 CONTACTS, 34.5MM THK; EA; 5.00. 16; 119613; BREAKER, CIRCUIT: POTENTIAL: 220/380 VAC; CURRENT: 16 A; POLE: 3; WIDTH: 52 MM; LENGTH: 80 MM; HEIGHT: 59 MM; TYPE: THERMAL MAGNETIC; SUPPL P/N: 5SX4316-7; REFERENCE NO: 5SN3316 SIEMENS; EA; 25.00. 17; 119614; BREAKER, CIRCUIT: POTENTIAL: 220/380 VAC; CURRENT: 25 A; POLE: 3; WIDTH: 52 MM; LENGTH: 80 MM; TYPE: THERMAL MAGNETIC; REFERENCE NO: G25A; 5SN3325; 6 CONTACTS; EA; 5.00. 18; 125989; BREAKER, CIRCUIT: POTENTIAL: 220/380 VAC; CURRENT: 6 A; POLE: 3; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 6 KA; SUPPL P/N: S213K6A; STOTZ, CURVE WITH ONE N/C AND ONE N/O, AUXILIARY CONTACT; EA; 5.00. 19; 6125; BREAKER, CIRCUIT: POTENTIAL: 220-380 VDC; CURRENT: 10 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: S211; FAIL PROTECTION ASSEMBLY, ENC EP68 ITEM C2-4; EA; 20.00. 20; 235004; BREAKER, CIRCUIT: POTENTIAL: 230 V; CURRENT: 25 A; POLE: 1; TYPE: DC-DC CONVERTER; INTERRUPT CAPACITY: 10 KA; SUPPL P/N: S201-B25; ABB, USED ON GAS 1 AUX PLANT; EA; 15.00. 21; 119615; BREAKER, CIRCUIT: POTENTIAL: 230/400 V; CURRENT: 2 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 6 KA; SUPPL P/N: 5SX 2102-7/5SX 9100; 1NO AND 1NC; EA; 5.00. 22; 119517; BREAKER, CIRCUIT: POTENTIAL: 230/400 VAC; CURRENT: 16 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 3 KA; SUPPL P/N: 5SN1316 / 15G163984; EA; 5.00. 23; 142324; BREAKER, CIRCUIT: POTENTIAL: 230/400 VAC; CURRENT: 2 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 6 KA; SUPPL P/N: 5SX21027 + 5SX9100; REFERENCE NO: 5SN7102-OKB30; WITH AUXILIIARY CONTACT; EA; 15.00. 24; 119856; BREAKER, CIRCUIT: POTENTIAL: 240 VAC; CURRENT: 2 A; POLE: 1; TYPE: MINIATURE THERMAL MAGNETIC; INTERRUPT CAPACITY: 8 KA; SUPPL P/N: C45N; 21321; MULTI 9, CATEGORY M6, FOR DC THYRUSTOR DRIVE PANEL; EA; 10.00. 25; 119616; BREAKER, CIRCUIT: POTENTIAL: 240/415 VAC; CURRENT: 10 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 6 KA; REFERENCE NO: SX21107; SINGLE LEVER, 1 N/O 1 N/C; EA; 10.00. 26; 623098; BREAKER, CIRCUIT: POTENTIAL: 24-250 VAC/DC; CURRENT: 6 A; POLE: 4; COLOR: GREY & WHITE; TYPE: SHUNT OPENING RELEASE; MOUNT: PANEL; INTERRUPT CAPACITY: 220 VAC; REFERENCE NO: 1SDA0548973R1; EA; 5.00. 27; 119736; BREAKER, CIRCUIT: POTENTIAL: 250 V; CURRENT: 5 A; POLE: 1; TYPE: THERMAL MAGNETIC; SUPPL P/N: ETA 2210-S111-N1M1; EA; 20.00. 28; 117704; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 0.4 A; POLE: 3; TYPE: THERMAL MAGNETIC; REFERENCE NO: C30327-Z61-A12-5SR1104-2; CUT OFF FUSE, GN; EA; 15.00. 29; 119956; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 0.5 A; POLE: 3; TYPE: MINIATURE THERMAL MAGNETIC; REFERENCE NO: C30327Z62A14; 6 POLE; EA; 20.00. 30; 118005; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 0.8 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N: C30327Z64A15; CUT OFF FUSE; EA; 20.00. 31; 117705; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 1 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N:; EA; 50.00. 32; 117708; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 1 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N: C30327Z62A16-5SR13102; REFERENCE NO: FSA2321.1; EA; 50.00. 33; 117709; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 2 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N: C30327Z61A16-5SR11202; REFERENCE NO: FSA2322.1; EA; 100.00. 34; 117706; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 2 A; POLE: 3; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 2 KA; SUPPL P/N: FG SICH 62A; CUT OFF FUSE, RT; EA; 20.00. 35; 117707; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 4 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N: C30327Z61A17-5RS11402; EA; 5.00. 36; 117710; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 4 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N: C30327Z62A31-5SR13402; EA; 25.00. 37; 117711; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 6 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N: C30327Z62A33-5SR16113X; EA; 20.00. 38; 119604; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 65 VDC; CURRENT: 0.5 A; POLE: 1; WIDTH: 12.5 MM; LENGTH: 68 MM; TYPE: THERMAL MAGNETIC; SUPPL P/N: ETA2210-S111-N1M1- Z111; 7 BLADE TERMINALS EQUI SPACED 6 X 6.8MM; EA; 20.00. 39; 119639; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 65 VDC; CURRENT: 1 A; POLE: 2; TYPE: THERMAL MAGNETIC; CONSISTING OF COMBINATION OF TWO SINGLE POLE BREAKERS AND SINGLE SWITCH ACTION WITH, 7 CONTACTS EACH, TYPE ETA2210-S121-N1M1-Z111-1A, 2325-4006; EA; 20.00. 40; 119603; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 65 VDC; CURRENT: 15 A; POLE: 1; TYPE: THERMAL MAGNETIC; REFERENCE NO: ETA2210-S111-N1M1-Z111-15A; ETA, 7 CONTACTS; EA; 20.00. 41; 119602; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 65 VDC; CURRENT: 2 A; POLE: 2; WIDTH: 12.5 MM; LENGTH: 68.7 MM; TYPE: THERMAL MAGNETIC; SUPPL P/N: ETA2210-S111-N1M1-Z111; BLADE TERMINALS EQUI SPACED 6 X 6.8MM; EA; 20.00. 42; 119638; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 65 VDC; CURRENT: 2.5 A; POLE: 1; WIDTH: 12.5 MM; LENGTH: 68 MM; TYPE: THERMAL MAGNETIC; SUPPL P/N: ETA 2210-S111-N1M1-Z111; 7 BLADE TERMINALS EQUI SPACED 6 X 6.8MM; EA; 20.00. 43; 119593; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 65 VDC; CURRENT: 8 A; POLE: 1; TYPE: THERMAL MAGNETIC; SUPPL P/N: ETA2210-S111-N1M1-Z111; 7 CONTACTS EQUI SPACED 6MM X 6.8MM; EA; 20.00. 44; 119735; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; CURRENT: 0.5 A; POLE: 2; WIDTH: 12.5 MM; LENGTH: 68 MM; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 25 KA; CONSIST OF TWO SINGLE POLE BREAKER ALONG SIDE WITH SWITH ACTION COMBINED, EACH SINGLE POLE BREAKER TO BE STANDARD, TYPE: ETA2210-S121- N1M1-Z111, 7 BLADE TERMINALS EQUI SPACED 6 X 6.8MM; EA; 20.00. 45; 119240; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; CURRENT: 10 A; POLE: 2; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 2.5 KA; REFERENCE NO: AM2-Z1V; COMPLETE WITH WIRES; EA; 20.00. 46; 119284; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; CURRENT: 20 A; POLE: 1; TYPE: HYDRAULIC MAGNETIC CURVE 1; INTERRUPT CAPACITY: 5 KA; SUPPL P/N: SF 1-G3; COMPLETE WITH BAKELITE SHROUDS, METAL CLIPTRAYS AND SCREWS; EA; 5.00. 47; 119251; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; CURRENT: 5 A; POLE: 1; TYPE: HYDRAULIC/MAGNETIC; INTERRUPT CAPACITY: 2.5 KA; REFERENCE NO: SA1-G3; EA; 10.00. 48; 119239; BREAKER, CIRCUIT: POTENTIAL: 250 VAC; CURRENT: 5 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 2.5 KA; REFERENCE NO: AM1Z1V; COMPLETE WITH WIRES; EA; 20.00. 49; 119550; BREAKER, CIRCUIT: POTENTIAL: 350-415 VAC; CURRENT: 45 A; POLE: 2; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA; SUPPL P/N: C45; MULTI 9; EA; 5.00. 50; 119680; BREAKER, CIRCUIT: POTENTIAL: 380 V; CURRENT: 16 A; POLE: 2; TYPE: THERMAL MAGNETIC; SUPPL P/N: 5SX4216-7RC; EA; 20.00. 51; 125992; BREAKER, CIRCUIT: POTENTIAL: 380 V; CURRENT: 32 A; POLE: 3; TYPE: THERMAL MAGNETIC CURVE K; INTERRUPT CAPACITY: 25 KA; REFERENCE NO: S203-K32; S2C-H6R; S2C-5/H6R; STOTZ, WITH 1 N/C + 1 N/O AUXILIARY CONTACTS; EA; 5.00. 52; 126199; BREAKER, CIRCUIT: POTENTIAL: 380 VAC; 440 VDC; CURRENT: 10 A; POLE: 2; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 10 KA; REFERENCE NO: 5SN9210-0KB30; AUXILIARY CONTACTS; EA; 10.00. 53; 125990; BREAKER, CIRCUIT: POTENTIAL: 380 VAC; 440 VDC; CURRENT: 2 A; POLE: 2; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 6 KA; REFERENCE NO: S210HS; S282UCK2; STOTZ, AUXILIARY CONTACTS 220VAC/5A, 220VDC/1A; EA; 5.00. 54; 119663; BREAKER, CIRCUIT: POTENTIAL: 380 VAC; 440 VDC; CURRENT: 32 A; POLE: 2; TYPE: THERMAL MAGNETIC; REFERENCE NO: 5SN8; EA; 5.00. 55; 119527; BREAKER, CIRCUIT: POTENTIAL: 380 VAC; CURRENT: 10 A; POLE: 2; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 6 KA; REFERENCE NO: 12U; FM12AD010EE; USED ON CARRIER AIR CONDITIONER, CARRIER; EA; 5.00. 56; 125993; BREAKER, CIRCUIT: POTENTIAL: 380 VAC; CURRENT: 16 A; POLE: 3; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 25 KA; SUPPL P/N: K16AS213; REFERENCE NO: S210-HS; AUXILLIARIES, 220V AC 5A/220V DC 1A, FOR USE ON ELECTRIC FEED PUMPS; EA; 5.00. 57; 119549; BREAKER, CIRCUIT: POTENTIAL: 380 VAC; CURRENT: 25 A; POLE: 3; SPECIFICATION: SABS 156; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA; SUPPL P/N: C45; MULTI 9; EA; 50.00. 58; 19595; BREAKER, CIRCUIT: POTENTIAL: 380 VAC; CURRENT: 32 A; POLE: 3; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: MULTI 9; EA; 50.00. 59; 119597; BREAKER, CIRCUIT: POTENTIAL: 380 VAC; CURRENT: 5 A; POLE: 3; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: MULTI 9; EA; 20.00. 60; 597746; BREAKER, CIRCUIT: POTENTIAL: 400 VAC/DC; CURRENT: 2.5 A; POLE: 3; CLASSIFICATION: IP20; SPECIFICATION: DIN EN 50022; TEMPERATURE RATING: -20 TO 70 DEG C; WIDTH: 45 MM; HEIGHT: 97 MM; TYPE: PROTECTION; MOUNT: SCREW/SNAP ON; INTERRUPT CAPACITY: 100 KA; OEM P/N: 3RV1021-1CA10; EA; 50.00. 61; 597743; BREAKER, CIRCUIT: POTENTIAL: 690 VAC/DC; CURRENT: 16 A; POLE: 3; TEMPERATURE RATING: -20 TO 70 DEG C; WIDTH: 45 MM; HEIGHT: 97 MM; TYPE: MOTOR PROTECTION; MOUNT: SCREW/SNAP ON; INTERRUPT CAPACITY: 4-50 KA; OEM P/N: 3RV1021-4AA10; SO; CLASS: 10; A-REL: 10-16A; N-REL 208A; STANDARD SWITCHING CAPACITY; PRODUCT FUNCTION: OVERLOAD PROTECTION; PHASE DISTURBANCE RECOGNITION; EA; 50.00. 62; 595905; BREAKER, CIRCUIT: POTENTIAL: 220-250 VAC; CURRENT: 0.5 A; POLE: 3; TEMPERATURE RATING: -20 TO 70 DEG C; WIDTH: 45 MM; HEIGHT: 97 MM; TYPE: MOTOR PROTECTION; MOUNT: SCREW/SNAP ON; INTERRUPT CAPACITY: 100 KA; OEM P/N: 3RV1021-OFA10; 0.35 TO 0.50A; N-RELEASE 6.5A; SIZE S0; CLASS 10; STANDARD BREAKING CAPACITY; PHASE DISTURBANCE RECOGNITION; PROTECTION ON THE FRONT: IP20; EA; 50.00. 63; 597745; BREAKER, CIRCUIT: POTENTIAL: 690 VAC/DC; CURRENT: 100-125 A; POLE: 3; CLASSIFICATION: IP20; TEMPERATURE RATING: 0-70 DEG C; WIDTH: 104.5 MM; HEIGHT: 174.5 MM; TYPE: OVERLOAD PROTECTION; INTERRUPT CAPACITY: 55 KA; OEM P/N: 3VL2712-1DC33-OAAO; EA; 5.00. 64; 119661; BREAKER, CIRCUIT: POTENTIAL: 415 VAC; 440 VDC; CURRENT: 10 A; POLE: 2; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 4.5 KA; SUPPL P/N: G10A; REFERENCE NO: 5SN08210; EA; 10.00. 65; 119662; BREAKER, CIRCUIT: POTENTIAL: 415 VAC; 440 VDC; CURRENT: 15 A; POLE: 2; TYPE: MINIATURE THERMAL MAGNETIC; INTERRUPT CAPACITY: 4.5 KA; REFERENCE NO: 5SX5216-7; EA; 15.00. 66; 615996; BREAKER, CIRCUIT: POTENTIAL: 415 VAC; CURRENT: 160 A; POLE: 3; CLASSIFICATION: INDOOR APPLICATION; SPECIFICATION: FDC35TF160GF; FRAME: FDC; TEMPERATURE RATING: 40 DEG C; WIDTH: 105 MM; LENGTH: 170 MM; HEIGHT: 170 MM; COLOR: WHITE; TYPE: 18KA MOLDED CASE; MOUNT: MCC B; INTERRUPT CAPACITY: 18 KA; 160A; 415VAC WITH 2 X NO AUX; SWITCH RIGHT MOUNTED; 2 X NC AUX; SWITCH RIGHT MOUNTED; 2 X SHUNT RELEASE RELAY; 1 X FDEMF8 FD OPERATORS; KEY LOCK FOR OPERATOR; EA; 5.00. 67; 119526; BREAKER, CIRCUIT: POTENTIAL: 415 VAC; CURRENT: 25 A; POLE: 3; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: FL12J025EE; SF3G3; EA; 5.00. 68; 119825; BREAKER, CIRCUIT: POTENTIAL: 415 VAC; CURRENT: 30 A; POLE: 1; TYPE: HYDRAULIC/MAGNETIC; INTERRUPT CAPACITY: 5 KA; SUPPL P/N: SF1G3; EA; 20.00. 69; 120111; BREAKER, CIRCUIT: POTENTIAL: 415 VAC; CURRENT: 30 A; POLE: 3; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA; EA; 25.00. 70; 575409; BREAKER, CIRCUIT: POTENTIAL: 440 VAC; 125 VDC; CURRENT: 10 A; POLE: 2; TYPE: MINIATURE; INTERRUPT CAPACITY: 6 KA; REFERENCE NO: XAL 144790-314; 2CDS252001R0105; EA; 25.00. 71; 623532; BREAKER, CIRCUIT: POTENTIAL: 440 VAC; 125 VDC; CURRENT: 2 A; POLE: 2; COLOR: WHITE; TYPE: MINIATURE; MOUNT: DIN RAIL; INTERRUPT CAPACITY: 6-10 KA; SUPPL P/N: 70100QB0; EA; 5.00. 72; 597744; BREAKER, CIRCUIT: POTENTIAL: 400 VAC/DC; CURRENT: 30 MA; POLE: 3; TEMPERATURE RATING: -5 TO 45 DEG C; WIDTH: 72 MM; HEIGHT: 90 MM; TYPE: CURRENT; MOUNT: SCREW TERMINAL; INTERRUPT CAPACITY: 1 KA; OEM P/N: 5SM3344-0; EA; 50.00. 73; 601011; BREAKER, CIRCUIT: POTENTIAL: 800 V; CURRENT: 250 A; POLE: 3; TEMPERATURE RATING: 40 DEG C; WIDTH: 115 MM; LENGTH: 150 MM; HEIGHT: 100 MM; COLOR: BLACK; TYPE: CONTROL; MOUNT: BOLTED; INTERRUPT CAPACITY: 8 KV; SUPPL P/N: LV431670; REFERENCE NO: 3P3DTM250T N5X250H; TO BE SUPPLIED WITH CABLE CONNECTORS (LV429259 & LV429248); TWO SPREDERS (LV431563) & ARC BARRIER (LV429330); EA; 5.00. 74; 672693; BREAKER, CIRCUIT: SWITCHGEAR DESIGN: CLIP ON; POTENTIAL: 690 V; CURRENT: 23 A; SHORT TIME CURRENT: 17-23 A; POLE: 3; CONTROL VOLTAGE: 400 V; CREEPAGE: 35 MM; BASIC INSULATION LEVEL: 690 V; INSULATION MATERIAL: GLASS FIBRE/PHOSPHATE FR; OPERATING CONTROL TYPE: PUSHBUTTON; POLLUTION CLASS: IEC 0157; APPLICATION: MOTOR PROTECTION; CLASSIFICATION: ASH; SPECIFICATION: IEC 60947-2; TEMPERATURE RATING: -20 TO 60 DEG C; WIDTH: 45 MM; HEIGHT: 89 MM; TYPE: TRANSVERSE MOVEBLE HEADS; REFERENCE NO: GV2ME21; EA; 100.00. 75; 119612; BREAKER, CIRCUIT: SWITCHGEAR DESIGN: DOMESTIC; POTENTIAL: 220/380 VAC; CURRENT: 20 A; SHORT TIME CURRENT: 25 KA; POLE: 2; CONTROL VOLTAGE: 220/440 VAC; POINT ON WAVE: 10-20 IN; CREEPAGE: 25 MM2; BASIC INSULATION LEVEL: 60 VDC; 120 VDC; 440 VAC; INSULATION MATERIAL: STRAP LIFT; OPERATING CONTROL TYPE: COIL; POLLUTION CLASS: WET HEAT; APPLICATION: SHORT CIRCUIT PROTECTION; WIDTH: 35 MM; LENGTH: 80 MM; HEIGHT: 59 MM; COLOR: WHITE; TYPE: THERMAL MAGNETIC; MOUNT: DIN RAIL; INTERRUPT CAPACITY: 10 KA; SUPPL P/N: 5SJ7220-7CC20; 4 CONTACTS; EA; 5.00. 76; 628972; BREAKER, CIRCUIT: SWITCHGEAR DESIGN: DOMESTIC; POTENTIAL: 380 VAC; CURRENT: 13-18 A; SHORT TIME CURRENT: 8 KA; POLE: 3; CONTROL VOLTAGE: 380 VAC; POINT ON WAVE: ZERO VOLTAGE; CREEPAGE: 1-4 MM2; BASIC INSULATION LEVEL: 8 KA; INSULATION MATERIAL: PLASTIC; OPERATING CONTROL TYPE: COIL-PUSH BUTTON; POLLUTION CLASS: IP20; APPLICATION: MOTOR PROTECTION; WIDTH: 45 MM; HEIGHT: 89 MM; MOUNT: CLIPS/SCREW; INTERRUPT CAPACITY: 223 A; REFERENCE NO: GV2ME20; EA; 100.00. 77; 620816; BREAKER, CIRCUIT: SWITCHGEAR DESIGN: DOMESTIC; POTENTIAL: 400 V; CURRENT: 1.6-2.5 A; SHORT TIME CURRENT: 8 KA; POLE: 3; CONTROL VOLTAGE: 380 VAC; POINT ON WAVE: ZERO; CREEPAGE: 1-4 MM2; BASIC INSULATION LEVEL: 8 KA; INSULATION MATERIAL: PLASTIC; OPERATING CONTROL TYPE: PUSHBUTTON; POLLUTION CLASS: IP20; APPLICATION: MOTOR PROTECTION; SPECIFICATION: GV2ME07; WIDTH: 45 MM; LENGTH: 78.2 MM; HEIGHT: 89 MM; TYPE: MOTOR PROTECTION; MOUNT: DIN RAIL; INTERRUPT CAPACITY: 100 KA; REFERENCE NO: GV2ME07; EA; 100.00. 78; 633360; BREAKER, CIRCUIT: SWITCHGEAR DESIGN: PUSHBUTTON; POTENTIAL: 380 VAC; CURRENT: 1-1.6 A; SHORT TIME CURRENT: 8 KA; POLE: 3; CONTROL VOLTAGE: 380 VAC; POINT ON WAVE: MOTOR CONTROLLED; CREEPAGE: 1-4 MM2; BASIC INSULATION LEVEL: 600 V; INSULATION MATERIAL: PLASTIC; OPERATING CONTROL TYPE: PUSHBUTTON; POLLUTION CLASS: IP20; APPLICATION: THERMOMAGNETIC TRIP UNIT; SPECIFICATION: CSA C22-2; WIDTH: 44.5 MM; LENGTH: 89 MM; HEIGHT: 78.2 MM; COLOR: BLACK; TYPE: THERMAL MAGNETIC MOTOR; PHASE SPACING: 2 KM; INTERRUPT CAPACITY: 1.6 A; OEM P/N: GV2ME6; EA; 150.00. 79; 119596; BREAKER, CIRCUIT: POTENTIAL: 380/415 VAC; CURRENT: 15 A; POLE: 3; TYPE: HYDRAULIC/MAGNETIC; INTERRUPT CAPACITY: 2.5 KA; OEM P/N: QA315; EA; 5.00. 80; 630486; BREAKER, CIRCUIT: SWITCHGEAR DESIGN: THERMAL MAGNETIC; POTENTIAL: 220/230 VAC; CURRENT: 2 A; SHORT TIME CURRENT: 6000 A; POLE: 1; CONTROL VOLTAGE: 220/230 VAC; POINT ON WAVE: TOGGLE; CREEPAGE: RIGID WIRE 1-25; FLEX WIRE 1-16 MM; BASIC INSULATION LEVEL: 6 KV; INSULATION MATERIAL: MOLDED; OPERATING CONTROL TYPE: THERMAL MAGNETIC; POLLUTION CLASS: IP20; APPLICATION: DISTRIBUTION; SPECIFICATION: EN60898-1; WIDTH: 18 MM; LENGTH: 78.5 MM; HEIGHT: 85 MM; COLOR: WHITE; TYPE: MINIATURE; MOUNT: FIXED DIN RAIL; INTERRUPT CAPACITY: 50 KA; REFERENCE NO: A9F74102; EA; 10.00. 81; 589944; BREAKER, CIRCUIT: POTENTIAL: 400 VAC; CURRENT: 3 A; POLE: 2; CLASSIFICATION: IP20; SPECIFICATION: IEC898/EN60898/DIN43880; FRAME: S1; TEMPERATURE RATING: -25 TO 55 DEG C; WIDTH: 35 MM; LENGTH: 68 MM; HEIGHT: 90 MM; COLOR: WHITE; TYPE: SWITCH; MOUNT: RAIL; INTERRUPT CAPACITY: 25 KA; MANUF P/N: GHS2820001R0317; MOUNT IS STANDARD PROFILE RAILS EN50022; AUXILIARY CONTACT GHS2701916R0001; EA; 45.00. 82; 590704; BREAKER, CIRCUIT: POTENTIAL: 240VDC/690VAC; CURRENT: 10 A; POLE: 2; SPECIFICATION: IEC EN60947-1; TEMPERATURE RATING: 40 DEG C; WIDTH: 50 MM; LENGTH: 92 MM; HEIGHT: 92.5 MM; COLOR: WHITE; TYPE: SWITCH; MOUNT: RAIL; INTERRUPT CAPACITY: 30 KA; MANUF P/N: S502UC-B10; STD PROFILE RAILS EN 50 022; 35X7.5; ADDITIONAL COMPONENT: AUX. CONTACT - 5500-H11; EA; 45.00. 83; 3538; BREAKER, CIRCUIT: POTENTIAL: 440 VDC; CURRENT: 6 A; POLE: 3; TYPE: MINIATURE; INTERRUPT CAPACITY: 3 KA; SUPPL P/N: GHS2830001R0377; SERIES: AS280-K; DDITIONAL COMPONENT: AUX. CONTACT - GHS2701916R0001; EA; 100.00. 84; 590714; BREAKER, CIRCUIT: POTENTIAL: 400 VAC; CURRENT: 25 A; POLE: 3; CLASSIFICATION: DIN43880; SPECIFICATION: IEC898/EN60898; FRAME: S1; TEMPERATURE RATING: -25 TO 55 DEG C; WIDTH: 70 MM; LENGTH: 68 MM; HEIGHT: 90 MM; COLOR: WHITE; TYPE: SWITCH; MOUNT: RAIL; INTERRUPT CAPACITY: 25 KA; MANUF P/N: GHS2830001R0517; STD PROFILE RAILS EN 50 022; 35X7.5; EA; 100.00. 85; 590589; BREAKER, CIRCUIT: POTENTIAL: 400 VAC; CURRENT: 1 A; POLE: 2; CLASSIFICATION: DIN43880; SPECIFICATION: IEC898/EN60898; FRAME: S1; TEMPERATURE RATING: -25 TO 55 DEG C; WIDTH: 35 MM; LENGTH: 68 MM; HEIGHT: 90 MM; COLOR: WHITE; TYPE: SWITCH; MOUNT: RAIL; INTERRUPT CAPACITY: 25 KA; MANUF P/N: GHS2820001R0217; STD PROFILE RAILS EN50022; 35X7.5; EA; 100.00. 86; 589943; BREAKER, CIRCUIT: POTENTIAL: 400 VAC; CURRENT: 1 A; POLE: 3; CLASSIFICATION: IP20; SPECIFICATION: IEC898/EN60898/DIN43880; FRAME: S1; TEMPERATURE RATING: -25 TO 55 DEG C; WIDTH: 70 MM; LENGTH: 68 MM; HEIGHT: 90 MM; COLOR: WHITE; TYPE: SWITCH; MOUNT: RAIL; INTERRUPT CAPACITY: 25 KA; MANUF P/N: GHS2830001R0217; MOUNT STANDARD PROFILE RAILS EN20022; EA; 100.00. 87; 616087; BREAKER, CIRCUIT: POTENTIAL: 440 VAC; 125 VDC; CURRENT: 38-45 A; POLE: 3; SPECIFICATION: 2CCF008841R0001; COLOR: WHITE; TYPE: MCB; MOUNT: PANEL; INTERRUPT CAPACITY: 30 KA; SUPPL P/N: S503X-AG1499-45; HIGH MAGNETIC RELEASE; EA; 100.00. 88; 656505; BREAKER: TYPE: ADJUSTABLE THERMOMAGNETIC TRIPPING UNITS; DIMENSIONS: WD 248 X LG 285 X HT 240 MM; MATERIAL: BAKELITE; OEM P/N: 1SDA054597R1; T4D 320 3P FF; EA; 5.00. 89; 656485; BREAKER: TYPE: ADJUSTABLE THERMOMAGNETIC TRIPPING UNITS; DIMENSIONS: WD 131 X LG 163 X HT 136 MM; MATERIAL: BAKELITE; OEM P/N: 1SDA054897R1; MOE T4-T5 220 250VAC/VDC; EA; 5.00. 90; 142170; BLOCK: TYPE: TEST; WIDTH: 75 MM; LENGTH: 163 MM; HEIGHT: 53 MM; MATERIAL: PLASTIC; MODEL NO: PK-2; REFERENCE NO: 6422120G4; FOR USE ON 11KV SWITCHBOARD; 6 POLE CONNECTIONS; EA; 25.00. 91; 239265; EARTH LEAKAGE: TYPE: CIRCUIT BREAKER; CURRENT: 30 A; POTENTIAL: 230 VAC; POLE: 2; INTERRUPT CAPACITY: 2.5 KA; SUPPL P/N: QA17A30; AMPERAGE 30A, USED AT OUTSIDE PLANT DISTRIBUTION BOARDS; EA; 50.00. 92; 119561; EARTH LEAKAGE: TYPE: CIRCUIT BREAKER; POTENTIAL: 220-415 V; POLE: 4; CURRENT: 40 A; INTERRUPT CAPACITY: 30 MA; RESET: MANUAL, TERMINAL: CAPTIVE CLAMP, MOUNT: PANEL; PART NO: 5SZ3-440-3A, SUPPLIER: UNKNOWN; PART NO: 5SM1344-0, SUPPLIER: UNKNOWN; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).; EA; 50.00. 93; 119436; EARTH LEAKAGE: TYPE: CIRCUIT BREAKER; CURRENT: 80 A; POTENTIAL: 380 VAC; POLE: 3; LEAKAGE CURRENT: 30 MA; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: SF36A; LINE AND LOAD SIDE INDICATED WITH FASTENER; EA; 10.00. 94; 119651; EARTH LEAKAGE: TYPE: INSTANTANEOUS; CURRENT: 25 A; POTENTIAL: 240 VAC; POLE: 2; LEAKAGE CURRENT: 30 MA; INTERRUPT CAPACITY: 2.5 KA; SPECIFICATION: DIN EN 61346-2; SUPPL P/N: 5SV4312-0; EA; 50.00. 95; 119509; EARTH LEAKAGE: TYPE: MAGNETIC; CURRENT: 60 A; POTENTIAL: 240 V; POLE: 1; LEAKAGE CURRENT: 30 MA; INTERRUPT CAPACITY: 2.5 KA; SUPPL P/N: QA17A; CONTACT ARRANGEMENT 2NO, RESET MANUAL, SILVER PLATED CONTACT, CAPTIVE CLAMP TERMINAL, PANEL MOUNT, GENERAL PURPOSE ENCLOSURE, AE; EA; 100.00. 96; 119857; EARTH LEAKAGE: TYPE: OVERLOAD PROTECTION; CURRENT: 63 A; POTENTIAL: 230 VAC; POLE: 1; INTERRUPT CAPACITY: 5 KA; SUPPL P/N: QF17A63; HYMAG; EA; 100.00. 97; 119560; EARTH LEAKAGE: TYPE: OVERLOAD PROTECTION; CURRENT: 63 A; POTENTIAL: 380-400 V; POLE: 3; LEAKAGE CURRENT: 30 MA; INTERRUPT CAPACITY: 63 A; REFERENCE NO: 20179; 21155; VIGI MODULE; EA; 80.00. 98; 119582; EARTH LEAKAGE: TYPE: UNIT; CURRENT: 80 A; POTENTIAL: 250 VAC; POLE: 1; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: SF15A80A; EA; 15.00. 99; 630295; CONTACTOR: TYPE: PROTECTION; LINE VOLTAGE: 220 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 1 A; POLE: 3; OEM P/N: 324MF220A1; EA; 20.00. 100; 97742; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 690 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 630 A; POLE: 3; OEM P/N: 3TF68; EA; 25.00. 101; 590373; CONTACTOR: TYPE: A-LINE; LINE VOLTAGE: 1000 VAC; COIL VOLTAGE: 100-250 VAC/DC; CURRENT: 305 A; POLE: 3; ENCLOSURE RATING: UL 94 STANDARD; CLASSIFICATION: AF300-30; SPECIFICATION: IEC 60947-5-1; EN 60947-5-1; MAXIMUM CURRENT RATING: 500 A; MANUF P/N: 1SFL557001R7022; EA; 5.00. 102; 602329; CONTACTOR: TYPE: AUXILIARY; LINE VOLTAGE: 110-250 VAC; COIL VOLTAGE: 48 V; CURRENT: 40 A; POLE: 3; ENCLOSURE RATING: IP67; CLASSIFICATION: HEAVY DUTY; SPECIFICATION: G123141; CONTACT ARRANGEMENT: 1NO 1NC; REFERENCE NO: LC1D25; LAD4RCU; EA; 50.00. 103; 552802; CONTACTOR: TYPE: AUXILIARY; LINE VOLTAGE: 400 V; COIL VOLTAGE: 220 VAC; CURRENT: 40 A; POLE: 3; CONTACT ARRANGEMENT: 3NO; MANUF P/N: DILM17-10; EA; 30.00. 104; 597772; CONTACTOR: TYPE: AUXILIARY; LINE VOLTAGE: 400 V; COIL VOLTAGE: 230 VAC; CURRENT: 12 A; POLE: 3; ENCLOSURE RATING: IP20; CONTACT ARRANGEMENT: 3NO; REFERENCE NO: 3RT1024-1AP00; AC-3; 5.5KW/400V; AC 230V; 50HZ; SIZE SO; TEMPERATURE DURING OPERATION: -25 TO 60DEG C; VOLTAGE TYPE/ OF CONTROL FEED VOLTAGE; AC OPERATING RANGE FACTOR CONTROL SUPPLY VOLTAGE RATED VALUE/ OF MAGNET COIL; 0.8 TO 11; EA; 10.00. 105; 589239; CONTACTOR: TYPE: AUXILIARY; LINE VOLTAGE: 400 VAC; COIL VOLTAGE: 120 VAC; CURRENT: 600 A; POLE: 3; ENCLOSURE RATING: IP20; CLASSIFICATION: HEAVY DUTY; SPECIFICATION: NEMA 250-2003; CONTACT ARRANGEMENT: 2NO 2NC; MAXIMUM CURRENT RATING: 600 A; MANUF P/N: LS220K; WITH MODULE: KM7EJ; COIL: CM673-43 & ATTACHABLE AUXILLARY; EA; 25.00. 106; 667111; CONTACTOR: TYPE: BIAS HEATER; LINE VOLTAGE: 440 VAC; COIL VOLTAGE: 24 VDC; CURRENT: 95 A; POLE: 3; ENCLOSURE RATING: IP20; SPECIFICATION: EN60947-4-1; CONTACT ARRANGEMENT: 1NO 1NC; MAXIMUM CURRENT RATING: 95 A; REFERENCE NO: LC1D95BD; DIN RAIL MOUNTED; EA; 20.00. 107; 667113; CONTACTOR: TYPE: BIAS MOTOR; LINE VOLTAGE: 440 VAC; COIL VOLTAGE: 24 VDC; CURRENT: 38 A; POLE: 3; ENCLOSURE RATING: IP20; SPECIFICATION: EN60947-4-1; CONTACT ARRANGEMENT: 1NO 1NC; MAXIMUM CURRENT RATING: 38 A; REFERENCE NO: LC1D38BD; EA; 35.00. 108; 125711; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 1 KVAC; COIL VOLTAGE: 220 VAC; CURRENT: 1.4 KA; POLE: 3; SPECIFICATION: IEC 158; VDE 0660; SUPPL P/N: LS280K-22; REFERENCE NO: 910-338-276-00; ENCLOSURE: GENERAL PURPOSE; EA; 10.00. 109; 242076; CONTACTOR: TYPE: CONTROL; REFERENCE NO: 111507; 10MK5; FOR CONDAIR CP3 15 AND SMALLER; EA; 10.00. 110; 125731; CONTACTOR: TYPE: CONTROL; COIL VOLTAGE: 110 VAC; CURRENT: 25 A; POLE: 3; CONTACT ARRANGEMENT: 2NO 2NC; SUPPL P/N: LC1-D12008 F5; 4 POLE CONTACT; ENCLOSURE: GENERAL PURPOSE; EA; 5.00. 111; 125873; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 220/380 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 24 A; POLE: 4; CONTACT ARRANGEMENT: 2NO 2NC; SUPPL P/N: B12-30-10; B12-30-22; REFERENCE NO: B12-30-22; ENCLOSURE: CLOSE; 3PHSE; EA; 5.00. 112; 139285; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 220/380/500 VAC; COIL VOLTAGE: 110 VDC; CURRENT: 16 A; POLE: 3; ENCLOSURE RATING: GENERAL PURPOSE; SUPPL P/N: 15BL 183001 R8610; REFERENCE NO: AL 16-30-10-110 VDC; COMPLETE WITH 2500 REGISTER 67; ENCLOSURE: GENERAL PURPOSE; EA; 10.00. 113; 127042; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 220/380/500/660 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 25 A; POLE: 4; CONTACT ARRANGEMENT: 1NO; SUPPL P/N: LC1D093F; LCD039F; AUXILLARY CONTACT A600 P600; EA; 10.00. 114; 125710; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 220/600 V; COIL VOLTAGE: 220 VAC; CURRENT: 630 A; POLE: 3; SUPPL P/N: LS220.22K; OPERATING CURRENT AC3 - 400V = 420A - AC1 AT 40 DEGREE CELSIUS = 600A; FOR USE ON 380V BOARDS; ENCLOSURE: GENERAL PURPOSE; EA; 10.00. 115; 125704; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 220/660 VAC; COIL VOLTAGE: 230 VAC; CURRENT: 40 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; REFERENCE NO: CWM40-22-30; ENCLOSURE: GENERAL PURPOSE; EA; 20.00. 116; 126012; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 220/660 VAC; COIL VOLTAGE: 32 VAC; CURRENT: 50 A; POLE: 3; SPECIFICATION: BS 775-1; IEC 158-1; VDE 0660; SUPPL P/N: SC35; FOR USE ON ACC FAN; ENCLOSURE: GENERAL PURPOSE; EA; 20.00. 117; 126401; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 220-600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 16 A; POLE: 5; CONTACT ARRANGEMENT: 7NO 3NC; SUPPL P/N: PG65385-01; MODEL NO: 3TH8373-0B; EA; 10.00. 118; 183158; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 380 V; COIL VOLTAGE: 220 VAC; CURRENT: 132 A; POLE: 3; SUPPL P/N: LS132K.22; REFERENCE NO: 11:E-NR 910-304-480 / 22:E-NR 910-304-481; 90KW; EA; 10.00. 119; 578447; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 380 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 224 A; POLE: 3; ENCLOSURE RATING: NEMA 1; CONTACT ARRANGEMENT: 2NO 2NC; MAXIMUM CURRENT RATING: 310 A; REFERENCE NO: CK95BE311N; 132KW; 50HZ CONTACTOR WITH COIL FITTED; WITH BCLL11 AND BRLL20; EA; 5.00. 120; 578446; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 380 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 334 A; POLE: 3; ENCLOSURE RATING: NEMA 1; CONTACT ARRANGEMENT: 2NO 2NC; MAXIMUM CURRENT RATING: 500 A; REFERENCE NO: CK10CE311N; 50HZ CONTACTOR WITH COIL AND AUXILLIARIES FITTED WITH BCLL11 & BRLL20; EA; 60.00. 121; 125962; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 500 V; COIL VOLTAGE: 110 V; CURRENT: 10 A; POLE: 4; SPECIFICATION: BS 4794; NFC 63110; VDE0600; REFERENCE NO: DIL0822; 3TB4012-0AF0; ENCLOSURE: GENERAL PURPOSE; EA; 10.00. 122; 125879; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 500 VAC; COIL VOLTAGE: 220 VDC; CURRENT: 10 A; POLE: 4; SPECIFICATION: BS 5424; IEC 255; VDE 0660; SUPPL P/N: CA3-DN40MD; REFERENCE NO: NFC45250; TELEMECANIQUE; ENCLOSURE: GENERAL PURPOSE; EA; 20.00. 123; 125729; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 10 A; POLE: 4; CONTACT ARRANGEMENT: 2NO 2NC; SUPPL P/N: CA2DN1229A6522E; ENCLOSURE: GENERAL PURPOSE; EA; 5.00. 124; 125249; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 22 A; POLE: 3; SPECIFICATION: IEC 158-1; VDE 0660; SUPPL P/N: 1SBL137001R1310; ENCLOSURE: GENERAL PURPOSE; 3PHSE; EA; 10.00. 125; 125849; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 400 A; POLE: 3; ENCLOSURE RATING: NEMA 5; SPECIFICATION: BS 5424; IEC 947-4; VDE 0660; SUPPL P/N: 0KYM200W22; AUXILLIARY CONTACTS NEMA A600 N300; FOR USE ON 380V BOARDS; EA; 5.00. 126; 125251; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 20 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; SUPPL P/N: LS4K.10; REFERENCE NO: 910-302-663-88; ENCLOSURE: GENERAL PURPOSE; EA; 20.00. 127; 125708; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 225 A; POLE: 3; SUPPL P/N: LS90K22; SUITABLE TO BE USED ON A CIRCUIT CAPABLE OF DELIVERING NOT MORE THAN 10000 RMS; TIME DELAY FUSES NEEDED; AUXILIARY CONTACTS A600; ENCLOSURE: GENERAL PURPOSE; 3PHSE; EA; 15.00. 128; 125709; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 225 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; SUPPL P/N: LS-132 K; REFERENCE NO: 91033807100; AUXILLIARY CONTACTS A600; AEG; ENCLOSURE: GENERAL PURPOSE; EA; 15.00. 129; 125937; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 25 A; POLE: 2; SPECIFICATION: BS 5424; IEC 158/1; VDE 0660; CONTACT ARRANGEMENT: 2NO 2NC; SUPPL P/N: LC1D128P7; ENCLOSURE: GENERAL PURPOSE; EA; 50.00. 130; 126715; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 25 A; POLE: 4; REFERENCE NO: LC1D0910M5; 023333; 4KW - 400V; 5HP - 460V; ENCLOSURE: OPEN; 3PHSE; EA; 50.00. 131; 127334; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 30 A; POLE: 3; ENCLOSURE RATING: OPEN; SPECIFICATION: BS 5424; IEC 158; VDE 0660; REFERENCE NO: 3TF4222-OA; AUXILLIAY CONTACT A600 P600; FOR USE IN 2 PHASES OF A 3 PHASE CIRCUIT; EA; 5.00. 132; 128034; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 45 A; POLE: 3; ENCLOSURE RATING: GENERAL PURPOSE; REFERENCE NO: 3TB4417-0A; 3RT1034-1AP00; EA; 10.00. 133; 125705; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 80 A; POLE: 3; SPECIFICATION: IEC158-1; MAXIMUM CURRENT RATING: 80 A; SUPPL P/N: LS37K.37; REFERENCE NO: 910-304-326-000; AUXILIARY CONTACTS A600; ENCLOSURE: GENERAL PURPOSE; 3PHSE; EA; 15.00. 134; 217381; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VDC; CURRENT: 10 A; POLE: 5; SUPPL P/N: CAD50MD; REFERENCE NO: 023452; EA; 15.00. 135; 126184; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VDC; COIL VOLTAGE: 220 VDC; CURRENT: 220 A; POLE: 2; SPECIFICATION: IEC 158; VDE 0660; CONTACT ARRANGEMENT: 2NO 2NC; SUPPL P/N: 3TC5217-0A; FOR USE ON ACC FAN; ENCLOSURE: GENERAL PURPOSE; EA; 20.00. 136; 125578; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 110 VAC; POLE: 4; CONTACT ARRANGEMENT: 3NO 1NC; SUPPL P/N: CA2-KN31F7; ENCLOSURE: GENERAL PURPOSE; EA; 10.00. 137; 125579; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 40 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158/1; CONTACT ARRANGEMENT: 1NC; SUPPL P/N: LC2D259FA65; TWIN INTERLOCK; ENCLOSURE: GENERAL PURPOSE; 3PHSE; EA; 20.00. 138; 125855; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 24 A; POLE: 3; SUPPL P/N: B123022; BBC PETERCEM; ENCLOSURE: GENERAL PURPOSE; EA; 20.00. 139; 125988; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 28 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158/1; VDE 0660; REFERENCE NO: B16-30-10; FPL1811001R0106; ENCLOSURE: GENERAL PURPOSE; EA; 20.00. 140; 126042; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 32 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; CONTACT ARRANGEMENT: 2NO 2NC; SUPPL P/N: LS7K.10; REFERENCE NO: 910-304-200-00; AEG BRAND ONLY; ENCLOSURE: GENERAL PURPOSE; EA; 25.00. 141; 125858; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 40 A; POLE: 3; SUPPL P/N: LC1D25P7; REFERENCE NO: CT-12-DA-259-EE; EA; 100.00. 142; 125886; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 40 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158/1; VDE 0660; CONTACT ARRANGEMENT: 1NO; SUPPL P/N: LC1-D163M/A65; EA; 25.00. 143; 126428; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 50 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; SUPPL P/N: LS15K.10; REFERENCE NO: 910-301-622-000; ENCLOSURE: GENERAL PURPOSE; 3PHSE; EA; 25.00. 144; 126063; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VDC; CURRENT: 180 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; SUPPL P/N: LS75K.22; REFERENCE NO: 910-337-151-00; ENCLOSURE: GENERAL PURPOSE; EA; 5.00. 145; 125270; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 48 VAC; CURRENT: 55 A; POLE: 3; SPECIFICATION: BS 5424; VDE 066; CONTACT ARRANGEMENT: 1NO 1NC; SUPPL P/N: DILM32-10; ENCLOSURE: GENERAL PURPOSE; 3PHSE; EA; 25.00. 146; 242077; CONTACTOR: TYPE: CONTROL; REFERENCE NO: CP3 B16-B25,; 1115511; K3-24MK5; FOR CONDAIR CP3 16-25; EA; 10.00. 147; 125582; CONTACTOR: TYPE: CRANE; LINE VOLTAGE: 600 V; COIL VOLTAGE: 110 VAC; CURRENT: 25 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158/1; VDE 0660; SUPPL P/N: LC1D123FA65; ENCLOSURE: GENERAL PURPOSE; EA; 20.00. 148; 125890; CONTACTOR: TYPE: CRANE; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 24 VDC; CURRENT: 10 A; POLE: 4; SPECIFICATION: BS 5424; IEC 255; VDE 0660; SUPPL P/N: CA2DN229S5 &; CAD32BD12A; ENCLOSURE: GENERAL PURPOSE; EA; 10.00. 149; 125645; CONTACTOR: TYPE: CRANE; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 32 A; POLE: 3; SPECIFICATION: BS 5424; NFC 63110; VDE 0660; CONTACT ARRANGEMENT: 1NO; SUPPL P/N: LC1D1801F5; REFERENCE NO: LC1D163FA65; LC1D163F; AUXILLARY CONTACTS A600 P600; AE; ENCLOSURE: GENERAL PURPOSE; EA; 5.00. 150; 124689; CONTACTOR: TYPE: CRANE; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 48 VDC; CURRENT: 40 A; POLE: 3; ; ENCLOSURE: GENERAL PURPOSE; EA; 5.00. 151; 125884; CONTACTOR: TYPE: CRANE; LINE VOLTAGE: 660 VDC; COIL VOLTAGE: 220 VDC; CURRENT: 40 A; POLE: 2; SPECIFICATION: BS 5424; VDE 0660; SUPPL P/N: LC1-D32MD; ENCLOSURE: GENERAL PURPOSE; EA; 5.00. 152; 248273; CONTACTOR: TYPE: DC; SUPPL P/N: SW 200A-36; FOR 24 V/100 A ALLIED CHARGER; EA; 30.00. 153; 248274; CONTACTOR: TYPE: DC; SUPPL P/N: SW 100-36; FOR 24 V/49 A STATIC CHARGER; EA; 30.00. 154; 217626; CONTACTOR: TYPE: DILOM; LINE VOLTAGE: 380 VAC; COIL VOLTAGE: 48 VDC; CURRENT: 35 A; POLE: 3; SUPPL P/N: IEC/EN 60947; 7.5KW; EA; 5.00. 155; 142327; CONTACTOR: TYPE: FIELD SUPPRESSION; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VDC; CURRENT: 16 A; POLE: 8; SUPPL P/N: 3TH8244-0BM4; MODEL NO: EN50011; 44DIN; SCREW TERMINALS; SIEMENS; ENCLOSURE: GENERAL PURPOSE; EA; 5.00. 156; 555257; CONTACTOR: TYPE: FLASH FIELD; COIL VOLTAGE: 220 VDC; MANUF P/N: FPL7219216R0006; TYPE IORE-8520F; STATIC EXCITATION SYSTEM; EA; 10.00. 157; 706259; CONTACTOR: TYPE: FUEL OIL BURNER; LINE VOLTAGE: 690VAC 440VDC; COIL VOLTAGE: 24 VDC; CURRENT: 6 A; POLE: 5; ENCLOSURE RATING: IP20; CONTACT ARRANGEMENT: 2NO 2NC; REFERENCE NO: 3RH2122-1BB40; SIZE: S00; EA; 25.00. 158; 607773; CONTACTOR: TYPE: HEAVY DUTY; LINE VOLTAGE: 380 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 40 A; POLE: 3; ENCLOSURE RATING: IP67; REFERENCE NO: MC-40A; APPLICATION: CRANES; EA; 15.00. 159; 222335; CONTACTOR: TYPE: HEAD; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 200/240 VAC; CURRENT: 630 A; POLE: 3; SUPPL P/N: 3TY 7685-OCM7; FOR ACC FAN; EA; 50.00. 160; 6085; CONTACTOR: TYPE: INTERLOCK; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 24 A; POLE: 3; REFERENCE NO: LC2D129A65; TELEMACANIQUE; USED ON BBT SF6 TYPE ELK4 765KV G.I.S; ENCLOSURE: GENERAL PURPOSE; EA; 20.00. 161; 647428; CONTACTOR: TYPE: MOTOR CONTROL RESISTIVE LOAD; LINE VOLTAGE: 6 KV; COIL VOLTAGE: 48 VAC; CURRENT: 25 A; POLE: 3; ENCLOSURE RATING: IP20; CLASSIFICATION: COAL/DUST/HEAT; CONTACT ARRANGEMENT: 1NO 1NC; MAXIMUM CURRENT RATING: 450 A AT 440 V; OEM P/N: LC1D25E7; EA; 50.00. 162; 643115; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 V; CURRENT: 80 A; POLE: 3; ENCLOSURE RATING: IP65; CONTACT ARRANGEMENT: 1NO 1NC; OEM P/N: LC1D65AP7; EA; 10.00. 163; 597773; CONTACTOR: TYPE: MAIN; LINE VOLTAGE: 400 VAC; COIL VOLTAGE: 230 V; CURRENT: 25 A; POLE: 3; ENCLOSURE RATING: IP20; CONTACT ARRANGEMENT: 3NO; REFERENCE NO: 3RT1026-1AP00; AC-3 11KW/400V; AC 230V; 50HZ; SIZE SO; SCREW CONNECTION; OPERATING RANGE FACTOR CONTROL SUPPLY VOLTAGE RATED VALUE/ OF THE MAGNET COIL AT 50HZ FOR AC: 0.8 TO 1.1; TEMPERATURE DURING OPERATING: -25 TO 60DEG C; EA; 10.00. 164; 125751; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 220/660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 47 A; POLE: 3; CLASSIFICATION: HEAVY DUTY; SPECIFICATION: BS 5424; IEC 158; VDE 0660; SUPPL P/N: LS 15K.22; REFERENCE NO: 910-333-348-00; ENCLOSURE: GENERAL PURPOSE; EA; 10.00. 165; 142534; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 220/660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 90 A; POLE: 3; CONTACT ARRANGEMENT: 2NO 2NC; SUPPL P/N: LS22K.22-00; REFERENCE NO: E-NR 910-304-325-00; PHASE VOLTAGE: 380V; INSULATION CLASS: C/1000V; 50HZ, AEG BRAND ONLY ACCEPTABLE; EA; 100.00. 166; 125866; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 220/660 VAC; COIL VOLTAGE: 220 VDC; CURRENT: 35 A; POLE: 3; SUPPL P/N: DIL022GC; ENCLOSURE: GENERAL PURPOSE; 3PHSE; EA; 5.00. 167; 126656; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 230/660 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 125 A; POLE: 3; CONTACT ARRANGEMENT: 1NO 1NC; REFERENCE NO: LC1D8011F5; ENCLOSURE: GENERAL PURPOSE; 3PHSE; EA; 5.00. 168; 6076; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 380 VAC; COIL VOLTAGE: 220 V; CURRENT: 200 A; POLE: 3; SUPPL P/N: LC1FG43; TELEMACANIQUE; RATED: 100V 270A; 6 CONTACTS; USED ON BBT SF6 TYPE ELK4 765KV G.I.S; ENCLOSURE: GENERAL PURPOSE; EA; 5.00. 169; 127044; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 380/1000 VAC; COIL VOLTAGE: 230 VAC; CURRENT: 125 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158/1; VDE 0660; REFERENCE NO: LC1FF43; WITH STAND CURRENT 10000 RMS; SYMATIC FUSE NON TIME DELAY 300A MAX; 50 KW; ENCLOSURE: GENERAL PURPOSE; EA; 20.00. 170; 126403; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 380/500 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 120-160 A; POLE: 3; SPECIFICATION: IEC 157; VDE 0660; REFERENCE NO: 910-211-741-13; MCBS162; D500; 18KA; ENCLOSURE: GENERAL PURPOSE; 3PHSE; EA; 15.00. 171; 125706; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 100 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; SUPPL P/N: LS30K-22; REFERENCE NO: 910-334-226-00; AUXILIARY CONTACT A600; 50HZ; ENCLOSURE: GENERAL PURPOSE; EA; 25.00. 172; 126062; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 100 A; POLE: 3; SPECIFICATION: IEC 158; VDE 0660; SUPPL P/N: LS30K; REFERENCE NO: 910-337-351-00; ENCLOSURE: GENERAL PURPOSE; EA; 25.00. 173; 126545; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 28 A; POLE: 3; SPECIFICATION: IEC 158-1; VDE 0660; SUPPL P/N: EH16-22; REFERENCE NO: B16-30-10; FOR USE ON GENERATOR TRANSFORMER 400KV COOLING FAN; ENCLOSURE: GENERAL PURPOSE; EA; 50.00. 174; 125854; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 45 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158/1; VDE 0660; SUPPL P/N: 1SBL237001R1300; ENCLOSURE: GENERAL PURPOSE; EA; 25.00. 175; 125707; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220-230 VAC; CURRENT: 112A AC1; 105A AC-3 A; POLE: 3; ENCLOSURE RATING: POLLUTION DEGREE 3/NEMA 12; SPECIFICATION: BS 5424; IEC 158; SUPPL P/N: LS 55K.22; REFERENCE NO: E.910-337-141-00; AUXILLIARY CONTACTS: 2 X NO; 2 X NC; ENCLOSURE: GENERAL PURPOSE; EA; 25.00. 176; 125730; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 80 A; POLE: 3; CONTACT ARRANGEMENT: 1NO 1NC; SUPPL P/N: LC1-D6511 F3; ENCLOSURE: GENERAL PURPOSE; EA; 20.00. 177; 126544; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 10 A; POLE: 3; SPECIFICATION: IEC 337-1; VDE 0660; SUPPL P/N: SK811021K; REFERENCE NO: EH6-22E; K22E; ENCLOSURE: GENERAL PURPOSE; 3PHSE; EA; 25.00. 178; 125268; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 20 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; SUPPL P/N: LS4-11E; REFERENCE NO: 910-302-650-00; ENCLOSURE: GENERAL PURPOSE; EA; 25.00. 179; 128650; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 25 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; SUPPL P/N: CA3-9; MOTOR STARTER WITH OIL RELAY; AUXILLIARY CONTACT A600 P600; ENCLOSURE: GENERAL PURPOSE; EA; 25.00. 180; 125853; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 28 A; POLE: 3; SUPPL P/N: B123010; REFERENCE NO: FPL1611001R0106; ENCLOSURE: GENERAL PURPOSE; EA; 25.00. 181; 125747; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 80 A; POLE: 3; SUPPL P/N: LC1-D503Q; ENCLOSURE: GENERAL PURPOSE; EA; 100.00. 182; 126951; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220-230 VAC; CURRENT: 40 A; POLE: 3; SUPPL P/N: LC1D253MA65; OVERALL DIMENSIONS: 89MM WD X 71MM LG X 56MM HT; ENCLOSURE: GENERAL PURPOSE; 3PHSE; EA; 10.00. 193; 128506; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 32 VAC; CURRENT: 32 A; POLE: 3; SUPPL P/N: SC21; ENCLOSURE: GENERAL PURPOSE; 3PHSE; EA; 25.00. 184; 125669; CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 690 VAC; COIL VOLTAGE: 240 VAC; CURRENT: 25 A; POLE: 3; ENCLOSURE RATING: IP20; SPECIFICATION: CSA C22.2 NO 14; IEC 60947-4-1; IEC 60947-5-1; UL 508; SUPPL P/N: LC1D25U7; FOR MOTOR CONTROL/RESISTIVE LOAD; UTILISATION CATEGORY: AC-3/AC-1; 3NO; RATED OPERATIONAL VOLTAGE: 690 VAC AC 25 400 HZ (AC-3); EA; 25.00. 185; 625900; CONTACTOR: TYPE: RELAY; LINE VOLTAGE: 220 VDC; COIL VOLTAGE: 24 VDC; CURRENT: 10 A; POLE: 1; ENCLOSURE RATING: IP20; SPECIFICATION: IEC 60947-1; CONTACT ARRANGEMENT: 3NO 1NC; SUPPL P/N: 3RH2131-1BB40; SIZE: 00; 10A AT DC-12 FOR 220VDC; SCREW TYPE TERMINALS; MOUNTING TYPE SCREW AND SNAP ONTO DIN 35MM; OPERATING TEMPERATURE -25 TO 60 DEG C; STORAGE TEMPERATURE: -55 TO 80 DEG C; DIMENSIONS: WD 45 X DP 73 X HT 57.5MM; EA; 5.00. 186; 580134; CONTACTOR: TYPE: REVERSE; LINE VOLTAGE: 250 VDC; COIL VOLTAGE: 220 VDC; CURRENT: 63 A; POLE: 3; ENCLOSURE RATING: NEMA 1; CONTACT ARRANGEMENT: 1NO 1NC; MANUF P/N: LAR09ANS; FITTED WITH MECHANICAL INTERLOCK; COIL ASSEMBLED IN EACH CONTACTOR UNIT; STORAGE TEMPERATURE: 10 TO 55 DEGREES; OPERATING TEMPERATURE: 10 TO 55 DEGREES; EA; 60.00. 187; 637357; CONTACTOR: TYPE: REVERSING; LINE VOLTAGE: 440 V; COIL VOLTAGE: 230 VAC; CURRENT: 65 A; POLE: 3; ENCLOSURE RATING: IP20; CLASSIFICATION: MOTOR CONTROL; SPECIFICATION: IEC 60947; CONTACT ARRANGEMENT: 3NO; MAXIMUM CURRENT RATING: 80 A AT 40 DEG C; 440 VAC; REFERENCE NO: LC2D65P7; EA; 25.00. 188; 249954; CONTACTOR: TYPE: SCREW CONNECTION; LINE VOLTAGE: 400 VAC; COIL VOLTAGE: 230 VAC; CURRENT: 7 A; POLE: 3; ENCLOSURE RATING: IP20; SPECIFICATION: DIN EN 50022; SUPPL P/N: 3RT1015-1AP01; EA; 15.00. 189; 583238; CONTACTOR: TYPE: SWITCHING; LINE VOLTAGE: 380 VAC; COIL VOLTAGE: 220-230 VAC; CURRENT: 63 A; POLE: 3; ENCLOSURE RATING: NEMA 1; CONTACT ARRANGEMENT: 1NO 1NC; MAXIMUM CURRENT RATING: 80 A; REFERENCE NO: LAR09NS; REVERSING; FITTED WITH MECHANICAL INTERLOCK; EA; 60.00. 190; 250589; CONTACTOR: COIL VOLTAGE: 220 VAC; SUPPL P/N: A9-30-10; EA; 45. 191; 590374; CONTACTOR: TYPE: A-LINE; LINE VOLTAGE: 1000 VAC; COIL VOLTAGE: 48 VDC; CURRENT: 16 A; POLE: 3; ENCLOSURE RATING: UL 94 STANDARD; CLASSIFICATION: AL26-30-22; SPECIFICATION: IEC 60947-5-1; EN 60947-5-1; MAXIMUM CURRENT RATING: 45 A; MANUF P/N: 1SBL243001R8322; EA; 45. 192; 591263; CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 1000 VAC; COIL VOLTAGE: 48/130 VAC; CURRENT: 6 A; POLE: 3; CLASSIFICATION: IEC60947-5-1; EN60947-5-1; SPECIFICATION: AF-09-30-22-12; MANUF P/N: 1SBL137001R1222; UL 94 STANDARD; EA; 45.

# Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Purchaser’s Goods Information |  |
| C3.2 | Supplier’s Goods Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

# C3.1: Purchaser’s Goods Information

Contents

When the document is complete, insert a ‘Table of Contents’.  To do this go to:  Reference, → Table of Contents.  Three levels and the title (but not the subtitle) may be shown if the formats used in this template are retained.   Alternatively just update the table below when the drafting of the Goods Information is complete by clicking on ‘References’ then ‘Update Table’ then ‘Update entire table’

Part 3: Scope of Work	98

C3.1: Purchaser’s Goods Information	100

1	Overview and purpose of the goods and services	101

2	Specification and description of the goods	101

2.1	Purchaser’s design	155

2.2	Procedure for submission and acceptance of Supplier’s design	156

2.3	Other requirements of the Supplier’s design	156

2.4	Use of Supplier’s design	156

2.5	Manufacture & fabrication	156

2.6	Factory acceptance testing (FAT)	156

2.7	Other tests and inspections and commissioning in place of use	156

2.8	Operating manuals and maintenance schedules	156

3	Supply Requirements	157

4	Specification of the services to be provided	157

5	Constraints on how the Supplier Provides the Goods	157

5.1	Programming constraints	157

5.2	Work to be done by the Delivery Date	157

5.3	Marking the goods	157

5.4	Constraints at the delivery place and place of use	157

5.5	Cooperating with Others	158

5.6	Services & other things to be provided by the Purchaser or Supplier	158

5.7	Management meetings	158

5.8	Documentation control	159

5.9	Health and safety risk management	159

5.10	Environmental constraints and management	159

5.11	Quality	159

5.12	Invoicing and payment	159

5.13	Insurance provided by the Purchaser	160

5.14	Contract change management	160

5.15	Provision of bonds and guarantees	160

5.16	Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier	160

6	Procurement	160

6.1	Subcontracting	160

6.1.1	Preferred subcontractors	160

6.1.2	Limitations on subcontracting	160

6.1.3	Spares and consumables	160

6.1.4	Other requirements related to procurement	161

6.1.5	Cataloguing requirements	161

7	List of drawings	161

7.1	Drawings issued by the Purchaser	161

C3.2	Supplier’s Goods Information	clxii

# Overview and purpose of the goods and services

The purpose of this document is to define a User Scope of Work requirement based on which the supply of goods and a service contract will be established between the Purchaser and the Supplier.

Matimba Power Station is expected to operate at EAF > 80% and It is therefore imperative that the successful and suitably qualified Supplier aligns his/ her organisation fully to these Scope of Work.        cifie

# Specification and description of the goods

| Supply, and delivery Fuses, Relay, Contactors and Circuit Breakers |  |  |  |
| --- | --- | --- | --- |
| Item nr | Material number | Material Description and Texts (Fuses) | UOM |
| 1 | 607750 | FUSE, ASSORTMENT: FUSE TYPE: LIP; FUSE QUANTITY: 3 | EA |
| 2 | 117160 | FUSE, CARTRIDGE: CURRENT: 0.5 A; POTENTIAL: 220 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5.2 X LG 20 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GMA | EA |
| 3 | 117166 | FUSE, CARTRIDGE: CURRENT: 0.5 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: FAST BLOW, ONE TIME REJECTION, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GMA | EA |
| 4 | 117169 | FUSE, CARTRIDGE: CURRENT: 0.5 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.3 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: AGC | EA |
| 5 | 117172 | FUSE, CARTRIDGE: CURRENT: 0.5 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.3 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: AGC; CONNECTION XE | EA |
| 6 | 117181 | FUSE, CARTRIDGE: CURRENT: 0.5 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: ONE TIME REJECTION; CASE MATERIAL: GLASS | EA |
| 7 | 118304 | FUSE, CARTRIDGE: CURRENT: 0.5 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: TIME DELAY SLO BLO; CASE MATERIAL: GLASS; REFERENCE NO: 19195; T0-5-250 | EA |
| 8 | 118487 | FUSE, CARTRIDGE: CURRENT: 0.5 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.35 X LG 31.8 MM; TYPE: TIME DELAY SLO BLO; CASE MATERIAL: GLASS; REFERENCE NO: MDL1-2; 18 SEC AT 200PCT LOAD, 15MS AT 1000PCT LOAD, TRANSPARENT BODIED OR WINDOW TYPE | EA |
| 9 | 117167 | FUSE, CARTRIDGE: CURRENT: 0.75 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: ONE TIME REJECTION VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: AGC | EA |
| 10 | 117829 | FUSE, CARTRIDGE: CURRENT: 0.8 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 30 MM; TYPE: ONE TIME REJECTION; CASE MATERIAL: GLASS; REFERENCE NO: 19408; BREAKING CAPACITY C | EA |
| 11 | 118423 | FUSE, CARTRIDGE: CURRENT: 1 A; POTENTIAL: 125 VAC; CONNECTION TYPE: AXIAL LEADS SOLDER; DIMENSIONS: DIA 2 X LG 83 MM; TYPE: SUB MINIATURE CIRCUIT BOARD; CASE MATERIAL: POLYESTER FILM; REFERENCE NO: 275001; SOLDERED INTO PRINTED CIRCUIT BOARDS | EA |
| 12 | 118516 | FUSE, CARTRIDGE: CURRENT: 1 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.3 X LG 32 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: ABC | EA |
| 13 | 118211 | FUSE, CARTRIDGE: CURRENT: 1 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: FAST BLOW; CASE MATERIAL: GLASS; REFERENCE NO: T1-250; TRANSPARENT BODIED OR WINDOW TYPE | EA |
| 14 | 117176 | FUSE, CARTRIDGE: CURRENT: 1 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: ONE TIME REJECTION; CASE MATERIAL: GLASS; REFERENCE NO: 19200 | EA |
| 15 | 118488 | FUSE, CARTRIDGE: CURRENT: 1 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.35 X LG 31.8 MM; TYPE: SLOW BLOW; CASE MATERIAL: GLASS; REFERENCE NO: 632.000; MDL1; TIME DELAY, RATINGS 20 SECONDS AT 200 PCT LOAD AND 25 MILLI SECONDS AT 1000 PCT LOAD | EA |
| 16 | 117737 | FUSE, CARTRIDGE: CURRENT: 1 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 38 MM; INTERRUPT CAPACITY: 120 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: CEI 269-2; REFERENCE NO: 13001; NFC63210 | EA |
| 17 | 118424 | FUSE, CARTRIDGE: CURRENT: 1.5 A; POTENTIAL: 125 VAC; CONNECTION TYPE: AXIAL LEADS SOLDER; DIMENSIONS: DIA 2.4 X LG 83.2 MM; TYPE: ONE TIME REJECTION; CASE MATERIAL: POLYESTER FILM; REFERENCE NO: 27501-5; NONINDICATING, TYPE GMBH | EA |
| 18 | 117803 | FUSE, CARTRIDGE: CURRENT: 1.6 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 25 MM; TYPE: INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GMA | EA |
| 19 | 117328 | FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 11 KV; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 64 X LG 255 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: KEBX010 | EA |
| 20 | 118050 | FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 12 KV; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 64 X LG 256 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: 380/97; REFERENCE NO: A4; CONTROL FUSE FOR MINSEMI | EA |
| 21 | 117202 | FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GDB | EA |
| 22 | 117205 | FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GLH | EA |
| 23 | 118714 | FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 32 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.3 X LG 32 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: GLASS; REFERENCE NO: 311010 | EA |
| 24 | 4509 | FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 415 V; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 14 X LG 60 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: NS10A; FUSE, CARTRIDGE; CURRENT 10 A, POTENTIAL 415 V, DIMENSIONS DIA 14 X LG 60 MM, TYPE CURRENT LIMITING, CASE MATERIAL CERAMIC, CONNECTION TYPE BLADE KNIFE, PART NUMBER: NS10A FUSE,CARTD;NS10A,10 A,415 V,BLADE KNIFE; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 25 | 118323 | FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 38 MM; INTERRUPT CAPACITY: 100 KA; TYPE: INSTANTANEOUS; CASE MATERIAL: CERAMIC | EA |
| 26 | 4526 | FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 22 X LG 50 MM; TYPE: BOTTLE TIME DELAY SLO BLO INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: 5SB251; TDZ; MARKING GL/GG, DIAZED | EA |
| 27 | 117224 | FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 550 V; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 86 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; SUPPL P/N: TIA10; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A2 | EA |
| 28 | 118146 | FUSE, CARTRIDGE: CURRENT: 10 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 13 X LG 54 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: NIT10; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED | EA |
| 29 | 117841 | FUSE, CARTRIDGE: CURRENT: 100 A; POTENTIAL: 460-550 VDC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 27.5 X LG 135 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: B1TC; HRC, CLASS Q1 | EA |
| 30 | 117680 | FUSE, CARTRIDGE: CURRENT: 100 A; POTENTIAL: 550 VAC; 400 VDC; CONNECTION TYPE: CAPTIVE SCREW; DIMENSIONS: DIA 34 X LG 110 MM; INTERRUPT CAPACITY: 80 KA AC; 40 KA DC; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; REFERENCE NO: 3NWTCP100; A4; LABEL COLOUR CODE: GREEN, BASE TYPE C, CLASS Q1, SLOT 5.2MM | EA |
| 31 | 117742 | FUSE, CARTRIDGE: CURRENT: 12 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 38 MM; INTERRUPT CAPACITY: 100 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: CEI 269-2; NFC 63210; REFERENCE NO: 13012 | EA |
| 32 | 117701 | FUSE, CARTRIDGE: CURRENT: 125 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: GLASS; REFERENCE NO: F125MA; 19194 | EA |
| 33 | 117636 | FUSE, CARTRIDGE: CURRENT: 125 A; POTENTIAL: 500 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 40 X LG 124 MM; TYPE: INDICATING; CASE MATERIAL: PORCELAIN; SUPPL P/N: J83383; REFERENCE NO: 63210 | EA |
| 34 | 117899 | FUSE, CARTRIDGE: CURRENT: 125 A; POTENTIAL: 550 VAC; 250 VDC; CONNECTION TYPE: SCREW CLAMP OFFSET TAGS; DIMENSIONS: DIA 32 X LG 110 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: 3NWTFP125; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 35 | 117307 | FUSE, CARTRIDGE: CURRENT: 125 A; POTENTIAL: 550 VAC; 460 VDC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 40 X LG 135 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TO BS 66-2; TF125; REFERENCE NO: B2; CLASS Q; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 36 | 4681 | FUSE, CARTRIDGE: CURRENT: 125 A; POTENTIAL: 660 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: WD 30 X LG 78 X HT 47.7 MM; TYPE: INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: 3NE8022; HIGH RUPTURING CAPACITANCE, USED ON BBT SF6 TYPE ELK4 765KV GIS | EA |
| 37 | 117730 | FUSE, CARTRIDGE: CURRENT: 125 A; POTENTIAL: 7.2 KVAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 76 X LG 442 MM; TYPE: INDICATING; CASE MATERIAL: CERAMIC; REFERENCE NO: 7.2WFMSJ125; MGK FUSE, WITH STRIKER PIN | EA |
| 38 | 117173 | FUSE, CARTRIDGE: CURRENT: 15 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.35 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: ABC | EA |
| 39 | 117207 | FUSE, CARTRIDGE: CURRENT: 15 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: AGC | EA |
| 40 | 117359 | FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 415 V; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 14 X LG 55 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: NIT16; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED | EA |
| 41 | 4501 | FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 415 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 14 X LG 60 MM; TYPE: TIME LAG MEDIUM; CASE MATERIAL: CERAMIC; SUPPL P/N: NS16; FUSE, CARTRIDGE; CURRENT 16 A, POTENTIAL 415 VAC, DIMENSIONS DIA 14 X LG 60 MM, TYPE TIME LAG MEDIUM, CASE MATERIAL CERAMIC, CONNECTION TYPE BLADE KNIFE, PART NUMBER: NS16~FUSE,CARTD;NS16,16 A,415 VAC,CERAMIC | EA |
| 42 | 117225 | FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 415 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 84 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TIA16; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 43 | 117741 | FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 38 MM; INTERRUPT CAPACITY: 100 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: CEI 269-2; 63210; REFERENCE NO: 13316 | EA |
| 44 | 118817 | FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 22 X LG 50 MM; TYPE: BOTTLE INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: 1000507/16; PACKED 5 PER BOX | EA |
| 45 | 221074 | FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 550 V; CONNECTION TYPE: BLADE; DIMENSIONS: DIA 10 X LG 38 MM; TYPE: INDICATING; CASE MATERIAL: PLASTIC MOLDED; SUPPL P/N: 420016 | EA |
| 46 | 117679 | FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 80 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; SUPPL P/N: 3NWTIA16; REFERENCE NO: A2; LABEL COLOUR CODE LIGHT BLUE, BASE TYPE A, CLASS Q1 | EA |
| 47 | 117541 | FUSE, CARTRIDGE: CURRENT: 160 A; POTENTIAL: 1 KV; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: WD 30 X LG 123 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: DIN 43620; IEC 269; VDE 0636; REFERENCE NO: 3NE4124 | EA |
| 48 | 117309 | FUSE, CARTRIDGE: CURRENT: 160 A; POTENTIAL: 660 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 34 X LG 134 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TF160; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 49 | 117728 | FUSE, CARTRIDGE: CURRENT: 160 A; POTENTIAL: 7.2 KV; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 81 X LG 438 MM; INTERRUPT CAPACITY: 50 KA; TYPE: INDICATING; CASE MATERIAL: FIBRE GLASS; SPECIFICATION: IEC 60282-1, IEC 60787, UTE C64200, UTE C64210; SUPPL P/N: 0757316; WITH STRIKER PIN | EA |
| 50 | 117813 | FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 240 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 13.5 X LG 50 MM; INTERRUPT CAPACITY: 20 KA; TYPE: NORMAL BLOW; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88-1967 PART 1; IEC 269-1; REFERENCE NO: 50-013-01; SS; CURRENT LIMITING; CONTROL, GG | EA |
| 51 | 117783 | FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: GLASS; ULTRASONIC | EA |
| 52 | 117830 | FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: MEDIUM TIME LAG; CASE MATERIAL: GLASS; SPECIFICATION: DIN 41571; REFERENCE NO: 013532; CURRENT LIMITING; BREAKING CAPACITY E, MTL | EA |
| 53 | 117894 | FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: ONE TIME REJECTION; CASE MATERIAL: GLASS; SUPPL P/N: F2A | EA |
| 54 | 117203 | FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: AGC | EA |
| 55 | 118515 | FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.3 X LG 32 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: GLASS; REFERENCE NO: AGC | EA |
| 56 | 117198 | FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GDA | EA |
| 57 | 117170 | FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.3 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GLH | EA |
| 58 | 4504 | FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 415 V; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 14 X LG 60 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: GLASS; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: NS2; FUSE, CARTRIDGE; CURRENT 2 A, POTENTIAL 415 V, DIMENSIONS DIA 14 X LG 60 MM, TYPE CURRENT LIMITING, CASE MATERIAL GLASS, CONNECTION TYPE BLADE KNIFE, PART NUMBER: NS2 FUSE,CARTD; NS2,2 A,415 V,BLADE KNIFE; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 59 | 117839 | FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 415 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 11 X LG 35 MM; TYPE: BOTTLE INDICATING; CASE MATERIAL: CERAMIC; SPECIFICATION: DIN 49522; SUPPL P/N: 5SE2302 | EA |
| 60 | 117805 | FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 415-550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 80 MM; INTERRUPT CAPACITY: 80 KA; TYPE: INDICATING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88-1967 PART 1; REFERENCE NO: 2SB2; ASTA CERTIFIED | EA |
| 61 | 117285 | FUSE, CARTRIDGE: CURRENT: 2 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 23 X LG 84 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC60269; SUPPL P/N: 2STIA; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGHT 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE A2 | EA |
| 62 | 117208 | FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: 307020 | EA |
| 63 | 117174 | FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.35 X LG 32 MM; TYPE: SLO BLOW; CASE MATERIAL: CERAMIC; REFERENCE NO: 314020 | EA |
| 64 | 117361 | FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 415 VAC; 250 VDC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 14 X LG 55 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: NIT20; TAG ONE SIDE, TWO HOLES | EA |
| 65 | 117226 | FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 415 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 13.9 X LG 60.3 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: NS20; FUSE, CARTRIDGE; CURRENT 20 A, POTENTIAL 415 VAC, DIMENSIONS DIA 13.9 X LG 60.3 MM, TYPE CURRENT LIMITING, CASE MATERIAL CERAMIC, CONNECTION TYPE BLADE KNIFE, PART NUMBER: NS20~FUSE, CARTD; NS20,20 A,415 VAC, CERAMIC; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 66 | 117227 | FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 415 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 84 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TIA20; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 67 | 117696 | FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 500 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: WD 20 X LG 78 X HT 35 MM; INTERRUPT CAPACITY: 1.12 KA; TYPE: INDICATING; CASE MATERIAL: CERAMIC; REFERENCE NO: NH00CGL; LIST NO 2000013 | EA |
| 68 | 118298 | FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 500 VAC; CONNECTION TYPE: LUG KNIFE BLADE AXIAL CENTER; DIMENSIONS: WD 27 X LG 78 X HT 58.5 MM; TYPE: TIME DELAY INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: 3NA3807; INCLOSED LINK, ONE TIME, PIN EXTENDS FROM END | EA |
| 69 | 221075 | FUSE, CARTRIDGE: CURRENT: 20 A; POTENTIAL: 550 V; CONNECTION TYPE: BLADE; DIMENSIONS: DIA 10 X LG 38 MM; TYPE: INDICATING; CASE MATERIAL: PLASTIC MOLDED; SUPPL P/N: 420020 | EA |
| 70 | 117879 | FUSE, CARTRIDGE: CURRENT: 200 A; POTENTIAL: 1.25 KVAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 51 X LG 138 MM; TYPE: INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: K79957; REFERENCE NO: 170E5690; HRC, PROTISTER | EA |
| 71 | 117196 | FUSE, CARTRIDGE: CURRENT: 200 A; POTENTIAL: 3-3.3 KVAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 73 X LG 370 MM; CASE MATERIAL: PORCELAIN; REFERENCE NO: DRVAL6-200S; IEC/CEI282; SPRING LOADED PIN 120 N | EA |
| 72 | 117913 | FUSE, CARTRIDGE: CURRENT: 200 A; POTENTIAL: 380-550 VAC; CONNECTION TYPE: SCREW OFFSET TAGS; DIMENSIONS: DIA 34 X LG 112 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: 200STFP SIBA; LOW VOLTAGE, HRC, BASE TYPE D, CLASS Q1, PLANT UNIT BOARDS; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 73 | 117883 | FUSE, CARTRIDGE: CURRENT: 200 A; POTENTIAL: 660 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: WD 63 X LG 135 X HT 31 MM; INTERRUPT CAPACITY: 80 KA AC; 40 KA DC; TYPE: CURRENT LIMITING; CASE MATERIAL: PORCELAIN WHITE; SUPPL P/N: 317632; REFERENCE NO: B2TF200A; HRC, ASTA CERT | EA |
| 74 | 117882 | FUSE, CARTRIDGE: CURRENT: 200 A; POTENTIAL: 660 VAC; CONNECTION TYPE: SCREW; DIMENSIONS: DIA 52 X LG 138 MM; TYPE: INDICATING; CASE MATERIAL: CERAMIC; REFERENCE NO: 170L4941; TYPOWER | EA |
| 75 | 117776 | FUSE, CARTRIDGE: CURRENT: 200 A; POTENTIAL: 7.2 KVAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 81 X LG 438 MM; TYPE: INDICATING; CASE MATERIAL: GLASS FIBER; SPECIFICATION: IEC 60282-1; IEC 60787; REFERENCE NO: 757-317; SWITCH GEAR FUSE, 3.3 KV, FREQUENCY 50 HZ, PRESSURE 2.5 BAR, WITH STRIKER PIN, USED ON MERLIN GERIN BREAKERS | EA |
| 76 | 118049 | FUSE, CARTRIDGE: CURRENT: 200 A; POTENTIAL: 900 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 51 X LG 137 MM; TYPE: INDICATING; CASE MATERIAL: CERAMIC; REFERENCE NO: F1F6; FOR MONISEMI 380/270 | EA |
| 77 | 117164 | FUSE, CARTRIDGE: CURRENT: 200 MA; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: ONE TIME REJECTION VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GBB | EA |
| 78 | 117888 | FUSE, CARTRIDGE: CURRENT: 25 A; POTENTIAL: 240 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 14 X LG 50 MM; TYPE: INDICATING; CASE MATERIAL: PORCELAIN WHITE; SPECIFICATION: BS 88; HRC, CLASS Q1, 16, 12MM THICK | EA |
| 79 | 117209 | FUSE, CARTRIDGE: CURRENT: 25 A; POTENTIAL: 32 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6 X LG 32 MM; TYPE: FAST BLOW; CASE MATERIAL: GLASS | EA |
| 80 | 118332 | FUSE, CARTRIDGE: CURRENT: 25 A; POTENTIAL: 415 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 13.9 X LG 55.6 MM; TYPE: INSTANTANEOUS ONE TIME REJECTION; CASE MATERIAL: CERAMIC; SUPPL P/N: NIT25; REFERENCE NO: 5001201; NORMAL OPERATING, OFFSET AXIAL LUG TYPE, 5.2 MM WITH SLOT, 44.5 MM MTG CENTRES, ONE TIME INDICATING, HOLE BLOWN IN LABEL | EA |
| 81 | 4645 | FUSE, CARTRIDGE: CURRENT: 25 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 22 X LG 50 MM; TYPE: SLO BLO, BOTTLE, TIME DELAY INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: 5SB281; DIAZED, TYPE TDZ, MARKING GL/GG | EA |
| 82 | 119091 | FUSE, CARTRIDGE: CURRENT: 25 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 14 X LG 51 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: C63211; TYPE AM, STRIKER | EA |
| 83 | 117229 | FUSE, CARTRIDGE: CURRENT: 25 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 80 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: TIA25; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 84 | 117525 | FUSE, CARTRIDGE: CURRENT: 25 A; POTENTIAL: 660 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: WD 48 X LG 50 X HT 30 MM; TYPE: INDICATING; CASE MATERIAL: PORCELAIN; SUPPL P/N: 3NE8015; REFERENCE NO: 2020920/25 | EA |
| 85 | 117325 | FUSE, CARTRIDGE: CURRENT: 250 A; POTENTIAL: 550 VAC; 460 VDC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 50 X LG 135 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TKF250; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 86 | 117798 | FUSE, CARTRIDGE: CURRENT: 250 A; POTENTIAL: 660 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 38 X LG 110 MM; TYPE: TRIP INDICATOR; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; SUPPL P/N: TI700; REFERENCE NO: 250MT; SEMI CONDUCTOR, BRUSH | EA |
| 87 | 117729 | FUSE, CARTRIDGE: CURRENT: 250 A; POTENTIAL: 7.2 KVAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 81 X LG 440 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: 0757318; USED ON MERLIN GERIN BREAKERS | EA |
| 88 | 117162 | FUSE, CARTRIDGE: CURRENT: 3 A; POTENTIAL: 220 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5.2 X LG 20 MM; TYPE: SLO BLOW; CASE MATERIAL: GLASS; REFERENCE NO: GMA | EA |
| 89 | 117237 | FUSE, CARTRIDGE: CURRENT: 315 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 39.7 X LG 136.5 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TKF315; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 90 | 117951 | FUSE, CARTRIDGE: CURRENT: 315 A; POTENTIAL: 600 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 51 X LG 112 MM; TYPE: INDICATING; CASE MATERIAL: PORCELAIN; SUPPL P/N: 6B0DK3URGG31E315; REFERENCE NO: 19765; PROTISTOR | EA |
| 91 | 117614 | FUSE, CARTRIDGE: CURRENT: 315 A; POTENTIAL: 800 VAC; CONNECTION TYPE: KNIFE BLADE W/SLOTS; DIMENSIONS: SQ 60 X LG 142 MM; TYPE: INDICATING; CASE MATERIAL: CERAMIC; SPECIFICATION: DIN 43620; REFERENCE NO: 3NE4330; SLOT LENGTH 17MM X 10.5MM | EA |
| 92 | 118220 | FUSE, CARTRIDGE: CURRENT: 32 A; POTENTIAL: 415 VAC; CONNECTION TYPE: KNIFE BLADE AXIAL OFFSET; DIMENSIONS: DIA 14.5 X LG 59 MM; TYPE: INSTANTANEOUS INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: NS32; REFERENCE NO: 32F06; HOLE BLOWN IN LABEL | EA |
| 93 | 117726 | FUSE, CARTRIDGE: CURRENT: 32 A; POTENTIAL: 415 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 28 MM; INTERRUPT CAPACITY: 80 KA; TYPE: INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: MD32A; CLASS Q1 | EA |
| 94 | 118481 | FUSE, CARTRIDGE: CURRENT: 32 A; POTENTIAL: 415 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 84 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TIA32; HRCFUSE BODY LENGTH: 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A2 | EA |
| 95 | 119179 | FUSE, CARTRIDGE: CURRENT: 32 A; POTENTIAL: 500 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 12 X LG 54 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: NIT32; TAG TYPE, ONE SIDE, TWO HOLES | EA |
| 96 | 607755 | FUSE, CARTRIDGE: CURRENT: 100 A; POTENTIAL: 690 VAC; CONNECTION TYPE: CLIP IN; DIMENSIONS: WD 97 X LG 130 X HT 50 MM; CASE MATERIAL: CERAMIC; SPECIFICATION: IEC 269; OEM P/N: 3NE1021-0 | EA |
| 97 | 117630 | FUSE, CARTRIDGE: CURRENT: 4 A; POTENTIAL: 240 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 14 X LG 47 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: SS4A; REFERENCE NO: BS881967; 20 PER BOX | EA |
| 98 | 117891 | FUSE, CARTRIDGE: CURRENT: 4 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: SLO BLOW; CASE MATERIAL: GLASS | EA |
| 99 | 117218 | FUSE, CARTRIDGE: CURRENT: 4 A; POTENTIAL: 415 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 14 X LG 60 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: NS4; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED | EA |
| 100 | 117740 | FUSE, CARTRIDGE: CURRENT: 4 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 38 MM; INTERRUPT CAPACITY: 100 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: CEI269-2; SUPPL P/N: NCF 63210; REFERENCE NO: 13004 | EA |
| 101 | 221073 | FUSE, CARTRIDGE: CURRENT: 4 A; POTENTIAL: 550 V; CONNECTION TYPE: BLADE; DIMENSIONS: DIA 10 X LG 38 MM; TYPE: INDICATING; CASE MATERIAL: PLASTIC MOLDED; SUPPL P/N: 420004 | EA |
| 102 | 117293 | FUSE, CARTRIDGE: CURRENT: 4 A; POTENTIAL: 550 V; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 84 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; REFERENCE NO: TIA4; CLASS Q1(HRC); BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 103 | 118168 | FUSE, CARTRIDGE: CURRENT: 40 A; POTENTIAL: 415 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 85 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TIS40; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3; SUPPLIER NOTE, THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED | EA |
| 104 | 117914 | FUSE, CARTRIDGE: CURRENT: 40 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP OFFSET TAGS; DIMENSIONS: DIA 22 X LG 84 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: A3; LOW VOLTAGE HRC, BASE TYPE B, CLASS Q1, BS88, FIXING CENTRE 73 MM | EA |
| 105 | 117239 | FUSE, CARTRIDGE: CURRENT: 400 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 56 X LG 210 MM; INTERRUPT CAPACITY: 80 KA; TYPE: INDICATING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TM400; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 106 | 117653 | FUSE, CARTRIDGE: CURRENT: 450 A; POTENTIAL: 600 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 76 X LG 210 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: PORCELAIN; SPECIFICATION: BS 88 IEC 60269; REFERENCE NO: 50-04001; FF450; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY HEIGHT 74 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG: SIZE C2 | EA |
| 107 | 117163 | FUSE, CARTRIDGE: CURRENT: 5 A; POTENTIAL: 220 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GMA | EA |
| 108 | 117895 | FUSE, CARTRIDGE: CURRENT: 5 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: ONE TIME REJECTION; CASE MATERIAL: CERAMIC; REFERENCE NO: FF5A | EA |
| 109 | 117885 | FUSE, CARTRIDGE: CURRENT: 50 A; POTENTIAL: 415-660 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 23 X LG 87 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: PORCELAIN WHITE; SPECIFICATION: BS 88/2-1975 Q1; REFERENCE NO: 5000201; A3; HRC, LG 50MM, THK 23.5MM | EA |
| 110 | 117231 | FUSE, CARTRIDGE: CURRENT: 50 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 22 X LG 85 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TIS50; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 111 | 118199 | FUSE, CARTRIDGE: CURRENT: 500 A; POTENTIAL: 500 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: WD 70 X LG 150 X HT 79 MM; INTERRUPT CAPACITY: 120 KA; TYPE: INSTANTANEOUS INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: 3NA1434; REFERENCE NO: 2000513/500; ENCLOSED LINK; NORMAL OPERATING, PIN EXTENDS FROM END | EA |
| 112 | 117240 | FUSE, CARTRIDGE: CURRENT: 500 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 85 X LG 212 MM; INTERRUPT CAPACITY: 80 KA; TYPE: INSTANTANEOUS; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TTM/FFM500; NORMAL INSTANTANEOUS OPERATING; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY HEIGHT 85 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: C2 | EA |
| 113 | 117778 | FUSE, CARTRIDGE: CURRENT: 500 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 59 X LG 210 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; BRUSH, MOTOR CIRCUIT FUSELINK, ASTA 20 | EA |
| 114 | 575408 | FUSE, CARTRIDGE: CURRENT: 500 A; POTENTIAL: 690 V; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 77.5 X LG 210 MM; INTERRUPT CAPACITY: 80 KA; TYPE: INSTANTANEOUS; CASE MATERIAL: CERAMIC; SPECIFICATION: BS88; IEC 269-1; MANUF P/N: FF500 | EA |
| 115 | 4506 | FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 240 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 14 X LG 50 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: GLASS; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: SS6; REFERENCE NO: SS6; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 116 | 117168 | FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 6.3 X LG 30 MM; TYPE: ONE TIME REJECTION; CASE MATERIAL: GLASS; REFERENCE NO: AGC | EA |
| 117 | 117201 | FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 250 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GMA | EA |
| 118 | 117640 | FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 440 V; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: DIA 10 X LG 58 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: NS6 | EA |
| 119 | 221078 | FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 500 V; CONNECTION TYPE: BLADE; DIMENSIONS: DIA 10 X LG 38 MM; TYPE: INDICATING; CASE MATERIAL: PLASTIC MOLDED; SPECIFICATION: CLASS GG; SUPPL P/N: 420006 | EA |
| 120 | 117256 | FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 500 V; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 22 X LG 50 MM; TYPE: BOTTLE FAST BLOW; CASE MATERIAL: CERAMIC; SUPPL P/N: 5SB131; DIAZED, FLINK | EA |
| 121 | 117909 | FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 14 X LG 54 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: 3NWNIT6; TYPE 5008501/6; BS 88 OR IEC 60 269 CERTIFIED; FUSE BODY LENGTH 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 122 | 117738 | FUSE, CARTRIDGE: CURRENT: 63 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 22 X LG 58 MM; INTERRUPT CAPACITY: 100 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: CEI269-2; SUPPL P/N: NFC 63210; TYPE 15063 | EA |
| 123 | 118275 | FUSE, CARTRIDGE: CURRENT: 63 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP TAG; DIMENSIONS: DIA 22.2 X LG 90.5 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; SUPPL P/N: TIS63; ONE SIDE, TWO HOLES; FUSE BODY LENGTH: 56.4 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A3 | EA |
| 124 | 117912 | FUSE, CARTRIDGE: CURRENT: 63 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: LG 75 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: 3NWTIS63; REFERENCE NO: A3; LOW VOLTAGE HRC, LABEL COLOUR CODE PURPLE, BASE TYPE B, CLASS: Q1, BS88, SIDE TAGS WITH SLOT HOLES | EA |
| 125 | 117643 | FUSE, CARTRIDGE: CURRENT: 63 A; POTENTIAL: 660 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: WD 30 X LG 77 X HT 47 MM; TYPE: INDICATING; CASE MATERIAL: CERAMIC; SUPPL P/N: 3NE8 018; TEF 2020920/63 | EA |
| 126 | 118519 | FUSE, CARTRIDGE: CURRENT: 630 A; POTENTIAL: 550 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 75 X LG 210 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88-1975; SABS 172-1977; SUPPL P/N: TTM630; REFERENCE NO: TTM630; HRC | EA |
| 127 | 575581 | FUSE, CARTRIDGE: CURRENT: 630 A; POTENTIAL: 700 V; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: WD 43 X LG 58 MM; INTERRUPT CAPACITY: 700KA AC; 200KA DC; TYPE: SEMI CONDUCTOR; MANUF P/N: 170M3273; 0-1367 (MILLI OHMS) | EA |
| 128 | 118028 | FUSE, CARTRIDGE: CURRENT: 630 A; POTENTIAL: 750 VAC; CONNECTION TYPE: SCREW DOWN; DIMENSIONS: DIA 64 X LG 85 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: STL; REFERENCE NO: N78028-750 C1G URE 630; PROTISTOR, 35 DEG C, TWO CONNECTIONS ON ONE SIDE THREADED +- 10MM HOLE, THREE CONNECTIONS OTHER SIDE THREADED +- 10MM HOLE, FOR USE ON GENERATOR ROTATING DIODES ON EXITER | EA |
| 129 | 117908 | FUSE, CARTRIDGE: CURRENT: 80 A; POTENTIAL: 550 VAC; 250 VDC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 33 X LG 112 MM; INTERRUPT CAPACITY: 80/40 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; SUPPL P/N: TCP80A; REFERENCE NO: A4; LOW VOLTAGE, LABEL COLOUR CODE YELLOW, BASE TYPE C, CLASS: Q1, SLOT 5.2MM | EA |
| 130 | 117233 | FUSE, CARTRIDGE: CURRENT: 80 A; POTENTIAL: 550 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 26.2 X LG 111 MM; INTERRUPT CAPACITY: 80 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88 IEC 60269; SUPPL P/N: TCP80; OFF-SET TAGS 2-HOLE FIXING; FUSE BODY LENGTH: 58 MM; BREAKING RANGE AND UTILIZATION CATEGORY: GG; SIZE: A4 | EA |
| 131 | 117193 | FUSE, CARTRIDGE: CURRENT: 80 A; POTENTIAL: 660 VAC; CONNECTION TYPE: FERRULE OPEN SLOTTED TAGS; DIMENSIONS: WD 30 X LG 54 X HT 51 MM; TYPE: ULTRA RAPID INDICATING; CASE MATERIAL: CERAMIC; TYPOWER SILCO, 2800A2S, WITH STRIKER PIN, BLOWN INDICATOR, PRE ARCHING INTEGRAL FROM COLD, 390A2S | EA |
| 132 | 117777 | FUSE, CARTRIDGE: CURRENT: 800 A; POTENTIAL: 1250 VAC; CONNECTION TYPE: BOLTED; DIMENSIONS: DIA 73 X LG 75 MM; INTERRUPT CAPACITY: 100 KA; TYPE: ULTRA FAST ACTING; CASE MATERIAL: PORCELAIN; SPECIFICATION: BS 88/4-1976; IEC 269-4; SUPPL P/N: C3URL; TYPE ONE TIME REJECTION, (850 GSG 1000 150A) HRC LINK FOR PROTECTIVE SEMI CONDUCTORS, 660 VAC | EA |
| 133 | 595719 | FUSE, CARTRIDGE: CURRENT: 100 A; POTENTIAL: 415 VDC; CONNECTION TYPE: KNIFE BLADE AXIAL OFFSET; DIMENSIONS: DIA 21 X LG 36.5 MM; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; OEM P/N: ESD63M100 | EA |
| 134 | 595718 | FUSE, CARTRIDGE: CURRENT: 63 A; POTENTIAL: 415 VAC; CONNECTION TYPE: KNIFE BLADE AXIAL OFFSET; DIMENSIONS: DIA 17.5 X LG 34.6 MM; TYPE: CARTRIDGE; CASE MATERIAL: CERAMIC; SPECIFICATION: BS 88; OEM P/N: NSD32M63 | EA |
| 135 | 253313 | HOLDER, FUSE: POTENTIAL: 400 VAC; CURRENT: 32 A; FUSE SIZE: DIA 10 X LG 38 MM; FUSE STYLE: CYLINDRICAL; MOUNT: DIN RAIL; SUPPL P/N: 480032; INDUSTRIAL MODULAR | EA |
| 136 | 117177 | HOLDER, FUSE: FUSE SIZE: LG 46 MM; FUSE STYLE: FERRULE; CONNECTION TYPE: 2 PIN; SUPPL P/N: SMSF372; C/W NYLON WASHER AND LOCKING NUT | EA |
| 137 | 142147 | LEVER: TYPE: HANDLE; MATERIAL: BAKELITE; APPLICATION: FUSED ISOLATOR; REFERENCE NO: 8UC6313-1BB30; SIZE: 180MM LG; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 138 | 142150 | LEVER: TYPE: HANDLE; MATERIAL: PLASTIC; APPLICATION: FUSED ISOLATOR; REFERENCE NO: 8UC7414-1BB44; SIZE: 235MM LG; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 139 | 590712 | FUSE: TYPE: SQUARE BODY; CURRENT: 900 A; POTENTIAL: 700 VAC; CONNECTION: 653 STUD MOUNT; DIMENSIONS: SQ 76 X LG 139 MM; SPECIFICATION: EC 60269: PART 4; MANUF P/N: 3BHB022904R0001; HIGH SPEED | EA |
| 140 | 580041 | FUSE, CARTRIDGE: CURRENT: 32 A; POTENTIAL: 6 KV; CONNECTION TYPE: FUNNEL; DIMENSIONS: DIA 51 X LG 295 MM; MANUF P/N: HIES417848P0001 | EA |
| 141 | 117159 | FUSE, CARTRIDGE: CURRENT: 125 A; POTENTIAL: 220 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 5 X LG 20 MM; TYPE: SLO BLO, VISUAL INDICATING; CASE MATERIAL: GLASS; REFERENCE NO: GMA; AE | EA |
| 142 | 118048 | FUSE, CARTRIDGE: CURRENT: 16 A; POTENTIAL: 500 VAC; CONNECTION TYPE: SCREW CLAMP; DIMENSIONS: DIA 21 X LG 50 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: 029-006036; F13F14; FOR MINISEMI 380/270, RE ORDER NO 029.006036 | EA |
| 143 | 117699 | FUSE, CARTRIDGE: CURRENT: 4 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 38 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; REFERENCE NO: 13304; GL / 133-04 | EA |
| 144 | 117194 | FUSE, CARTRIDGE: CURRENT: 50 A; POTENTIAL: 660 VAC; CONNECTION TYPE: BLADE KNIFE; DIMENSIONS: WD 48 X LG 78 X HT 30 MM; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: IEC 269; REFERENCE NO: 3NE8017; VDE 0636; ENCLOSED LINK, 80MM LONG, BLOCK TYPE | EA |
| 145 | 117749 | FUSE, CARTRIDGE: CURRENT: 6 A; POTENTIAL: 500 VAC; CONNECTION TYPE: FERRULE; DIMENSIONS: DIA 10 X LG 38 MM; INTERRUPT CAPACITY: 100 KA; TYPE: CURRENT LIMITING; CASE MATERIAL: CERAMIC; SUPPL P/N: CEI 269-2; NCF 63210; REFERENCE NO: 13306 | EA |

| Item nr | Material number | Material Description and Texts (Relay) | UOM |
| --- | --- | --- | --- |
| 1 | 126366 | RELAY, OVERLOAD: TYPE: THERMAL OVERCURRENT; CONTACT ARRANGEMENT: 1NO; RESET: MANUAL; TERMINAL: 15 PIN; MOUNT: PLUG IN; ENCLOSURE RATING: PLASTIC CLEAR; REFERENCE NO: RK642 003AA | EA |
| 2 | 126127 | RELAY, TIME DELAY: OPERATION: 0.3-6 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 220 VAC; COIL VOLTAGE: 220 VAC; TERMINAL: CAPTIVE CLAMP; MOUNT: BRACKET; ENCLOSURE RATING: PLASTIC; SPECIFICATION: VDE0435; SUPPL P/N: 0110; AI953N0082; UNIVERSAL CONTACT | EA |
| 3 | 689548 | RELAY, TIME DELAY: OPERATION: DELAY-ON; CONTACT ARRANGEMENT: 1NC 1NO; ACTION: SPDT; CONTACT RATING: 250 VAC 10 A; COIL VOLTAGE: 24-250 VAC; TERMINAL: 11 PIN PLUG IN; MOUNT: BASE; DP1/DP2/DP3 | EA |
| 4 | 126197 | RELAY, TIME DELAY: OPERATION: ON 0.15-3 S; CONTACT ARRANGEMENT: 1NO 1NC; ACTION: SPDT; CONTACT RATING: 250 VAC 5 A; COIL VOLTAGE: 220 VAC; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; REFERENCE NO: E72-OX 302F; FOR CONTROL PANELS; UNIVERSAL CONTACT | EA |
| 5 | 126198 | RELAY, TIME DELAY: OPERATION: ON 0.5-10 S; CONTACT ARRANGEMENT: 1NO 1NC; ACTION: SPDT; CONTACT RATING: 250 VAC 6 A; COIL VOLTAGE: 220 VDC; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; REFERENCE NO: E72-OX 323F; FOR CONTROL PANELS; UNIVERSAL CONTACT | EA |
| 6 | 128030 | RELAY, TIME DELAY: OPERATION: ON 0-1 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: 4PDT; COIL VOLTAGE: 220 VAC; TERMINAL: CAPTIVE SCREW QUICK CONNECT; MOUNT: PANEL; CONTACT MATERIAL: AG PLTD; ENCLOSURE RATING: PLASTIC CLEAR; SUPPL P/N: PR1KY; REFERENCE NO: HE341113/24; 50HZ | EA |
| 7 | 125888 | RELAY, TIME DELAY: OPERATION: ON/OFF 0.1 S TO 60 HR; CONTACT ARRANGEMENT: 1NO 1NC; ACTION: SPDT; CONTACT RATING: 250 VAC 5 A; COIL VOLTAGE: 220 VAC; TERMINAL: CAPTIVE SCREW; MOUNT: BRACKET; REFERENCE NO: 25727706; RTC24; 245TCR; 15952; AUXILIARY, TIMING RANGE 0.6 +/- 0.3 S, 2 SETS OF CONTACTS FOR N/O AND N/C; UNIVERSAL CONTACT | EA |
| 8 | 124687 | RELAY, TIME DELAY: OPERATION: ON/OFF 1-10 S; CONTACT ARRANGEMENT: 4NO 4NC; ACTION: 4PDT; CONTACT RATING: 380 V; COIL VOLTAGE: 48 VDC; TERMINAL: 14 PIN PLUG IN; MOUNT: TERMINAL SOCKET; CONTACT MATERIAL: AG PLTD; ENCLOSURE RATING: PLASTIC; REFERENCE NO: CEF4A-2222; TEMP 22, INST 22, USED ON GENERATOR AVR SYSTEM, GENERATOR CLOSE/OPEN LOOP CONTROL AND PROTECTION | EA |
| 9 | 187444 | RELAY, TIME DELAY: OPERATION: ON/OFF 3-60 MIN; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 220 VAC 4 A; COIL VOLTAGE: 100/240 VAC; TERMINAL: 10 PIN PLUG IN; MOUNT: PANEL; CONTACT MATERIAL: AG PLTD; ENCLOSURE RATING: CLOSE; SUPPL P/N: GHC4620008R0004 | EA |
| 10 | 126376 | RELAY: CONTACT ARRANGEMENT: 1NO 1NC; CONTACT RATING: 220 VAC 2 A; 24 VDC 2 A; SPECIFICATION: DIN 42566; SUPPL P/N: BF50/10K; BUCHOLTZ, DC AT R L/R 75 MS, 50 HZ, REED SWITCHES DESIGN, MUST CORRESPOND TO THE STANDARD TGL15290 AND TO THE CONDITIONS LAID DOWN IN STIPULATIONS, THE CASING MUST BE FITTED WITH AT LEAST ONE LIQUID DISCHARGING SCREW AT THE LOWEST POINT, THE COVER MUST BE FITTED WITH A TEST COCK AND TEST KEY MOUNTED ON TOP, IN ORDER TO AVOID AN ACCUMULATION OF CONDENSED WATER IN THE TERMINAL BOX, THE LATTER SHOULD BE EQUIPPED WITH LABYRINTH, LIKE EARATION AND VENTILATION OPENINGS, TEST CERTIFICATE MUST BE SUPPLIED ON DELIVERY | EA |
| 11 | 125950 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 220 VAC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 250 VAC 10 A; ACTION: DPDT; TERMINAL: 8 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; REFERENCE NO: MK29-8 | EA |
| 12 | 115380 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 3NO 3NC; CONTACT RATING: 110 VDC; ACTION: 3PDT; TERMINAL: 10 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; REFERENCE NO: RK279001 AA; TRC4800; TRIP CIRCUIT SUPERVISION | EA |
| 13 | 187436 | RELAY, OVERLOAD: TRIP RANGE: 6-8.5 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 2NO 2NC; RESET: AUTOMATIC; TERMINAL: 7 PIN PLUG IN; MOUNT: CLIP ON; ENCLOSURE RATING: CLOSE; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: GJZ2420201R0039; T25 | EA |
| 14 | 126986 | BASE, RELAY: TYPE: 11 PIN TERMINAL; WIDTH: 42 MM; HEIGHT: 30 MM; MATERIAL: PLASTIC; LENGTH: 51 MM; SUPPL P/N: MK3PE5; REFERENCE NO: 2M4X30 | EA |
| 15 | 147393 | ALARM: TYPE: YODALARM SOUNDER; RATING: 220-240 VAC; OUTPUT: SIREN; SUPPL P/N: Y05AC; OUTPUT: 800 HZ AT 100 DB(A), COLOUR: RED, SOLID STATE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 16 | 251528 | BASE, RELAY: TYPE: PLUG IN 4 CONTACT; WIDTH: 22.5 MM; HEIGHT: 28 MM; MATERIAL: PLASTIC; POTENTIAL: 230 VAC; CURRENT: 6 A; REFERENCE NO: LZXPT570730; INCLUDES TEST BRACKET AND MECHANICAL SWITCH POS ITION INDICATOR WITHOUT LED | EA |
| 17 | 193563 | RELAY, CONTROL: CONTACT RATING: 230-400 VAC; CONTACT ARRANGEMENT: 4NO; COIL VOLTAGE: 24 VDC; ACTION: SPDT; MOUNT: PLUG IN; TERMINAL: SCREW; ENCLOSURE RATING: IP20; REFERENCE NO: 3TH2040-OBB4; 40E; SCREW TERMINALS DC OPERATION DC SOLENOID SYSTEM DC 24 V; CONTROL SUPPLY VOLTAGE FOR DC/RATED VALUE: 24 V; AUXILIARY CIRCUIT: OPERATING CURRENT AT AC-15 AT 230 V/RATED VALUE= 4A; AT 400 V/RATED VALUE= 3 A; TEMPARATURE DURING OPERATION; -25 TO 55 DEG C | EA |
| 18 | 637247 | RELAY, CONTROL: CONTACT RATING: 5 A; CONTACT ARRANGEMENT: 4NO; COIL VOLTAGE: 220 VAC; ACTION: 4PDT; MOUNT: BASE; TERMINAL: PLUG IN; CONTACT MATERIAL: CU; SPECIFICATION: IEC; TYPE: INSTANTANEOUS; REFERENCE NO: RHN 411M | EA |
| 19 | 125764 | RELAY, CONTROL: CONTACT RATING: 600 VAC 10 A; CONTACT ARRANGEMENT: 2NO 2NC; COIL VOLTAGE: 220 VAC; ACTION: 4PST; MOUNT: PANEL; TERMINAL: CAPTIVE CLAMP; ENCLOSURE RATING: BAKELITE; SUPPL P/N: CAD32M7; REFERENCE NO: 023463; CONTACT UNIVERSAL | EA |
| 20 | 126045 | RELAY, OVERLOAD: TRIP RANGE: 0.12-0.18 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: 910-341-922-00; B17S; REFERENCE NO: 910-341-922-00; GENERAL PURPOSE ENCLOSURE, RATED VOLTAGE: 660VAC, TO BE SET TO MOTOR CURRENT, VDE 0660, IEC 292-1 | EA |
| 21 | 126049 | RELAY, OVERLOAD: TRIP RANGE: 0.18-0.28 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B17S; REFERENCE NO: 910-341-923-00; RATED VOLTAGE 660VAC, FOR USE ON 380VOLT BOARDS | EA |
| 22 | 742540 | RELAY, OVERLOAD: TRIP RANGE: 0.4 - 0.63 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL/AUTO; CURRENT: 0.4 - 0.63 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; APPLICATION: OVERLOAD PROTECTION; SUPPL P/N: LRD 04; RATED VOLTAGE 66OVAC | EA |
| 23 | 126058 | RELAY, OVERLOAD: TRIP RANGE: 0.4-0.6 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B17S; REFERENCE NO: 910-341-925-00; RATED VOLTAGE: 66VAC, TO BE SET TO MOTOR CURRENT, FOR USE ON 380VOLT BOARDS | EA |
| 24 | 126019 | RELAY, OVERLOAD: TRIP RANGE: 0.4-0.6 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; | EA |
| 25 | 126039 | RELAY, OVERLOAD: TRIP RANGE: 0.63-1 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; CURRENT: 0.8-1.2 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: LRD 05-034675; RATED VOLTAGE 660VAC | EA |
| 26 | 125728 | RELAY, OVERLOAD: TRIP RANGE: 0.63-1 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; CURRENT: 10 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PLUG IN; CONTACT MATERIAL: SILVER PLTD; STORAGE TEMP RANGE: AMBIENT; SUPPL P/N: LRD05 0.63A-1A; RATING 380VAC, 0.37KW, RATED INSULATION VOLTAGE 660V, RATED CURRENT 10AMP | EA |
| 27 | 217377 | RELAY, OVERLOAD: TRIP RANGE: 0.8-1.2 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT: 110 VAC; 24/48 VDC; SUPPL P/N: LR2-K0306; MODEL NO: 255899; RATED VOLTAGE 660V | EA |
| 28 | 742542 | RELAY, OVERLOAD: TRIP RANGE: 1 - 1.6 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1 NO 1 NC; RESET: MANUAL/AUTO; CURRENT: 1 - 1.6 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; APPLICATION: OVERLOAD PROTECTION; SUPPL P/N: LRD 06; RATED VOLTAGE 660VAC | EA |
| 29 | 126057 | RELAY, OVERLOAD: TRIP RANGE: 1.2-1.8 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 6 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B17S; REFERENCE NO: 910-351-928-00; RATED VOLTAGE: 660VAC, T = 6A, TO BE SET AT MOTOR RATED CURRENT, FOR USE ON 380VOLT BOARDS | EA |
| 30 | 126511 | RELAY, THERMAL: TYPE: THERMISTOR; COIL VOLTAGE: 220 - 240 V; CONTACT RATING: 10 A; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE RATING: IP65; CONTACT TYPE: SILVER PLATED; CONTACT PLATING: SILVER; OVERALL DIAMETER: 20 MM; OVERALL WIDTH: 80 MM; OVERALL HEIGHT: 100 MM; CONTACT QUANTITY: 1NO 1NC; SUPPL P/N: 1SVR730712R2200; REFERENCE NO: CM-MSS.33S; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 31 | 743856 | RELAY, OVERLOAD: TRIP RANGE: 1.6 - 2.5 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1 NO 1 NC; RESET: MANUAL/AUTO; CURRENT: 1.6 - 2.5 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; APPLICATION: OVERLOAD PROTECTION; SUPPL P/N: LRD 07; RATED VOLTAGE 660VAC | EA |
| 32 | 148474 | COMPARATOR: TYPE: VOLTAGE WINDOW; SUPPL P/N: SP230-380V-AC-DP; 380 VAC, THREE PHASE, TYPE: VC-180 | EA |
| 33 | 125663 | RELAY, OVERLOAD: TRIP RANGE: 1.8-2.8 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: 910-341-228-00; B27; REFERENCE NO: 910-341-228-00; UNIVERSAL CONTACT, RATED VOLTAGE 660VAC, SET TO MOTOR RATED CURRENT, FOR USE ON 380V BOARDS | EA |
| 34 | 126051 | RELAY, OVERLOAD: TRIP RANGE: 1.8-2.8 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 1.8-2.8 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B17S; REFERENCE NO: 910-341-929-00; RATED VOLTAGE: 660VAC, VDE 0660, IEC 292/1; FOR USE ON 380VOLT PANEL BOARDS, PART NUMBER: B17S, REFERENCE: 910-341-929-00 | EA |
| 35 | 126309 | RELAY, OVERLOAD: TRIP RANGE: 1.8-2.8 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B27S; REFERENCE NO: 110585N; RATED VOLTAGE 660VAC | EA |
| 36 | 125271 | RELAY, OVERLOAD: TRIP RANGE: 10-16 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SUPPL P/N: Z00-16; AUXILIARY CONTACT B150 R150, FOR USE ON ASH PLANT; UNIVERSAL CONTACT | EA |
| 37 | 126953 | RELAY, OVERLOAD: TRIP RANGE: 1-1.6 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: SCREW CLAMP; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; SUPPL P/N: LR1-D09306; RATED VOLTAGE 600VAC, NUMBERS ON DIAL ARE FULL LOAD MOTOR CURRENTS; UNIVERSAL CONTACT | EA |
| 38 | 126717 | RELAY, OVERLOAD: TRIP RANGE: 110-360 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 110 A; TERMINAL: 10 SCREW CLAMP; MOUNT: PANEL; ENCLOSURE RATING: OPEN; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: ET-360YN-360; WITH MODE SELECTIONS FOR 1 OVERLOAD, 2 SINGLE PHASE, 3 REVERSE PHASE, USED ON LP HEATER DRAIN PUMPS 380VOLT SWITCHGEAR | EA |
| 39 | 126052 | RELAY, OVERLOAD: TRIP RANGE: 11-17 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 17 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B17S; REFERENCE NO: 910-341-937-00; RATED VOLTAGE 660VAC, TO BE SET TO MOTOR RATED CURRENT, FOR USE ON 380VOLT BOARDS | EA |
| 40 | 125254 | RELAY, OVERLOAD: TRIP RANGE: 11-17 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 11-17 A; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; SPECIFICATION: IEC 947-4-1; VDE 0660; REFERENCE NO: 910-341- 957-00; B27S; 600VAC, 3 PIN, SIZE 76.5MM LONG 45MM WIDE 48MM THICK | EA |
| 41 | 126044 | RELAY, OVERLOAD: TRIP RANGE: 12-18 A; TYPE: DIFFERENTIAL THERMAL OVERLOAD; CONTACT ARRANGEMENT: 1NO 1NC; RESET: PUSH-BUTTON; CURRENT: 10 A; TERMINAL: SCREW CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; APPLICATION: MOTOR PROTECTION; SPECIFICATION: IEC 60947-4-1; SUPPL P/N: LRD21; REFERENCE NO: 910-341-957-00; RATED VOLTAGE 660VAC, TO BE SET TO MOTOR RATED CURRENT, FOR USE ON 380VOLT BOARDS | EA |
| 42 | 125703 | RELAY, OVERLOAD: TRIP RANGE: 15-23 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B67; REFERENCE NO: 910-341-334-00; RATED VOLTAGE: 660VAC, TO BE SET AT MOTOR CURRENT, TRIP CURRENT IS 120 PCT OF DIAL SETTING | EA |
| 43 | 187435 | RELAY, OVERLOAD: TRIP RANGE: 160-250 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC; TERMINAL: 18 PIN PLUG IN; MOUNT: RAIL; ENCLOSURE RATING: CLOSE; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: T250; GJZ5221201R0071 | EA |
| 44 | 126041 | RELAY, OVERLOAD: TRIP RANGE: 16-24 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: PUSH-BUTTON; CURRENT: 10 A; TERMINAL: SCREW CLAMP; MOUNT: PANEL; ENCLOSURE RATING: IP20; CONTACT MATERIAL: SILVER PLTD; APPLICATION: MOTOR PROTECTION; SPECIFICATION: IEC 60529; REFERENCE NO: LRD22; RATED VOLTAGE: 660VAC, TRIP CURRENT IS 125 PCT OF DIAL SETTING | EA |
| 45 | 578445 | RELAY, OVERLOAD: TRIP RANGE: 175-280 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 2NO 2NC; RESET: MANUAL; CURRENT: 310 A; TERMINAL: SCREW; MOUNT: REAR; ENCLOSURE RATING: NEMA 1; APPLICATION: CONTACTOR; OPERATING TEMP RANGE: -20 TO 55 DEG C; STORAGE TEMP RANGE: -30 TO 78 DEG C; REFERENCE NO: RTN5B; SEPARATE MOUNT; WITH AUXILLIARY CONTANTS | EA |
| 46 | 8202 | RELAY, OVERLOAD: TRIP RANGE: 2.5-4 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 10 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PLUG IN; ENCLOSURE RATING: BAKELITE; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: 023257; LR2D1308; FOR USE ON M AND G SF6 BREAKERS | EA |
| 47 | 125259 | RELAY, OVERLOAD: TRIP RANGE: 2.8-4 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 2.5-4.1 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; CONTACT MATERIAL: SILVER PLTD; OPERATING TEMP RANGE: -25 TO 60 DEG C; SUPPL P/N: B17S; REFERENCE NO: 910-341-930-00; B18K 2.5-4.1A; 380VAC, PLANT 380V UNIT BOARDS, 3 PIN | EA |
| 48 | 128014 | RELAY, OVERLOAD: TRIP RANGE: 20-30 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 30 A; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; CONTACT MATERIAL: SILVER PLTD; REFERENCE NO: CT1-30; DELAYED TRIPLE POLE | EA |
| 49 | 607749 | RELAY, OVERLOAD: TRIP RANGE: 23-32 A; TYPE: LOAD PROTECTION; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTO / MANUAL; CURRENT: 32 A; TERMINAL: SCREW DOWN; MOUNT: BASE; ENCLOSURE RATING: IP65; OPERATING TEMP RANGE: -4 TO 50 DEG C; REFERENCE NO: LRD 32 | EA |
| 50 | 126994 | RELAY, OVERLOAD: TRIP RANGE: 23-32 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: LRD3353; MOTOR FUSE RATING 40A AT 380V, 15KW AT 500V 18.5KW, 600V MAX RATED, MAX FUSE CAPACITY 110A | EA |
| 51 | 578448 | RELAY, OVERLOAD: TRIP RANGE: 250-400 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 2NO 2NC; RESET: MANUAL; CURRENT: 500 A; TERMINAL: SCREW; MOUNT: REAR; ENCLOSURE RATING: NEMA 1; APPLICATION: CONTACTOR; OPERATING TEMP RANGE: -20 TO 55 DEG C; STORAGE TEMP RANGE: -30 TO 78 DEG C; REFERENCE NO: RTN5C; SEPARATE MOUNT; WITH AUXILLIARY CONTACTS | EA |
| 52 | 126995 | RELAY, OVERLOAD: TRIP RANGE: 30-40 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; CURRENT: 40 A; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; REFERENCE NO: LR1D40355; O/A DIMENSIONS 53MM LONG X 90MM HIGH X 44MM WIDE, VOLTAGE 380VAC, 4 N/O CONTACTS, NUMBER ON DIAL ARE FULL LOAD MOTOR CURRENTS; UNIVERSAL CONTACT | EA |
| 53 | 126055 | RELAY, OVERLOAD: TRIP RANGE: 32-50 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; CURRENT: 30-40 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 282-1; VDE 0660; SUPPL P/N: B77S; REFERENCE NO: 910-341-985; RATED CURRENT 30-40AMP, RATED VOLTAGE 660VAC, TRIP CURRENT 120 PCT OF DIAL SETTING, TO BE SET TO MOTOR CURRENT, FOR USE ON 380VOLT BOARDS | EA |
| 54 | 219515 | RELAY, OVERLOAD: TRIP RANGE: 37-50 A; TYPE: THERMAL; MOUNT: SCREW; MANUF P/N: LA7D3064; LRD3357; LA7D902; POWER: 22 KW; NO OF POLES: 3; 380 VAC; WD 75 X LG 126 X HT 131 MM | EA |
| 55 | 126043 | RELAY, OVERLOAD: TRIP RANGE: 22-32 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B77S; REFERENCE NO: 910-341-983-00; CURRENT VOLTAGE: 660VAC, AUXILLIARY CONTACTS A600 P300, TRIP CURRENT SET AT 125 PCT OF DIAL SETTING | EA |
| 56 | 742545 | RELAY, OVERLOAD: TRIP RANGE: 4 - 6.3 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1 NO 1 NC; RESET: MANUAL/AUTO; CURRENT: 4 - 6.3 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; APPLICATION: OVERLOAD PROTECTION; SUPPL P/N: LRD 10; RATED VOLTAGE 660VAC | EA |
| 57 | 126546 | RELAY, OVERLOAD: TRIP RANGE: 4.5-6.5 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; CURRENT: 25 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; SPECIFICATION: IEC 292-1; SUPPL P/N: SK831-101-K; REFERENCE NO: RVH22; MAX FUSE 35AMP, DELAY 25AMP, FOR USE ON GENERATOR TRANSFORMER COOLING FAN; UNIVERSAL CONTACT | EA |
| 58 | 126040 | RELAY, OVERLOAD: TRIP RANGE: 4-6 A; TYPE: DIFFERENTIAL THERMAL OVERLOAD; CONTACT ARRANGEMENT: 1NO 1NC; RESET: PUSH-BUTTON; CURRENT: 10 A; TERMINAL: SCREW CLAMP; MOUNT: PANEL; ENCLOSURE RATING: IP20; CONTACT MATERIAL: SILVER PLTD; APPLICATION: MOTOR PROTECTION; SPECIFICATION: EN 50495; REFERENCE NO: LRD10; RATED VOLTAGE 660VAC | EA |
| 59 | 126310 | RELAY, OVERLOAD: TRIP RANGE: 4-6 A; TYPE: THERMAL; RESET: MANUAL; SUPPL P/N: LR1-D09310; 600VOLT, 10AMP | EA |
| 60 | 125261 | RELAY, OVERLOAD: TRIP RANGE: 4-6.3 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; OPERATING TEMP RANGE: -25 TO 60 DEG C; SUPPL P/N: B17S; REFERENCE NO: 910-341-931-00; 380VAC, 3 PIN MOUNTING, MAX SWITCHING FREQUENCY 15 OPERATIONS/HOUR, COMPLETE WITH MULTIFUNCTION BUTTON R, FOR USE ON 380V BOARDS | EA |
| 61 | 120764 | RELAY, OVERLOAD: TRIP RANGE: 4-6.3 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; REFERENCE NO: M611 | EA |
| 62 | 125253 | RELAY, OVERLOAD: TRIP RANGE: 5.6-8 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B27; REFERENCE NO: 910-341-231-00; RATED VOLTAGE 660VAC, AUXILLIARY CONTACT A600 P300, TRIP CURRENT IS 125 PCT OF DIAL SETTING, TO BE SET TO MOTOR RATED CURRENT, FOR USE ON 380V BOARDS | EA |
| 63 | 126748 | RELAY, OVERLOAD: TRIP RANGE: 5-7 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: 3 PIN; 7 SCREW CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; REFERENCE NO: 910-341-933-00; PLANT 380V UNIT BOARDS CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B77S; REFERENCE NO: 910-341-983-00; CURRENT VOLTAGE: 660VAC, AUXILLIARY CONTACTS A600 P300, TRIP CURRENT SET AT 125 PCT OF DIAL SETTING | EA |
| 64 | 128609 | RELAY, OVERLOAD: TRIP RANGE: 57-66 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; CURRENT: 10 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: LA7D3064; O/A DIMS 64MM LG X 115MM HT X 65MM WD, RATING 380VAC, 30KW, RATED INSULATION VOLTAGE 660V, RATED CURRENT 10AMP, FOR USE ON WATER TREATMENT PLANT CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B77S; REFERENCE NO: 910-341-983-00; CURRENT VOLTAGE: 660VAC, AUXILLIARY CONTACTS A600 P300, TRIP CURRENT SET AT 125 PCT OF DIAL SETTING | EA |
| 65 | 742541 | RELAY, OVERLOAD: TRIP RANGE: 6 - 10 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1 NO 1 NC; RESET: MANUAL/AUTO; CURRENT: 6 - 10 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; APPLICATION: OVERLOAD PROTECTION; SUPPL P/N: LRD 14; RATED VOLTAGE 660VAC | EA |
| 66 | 126047 | RELAY, OVERLOAD: TRIP RANGE: 6.5-8 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: BAKELITE; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B17S; REFERENCE NO: 910-341-934-00; RATED VOLTAGE 660VAC, TRIP CURRENT IS 125 PCT OF DIAL SETTING, FOR USE ON 380VOLT BOARDS | EA |
| 67 | 126998 | RELAY, OVERLOAD: TRIP RANGE: 63-80 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; CURRENT: 60-80 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: LR2 D3363; LA7 D3064; REFERENCE NO: RA1FA60-80; RATED VOLTAGE 380V, O/A DIMS 135MM LG X 122MM HT X 124MM WD, NUMBERS ON DIAL ARE FULL LOAD MOTOR CURRENTS, NEW REPLACEMENT, 3 POLE, COMPLETE WITH BASE | EA |
| 68 | 125258 | RELAY, OVERLOAD: TRIP RANGE: 660 V; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 55-80 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: 910-341-782; REFERENCE NO: B177S; RATED VOLTAGE 660V, TRIP CURRENT IS 120 PCT OF DIAL SETTING | EA |
| 69 | 126050 | RELAY, OVERLOAD: TRIP RANGE: 660 VAC 0.28-0.4 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B17S; REFERENCE NO: 910-341-924-00; TO BE SET TO MOTOR FULL LOAD CURRENT, FOR USE ON 380VOLT BOARDS | EA |
| 70 | 126547 | RELAY, OVERLOAD: TRIP RANGE: 6-8.5 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SPECIFICATION: IEC 292-1; SUPPL P/N: RV22 / 1; SK831101-L; REFERENCE NO: T25D48.5; MAX FUSE 35AMP, DELAY 35AMP, FOR USE ON GENERATOR TRANSFORMER 400KV , COOLING FAN; UNIVERSAL CONTACT | EA |
| 71 | 126038 | RELAY, OVERLOAD: TRIP RANGE: 80-110 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B117S; REFERENCE NO: 910-341-593-00; RATED VOLTAGE: 660VAC, TRIP CURRENT 125 PCT OF DIAL SETTING | EA |
| 72 | 125260 | RELAY, OVERLOAD: TRIP RANGE: 8-12.5 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; CURRENT: 8-12 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: B18KM 8-12A; REFERENCE NO: 910-341-936-00; RATED VOLTAGE 660VAC, TO BE SET AT MOTOR RATED CURRENT | EA |
| 73 | 126048 | RELAY, OVERLOAD: TRIP RANGE: 8-12.5 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1NO 1NC; RESET: AUTOMATIC/MANUAL; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: IEC 292-1; VDE 0660; SUPPL P/N: B17S; REFERENCE NO: 910-342-047; TRIP CURRENT IS 125 PCT OF DIAL SETTING, FOR USE ON 380VOLT BOARDS | EA |
| 74 | 742543 | RELAY, OVERLOAD: TRIP RANGE: 9 - 14 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1 NO 1 NC; RESET: MANUAL/AUTO; CURRENT: 9 - 14 A; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; CONTACT MATERIAL: SILVER PLTD; APPLICATION: OVERLOAD PROTECTION; SUPPL P/N: LRD 16; RATED VOLTAGE 660VAC | EA |
| 75 | 742532 | RELAY, OVERLOAD: TRIP RANGE: 2.5 - 4 A; TYPE: THERMAL; CONTACT ARRANGEMENT: 1 NO 1 NC; RESET: MANUAL/AUTO; CURRENT: 4 A; TERMINAL: CAPTIVE | EA |
| 76 | 237035 | RELAY, SOLID STATE: TYPE: PROTECTION; COIL VOLTAGE: 1.7 KVAC; CONTACT RATING: 10 KA; MOUNT: SURFACE; SUPPL P/N: M550; CAPTIVE SCREW TERMINAL, GENERAL PURPOSE ENCLOSURE, MOTOR MASTER, 3 CORE BALANCE CT, 2 CTS, MOUNTING BRACKET CONVERTER | EA |
| 77 | 126616 | RELAY, SOLID STATE: TYPE: PROTECTION; CONTACT RATING: 265 VAC 50 HZ; CURRENT: 5 A; MANUF P/N: SPAM 150C-AA; SUPPL P/N: SPCJ5034 SPAM150C; REFERENCE NO: RS 641 041-AA | EA |
| 78 | 148135 | RELAY, TIME DELAY: OPERATION: 0.1 S TO 30 MIN; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 24-230 V AC/DC; COIL VOLTAGE: 220-240 VAC; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; REFERENCE NO: S117166-920; FOR 380 V CONTROL PANEL; UNIVERSAL CONTACT | EA |
| 79 | 126011 | RELAY, TIME DELAY: OPERATION: 0.1-0.95 S; CONTACT ARRANGEMENT: 1NO 1NC; ACTION: SPDT; CONTACT RATING: 220 VAC 3 A; COIL VOLTAGE: 24 VDC; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SPECIFICATION: VDE0110/0435; REFERENCE NO: AI93004; M 10812/2; VARIMETER, RATING AI+/A2 24 VOLT, I+/K 0.5-5 AMP | EA |
| 80 | 151365 | RELAY, TIME DELAY: OPERATION: 0.1S-1HR; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 220-240 VAC 10 A 1-6 VA; COIL VOLTAGE: 20-265 V AC/DC; SUPPL P/N: ST101DPDT; TYPE PROGRAM MULTI-FUNCTIONAL, 1PH, TIMER RANGE: 10 SEC-240 MIN, AUX. CONTACTS: 1 X INSTANTANEOUS AND 1 CONTACTS | EA |
| 81 | 126497 | RELAY, TIME DELAY: OPERATION: 0.6-6 S; CONTACT ARRANGEMENT: 1NO; ACTION: SPST; CONTACT RATING: 250 VDC 300 MA; COIL VOLTAGE: 250 VDC; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; REFERENCE NO: 7PU7020; USE ON ACC FAN TRANSFORMER PROTECTION CIRCUIT; UNIVERSAL CONTACT | EA |
| 82 | 128633 | RELAY, TIME DELAY: OPERATION: 1.8-120 S; 1-4 HR; ACTION: DPDT; COIL VOLTAGE: 90-250 VAC; TERMINAL: 11 PIN; REFERENCE NO: ST100DPDT; TYPE MULTI-FUNCTION, SLIMLINE MULTI FUNCTION, 0PCT TO 100PCT | EA |
| 83 | 125857 | RELAY, TIME DELAY: OPERATION: 0.1 S TO 30 MIN; 0.1 MIN TO 30 HR; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 220/240 VAC 5 A; COIL VOLTAGE: 220 VAC; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; SUPPL P/N: RS122MHATX; COMPLETE WITH BASE, 11 FERRULE CONNECTORS, FOR USE ON 380 V BOARDS; UNIVERSAL CONTACT | EA |
| 84 | 638084 | RELAY, TIME DELAY: OPERATION: 4-6 MS; CONTACT ARRANGEMENT: 4NO 4NC; ACTION: 4PDT; CONTACT RATING: 220 VAC 5 A; COIL VOLTAGE: 220 VAC; TERMINAL: HOLE; MOUNT: PLUG IN; REFERENCE NO: RHT 411M | EA |
| 85 | 695949 | RELAY, TIME DELAY: OPERATION: 50MS TO 100 HR; CONTACT ARRANGEMENT: 2NC; ACTION: DPDT; CONTACT RATING: 250 VAC 5A; COIL VOLTAGE: 24-240 V AC/DC; TERMINAL: 9 SCREW; MOUNT: DIN RAIL; ENCLOSURE RATING: IP40; SPECIFICATION: EN 50178; REFERENCE NO: ETD-SL-1T-DTF; DATA SHEET OR MANUAL SHOULD BE PROVIDED WITH RELAY; MUST BE CAPABLE OF 3S SWITCH OF DELAY | EA |
| 86 | 125863 | RELAY, TIME DELAY: OPERATION: ON 0-0.5 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; COIL VOLTAGE: 24 VDC; TERMINAL: 14 PIN PLUG IN; MOUNT: TERMINAL SOCKET; CONTACT MATERIAL: AG PLTD; ENCLOSURE RATING: PLASTIC CLEAR; OEM P/N: 9213-003; REFERENCE NO: HR115-02; FOR 665 MW REHEAT TURBO GENERATOR | EA |
| 87 | 125882 | RELAY, TIME DELAY: OPERATION: ON 0.1-3 S; CONTACT ARRANGEMENT: 1NO; ACTION: SPST; CONTACT RATING: 240 VAC 15 A; COIL VOLTAGE: 24-240 V AC/DC; TERMINAL: CAPTIVE SCREW QUICK CONNECT; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; REFERENCE NO: VDE 0110-C; NFC 20010/20040; RE1LA001; MAX CURRENT 0.7 AMPS AT 20 DEG C, 2.5 W MAXIMUM; UNIVERSAL CONTACT | EA |
| 88 | 126543 | RELAY, TIME DELAY: OPERATION: ON 0.1-30 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPST; CONTACT RATING: 500 VAC 10 A; TERMINAL: CAPTIVE CLAMP; SPECIFICATION: IEC 337/1; SUPPL P/N: TIDD0N; AC11, ITH 10 A, FOR USE ON GENERATOR TRANSFORMER COOLING FAN MOTORS AND PUMPS; UNIVERSAL CONTACT; CONTACTOR MOUNT | EA |
| 89 | 151366 | RELAY, TIME DELAY: OPERATION: ON 0-10 S; CONTACT ARRANGEMENT: 1NO 1NC; ACTION: SPDT; CONTACT RATING: 250 VAC 5 A; COIL VOLTAGE: 48 VDC; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; ; PNEUMATIC, FOR USE ON MILL GREASING PLANT; UNIVERSAL CONTACT | EA |
| 90 | 151389 | RELAY, TIME DELAY: OPERATION: ON 0-15 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 250 VAC 8 A; COIL VOLTAGE: 240 VAC; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; SPECIFICATION: VDE0435; SUPPL P/N: 4VA; REFERENCE NO: K3ZA20; PDA20; TELE, TIME ADJUSTMENT 0-100 PCT OF 15 SECONDS, DELAY OFF ON R1 SWITCH; UNIVERSAL CONTACT | EA |
| 91 | 239176 | RELAY, TIME DELAY: OPERATION: ON 1-10 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 250 VAC 4 A; COIL VOLTAGE: 220 VAC; TERMINAL: 11 PIN; MOUNT: PLUG IN; ENCLOSURE RATING: PLASTIC; SUPPL P/N: KFA6-DWB.EX1.D; ADJUSTABLE RANGE X1,X10,X100/10MS-100MS, UNIVERSAL CONTACT | EA |
| 92 | 589595 | RELAY, TIME DELAY: OPERATION: ON 1-10 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 250 VAC 4 A; COIL VOLTAGE: 230 VAC; TERMINAL: 11 PIN PLUG IN; MOUNT: RAIL; ENCLOSURE RATING: PLASTIC; REFERENCE NO: KFA6-DU-EX1.D | EA |
| 93 | 125932 | RELAY, TIME DELAY: OPERATION: ON/OFF 0.6 S TO 60 MIN; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 220 VAC 5/8 A; COIL VOLTAGE: 10-265 V AC/DC; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; REFERENCE NO: XMS2 | EA |
| 94 | 695950 | RELAY: TYPE: CONTACTOR; COIL VOLTAGE: 24 V; CONTACT ARRANGEMENT: 8NO; CONTACT RATING: 10 A; ACTION: (8) SPDT; TERMINAL: 8 SCREW; MOUNT: DIN RAIL; ENCLOSURE RATING: IP00; OEM P/N: 3TH4280-0BB4; DATA SHEET OR MANUAL SHOULD BE PROVIDED WITH THE ITEM; MUST HAVE 8 X NO CONTACTS | EA |
| 95 | 661457 | RELAY: TYPE: 4 CHANGE OVER CONTACTS; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: SINGLE THROW; CONTACT RATING: 2 A; ACTION: 4PDT; TERMINAL: SCREW ON; MOUNT: DIN RAIL; ENCLOSURE RATING: IP20; CONTACT MATERIAL: AG NI; REFERENCE NO: RIF-2-RSC-LDP-24DC/4X21; FOR HP BYPASS AND REHEAT SAFETY VALVE | EA |
| 96 | 125870 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 3NO; ACTION: DPDT; TERMINAL: 14 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; OEM P/N: 9233-007; REFERENCE NO: HR114-02; COMPLETE WITH BASE, FOR 665 MW REHEAT TURBO GENERATOR | EA |
| 97 | 613948 | RELAY: TYPE: ANTI SEISMIC; COIL VOLTAGE: 24-240 VAC; CONTACT ARRANGEMENT: DOUBLE THROW; CONTACT RATING: 24-240 VAC 3 A; ACTION: SPST; TERMINAL: 2; MOUNT: BOLTED FLANGE; ENCLOSURE RATING: IP65; SPECIFICATION: TSP41-60 REV 1; DRAWING NO: 1ZZA566001-TA REV 0; MAGNETIC READ SWITCHES; BREAKING: 400 VAC OR 250 W DC CAPACITY; MAXIMUM TILT OF 2 DEG TO 4 DEG ON HORIZONTAL AXIS; TRANSFORMER OIL CONTENT 10 000 TO 50 000 L; ALARM TO OPERATE AT APPROX 800+/-100 CC GAS ACCUMULATION; OIL SURGE FLOW RATE BETWEEN 900 AND 1600 MM/S; INSPECTION WINDOW TO BE TEMPERED GLASS; OIL FLOW DIRECTION (FROM TANK TO CONSERVATORS) | EA |
| 98 | 125693 | RELAY: TYPE: AUX; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 230 VAC 16 A; ACTION: DPDT; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: IP67; SPECIFICATION: EN 60529; REFERENCE NO: SH04-22E; 910.302.191.00; 24 VDC; 220 VAC, CONTACT UNIVERSAL | EA |
| 99 | 125252 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 220 VAC; CONTACT ARRANGEMENT: 3NO 3NC; CONTACT RATING: 380 VAC 16 A 50 HZ; ACTION: 4PST; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SPECIFICATION: BS 4794; IEC 337; VDE 0660; SUPPL P/N: SH05-31E; REFERENCE NO: 910-303-052-00; FOR USE ON 380 V BOARDS, CONTACT UNIVERSAL | EA |
| 100 | 6081 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 220 VAC; CONTACT ARRANGEMENT: 3NO 3NC; CONTACT RATING: 250 VAC 10 A; ACTION: SPDT; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; REFERENCE NO: MK3P5; SUPPLIED WITHOUT BASE | EA |
| 101 | 126553 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: (2) 4NO 4NC; ACTION: (2) 4PDT; TERMINAL: 34 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; REFERENCE NO: RK251401AS; PROTECTION | EA |
| 102 | 125661 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 230 VAC 16 A; ACTION: 4PST; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SPECIFICATION: VDE0660; SUPPL P/N: SH0422E; REFERENCE NO: 910-302-191-00; 220 VDC COIL, CONTACT UNIVERSAL | EA |
| 101 | 126551 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 220/250 V; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 40-120 V V; ACTION: SPDT; TERMINAL: 24 PIN PLUG IN; MOUNT: PLUG IN; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: RK411102 DD; REFERENCE NO: RXEG21; VOLT SCALE 40-120 V, USE ON GENERATOR PROTECTION PANEL | EA |
| 102 | 125904 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 230 VAC; CONTACT ARRANGEMENT: 3NO 3NC; CONTACT RATING: 250 VAC 10 A; ACTION: 3PDT; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; SPECIFICATION: BS 3955-1979 PART 3; SUPPL P/N: 60-13; CONTROL, VARIANT | EA |
| 103 | 126542 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 V AC/DC; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 220 VAC 6 A 250 VDC; ACTION: SPDT; TERMINAL: CAPTIVE SCREW; MOUNT: BRACKET; ENCLOSURE RATING: PLASTIC CLEAR; REFERENCE NO: RELKSR2947527 | EA |
| 104 | 126540 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 250 VAC 10 A; ACTION: SPDT; TERMINAL: CAPTIVE SCREW; MOUNT: BRACKET; CONTACT MATERIAL: SILVER PLTD; REFERENCE NO: EMG10RELKSRG24-1; INTERPOSING, COMPLETE WITH BASE, SIEMENS ONLY | EA |
| 105 | 125248 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 4NO 4NC; CONTACT RATING: 240 VAC 5 A; 28 VDC 5 A; ACTION: 4PDT; TERMINAL: 14 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; REFERENCE NO: 55.34.9.024.0094; MY4 OMRON | EA |
| 106 | 125269 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 300 VAC 16 A; ACTION: 4PDT; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: IP67; SPECIFICATION: BS 4794; VDE 0660; SUPPL P/N: SH04-31E; REFERENCE NO: 910-302-171-00; ITH, CONTACT UNIVERSAL | EA |
| 107 | 125793 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 3NO 1NC; CONTACT RATING: 220/280 VAC 4/3 A; ACTION: 4PDT; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SPECIFICATION: IEC 337; VDE 0660; SUPPL P/N: 3TH2031E-0BB4; PLANT TURBINE AND COAL STACKER, CONTACT UNIVERSAL | EA |
| 108 | 125848 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 3NO 1NC; CONTACT RATING: 240 VAC 10 A; ACTION: 4PDT; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: IP67; SPECIFICATION: IEC 947 VDE 0660; REFERENCE NO: 31Z; 3TH2031-0BB4; CONTACT UNIVERSAL | EA |
| 109 | 125986 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 4NO 4NC; CONTACT RATING: 110/220/300 VAC 7.5/10 A; 30 VDC 10 A; ACTION: 4PDT; TERMINAL: 14 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: SH4B-05U; REFERENCE NO: RH4BU05U; WITH BASE | EA |
| 110 | 125792 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 4NO 4NC; CONTACT RATING: 380 VAC 10 A 2 W; ACTION: 8PDT; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: IP67; SPECIFICATION: IEC 337; VDE 0660; REFERENCE NO: 3TJ1114-0BB4; 44E; CONTACTOR, CONTACT UNIVERSAL | EA |
| 111 | 125976 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 250 VAC 7 A; ACTION: DPDT; TERMINAL: 8 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: MK2P; TILT SWITCH | EA |
| 112 | 125987 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 120/240 VAC 17.5/10 A; 30 VDC 7.5 A; ACTION: DPDT; TERMINAL: 8 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: SH2B05U; REFERENCE NO: RH2B; WITH SOCKET, LOCATED ON ANALYSER PANEL | EA |
| 113 | 125279 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 24 VDC; TERMINAL: 8 PIN SOLDER; MOUNT: PCB; ENCLOSURE RATING: OPEN; SUPPL P/N: E1-24V; REFERENCE NO: BRG8411 | EA |
| 114 | 126074 | RELAY: TYPE: AUXILIARY OVERCURRENT; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; TERMINAL: 10 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: METAL CAN; REFERENCE NO: HB561-4088; V23162GO721C404; 000000145441; HALLER, 890 OHM, CONTACT UNIVERSAL | EA |
| 115 | 125746 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 304-425 VAC; CONTACT ARRANGEMENT: 4NO 4NC; ACTION: 4PDT; TERMINAL: 14 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: RE3000; REFERENCE NO: 02582412 | EA |
| 116 | 125250 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 380 VAC; CONTACT ARRANGEMENT: 4NO 1NC; CONTACT RATING: 600 VAC 16 A; ACTION: 4PDT; TERMINAL: CAPTIVE CLAMP; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SUPPL P/N: SH04-40E; REFERENCE NO: 910-302-043-813; SIZE 39 MM WD X 46 MM LG X 43.5 MM HT, FOR USE ON 380 V BOARDS | EA |
| 117 | 124688 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 48 VDC; CONTACT ARRANGEMENT: 4NO 4NC; ACTION: 4PDT; TERMINAL: 12 PIN PLUG IN; MOUNT: TERMINAL SOCKET; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: 405134; REFERENCE NO: REL 2089; CHAUVIN ARNOUX, FOR 665 MW REHEAT TURBO GENERATOR | EA |
| 118 | 126350 | RELAY: TYPE: AUXILIARY OVERCURRENT; COIL VOLTAGE: 48-55 VDC; CONTACT ARRANGEMENT: 2NO; ACTION: DPDT; TERMINAL: 6 PIN PLUG IN; MOUNT: TERMINAL SOCKET; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: RXME 18; REFERENCE NO: HEAVY DUTY, PROTECTION | EA |
| 119 | 126343 | RELAY: TYPE: AUXILIARY; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 220-250 V; TERMINAL: 24 PIN PLUG IN; MOUNT: FLANGE; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: HG; SUPPL P/N: EEDR3; REFERENCE NO: CR600; BUCHHOLZ | EA |
| 120 | 144098 | RELAY: TYPE: AUXILIARY; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 250 VAC 2 A 400 VA; MOUNT: FLANGE; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: HG; SUPPL P/N: 2DE/BS50 HA; BUCHOLZ, DIMENSIONS PIPE ID 51 MM 2 INCH, FLANGE WIDTH 139 MM 5.5 INCH, MAGNETIC CONTACTS | EA |
| 121 | 126375 | RELAY: TYPE: AUXILIARY; CONTACT ARRANGEMENT: 1NO; MOUNT: FLANGE; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: HG; SUPPL P/N: CG663; REFERENCE NO: EEDR2; BUCHOLTZ, FOR USE ON ASEA TRANSFORMER 3150KVA, 50HZ, 3 PHASE | EA |
| 122 | 611406 | RELAY: TYPE: ISOMETER; COIL VOLTAGE: 250 VAC; 300 VDC; CONTACT ARRANGEMENT: (2) 2NO 2NC; CONTACT RATING: 88-264 VAC; 77-286 VDC; ACTION: SPDT; TERMINAL: SCREW; MOUNT: DIN RAIL; ENCLOSURE RATING: HALOGEN; CONTACT MATERIAL: CD FREE CONTACT; SPECIFICATION: IEC 60715; OEM P/N: B91065104; RS485 | EA |
| 123 | 257318 | RELAY: TYPE: COUPLING; COIL VOLTAGE: 24 VDC; CONTACT RATING: 6 A; ACTION: SPDT; SUPPL P/N: REL-MR-24VDC/21 AU; POWER RATING MAXIMUM: 140 W | EA |
| 124 | 624214 | RELAY: TYPE: ELECTROMAGNETIC; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: (2) 2NO 2NC; CONTACT RATING: 24 VDC 10 A; ACTION: (2) DPDT; TERMINAL: BASE; MOUNT: DIN RAIL; ENCLOSURE RATING: IP67; SPECIFICATION: IEC 60715; REFERENCE NO: MY2N-DC24 (24VDC) | EA |
| 125 | 126079 | RELAY: TYPE: FEED PUMP; COIL VOLTAGE: 24 VDC; CONTACT RATING: 1 A; TERMINAL: 12 PIN PLUG IN; MOUNT: BRACKET; ENCLOSURE RATING: OPEN; SUPPL P/N: IT94-3; HESG440-204R1 | EA |
| 126 | 617141 | RELAY: TYPE: GENERAL PURPOSE; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: (2) 3NO; CONTACT RATING: 30/110/220 VAC; ACTION: 3P; TERMINAL: 11 PIN PLUG IN; MOUNT: PLUG IN; ENCLOSURE RATING: IP40; CONTACT MATERIAL: CD FREE CONTACT; SPECIFICATION: ICS 31.220; REFERENCE NO: 60.13.9.220.0040; 60 SERIES RELAY | EA |
| 127 | 612359 | RELAY: TYPE: GENERAL PURPOSE; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 2NO 3NC; CONTACT RATING: 30/110/220 VDC; ACTION: (2) 3PDT; TERMINAL: 11 PIN PLUG IN; MOUNT: PLUG IN; ENCLOSURE RATING: IP40; CONTACT MATERIAL: CD FREE CONTACT; SPECIFICATION: EN 60255 | EA |
| 128 | 595899 | RELAY: TYPE: ISOLATED AMPLIFIER; COIL VOLTAGE: 220-230 VAC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 500 VAC 4 A; ACTION: DPDT; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; ISOLATED AMPLIFIER; OUTPUT/CHANGE OVER 250 V; SUPPLY 15 PCT/45-65 HZ; CONTACT UNIVERSAL; VARIABLE PERCENTAGE DIFFERENTIAL | EA |
| 129 | 597747 | RELAY: TYPE: PLUG IN; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 4 C/O CONTACTS; CONTACT RATING: 6 A; ACTION: 4P; TERMINAL: SCREW; MOUNT: PLUG IN; ENCLOSURE RATING: IP00; SPECIFICATION: DIN EN50022; OEM P/N: LZX: PT570024; 4 CONTACTS | EA |
| 130 | 503058 | RELAY: TYPE: PHASE SEQUENCE SENSOR; COIL VOLTAGE: 220 VAC; CONTACT ARRANGEMENT: 1NO 1NC; TERMINAL: 3 SCREW; MOUNT: DIN RAIL TH-35; ENCLOSURE RATING: IP20; SPECIFICATION: PN-EN 60730-1; REFERENCE NO: CKM-01; 3 PHASE MONITOR; INPUT RATED VOLTAGE 230-400V; COLLECT PHASE SEQUENCE INDICATOR-LED GREEN; WRONG PHASE SEQUENCE INDICATOR-LED RED | EA |
| 131 | 618823 | RELAY: TYPE: POWER SUPPLY MODULE; COIL VOLTAGE: 90-250 VDC; CONTACT ARRANGEMENT: PRE-CONFIGURED; CONTACT RATING: 8-10 A; ACTION: 3P; TERMINAL: PLUG IN; MOUNT: FLUSH; ENCLOSURE RATING: IP54; IP40; IP65; SPECIFICATION: IEC 61850; REFERENCE NO: T1035024; RET670V2.2; IT HAS 16 BINARY INPUT MODULE; FLUSH MOUNTING KIT WITH CUT-OUT DIMENSION; -1/2 CASE SIZE (H) 254.3MM (W) 210.1MM | EA |
| 132 | 590919 | RELAY: TYPE: PROTECTION; COIL VOLTAGE: 24 VAC; CONTACT ARRANGEMENT: 20NO 2NC; CONTACT RATING: 18 A; ACTION: DPDT; TERMINAL: 8 PIN PLUG IN; MOUNT: BASE; ENCLOSURE RATING: OPEN; CONTACT MATERIAL: NI PLTD; MANUF P/N: MKS P15AC24 | EA |
| 133 | 590920 | RELAY: TYPE: PROTECTION; COIL VOLTAGE: 24 VAC; CONTACT ARRANGEMENT: 3NO 3NC; CONTACT RATING: 10 A; ACTION: 3PDT; TERMINAL: 11 PIN PLUG IN; MOUNT: BASE; ENCLOSURE RATING: OPEN; CONTACT MATERIAL: NI PLTD; MANUF P/N: 60.13.8.024.0040 | EA |
| 134 | 613040 | RELAY: TYPE: RELAY PROTECTION; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 11NO 8NC; CONTACT RATING: 10 A; ACTION: SPDT; TERMINAL: 8/11 PIN PLUG IN; MOUNT: PIN PLUG IN; ENCLOSURE RATING: IP40; CONTACT MATERIAL: AG NI; SPECIFICATION: CE; CSA; UL; VDE; REFERENCE NO: 60.13.9.024.0040 | EA |
| 135 | 7241 | RELAY: TYPE: SOLID STATE; COIL VOLTAGE: 3.5-32 VDC; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 400 VDC 12 A; ACTION: SPST; TERMINAL: SCREW; MOUNT: PANEL; ENCLOSURE RATING: OPEN; CONTACT MATERIAL: SILVER PLTD; SUPPL P/N: D4D12; REFERENCE NO: HIER464627P0001; CRYDOM MOFET, FOR USE ON TSS | EA |
| 136 | 229623 | RELAY: TYPE: STARTING; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 250 VAC 10 A; TERMINAL: 8 PIN PLUG IN; MOUNT: BASE; ENCLOSURE RATING: PLASTIC CLEAR; CONTACT MATERIAL: CU; SUPPL P/N: 60.12.9.024.0040; 1 POLE | EA |
| 137 | 660884 | RELAY: TYPE: TEMPERATURE; COIL VOLTAGE: 220 VDC; CONTACT ARRANGEMENT: 5 CHANGEOVER CONTACTS; CONTACT RATING: 220 VAC; ACTION: SPDP; TERMINAL: PLUG IN; MOUNT: PLUG IN; ENCLOSURE RATING: IP30; IP20; CONTACT MATERIAL: GALVANIC SEPARATION; SPECIFICATION: EN60715; REFERENCE NO: T224380; THE PT 100 THERMOSTAT TR400 IS A TEMPERATURE CONTROLLER AND MONITORS UP TO 4 PT 100 SENSORS AT THE SAME TIME | EA |
| 138 | 617142 | RELAY: TYPE: TRANSFORMER PROTECTION/CONTROL; COIL VOLTAGE: 110-250 VDC; CONTACT ARRANGEMENT: (2) 2NO 1NC; CONTACT RATING: 110/220 VDC; ACTION: 3P; TERMINAL: PLUG IN; MOUNT: PANEL; ENCLOSURE RATING: IP65; SPECIFICATION: SFS-EN ISO 9001-2000; REFERENCE NO: RET630E_B; 1VHR91034623; SBTNAAABABAZENNBXB; RET630; OVERCURRENT RELAY; IT CONTAINS THE DISPLY LCD SCREEN; BUTTONS LED INDICATORS AND COMMUNICATION PORT; LCD RESOLUTION OF 30 X 240 PIXELS RJ-45 COMMUNICATION PORT; OUTPUT/INPUT BINARY SIGNAL INTERFACES | EA |
| 139 | 247013 | RELAY: TYPE: UNDERVOLTAGE; COIL VOLTAGE: 220/380 VDC; MOUNT: PANEL; SUPPL P/N: G2PM400VSY20; THREE PHASE MONITORING RELAY; USED ON PROTECTION CIRCUIT BOARDS | EA |
| 140 | 126426 | RELAY: TYPE: UNDERVOLTAGE; COIL VOLTAGE: 380 VAC; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SUPPL P/N: 4 VA; TR3-220V; MODEL NO: PW 380V O4X; VOLTAGE MONITURING, 50/60HZ | EA |
| 141 | 121098 | RELAY: TYPE: VARIABLE PERCENTAGE DIFFERENTIAL; COIL VOLTAGE: 220 VAC; CONTACT ARRANGEMENT: 1NO 1NC; ACTION: SPDT; TERMINAL: 11 PIN PLUG IN; MOUNT: OCTAL SOCKET; ENCLOSURE RATING: PLASTIC; REFERENCE NO: SV190; SV190-220V; LEVEL INDICATION, ELECTROMATIC SYSTEM FOR CONTROL LEVEL SWITCH, CONTACT UNIVERSAL | EA |
| 142 | 125975 | RELAY: TYPE: VARIABLE PERCENTAGE DIFFERENTIAL; COIL VOLTAGE: 220 VAC; CONTACT ARRANGEMENT: 2NO 2NC; CONTACT RATING: 250 VAC 4 A; ACTION: DPDT; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; CONTACT MATERIAL: STL; SUPPL P/N: KFU8-UFT-2.D; REFERENCE NO: WE77GLU; 00283; WEM/GLU; +/- 15 PCT/50 HZ | EA |
| 143 | 126498 | RELAY: TYPE: VARIABLE PERCENTAGE DIFFERENTIAL; COIL VOLTAGE: 19-24 VDC; CONTACT RATING: 30-240 VDC; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; MANUF P/N: 6EP17312BA00; 7PX8040-0A; CONTACT UNIVERSAL | EA |
| 144 | 613775 | RELAY: TYPE: VARIABLE PERCENTAGE DIFFERENTIAL; COIL VOLTAGE: 220-230 VAC; CONTACT ARRANGEMENT: 1NO 1NC; CONTACT RATING: 500 VAC 4 A; ACTION: SPDT; TERMINAL: CAPTIVE SCREW; MOUNT: PANEL; ENCLOSURE RATING: PLASTIC; SUPPL P/N: KFA6-SR1-EX1.W.LB; AMPLIFIER SWITCH F KEI-1 | EA |
| 145 | 630176 | PROTECTOR, OVERLOAD: CURRENT: 0.4-0.6 A; TRIP RANGE: 0.6 A; POLE: 3; POTENTIAL: 415-600 VAC; TYPE: COAL STACKER; FREQUENCY: 50 HZ; CONTACT ARRANGEMENT: 1NO 1NC; MOUNT: BASE; TERMINAL: 3; INDUSTRY SIZE: 00; SPECIFICATION: 3VU1300-1ME00-7; SUPPLY VOLTAGE: 415 VAC; REFERENCE NO: 3VU1300-1ME00-7 | EA |
| 146 | 142404 | PROTECTOR, OVERLOAD: TRIP RANGE: 1.6-2.5 A; POLE: 3; POTENTIAL: 380 VAC; TYPE: MOTOR PROTECTION; SUPPL P/N: GV2 ME07; REFERENCE NO: 034307; TELEMECANIQUE | EA |
| 147 | 641423 | PROTECTOR, OVERLOAD: CURRENT: 250 A; TRIP RANGE: 480 V 35-65 KA; POLE: 3; POTENTIAL: 380 V; REFERENCE NO: 140MG-J8P-D25 | EA |
| 148 | 727052 | PROTECTOR, OVERLOAD: CURRENT: 6-10 A; TRIP RANGE: 10 A; POLE: 3; POTENTIAL: 690 V; TYPE: MOTOR CIRCUIT BREAKER; FREQUENCY: 50/60 HZ; MOUNT: DIN RAIL; INDUSTRY SIZE: 0.26 KG; SUPPLY VOLTAGE: 690 V; REFERENCE NO: GV2ME14 | EA |
| 149 | 126127 | RELAY, TIME DELAY: OPERATION: 0.3-6 S; CONTACT ARRANGEMENT: 2NO 2NC; ACTION: DPDT; CONTACT RATING: 220 VAC; COIL VOLTAGE: 220 VAC; TERMINAL: CAPTIVE CLAMP; MOUNT: BRACKET; ENCLOSURE RATING: PLASTIC; SPECIFICATION: VDE0435; SUPPL P/N: 0110; AI953N0082; UNIVERSAL CONTACT | EA |
| 150 | 689548 | RELAY, TIME DELAY: OPERATION: DELAY-ON; CONTACT ARRANGEMENT: 1NC 1NO; ACTION: SPDT; CONTACT RATING: 250 VAC 10 A; COIL VOLTAGE: 24-250 VAC; TERMINAL: 11 PIN PLUG IN; MOUNT: BASE; DP1/DP2/DP3 | EA |

| Item nr | Material number | Material Description and Texts (Contactors and Circuit Breakers) | UOM |
| --- | --- | --- | --- |
| 1 | 657711 | BREAKER, CIRCUIT, LOW VOLTAGE: MOUNT: DIN RAIL; TYPE: CURRENT; CONTROL VOLTAGE: 400 V; POLES: 2; CURRENT RATING: 10 A; VOLTAGE PROTECTION LEVEL: 440 VAC; RATED INSULATION VOLTAGE: 400 V; IMPULSE WITHSTAND VOLTAGE: 440 V AC; SHORT TIME CURRENT: 10 KA; POLLUTION CLASS: 3 DEG; ENCLOSURE RATING: IP20; SPECIFICATION: IEC 60068-2-27; APPLICATION: VARIOUS; PROTECTION: OVER CURRENT; CONTROL TYPE: PROTECTION; MANUF P/N: 5SY5210-7 | EA |
| 2 | 554545 | BREAKER, CIRCUIT: CURRENT: 10 A; TYPE: MINI; MANUF P/N: S282 UC-K; ABB ID NUMBER:GHS2820164R0427 | EA |
| 3 | 623097 | BREAKER, CIRCUIT: POTENTIAL: 480 VAC; CURRENT: 36 KA; POLE: 3; SPECIFICATION: IEC UL 489/CSA C22.2; TEMPERATURE RATING: -25 TO 55 DEG C; WIDTH: 105 MM; HEIGHT: 205 MM; TYPE: SWITCHGEAR; INTERRUPT CAPACITY: 36 KA; OEM P/N: 1SDA054117R1 | EA |
| 4 | 119823 | BREAKER, CIRCUIT: POTENTIAL: 220 V; CURRENT: 10 A; POLE: 1; TYPE: HYDRAULIC/MAGNETIC; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: SF1G3 | EA |
| 5 | 119824 | BREAKER, CIRCUIT: POTENTIAL: 220 V; CURRENT: 25 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: QFRG 325A | EA |
| 6 | 257314 | BREAKER, CIRCUIT: POTENTIAL: 220 V; CURRENT: 6 A; TYPE: MINIATURE; SUPPL P/N: FSA 231 RT 6.0A | EA |
| 7 | 246563 | BREAKER, CIRCUIT: POTENTIAL: 220 VAC; CURRENT: 0.4 A; TYPE: MINIATURE; REFERENCE NO: 01-20-1 71; FSA2310.4AGN; REQUIRED FOR TURBINE PLANT | EA |
| 8 | 119443 | BREAKER, CIRCUIT: POTENTIAL: 220 VAC; CURRENT: 0.5 A; POLE: 1; TYPE: MINIATURE THERMAL MAGNETIC; COMPLETE WITH ALARM CONTACT | EA |
| 9 | 119598 | BREAKER, CIRCUIT: POTENTIAL: 220 VAC; CURRENT: 15 A; POLE: 3; SPECIFICATION: SABS 156; TYPE: THERMAL | EA |
| 10 | 246564 | BREAKER, CIRCUIT: POTENTIAL: 220 VAC; CURRENT: 2 A; TYPE: MINIATURE; REFERENCE NO: FSA231 2.0AGN; 0 1-20-174; REQUIRED FOR TURBINE PLANT; GREEN | EA |
| 11 | 119599 | BREAKER, CIRCUIT: POTENTIAL: 220 VAC; CURRENT: 32 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT | EA |
| 12 | 257312 | BREAKER, CIRCUIT: POTENTIAL: 220 VAC; CURRENT: 4 A; TYPE: MINIATURE; SUPPL P/N: FSA 231 GN 4.0A | EA |
| 13 | 257313 | BREAKER, CIRCUIT: POTENTIAL: 220 VAC; CURRENT: 4 A; TYPE: MINIATURE; SUPPL P/N: FSA 231 RT | EA |
| 14 | 125991 | BREAKER, CIRCUIT: POTENTIAL: 220/380 VAC; CURRENT: 1.6 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N: S210HS; S213K; REFERENCE NO: GHS2137251VO; STOTZ CONTACT | EA |
| 15 | 4795 | BREAKER, CIRCUIT: POTENTIAL: 220/380 VAC; CURRENT: 10 A; POLE: 2; WIDTH: 59 MM; LENGTH: 80 MM; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 6 KA; REFERENCE NO: 5SQ22; 4 CONTACTS, 34.5MM THK | EA |
| 16 | 119613 | BREAKER, CIRCUIT: POTENTIAL: 220/380 VAC; CURRENT: 16 A; POLE: 3; WIDTH: 52 MM; LENGTH: 80 MM; HEIGHT: 59 MM; TYPE: THERMAL MAGNETIC; SUPPL P/N: 5SX4316-7; REFERENCE NO: 5SN3316 SIEMENS | EA |
| 17 | 119614 | BREAKER, CIRCUIT: POTENTIAL: 220/380 VAC; CURRENT: 25 A; POLE: 3; WIDTH: 52 MM; LENGTH: 80 MM; TYPE: THERMAL MAGNETIC; REFERENCE NO: G25A; 5SN3325; 6 CONTACTS | EA |
| 18 | 125989 | BREAKER, CIRCUIT: POTENTIAL: 220/380 VAC; CURRENT: 6 A; POLE: 3; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 6 KA; SUPPL P/N: S213K6A; STOTZ, CURVE WITH ONE N/C AND ONE N/O, AUXILIARY CONTACT | EA |
| 19 | 6125 | BREAKER, CIRCUIT: POTENTIAL: 220-380 VDC; CURRENT: 10 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: S211; FAIL PROTECTION ASSEMBLY, ENC EP68 ITEM C2-4 | EA |
| 20 | 235004 | BREAKER, CIRCUIT: POTENTIAL: 230 V; CURRENT: 25 A; POLE: 1; TYPE: DC-DC CONVERTER; INTERRUPT CAPACITY: 10 KA; SUPPL P/N: S201-B25; ABB, USED ON GAS 1 AUX PLANT | EA |
| 21 | 119615 | BREAKER, CIRCUIT: POTENTIAL: 230/400 V; CURRENT: 2 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 6 KA; SUPPL P/N: 5SX 2102-7/5SX 9100; 1NO AND 1NC | EA |
| 22 | 119517 | BREAKER, CIRCUIT: POTENTIAL: 230/400 VAC; CURRENT: 16 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 3 KA; SUPPL P/N: 5SN1316 / 15G163984 | EA |
| 23 | 142324 | BREAKER, CIRCUIT: POTENTIAL: 230/400 VAC; CURRENT: 2 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 6 KA; SUPPL P/N: 5SX21027 + 5SX9100; REFERENCE NO: 5SN7102-OKB30; WITH AUXILIIARY CONTACT | EA |
| 24 | 119856 | BREAKER, CIRCUIT: POTENTIAL: 240 VAC; CURRENT: 2 A; POLE: 1; TYPE: MINIATURE THERMAL MAGNETIC; INTERRUPT CAPACITY: 8 KA; SUPPL P/N: C45N; 21321; MULTI 9, CATEGORY M6, FOR DC THYRUSTOR DRIVE PANEL | EA |
| 25 | 119616 | BREAKER, CIRCUIT: POTENTIAL: 240/415 VAC; CURRENT: 10 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 6 KA; REFERENCE NO: SX21107; SINGLE LEVER, 1 N/O 1 N/C | EA |
| 26 | 623098 | BREAKER, CIRCUIT: POTENTIAL: 24-250 VAC/DC; CURRENT: 6 A; POLE: 4; COLOR: GREY & WHITE; TYPE: SHUNT OPENING RELEASE; MOUNT: PANEL; INTERRUPT CAPACITY: 220 VAC; REFERENCE NO: 1SDA0548973R1 | EA |
| 27 | 119736 | BREAKER, CIRCUIT: POTENTIAL: 250 V; CURRENT: 5 A; POLE: 1; TYPE: THERMAL MAGNETIC; SUPPL P/N: ETA 2210-S111-N1M1 | EA |
| 28 | 117704 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 0.4 A; POLE: 3; TYPE: THERMAL MAGNETIC; REFERENCE NO: C30327-Z61-A12-5SR1104-2; CUT OFF FUSE, GN | EA |
| 29 | 119956 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 0.5 A; POLE: 3; TYPE: MINIATURE THERMAL MAGNETIC; REFERENCE NO: C30327Z62A14; 6 POLE | EA |
| 30 | 118005 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 0.8 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N: C30327Z64A15; CUT OFF FUSE | EA |
| 31 | 117705 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 1 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N: | EA |
| 32 | 117708 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 1 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N: C30327Z62A16-5SR13102; REFERENCE NO: FSA2321.1 | EA |
| 33 | 117709 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 2 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N: C30327Z61A16-5SR11202; REFERENCE NO: FSA2322.1 | EA |
| 34 | 117706 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 2 A; POLE: 3; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 2 KA; SUPPL P/N: FG SICH 62A; CUT OFF FUSE, RT | EA |
| 35 | 117707 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 4 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N: C30327Z61A17-5RS11402 | EA |
| 36 | 117710 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 4 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N: C30327Z62A31-5SR13402 | EA |
| 37 | 117711 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 60 VDC; CURRENT: 6 A; POLE: 3; TYPE: THERMAL MAGNETIC; SUPPL P/N: C30327Z62A33-5SR16113X | EA |
| 38 | 119604 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 65 VDC; CURRENT: 0.5 A; POLE: 1; WIDTH: 12.5 MM; LENGTH: 68 MM; TYPE: THERMAL MAGNETIC; SUPPL P/N: ETA2210-S111-N1M1- Z111; 7 BLADE TERMINALS EQUI SPACED 6 X 6.8MM | EA |
| 39 | 119639 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 65 VDC; CURRENT: 1 A; POLE: 2; TYPE: THERMAL MAGNETIC; CONSISTING OF COMBINATION OF TWO SINGLE POLE BREAKERS AND SINGLE SWITCH ACTION WITH, 7 CONTACTS EACH, TYPE ETA2210-S121-N1M1-Z111-1A, 2325-4006 | EA |
| 40 | 119603 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 65 VDC; CURRENT: 15 A; POLE: 1; TYPE: THERMAL MAGNETIC; REFERENCE NO: ETA2210-S111-N1M1-Z111-15A; ETA, 7 CONTACTS | EA |
| 41 | 119602 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 65 VDC; CURRENT: 2 A; POLE: 2; WIDTH: 12.5 MM; LENGTH: 68.7 MM; TYPE: THERMAL MAGNETIC; SUPPL P/N: ETA2210-S111-N1M1-Z111; BLADE TERMINALS EQUI SPACED 6 X 6.8MM | EA |
| 42 | 119638 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 65 VDC; CURRENT: 2.5 A; POLE: 1; WIDTH: 12.5 MM; LENGTH: 68 MM; TYPE: THERMAL MAGNETIC; SUPPL P/N: ETA 2210-S111-N1M1-Z111; 7 BLADE TERMINALS EQUI SPACED 6 X 6.8MM | EA |
| 43 | 119593 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; 65 VDC; CURRENT: 8 A; POLE: 1; TYPE: THERMAL MAGNETIC; SUPPL P/N: ETA2210-S111-N1M1-Z111; 7 CONTACTS EQUI SPACED 6MM X 6.8MM | EA |
| 44 | 119735 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; CURRENT: 0.5 A; POLE: 2; WIDTH: 12.5 MM; LENGTH: 68 MM; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 25 KA; CONSIST OF TWO SINGLE POLE BREAKER ALONG SIDE WITH SWITH ACTION COMBINED, EACH SINGLE POLE BREAKER TO BE STANDARD, TYPE: ETA2210-S121- N1M1-Z111, 7 BLADE TERMINALS EQUI SPACED 6 X 6.8MM | EA |
| 45 | 119240 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; CURRENT: 10 A; POLE: 2; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 2.5 KA; REFERENCE NO: AM2-Z1V; COMPLETE WITH WIRES | EA |
| 46 | 119284 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; CURRENT: 20 A; POLE: 1; TYPE: HYDRAULIC MAGNETIC CURVE 1; INTERRUPT CAPACITY: 5 KA; SUPPL P/N: SF 1-G3; COMPLETE WITH BAKELITE SHROUDS, METAL CLIPTRAYS AND SCREWS | EA |
| 47 | 119251 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; CURRENT: 5 A; POLE: 1; TYPE: HYDRAULIC/MAGNETIC; INTERRUPT CAPACITY: 2.5 KA; REFERENCE NO: SA1-G3 | EA |
| 48 | 119239 | BREAKER, CIRCUIT: POTENTIAL: 250 VAC; CURRENT: 5 A; POLE: 1; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 2.5 KA; REFERENCE NO: AM1Z1V; COMPLETE WITH WIRES | EA |
| 49 | 119550 | BREAKER, CIRCUIT: POTENTIAL: 350-415 VAC; CURRENT: 45 A; POLE: 2; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA; SUPPL P/N: C45; MULTI 9 | EA |
| 50 | 119680 | BREAKER, CIRCUIT: POTENTIAL: 380 V; CURRENT: 16 A; POLE: 2; TYPE: THERMAL MAGNETIC; SUPPL P/N: 5SX4216-7RC | EA |
| 51 | 125992 | BREAKER, CIRCUIT: POTENTIAL: 380 V; CURRENT: 32 A; POLE: 3; TYPE: THERMAL MAGNETIC CURVE K; INTERRUPT CAPACITY: 25 KA; REFERENCE NO: S203-K32; S2C-H6R; S2C-5/H6R; STOTZ, WITH 1 N/C + 1 N/O AUXILIARY CONTACTS | EA |
| 52 | 126199 | BREAKER, CIRCUIT: POTENTIAL: 380 VAC; 440 VDC; CURRENT: 10 A; POLE: 2; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 10 KA; REFERENCE NO: 5SN9210-0KB30; AUXILIARY CONTACTS | EA |
| 53 | 125990 | BREAKER, CIRCUIT: POTENTIAL: 380 VAC; 440 VDC; CURRENT: 2 A; POLE: 2; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 6 KA; REFERENCE NO: S210HS; S282UCK2; STOTZ, AUXILIARY CONTACTS 220VAC/5A, 220VDC/1A | EA |
| 54 | 119663 | BREAKER, CIRCUIT: POTENTIAL: 380 VAC; 440 VDC; CURRENT: 32 A; POLE: 2; TYPE: THERMAL MAGNETIC; REFERENCE NO: 5SN8 | EA |
| 55 | 119527 | BREAKER, CIRCUIT: POTENTIAL: 380 VAC; CURRENT: 10 A; POLE: 2; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 6 KA; REFERENCE NO: 12U; FM12AD010EE; USED ON CARRIER AIR CONDITIONER, CARRIER | EA |
| 56 | 125993 | BREAKER, CIRCUIT: POTENTIAL: 380 VAC; CURRENT: 16 A; POLE: 3; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 25 KA; SUPPL P/N: K16AS213; REFERENCE NO: S210-HS; AUXILLIARIES, 220V AC 5A/220V DC 1A, FOR USE ON ELECTRIC FEED PUMPS | EA |
| 57 | 119549 | BREAKER, CIRCUIT: POTENTIAL: 380 VAC; CURRENT: 25 A; POLE: 3; SPECIFICATION: SABS 156; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA; SUPPL P/N: C45; MULTI 9 | EA |
| 58 | 119595 | BREAKER, CIRCUIT: POTENTIAL: 380 VAC; CURRENT: 32 A; POLE: 3; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: MULTI 9 | EA |
| 59 | 119597 | BREAKER, CIRCUIT: POTENTIAL: 380 VAC; CURRENT: 5 A; POLE: 3; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: MULTI 9 | EA |
| 60 | 597746 | BREAKER, CIRCUIT: POTENTIAL: 400 VAC/DC; CURRENT: 2.5 A; POLE: 3; CLASSIFICATION: IP20; SPECIFICATION: DIN EN 50022; TEMPERATURE RATING: -20 TO 70 DEG C; WIDTH: 45 MM; HEIGHT: 97 MM; TYPE: PROTECTION; MOUNT: SCREW/SNAP ON; INTERRUPT CAPACITY: 100 KA; OEM P/N: 3RV1021-1CA10 | EA |
| 61 | 597743 | BREAKER, CIRCUIT: POTENTIAL: 690 VAC/DC; CURRENT: 16 A; POLE: 3; TEMPERATURE RATING: -20 TO 70 DEG C; WIDTH: 45 MM; HEIGHT: 97 MM; TYPE: MOTOR PROTECTION; MOUNT: SCREW/SNAP ON; INTERRUPT CAPACITY: 4-50 KA; OEM P/N: 3RV1021-4AA10; SO; CLASS: 10; A-REL: 10-16A; N-REL 208A; STANDARD SWITCHING CAPACITY; PRODUCT FUNCTION: OVERLOAD PROTECTION; PHASE DISTURBANCE RECOGNITION | EA |
| 62 | 595905 | BREAKER, CIRCUIT: POTENTIAL: 220-250 VAC; CURRENT: 0.5 A; POLE: 3; TEMPERATURE RATING: -20 TO 70 DEG C; WIDTH: 45 MM; HEIGHT: 97 MM; TYPE: MOTOR PROTECTION; MOUNT: SCREW/SNAP ON; INTERRUPT CAPACITY: 100 KA; OEM P/N: 3RV1021-OFA10; 0.35 TO 0.50A; N-RELEASE 6.5A; SIZE S0; CLASS 10; STANDARD BREAKING CAPACITY; PHASE DISTURBANCE RECOGNITION; PROTECTION ON THE FRONT: IP20 | EA |
| 63 | 597745 | BREAKER, CIRCUIT: POTENTIAL: 690 VAC/DC; CURRENT: 100-125 A; POLE: 3; CLASSIFICATION: IP20; TEMPERATURE RATING: 0-70 DEG C; WIDTH: 104.5 MM; HEIGHT: 174.5 MM; TYPE: OVERLOAD PROTECTION; INTERRUPT CAPACITY: 55 KA; OEM P/N: 3VL2712-1DC33-OAAO | EA |
| 64 | 119661 | BREAKER, CIRCUIT: POTENTIAL: 415 VAC; 440 VDC; CURRENT: 10 A; POLE: 2; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 4.5 KA; SUPPL P/N: G10A; REFERENCE NO: 5SN08210 | EA |
| 65 | 119662 | BREAKER, CIRCUIT: POTENTIAL: 415 VAC; 440 VDC; CURRENT: 15 A; POLE: 2; TYPE: MINIATURE THERMAL MAGNETIC; INTERRUPT CAPACITY: 4.5 KA; REFERENCE NO: 5SX5216-7 | EA |
| 66 | 615996 | BREAKER, CIRCUIT: POTENTIAL: 415 VAC; CURRENT: 160 A; POLE: 3; CLASSIFICATION: INDOOR APPLICATION; SPECIFICATION: FDC35TF160GF; FRAME: FDC; TEMPERATURE RATING: 40 DEG C; WIDTH: 105 MM; LENGTH: 170 MM; HEIGHT: 170 MM; COLOR: WHITE; TYPE: 18KA MOLDED CASE; MOUNT: MCC B; INTERRUPT CAPACITY: 18 KA; 160A; 415VAC WITH 2 X NO AUX; SWITCH RIGHT MOUNTED; 2 X NC AUX; SWITCH RIGHT MOUNTED; 2 X SHUNT RELEASE RELAY; 1 X FDEMF8 FD OPERATORS; KEY LOCK FOR OPERATOR | EA |
| 67 | 119526 | BREAKER, CIRCUIT: POTENTIAL: 415 VAC; CURRENT: 25 A; POLE: 3; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: FL12J025EE; SF3G3 | EA |
| 68 | 119825 | BREAKER, CIRCUIT: POTENTIAL: 415 VAC; CURRENT: 30 A; POLE: 1; TYPE: HYDRAULIC/MAGNETIC; INTERRUPT CAPACITY: 5 KA; SUPPL P/N: SF1G3 | EA |
| 69 | 120111 | BREAKER, CIRCUIT: POTENTIAL: 415 VAC; CURRENT: 30 A; POLE: 3; TYPE: THERMAL MAGNETIC; INTERRUPT CAPACITY: 5 KA | EA |
| 70 | 575409 | BREAKER, CIRCUIT: POTENTIAL: 440 VAC; 125 VDC; CURRENT: 10 A; POLE: 2; TYPE: MINIATURE; INTERRUPT CAPACITY: 6 KA; REFERENCE NO: XAL 144790-314; 2CDS252001R0105 | EA |
| 71 | 623532 | BREAKER, CIRCUIT: POTENTIAL: 440 VAC; 125 VDC; CURRENT: 2 A; POLE: 2; COLOR: WHITE; TYPE: MINIATURE; MOUNT: DIN RAIL; INTERRUPT CAPACITY: 6-10 KA; SUPPL P/N: 70100QB0 | EA |
| 72 | 597744 | BREAKER, CIRCUIT: POTENTIAL: 400 VAC/DC; CURRENT: 30 MA; POLE: 3; TEMPERATURE RATING: -5 TO 45 DEG C; WIDTH: 72 MM; HEIGHT: 90 MM; TYPE: CURRENT; MOUNT: SCREW TERMINAL; INTERRUPT CAPACITY: 1 KA; OEM P/N: 5SM3344-0 | EA |
| 73 | 601011 | BREAKER, CIRCUIT: POTENTIAL: 800 V; CURRENT: 250 A; POLE: 3; TEMPERATURE RATING: 40 DEG C; WIDTH: 115 MM; LENGTH: 150 MM; HEIGHT: 100 MM; COLOR: BLACK; TYPE: CONTROL; MOUNT: BOLTED; INTERRUPT CAPACITY: 8 KV; SUPPL P/N: LV431670; REFERENCE NO: 3P3DTM250T N5X250H; TO BE SUPPLIED WITH CABLE CONNECTORS (LV429259 & LV429248); TWO SPREDERS (LV431563) & ARC BARRIER (LV429330) | EA |
| 74 | 672693 | BREAKER, CIRCUIT: SWITCHGEAR DESIGN: CLIP ON; POTENTIAL: 690 V; CURRENT: 23 A; SHORT TIME CURRENT: 17-23 A; POLE: 3; CONTROL VOLTAGE: 400 V; CREEPAGE: 35 MM; BASIC INSULATION LEVEL: 690 V; INSULATION MATERIAL: GLASS FIBRE/PHOSPHATE FR; OPERATING CONTROL TYPE: PUSHBUTTON; POLLUTION CLASS: IEC 0157; APPLICATION: MOTOR PROTECTION; CLASSIFICATION: ASH; SPECIFICATION: IEC 60947-2; TEMPERATURE RATING: -20 TO 60 DEG C; WIDTH: 45 MM; HEIGHT: 89 MM; TYPE: TRANSVERSE MOVEBLE HEADS; REFERENCE NO: GV2ME21 | EA |
| 75 | 119612 | BREAKER, CIRCUIT: SWITCHGEAR DESIGN: DOMESTIC; POTENTIAL: 220/380 VAC; CURRENT: 20 A; SHORT TIME CURRENT: 25 KA; POLE: 2; CONTROL VOLTAGE: 220/440 VAC; POINT ON WAVE: 10-20 IN; CREEPAGE: 25 MM2; BASIC INSULATION LEVEL: 60 VDC; 120 VDC; 440 VAC; INSULATION MATERIAL: STRAP LIFT; OPERATING CONTROL TYPE: COIL; POLLUTION CLASS: WET HEAT; APPLICATION: SHORT CIRCUIT PROTECTION; WIDTH: 35 MM; LENGTH: 80 MM; HEIGHT: 59 MM; COLOR: WHITE; TYPE: THERMAL MAGNETIC; MOUNT: DIN RAIL; INTERRUPT CAPACITY: 10 KA; SUPPL P/N: 5SJ7220-7CC20; 4 CONTACTS | EA |
| 76 | 628972 | BREAKER, CIRCUIT: SWITCHGEAR DESIGN: DOMESTIC; POTENTIAL: 380 VAC; CURRENT: 13-18 A; SHORT TIME CURRENT: 8 KA; POLE: 3; CONTROL VOLTAGE: 380 VAC; POINT ON WAVE: ZERO VOLTAGE; CREEPAGE: 1-4 MM2; BASIC INSULATION LEVEL: 8 KA; INSULATION MATERIAL: PLASTIC; OPERATING CONTROL TYPE: COIL-PUSH BUTTON; POLLUTION CLASS: IP20; APPLICATION: MOTOR PROTECTION; WIDTH: 45 MM; HEIGHT: 89 MM; MOUNT: CLIPS/SCREW; INTERRUPT CAPACITY: 223 A; REFERENCE NO: GV2ME20 | EA |
| 77 | 620816 | BREAKER, CIRCUIT: SWITCHGEAR DESIGN: DOMESTIC; POTENTIAL: 400 V; CURRENT: 1.6-2.5 A; SHORT TIME CURRENT: 8 KA; POLE: 3; CONTROL VOLTAGE: 380 VAC; POINT ON WAVE: ZERO; CREEPAGE: 1-4 MM2; BASIC INSULATION LEVEL: 8 KA; INSULATION MATERIAL: PLASTIC; OPERATING CONTROL TYPE: PUSHBUTTON; POLLUTION CLASS: IP20; APPLICATION: MOTOR PROTECTION; SPECIFICATION: GV2ME07; WIDTH: 45 MM; LENGTH: 78.2 MM; HEIGHT: 89 MM; TYPE: MOTOR PROTECTION; MOUNT: DIN RAIL; INTERRUPT CAPACITY: 100 KA; REFERENCE NO: GV2ME07 | EA |
| 78 | 633360 | BREAKER, CIRCUIT: SWITCHGEAR DESIGN: PUSHBUTTON; POTENTIAL: 380 VAC; CURRENT: 1-1.6 A; SHORT TIME CURRENT: 8 KA; POLE: 3; CONTROL VOLTAGE: 380 VAC; POINT ON WAVE: MOTOR CONTROLLED; CREEPAGE: 1-4 MM2; BASIC INSULATION LEVEL: 600 V; INSULATION MATERIAL: PLASTIC; OPERATING CONTROL TYPE: PUSHBUTTON; POLLUTION CLASS: IP20; APPLICATION: THERMOMAGNETIC TRIP UNIT; SPECIFICATION: CSA C22-2; WIDTH: 44.5 MM; LENGTH: 89 MM; HEIGHT: 78.2 MM; COLOR: BLACK; TYPE: THERMAL MAGNETIC MOTOR; PHASE SPACING: 2 KM; INTERRUPT CAPACITY: 1.6 A; OEM P/N: GV2ME6 | EA |
| 79 | 119596 | BREAKER, CIRCUIT: POTENTIAL: 380/415 VAC; CURRENT: 15 A; POLE: 3; TYPE: HYDRAULIC/MAGNETIC; INTERRUPT CAPACITY: 2.5 KA; OEM P/N: QA315 | EA |
| 80 | 630486 | BREAKER, CIRCUIT: SWITCHGEAR DESIGN: THERMAL MAGNETIC; POTENTIAL: 220/230 VAC; CURRENT: 2 A; SHORT TIME CURRENT: 6000 A; POLE: 1; CONTROL VOLTAGE: 220/230 VAC; POINT ON WAVE: TOGGLE; CREEPAGE: RIGID WIRE 1-25; FLEX WIRE 1-16 MM; BASIC INSULATION LEVEL: 6 KV; INSULATION MATERIAL: MOLDED; OPERATING CONTROL TYPE: THERMAL MAGNETIC; POLLUTION CLASS: IP20; APPLICATION: DISTRIBUTION; SPECIFICATION: EN60898-1; WIDTH: 18 MM; LENGTH: 78.5 MM; HEIGHT: 85 MM; COLOR: WHITE; TYPE: MINIATURE; MOUNT: FIXED DIN RAIL; INTERRUPT CAPACITY: 50 KA; REFERENCE NO: A9F74102 | EA |
| 81 | 589944 | BREAKER, CIRCUIT: POTENTIAL: 400 VAC; CURRENT: 3 A; POLE: 2; CLASSIFICATION: IP20; SPECIFICATION: IEC898/EN60898/DIN43880; FRAME: S1; TEMPERATURE RATING: -25 TO 55 DEG C; WIDTH: 35 MM; LENGTH: 68 MM; HEIGHT: 90 MM; COLOR: WHITE; TYPE: SWITCH; MOUNT: RAIL; INTERRUPT CAPACITY: 25 KA; MANUF P/N: GHS2820001R0317; MOUNT IS STANDARD PROFILE RAILS EN50022; AUXILIARY CONTACT GHS2701916R0001 | EA |
| 82 | 590704 | BREAKER, CIRCUIT: POTENTIAL: 240VDC/690VAC; CURRENT: 10 A; POLE: 2; SPECIFICATION: IEC EN60947-1; TEMPERATURE RATING: 40 DEG C; WIDTH: 50 MM; LENGTH: 92 MM; HEIGHT: 92.5 MM; COLOR: WHITE; TYPE: SWITCH; MOUNT: RAIL; INTERRUPT CAPACITY: 30 KA; MANUF P/N: S502UC-B10; STD PROFILE RAILS EN 50 022; 35X7.5; ADDITIONAL COMPONENT: AUX. CONTACT - 5500-H11 | EA |
| 83 | 613538 | BREAKER, CIRCUIT: POTENTIAL: 440 VDC; CURRENT: 6 A; POLE: 3; TYPE: MINIATURE; INTERRUPT CAPACITY: 3 KA; SUPPL P/N: GHS2830001R0377; SERIES: AS280-K; DDITIONAL COMPONENT: AUX. CONTACT - GHS2701916R0001 | EA |
| 84 | 590714 | BREAKER, CIRCUIT: POTENTIAL: 400 VAC; CURRENT: 25 A; POLE: 3; CLASSIFICATION: DIN43880; SPECIFICATION: IEC898/EN60898; FRAME: S1; TEMPERATURE RATING: -25 TO 55 DEG C; WIDTH: 70 MM; LENGTH: 68 MM; HEIGHT: 90 MM; COLOR: WHITE; TYPE: SWITCH; MOUNT: RAIL; INTERRUPT CAPACITY: 25 KA; MANUF P/N: GHS2830001R0517; STD PROFILE RAILS EN 50 022; 35X7.5 | EA |
| 85 | 590589 | BREAKER, CIRCUIT: POTENTIAL: 400 VAC; CURRENT: 1 A; POLE: 2; CLASSIFICATION: DIN43880; SPECIFICATION: IEC898/EN60898; FRAME: S1; TEMPERATURE RATING: -25 TO 55 DEG C; WIDTH: 35 MM; LENGTH: 68 MM; HEIGHT: 90 MM; COLOR: WHITE; TYPE: SWITCH; MOUNT: RAIL; INTERRUPT CAPACITY: 25 KA; MANUF P/N: GHS2820001R0217; STD PROFILE RAILS EN50022; 35X7.5 | EA |
| 86 | 589943 | BREAKER, CIRCUIT: POTENTIAL: 400 VAC; CURRENT: 1 A; POLE: 3; CLASSIFICATION: IP20; SPECIFICATION: IEC898/EN60898/DIN43880; FRAME: S1; TEMPERATURE RATING: -25 TO 55 DEG C; WIDTH: 70 MM; LENGTH: 68 MM; HEIGHT: 90 MM; COLOR: WHITE; TYPE: SWITCH; MOUNT: RAIL; INTERRUPT CAPACITY: 25 KA; MANUF P/N: GHS2830001R0217; MOUNT STANDARD PROFILE RAILS EN20022 | EA |
| 87 | 616087 | BREAKER, CIRCUIT: POTENTIAL: 440 VAC; 125 VDC; CURRENT: 38-45 A; POLE: 3; SPECIFICATION: 2CCF008841R0001; COLOR: WHITE; TYPE: MCB; MOUNT: PANEL; INTERRUPT CAPACITY: 30 KA; SUPPL P/N: S503X-AG1499-45; HIGH MAGNETIC RELEASE | EA |
| 88 | 656505 | BREAKER: TYPE: ADJUSTABLE THERMOMAGNETIC TRIPPING UNITS; DIMENSIONS: WD 248 X LG 285 X HT 240 MM; MATERIAL: BAKELITE; OEM P/N: 1SDA054597R1; T4D 320 3P FF | EA |
| 89 | 656485 | BREAKER: TYPE: ADJUSTABLE THERMOMAGNETIC TRIPPING UNITS; DIMENSIONS: WD 131 X LG 163 X HT 136 MM; MATERIAL: BAKELITE; OEM P/N: 1SDA054897R1; MOE T4-T5 220 250VAC/VDC | EA |
| 90 | 142170 | BLOCK: TYPE: TEST; WIDTH: 75 MM; LENGTH: 163 MM; HEIGHT: 53 MM; MATERIAL: PLASTIC; MODEL NO: PK-2; REFERENCE NO: 6422120G4; FOR USE ON 11KV SWITCHBOARD; 6 POLE CONNECTIONS | EA |
| 91 | 239265 | EARTH LEAKAGE: TYPE: CIRCUIT BREAKER; CURRENT: 30 A; POTENTIAL: 230 VAC; POLE: 2; INTERRUPT CAPACITY: 2.5 KA; SUPPL P/N: QA17A30; AMPERAGE 30A, USED AT OUTSIDE PLANT DISTRIBUTION BOARDS | EA |
| 92 | 119561 | EARTH LEAKAGE: TYPE: CIRCUIT BREAKER; POTENTIAL: 220-415 V; POLE: 4; CURRENT: 40 A; INTERRUPT CAPACITY: 30 MA; RESET: MANUAL, TERMINAL: CAPTIVE CLAMP, MOUNT: PANEL; PART NO: 5SZ3-440-3A, SUPPLIER: UNKNOWN; PART NO: 5SM1344-0, SUPPLIER: UNKNOWN; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 93 | 119436 | EARTH LEAKAGE: TYPE: CIRCUIT BREAKER; CURRENT: 80 A; POTENTIAL: 380 VAC; POLE: 3; LEAKAGE CURRENT: 30 MA; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: SF36A; LINE AND LOAD SIDE INDICATED WITH FASTENER | EA |
| 94 | 119651 | EARTH LEAKAGE: TYPE: INSTANTANEOUS; CURRENT: 25 A; POTENTIAL: 240 VAC; POLE: 2; LEAKAGE CURRENT: 30 MA; INTERRUPT CAPACITY: 2.5 KA; SPECIFICATION: DIN EN 61346-2; SUPPL P/N: 5SV4312-0 | EA |
| 95 | 119509 | EARTH LEAKAGE: TYPE: MAGNETIC; CURRENT: 60 A; POTENTIAL: 240 V; POLE: 1; LEAKAGE CURRENT: 30 MA; INTERRUPT CAPACITY: 2.5 KA; SUPPL P/N: QA17A; CONTACT ARRANGEMENT 2NO, RESET MANUAL, SILVER PLATED CONTACT, CAPTIVE CLAMP TERMINAL, PANEL MOUNT, GENERAL PURPOSE ENCLOSURE, AE | EA |
| 96 | 119857 | EARTH LEAKAGE: TYPE: OVERLOAD PROTECTION; CURRENT: 63 A; POTENTIAL: 230 VAC; POLE: 1; INTERRUPT CAPACITY: 5 KA; SUPPL P/N: QF17A63; HYMAG | EA |
| 97 | 119560 | EARTH LEAKAGE: TYPE: OVERLOAD PROTECTION; CURRENT: 63 A; POTENTIAL: 380-400 V; POLE: 3; LEAKAGE CURRENT: 30 MA; INTERRUPT CAPACITY: 63 A; REFERENCE NO: 20179; 21155; VIGI MODULE | EA |
| 98 | 119582 | EARTH LEAKAGE: TYPE: UNIT; CURRENT: 80 A; POTENTIAL: 250 VAC; POLE: 1; INTERRUPT CAPACITY: 5 KA; REFERENCE NO: SF15A80A | EA |
| 99 | 630295 | CONTACTOR: TYPE: PROTECTION; LINE VOLTAGE: 220 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 1 A; POLE: 3; OEM P/N: 324MF220A1 | EA |
| 100 | 597742 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 690 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 630 A; POLE: 3; OEM P/N: 3TF68 | EA |
| 101 | 590373 | CONTACTOR: TYPE: A-LINE; LINE VOLTAGE: 1000 VAC; COIL VOLTAGE: 100-250 VAC/DC; CURRENT: 305 A; POLE: 3; ENCLOSURE RATING: UL 94 STANDARD; CLASSIFICATION: AF300-30; SPECIFICATION: IEC 60947-5-1; EN 60947-5-1; MAXIMUM CURRENT RATING: 500 A; MANUF P/N: 1SFL557001R7022 | EA |
| 102 | 602329 | CONTACTOR: TYPE: AUXILIARY; LINE VOLTAGE: 110-250 VAC; COIL VOLTAGE: 48 V; CURRENT: 40 A; POLE: 3; ENCLOSURE RATING: IP67; CLASSIFICATION: HEAVY DUTY; SPECIFICATION: G123141; CONTACT ARRANGEMENT: 1NO 1NC; REFERENCE NO: LC1D25; LAD4RCU | EA |
| 103 | 552802 | CONTACTOR: TYPE: AUXILIARY; LINE VOLTAGE: 400 V; COIL VOLTAGE: 220 VAC; CURRENT: 40 A; POLE: 3; CONTACT ARRANGEMENT: 3NO; MANUF P/N: DILM17-10 | EA |
| 104 | 597772 | CONTACTOR: TYPE: AUXILIARY; LINE VOLTAGE: 400 V; COIL VOLTAGE: 230 VAC; CURRENT: 12 A; POLE: 3; ENCLOSURE RATING: IP20; CONTACT ARRANGEMENT: 3NO; REFERENCE NO: 3RT1024-1AP00; AC-3; 5.5KW/400V; AC 230V; 50HZ; SIZE SO; TEMPERATURE DURING OPERATION: -25 TO 60DEG C; VOLTAGE TYPE/ OF CONTROL FEED VOLTAGE; AC OPERATING RANGE FACTOR CONTROL SUPPLY VOLTAGE RATED VALUE/ OF MAGNET COIL; 0.8 TO 11 | EA |
| 105 | 589239 | CONTACTOR: TYPE: AUXILIARY; LINE VOLTAGE: 400 VAC; COIL VOLTAGE: 120 VAC; CURRENT: 600 A; POLE: 3; ENCLOSURE RATING: IP20; CLASSIFICATION: HEAVY DUTY; SPECIFICATION: NEMA 250-2003; CONTACT ARRANGEMENT: 2NO 2NC; MAXIMUM CURRENT RATING: 600 A; MANUF P/N: LS220K; WITH MODULE: KM7EJ; COIL: CM673-43 & ATTACHABLE AUXILLARY | EA |
| 106 | 667111 | CONTACTOR: TYPE: BIAS HEATER; LINE VOLTAGE: 440 VAC; COIL VOLTAGE: 24 VDC; CURRENT: 95 A; POLE: 3; ENCLOSURE RATING: IP20; SPECIFICATION: EN60947-4-1; CONTACT ARRANGEMENT: 1NO 1NC; MAXIMUM CURRENT RATING: 95 A; REFERENCE NO: LC1D95BD; DIN RAIL MOUNTED | EA |
| 107 | 667113 | CONTACTOR: TYPE: BIAS MOTOR; LINE VOLTAGE: 440 VAC; COIL VOLTAGE: 24 VDC; CURRENT: 38 A; POLE: 3; ENCLOSURE RATING: IP20; SPECIFICATION: EN60947-4-1; CONTACT ARRANGEMENT: 1NO 1NC; MAXIMUM CURRENT RATING: 38 A; REFERENCE NO: LC1D38BD | EA |
| 108 | 125711 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 1 KVAC; COIL VOLTAGE: 220 VAC; CURRENT: 1.4 KA; POLE: 3; SPECIFICATION: IEC 158; VDE 0660; SUPPL P/N: LS280K-22; REFERENCE NO: 910-338-276-00; ENCLOSURE: GENERAL PURPOSE | EA |
| 109 | 242076 | CONTACTOR: TYPE: CONTROL; REFERENCE NO: 111507; 10MK5; FOR CONDAIR CP3 15 AND SMALLER | EA |
| 110 | 125731 | CONTACTOR: TYPE: CONTROL; COIL VOLTAGE: 110 VAC; CURRENT: 25 A; POLE: 3; CONTACT ARRANGEMENT: 2NO 2NC; SUPPL P/N: LC1-D12008 F5; 4 POLE CONTACT; ENCLOSURE: GENERAL PURPOSE | EA |
| 111 | 125873 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 220/380 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 24 A; POLE: 4; CONTACT ARRANGEMENT: 2NO 2NC; SUPPL P/N: B12-30-10; B12-30-22; REFERENCE NO: B12-30-22; ENCLOSURE: CLOSE; 3PHSE | EA |
| 112 | 139285 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 220/380/500 VAC; COIL VOLTAGE: 110 VDC; CURRENT: 16 A; POLE: 3; ENCLOSURE RATING: GENERAL PURPOSE; SUPPL P/N: 15BL 183001 R8610; REFERENCE NO: AL 16-30-10-110 VDC; COMPLETE WITH 2500 REGISTER 67; ENCLOSURE: GENERAL PURPOSE | EA |
| 113 | 127042 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 220/380/500/660 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 25 A; POLE: 4; CONTACT ARRANGEMENT: 1NO; SUPPL P/N: LC1D093F; LCD039F; AUXILLARY CONTACT A600 P600 | EA |
| 114 | 125710 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 220/600 V; COIL VOLTAGE: 220 VAC; CURRENT: 630 A; POLE: 3; SUPPL P/N: LS220.22K; OPERATING CURRENT AC3 - 400V = 420A - AC1 AT 40 DEGREE CELSIUS = 600A; FOR USE ON 380V BOARDS; ENCLOSURE: GENERAL PURPOSE | EA |
| 115 | 125704 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 220/660 VAC; COIL VOLTAGE: 230 VAC; CURRENT: 40 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; REFERENCE NO: CWM40-22-30; ENCLOSURE: GENERAL PURPOSE | EA |
| 116 | 126012 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 220/660 VAC; COIL VOLTAGE: 32 VAC; CURRENT: 50 A; POLE: 3; SPECIFICATION: BS 775-1; IEC 158-1; VDE 0660; SUPPL P/N: SC35; FOR USE ON ACC FAN; ENCLOSURE: GENERAL PURPOSE | EA |
| 117 | 126401 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 220-600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 16 A; POLE: 5; CONTACT ARRANGEMENT: 7NO 3NC; SUPPL P/N: PG65385-01; MODEL NO: 3TH8373-0B | EA |
| 118 | 183158 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 380 V; COIL VOLTAGE: 220 VAC; CURRENT: 132 A; POLE: 3; SUPPL P/N: LS132K.22; REFERENCE NO: 11:E-NR 910-304-480 / 22:E-NR 910-304-481; 90KW | EA |
| 119 | 578447 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 380 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 224 A; POLE: 3; ENCLOSURE RATING: NEMA 1; CONTACT ARRANGEMENT: 2NO 2NC; MAXIMUM CURRENT RATING: 310 A; REFERENCE NO: CK95BE311N; 132KW; 50HZ CONTACTOR WITH COIL FITTED; WITH BCLL11 AND BRLL20 | EA |
| 120 | 578446 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 380 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 334 A; POLE: 3; ENCLOSURE RATING: NEMA 1; CONTACT ARRANGEMENT: 2NO 2NC; MAXIMUM CURRENT RATING: 500 A; REFERENCE NO: CK10CE311N; 50HZ CONTACTOR WITH COIL AND AUXILLIARIES FITTED WITH BCLL11 & BRLL20 | EA |
| 121 | 125962 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 500 V; COIL VOLTAGE: 110 V; CURRENT: 10 A; POLE: 4; SPECIFICATION: BS 4794; NFC 63110; VDE0600; REFERENCE NO: DIL0822; 3TB4012-0AF0; ENCLOSURE: GENERAL PURPOSE | EA |
| 122 | 125879 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 500 VAC; COIL VOLTAGE: 220 VDC; CURRENT: 10 A; POLE: 4; SPECIFICATION: BS 5424; IEC 255; VDE 0660; SUPPL P/N: CA3-DN40MD; REFERENCE NO: NFC45250; TELEMECANIQUE; ENCLOSURE: GENERAL PURPOSE | EA |
| 123 | 125729 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 10 A; POLE: 4; CONTACT ARRANGEMENT: 2NO 2NC; SUPPL P/N: CA2DN1229A6522E; ENCLOSURE: GENERAL PURPOSE | EA |
| 124 | 125249 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 22 A; POLE: 3; SPECIFICATION: IEC 158-1; VDE 0660; SUPPL P/N: 1SBL137001R1310; ENCLOSURE: GENERAL PURPOSE; 3PHSE | EA |
| 125 | 125849 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 400 A; POLE: 3; ENCLOSURE RATING: NEMA 5; SPECIFICATION: BS 5424; IEC 947-4; VDE 0660; SUPPL P/N: 0KYM200W22; AUXILLIARY CONTACTS NEMA A600 N300; FOR USE ON 380V BOARDS | EA |
| 126 | 125251 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 20 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; SUPPL P/N: LS4K.10; REFERENCE NO: 910-302-663-88; ENCLOSURE: GENERAL PURPOSE | EA |
| 127 | 125708 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 225 A; POLE: 3; SUPPL P/N: LS90K22; SUITABLE TO BE USED ON A CIRCUIT CAPABLE OF DELIVERING NOT MORE THAN 10000 RMS; TIME DELAY FUSES NEEDED; AUXILIARY CONTACTS A600; ENCLOSURE: GENERAL PURPOSE; 3PHSE | EA |
| 128 | 125709 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 225 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; SUPPL P/N: LS-132 K; REFERENCE NO: 91033807100; AUXILLIARY CONTACTS A600; AEG; ENCLOSURE: GENERAL PURPOSE | EA |
| 129 | 125937 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 25 A; POLE: 2; SPECIFICATION: BS 5424; IEC 158/1; VDE 0660; CONTACT ARRANGEMENT: 2NO 2NC; SUPPL P/N: LC1D128P7; ENCLOSURE: GENERAL PURPOSE | EA |
| 130 | 126715 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 25 A; POLE: 4; REFERENCE NO: LC1D0910M5; 023333; 4KW - 400V; 5HP - 460V; ENCLOSURE: OPEN; 3PHSE | EA |
| 131 | 127334 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 30 A; POLE: 3; ENCLOSURE RATING: OPEN; SPECIFICATION: BS 5424; IEC 158; VDE 0660; REFERENCE NO: 3TF4222-OA; AUXILLIAY CONTACT A600 P600; FOR USE IN 2 PHASES OF A 3 PHASE CIRCUIT | EA |
| 132 | 128034 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 45 A; POLE: 3; ENCLOSURE RATING: GENERAL PURPOSE; REFERENCE NO: 3TB4417-0A; 3RT1034-1AP00 | EA |
| 133 | 125705 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 80 A; POLE: 3; SPECIFICATION: IEC158-1; MAXIMUM CURRENT RATING: 80 A; SUPPL P/N: LS37K.37; REFERENCE NO: 910-304-326-000; AUXILIARY CONTACTS A600; ENCLOSURE: GENERAL PURPOSE; 3PHSE | EA |
| 134 | 217381 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VDC; CURRENT: 10 A; POLE: 5; SUPPL P/N: CAD50MD; REFERENCE NO: 023452 | EA |
| 135 | 126184 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 600 VDC; COIL VOLTAGE: 220 VDC; CURRENT: 220 A; POLE: 2; SPECIFICATION: IEC 158; VDE 0660; CONTACT ARRANGEMENT: 2NO 2NC; SUPPL P/N: 3TC5217-0A; FOR USE ON ACC FAN; ENCLOSURE: GENERAL PURPOSE | EA |
| 136 | 125578 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 110 VAC; POLE: 4; CONTACT ARRANGEMENT: 3NO 1NC; SUPPL P/N: CA2-KN31F7; ENCLOSURE: GENERAL PURPOSE | EA |
| 137 | 125579 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 40 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158/1; CONTACT ARRANGEMENT: 1NC; SUPPL P/N: LC2D259FA65; TWIN INTERLOCK; ENCLOSURE: GENERAL PURPOSE; 3PHSE | EA |
| 138 | 125855 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 24 A; POLE: 3; SUPPL P/N: B123022; BBC PETERCEM; ENCLOSURE: GENERAL PURPOSE | EA |
| 139 | 125988 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 28 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158/1; VDE 0660; REFERENCE NO: B16-30-10; FPL1811001R0106; ENCLOSURE: GENERAL PURPOSE | EA |
| 140 | 126042 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 32 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; CONTACT ARRANGEMENT: 2NO 2NC; SUPPL P/N: LS7K.10; REFERENCE NO: 910-304-200-00; AEG BRAND ONLY; ENCLOSURE: GENERAL PURPOSE | EA |
| 141 | 125858 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 40 A; POLE: 3; SUPPL P/N: LC1D25P7; REFERENCE NO: CT-12-DA-259-EE | EA |
| 142 | 125886 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 40 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158/1; VDE 0660; CONTACT ARRANGEMENT: 1NO; SUPPL P/N: LC1-D163M/A65 | EA |
| 143 | 126428 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 50 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; SUPPL P/N: LS15K.10; REFERENCE NO: 910-301-622-000; ENCLOSURE: GENERAL PURPOSE; 3PHSE | EA |
| 144 | 126063 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VDC; CURRENT: 180 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; SUPPL P/N: LS75K.22; REFERENCE NO: 910-337-151-00; ENCLOSURE: GENERAL PURPOSE | EA |
| 145 | 125270 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 48 VAC; CURRENT: 55 A; POLE: 3; SPECIFICATION: BS 5424; VDE 066; CONTACT ARRANGEMENT: 1NO 1NC; SUPPL P/N: DILM32-10; ENCLOSURE: GENERAL PURPOSE; 3PHSE | EA |
| 146 | 242077 | CONTACTOR: TYPE: CONTROL; REFERENCE NO: CP3 B16-B25,; 1115511; K3-24MK5; FOR CONDAIR CP3 16-25 | EA |
| 147 | 125582 | CONTACTOR: TYPE: CRANE; LINE VOLTAGE: 600 V; COIL VOLTAGE: 110 VAC; CURRENT: 25 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158/1; VDE 0660; SUPPL P/N: LC1D123FA65; ENCLOSURE: GENERAL PURPOSE | EA |
| 148 | 125890 | CONTACTOR: TYPE: CRANE; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 24 VDC; CURRENT: 10 A; POLE: 4; SPECIFICATION: BS 5424; IEC 255; VDE 0660; SUPPL P/N: CA2DN229S5 &; CAD32BD12A; ENCLOSURE: GENERAL PURPOSE | EA |
| 149 | 125645 | CONTACTOR: TYPE: CRANE; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 32 A; POLE: 3; SPECIFICATION: BS 5424; NFC 63110; VDE 0660; CONTACT ARRANGEMENT: 1NO; SUPPL P/N: LC1D1801F5; REFERENCE NO: LC1D163FA65; LC1D163F; AUXILLARY CONTACTS A600 P600; AE; ENCLOSURE: GENERAL PURPOSE | EA |
| 150 | 124689 | CONTACTOR: TYPE: CRANE; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 48 VDC; CURRENT: 40 A; POLE: 3; ; ENCLOSURE: GENERAL PURPOSE | EA |
| 151 | 125884 | CONTACTOR: TYPE: CRANE; LINE VOLTAGE: 660 VDC; COIL VOLTAGE: 220 VDC; CURRENT: 40 A; POLE: 2; SPECIFICATION: BS 5424; VDE 0660; SUPPL P/N: LC1-D32MD; ENCLOSURE: GENERAL PURPOSE | EA |
| 152 | 248273 | CONTACTOR: TYPE: DC; SUPPL P/N: SW 200A-36; FOR 24 V/100 A ALLIED CHARGER | EA |
| 153 | 248274 | CONTACTOR: TYPE: DC; SUPPL P/N: SW 100-36; FOR 24 V/49 A STATIC CHARGER | EA |
| 154 | 217626 | CONTACTOR: TYPE: DILOM; LINE VOLTAGE: 380 VAC; COIL VOLTAGE: 48 VDC; CURRENT: 35 A; POLE: 3; SUPPL P/N: IEC/EN 60947; 7.5KW | EA |
| 155 | 142327 | CONTACTOR: TYPE: FIELD SUPPRESSION; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VDC; CURRENT: 16 A; POLE: 8; SUPPL P/N: 3TH8244-0BM4; MODEL NO: EN50011; 44DIN; SCREW TERMINALS; SIEMENS; ENCLOSURE: GENERAL PURPOSE | EA |
| 156 | 555257 | CONTACTOR: TYPE: FLASH FIELD; COIL VOLTAGE: 220 VDC; MANUF P/N: FPL7219216R0006; TYPE IORE-8520F; STATIC EXCITATION SYSTEM | EA |
| 157 | 706259 | CONTACTOR: TYPE: FUEL OIL BURNER; LINE VOLTAGE: 690VAC 440VDC; COIL VOLTAGE: 24 VDC; CURRENT: 6 A; POLE: 5; ENCLOSURE RATING: IP20; CONTACT ARRANGEMENT: 2NO 2NC; REFERENCE NO: 3RH2122-1BB40; SIZE: S00 | EA |
| 158 | 607773 | CONTACTOR: TYPE: HEAVY DUTY; LINE VOLTAGE: 380 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 40 A; POLE: 3; ENCLOSURE RATING: IP67; REFERENCE NO: MC-40A; APPLICATION: CRANES | EA |
| 159 | 222335 | CONTACTOR: TYPE: HEAD; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 200/240 VAC; CURRENT: 630 A; POLE: 3; SUPPL P/N: 3TY 7685-OCM7; FOR ACC FAN | EA |
| 160 | 6085 | CONTACTOR: TYPE: INTERLOCK; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 24 A; POLE: 3; REFERENCE NO: LC2D129A65; TELEMACANIQUE; USED ON BBT SF6 TYPE ELK4 765KV G.I.S; ENCLOSURE: GENERAL PURPOSE | EA |
| 161 | 647428 | CONTACTOR: TYPE: MOTOR CONTROL RESISTIVE LOAD; LINE VOLTAGE: 6 KV; COIL VOLTAGE: 48 VAC; CURRENT: 25 A; POLE: 3; ENCLOSURE RATING: IP20; CLASSIFICATION: COAL/DUST/HEAT; CONTACT ARRANGEMENT: 1NO 1NC; MAXIMUM CURRENT RATING: 450 A AT 440 V; OEM P/N: LC1D25E7 | EA |
| 162 | 643115 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 V; CURRENT: 80 A; POLE: 3; ENCLOSURE RATING: IP65; CONTACT ARRANGEMENT: 1NO 1NC; OEM P/N: LC1D65AP7 | EA |
| 163 | 597773 | CONTACTOR: TYPE: MAIN; LINE VOLTAGE: 400 VAC; COIL VOLTAGE: 230 V; CURRENT: 25 A; POLE: 3; ENCLOSURE RATING: IP20; CONTACT ARRANGEMENT: 3NO; REFERENCE NO: 3RT1026-1AP00; AC-3 11KW/400V; AC 230V; 50HZ; SIZE SO; SCREW CONNECTION; OPERATING RANGE FACTOR CONTROL SUPPLY VOLTAGE RATED VALUE/ OF THE MAGNET COIL AT 50HZ FOR AC: 0.8 TO 1.1; TEMPERATURE DURING OPERATING: -25 TO 60DEG C | EA |
| 164 | 125751 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 220/660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 47 A; POLE: 3; CLASSIFICATION: HEAVY DUTY; SPECIFICATION: BS 5424; IEC 158; VDE 0660; SUPPL P/N: LS 15K.22; REFERENCE NO: 910-333-348-00; ENCLOSURE: GENERAL PURPOSE | EA |
| 165 | 142534 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 220/660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 90 A; POLE: 3; CONTACT ARRANGEMENT: 2NO 2NC; SUPPL P/N: LS22K.22-00; REFERENCE NO: E-NR 910-304-325-00; PHASE VOLTAGE: 380V; INSULATION CLASS: C/1000V; 50HZ, AEG BRAND ONLY ACCEPTABLE | EA |
| 166 | 125866 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 220/660 VAC; COIL VOLTAGE: 220 VDC; CURRENT: 35 A; POLE: 3; SUPPL P/N: DIL022GC; ENCLOSURE: GENERAL PURPOSE; 3PHSE | EA |
| 167 | 126656 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 230/660 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 125 A; POLE: 3; CONTACT ARRANGEMENT: 1NO 1NC; REFERENCE NO: LC1D8011F5; ENCLOSURE: GENERAL PURPOSE; 3PHSE | EA |
| 168 | 6076 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 380 VAC; COIL VOLTAGE: 220 V; CURRENT: 200 A; POLE: 3; SUPPL P/N: LC1FG43; TELEMACANIQUE; RATED: 100V 270A; 6 CONTACTS; USED ON BBT SF6 TYPE ELK4 765KV G.I.S; ENCLOSURE: GENERAL PURPOSE | EA |
| 169 | 127044 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 380/1000 VAC; COIL VOLTAGE: 230 VAC; CURRENT: 125 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158/1; VDE 0660; REFERENCE NO: LC1FF43; WITH STAND CURRENT 10000 RMS; SYMATIC FUSE NON TIME DELAY 300A MAX; 50 KW; ENCLOSURE: GENERAL PURPOSE | EA |
| 170 | 126403 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 380/500 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 120-160 A; POLE: 3; SPECIFICATION: IEC 157; VDE 0660; REFERENCE NO: 910-211-741-13; MCBS162; D500; 18KA; ENCLOSURE: GENERAL PURPOSE; 3PHSE | EA |
| 171 | 125706 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 100 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; SUPPL P/N: LS30K-22; REFERENCE NO: 910-334-226-00; AUXILIARY CONTACT A600; 50HZ; ENCLOSURE: GENERAL PURPOSE | EA |
| 172 | 126062 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 100 A; POLE: 3; SPECIFICATION: IEC 158; VDE 0660; SUPPL P/N: LS30K; REFERENCE NO: 910-337-351-00; ENCLOSURE: GENERAL PURPOSE | EA |
| 173 | 126545 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 28 A; POLE: 3; SPECIFICATION: IEC 158-1; VDE 0660; SUPPL P/N: EH16-22; REFERENCE NO: B16-30-10; FOR USE ON GENERATOR TRANSFORMER 400KV COOLING FAN; ENCLOSURE: GENERAL PURPOSE | EA |
| 174 | 125854 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 45 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158/1; VDE 0660; SUPPL P/N: 1SBL237001R1300; ENCLOSURE: GENERAL PURPOSE | EA |
| 175 | 125707 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 600 VAC; COIL VOLTAGE: 220-230 VAC; CURRENT: 112A AC1; 105A AC-3 A; POLE: 3; ENCLOSURE RATING: POLLUTION DEGREE 3/NEMA 12; SPECIFICATION: BS 5424; IEC 158; SUPPL P/N: LS 55K.22; REFERENCE NO: E.910-337-141-00; AUXILLIARY CONTACTS: 2 X NO; 2 X NC; ENCLOSURE: GENERAL PURPOSE | EA |
| 176 | 125730 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 110 VAC; CURRENT: 80 A; POLE: 3; CONTACT ARRANGEMENT: 1NO 1NC; SUPPL P/N: LC1-D6511 F3; ENCLOSURE: GENERAL PURPOSE | EA |
| 177 | 126544 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 10 A; POLE: 3; SPECIFICATION: IEC 337-1; VDE 0660; SUPPL P/N: SK811021K; REFERENCE NO: EH6-22E; K22E; ENCLOSURE: GENERAL PURPOSE; 3PHSE | EA |
| 178 | 125268 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 20 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; SUPPL P/N: LS4-11E; REFERENCE NO: 910-302-650-00; ENCLOSURE: GENERAL PURPOSE | EA |
| 179 | 128650 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 25 A; POLE: 3; SPECIFICATION: BS 5424; IEC 158; VDE 0660; SUPPL P/N: CA3-9; MOTOR STARTER WITH OIL RELAY; AUXILLIARY CONTACT A600 P600; ENCLOSURE: GENERAL PURPOSE | EA |
| 180 | 125853 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 28 A; POLE: 3; SUPPL P/N: B123010; REFERENCE NO: FPL1611001R0106; ENCLOSURE: GENERAL PURPOSE | EA |
| 181 | 125747 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220 VAC; CURRENT: 80 A; POLE: 3; SUPPL P/N: LC1-D503Q; ENCLOSURE: GENERAL PURPOSE | EA |
| 182 | 126951 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 220-230 VAC; CURRENT: 40 A; POLE: 3; SUPPL P/N: LC1D253MA65; OVERALL DIMENSIONS: 89MM WD X 71MM LG X 56MM HT; ENCLOSURE: GENERAL PURPOSE; 3PHSE | EA |
| 183 | 128506 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 660 VAC; COIL VOLTAGE: 32 VAC; CURRENT: 32 A; POLE: 3; SUPPL P/N: SC21; ENCLOSURE: GENERAL PURPOSE; 3PHSE | EA |
| 184 | 125669 | CONTACTOR: TYPE: MOTOR; LINE VOLTAGE: 690 VAC; COIL VOLTAGE: 240 VAC; CURRENT: 25 A; POLE: 3; ENCLOSURE RATING: IP20; SPECIFICATION: CSA C22.2 NO 14; IEC 60947-4-1; IEC 60947-5-1; UL 508; SUPPL P/N: LC1D25U7; FOR MOTOR CONTROL/RESISTIVE LOAD; UTILISATION CATEGORY: AC-3/AC-1; 3NO; RATED OPERATIONAL VOLTAGE: 690 VAC AC 25 400 HZ (AC-3) | EA |
| 185 | 625900 | CONTACTOR: TYPE: RELAY; LINE VOLTAGE: 220 VDC; COIL VOLTAGE: 24 VDC; CURRENT: 10 A; POLE: 1; ENCLOSURE RATING: IP20; SPECIFICATION: IEC 60947-1; CONTACT ARRANGEMENT: 3NO 1NC; SUPPL P/N: 3RH2131-1BB40; SIZE: 00; 10A AT DC-12 FOR 220VDC; SCREW TYPE TERMINALS; MOUNTING TYPE SCREW AND SNAP ONTO DIN 35MM; OPERATING TEMPERATURE -25 TO 60 DEG C; STORAGE TEMPERATURE: -55 TO 80 DEG C; DIMENSIONS: WD 45 X DP 73 X HT 57.5MM | EA |
| 186 | 580134 | CONTACTOR: TYPE: REVERSE; LINE VOLTAGE: 250 VDC; COIL VOLTAGE: 220 VDC; CURRENT: 63 A; POLE: 3; ENCLOSURE RATING: NEMA 1; CONTACT ARRANGEMENT: 1NO 1NC; MANUF P/N: LAR09ANS; FITTED WITH MECHANICAL INTERLOCK; COIL ASSEMBLED IN EACH CONTACTOR UNIT; STORAGE TEMPERATURE: 10 TO 55 DEGREES; OPERATING TEMPERATURE: 10 TO 55 DEGREES | EA |
| 187 | 637357 | CONTACTOR: TYPE: REVERSING; LINE VOLTAGE: 440 V; COIL VOLTAGE: 230 VAC; CURRENT: 65 A; POLE: 3; ENCLOSURE RATING: IP20; CLASSIFICATION: MOTOR CONTROL; SPECIFICATION: IEC 60947; CONTACT ARRANGEMENT: 3NO; MAXIMUM CURRENT RATING: 80 A AT 40 DEG C; 440 VAC; REFERENCE NO: LC2D65P7 | EA |
| 189 | 249954 | CONTACTOR: TYPE: SCREW CONNECTION; LINE VOLTAGE: 400 VAC; COIL VOLTAGE: 230 VAC; CURRENT: 7 A; POLE: 3; ENCLOSURE RATING: IP20; SPECIFICATION: DIN EN 50022; SUPPL P/N: 3RT1015-1AP01 | EA |
| 190 | 583238 | CONTACTOR: TYPE: SWITCHING; LINE VOLTAGE: 380 VAC; COIL VOLTAGE: 220-230 VAC; CURRENT: 63 A; POLE: 3; ENCLOSURE RATING: NEMA 1; CONTACT ARRANGEMENT: 1NO 1NC; MAXIMUM CURRENT RATING: 80 A; REFERENCE NO: LAR09NS; REVERSING; FITTED WITH MECHANICAL INTERLOCK | EA |
| 191 | 250589 | CONTACTOR: COIL VOLTAGE: 220 VAC; SUPPL P/N: A9-30-10 | EA |
| 192 | 590374 | CONTACTOR: TYPE: A-LINE; LINE VOLTAGE: 1000 VAC; COIL VOLTAGE: 48 VDC; CURRENT: 16 A; POLE: 3; ENCLOSURE RATING: UL 94 STANDARD; CLASSIFICATION: AL26-30-22; SPECIFICATION: IEC 60947-5-1; EN 60947-5-1; MAXIMUM CURRENT RATING: 45 A; MANUF P/N: 1SBL243001R8322 | EA |
| 193 | 591263 | CONTACTOR: TYPE: CONTROL; LINE VOLTAGE: 1000 VAC; COIL VOLTAGE: 48/130 VAC; CURRENT: 6 A; POLE: 3; CLASSIFICATION: IEC60947-5-1; EN60947-5-1; SPECIFICATION: AF-09-30-22-12; MANUF P/N: 1SBL137001R1222; UL 94 STANDARD | EA |

## Purchaser’s design

Clause 21.1 requires that the Purchaser states which parts of the goods he is to design.  Complete as required or delete.   Be careful not to duplicate what may already be covered in the Purchaser’s operating philosophy / user requirement specification (URS) / performance specification described elsewhere in this Goods Information.

None

## Procedure for submission and acceptance of Supplier’s design

This is a mandatory requirement of core clause 21.2 and must be addressed. Identify the extent of detail (the particulars) of the Supplier’s design which is to be submitted to the Supply Manager for his acceptance. .  State requirements for drawings to be prepared by the Supplier.

As stipulated n the Scope of Work of this document

## Other requirements of the Supplier’s design

Use this section to describe any particulars which must be taken into account by the Supplier in his design; for example codification of the goods.

The goods supplied must be bubbled wrapped during transportation and delivery  to site Matimba Power Station

## Use of Supplier’s design

First read core clause 22.1 and then include here the exceptions and other purposes if applicable.  If there are none this section could be deleted leaving the core clause to stand.

N/A

## Manufacture & fabrication

Although the Purchaser does not usually prescribe how the goods are to be manufactured and fabricated, if there are any specific requirements they could be stated here.

As per Original Equipment Manufacturer (OEM)

## Factory acceptance testing (FAT)

Core Clauses 40 and 41 both make reference to the Goods Information regarding tests and inspections.

There are often comprehensive requirements for testing at place of manufacture and before delivery. State whether the tests are to be witnessed by the Supply Manager or by a testing agency of the Purchaser’s nomination.  Note, Supplier may not restrict Supply Manager’s right to witness tests per clause 25.2

## Other tests and inspections and commissioning in place of use

Describe any other tests and inspections that may be required, specifically in the place of use.  If the Supplier is to commission the goods in the place of use after Delivery, describe the process here.  If he is only required to witness and report on the commissioning done by others, this would be included as a service in section 4 below.

## Operating manuals and maintenance schedules

Use this section to describe these requirements.  Pay particular attention to when and in what form they are required.  Consideration should be given to obtaining operating manuals and maintenance schedules before Delivery of the whole of the goods when there is still financial incentive for the Supplier to do so.

# Supply Requirements

Clause 11.2(16) defines Supply Requirements and clause 11.2(8) states that they are part of the Goods Information.  They can either be included here or as an Annexure to the Contract Data provided by the Purchaser because of their commercial nature.  Eskom has chosen to include them in the C1.2a Contract Data, hence include the following text here:

The Supply Requirements for this contract are in an Annexure to the Contract Data provided by the Purchaser.

# Specification of the services to be provided

These services may include training of the Purchaser’s staff in the use of the goods, supervision of installation of the goods on the Purchaser’s property and post Delivery commissioning and monitoring of the goods in use. Ensure that all items of service specified can be related to an item in the Price Schedule

# Constraints on how the Supplier Provides the Goods

## Programming constraints

Read clause 31.2 first then state what additional information (if any) is to go in the programme per the last bullet of clause 31.2.  Describe any particular constraints on the order and timing of the work which the Supplier must take into account in his programme.

## Work to be done by the Delivery Date

Clause 11.2(5) defines Delivery as when the Supplier has done all the work which the Goods Information states he is to do by the Delivery Date. The defined term “Delivery” is used in this contract to identify when a stage, or amount of work has been achieved. This may be more than the common meaning of “delivery” and could include the passing of specified tests, provision of documentation and packing and preparation for air freight or shipping to the Purchaser’s nominated Delivery Place specified in the Supply Requirements. Either list here what has to be done in order to constitute “Delivery”, or list what may remain undone and be completed after the Delivery Date by stating that everything else must be done before Delivery.

## Marking the goods

If this contract requires the goods be paid for before they are brought within the Delivery Place, core clause 71.1 requires that the Goods Information state how the Supplier is to “mark” the goods

## Constraints at the delivery place and place of use

State any constraints on how the Supplier is to provide the goods and services both at the delivery place and where the goods and services are to be put into use, e. g. restriction on access, hours of working and sequence of work.  Sites such as Sasol Secunda and Koeberg Nuclear Power Station have very strict entrance requirements which tenderers need to allow for in their prices, and the Supplier has to comply with.  State these or similar requirements here.

## Cooperating with Others

Although not a direct requirement of the conditions of contract if the Purchaser is aware of the Supplier’s need to co-operate with Others (for example where the supply is to one of the Purchaser’s contractor’s on a project or design of the goods needs to be discussed with Others) details could be given here.

## Services & other things to be provided by the Purchaser or Supplier

Clause 23.2 requires that the Goods Information state what services and other things are to be provided by the Parties, each to the other as part of the supply process. This has nothing to do with the services identified in the Contract Data. It would include temporary services and things needed to facilitate the supply, such as cranes provided by the Purchaser for offloading of the goods.

## Management meetings

The conditions of contract (e.g. Clause 16.2) require and other sections of the Goods Information (e.g. safety risk management) may require (mandate) that a meeting shall be held.  However the intention of all NEC contracts is that the Parties and their agents use the techniques of partnering to manage the contract by holding meetings designed to pro actively and jointly manage the administration of the contract with the objective of minimising the adverse effects of risks and surprises for both Parties.

Depending on the complexity of the goods, it is probably beneficial for the Supply Manager to hold a regular risk register meeting (Clause 16.2).  This could be used to discuss safety, compensation events, subcontracting, overall co-ordination and other matters of a general nature.  Separate meetings for specialist activities such as programming, engineering and design management, may also be warranted.

Describe here the general meetings and their purpose. Provide particulars of approximate times, days, location, and attendance requirements, stipulating that attendees shall have the necessary delegated authority to make decisions in respect of matters raised at such meetings.

The right to hold specialist meetings should be stated generically and in such a way that ambiguity with other parts of the Goods Information is avoided.

The following text could be used as a model for this section:

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Risk register and compensation events | Weekly on ________ at ___ |  |  |
| Overall contract progress and feedback | Monthly on _____ at ___ |  | Purchaser, Supplier, and ___ |

Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## Documentation control

Specify how documentation will be identified with an alpha numeric which indicates source, recipient, communication number etc.  Provide details of any particular format or other constraints; for example that all contractual communications will be in the form of properly compiled letters or forms attached to e mails and not as a message in the e mail itself.  State any particular routing requirements but note from SC who issues what to whom.

## Health and safety risk management

In addition to the requirements of the laws governing health and safety, the Purchaser may have some additional requirements particular to the goods and the location where they are to be delivered for this contract.  This is a requirement of clause 25.4.

The Supplier shall comply with the health and safety requirements [stated here or contained in Annexure ___________ to this Goods Information].

## Environmental constraints and management

Describe or cross refer to environmental constraints applicable to the Supplier’s design of the goods if not already included in the Purchaser’s URS.

The Supplier shall comply with the environmental criteria and constraints [stated here or contained in Annexure ________ ]

## Quality

Specify minimum requirements for the Supplier’s Quality Plan and Work Procedures if required and not already covered in the specifications for the goods.  State whether ISO compliance is a condition and if so which ISO standard shall apply.

## Invoicing and payment

List the information that is to be shown by the Supplier on his invoices.  State any other requirements relating to payment.   For example:

Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.

The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

Name and address of the Supplier and the Supply Manager;

The contract number and title;

Supplier’s VAT registration number;

The Purchaser’s VAT registration number.

Description of goods and services provided for each item invoiced based on the Price Schedule;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

(add other as required)

Add procedures for invoice submission and payment (e. g. electronic payment instructions)

The following Eskom Life Saving Rules applies when entering premises.

a. Open, isolate, earth, bond or and isolate before touch.

b. Hook up at heights.

c. Buckle up.

d. Be sober.

e. Permit to work.

## Insurance provided by the Purchaser

First read SC3 Core Clause 84.1 and then add anything necessary for the management of insurance related issues such as a cross reference to where procedures for making claims can be found.  Also provide contact details for persons capable of being able to answer any insurance related queries the Supplier may have, as well as to whom the information required by any Marine Insurance may be addressed.

## Contract change management

This section is intended to deal with any additional requirements to the compensation event clauses in section 6 of the core clauses; such as the use of standard forms.  Not the same thing as documentation control.

## Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Supplier is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.

The Purchaser may withhold payment of amounts due to the Supplier until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Supplier by the Supply Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Supplier does not affect the Purchaser’s right to termination stated in this contract.

## Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier

Read clause 63.2 and 11.2(4) and then state whether the Supplier is required to keep any records of Defined Cost.  Include any other constraint which may be required in regard to format and filing of the records, and whether access for the Supply Manager shall be provided in hard copy or electronically.

# Procurement

## Subcontracting

### Preferred subcontractors

SC does not make use of nominated subcontracting, but the Purchaser may list which subcontractors or sub-suppliers the Supplier is required to enter into subcontracts with (if any).  This is usually only required where plant and materials need to be obtained from a particular supplier or group of suppliers in order to comply with operational standards for the goods.

### Limitations on subcontracting

The Purchaser may require that the Supplier must subcontract certain specialised work, or that the Supplier shall not subcontract more than a specified proportion of the whole of the contract.

### Spares and consumables

Some contracts may need to include provision for the supply of a minimum category of spares, fuel, oil or other consumables which the Purchaser may need at or just after delivery or commissioning of the goods and that it is best the Supplier provide these initially as part of his Providing the Goods and Services

### Other requirements related to procurement

Other requirements such as ASGISA or socio political enhancements the Supplier is to provide as part of Providing the Goods and Services (if any) could be included here.

### Cataloguing requirements by the Supplier

State whether cataloguing is applicable, if it is, reference the requirements for cataloguing that need to be satisfied by the Supplier (consult Procurement Instruction Number 1 of 2018 – Incorporating Cataloguing into the Procurement Environment, Unique Identifier 240-1289988974).

# List of drawings

## Drawings issued by the Purchaser

This is the list of drawings issued by the Purchaser at or before the Contract Date and which apply to this contract.

| Drawing number | Revision | Title |
| --- | --- | --- |

# C3.2	Supplier’s Goods Information

This section of the Goods Information will always be contract specific depending on the nature of the goods and services. It is most likely to be required for supply contracts where the tendering supplier will have proposed specifications and schedules for the goods and services, which once accepted by the Purchaser prior to award of contract now become obligations of the Supplier per core clause 20.1.

This section could also be compiled as a separate file.

This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.

International Chamber of Commerce, Incoterms 2010, Paris, January 2011

Either April 2013 or December 2009 Edition as stated by Purchaser in Contract Data part 1.

Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902, or www.ecs.co.za