eskom holdings SOC ltd

Contract No. _________
contract title: The SUPPLY AND DELIVERY OF ELECTROSTATIC PRECIPITATOR (ESP) PLANT MECHANICAL SPARES “AS AND WHEN REQUIRED” FOR A PERIOD OF FIVE YEARS AT KRIEL POWER STATION.



Part 2: Pricing Data

NEC3 Supply Contract
	Document reference
	Title
	No of pages

	C2.1
	This cover page

Pricing assumptions
	1
2

	C2.2
	The price schedule 
	6


C2.1 Pricing assumptions
1. How goods and services are priced and assessed for payment
Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

	Identified and defined terms
	11

11.2
	(11) The Prices are the amounts stated in the price column of the Price Schedule.  Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate.


	
	
	(12) The Price Schedule is the price schedule unless later changed in accordance with this contract.



	Assessing the amount due
	50.2
	The amount due is
· the Price for each lump sum item in the Price Schedule which the Supplier has completed, 
· where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate,
· plus other amounts to be paid to the Supplier,

· less amounts to be paid by or retained from the Supplier.
Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due.




This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.
2. Function of the Price Schedule
Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.  
3. Preparing the price schedule
Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has 
· Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;
· Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;
· Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices; 
· Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;
· Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.
3.1. Format of the price schedule
Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier. 

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.
If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule
	ITEM NO
	STOCK NUMBER
	DESCRIPTION
	UNIT
	QUANTITY
	 RATE 
	 AMOUNT 

	1
	53211
	HAMMER: TYPE: COLLECTOR; HEAD WEIGHT: 4; HEAD MATERIAL: STL; HANDLE: STL; COMPLETE  WITH  LEVER,  FULLCRUM  BOLT,  HARDENED  BUSHES,  FOR  BRANDT PRECIPITATORS; 270MM
	EA
	15 600
	 
	 

	2
	53414
	INSULATOR:   TYPE:   TORQUE;   DIMENSIONS:   DIA   70   X   LG   380   MM;   MATERIAL: PORCELAIN; POTENTIAL: 660 V; WITHOUT UNIVERSALS, FOR PRECIPITATOR
	EA
	2500
	 
	 

	3
	222892
	ANVIL:   TYPE:   DISCHARGE   ELECTRODE;   DRAWING   NO:   28-45-54005   REV   1; PRECIPITATOR;  ALL  BOLT  CONNECTIONS  TO  BE  WELDED;  FOR  COMPLETE  UNIT; VENDORS  ARE  RESPONSIBLE  FOR  ENSURING  THAT  THEY  ARE  PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	10 000
	 
	 

	4
	226361
	HAMMER:  TYPE:  PRECIPITATOR;  HEAD  WEIGHT:  5.8  KG;  HEAD  MATERIAL:  MS; HANDLE:  STL;  SUPPL  P/N:  583-6-4-01;  DRAWING  NO:  28.45-54319  REV  1;  NEW PRECIP'S;    FOR   DISCHARGE    RAPPING   SYSTEM;    TYPE:    ROTHEMUHLE,    FOR DISCHARGE FRAMES, FOR UNIT 1,2,3 AND 6.
	EA
	12 000
	 
	 

	5
	53416
	HOOD: SIZE: WD 280 X LG 265 X THK 4 MM; MATERIAL: PTFE; REFERENCE NO: H00D; TEFLON; FOR ELECTROSTATIC PRECIPITATORS; VENDORS ARE RESPONSIBLE FOR ENSURING  THAT  THEY  ARE  PERFORMING  AGAINST  THE  CORRECT  DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	3000
	 
	 

	6
	719708
	COUPLING: TYPE: NEUPEX A; SIZE: 160 MM; MATERIAL: CAST IRON; CONNECTION 1 SIZE: 108 MM; CONNECTION 2 SIZE: 160 MM; PART1:
	EA
	600
	 
	 

	7
	621330
	ROLLER, BEARING: OUTSIDE DIAMETER: 60 MM; LENGTH: 230 MM; MATERIAL: EN9; ALIGNMENT  TYPE:  AXIAL/LINEAR;  INSIDE  DIAMETER:  20  MM;  TYPE:  CE  RAPPER SHAFT PEDESTAL; DRAWING NO: 045.57218 REV 0; MANUFACTURE ACCORDING TO ESKOM STANDARDS; MATERIAL CERTIFICATE REQUIRED FOR THE ROLLERS AND BUSHES;    VENDORS   ARE   RESPONSIBLE   FOR   ENSURING    THAT    THEY   ARE PERFORMING    AGAINST    THE    CORRECT    DRAWING    REVISION    NUMBER    (IF APPLICABLE).
	EA
	2000
	 
	 

	8
	90551
	WASHER:        TYPE:ELECTROSTATIC        PRECIPITATOR;THICKNESS:        5        MM; MATERIAL:TEFLON;SHIELD; 688X688X5MM SQUARE; TEMPERATURE RESISTANT TO 180 DEGREE CELSIUS; FOR PRECIPITATORS.
	EA
	4000
	 
	 

	9
	53452
	SCREEN: TYPE: PRECIPITATOR INLET; DIMENSIONS: WD 698 MM X LG 2.295 M X THK 3  MM;  MESH  SIZE:  35 MM;  MATERIAL: MS;  DRAWING  NO:  ROTEK B920/75C  REV  1; B920/75C  REV  1;  EDGE  30MM  HIGH  X  90 DEG;  VENDORS  ARE  RESPONSIBLE  FOR ENSURING  THAT  THEY  ARE  PERFORMING  AGAINST  THE  CORRECT  DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	2000
	 
	 

	10
	53121
	PAD,  BEARING:  SUPPL  P/N:  KVB3/123/D;  REFERENCE  NO:  KVB/123/D;  SLIDING  V; LOCATING; FOR BRANDT PRECIPITATORS V TYPE DISCHARGE BEARING; VENDORS ARE  RESPONSIBLE  FOR  ENSURING  THAT  THEY  ARE  PERFORMING  AGAINST  THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	680
	 
	 

	11
	53442
	PAD, BEARING: DIMENSIONS: WD 50 X LG 100 X THK 20 MM; MATERIAL: STL; SUPPL P/N:  KVB-123-D;  KVB2-123-D;  SLIDING  V;  FOR  BRANDT  PRECIPITATORS  V;  TYPE DISCHARGE  BEARING;  VENDORS  ARE  RESPONSIBLE  FOR  ENSURING  THAT  THEY ARE  PERFORMING  AGAINST  THE  CORRECT  DRAWING   REVISION  NUMBER  (IF APPLICABLE).
	EA
	1600
	 
	 

	12
	667266
	COUPLING, SHAFT FLEXIBLE: TYPE: DRIVE UNIT; BORE DIAMETER: 160 MM; TORQUE: 560  NM;  MATERIAL:  STL;  SPEED:  4250  RPM;  REFERENCE  NO:  N-UEPEX/B160;  CE SHAFT  TO  CE  GEAR  DRIVE  COUPLING  UNIT;  AMBIENT  TEMP:  -30  TO  80  DEG  C; FATIGUE TORQUE: 84NM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE  PERFORMING  AGAINST  THE  CORRECT  DRAWING   REVISION  NUMBER  (IF APPLICABLE).
	EA
	300
	 
	 

	13
	162244
	BAR,  ROUND:  NOMINAL  DIAMETER:  60  MM;  LENGTH:  6 M;  MATERIAL:  MS  BRIGHT; PROCESS:  MACHINED;  GRADE:  EN3A;  WEIGHT:  22  KG/M;  SPECIFICATION:  BS  970 (070M20);   DRAWING   NO:   0.45/23544   REV   0;   FABRICATE   SLOTTED   KEYWAYS ACCORDING TO ESKOM DRAWING NUMBER; SHAFT TO BE CUT AND TRIMMED ON SITE DURING INSTALLATION.
	KG
	79 200
	 
	 

	14
	29942
	BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 40 MM; OUTSIDE  DIAMETER: 90  MM;  WIDTH:  23 MM;  ROW:  SINGLE;  SUPPL  P/N:  6308-2RS; VENDORS  ARE  RESPONSIBLE  FOR  ENSURING  THAT  THEY  ARE  PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	1200
	 
	 

	15
	226357
	SPROCKET: TEETH: 32; OUTSIDE DIAMETER: 200 MM; BORE: 60 MM; PITCH: 20 MM; ROOT DIAMETER: 170 MM; MATERIAL: STL; SUPPL P/N: 583-6-0-07 3/4"; FOR THE NEW PRECIPITORS DRIVES, FOR UNIT 1, 2, 3 AND 6 OF THE DRIVE MOTOR.
	EA
	240
	 
	 

	16
	161921
	ROPE:  MATERIAL:  COTTON  FIBER  BRAIDED;  DIMENSIONS:  DIA  20  MM  X  LG  30  M; STRUCTURE: 125 STRAND; NON-ASBESTOS, SOFT WHITE.
	KG
	200
	 
	 

	17
	621331
	COLLAR:  DIMENSIONS:  ID  61  X  OD  85  X  THK  20  MM;  MATERIAL:  ST52;  TYPE: LOCATING;  APPLICATIOIN:  COLLECTING  ELECTRODE  SHAFT  ALLIGNMENT  INSIDE PRECIPS.
	EA
	800
	 
	 

	18
	85146
	BOLT, U: NOMINAL SIZE: 60 MM; DIAMETER: M10; INSIDE LENGTH: 110 MM; THREAD LENGTH:  45  MM;  THREAD:  1.5  MM;  MATERIAL:  GMS;  INSIDE  WIDTH:  62  MM;  WITH WASHER INSIDE LENGTH: 110MM; INSIDE WIDTH: 62MM; NOMINAL SIZE: 60MM
	EA
	14 600
	 
	 

	19
	30582
	BEARING,  ROLLER:  TYPE:  SELF  ALIGNING;  INSIDE  DIAMETER:  65  MM;  OUTSIDE DIAMETER: 120 MM; WIDTH: 31 MM; ROW: DOUBLE; SUPPL P/N: 22213 AKE 4C3; NOTE: THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON BEARING AND ORIGINAL PACKED
	EA
	700
	 
	 

	20
	621329
	DOOR,   HATCH:   TYPE:   PRECIP   INSPECTION;   MATERIAL:   AL   GR   LM4   ALLOY; DIMENSIONS:   DIA  570   X   THK   17   MM;   APPLICATION:   PRECIPS;   DRAWING   NO: 0.45/57035  REV  0;  ITEM  TO  BE  MANUFACTURED  AS  PER  ESKOM  REQUIREMENT STANDARD;  HANDLES  INCLUDED; MATERIAL CERTIFICATE REQUIRED  WITH EACH ITEM ON DELIVERY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING    AGAINST    THE    CORRECT    DRAWING    REVISION    NUMBER    (IF APPLICABLE).
	EA
	260
	 
	 

	21
	124020
	COUPLING, SHAFT: TYPE: UNIVERSAL; BORE: 60 MM; OUTSIDE DIAMETER: 92 MM; LENGTH: 65 MM; MATERIAL: STL; SUPPL P/N: KTQ2-456D; KTQ2-123D; PRECIPITATOR TORQUE INSULATOR
	EA
	1460
	 
	 

	22
	226358
	SPROCKET: TEETH: 32; OUTSIDE DIAMETER: 200 MM; BORE: 40 MM; PITCH: 20 MM; ROOT DIAMETER: 170 MM; MATERIAL: STL; SUPPL P/N: 583-6-0-06 3/4"; FOR THE NEW PRECIPITORS DRIVES, FOR UNIT 1, 2, 3 AND 6 OF THE DRIVE SHAFTS
	EA
	1200
	 
	 

	23
	84578
	BOLT, ASSEMBLY: TYPE: GENERAL PURPOSE; NOMINAL DIAMETER: M12; LENGTH: 100 MM; HEAD: HEX; GRADE: 4.6; MATERIAL: MS; THREAD LENGTH: 35 MM; THREAD:
1.75 MM; NUT QUANTITY: 1; NUT MATERIAL: MS; NUT GRADE: 4.6; BOLT PROTECTIVE COATING: BLACK; SPECIFICATION: SABS 135
	KG
	80 000
	 
	 

	24
	55254
	PIPE, METALLIC: NOMINAL PIPE SIZE DESIGNATION: NB 100 MM; MATERIAL: B ASTM A106;  LENGTH:  6  M;  WALL  THICKNESS:  6.02  MM;  CONSTRUCTION:  SEAMLESS; MAXIMUM  OPERATING  PRESSURE:  2  MPA;  SCHEDULE:  40;  MAXIMUM  OPERATING TEMP: 150 DEG C; GRADE: B; PIPE TO BE SUPPLIED WITH 3.1 CEDRTIFICATION AS EN 10204
	EA
	4 500
	 
	 

	25
	56085
	PIPE, METALLIC: NOMINAL PIPE SIZE DESIGNATION: 88.9 MM; MATERIAL: STL GR B ASTM A106; LENGTH: 6 M; WALL THICKNESS: 5.49 MM; CONSTRUCTION: SEAMLESS; END TYPE: PLAIN; SCHEDULE: 40; GRADE: B; SAME AS 55583
	M
	25 000
	 
	 

	26
	620414
	BUSH: TYPE: CONICAL RAPPER BAR; INSIDE DIAMETER: 17 MM; OUTSIDE DIAMETER: 80  MM;  LENGTH:  28  MM;  MATERIAL:  MS;  APPLICATION:  PRECIPS;  SPECIFICATION: SABS 3184 GR 300WA; DRAWING NO: 0.45/58907 REV 1; MATERIAL / TECHNICAL DATA SETS TO BE PROVIDED WITH THE ORDER SUPPLIERS TO USE DRAWING NUMBER OR THE LATEST VERSION
	EA
	73 600
	 
	 

	27
	771840
	BEARING, SLEEVE: TYPE: CIRCULAR SPLIT; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; LENGTH: 116 MM; MATERIAL: A48 GREY CAST IRON; BEARING WITH FOUR HOLES: 4 X M8 X 1.25 MM – 6H. TRANSVERSE PCD X 60 MM.
	EA
	6000
	 
	 

	28
	53415
	SUPPORT:  TYPE:  INSULATOR;  DIMENSIONS:  DIA  188  X  LG  485  MM;  MATERIAL: PORCELAIN; REFERENCE NO: MPM 02-2575
	EA
	800
	 
	 

	29
	34045
	BUSH:  TYPE:  COUPLING;  INSIDE  DIAMETER:  40  MM;  OUTSIDE  DIAMETER:  62  MM; LENGTH: 93.5 MM; MATERIAL: STL; REFERENCE NO: E1/974
	EA
	5 000
	 
	 

	30
	84553
	BOLT, ASSEMBLY: TYPE: GENERAL PURPOSE; NOMINAL DIAMETER: M8; LENGTH: 25 MM; HEAD: HEX; GRADE: 4.6; MATERIAL: MS; THREAD LENGTH: 25 MM; THREAD: 1.25 MM;  NUT  QUANTITY:  1;  NUT  MATERIAL:  MS;  NUT  GRADE:  4.6;  BOLT  PROTECTIVE COATING: BLACK; DIN555; SPECIFICATION: SABS 135
	KG
	50 000
	 
	 

	31
	773439
	DE CARRIER BEAM, 140MM X 60MM X 16MM TFC (TAPERED FLANGED CHANNEL)- 850 MM LG, MIDDLE STIFFER- 150MMX 100MM X 10MM, CORNER STIFFENER- 110MM X 100MM X 10MM AND INNER STIFFENER- 127.60MM X 53.30MM X 10MM, MATERIAL: CARBON STEEL,GRADE S355JR OR S275JR.
	EA
	240
	 
	 

	32
	773335
	BAR, SQUARE: WIDTH: 45 MM; LENGTH: 160 MM; MATERIAL: MILD STEEL; GRADE: S355JR; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	8832
	 
	 

	33
	773326
	ELBOW: TYPE: FITTING; SIZE: 1 IN; CONNECTION: THREADED; MATERIAL: GALVANISED MILD STEEL; DEGREE: 90 DEG; RADIUS: SHORT.
	EA
	768
	 
	 

	34
	773333
	ELBOW: TYPE: FITTING; SIZE: 1 IN; CONNECTION: THREADED; MATERIAL: GALVANISED MILD STEEL; DEGREE: 45 DEG
	EA
	768
	 
	 

	35
	773131
	TEE, PIPE TO TUBE: MATERIAL: GALVANISED MILD STEEL; CONNECTION TYPE: THREADED; NOMINAL PIPE SIZE: 25 MM; NOMINAL THREAD SIZE: 1/4 IN; TUBE OUTSIDE DIAMETER: 33.4 MM; MAXIMUM OPERATING PRESSURE: 2 MPA.
	EA
	768
	 
	 

	36
	772733
	NOZZLE: TYPE: FITTING; SIZE: 1/4 IN; CONNECTION SIZE: OD X 20.4 MM; CONNECTION: THREADED; MATERIAL: 316 STAINLESS STEEL; APPLICATION: ATOMISER
	EA
	768
	 
	 

	37
	771896
	REDUCER: TYPE: CONCENTRIC; NOMINAL SIZE: 25 MM; CONNECTION: THREADED; MATERIAL: GALVANIZED MILD STEEL.
	EA
	768
	 
	 

	38
	771794
	FLANGE: TYPE: WELD NECK; DIMENSIONS: ID 116 X OD 220 X THK 12 MM; MATERIAL: MILD STEEL; ID X 18 MM HOLES ON THE FLAT SECTION OF FLANGE, 175 MM PCD.
	EA
	768
	 
	 

	39
	771742
	GATE, VALVE: TYPE: KNIFE; VALVE SIZE: 4 IN; MATERIAL: 316 STAINLESS STEEL; HANDWHEEL OPERATED VALVE, UNIVERSAL DRILLED AND TAPERED ACCORDING TO SABS 1123; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	768
	 
	 

	40
	771894
	REDUCER: TYPE: CONCENTRIC; NOMINAL SIZE: 125 MM; CONNECTION: BUTT WELD; MATERIAL: MILD STEEL; LG X 127 MM, SCHEDULE 40 – NOMINAL SIZE: OD X 125 MM REDUCED TO OD X 100 MM.; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	500
	 
	 

	41
	771793
	PIPE, METALLIC: NOMINAL PIPE SIZE DESIGNATION: 100 MM; MATERIAL: MILD STEEL; LENGTH: 6 M; WALL THICKNESS: 6.02 MM; SCHEDULE 40.
	EA
	150
	 
	 

	42
	732128
	BAR: TYPE: FLAT; DIMENSIONS: WD 90 X LG 6035 X HT 80 X THK 10 MM; MATERIAL: CARBON STEEL; GRADE: 1215; RAPPER BAR CONSIST OF 8 ITEMS; 2 OFF 6M FLAT BAR  BY  10  THK,  1  OFF  DETAILED  HEAD,  2  OFFSIDE  STIFFENERS,  2  OFFSIDE BRACKETS.
	EA
	1000
	 
	 

	43
	773013
	BAR, ROUND: NOMINAL DIAMETER: 40 MM; GRADE: EN10025; MATERIAL: MILD STEEL; LENGTH: 6 M; FLAT SPOT ARE EQUAL SPACED AT 300 M AND SPIRAL AT 22.5 DEGREES BETWEEN FLAT SPOTS
	EA
	200
	 
	 

	GRAND TOTAL (Excluding Vat)
	 




DOCUMENT C2.1
PAGE 2
PRICING DATA




Part C2: Pricing Data
PAGE 1
C2 SC3 Cover

