# Tender TECHNICAL EVALUATION Strategy

## Technical Evaluation Threshold

Mandatory Technical Evaluation Criteria (gatekeepers) are ‘must meet’ criteria. These criteria shall not be weighted or point scored, but shall be assessed on a Yes/No basis as to whether or not the criteria are met. An assessment of ‘No’ against any criterion shall technically disqualify the tenderer and shall not be further evaluated against Qualitative Criteria.

Qualitative Technical Evaluation Criteria are weighted evaluation criteria used to identify the highest technically ranked tenderer after determining that all the Mandatory Evaluation Criteria have been met. The Qualitative Evaluation Criteria are weighted to reflect the relevant importance of each criterion.

The minimum weighted final score (threshold) required for a tender to be considered from a technical perspective is 70%. The following scoring method will be used:

Table 1: Technical Scoring Methodology

| SCORE | PERCENTAGE (%) | DESCRIPTION |
| --- | --- | --- |
| 5 | 100 | COMPLIANT - Meet the technical requirement(s) AND, - No foreseen technical risk(s) in meeting technical requirements |
| 4 | 80 | COMPLIANT WITH ASSOCIATED QUALIFICATIONS - Meet the technical requirement(s) with, - Acceptable technical risks AND/OR; - Acceptable exceptions AND/OR; - Acceptable conditions |
| 2 | 40 | NON-COMPLIANT - Does not meet the technical requirement(s) AND/OR Unacceptable technical risk(s) AND/OR; - Unacceptable exceptions AND/OR; - Unacceptable conditions |
| 0 | 0 | TOTALLY DEFICIENT/NON-RESPONSIVE |

## MANDATORY Technical Evaluation Criteria

Table 2: Mandatory Technical Evaluation Criteria

|  | Mandatory Technical Criteria Description | Reference to Technical Specification / Tender Returnable | Motivation for use of Criteria |
| --- | --- | --- | --- |
|  | Has the Tenderer confirmed that the test equipment that they offer on this tender, complies to the set minimuim technical and functional specification as listed in the technical specification document. The unit can not be a hand held device. The machine must be serviced locally. (Calibration and minor repairs) | Tender Returnables – Does the equipment being offered compare to the technical specification and the required functionality. This should also include the supply or incorporated function of a electronic data logging, storage and analysing system. Local back up support is essential. | The test equipment being offered must match or better the minimuim set technical specification. This will ensure that the machine can match the current requirements of test apparatus currently being used, both technically and in functionality. Local support will ensure quick turn around time. |

## Qualitative Technical Evaluation Criteria

The weight for the technical review will be 100 % with a minimum threshold of 70% and will be based on the following:

Table 3: Qualitative Technical Evaluation Criteria

|  | Qualitative Technical Criteria Description |  |  | Reference to Technical Specification / Tender Returnable | Criteria Weighting (%) | Criteria Sub Weighting (%) |
| --- | --- | --- | --- | --- | --- | --- |
|  | SUPPLY MULTI-FUNCTION TEST EQUIPMENT FOR HV EQUIPMENT |  |  |  | 5 |  |
|  | 1.1 | Regstered Company with a track record of 5 completed projects as a minimum; for supply of High Voltage Breaker Analyzing Tester and accessories for a HV Enviroment. |  | Tender returnable – Company Profile and proof to be submitted with reference to 5 sales of HV test equipment in the South African market |  | 100 |
|  | SUPPLY MULTI-FUNCTION TEST EQUIPMENT FOR HV EQUIPMENT |  |  |  | 5 |  |
|  | 2.1 | Technical sales personel/ Engineer with a track record of 5 completed projects as a minimum; for testing, advising and interpretention of results. |  | Tender returnable – Company Profile and proof to be submitted with reference to 5 completed projects sales of HV test equipment. |  | 100 |
|  | Design of Multi Test equipment |  |  |  | 10 |  |
|  | 3.1 | Certificates for: IEC or Equivalent recognised Standard Vibration:IEC60068-2-6 Shock:IEC60068-2-27 Safety:IEC61010-1 |  | Tender returnable – Copies of test certificates from independent laboratories proving compliance with the above standards |  | 100 |
|  | Application or measurements |  |  |  | 35 |  |
|  | 4.1 | The machine must be able to perform the following tests The unit can perform and analyze - Main and auxiliary contact timing / synchronization. - Main contact travel analysis. - Dynamic Resistance Measurement. (DRM) - Mechanical Motion / Travel curve tests. - Control voltage circuit tests. - Static Contact Resistance testing. (µΩ) |  | Tender returnable – Tenderers will score points if the tester can perform all the tests, Add on devices will not be scored. |  | 100 |
|  | Completed technical schedule of the multi-function HV test equipment as listed under the technical data sheets of annexure 1 |  |  |  | 15 |  |
|  | 5.1 | The Tenderer is to provide a complete and comprehensive technical data sheet of the proposed Breaker analyser / timing tester and the tests it can perform as listed under the technical data sheets section. |  | Tender returnable - The technical datasheet is to be supplemented by additional descriptions, explanations, ratings, measurements and all other information necessary for a clear understanding of the proposed equipment to be supplied. |  | 100 |
|  | General |  |  |  | 30 |  |
|  | 6.1 |  | Technical proposal, meeting the required scope. | Technical proposal to include the following as a minimum: - Functionality to be matched or improved. - Machine components and accessories supplied must meet the requierments to carry out required tests. |  | 100 |
|  | 6.2 |  | Proposed work plan -indicating intent to undertake delivery and support. -Training to be provided. -calibration intervals | Tender Returnables (Preliminary schedule showing lead times ,delivery dates and training.) These are to align with the Eskom requirement of being done Yearly |  |  |
|  | 6.3 |  | Lead time to supply the proposed equipment must be within 30 days of receiving order. | An agreed date whereby to supply tester and accessories after contract award. |  |  |
|  |  |  |  |  | TOTAL: 100 |  |

The scoring criteria are as follows:

| Qualitative Technical Evaluation Criteria |  | Score [0,2,4,5] | Scoring Criteria |
| --- | --- | --- | --- |
|  | Professionally Registered Technologist/Engineer with a track record of 5 completed projects and test field experience in the testing department as a minimum. |  | The sale in terms of this Contract is to be executed by a qualified professional Technologist/Engineer who is a member of Engineering Council of South Africa (ECSA) or equivalent international acknowledgement. 5 = Formal BSc/Btech qualification or equivalent international acknowledgement, and has 6 or more years working experience on HV equipment testing 4 = Formal BSc/Btech qualification or equivalent international acknowledgement, but has 4 to 5 years working experience on HV equipment testing 2 = Formal BSc/Btech qualification or equivalent international acknowledgement, but less than 3 years working experience on HV equipment testing 0 = Has less than 3 years’ experience and no formal BSc/Btech qualification or equivalent international acknowledgement on HV equipment testing |
|  | General Sales personell /Technician qualification and experience on similar in the field of testing |  | 5 = Formal Electrical Trade Test or equivalent international acknowledgement, but has 5 or more years working experience in construction, commissioning and testing of HV equipment. 4 = Formal Electrical Trade Test or equivalent international acknowledgement, but has 3 or more years working experience in construction, commissioning and testing of HV equipment 2 = No formal Electrical Trade Test or equivalent international acknowledgement, but has 3 or more years working experience in construction, commissioning and testing of HV equipment. 0 = No formal Electrical Trade Test on on HV equipment testing or equivalent international acknowledgement. |
|  | Completed technical specification of multi-function test equipment |  | 5 = Technical schedules completed in full and completely supplemented by additional descriptions, advantages and benefits 4 = Technical schedules completed in full, however only partial supplemented by additional descriptions, advantages and benefits 2 = Technical schedules completed in full, but not supplemented by additional descriptions, advantages and benefits 0 = No completed Technical specification |
|  | Technical proposal meeting scope requirement |  | 5 = Excellent response which demonstrates the ability to deliver the service far in excess of minimum requirements. 4 = Good response detailing clearly how the service will be delivered above and beyond the minimum requirements. 2 = Barely adequate levels of required scope proposal. 0 = Less than minimum level of required scope proposal or irrelevant. |
|  | Calibration -Calibration shall be a standard contract item,and shall cover carlibration service and transportation back to the user Support. -Local repair and support within 14 days. -Technically shall be available locally on email or telephone via a competent person Guarantee -the unit and accessories shall be guaranteed for a period of 5 years of activity |  | 5 = All three conditions of proposed work plan have been met. 4 = Only two conditions of proposed work plan have been met. 2 = Only one condition of proposed work plan have been met. 0 = None of conditions of proposed work plan have been met. |
|  | Lead time to deliver and respond to technical challenges from the customer. |  | 5 = 1 week or less. 4 = Between 1 and 2 weeks. 2 = Between 3 and 4 weeks. 0 = More than 4 weeks. |