{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["PRICING SCHEDULE"],"not_rendered":{"images":1,"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"PRICING SCHEDULE","index":0,"n_rows":30,"n_cols":15,"rows_kept":30,"merged":[[11,3,11,5],[11,6,11,8],[11,9,11,11],[26,1,29,1],[26,3,26,4],[28,3,28,4],[29,3,29,4]]}
[null,"SUPPLY CHAIN MANAGEMENT"]
[null,"Pricing schedule"]
["RFB ","2752-2023"]
["RFx Title","Appointment of a specialist contractor to provide maintenance services for the back-up power equipment (viz. generators, switchgears, fuel tanks, distribution boards and power points) for the Pietermaritzburg Data Centre for a period of 36 months"]
["Bidder Name "]
[]
["1. INSTRUCTION FOR COMPLETING THE PRICING SCHEDULE"]
["(a)  Bidder must complete/enter YELLOW cells only"]
["(b)  Unit and Line prices must be VAT EXCLUSIVE and in South African Rand (ZAR) currency."]
["(c) The price must include all cost to deliver the goods or render the service, including all applicable taxes, duty fees, logistics/delivery, storage, labour, overtime and subsistance and travel"]
[]
[{"$nulls":3},"YEAR 1",null,null,"YEAR 2",null,null,"YEAR 3",null,null,"TOTAL"]
["Item No","Goods/Service description","Unit of measure","Qty ","Unit Price \n(Excl VAT)","Line Price Y1","Qty","Unit Price \n(Excl VAT)","Line Price Y2","Qty","Unit Price \n(Excl VAT)","Line Price Y3","Line Price Term \n(Excl VAT)","BRAND / MODEL","Price clarification comment"]
[{"$nulls":5},{"$f":"SUBTOTAL(9,F15:F18)","v":0},null,null,{"$f":"SUBTOTAL(9,I15:I18)","v":0},null,null,{"$f":"SUBTOTAL(9,L15:L18)","v":0},{"$f":"SUBTOTAL(9,M15:M18)","v":0}]
[1,"Preventative Maintenance: Monthly Checks and Emergency Standby/Callouts","monthly",12,0,{"$f":"D15*E15","v":0},12,0,{"$f":"G15*H15","v":0},12,0,{"$f":"J15*K15","v":0},{"$f":"SUM(F15,I15,L15)","v":0}]
[2,"Minor Service - 600kVA Dorman AMF Generators ","Annual",2,0,{"$f":"D16*E16","v":0},2,0,{"$f":"G16*H16","v":0},2,0,{"$f":"J16*K16","v":0},{"$f":"SUM(F16,I16,L16)","v":0}]
[3,"Replace generator batteries annually (3) - 2 batteries per generator - Six (6) in total","Annual",1,0,0,1,0,0,1,0,0,{"$f":"SUM(F17,I17,L17)","v":0}]
[4,"MajorService - 600kVA Dorman AMF Generators ","Annual",2,0,0,2,0,0,2,0,0,0]
[5,"Annual Service – Fuel System ","Annual",1,0,0,1,0,{"$f":"G19*H19","v":0},1,0,0,{"$f":"SUM(F19,I19,L19)","v":0}]
[6,"Service – Switch Gears ","Annual",1,0,{"$f":"D20*E20","v":0},1,0,0,1,0,{"$f":"J20*K20","v":0},0]
[7,"Annual Service of Electrical Distribution Boards","Annual",1,0,0,1,0,0,1,0,0,0]
[null,"TOTAL BID PRICE  (EXCL VAT)",{"$nulls":3},{"$f":"SUBTOTAL(9,F14:F21)","v":0},null,null,{"$f":"SUBTOTAL(9,I14:I21)","v":0},null,null,{"$f":"SUBTOTAL(9,L14:L21)","v":0},{"$f":"SUBTOTAL(9,M14:M21)","v":0}]
[null,"VAT (@15%)",{"$nulls":3},{"$f":"F22*0.15","v":0},null,null,{"$f":"I22*0.15","v":0},null,null,{"$f":"L22*0.15","v":0},{"$f":"M22*0.15","v":0}]
[null,"TOTAL  BID PRICE (INCL VAT)",{"$nulls":3},{"$f":"F22+F23","v":0},null,null,{"$f":"I22+I23","v":0},null,null,{"$f":"L22+L23","v":0},{"$f":"M22+M23","v":0}]
[]
[]
[null,"I, the bidder, confirm that the price(s) and rate(s) quoted cover all the goods and/or works specified in the bidding documents; that the price(s) or rate(s) cover all my obligations and I accept that any mistakes regarding price(s), rate(s) or calculations will be at my own risk.\n[Note: First convert to PDF, then add signature]"]
[null,null,"Name","Capacity"]
[]
[null,null,"Signature (above)","Date"]