Request for Proposal (RFP)

Network cabling installation at HSRC Cape Town Office

The Human Sciences Research Council (HSRC) requests proposals from reputable, technically competent and experienced Service Providers to bid for Network Cabling installation at their Cape Town office. This will be the installation of the below detailed network points.

Description of requirements

Cape Town Office – Network Cabling Installation

| Quantity | Description |
| --- | --- |
| 40 | 24 port cat 5e UTP patch panel fully populated |
| 1 | 24 port cat 6 UTP patch panel fully populated |
| 8 | 24 port LC fibre patch panel |
| 750 | 4 Core Multi Mode Fibre Optic Cable |
| 16 | Entry Glands |
| 64 | Fibre Pigtail |
| 18 | Fibre Splice Cassette |
| 64 | LC Mid couplers MM |
| 16 | LC-LC Patch Leads - 2m - fly leads per cabinet |
| 64 | Splice Protectors 60mm |
| 64 | Splicing & OTDR Testing |
| 750 | Hauling (Fibre Cable) |
| 525 | Cat5 cabling points |

Standard Requirements of the Bidder

Accreditation

The bidder must provide documentary proof of any applicable accreditation from the relevant body/s for delivering similar services.

Functionality

The minimum threshold score is 80%.

Bidders who fail to obtain the minimum threshold score of 80% will be disqualified.

| FUNCTIONALITY | Allocated Points |
| --- | --- |
| Experience Proof that the Service Provider has been in existence and in practice and providing the required Cabling Installation and Support services during this period. A minimum of 5 years’ experience in cabling and network installations as per the bill of quantities (CAT 6, Fibre and Splicing). - 5 years’ experience (20 points) - 7 and more years’ experience (30 points) | 20 |
| Track Record Bidders are to submit minimum three (3) relevant contactable reference letters where the proposed installation of network cabling and support project was successfully implemented in the past five (5) years. Reference letters will only be considered valid if they meet the following criteria: - if on an official client letterhead. - if it makes reference to provision of similar services. - if not older than 5 years. - if signed and dated by relevant personnel. One letter (5 points) Two letters (10 points) Three letters (30 points) | 30 |
| Project Plan and Approach All project requirements, proposed tasks, services, activities, resources, etc., necessary to accomplish the scope of the project, must be detailed here. This section of the proposal must contain sufficient detail to convey to members of the evaluation team, the bidding organization’s knowledge of the project’s requirements and requisite skills to successfully complete the project. A comprehensive project schedule indicating deliverables and deadlines must be included. All project deliverables must be met within the stipulated timeframes. | 30 |
| Capacity of Service Provider Submit a structured composition of the proposed team, clearly outlining the main disciplines/ specialities of the key personnel responsible for the installations. Provide detailed resume of the Project Manager who will oversee and ensure successful provisioning of all aspects on this project. | 20 |
| TOTAL | 100 |