Field Scale specification

- Floor scale with stainless steel pan

- Pan of at least 500x400mm

- Internal battery for work in the field

- Capacity of 75 – 150kg

- Readability of 2 – 5g

- Adjustable feet and built in spirit level preferred

- Quotes to be accompanied by brochure outlining all other specifications of the brand and model quoted