{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":21,"n_cols":3,"rows_kept":21}
[null,"Descrition","Quantity"]
[1,"90mm PVC Female thread ball valve",2]
[2,"Saddle clamp, 90mm x 25mm",15]
[3,"Nylon insert elbow 25mm",15]
[4,"Nylon male adaptor 25mm",15]
[5,"Blue PVC pipe, 90mm x 6m",15]
[6,"PVC pipe glue 500ml",10]
[7,"Black polypipe LDPE, class 3, 25mm x 100m roll",8]
[8,"Black polypipe LDPE, class 3, 20mm x 100m roll",2]
[9,"Nylon insert reducing coupler 25mm x 20mm",15]
[10,"Gulf micro head, blue swivel, brown nozzle & delivery, 30L/H",320]
[11,"Micro flex tube 600mm + barb",320]
[12,"400mm Peg",320]
[13,"90mm PVC elbow",10]
[14,"90mm PVC tee",2]
[15,"PVC male adaptor 90mm",2]
[16,"Thread tape",10]
[17,"90mm PVC end cap",1]
[18,"Delivery to Addo, Eastern Cape",1]
[]
[null,"REQ-080632"]