Annexure 1: Bid Specification:  RFB 3075-2024-Supply, Delivery and Installation of Uninterruptible Power Supplies, 48-port Power over Ethernet Switches, Wireless Access Points, Training and Cabling for Limpopo Provincial Treasury

TECHNICAL, PRICING AND PREFERENCE POINTS REQUIREMENTS

# Contents

1.	Introduction	3

1.1	Purpose	3

1.2	Background	3

2.	Scope of Bid	3

2.1	Scope of Work	3

2.2	Delivery address	3

3.	Requirements	3

3.1	Product, Service and Solution Requirements	3

4.	Bid Evaluation Stages	5

4.1	Administrative responsiveness (Stage 1)	5

4.1.1	Attendance of briefing session	5

4.1.2	Registered Supplier	5

4.2	Technical returnable documents	5

4.2.1	Instruction and evaluation criteria	5

4.2.2	Technical mandatory requirements (Stage 2)	6

4.3	Special Conditions of Contract Verification (Stage 3)	7

4.3.1	Special Conditions of Contract	7

4.3.2	Contracting Conditions	7

4.3.3	Delivery Address	7

4.3.4	Delivery schedule	7

4.3.5	Supplier Performance Reporting	8

4.3.6	Skills Transfer and training	8

4.3.7	Certification, Expertise and Qualification	8

4.3.8	Logistical Conditions	8

4.3.9	Regulatory, Quality and Standards	8

4.3.10	Security screening and clearance requirements	9

4.3.11	Confidentiality and non -disclosure conditions	9

4.3.12	Guarantee and warranties	10

4.3.13	Intellectual Property Rights	11

4.3.14	Counter Conditions	11

4.3.15	Fronting	11

4.3.16	Supplier Due Diligence	12

4.3.17	Preference Goal Requirements conditions	12

4.3.18	Declaration of compliance and acceptance SCC	12

Annex A: Bidder substantiating evidence	19

5.	Technical Mandatory Requirement Evidence	19

5.1	Bidder Certification / Affiliation Requirements	19

5.2	Bidder Experience and Capability Requirements	19

5.3	Technical product /Service Functional Requirements	19

5.4	Preference Points Preferential Goals Evidence	20

Annex B: Addendum 1	21

# Introduction

## Purpose

The purpose of this RFB is to invite Suppliers (hereinafter referred to as “bidders”) to submit bids for the “Supply, Delivery and Installation of Uninterruptible Power Supplies, 48-port Power over Ethernet Switches, Wireless Access Points, Training and Cabling for Limpopo Provincial Treasury (LPT).

## Background

The department requested the network equipment stated under scope. The equipment is essential for protecting equipment and providing connectivity.

# Scope of Bid

## Scope of Work

The scope of work for the bidders is as follow:

- 12 UPS units

- 13 PoE switches

- 47 Wireless access points

- Skill transfer training on UPS

- 3-year warranty on UPS and batteries, switches and wireless access points

- Cabling

  - Cat 6 50 meters.

  - 12 port Patch Panel.

  - CAT 6 Patch leads (1 metre)

  - CAT 6 Flyleads (3 metre)

  - Surface mount wall boxes for LAN points

- Supply, Delivery and Installation of Uninterruptible Power Supplies, 48-port Power over Ethernet Switches, Wireless Access Points

## Delivery address

- Ismini Towers, 46 Hans Van Rensburg Street, Polokwane.

- Finance House, 58 President Paul Kruger str, Polokwane.

- Internal Audit, 27 Hans Van Rensburg str, Polokwane.

# Requirements

## Product, Service and Solution Requirements

- BOM

| Specifications |  |  |
| --- | --- | --- |
| Item | Description | QTY |
| 1 | UPS units: Technical Specifications Capacity: - VA Rating: 5000 - Double conversion online Output Power Factor - 0.9 to ensure efficient power usage. Backup Time - Minimum backup time of 30 minutes at full load to allow for safe shutdown or generator switch-over. Input Specifications - Input Voltage Range: Typically, 220-240V. - Input Frequency: 50/60 Hz auto-sensing. Output Specifications - Output Voltage: 220-240V - Output Frequency: 50/60 Hz (auto-select based on input frequency). - Waveform Type: Pure sine wave. Battery - Type: Maintenance-free sealed Lead-Acid battery with suspended electrolyte or Li-ion phosphate batteries. - Hot-swappable: Yes, for ease of maintenance without shutting down the UPS. - Recharge Time: Maximum of 4 hours to 90% capacity. Topology - Online double-conversion for highest protection level. Efficiency - Minimum 94% in online mode to reduce energy consumption and heat output. Connectivity - Communication Ports: USB, Serial, Ethernet for network management. - Network Management Card: Included, with support for SNMP, HTTP, and remote management software. Protection Features - Type 2 Surge Protection: Against spikes and surges. - Short Circuit Protection: To prevent damage during faults. - Overload Protection: Automatic bypass in case of overload. Monitoring and Alarms - LCD Display: For status and diagnostics. - Audible Alarms: Configurable for different events (power loss, battery low, overload). - Software: For monitoring and management, compatible with Windows, Linux, and other common operating systems. - Operating Environment - Temperature: 0°C to 40°C (32°F to 104°F). - Humidity: 0% to 95% non-condensing. - Delivery and Installation - Detailed delivery schedule. - Installation and commissioning services included. | 12 |
| 2 | 48-Gigabit ethernet port PoE switches: - Layer 3 Switch - Ports: 48 Gigabit Ethernet Ports with POE + - Rack-mountable Form Factor - Switching capacity 176 Gbps - Multimode SFPs | 13 |
| 3 | Wifi Access points: - High-performance, ceiling-mounted WiFi 6E access point designed to provide seamless, multi-band coverage within high-density client environments. - WiFi standards 802.11a/big WiFi 4/WiFi 5/WiFi 6/WiFi 6E - Wireless security WPA-PSK, WPA Enterprise (WPA/WPA2/WPA3) - WiFi6 (4x4 MIMO) - Minimum 1 Gbps bandwidth | 47 |

# Bid Evaluation Stages

The bid evaluation process consists of four stages, according to the nature of the bid. A bidder must qualify for each stage to be eligible to proceed to the next stage of the evaluation. The stages are:

Table 1: Bid Evaluation Stages

| Stage | Description | Applicable for this bid YES/NO |
| --- | --- | --- |
| Stage 1 | Administrative requirement | YES |
| Stage 2 | Technical Mandatory requirements | YES |
| Stage 3 | Special Conditions of Contract verification | YES |
| Stage 4 | Price / Preference points | YES |

## Administrative responsiveness (Stage 1)

### Attendance of briefing session

- A compulsory virtual briefing session. The bidder must sign the briefing session attendance register using the same information (bidder company name, bidder representative person name and contact details) as submitted in the bidder’s response document. Any bidder who fails to attend the compulsory briefing session.

### Registered Supplier

- Only responses from bidders who are registered as a Supplier on National Treasury’s Central Supplier Database (CSD) in terms of National Treasury’s Instruction Note 4A of 2016/17 will be considered for award on this RFB.

## Technical returnable documents

### Instruction and evaluation criteria

- The bidder must comply with ALL the requirements as per the Technical Mandatory Requirements below by providing substantiating evidence in the form of documentation or information, failing which it will be regarded as “NOT COMPLY”.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response.

- The bidder must comply with ALL the TECHNICAL MANDATORY REQUIREMENTS for the bid response to proceed to the next stage of the evaluation.

### Technical mandatory requirements (Stage 2)

Table 2: Technical Mandatory Requirements

| Mandatory Requirements | Substantiating evidence of compliance (used to evaluate bid) | Evidence reference (to be completed by bidder) |
| --- | --- | --- |
| 1. Bidder Certification/ Affiliation Requirements |  |  |
| The bidder must be a registered OSM/OEM partner to supply, deliver and install UPS, switches, wireless access points and cabling. | Attach to ANNEX A, a copy of valid documentation (certificates or letters) from OSM/OEM indicating that the bidder is a registered OSM/OEM partners to Provide UPS, switches, wireless access points and cabling. The certificate/letter must have the following information: (a)OEM’s name (b) end or expiry date (c)the bidder’s name, (d) the bidder is a registered OSM/OEM partners to Provide UPS, switches, wireless access points and cabling. Note (1): All letters or certificates must be dated, signed and on a letterhead of the entity that issued it. NOTE (2): SITA reserves the right to verify information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex A, par 5.1> |
| 2. Bidder Experience and Capability Requirements |  |  |
| The bidder must have provided UPS, switches, wireless access points and cabling to at least one (1) customer during the past four (4) years from the closing date of this bid. | Provide reference details of customers to whom the UPS, switches, wireless access points and cabling was delivered during the past four (4) years from the closing date of this bid. Reference information must be provided on Annex A, par 5.2, table 6 below. NOTE (1): SITA reserves the right to verify information provided. Note (2): Failure to complete Table 6 fully as indicated above will result in disqualification. | <provide unique reference to locate substantiating evidence in the bid response – see Annex A, par 5.2, table 6> |
| 3. Technical Product, Service and Solution Requirements |  |  |
| The bidder must confirm compliance to the Product, Service and Solution requirements. | The bidder must confirm that they comply with the Product, Service Functional Requirements by completing Annex B: Addendum 1. NOTE: SITA reserves the right to verify information provided. | <Provide unique reference to locate substantiating evidence in the bid response – see Annex A, par 5.3 and Annex B> |

## Special Conditions of Contract Verification (Stage 3)

- The successful supplier will be bound by Government Procurement: General Conditions of Contract (GCC) as well as this Special Conditions of Contract (SCC), which will form part of the signed contract with the successful Supplier. However, SITA reserves the right to include or waive the condition in the signed contract.

- SITA reserves the right to:

  - Negotiate the conditions; or

  - Automatically disqualify a bidder for not accepting these conditions; or

- If the bidder qualifies the proposal with own conditions and does not specifically withdraw such own conditions when called upon to do so, SITA will invoke the rights reserved in accordance with subsection 4.3. (b) above.

### Special Conditions of Contract

### Contracting Conditions

- Formal Contract - The supplier must enter a formal written contract (agreement) with SITA.

- Right to Audit - SITA reserves the right, before entering a contract, to conduct or commission an external service provider to conduct a financial audit or probity to ascertain whether a qualifying bidder has the financial wherewithal or technical capability to provide the goods and services as required by this tender.

### Delivery Address

The installation will take place on the following addresses.

- Ismini Towers, 46 Hans Van Rensburg Street, Polokwane.

- Finance House, 58 President Paul Kruger str, Polokwane.

- Internal Audit, 27 Hans Van Rensburg str, Polokwane.

### Delivery schedule

- The scope of work (Section 2.1) must be completed within 4 weeks after the award.

- The Supplier is responsible to perform the work as outlined in the following Breakdown Structure (WBS):

| WBS | Statement of Work | Delivery Timeframe |
| --- | --- | --- |
|  | Supply, delivery and installation of UPS, switches, wireless APs and cabling | 4 weeks after the award. |

- UPS Total Load Capacity: The UPS should support at least 150% of the load capacity to accommodate future expansion.

- Provide user manuals, installation guides, and maintenance schedules for the UPS, switches, and access points.

### Supplier Performance Reporting

Reports need to be provided on a weekly basis to SITA/Client during the design, installation and implementation phase of the project; weekly written reports are to be presented to the SITA/Client on the progress of the preceding week until installation process has been completed.

### Skills Transfer and training

The Supplier must provide training on how the UPS Battery should be operated to ensure that SITA Management and Technical staff knows the product and its function.

### Certification, Expertise and Qualification

- The bidder certifies that:

  - it has the necessary expertise, skill, qualifications and ability to undertake the work required or defined in the scope and BOM.

  - it is committed to provide the Products or Services; and

  - perform all obligations detailed herein without any interruption to the Customer

  - it has been certified for the Products and Services required

- The bidder must ensure that work or service is performed by a person who is certified by Original Equipment Manufacturer or Original Software Manufacturer

### Logistical Conditions

- Hours of Work

  - Office hours are defined as business working hours of the customer and is Mondays to Fridays between 07:30 and 16:00

  - After hours of the customer during weekdays are from 16:00 to 07:30

- Client environment

  - If SITA grants the bidder access to SITA's Environment including hardware, software, internet facilities, data, telecommunication facilities and/or network facilities remotely, the Supplier must adhere to SITA's relevant policies and procedures (which policy and procedures are available to the Supplier on request) or in the absence of such policy and procedures, in terms of, best industry practice

- Tools of Trade

  - The bidder is expected to use its own resources (cell phone, laptops etc) to communicate with its own offices or outside of the SITA/Client buildings, including all tools and equipment to render the services effectively.

### Regulatory, Quality and Standards

- IEC/EN 62040-1 (Safety), IEC/EN 62040-2 (EMC), and IEC/EN 62040-3 (Performance)

- Bidders must for the duration of the contract ensure compliance with General Quality Standards, ISO 9001 and Protection of Personal Information Act (POPIA).

- Certifications - CE, UL, and/or other regional safety certifications and RoHS compliant

### Security screening and clearance requirements

  - Company security screening: The supplier may be required to undergo a company security screening conducted by the State Security Agency (SSA). Should the SSA find the supplier not suitable after the conduct of the security screening, the business relationship will be terminated. The following documentation will be required for the company security screening process to be conducted:

    - Copy of company registration documentation.

    - Copy(ies) of identity documentation of Director(s), Member(s) or Trustee(s);

    - Copy of valid tax clearance certificate.

  - Security suitability check for individuals: SITA may, at its own discretion and in line with its policies and procedures, require employees of the supplier to be subjected to a security suitability check before commencement of a project or delivering of a service. The security suitability check is conducted by SITA in order to ensure that individuals meet the minimum-security requirements and also to verify personal information. The supplier will be required to replace any employee(s) who is found to be not suitable after the conduct of the security screening. The following documentation will be required for the security suitability check:

    - Copy of identity document.

    - Copy(ies) of qualification(s) if SITA requires verification thereof.

    - Fingerprints – will be taken electronically.

    - Signed consent form for the conduct of background checks.

  - Security clearance: A security clearance, issued by either the SSA or Defence Intelligence (DI) is required if any employee of the supplier will have or may gain access to classified information throughout the duration of the project or in the process of delivering a service. The level of security clearance required – Confidential, Secret or Top Secret, will be determined at the sole discretion of SITA. The supplier will have to replace any employee who do not qualify for a security clearance or is found not suitable by the SSA or DI. The following documentation will be required for the security clearance process:

    - Completed Z204 or DD1057 security clearance application form.

    - Fingerprints.

    - Personal documentation of the applicant, including but not limited to, identity document, passport, marriage certificate (if applicable), divorce order (if applicable), qualifications, salary advice and bank statements.

### Confidentiality and non -disclosure conditions

- The Supplier, including its management and staff, must before commencement of the Contract, sign a non-disclosure agreement regarding Confidential Information

- Confidential Information means any information or data, irrespective of the form or medium in which it may be stored, which is not in the public domain, and which becomes available or accessible to a Party as a consequence of this Contract, including information or data which is prohibited from disclosure by virtue of:

  - the Promotion of Access to Information Act, 2000 (Act no. 2 of 2000);

  - being clearly marked "Confidential" and which is provided by one Party to another Party in terms of this Contract.

  - being information or data, which one Party provides to another Party or to which a Party has access because of Services provided in terms of this Contract and in which a Party would have a reasonable expectation of confidentiality.

  - being information provided by one Party to another Party in the course of contractual or other negotiations, which could reasonably be expected to prejudice the right of the non-disclosing Party.

  - being information, the disclosure of which could reasonably be expected to endanger a life or physical security of a person.

  - being technical, scientific, commercial, financial and market-related information, know-how and trade secrets of a Party.

  - being financial, commercial, scientific or technical information, other than trade secrets, of a Party, the disclosure of which would be likely to cause harm to the commercial or financial interests of a non-disclosing Party; and

  - being information supplied by a Party in confidence, the disclosure of which could reasonably be expected either to put the Party at a disadvantage in contractual or other negotiations or to prejudice the Party in commercial competition; or

  - information the disclosure of which would be likely to prejudice or impair the safety and security of a building, structure or system, including, but not limited to, a computer or communication system; a means of transport; or any other property; or a person; methods, systems, plans or procedures for the protection of an individual in accordance with a witness protection scheme; the safety of the public or any part of the public; or the security of property; information the disclosure of which could reasonably be expected to cause prejudice to the defence of the Republic; security of the Republic; or international relations of the Republic; or plans, designs, drawings, functional and technical requirements and specifications of a Party, but must not include information which has been made automatically available, in terms of the Promotion of Access to Information Act, 2000; and information which a Party has a statutory or common law duty to disclose or in respect of which there is no reasonable expectation of privacy or confidentiality;

- Notwithstanding the provisions of this Contract, no Party is entitled to disclose Confidential Information, except where required to do so in terms of a law, without the prior written consent of any other Party having an interest in the disclosure.

- Where a Party discloses Confidential Information which materially damages or could materially damage another Party, the disclosing Party must submit all facts related to the disclosure in writing to the other Party, who must submit information related to such actual or potential material damage to be resolved as a dispute.

- Parties may not, except to the extent that a Party is legally required to make a public statement, make any public statement or issue a press release which could affect another Party, without first submitting a written copy of the proposed public statement or press release to the other Party and obtaining the other Party's prior written approval for such public statement or press release, which consent must not unreasonably be withheld.

### Guarantee and warranties

- The supplier confirms that:

  - The warranty of goods supplied under this contract remains valid for the duration of the contract after the goods were delivered, installed and commissioned with a sign off, including the clients signature

  - as at Commencement Date, it has the rights, title and interest in and to the Product or Services to deliver such Product or Services in terms of the Contract and that such rights are free from any encumbrances whatsoever.

  - the Product is in good working order, free from Defects in material and workmanship, and substantially conforms to the Specifications, for the duration of the Warranty period.

  - Minimum 3-year warranty on UPS and batteries, switches and Wireless access points

### Intellectual Property Rights

- SITA retains all Intellectual Property Rights in and to SITA's Intellectual Property. As of the Effective Date, the Supplier is granted a non-exclusive license, for the continued duration of this Contract, to perform any lawful act including the right to use, copy, maintain, modify, enhance and create derivative works of SITA's Intellectual Property for the sole purpose of providing the Products or Services to SITA pursuant to this Contract; provided that the Supplier must not be permitted to use SITA's Intellectual Property for the benefit of any entities other than SITA without the written consent of SITA, which consent may be withheld in SITA's sole and absolute discretion. Except as otherwise requested or approved by SITA, which approval is in SITA's sole and absolute discretion, the Supplier must cease all use of SITA's Intellectual Property, at of the earliest of:

  - termination or expiration date of this Contract.

  - the date of completion of the Services; and

  - the date of rendering of the last of the Deliverables

- If so, required by SITA, the Supplier must certify in writing to SITA that it has either returned all SITA Intellectual Property to SITA or destroyed or deleted all other SITA Intellectual Property in its possession or under its control

- SITA, at all times, owns all Intellectual Property Rights in and to all Bespoke Intellectual Property.

- Save for the license granted in terms of this Contract, the Supplier retains all Intellectual Property Rights in and to the Supplier’s pre-existing Intellectual Property that is used or supplied in connection with the Products or Services

- Provide SITA with the compliant Occupational Health and Safety File (required on site for period of installation and proof of compliance).

### Counter Conditions

Bidders’ attention is drawn to the fact that amendments to any of the Bid Conditions or setting of counter conditions by bidders may result in the invalidation of such bids.

### Fronting

- The SITA supports the spirit of Broad Based Black Economic Empowerment and recognizes that real empowerment can only be achieved through individuals and businesses conducting themselves in accordance with the Constitution and in an honest, fair, equitable, transparent and legally compliant manner. Against this background the SITA will not condone any form of fronting.

- The SITA, in ensuring that bidders conduct themselves in an honest manner will, as part of the bid evaluation processes, conduct or initiate the necessary enquiries/investigations to determine the accuracy of the representation made in bid documents. Should any of the fronting indicators as contained in the Guidelines on Complex Structures and Transactions and Fronting, issued by the Department of Trade and Industry, be established during such enquiry/investigation, the onus will be on the bidder / contractor to prove that fronting does not exist. Failure to do so within a period of 14 days from date of notification may invalidate the bid / contract and may also result in the restriction of the bidder/contractor to conduct business with the public sector for a period not exceeding ten (10) years, in addition to any other remedies SITA may have against the bidder/contractor concerned.

### Supplier Due Diligence

- SITA reserves the right to conduct supplier due diligence prior to final award or at any time during the Contract period and this may include pre-announced / non-announced site visits. During the due diligence process the information submitted by the bidder will be verified and any misrepresentation thereof may disqualify the bid or Contract in whole or parts thereof.

### Preference Goal Requirements conditions

- The Bidder’s commitment for the Preference Goal Requirements in this tender will be legally binding and the Bidder needs to perform against their commitment for the duration of the contract which will form part of the Contractual Agreement.

- The Bidder must sustain or improve the company’s BBBEE Level for the duration of the contact which will form part of the Contractual Agreement.

- Performance of Preference Goal Requirements will be determined annually. Bidders must submit their Preference status report indicating progress against the Bidder’s Preferential commitments within 30 days of the yearly anniversary of the contract.

- Bidders need to keep auditable substantive records / evidence and upon request by SITA/Department must be made available for audit and, or due diligence purposes.

- SITA reserves the right to require from a Bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim with regards to preferences, in any manner required by SITA.

- SITA reserves the right to verify information / evidence provided by the Bidder.

- SITA/Department reserves the right to introduce a penalty of 1% of the overall annual year spent by SITA/Department for the prior year if the Bidder fails to comply to paragraphs (a), (b) and (c) above.

### Declaration of compliance and acceptance SCC

I (we), the bidder hereby declare that I (we) accept ALL the Special Conditions of Contract as specified in par 4.3.2 above and shall comply with all stated obligations:

Name of Bidder: _____________________________	Signature: _________________________

Date: ______________

  - Costing and Preference Evaluation (Stage 4)

    - Costing and pricing evaluation

- In terms of the SITA Preferential Procurement Policy (PPP), the following preference point system is applicable for this Bid:

  - the 80/20 system (80 Price, 20 Specific Goals) for requirements with a Rand value of up to R50 000 000 (all applicable taxes included);

- The Bidder must complete the 80/20 preference point system based on the offer submitted by the Bidder and submit proof of documentation required in terms of this tender.

- SITA reserve the right to apply the 80/20, preference point system based on the following conditions:

  - If the lowest acceptable bid price is up to and including R50 000 000 (all applicable taxes included) then the 80/20 preferential point system will apply to all acceptable bids; or

- Points will be allocated for each of the Preferential Goal Requirements for this tender as indicated in table 5, dependant on paragraphs (2) and (3) above.

- Points for this tender shall be awarded for:

  - Price; and

  - Preference points for specific goals.

The maximum points for this tender will be allocated as follows, subject to paragraph 4 above.

Table 3: Points allocation

| Description | Points |
| --- | --- |
| Price | 80 |
| Preference points for specific goals | 20 |
| Total points for Price and preference points for specific goals | 100 |

    - Costing and pricing evaluation

- South African pricing

The total price must be VAT inclusive and be quoted in South African Rand (ZAR), payable yearly or monthly.

- Total price

  - Bidder will be bound by the following general costing and pricing conditions and SITA reserves the right to negotiate the conditions or automatically disqualify the bidder for not accepting these conditions:

  - All quoted prices are the total price for the entire scope of required services and deliverables to be provided by the bidder.

  - The cost of delivery, labour, S&T, overtime, etc. must be included in this bid.

  - All additional costs must be clearly specified.

  - The delivery of service and support will be paid annually for the active year.

  - SITA reserves the right to negotiate pricing with the successful bidder prior to the award as well as envisaged quantities.

  - These conditions will form part of the Contract between SITA and the bidder. However, SITA or the department reserves the right to include or waive the condition in the Contract.

  - The bidder must complete the declaration of acceptance as per section 4.4.6 below by marking with an “X” either “ACCEPT ALL”, or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified

    - Bid Pricing Schedule

# Bidders must complete the bid pricing schedule in the Excel spreadsheet format provided and include this as part their submission.

# Note:

# Bidders must complete and submit bid pricing in the provided Excel spreadsheet format, and any pricing schedule submitted in a different format will not be considered.

    - Rate of Exchange Pricing Information

Provide the TOTAL BID PRICE for the duration of Contract and clearly indicate the Local Price and Foreign Price, where –

- Local Price means the portion of the TOTAL price that is NOT dependent on the Foreign Rate of Exchange (ROE) and.

- Foreign Price means the portion of the TOTAL price that is dependent on the Foreign Rate of Exchange (ROE).

- Exchange Rate means the ROE (ZA Rand vs foreign currency) as determined at time of bid.

    - Bid Exchange Rate Conditions

The bidders must use the exchange rate provided below to enable SITA to compare the prices provided by using the same exchange rate:

| Foreign currency | South African Rand (ZAR) exchange rate |
| --- | --- |
| 1 US Dollar | R 18,30 |
| 1 Euro | R 19,90 |
| 1 Pound | R 23,62 |

NOTE (1):

The ROE indicated above is to ensure a competitive bidding process.

NOTE (2):

This bid is subject to ROE.

    - Declaration of acceptance

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The bidder declares to ACCEPT ALL the Costing and Pricing conditions as specified in section 4.4.2 above by indicating with an “X” in the “ACCEPT ALL” column, or - The bidder declares to NOT ACCEPT ALL the Costing and Pricing Conditions as specified in section 4.4.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and; - Provide reason and proposal for each of the condition not accepted. |  |  |
| Comments by bidder: Provide the condition reference, the reasons for not accepting the condition. |  |  |

  - Preference requirements

    - Instruction and point allocation

- The bidder must complete in full all the PREFERENCE requirements.

- Allocation of points per requirements: The points allocation of bidders’ responses to the requirements will be determined by the completeness, relevance and accuracy of substantiating evidence.

- Points will be allocated for each PREFERENCE requirement as per the criteria set in each section in the table 4 below.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response. During evaluation, SITA reserves the right to treat substantiation evidence that cannot be located in the bid response, as “NOT COMPLY”. The evidence needs to be attached to ANNEX A.

- Preference Goal Requirements:

  - The Bidder must complete 80/20 preference point system based on the offer submitted by the Bidder and submit proof or documentation required in terms of this tender.

  - The specific Preferential Goal Requirements for this tender is indicated in table 4 below.

  - The Bidder must indicate their commitment to claim points for each of the preference points by signing at par 4.5 in the Invitation to Bid document.

  - Failure on the part of a bidder to submit proof or documentation required or to comply to paragraph (d) above in terms of this tender to claim preference points for the Preference Goal Requirements for this tender, will be interpreted to mean that preference points are not claimed.

  - The Bidder’s commitment for the Preference Goal Requirements in this tender will be legally binding and the Bidder needs to perform against their commitment for the duration of the contract which will form part of the Contractual Agreement.

  - The Bidder must sustain or improve the company’s B-BBEE Level for the duration of the contact which will form part of the Contractual Agreement.

  - Performance of Preference Goal Requirements will be determined annually. Bidders must submit their Preference status report the Limpopo Provincial Treasury indicating progress against the Bidder’s Preferential commitments within 30 days after each quarter from the commencement date of the contract.

  - Bidders need to keep auditable substantive records / evidence and upon request by the department must be made available for audit and, or due diligence purposes.

  - SITA/ the department reserves the right to require from a Bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim with regards to preferences, in any manner required by SITA/ the department.

  - SITA reserves the right to verify information / evidence provided by the Bidder.

  - the department reserves the right to introduce a penalty of 1% of the overall annual year spent by the department for the prior year if the Bidder fails to comply to paragraphs (e), (f) and (g) above.

Table 4: Preference Goal Requirements (Specific Goals)

| Preference Goal Requirement # | Preferential Goal Requirements | Preferential Goal Requirements |  |
| --- | --- | --- | --- |
|  | Preferential Goal Requirements allocated for this tender | Substantiating evidence and evidence reference to be completed by bidder. Evaluation per requirement: Each requirement indicated in the table below must be completed and points will be allocated based on the evidence required below | Evidence Reference |
|  | B-BBEE Requirements |  |  |
| 1) | B-BBEE Requirements Promotion of Transformational Objectives. | Evidence: The Bidder must provide a copy of the following relevant evidence for the Preferential Goal points which the Bidder qualifies for: - Columns A, B, C and D in tables 5 # Copy of relevant proof of the following to confirm the B-BBEE status of the contributor as defined in the Broad-Based Black Economic Empowerment Act: - B-BBEE certificate (from a SANAS Accredited Agency/ the department. # or # Sworn affidavit in the format provided by CIPC - Applicable to EMEs and QSEs only. # and/ or - Column D in tables 5 # Copy of South African Identification Document (ID); and/ or - Column E in tables 5 # Copy of Medical Certificate clearly indicating the disability in line with the B-BBEE status claimed as defined in the Broad-Based Black Economic Empowerment Act. Note: The CIPC (Companies and Intellectual Property Commission) registration documents will also be used as evidence to confirm compliance to the Preferential procurement requirements as part of the evaluation process. Points allocation: Points will be allocated for bidders that meets the requirements as indicated in table 5. | <provide unique reference to locate the substantiating evidence in the bid response – Annex A, section 5.4> |

Table 5: B-BBEE Points as part of the Preference Goal requirements (Preferential Goal Requirements for (80/20) system)

Note: Bidder to select the section for points they wish to claim (Mark as Y=Yes) in the table below.

|  |  |  |  | Ownership |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Reference # | Contributor Level as defined in the Broad-Based Black Economic Empowerment Act | EME/QSEs | Black Owned (BO) (51% or more) | Black Woman Owned (BWO) (More than 30%) | Youth Owned | Owned by People living with disabilities | Score | Bidder to select the section for points they wish to claim (Mark as Y= Yes) |  |
|  |  |  | (A) | (B) | (C) | (D) | (E) | (F) |  |  |
|  | 1 | Level 1 | 6 | 4 | 4 | 4 | 2 | 20 |  |  |
|  | 2 | Level 1 | 6 | 4 | 2 | 2 | 0 | 14 |  |  |
|  | 3 | Level 1 | 6 | 4 | 2 | 0 | 0 | 12 |  |  |
|  | 4 | Level 1 | 6 | 4 | 0 | 0 | 0 | 10 |  |  |
|  | 5 | Level 2 and 3 | 4 | 2 | 1 | 1 | 1 | 9 |  |  |
|  | 6 | Level 2 and 3 | 4 | 2 | 1 | 1 | 0 | 8 |  |  |
|  | 7 | Level 2 and 3 | 4 | 2 | 1 | 0 | 0 | 7 |  |  |
|  | 8 | Level 2 and 3 | 4 | 2 | 0 | 0 | 0 | 6 |  |  |
|  | 9 | Level 4 and 5 | 2 | 1 | 0,5 | 0,5 | 0,5 | 4,5 |  |  |
|  | 10 | Level 4 and 5 | 2 | 0,5 | 0,5 | 0,5 | 0 | 3,5 |  |  |
|  | 11 | Level 4 and 5 | 2 | 0,5 | 0,5 | 0 | 0 | 3 |  |  |
|  | 12 | Level 4 and 5 | 2 | 0,5 | 0 | 0 | 0 | 2,5 |  |  |
|  | 13 | Level 6 | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | 14 | Level 7 | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | 15 | Level 8 | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | 16 | Non-Contributor | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | Total Maximum Score Allocation: |  | 20 |  |  |  |  |  |  |  |
|  | F= A+B+C+D+E |  |  |  |  |  |  |  |  |  |

Bidder substantiating evidence

# Technical Mandatory Requirement Evidence

## Bidder Certification / Affiliation Requirements

- Attach a copy of a valid documentation (certificate or letter) from OSM/OEM indicating the bidder is accredited to supply, deliver, install UPS, switches, wireless access points and cabling. (Refer par 4.2.2 above).

NOTE (1):

SITA reserves the right to verify information provided.

## Bidder Experience and Capability Requirements

- Complete table below, noting that:

  - Provide reference details of customers to whom the project or service was delivered.

  - References may include multiple customers.

  - Project end-date must be current or not older than four (4) years from date this bid is advertised.

  - Scope of work must be related.

Table 6: References

| No | Company Name | Reference person name, contact details | Project Scope of Work | Project start and end date |
| --- | --- | --- | --- | --- |
| 1 | <Company name> | <Person Name> <Tel> <email> | < Provide scope details of a project from a customer to whom a project or service was delivered for the supply, delivery and installation of UPS, switches, wireless access points and cabling > | Start Date: End Date: |
| 2 |  |  |  |  |

NOTE (1):

SITA reserves the right to verify information provided.

Note (2):

Failure to complete Table 6 fully as indicated above will result in disqualification.

## Technical product /Service Functional Requirements

The bidder must confirm that they comply with the Product / Service Functional Requirements by completing Annex B: Addendum 1.

## Preference Points Preferential Goals Evidence

Evidence:
The Bidder must provide a copy of the following relevant evidence for the Preferential Goal points which the Bidder qualifies for:

- Columns A, B, C and D in tables 5

# Copy of relevant proof of the following to confirm the B-BBEE status of the contributor as defined in the Broad-Based Black Economic Empowerment Act:

        - B-BBEE certificate (from a SANAS Accredited Agency/ the department.

# or

# Sworn affidavit in the format provided by CIPC - Applicable to EMEs and QSEs only.

# and/ or

- Column D in tables 5

# Copy of South African Identification Document (ID); and/ or

- Column E in tables 5

# Copy of Medical Certificate clearly indicating the disability in line with the B-BBEE status claimed as defined in the Broad-Based Black Economic Empowerment Act.

Note:

The CIPC (Companies and Intellectual Property Commission) registration documents will also be used as evidence to confirm compliance to the Preferential procurement requirements as part of the evaluation process.

Points allocation:
Points will be allocated for bidders that meets the requirements as indicated in table 5 above.

Addendum 1

NB: The bidder must confirm that they comply with the following Service / Product Functional Requirements as indicated below as this will be legal contractual binding:

| Ismini Towers |  |
| --- | --- |
| Description | QTY |
| UPS units | 12 |
| 48-Gigabit ethernet port PoE switches | 13 |
| Wifi Access points | 47 |

I, the bidder (Full names) …………………………………………………. representing (company name) ……………………………………………………………. Hereby confirm that I comply with the above Technical Mandatory Requirements and understand that it will form part of the contract and is legally binding.

Thus, done and signed at ……………………………………. On this………day of……………….20….

……………………………….

Signature

Designation: