{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["All Gens","Base Tank Gens"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"All Gens","index":0,"n_rows":34,"n_cols":19,"rows_kept":34,"merged":[[3,0,5,0],[3,1,5,1],[3,2,5,2],[3,3,5,3],[3,9,5,9],[3,10,5,10],[3,11,5,11],[6,0,7,0],[6,1,7,1],[6,2,7,2],[6,3,7,3],[6,9,7,9],[6,11,7,11],[9,0,10,0],[9,1,10,1],[9,2,10,2],[9,3,10,3],[9,11,10,11],[31,0,33,0],[31,1,33,1]],"flags":["formulas_cached_only"]}
["K.S.I.A. - Generator details."]
[]
["Location","Outdoor/ Indoor","Code","Generator Size","Engine make","Serial Number","Engine type","Alternator make","Alternator type","Bulk tank capacity","Day / base tank capacity","Max. Tank capacity","Consumption l / hr @ full load"]
["Main Terminal Building","Indoor","TMB A1","3 x 1250","Perkins","DGKM2038U11179S","4012 TWG 2","Leroy Somer","LL 8124 L",23000,2200,25200,264]
[{"$nulls":4},"Perkins","DGKM2038U11181S","4012 TWG 2","Leroy Somer","LL 8124 L",{"$nulls":3},264,{"$nulls":3},25200,264]
[{"$nulls":4},"Perkins","DGKM2038U11145S","4012 TWG 2","Leroy Somer","LL 8124 L",{"$nulls":3},264]
["Airside corridoor","Indoor","TMB A2","2 x 500","Volvo",2016085149,"TAD 734 GE","Mecc Alte","ECO 38 - 1 LN / 4",2200,900,4000,53.1,{"$nulls":4},95.45454545454545,3]
[{"$nulls":4},"Volvo",2016085143,"TAD 734 GE","Mecc Alte","ECO 38 - 1 LN / 4",null,900,null,53.1]
["Multi-storey parkade","Indoor","MSP P1",500,"Volvo",2016035460,"TAD 1641 GE","Mecc Alte","ECO 40 - 3 S",4500,1000,5500,107.9,{"$nulls":4},31.818181818181817]
["Control Tower","Indoor","CT 1","2 x 450","Volvo","D16*034967*C3*4","TAD 1642 GE","Mecc Alte","ECO 40 - 2 S / 4",4500,1000,11000,98.9]
[{"$nulls":4},"Volvo","D16*035459*C3*A","TAD 1642 GE","Mecc Alte","ECO 40 - 2 S / 4",4500,1000,null,98.9]
["Airfield sub 1","Indoor","AS1",800,"Perkins","DGDF2005421062S","4006 - 23 TAG 3A","Leroy Somer","LL 7024 P","2 x 4500",1000,10000,163]
["Airfield sub 2","Indoor","AS2",150,"Volvo",5310637235,"TAD 731 GE","Mecc Alte","ECP 34 - 2 L / 4",2200,1000,3200,31.2]
["Airfield sub 3","Indoor","AS3",150,"Volvo",5310637234,"TAD 731 GE","Mecc Alte","ECP 34 - 2 L / 4",2200,1000,3200,31.2]
["Airfield sub 4","Indoor","AS4",800,"Perkins","DGDF2005421057S","4006 - 23 TAG 3A","Leroy Somer","LL 7024 P","2 x 4500",1000,10000,163]
["Fuel Farm","Oudoor","FFM",400,"Volvo","D12*634889*D1*A","TAD 1242 GE","Mecc Alte","ECO 40 - 1 S",null,1000,1000,85.1]
["Passenger apron area 1","Oudoor","MS-A1",135,"Perkins","U890764S","2614 / 1500","Leroy Somer","LL 3014 F",null,616,616,31.2]
["Passenger apron area 2","Oudoor","MS-A2",135,"Perkins","U890888S","2614 / 1500","Leroy Somer","LL 3014 F",null,616,616,31.2]
["Passenger apron area 4","Oudoor","MS-A4",135,"Perkins","U892306S","2614 / 1500","Leroy Somer","LL 3014 H",null,616,616,31.2]
["Crash, fire, rescue","Oudoor","CFR",135,"Perkins","U883675P","2614 / 1500","Leroy Somer","LL 3014 H",null,616,616,31.2]
["Maintenance building 1","Oudoor","MB 1",135,"Perkins","U890889S","2614 / 1500","Leroy Somer","LL 3014 F",null,616,616,31.2]
["Maintenance building 2","Oudoor","MB 2",135,"Perkins","U885521P","2332 / 1800","Leroy Somer","LL 3014 F",null,616,616,31.2]
["Cargo apron","Oudoor","MS-CA",135,"Perkins","U878011P","2332 / 1800","Leroy Somer","LL 3014 F",null,616,616,31.2]
["Security gate","Oudoor","MS-SG",135,"Perkins","U88558P","2332 / 1800","Leroy Somer","LL 3014 F",null,616,616,31.2]
["Forward fuel depot","Oudoor","FFD",135,"Perkins","U886181P","2614 / 1500","Leroy Somer","LL 3014 H",null,300,300,31.2]
["Northwaste treatment plant","Oudoor",null,250,"Volvo",5310782820,"TAD 940 GE","Mecc Alte","ECO 38 - 2 LN / 4",2200,1000,3200,53.8]
["Southwaste treatment plant","Oudoor",null,250,"Volvo",5310782817,"TAD 940 GE","Mecc Alte","ECO 38 - 2 LN / 4",2200,1000,3200,3.8]
["Outside parking","Oudoor",null,40,"Perkins","U166395","1103 A - 33 TG 1","Leroy Somer","LL 2014 B",null,616,616,9.4]
["Mobile ","Indoor",null,800,"Perkins","DGDF2005422051S","4006 - 23 TAG 3A","Leroy Somer","LL 7024 P",null,936,936,163]
["State Protocol","Oudoor",null,185,"Volvo",5310749218,"TAD 732 GE","Mecc Alte","ECO 38 - 2 SN",null,1018,1018,42.4]
["Car Rental","Oudoor",null,277,"Volvo","D9A2A7009189237","TAD 940 GE","Marelli","MJB 315 SA 4",null,1000,1000,63.8]
["MB 3 Building","Indoor","MB3",18.75,"Kipor","0738060060","KDE19STA",{"$nulls":3},38,38]
[null,null,"MB3",18.75,"Kipor",null,"KDE19STA",{"$nulls":3},38,38]
[null,null,"MB3",18.75,"Kipor",null,"KDE19STA",{"$nulls":3},38,38]

{"sheet":"Base Tank Gens","index":1,"n_rows":22,"n_cols":9,"rows_kept":22,"merged":[[0,0,0,5],[1,0,1,5],[19,0,21,0]],"flags":["formulas_cached_only"]}
["Generators that require Base Tank replacement"]
[]
["Location","Generator Size","Engine make","Serial Number","Engine type","Alternator make","Alternator type","Day / base tank capacity","Max. Tank capacity"]
["Fuel Farm",400,"Volvo","D12*634889*D1*A","TAD 1242 GE","Mecc Alte","ECO 40 - 1 S",1000,1000]
["Passenger apron area 1",135,"Perkins","U890764S","2614 / 1500","Leroy Somer","LL 3014 F",616,616]
["Passenger apron area 2",135,"Perkins","U890888S","2614 / 1500","Leroy Somer","LL 3014 F",616,616]
["Passenger apron area 4",135,"Perkins","U892306S","2614 / 1500","Leroy Somer","LL 3014 H",616,616]
["Crash, fire, rescue",135,"Perkins","U883675P","2614 / 1500","Leroy Somer","LL 3014 H",616,616]
["Maintenance building 1",135,"Perkins","U890889S","2614 / 1500","Leroy Somer","LL 3014 F",616,616]
["Maintenance building 2",135,"Perkins","U885521P","2332 / 1800","Leroy Somer","LL 3014 F",616,616]
["Cargo apron",135,"Perkins","U878011P","2332 / 1800","Leroy Somer","LL 3014 F",616,616]
["Security gate",135,"Perkins","U88558P","2332 / 1800","Leroy Somer","LL 3014 F",616,616]
["Forward fuel depot",135,"Perkins","U886181P","2614 / 1500","Leroy Somer","LL 3014 H",300,300]
["Northwaste treatment plant",250,"Volvo",5310782820,"TAD 940 GE","Mecc Alte","ECO 38 - 2 LN / 4",1000,3200]
["Southwaste treatment plant",250,"Volvo",5310782817,"TAD 940 GE","Mecc Alte","ECO 38 - 2 LN / 4",1000,3200]
["Outside parking",40,"Perkins","U166395","1103 A - 33 TG 1","Leroy Somer","LL 2014 B",616,616]
["Mobile ",800,"Perkins","DGDF2005422051S","4006 - 23 TAG 3A","Leroy Somer","LL 7024 P",936,936]
["State Protocol",185,"Volvo",5310749218,"TAD 732 GE","Mecc Alte","ECO 38 - 2 SN",1018,1018]
["Car Rental",277,"Volvo","D9A2A7009189237","TAD 940 GE","Marelli","MJB 315 SA 4",1000,1000]
["MB 3 Building",18.75,"Kipor","0738060060","KDE19STA",null,null,38,38]
[null,18.75,"Kipor",null,"KDE19STA",null,null,38,38]
[null,18.75,"Kipor",null,"KDE19STA",null,null,38,38]