STATE INFORMATION TECHNOLOGY AGENCY (SOC) LTD

Registration number 1999/001899/30

BID SPECIFICATION

| RFB Ref. No: | RFB 2784-2023 |
| --- | --- |
| RFB DESCRIPTION: | Upgrade Of All Ablution Facilities Areas With New Tiles, Toilets, Toilet Mechanisms, Basins, Taps, Vanities, Mirrors, Ceiling Tiles And Light Fittings - Erasmuskloof And Centurion |
| PUBLICATION DATE: | 03 August 2023 |
| VENDOR COMLUSORY BRIEFING SESSION AND COMPULSORY SITE VISIT | Compulsory Physical Briefing and Site Visit will be held as follows: Date: 14 August 2023 Time: 09:00 am (South African Time) Venue: SITA Erasmuskloof. Apollo building. Auditorium. Note: The session will first start with Vendor briefing session, then move on to the site visit in SITA Erasmuskloof and finish off with the site visit in SITA Centurion. SITA Erasmuskloof Address: 459 Tsitsa Street Erasmuskloof Pretoria 0048 SITA Centurion: 459 John Vorster Dr Centurion Pretoria 0048 |
| CLOSING DATE FOR QUESTIONS / QUERIES | 21 August 2023 at 16:30 PM |
| CLOSING DATE: | Date: 28 August 2023 Time: 11:00 am (South African Time) PLACE: TENDER OFFICE, PONGOLA IN APOLLO, 459 TSITSA STREET, ERASMUSKLOOF, PRETORIA (HEAD OFFICE) |
| BID VALIDITY PERIOD | 200 Days from the Closing Date |

PROSPECTIVE BIDDERS MUST REGISTER ON NATIONAL TREASURY’S CENTRAL SUPPLIER DATABASE PRIOR TO SUBMITTING BIDS.

Contents

ANNEX A:	INTRODUCTION	3

1.0	PURPOSE AND BACKGROUND	3

1.1	PURPOSE	3

1.2	BACKGROUND	3

2.	SCOPE OF BID	3

2.1.	SCOPE OF WORK	3

2.2.	REQUIREMENTS	5

2.3. DELIVERY ADDRESS	72

2.4	CUSTOMER INFRASTRUCTURE AND ENVIRONMENT REQUIREMENTS	72

3.	BID EVALUATION STAGES	73

ANNEX A.1:	ADMINISTRATIVE PRE-QUALIFICATION	74

4.	ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS	74

4.1	ADMINISTRATIVE PRE-QUALIFICATION VERIFICATION	74

4.2	ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS	74

5.	TECHNICAL MANDATORY REQUIREMENTS	75

5.1.	INSTRUCTION AND EVALUATION CRITERIA	75

5.2.	TECHNICAL MANDATORY REQUIREMENTS	75

5.3.	DECLARATION OF COMPLIANCE	77

ANNEX A.2:	SPECIAL CONDITIONS OF CONTRACT (SCC)	78

6.	SPECIAL CONDITIONS OF CONTRACT	78

6.1.	INSTRUCTION	78

6.2.	SPECIAL CONDITIONS OF CONTRACT	78

6.3.	DECLARATION OF COMPLIANCE	87

ANNEX A.3:	COSTING AND PREFERENCE	89

7.	COSTING AND PREFERENCE	89

7.1.	COSTING AND PREFERENCE EVALUATION	89

7.2.	COSTING CONDITIONS	89

3.	BID PRICING SCHEDULE	90

7.3.	DECLARATION OF ACCEPTANCE	90

7.4.	PREFERENCE REQUIREMENTS	90

7.4.1	INSTRUCTION AND POINT ALLOCATION	90

ANNEX A.4:	TERMS AND DEFINITIONS	94

8.	ABBREVIATIONS	94

ANNEX B:	BIDDER SUBSTANTIATING EVIDENCE	95

8.	MANDATORY REQUIREMENT EVIDENCE	95

8.1	BIDDER EXPERIENCE AND CAPABILITY REQUIREMENTS	95

8.2	CIDB RATING	96

8.3	TECHNICAL PRODUCT/ SERVICE FUNCTIONAL REQUIREMENTS	96

8.4	PREFERENTIAL GOAL REQUIREMENTS	96

- ANNEX A:	INTRODUCTION

# 1.0	PURPOSE AND BACKGROUND

## 1.1	PURPOSE

The purpose of this RFB is to invite Suppliers (hereinafter referred to as “bidders”) to submit bids for Upgrade of all ablution facilities areas with new tiles, toilets, toilet mechanisms, basins, taps, vanities, mirrors, ceiling tiles and light fittings at SITA Erasmuskloof and Centurion.

## 1.2	BACKGROUND

The aim of this project is to revive the outdated, and in some instances dysfunctional, ablution facilities in order to create a conducive and pleasant environment to SITA inhabitants and visitors. SITA requires the services of a reputable, qualified and competent service provider to do renovations and execute quality work before, during and after the project.

It is envisaged that the scope of work will comprise of the full upgrade and replacement of all toilet fittings, plumbing and electrical work, tiling, and ceiling of the current ablution facilities, as outlined in detail under point 2: Scope of Work below.

Site briefing and site visit for both sites will be compulsory. The project will be completed in phases and within the time frames to be agreed upon. It is important that bidders are satisfied as to the nature and extent of the work to be done as well as, the value of the materials to be removed in the ablution facilities.

# 2.	SCOPE OF BID

## 2.1.	SCOPE OF WORK

The scope of work consists of the following main project milestones in all identified bathrooms:

a)	Uninstall and remove old dilapidated suspended ceilings, including the grids.  Replace with new ceilings, only where specified in the table below;

b)	Removal of old tiles, disconnect old toilet pans, cisterns and toilet seats including urinals, sauna’s, flush masters, washbasins, counter tops and mirrors and toilet cubicle panels/partitions;

c)	Patch and prepare the areas to receive new installations and fittings;

d)	Supply and installation of new ceiling tiles and LED lights and fittings;

e)	Supply and installation of new wall and floor tiles, as per the table below;

f)	Supply and installation of toilet cubicle panels/partitions with its finishes and proper ironmongery, new counter tops and mirrors;

g)	Supply and installation of new full toilet fittings and urinals from the service shaft (with its proper piping and plumbing requirements, excluding the service shafts pipes for both buildings), washbasins and water taps, and shower heads, where specified;

h)	Supply and installation of hygiene equipment, i.e. jumbo toilet roll holders, electric hand dryers, toilet paper rollers, hand & seat sanitizer’s dispensers and urinal sanitizer dispensers (where specified in the table below);

i)	Supply and fix safety/explanatory bathroom signage’s at the main bathroom doors;

j)	Cleaning and clearing of all debris after every shift, leaving the space clean and free of all rubble;

k) 	All bathroom entrance doors to be painted with chalk brush enamel paint, the colour to match the inside of the renovated bathrooms;

l) 	Supply and Install wall mounted waste paper bins.

## 2.2.	REQUIREMENTS

| - ERASMUSKLOOF HEAD OFFICE |  |  |  |  |
| --- | --- | --- | --- | --- |
| FLOOR LEVEL | AREA 1 | AREA 2 | TOTAL m² | DESCRIPTION |
| L4 North | Executive Bathroom | Female | 12m² | Toilet and accessories: - - 3x top flush white close couple set with soft close seat. |
|  |  |  |  | Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 3x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. |
|  |  |  |  | Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (2200mmx500mm); - Frameless mirror (2.2mx1m); - 2x dura-square counter top washbasins (600mmx400mm) with waste outlet and 2x water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. |
|  |  |  |  | Ceiling and Lights:- - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof - 6 x New LED down lights and fittings 5.5w |
|  |  | Male | 12m² | Toilet/ Urinal and accessories: - - 2x top flush white close couple set with soft close seat; - 1x urinal with automatic flushing system. |
|  |  |  |  | Dispensers: - - 2x stainless steel jumbo roll round toilet roll dispenser; - 2x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine; - 2x urinal automatic sanitizer dispenser on the wall. |
|  |  |  |  | Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1200mmx500mm); - Frameless mirror (1.2mx1m); - 2x dura-square counter top washbasins (600mmx400mm) with waste outlet and 2x water tap mixer); - 2x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. |
|  |  |  |  | Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof - 6 x New LED down lights and fittings 5.5w |
| L4 | Boulevard | Female | 46m² | Toilet/ Urinal and accessories: - - 8x top flush white close couple set with soft close seat. Dispensers: - - 8x stainless steel jumbo roll round toilet roll dispenser; - 8x satin wall mounted seat sanitiser dispensers; - 2x satin wall mounted automatic air freshener timing fragrance sprayer container; - 2x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (4500mmx500mm); - Frameless mirror (4.5mx1m) ; - 1x full height wall to wall dressing mirror and 1x modern bench (1200x600mm); - 6x dura-square counter top washbasins (600mmx400mm) with waste outlet and 6x water tap mixer); - 2x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor:- - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 8x full height toilet cubicle panels/framed partitions – cream white colour (incl. two new panels). Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 20 x New LED down lights and fittings 5.5w 1x paraplegic toilet upgrade with its accessories, granite stone counter top, washbasin, electric hand dryer, hand and seat sanitizer dispenser and mirror, jumbo roll round toilet roll dispenser and 1 cubicle panel door. |
|  |  | Male | 44m² | Toilet/ Urinal and accessories: - - 5x Urinal automatic sanitizer dispenser on the wall; 5x top flush white close couple set with soft close seat; - 5x urinals with automatic flushing system. Dispensers: - - 5x stainless steel jumbo roll round toilet roll dispenser; - 5x satin wall mounted seat sanitiser dispensers; - 2x satin wall mounted automatic air freshener timing fragrance sprayer container; - 2x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top 4500mmx500mm); - Frameless mirror (4.5mx1m); - 1x full height wall to wall dressing mirror and 1x modern bench (1200x600mm); - 5x dura-square counter top washbasins (600mmx400mm) with waste outlet and 5x water tap mixer); - 2x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 5x full height toilet cubicle panels/framed partitions – cream white colour (incl. two new panels). Ceiling and Lights - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 12 x New LED down lights and fittings – 5.5w. 1x paraplegic toilet upgrade with its accessories, granite stone counter top, washbasin, electric hand dryer, hand and seat sanitizer dispenser and mirror, jumbo roll round toilet roll dispenser and 1 cubicle panel door. |
| L3 | Boulevard | Female | 46m² | Toilet/ Urinal and accessories: - - 8x top flush white close couple set with soft close seat. Dispensers: - - 8x stainless steel jumbo roll round toilet roll dispenser; - 8x satin wall mounted seat sanitiser dispensers; - 2x satin wall mounted automatic air freshener timing fragrance sprayer container; - 2x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin - 1x new vanity slab made of white shimmer granite stone counter top (4500mmx500mm); - Frameless mirror (4.5mx1m); - 1x full height wall to wall dressing mirror and 1x modern bench (1200x600mm); - 6x dura-square counter top washbasins (600mmx400mm) with waste outlet and 6x water tap mixer); - 2x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 8x full height toilet cubicle panels/framed partitions – cream white colour (incl. two new panels). Ceiling and Lights - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 20 x New LED down lights and fittings – 5.5w 1x paraplegic toilet upgrade with its accessories, granite stone counter top, washbasin, electric hand dryer, hand and seat sanitizer dispenser and mirror, jumbo roll round toilet roll dispenser and 1 cubicle panel door. |
|  |  | Male | 44m² | Toilet/ Urinal and accessories: - - 5x Urinal automatic sanitizer dispenser on the wall; - 5x top flush white close couple set with soft close seat; - 5x urinals with automatic flushing system. Dispensers: - - 5x stainless steel jumbo roll round toilet roll dispenser; - 5x satin wall mounted seat sanitiser dispensers; - 2x satin wall mounted automatic air freshener timing fragrance sprayer container; - 2x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin - 1x new vanity slab made of white shimmer granite stone counter top (5400mmx500mm); - Frameless mirror (5.4mx1m); - 1x full height wall to wall dressing mirror and 1x modern bench (1200x600mm); - 5x dura-square counter top washbasins (600mmx400mm) with waste outlet and 5x water tap mixer); - 2x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 5x full height toilet cubicle panels/framed partitions – cream white colour (incl. two new panels). Ceiling and Lights - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 20 x New LED down lights and fittings – 5.5w 1x paraplegic toilet upgrade with its accessories, granite stone counter top, washbasin, electric hand dryer, hand and seat sanitizer dispenser and mirror, jumbo roll round toilet roll dispenser and 1 cubicle panel door. |
| L2 | Boulevard | Female | 46m² | Toilet/ Urinal and accessories: - - 8x top flush white close couple set with soft close seat. Dispensers: - - 8x stainless steel jumbo roll round toilet roll dispenser; - 8x satin wall mounted seat sanitiser dispensers; - 2x satin wall mounted automatic air freshener timing fragrance sprayer container; - 2x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (4500mmx500mm); - Frameless mirror (4.5mx1m); - 1x full height wall to wall dressing mirror and 1x modern bench (1200x600mm); - 6x dura-square counter top washbasins (600mmx400mm) with waste outlet and 6x water tap mixer); - 2x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 8x full height toilet cubicle panels/framed partitions – cream white colour (incl. two new panels). Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 20 x New LED down lights and fittings 5.5w 1x paraplegic toilet upgrade with its accessories, granite stone counter top, washbasin, electric hand dryer, hand and seat sanitizer dispenser and mirror, jumbo roll round toilet roll dispenser and 1 cubicle panel door. |
|  |  | Male | 44m² | Toilet/ Urinal and accessories: - - 5x Urinal automatic sanitizer dispenser on the wall; - 8x top flush white close couple set with soft close seat; - 5x urinals with automatic flushing system. Dispensers: - - 5 stainless steel jumbo roll round toilet roll dispensers; - 5x satin wall mounted seat sanitiser dispensers; - 2x satin wall mounted automatic air freshener timing fragrance sprayer container; - 2x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (5400mmx500mm); - Frameless mirror (5.4mx1m); - 5x dura-square counter top washbasins (600mmx400mm) with waste outlet and 5x water tap mixer); - 2x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint. - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 8x full height toilet cubicle panels/framed partitions – cream white colour (incl. two new panels). Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 20 x New LED down lights and fittings – 5.5w 1x paraplegic toilet upgrade with its accessories, granite stone counter top, washbasin, electric hand dryer, hand and seat sanitizer dispenser and mirror, jumbo roll round toilet roll dispenser and 1 cubicle panel door. |
| L1 | Passage 1 | Female | 27m² | Toilet/ Urinal and accessories: - - 2x top flush white close couple set with soft close seat. Dispensers: - - 2x stainless steel jumbo roll round toilet roll dispenser; - 2x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1800mmx500mm); - Frameless mirror (1.8mx1m); - 1x full height wall to wall dressing mirror and 1x modern bench (1200x600mm); - 1x dura-square counter top washbasins (600mmx400mm) with waste outlet and 1x water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 2x full height toilet cubicle panels/framed partitions – white colour. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 4 x New LED down lights and fittings – 5.5w |
|  |  | Male | 22m² | Toilet/ Urinal and accessories: - - 2x Urinal automatic sanitizer dispenser on the wall; - 2x top flush white close couple set with soft close seat; - 1x urinals with automatic flushing system automatically after usage. Dispensers: - - 2x stainless steel jumbo roll round toilet roll dispenser; - 2x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1800mmx500mm); - Frameless mirror (1.8mx1m); - 1x dura-square counter top washbasins (600mmx400mm) with waste outlet and 5x water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 2x full height toilet cubicle panels/framed partitions – white colour. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; 6 x New LED down lights and fittings – 5.5w |
| L1 | Passage 2 (loading zone) | Female | 24m² | Toilet/ Urinal and accessories: - - 3x top flush white close couple set with soft close seat. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 3x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1800mmx500mm); - Frameless mirror (1.8mx1m); - 2x dura-square counter top washbasins (600mmx400mm) with waste outlet and 2x water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel; Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 3x full height toilet cubicle panels/framed partitions – white colour. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 6 x New LED down lights and fittings – 5.5w |
|  |  | Male | 24m² | Toilet/ Urinal and accessories: - - 2x Urinal automatic sanitizer dispenser on the wall; - 6x top flush white close couple set with soft close seat; - 1x urinals with automatic flushing system automatically after usage. Dispensers: - - 3 x stainless steel jumbo roll round toilet roll dispenser; - 2x satin wall mounted seat sanitiser dispensers; and - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1800mmx500mm); - Frameless mirror (1.8mx1m); - 2x dura-square counter top washbasins (600mmx400mm) with waste outlet and 2x water tap mixer); and - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; and - 2x full height toilet cubicle panels/framed partitions – white colour. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 8 x New LED down lights and fittings – 5.5w |
| L3 | Reception | Female | 20m² | Toilet/ Urinal and accessories: - - 3x top flush white close couple set with soft close seat. Dispensers: - - 3x stainless steel jumbo roll round toilet roll dispenser; - 3x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1800mmx500mm); - Frameless mirror (1.8mx1m); - 1x dura-square counter top washbasins (600mmx400mm) with waste outlet and 5x water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 2x full height toilet cubicle panels/framed partitions – white colour. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 6 x New LED down lights and fittings – 5.5w |
|  |  | Male | 20m² | Toilet/ Urinal and accessories: - - 1x Urinal automatic sanitizer dispenser on the wall; - 2x top flush white close couple set with soft close seat; - 1x urinals with automatic flushing system automatically after usage. Dispensers: - - 2x stainless steel jumbo roll round toilet roll dispenser; - 2x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1800mmx500mm); - Frameless mirror (1.8mx1m); - 2x dura-square counter top washbasins (600mmx400mm) with waste outlet and 2x water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 2x full height toilet cubicle panels/framed partitions – white colour. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; 8 x New LED down lights and fittings – 5.5w |
| L2 | VIP | Female | 40m² | Toilet/ Urinal and accessories: - - 4x top flush white close couple set with soft close seat. Dispensers: - - 2x stainless steel jumbo roll round toilet roll dispenser; - 4x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 2x new vanity slab made of white shimmer granite stone counter top (2 x 1800mmx500mm); - Frameless mirror (2 x 1.8mx1m); - 4x dura-square counter top washbasins (600mmx400mm) with waste outlet and 4x water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint. - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. - 4x full height toilet cubicle panels/framed partitions – white colour Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 8 x New LED down lights and fittings – 5.5w |
|  |  | Male | 52m² | Toilet/ Urinal and accessories: - - 3x Urinal automatic sanitizer dispenser on the wall; - 4x top flush white close couple set with soft close seat; - 3x urinals with automatic flushing system automatically after usage. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 3x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 2x new vanity slab made of white shimmer granite stone counter top (2x 3800mmx500mm); - Frameless mirror (3.8mx1m); - 2x dura-square counter top washbasins (600mmx400mm) with waste outlet and 2x water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile, door and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint. - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; 10 x New LED down lights and fittings – 5.5w |
| L2 | Canteen (Kitchen) | Female | 16m² | Toilet/ Urinal and accessories: - - 1x top flush white close couple set with soft close seat. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 1x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1500mmx500mm); - Frameless mirror (1.5mx1m); - 1x dura-square counter top washbasins (600mmx400mm) with waste outlet and 5x water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile, door and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 1x replace bathroom window; - 1x floor to be painted with chalk brush enamel paint. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; 2 x New LED down lights and fittings – 5.5w |
|  |  | Male | 15m² | Toilet/ Urinal and accessories: - - 1x Urinal automatic sanitizer dispenser on the wall; - 1x top flush white close couple set with soft close seat; - 1x urinals with automatic flushing system automatically after usage. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 1x satin wall mounted seat sanitiser dispensers. - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1000mmx500mm); - Frameless mirror (1mx1m); - 1x dura-square counter top washbasins (600mmx400mm) with waste outlet and 1x water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile, door and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint. - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. - 1x floor to be painted with chalk brush enamel paint Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; 4 x New LED down lights and fittings – 5.5w |
| L2 | Gymnasium | Female | 52m² | Toilet/ Urinal and accessories: - - 3x top flush white close couple set with soft close seat. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 3x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 2x new vanity slab made of white shimmer granite stone counter top (2 x 1800mmx500mm); - 2 x Frameless mirror (1.8mx1m); 4x dura-square counter top washbasins (600mmx400mm) with waste outlet and 4x water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 2 benches and 1x 10 hook roll coat hanger; - 3x shower and complete accessories; - Convert 1x sauna to shower. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; 8 x New LED down lights and fittings – 5.5w |
|  |  | Male | 60m² | Toilet/ Urinal and accessories: - - 3x Urinal automatic sanitizer dispenser on the wall; - 2x top flush white close couple set with soft close seat; - 3x urinals with automatic flushing system automatically after usage. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 2x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 2x new vanity slab made of white shimmer granite stone counter top (2x1700mmx500mm); - 2x Frameless mirror (1.8mx1m); - 2x dura-square counter top washbasins (600mmx400mm) with waste outlet and 2 water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 2x full height toilet cubicle panels/framed partitions – white colour - 3x benches and 2x 10 hook roll coat hanger; - 3x shower and accessories. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 10 x New LED down lights and fittings – 5.5w |
| GF | Apollo | Female | 62m² | Toilet/ Urinal and accessories: - - 4x top flush white close couple set with soft close seat. Dispensers: - - 2x stainless steel jumbo roll round toilet roll dispenser; - 4x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (6000mmx500mm); - 1x Frameless mirror (6mx1m); - 4x dura-square counter top washbasins (600mmx400mm) with waste outlet and 4x water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; 12 x New LED down lights and fittings – 5.5w 1x paraplegic toilet upgrade with its accessories, granite stone counter top, washbasin, electric hand dryer, hand and seat sanitizer dispenser and mirror, jumbo roll round toilet roll dispenser and 1 cubicle panel door. |
|  |  | Male | 68m² | Toilet/ Urinal and accessories: - - 8x Urinal automatic sanitizer dispenser on the wall; - 6x top flush white close couple set with soft close seat; - 8x urinals with automatic flushing system automatically after usage. Dispensers: - - 3x stainless steel jumbo roll round toilet roll dispenser; - 6x satin wall mounted seat sanitiser dispensers; - 2x satin wall mounted automatic air freshener timing fragrance sprayer container; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 2x new vanity slab made of white shimmer granite stone counter top (3400mmx500mm and 2000mx500mm); - 2x Frameless mirror (3.4mx1 and 2mx1m); - 6x dura-square counter top washbasins (600mmx400mm) with waste outlet and 6 water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint. - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; 20 x New LED down lights and fittings – 5.5w |
| Ground | Loading zone change room | Female | 68 m² | Toilet/ Urinal and accessories: - - 4x top flush white close couple set with soft close seat. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 3x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 2x new vanity slab made of white shimmer granite stone counter top (2x1700mmx500mm); - 2x Frameless mirror (1.8mx1m); - 2x dura-square counter top washbasins (600mmx400mm) with waste outlet and 2x water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 2x full height toilet cubicle panels/framed partitions – white colour; - 3x benches and 2x 10 hook roll coat hanger; - 3x shower and accessories. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 8 x New LED down lights and fittings – 5.5w; |
| Ground | Loading zone change room | Male | 68 m² | Toilet/ Urinal and accessories: - • 4x top flush white close couple set with soft close seat. Dispensers: - • 1x stainless steel jumbo roll round toilet roll dispenser; • 4x satin wall mounted seat sanitiser dispensers; • 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - • 2x new vanity slab made of white shimmer granite stone counter top (2x1700mmx500mm); • 2x Frameless mirror (1.8mx1m); • 2x dura-square counter top washbasins (600mmx400mm) with waste outlet and 2x water tap mixer); • 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - • New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; • New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; • 2x full height toilet cubicle panels/framed partitions – white colour; • 3x benches and 2x 10 hook roll coat hanger; • 4x shower and accessories. Ceiling and Lights:- • New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; • 10 x New LED down lights and fittings – 5.5w. |
|  | Maintenance Standby House and Workshop |  | 50 m² | - Toilet/ Urinal and accessories: - - 3x top flush white close couple set with soft close seat Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 3x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine; - 1x Hand soap dispenser. Basin and bin: - - 2x new vanity slab made of white shimmer granite stone counter top (2x1700mmx500mm); - 2x Frameless mirror (1.8mx1m); - 2x dura-square counter top washbasins (600mmx400mm) with waste outlet and 2x water tap mixer); - 1x White Built-In Acrylic bath tub with Handles 170x70cm. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 2x full height toilet cubicle panels/framed partitions – white colour; - 1x benches and 2x 10 hook roll coat hanger; - 1x shower and accessories; Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the roof - 4 x New LED down lights and fittings – 5.5w |
| CENTURION |  |  |  |  |
| FLOOR LEVEL | AREA 1 | AREA 2 | TOTAL m² | SCOPE OF WORK |
| GF | Training 1 | Female | 26m² | - Toilet/ Urinal and accessories: - - 4x top flush white close couple set with soft close seat. Dispensers: - - 4x stainless steel jumbo roll round toilet roll dispenser; - 4x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 2x new vanity slab made of white shimmer granite stone counter top (2mx600mm); - 1x Frameless mirror (2mx1m); - 3x dura-square counter top washbasins (600mmx400mm) with waste outlet and 3 water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint. - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 10 x New LED down lights and fittings – 5.5w. |
|  |  | Male | 16m² | Toilet/ Urinal and accessories: - - 2x Urinal automatic sanitizer dispenser on the wall; - 2x top flush white close couple set with soft close seat; - 2x urinals with automatic flushing system automatically after usage. Dispensers: - - 2x stainless steel jumbo roll round toilet roll dispenser; - 2x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1560mmx600mm); - 1x Frameless mirror (1.5mx1m); - 1x dura-square counter top washbasins (600mmx400mm) with waste outlet and 1x water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - Paint 6x doors with chalk brush enamel paint. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 12 x New LED down lights and fittings – 5.5w. |
| GF | Training 2 | Female | - 25m² | Toilet/ Urinal and accessories: - - 3x top flush white close couple set with soft close seat Dispensers: - - 5x stainless steel jumbo roll round toilet roll dispenser; - 5x satin wall mounted seat sanitiser dispensers; - 2x satin wall mounted automatic air freshener timing fragrance sprayer container; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (2400mmx600mm); - 1x Frameless mirror (2mx1m); - 3x dura-square counter top washbasins (600mmx400mm) with waste outlet and 3 water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - Paint 5x doors with chalk brush enamel paint. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 8 x New LED down lights and fittings – 5.5w. |
|  |  | Male | 25m² | Toilet/ Urinal and accessories: - - 2x Urinal automatic sanitizer dispenser on the wall; - 2x top flush white close couple set with soft close seat; - 2x urinals with automatic flushing system automatically after usage. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 2x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 2x new vanity slab made of white shimmer granite stone counter top (650mmx600mm); - 1x Frameless mirror (600mmx1m); - 2x dura-square counter top washbasins (600mmx400mm) with waste outlet and 2 water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint. - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 8 x New LED down lights and fittings – 5.5w. |
| GF | Auditorium | Female | 22m² | Toilet/ Urinal and accessories: - - 3x top flush white close couple set with soft close seat. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 3x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1700mmx600mm); - 1x Frameless mirror (1.7mx1m); - 2x dura-square counter top washbasins (600mmx400mm) with waste outlet and 2 water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 6 x New LED down lights and fittings – 5.5w. |
|  |  | Male | 22m² | Toilet/ Urinal and accessories: - - 2x Urinal automatic sanitizer dispenser on the wall; 2x top flush white close couple set with soft close seat; - 2x urinals with automatic flushing system automatically after usage. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 2x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1700mmx600mm); - 1x Frameless mirror (1.7mmx1m); - 2x dura-square counter top washbasins (600mmx400mm) with waste outlet and 2 water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof - 8 x New LED down lights and fittings – 5.5w |
|  |  | Paraplegic | 4m² | Toilet/ Urinal and accessories: - - 1x Urinal automatic sanitizer dispenser on the wall; 1x top flush white close couple set with soft close seat. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 1x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (500mmx500mm); - 1x Frameless mirror (500mmx1m); - 1x dura-square counter top washbasins (500mmx500mm) with waste outlet and 2 water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - Paraplegic handrails. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 2 x New LED down lights and fittings – 5.5w. |
| GF | Legal | Female | 20m² | Toilet/ Urinal and accessories: - 2x top flush white close couple set with soft close seat. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 2x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1800mmx600mm); - 1x Frameless mirror (1.8mmx600mm); - 2x dura-square counter top washbasins (500mmx500mm) with waste outlet and 2 water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - paint 2x doors with chalk brush enamel paint colour. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 6 x New LED down lights and fittings – 5.5w . |
|  |  | Male | 20m² | Toilet/ Urinal and accessories: - - 2x Urinal automatic sanitizer dispenser on the wall; - 2x top flush white close couple set with soft close seat; - 2x urinals with automatic flushing system automatically after usage. Dispensers: - - 2x stainless steel jumbo roll round toilet roll dispenser; - 1x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1800mmx600mm); - 1x Frameless mirror (1.8mmx600mm); - 2x dura-square counter top washbasins (500mmx500mm) with waste outlet and 2 water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - paint 2x doors with chalk brush enamel paint colour; - 1x shower with the complete shower accessories, a bench and a door. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 8 x New LED down lights and fittings – 5.5w. |
| GF | VIP | Female | 10m² | Toilet/ Urinal and accessories: - - 1x top flush white close couple set with soft close seat Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser - 1x satin wall mounted seat sanitiser dispensers. - 1x stainless steel 2300W, 220V electric hand dryer machine Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1340mmx540mm) - 1x Frameless mirror (800mmx 1m) - 1x dura-square counter top washbasins (500mmx500mm) with waste outlet and 1 water tap mixer) - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel Wall, Tile and Floor - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint. - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. - paint 1x doors with chalk brush enamel paint colour Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof - 2 x New LED down lights and fittings – 5.5w |
|  |  | Male | 10m² | Toilet/ Urinal and accessories: - - 1x Urinal automatic sanitizer dispenser on the wall 1x top flush white close couple set with soft close seat - 1x urinals with automatic flushing system automatically after usage. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser - 1x satin wall mounted seat sanitiser dispensers. - 1x stainless steel 2300W, 220V electric hand dryer machine Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (4800mmx600mm) - 1x Frameless mirror (1.mx1m) - 1x dura-square counter top washbasins (500mmx500mm) with waste outlet and 2 water tap mixer) - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel - 1x shower with its full shower accessories, a bench and a door Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint. - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. - paint 1x doors with chalk brush enamel paint colour Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof - 2 x New LED down lights and fittings – 5.5w |
| L3 | Reception | Female | 20m² | Toilet/ Urinal and accessories: - - 2x top flush white close couple set with soft close seat Dispensers: - - 2x stainless steel jumbo roll round toilet roll dispenser - 2x satin wall mounted seat sanitiser dispensers. - 1x stainless steel 2300W, 220V electric hand dryer machine Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (780mmx600mm) - 1x Frameless mirror (780mmx780mm) - 1x dura-square counter top washbasins (780mmx600mm) with waste outlet and 1 water tap mixer) - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint. - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. - paint 2x doors with chalk brush enamel paint colour Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof - 2 x New LED down lights and fittings – 5.5w |
|  |  | Male | 12m² | Toilet/ Urinal and accessories: - - 1x Urinal automatic sanitizer dispenser on the wall 1x top flush white close couple set with soft close seat - 2x urinals with automatic flushing system automatically after usage. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser - 2x satin wall mounted seat sanitiser dispensers. - 1x stainless steel 2300W, 220V electric hand dryer machine Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (700mmx600mm) - 1x Frameless mirror (600mmx600mm) - 1x dura-square counter top washbasins (500mmx500mm) with waste outlet and 1 water tap mixer) - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint. - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. - paint 1x doors with chalk brush enamel paint colour Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof - 2 x New LED down lights and fittings – 5.5w |
| L4 | National Treasury | Female | 68m² | Toilet/ Urinal and accessories: - - 8x top flush white close couple set with soft close seat Dispensers: - - 8x stainless steel jumbo roll round toilet roll dispenser - 8x satin wall mounted seat sanitiser dispensers. - 2x satin wall mounted automatic air freshener timing fragrance sprayer container - 2x stainless steel 2300W, 220V electric hand dryer machine Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (5500mmx500mm) - 1x Frameless mirror (5.5mx1m) - 6x dura-square counter top washbasins (600mmx400mm) with waste outlet and 6x water tap mixer) - 2x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint. - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof - 20x New LED down lights and fittings – 5.5w |
|  |  | Male | 44m² | Toilet/ Urinal and accessories: - - 7x Urinal automatic sanitizer dispenser on the wall; - 8x top flush white close couple set with soft close seat; - 7x urinals with automatic flushing system automatically after usage. Dispensers: - - 8x stainless steel jumbo roll round toilet roll dispenser; - 8x satin wall mounted seat sanitiser dispensers; - 2x satin wall mounted automatic air freshener timing fragrance sprayer container; - 2x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (2800mx600mm); - Frameless mirror (2.8mx1m) wall to wall; - 4x dura-square counter top washbasins (600mmx400mm) with waste outlet and 4x water tap mixer); - 2x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 8x full height toilet cubicle panels/framed partitions – cream white colour (incl. two new panels); - paint 6x doors with chalk brush enamel paint colour. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 20 x New LED down lights and fittings – 5.5w |
|  |  | Paraplegic | 4m² | Toilet/ Urinal and accessories: - - 1x Urinal automatic sanitizer dispenser on the wall; - 1x top flush white close couple set with soft close seat. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 1x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (860mmx500mm); - 1x Frameless mirror (800mmx800m); - 1x dura-square counter top washbasins (500mmx500mm) with waste outlet and 2 water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - Paraplegic handrails. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 2 x New LED down lights and fittings – 5.5w. |
| L3 | Boulevard | Female | 68m² | Toilet/ Urinal and accessories: - - 8x top flush white close couple set with soft close seat. Dispensers: - - 2x stainless steel jumbo roll round toilet roll dispenser; - 8x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (5500mx600mm); - Frameless mirror (5.5mx1m) wall to wall; - 6x dura-square counter top washbasins (600mmx400mm) with waste outlet and 6x water tap mixer); - 2x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - paint 8x doors with chalk brush enamel paint colour. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 20 x New LED down lights and fittings – 5.5w |
|  |  | Male | 44m² | Toilet/ Urinal and accessories: - - 8x Urinal automatic sanitizer dispenser on the wall; - 8x top flush white close couple set with soft close seat; - 8x urinals with automatic flushing system automatically after usage. Dispensers: - - 8x stainless steel jumbo roll round toilet roll dispenser; - 8x satin wall mounted seat sanitiser dispensers; - 2x satin wall mounted automatic air freshener timing fragrance sprayer container; - 2x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (2800mx600mm) - Frameless mirror (2.8mx1m) wall to wall - 6x dura-square counter top washbasins (600mmx400mm) with waste outlet and 6x water tap mixer) - 2x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel Wall, Tile and Floor: - - (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - 8x full height toilet cubicle panels/framed partitions – cream white colour (incl. two new panels); - paint 8x doors with chalk brush enamel paint colour. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 20 x New LED down lights and fittings –5.5m |
|  |  | Paraplegic | m² | Toilet/ Urinal and accessories: - - 1x Urinal automatic sanitizer dispenser on the wall 1x top flush white close couple set with soft close seat Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser - 1x satin wall mounted seat sanitiser dispensers. - 1x stainless steel 2300W, 220V electric hand dryer machine Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (860mmx500mm) - 1x Frameless mirror (800mmx800m) - 1x dura-square counter top washbasins (500mmx500mm) with waste outlet and 2 water tap mixer) - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint. - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. - Paraplegic handrails Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof - 2 x New LED down lights and fittings – 5.5w |
| L2 | Boulevard | Female | 68m² | Toilet/ Urinal and accessories: - - 8x top flush white close couple set with soft close seat. Dispensers: - - 8x stainless steel jumbo roll round toilet roll dispenser; - 8x satin wall mounted seat sanitiser dispensers; - 2x satin wall mounted automatic air freshener timing fragrance sprayer container; - 2x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (5500mx600mm); - Frameless mirror (5.5mx1m) wall to wall; - 1x full height wall to wall dressing mirror and 1x modern bench (1200x600mm); - 6x dura-square counter top washbasins (600mmx400mm) with waste outlet and 6x water tap mixer); - 2x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - paint 8x doors with chalk brush enamel paint colour. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; 20 x New LED down lights and fittings – 5.5w. |
|  |  | Male | 44m² | Toilet/ Urinal and accessories: - - 8x Urinal automatic sanitizer dispenser on the wall; - 8x top flush white close couple set with soft close seat; - 7x urinals with automatic flushing system automatically after usage. Dispensers: - - 8x stainless steel jumbo roll round toilet roll dispenser; - 8x satin wall mounted seat sanitiser dispensers; - 2x satin wall mounted automatic air freshener timing fragrance sprayer container; - 2x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (2800mx600mm); - Frameless mirror (2.8mx1m) wall to wall; - 6x dura-square counter top washbasins (600mmx400mm) with waste outlet and 6x water tap mixer); - 2x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - paint 6x doors with chalk brush enamel paint colour. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 20 x New LED down lights and fittings –5.5w |
|  |  | Paraplegic | 4m² | Toilet/ Urinal and accessories: - - 1x Urinal automatic sanitizer dispenser on the wall; - 1x top flush white close couple set with soft close seat. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 1x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (8600mmx500mm); - 1x Frameless mirror (800mmx800m); - 1x dura-square counter top washbasins (500mmx500mm) with waste outlet and 2 water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - Paraplegic handrails. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 2 x New LED down lights and fittings – 5.5w. |
| L -1 | Near the lift | Female | 20m² | Toilet/ Urinal and accessories: - - 4x top flush white close couple set with soft close seat. Dispensers: - - 4x stainless steel jumbo roll round toilet roll dispenser; - 2x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (2mx600mm); - 1x Frameless mirror (2mx1m); - 2x dura-square counter top washbasins (780mmx600mm) with waste outlet and 2 water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel; - 1x shower with its full shower accessories, a bench and a door. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - paint 2x doors with chalk brush enamel paint colour. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 10 x New LED down lights and fittings – 5.5w. |
|  |  | Male | 24m² | Toilet/ Urinal and accessories: - - 2x Urinal automatic sanitizer dispenser on the wall; - 3x top flush white close couple set with soft close seat; - 2x urinals with automatic flushing system automatically after usage. Dispensers: - - 2x stainless steel jumbo roll round toilet roll dispenser - 2x satin wall mounted seat sanitiser dispensers. - 1x stainless steel 2300W, 220V electric hand dryer machine Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1500mx600mm); - Frameless mirror (1.5mx1m) wall to wall; - 1x full height wall to wall dressing mirror and 1x modern bench (1200x600mm); - 6x dura-square counter top washbasins (600mmx400mm) with waste outlet and 6x water tap mixer); - 2x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - paint 2x doors with chalk brush enamel paint colour. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 12 x New LED down lights and fittings – 5.5w |
| GF | Gymnasium | Female | 52m² | Toilet/ Urinal and accessories: - - 2x top flush white close couple set with soft close seat. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 2x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1800mmx600mm); - 1x Frameless mirror (1.8mmx1m); - 1x dura-square counter top washbasins (500mmx500mm) with waste outlet and 2 water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel; - 2x shower heads with its full shower accessories and doors; - 2x benches and 1x 10 hook roll coat hanger. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; - Paint 2x doors with chalk brush enamel paint. Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof - 4 x New LED down lights and fittings – 5.5w |

|  |  | Male | 60m² | Toilet/ Urinal and accessories: - - 2x Urinal automatic sanitizer dispenser on the wall - 2x top flush white close couple set with soft close seat - 2x urinals with automatic flushing system automatically after usage Dispensers: - - 2x stainless steel jumbo roll round toilet roll dispenser - 2x satin wall mounted seat sanitiser dispensers. - 1x stainless steel 2300W, 220V electric hand dryer machine Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (1800mx600mm) - Frameless mirror (1.8mx1m) wall to wall - 1x full height wall to wall dressing mirror and 1x modern bench (1200x600mm). - 2x dura-square counter top washbasins (600mmx400mm) with waste outlet and 2x water tap mixer) - 2x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel - 2x shower heads with its full shower accessories and doors. - 2x benches and 1x 10 hook roll coat hanger. Wall, Tile and Floor: - - (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint. - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint. - paint 2x doors with chalk brush enamel paint colour Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 6 x New LED down lights and fittings – 5.5w. |  |
| --- | --- | --- | --- | --- | --- |
| GF | Loading zone Entrance Guard house | Unisex |  | Toilet/ Urinal and accessories: - - 1x top flush white close couple set with soft close seat. Dispensers: - - 1x stainless steel jumbo roll round toilet roll dispenser; - 1x satin wall mounted seat sanitiser dispensers; - 1x stainless steel 2300W, 220V electric hand dryer machine. Basin and bin: - - 1x new vanity slab made of white shimmer granite stone counter top (8600mmx500mm); - 1x Frameless mirror (860mmx800m); - 1x dura-square counter top washbasins (500mmx500mm) with waste outlet and 1 water tap mixer); - 1x wall mounted stainless steel waste paper bin (484 (H) x 325 (W) 210 (D) mm), 27L, 0.7 clear coat enamel finish Stainless Steel. Wall, Tile and Floor: - - New (600mmx600mmx10mm) thick polished grey porcelain wall tile, laid with a 2mm wide grout joint; - New charcoal (600mmx600mmx10mm) thick porcelain floor matt tile, laid with a 2mm wide grout joint; Ceiling and Lights: - - New white ceiling tiles (600x600mm) and grids drop of 600mm from the concrete roof; - 2 x New LED down lights and fittings – 5.5w. |

## 2.3. DELIVERY ADDRESS

|  | Centurion Data Centre | John Vorster Drive, Centurion, Pretoria |
| --- | --- | --- |
|  | SITA Erasmuskloof Head Office | 459 Tsitsa Street Erasmuskloof Pretoria |

## 2.4	CUSTOMER INFRASTRUCTURE AND ENVIRONMENT REQUIREMENTS

(1)	The data centre is a National Key Point installation operating 24/7/365.

(2)	Note: There are no “As-is Architectural or Engineering drawings.

# BID EVALUATION STAGES

- The bid evaluation process consists of several stages that are applicable according to the nature of the bid as defined in the table below.

- The bidder must qualify for each stage to be eligible to proceed to the next stage of the evaluation.

| Stage | Description | Applicable for this bid YES/NO |
| --- | --- | --- |
| Stage 1 | Administrative pre-qualification verification | YES |
| Stage 2 | Technical Mandatory requirement evaluation | YES |
| Stage 3 | Special Conditions of Contract verification | YES |
| Stage 4 | Price and Preference evaluation | YES |

ADMINISTRATIVE PRE-QUALIFICATION

# ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS

## 4.1	ADMINISTRATIVE PRE-QUALIFICATION VERIFICATION

- The bidder must comply with ALL of the bid pre-qualification requirements in order for the bid to be accepted for evaluation.

If the Bidder failed to comply with any of the administrative pre-qualification requirements, or if SITA is unable to verify whether the pre-qualification requirements are met, then SITA reserves the right to-

  - Reject the bid and not evaluate it, or

  - Accept the bid for evaluation, on condition that the Bidder must submit within 7 (seven) days any supplementary information to achieve full compliance, provided that the supplementary information is administrative and not substantive in nature.

## 4.2	ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS

- Submission of bid response: The bidder has submitted a bid response documentation pack –

  - that was delivered at the correct physical or postal address and within the stipulated date and time as specified in the “Invitation to Bid” cover page, and;

  - in the correct format as one original document, one copy and two copies on memory stick / USB.

- Attendance of briefing session: Compulsory Briefing session and Physical Site visit. The bidder has to sign the briefing session attendance register using the same information (bidder company name, bidder representative person name and contact details) as submitted in the bidder’s response document.

- Registered Service Provider. The bidder is, in terms of National Treasury Instruction Note 4A of 2016/17, registered as a Service Provider on National Treasury Central Service Provider Database (CSD).

# TECHNICAL MANDATORY REQUIREMENTS

## INSTRUCTION AND EVALUATION CRITERIA

- The bidder must comply with ALL the requirements as per section 6.2 below by providing substantiating evidence in the form of documentation or information, failing which it will be regarded as “NOT COMPLY”.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response. During evaluation, SITA reserves the right to treat substantiation evidence that cannot be located in the bid response as “NOT COMPLY”.

- The bidder must complete the declaration of compliance as per section 6.3 below by marking with an “X” either “COMPLY”, or “NOT COMPLY” with ALL of the technical mandatory requirements, failing which it will be regarded as “NOT COMPLY”.

- The bidder must comply with ALL the TECHNICAL MANDATORY REQUIREMENTS in order for the bid to proceed to the next stage of the evaluation.

- No URL references or links will be accepted as evidence.

## TECHNICAL MANDATORY REQUIREMENTS

| TECHNICAL MANDATORY REQUIREMENTS | Substantiating evidence of compliance (used to evaluate bid) | Evidence reference (to be completed by bidder) |
| --- | --- | --- |
| - BIDDER EXPERIENCE AND CAPABILITY REQUIREMENTS The Bidder must have refurbished ablutions in a Corporate Environment to at least two (2) customers within the past ten (10) years. | The Bidder must provide reference details from at least two (2) customers to whom projects for the refurbishment of ablutions in a Corporate Environment were delivered within the past ten (10) years. - Note (1): - Failure to complete Table 1 fully as indicated above will result in disqualification. - Note (2): - SITA reserves the right to verify the information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 8.1, table 1> |
| - CIDB REGISTRATION REQUIREMENT The bidder must be registered with Construction Industry Development Board (CIDB) with a minimum rating or higher for all of the following: - 5GB; and - 2SO; and - 2EB. | The Bidder must complete and sign ANNEX D as evidence that the bidder is registered with the CIDB with a minimum rating or higher for all of the following: - 5GB; and - 2SO; and - 2EB. Note (1): SITA reserves the right to verify the information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 8.2 and ANNEX D> |
| - TECHNICAL PRODUCT/ SERVICE FUNCTIONAL REQUIREMENTS The bidder must confirm compliance to the Technical Product/ Service Functional requirements. | The bidder must confirm that they comply with the Technical Product/ Service Functional Requirements by completing and signing Annex C, Addendum 1. Note (1): Failing to comply with all the aspect of this section will result in disqualification. Note (2): SITA reserves the right to verify the information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 8.3 and Annex C: Addendum 1> |

## DECLARATION OF COMPLIANCE

|  | Comply | Not Comply |
| --- | --- | --- |
| The bidder declares by indicating with an “X” in either the “COMPLY” or “NOT COMPLY” column that – - The bid complies with each and every TECHNICAL MANDATORY REQUIREMENT as specified in SECTION 6.2 above; AND - Each and every requirement specification is substantiated by evidence as proof of compliance. |  |  |

SPECIAL CONDITIONS OF CONTRACT (SCC)

# SPECIAL CONDITIONS OF CONTRACT

## INSTRUCTION

- The successful Service Provider will be bound by Government Procurement: General Conditions of Contract (GCC) as well as this Special Conditions of Contract (SCC), which will form part of the signed contract with the successful Service Provider. However, SITA reserves the right to include or waive the condition in the signed contract.

- SITA reserves the right to –

  - Negotiate the conditions, or

  - Automatically disqualify a bidder for not accepting these conditions.

  - Award to multiple bidders.

- In the event that the bidder qualifies the proposal with own conditions, and does not specifically withdraw such own conditions when called upon to do so, SITA will invoke the rights reserved in accordance with subsection 7.1(2) above.

- The bidder must complete the declaration of acceptance as per section 7.3 below by marking with an “X” either “ACCEPT ALL” or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified.

## SPECIAL CONDITIONS OF CONTRACT

- CONTRACTING CONDITIONS

  - Formal Contract. The Service Provider must enter into a formal written Contract (Agreement) with SITA internal

  - Right of Award. SITA reserves the right to award the contract for required goods or services to multiple Service Providers.

  - Right to Audit. SITA reserves the right, before entering into a contract, to conduct or commission an external service provider to conduct a financial audit or probity to ascertain whether a qualifying bidder has the financial wherewithal or technical capability to provide the goods and services as required by this tender.

  - No claim for any additional compensation will be entertained relating to the nature or extent of the work or if inferior or damaged materials has to be replaced by the bidder.

- DELIVERY ADDRESS. The Service Provider must deliver the required products or services at as indicated in Section 2.2, Delivery Address

- DELIVERY SCHEDULE

  - The scope of work (Section 2.1) and Section 2.2 (Requirements) must be completed within 12 months after the contract has been awarded to all below SITA buildings i.e. decommission, supply, install and configure. The specific timeline as well as milestones will be negotiated during the contracting stage based on the project plan provided by the successful bidder.

- PRODUCT/ SERVICE / SOLUTION REQUIREMENTS

a)	All material used shall be of approved quality, colours, profiles and thickness;

b)	That contractor shall ensure that its team has relevant expertise and have   necessary equipment and tools to undertake the work;

c)	A full comprehensive program/project plan to be supplied with the technical bid spec for approval indicating a clear proposed timeframe, project milestone and its dependences;

d)	All working areas to be kept clear, neat and clean, and non-obstructive at all times.  The related work activities should not hamper or endanger any SITA employees, Clients and Visitors;

e)	The contractor will be expected to issue a warranty certificate on the work done;

f)	The contractor will have to adhere to SA National Building and Occupational Health and Safety regulations and standards at all times.

- SERVICES AND PERFORMANCE METRICS

  - The Service Provider is responsible to provide the following services as specified in the Service Breakdown Structure (SBS):

| SBS | Service Element | Service Grade | Service Level |
| --- | --- | --- | --- |
|  | Uninstall and remove old dilapidated suspended ceilings, including the grids. Removal of old tiles, disconnect old toilet pans, cisterns and toilet seats including urinals, sauna’s, washbasins, counter tops and mirrors and toilet cubicle panels/partitions | Professional and quality workmanship | - Official SITA working hours are 08h00am – 16h30pm. - All services to be done outside the official SITA working hours must be communicated and approved in advance |
|  | Patch and prepare the areas to receive new installations and fittings | Professional and quality workmanship | - Official SITA working hours are 08h00am – 16h30pm. - All services to be done outside the official SITA working hours must be communicated and approved in advance |
|  | Install new ceilings, tiles, lights, toilets and urinals, mirrors cabinets, dispensers, bins, basins, showers, baths, accessories, counter tops, doors, benches and coat hangers | Professional and quality workmanship | - Official SITA working hours are 08h00am – 16h30pm. - All services to be done outside the official SITA working hours must be communicated and approved in advance |
|  | Paint walls and doors | Professional and quality workmanship | - Official SITA working hours are 08h00am – 16h30pm. - All services to be done outside the official SITA working hours must be communicated and approved in advance |
|  | The successful bidder will have to demonstrate and present three different/sets of 3D modern drawings and colour combination, which should include the provided SITA specifications. The designs and colour combination presented will be agreed upon with SITA project management team, before the commencement of the project. |  |  |

- SERVICE PROVIDER PERFORMANCE REPORTING

  - The Service Provider will provide progress report on a weekly basis to SITA project team/project manager, during the design, preparation work, installation and implementation phase until the project life cycle is completed.

  - Scheduled monthly meetings to be scheduled as well as ADHOC meetings when required from both the Service Provider and SITA.

  - The report type will be driven by the service level agreement; definitions of the content of each report type will be finalised at the time of concluding the contracted service level agreement).

- CERTIFICATION, EXPERTISE AND QUALIFICATION

  - Service Provider security system enterprise certified for the entire period of the contract.

  - The Service Provider represents that,

    - it has the necessary expertise, skill, qualifications and ability to undertake the work required in terms of the Statement of Work or Service Definition and;

    - it is committed to provide the Products or Services; and

    - perform all obligations detailed herein without any interruption to the Customer.

  - The Service Provider must provide the service in a good and workmanlike manner and in accordance with the practices and high professional standards used in well-managed operations performing services similar to the Services;

  - The Service Provider must perform the Services in the most cost-effective manner consistent with the level of quality and performance as defined in Statement of Work or Service Definition;

- LOGISTICAL CONDITIONS

  - Hours of work, 08h00 – 16h30.

  - Provision to be made for work which will be done over the weekend i.e. Saturday and Sunday.

  - In the event that SITA grants the Service Provider permission to access SITA's Environment including hardware, software, internet facilities, data, telecommunication facilities and/or network facilities remotely, the Service Provider must adhere to SITA's relevant policies and procedures (which policy and procedures are available to the Service Provider on request) or in the absence of such policy and procedures, in terms of, best industry practice.

  - Tools of Trade. The Service Provider must bring their necessary tools of trade in order for them to perform their duties adequately.

  - On-site and Remote Support. The Service Provider must give off-site and remote support, and only when off-site support is not sufficient, then on-site support will be required upon approval by SITA representative.

  - Support and Help Desk. After hours helpdesk support is required for the period of the first three months per site during weekdays including weekends and public holidays.

- SKILLS TRANSFER AND TRAINING

  - The Service Provider must provide certified training on the proposed solution or product to technical staff and operator to enable SITA to operate and support the product or solution after implementation.

  - The formal basic and advanced certified training to be done for SITA operators and technical team.

- REGULATORY, QUALITY AND STANDARDS

  - The Service Provider must for the duration of the contract ensure compliance with ISO/IEC General Quality Standards, ISO27001, and Protection of Personal Information Act (POPIA).

  - The Service Provider must for the duration of the contract ensure compliance with General Quality Standards, ISO 9001

  - The Service Provider must for the duration of the contract ensure compliance with SANS standards (SANS 10400)

  - The Service Provider must for the duration of the contract ensure that the proposed product or solution conform to the list of Government Minimum Interoperability Standards (MIOS).

- PERSONNEL SECURITY CLEARANCE

  - The Service Provider personnel who are required to work with GOVERNMENT CLASSIFIED information or access government RESTRICTED areas must be a South African Citizen and at the expense of the Service Provider be security vetted (pre-employment screening, criminal record screening and credit screening).

  - The Service Provider must ensure that the security clearances of all personnel involved in the Contract remains valid for the period of the contract.

  - The Service Provider must provide proof of security vetting

- CONFIDENTIALITY AND NON-DISCLOSURE CONDITIONS

  - The Service Provider, including its management and staff, must before commencement of the Contract, sign a non-disclosure agreement regarding Confidential Information.

  - Confidential Information means any information or data, irrespective of the form or medium in which it may be stored, which is not in the public domain and which becomes available or accessible to a Party as a consequence of this Contract, including information or data which is prohibited from disclosure by virtue of:

    - the Promotion of Access to Information Act, 2000 (Act no. 2 of 2000);

    - being clearly marked "Confidential" and which is provided by one Party to another Party in terms of this Contract;

    - being information or data, which one Party provides to another Party or to which a Party has access because of Services provided in terms of this Contract and in which a Party would have a reasonable expectation of confidentiality;

    - being information provided by one Party to another Party in the course of contractual or other negotiations, which could reasonably be expected to prejudice the right of the non-disclosing Party;

    - being information, the disclosure of which could reasonably be expected to endanger a life or physical security of a person;

    - being technical, scientific, commercial, financial and market-related information, know-how and trade secrets of a Party;

    - being financial, commercial, scientific or technical information, other than trade secrets, of a Party, the disclosure of which would be likely to cause harm to the commercial or financial interests of a non-disclosing Party; and

    - being information supplied by a Party in confidence, the disclosure of which could reasonably be expected either to put the Party at a disadvantage in contractual or other negotiations or to prejudice the Party in commercial competition; or

    - information the disclosure of which would be likely to prejudice or impair the safety and security of a building, structure or system, including, but not limited to, a computer or communication system; a means of transport; or any other property; or a person; methods, systems, plans or procedures for the protection of an individual in accordance with a witness protection scheme; the safety of the public or any part of the public; or the security of property; information the disclosure of which could reasonably be expected to cause prejudice to the defence of the Republic; security of the Republic; or international relations of the Republic; or plans, designs, drawings, functional and technical requirements and specifications of a Party, but must not include information which has been made automatically available, in terms of the Promotion of Access to Information Act, 2000; and information which a Party has a statutory or common law duty to disclose or in respect of which there is no reasonable expectation of privacy or confidentiality;

  - Notwithstanding the provisions of this Contract, no Party is entitled to disclose Confidential Information, except where required to do so in terms of a law, without the prior written consent of any other Party having an interest in the disclosure;

  - Where a Party discloses Confidential Information which materially damages or could materially damage another Party, the disclosing Party must submit all facts related to the disclosure in writing to the other Party, who must submit information related to such actual or potential material damage to be resolved as a dispute;

  - Parties may not, except to the extent that a Party is legally required to make a public statement, make any public statement or issue a press release which could affect another Party, without first submitting a written copy of the proposed public statement or press release to the other Party and obtaining the other Party's prior written approval for such public statement or press release, which consent must not unreasonably be withheld.

- GUARANTEE AND WARRANTIES

The Service Provider warrants that:

  - The warranty of goods supplied under this contract remains valid for twelve (12) months after the goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the contract, or for eighteen (18) months after the date of shipment from the port or place of loading in the source country, whichever period concludes earlier;

  - as at Commencement Date, it has the rights, title and interest in and to the Product or Services to deliver such Product or Services in terms of the Contract and that such rights are free from any encumbrances whatsoever;

  - the Product is in good working order, free from Defects in material and workmanship, and substantially conforms to the Specifications, for the duration of the Warranty period;

  - during the Warranty period any defective item or part component of the Product be repaired or replaced within 3 (three) days after receiving a written notice from SITA;

  - the Products is maintained during its Warranty Period at no expense to SITA;

  - the Product possesses all material functions and features required for SITA’s Operational Requirements;

  - the Product remains connected or Service is continued during the term of the Contract;

  - all third-party warranties that the Service Provider receives in connection with the Products including the corresponding software and the benefits of all such warranties are ceded to SITA without reducing or limiting the Service Provider’s obligations under the Contract;

  - no actions, suits, or proceedings, pending or threatened against it or any of its third-party Service Providers or sub-contractors that have a material adverse effect on the Service Provider’s ability to fulfil its obligations under the Contract exist;

  - SITA is notified immediately if it becomes aware of any action, suit, or proceeding, pending or threatened to have a material adverse effect on the Service Provider’s ability to fulfil the obligations under the Contract;

  - any Product sold to SITA after the Commencement Date of the Contract remains free from any lien, pledge, encumbrance or security interest;

  - SITA’s use of the Product and Manuals supplied in connection with the Contract does not infringe any Intellectual Property Rights of any third party;

  - the information disclosed to SITA does not contain any trade secrets of any third party, unless disclosure is permitted by such third party;

  - it is financially capable of fulfilling all requirements of the Contract and that the Service Provider is a validly organized entity that has the authority to enter into the Contract;

  - it is not prohibited by any loan, contract, financing arrangement, trade covenant, or similar restriction from entering into the Contract;

  - the prices, charges and fees to SITA as contained in the Contract are at least as favourable as those offered by the Service Provider to any of its other customers that are of the same or similar standing and situation as SITA; and

  - any misrepresentation by the Service Provider amounts to a breach of Contract.

- INTELLECTUAL PROPERTY RIGHTS

  - SITA retains all Intellectual Property Rights in and to SITA's Intellectual Property. As of the Effective Date, the Service Provider is granted a non-exclusive license, for the continued duration of this Contract, to perform any lawful act including the right to use, copy, maintain, modify, enhance and create derivative works of SITA's Intellectual Property for the sole purpose of providing the Products or Services to SITA pursuant to this Contract; provided that the Service Provider must not be permitted to use SITA's Intellectual Property for the benefit of any entities other than SITA without the written consent of SITA, which consent may be withheld in SITA's sole and absolute discretion. Except as otherwise requested or approved by SITA, which approval is in SITA's sole and absolute discretion, the Service Provider must cease all use of SITA's Intellectual Property, at of the earliest of:

    - termination or expiration date of this Contract;

    - the date of completion of the Services; and

    - the date of rendering of the last of the Deliverables.

  - If so required by SITA, the Service Provider must certify in writing to SITA that it has either returned all SITA Intellectual Property to SITA or destroyed or deleted all other SITA Intellectual Property in its possession or under its control.

  - SITA, at all times, owns all Intellectual Property Rights in and to all Bespoke Intellectual Property.

  - Save for the license granted in terms of this Contract, the Service Provider retains all Intellectual Property Rights in and to the Service Provider’s pre-existing Intellectual Property that is used or supplied in connection with the Products or Services.

  - Provide SITA with the compliant safety file.

- GENERAL

  - The supplier will be bound by Government Procurement: General Conditions of Contract.

  - (GCC) as well as this Special Conditions of Contract (SCC), which will form part of the signed contract with the Supplier. However, SITA reserves the right to include or waive the condition in the signed contract.

  - SITA reserves the right to:

    - Negotiate the conditions, or

    - Automatically disqualify a bidder for not accepting these conditions.

    - Right to Audit: SITA reserves the right, before entering into a contract, to conduct or commission an external service provider to conduct probity to ascertain whether a qualifying bidder has the technical capability to provide the goods and services as required by this tender.

  - “The parties in this Agreement agree that the offer price of all the equipment shall be at the wholesale price or below wholesale price as agreed with the OEM. Should, at any time during the existence of the agreement that the offered price which is higher than the wholesale price or as agreed with the OEM, SITA client shall be entitled to such wholesale price with the exclusion of the mark-up which the reseller may have charged”.

NOTE: These conditions will form part of the contract obligations and suppliers are expected to comply in order for SITA to conclude an agreement with the potential suppliers. Failure to comply during finalisation of a contract may result to disqualification.

- COUNTER CONDITIONS

Bidders’ attention is drawn to the fact that amendments to any of the Bid Conditions or setting of counter conditions by bidders may result in the invalidation of such bids.

- FRONTING

  - The SITA supports the spirit of Broad Based Black Economic Empowerment and recognizes that real empowerment can only be achieved through individuals and businesses conducting themselves in accordance with the Constitution and in an honest, fair, equitable, transparent and legally compliant manner. Against this background the SITA any form of fronting.

  - The SITA, in ensuring that bidders conduct themselves in an honest manner will, as part of the bid evaluation processes, conduct or initiate the necessary enquiries/investigations to determine the accuracy of the representation made in bid documents. Should any of the fronting indicators as contained in the Guidelines on Complex Structures and Transactions and Fronting, issued by the Department of Trade and Industry, be established during such enquiry/investigation, the onus will be on the bidder / contractor to prove that fronting does not exist. Failure to do so within a period of 14 days from date of notification may invalidate the bid / contract and may also result in the restriction of the bidder/contractor to conduct business with the public sector for a period not exceeding ten (10) years, in addition to any other remedies SITA may have against the bidder/contractor concerned.

- BUSINESS CONTINUITY AND DISASTER RECOVERY PLANS

The bidder confirms that they have written business continuity and disaster recovery plans that define the roles, responsibilities and procedures necessary to ensure that the required services under this bid specification is in place and will be maintained continuously in the event of a disruption to the bidder’s operations, regardless of the cause of the disruption.

- SERVICE PROVIDER DUE DILIGENCE

SITA reserves the right to conduct Service Provider due diligence prior to final award or at any time during the Contract period and this may include pre-announced/ non-announced site visits. During the due diligence process the information submitted by the bidder will be verified and any misrepresentation thereof may disqualify the bid or Contract in whole or parts thereof.

- PREFERENCE GOAL REQUIREMENTS

  - The Bidder’s commitment for the Preference Goal Requirements in this tender will be legally binding and the Bidder needs to perform against their commitment for the duration of the contract which will form part of the Contractual Agreement.

  - The Bidder must sustain, or improve the company’s BBBEE Level for the duration of the contact which will form part of the Contractual Agreement.

  - Performance of Preference Goal Requirements will be determined annually. Bidders must submit their Preference status report to SITA indicating progress against the Bidder’s Preferential commitments within 30 days after each quarter from the commencement date of the contract.

  - Bidders need to keep auditable substantive records / evidence and upon request by SITA must be made available for audit and, or due diligence purposes.

  - SITA reserves the right to require from a Bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim with regards to preferences, in any manner required by SITA.

  - SITA reserves the right to verify information / evidence provided by the Bidder.

  - SITA reserves the right to introduce a penalty of 1% of the overall annual year spent by SITA for the prior year if the Bidder fails to comply to paragraphs (a), (b) and (c) above.

- SUPPLIER DUE DILIGENCE

SITA reserves the right to conduct supplier due diligence prior to final award or at any time during the Contract period and this may include pre-announced/ non-announced site visits. During the due diligence process the information submitted by the bidder will be verified and any misrepresentation thereof may disqualify the bid or Contract in whole or parts thereof.

## DECLARATION OF COMPLIANCE

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The bidder declares to ACCEPT ALL the Special Condition of Contract as specified in section 7.2 above by indicating with an “X” in the “ACCEPT ALL” column, OR - The bidder declares to NOT ACCEPT ALL the Special Conditions of Contract as specified in section 7.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and; - Provide reason and proposal for each of the conditions that is not accepted. |  |  |
| Comments by bidder: Provide reason and proposal for each of the conditions not accepted as per the format: Condition Reference: Reason: Proposal: |  |  |

COSTING AND PREFERENCE

# COSTING AND PREFERENCE

## COSTING AND PREFERENCE EVALUATION

- In terms of the SITA Preferential Procurement Policy (PPP), the following preference point system is applicable to all Bids:

  - the 80/20 system (80 Price, 20 B-BBEE) for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); or

  - the 90/10 system (90 Price and 10 B-BBEE) for requirements with a Rand value above R50 000 000 (all applicable taxes included).

- The Applicable Preference Point system for this tender is the 80/20 preference point system.

- Points for this tender shall be awarded for:

  - Price; and

  - Preference points for specific goals.

- The maximum points for this tender will be allocated as follows, subject to par.2.

Table: Points allocation

| Description | Points |
| --- | --- |
| Price | 80 |
| Preference points for specific goals | 20 |
| Total points for Price and preference points for specific goals | 100 |

## COSTING CONDITIONS

- SOUTH AFRICAN PRICING

The total price must be VAT inclusive and be quoted in South African Rand (ZAR).

- TOTAL PRICE

  - Bidder will be bound by the following general costing and pricing conditions and SITA reserves the right to negotiate the conditions or automatically disqualify the bidder for not accepting these conditions:

  - All quoted prices are the total price for the entire scope of required services and deliverables to be provided by the bidder.

  - The cost of delivery, labour, S&T, overtime, etc. must be included in this bid.

  - All additional costs must be clearly specified.

  - SITA reserves the right to: negotiate pricing with the successful bidder prior to the award as well as envisaged quantities.

  - SITA and the awarded service provider may agree to partial payments on completion of the phases provided under 7.2 Special Conditions of Contract, point 3 DELIVERY SCHEDULE: Work Breakdown Structure.

  - These conditions will form part of the Contract between SITA and the bidder. However, SITA reserves the right to include or waive the condition in the Contract.

  - The bidder must complete the declaration of acceptance as per section 8.3 below by marking with an “X” either “ACCEPT ALL”, or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified.

## BID PRICING SCHEDULE

Note: Bidders will complete the bid pricing schedule in the Excel spreadsheet format provided    and include this as part of the hard copy submission documents and on the memory stick/USB to be submitted

## DECLARATION OF ACCEPTANCE

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The bidder declares to ACCEPT ALL the Costing and Pricing conditions as specified in section 8.2 above by indicating with an “X” in the “ACCEPT ALL” column, or - The bidder declares to NOT ACCEPT ALL the Costing and Pricing Conditions as specified in section 8.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and; - Provide reason and proposal for each of the condition not accepted. |  |  |
| Comments by bidder: Provide the condition reference, the reasons for not accepting the condition. |  |  |

## PREFERENCE REQUIREMENTS

## INSTRUCTION AND POINT ALLOCATION

- The bidder must complete in full all the PREFERENCE requirements.

- Allocation of points per requirements: The points allocation of bidders’ responses to the requirements will be determined by the completeness, relevance and accuracy of substantiating evidence.

- Points will be allocated for each PREFERENCE requirement as per the criteria set in each section in the table 1 below.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response. During evaluation, SITA reserves the right to treat substantiation evidence that cannot be located in the bid response, as “NOT COMPLY”. The evidence needs to be attached to ANNEX B.

- Preference Goal Requirements:

  - The applicable Preference Point system for this tender and points claimed is 80/20.

  - The specific Preferential Goal Requirements for this tender is indicated in table 1 below.

  - The Bidder must complete the 80/20 preference point system and submit proof or documentation required in terms of this tender.

  - The Bidder must indicate their commitment to claim points for each of the preference points by signing at  par 4.5 in the Invitation to Bid document.

  - Failure on the part of a bidder to submit proof or documentation required or to comply to paragraph (d) above  in terms of this tender to claim preference points for the Preference Goal Requirements for this tender, will be interpreted to mean that preference points are not claimed.

  - The Bidder’s commitment for the Preference Goal Requirements in this tender will be legally binding and the Bidder needs to perform against their commitment for the duration of the contract which will form part of the Contractual Agreement.

  - The Bidder must sustain, or improve the company’s BBBEE Level for the duration of the contact which will form part of the Contractual Agreement.

  - Performance of Preference Goal Requirements will be determined annually. Bidders must submit their Preference status report to SITA indicating progress against the Bidder’s Preferential commitments within 30 days after each quarter from the commencement date of the contract.

  - Bidders need to keep auditable substantive records / evidence and upon request by SITA must be made available for audit and, or due diligence purposes.

  - SITA reserves the right to require from a Bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim with regards to preferences, in any manner required by SITA.

  - SITA reserves the right to verify information / evidence provided by the Bidder.

  - SITA reserves the right to introduce a penalty of 1% of the overall annual year spent by SITA for the prior year if the Bidder fails to comply to paragraphs (f), (g) and (h) above.

Table 1 : Preference Goal Requirements

| Preference Goal Requirement # | Preferential Goal Requirements | Preferential Goal Requirements for (80/20) system |  |  |
| --- | --- | --- | --- | --- |
|  | Preferential Goal Requirements allocated for this tender | Number of points allocated (80/20) system (To be completed by the organ of state) | Substantiating evidence and evidence reference to be completed by bidder. Evaluation per requirement: Each requirement indicated in the tables below must be completed and points will be allocated based on the evidence required below for the (80/20) system. | Evidence reference for the (80/20) system |
|  | B-BBEE Requirements | 20,0 |  |  |
| 1) | B-BBEE Requirements Promotion of Transformational Objectives. | 20,0 | Evidence: The Bidder must provide a copy of relevant evidence for the Preferential Goal points which the Bidder qualifies for. Points allocation: Points will be allocated for bidders that meets the requirements as indicated in table 2 in section 7.4.1. | <provide unique reference to locate (80/20) system substantiating evidence in the bid response – Annex B, section 8.4> |
|  | Total Point Allocation: | 20,0 |  |  |

Table 2: B-BBEE Points as part of the Preference Goal requirements

Note: Bidder to select the section for points they wish to claim (Mark as Y=Yes) in the table below.

|  |  |  |  | Ownership of at least 51% of People who are: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Reference # | Contributor Level as defined in the Broad-Based Black Economic Empowerment Act | Local Entity | EME/QSEs | Woman Owned | Youth Owned | Owned by People living with disabilities | Score | Bidder to select the section for points they wish to claim (Mark as Y= Yes) |
|  | (A) | (B) | (C) | (D) | (E) | (F) | (G) |  |
| 1 | Level 1 | 0 | 4 | 8 | 6 | 2 | 20 |  |
| 2 | Level 1 | 0 | 4 | 8 | 6 | 0 | 18 |  |
| 3 | Level 1 | 0 | 4 | 8 | 0 | 0 | 12 |  |
| 4 | Level 2 and 3 | 0 | 2 | 4 | 2 | 2 | 10 |  |
| 5 | Level 2 and 3 | 0 | 2 | 4 | 2 | 0 | 8 |  |
| 6 | Level 2 and 3 | 0 | 2 | 4 | 0 | 0 | 6 |  |
| 7 | Level 4 and 5 | 0 | 1 | 2 | 1 | 1 | 5 |  |
| 8 | Level 4 and 5 | 0 | 1 | 2 | 1 | 0 | 4 |  |
| 9 | Level 4 and 5 | 0 | 1 | 2 | 0 | 0 | 3 |  |
| 10 | Level 6 | 0 | 0 | 0 | 0 | 0 | 0 |  |
| 11 | Level 7 | 0 | 0 | 0 | 0 | 0 | 0 |  |
| 12 | Level 8 | 0 | 0 | 0 | 0 | 0 | 0 |  |
| 13 | Non-Contributor | 0 | 0 | 0 | 0 | 0 | 0 |  |
|  | Total Maximum Score Allocation: 20 G= A+B+C+D+E+F |  |  |  |  |  |  |  |

TERMS AND DEFINITIONS

# ABBREVIATIONS

BPM		Business Process Management

DG		Director-General

IT		Information Technology

OEM            	Original Equipment Manufacturer

URL              Uniform Resource Locator

SCC             	Special Conditions of Contract

B-BBEE        	Broadcast-Based Black Economic Empowerment

ISO/IEC        International Organization for Standardization /International Electronica Commission

PPP	Preferential Procurement Policy

POPIA          Protection of Personal Information Act

SITA             	 State Information Technology Agency

SBS               Service Breakdown Structure

GCC              General Conditions of Contract

SCC               Special Conditions of Contract

OS                 Operating system

MS                Microsoft

BIDDER SUBSTANTIATING EVIDENCE

# 8.	MANDATORY REQUIREMENT EVIDENCE

## BIDDER EXPERIENCE AND CAPABILITY REQUIREMENTS

Complete table below, noting that:

  - The Bidder must provide reference details from at least two (2) customers to whom projects for the refurbishment of ablutions in a Corporate Environment were delivered within the past ten (10) years.

  - Project end-date must be current or not older than ten (10) years from date this bid is advertised,

  - Scope of work must be related.

Table 1: References

| No | Company name | Reference Person Name, Tel and/or email | Project Scope of work | Project Start and End-date |
| --- | --- | --- | --- | --- |
| 1 | <Company name> | <Person Name> <Tel> <email> | < Provide the details of the scope for a project for the refurbishment of ablutions in a Corporate Environment were delivered within the past ten (10) years > | Start Date: End Date: |
| 2 | <Company name> | <Person Name> <Tel> <email> | < Provide the details of the scope for a project for the refurbishment of ablutions in a Corporate Environment were delivered within the past ten (10) years > | Start Date: End Date: |

- Note (1):

- Failure to complete Table 1 fully as indicated above will result in disqualification.

- Note (2):

- SITA reserves the right to verify the information provided.

## CIDB RATING

The Bidder must complete and sign ANNEX D as evidence that the bidder is registered with the CIDB with a minimum rating or higher for all of the following and attach it here:

    - 5GB; and

    - 2SO; and

    - 2EB.

Note:

SITA reserves the right to verify the information provided.

## TECHNICAL PRODUCT/ SERVICE FUNCTIONAL REQUIREMENTS

- The bidder must confirm that they comply with the Technical Product/ Service Functional Requirements by completing and signing Annex C, Addendum 1.

- Note (1):

- Failing to comply with all the aspect of this section will result in disqualification.

- Note (2):

- SITA reserves the right to verify the information provided.

## PREFERENTIAL GOAL REQUIREMENTS

The Bidder must:

  - PREFERENTIAL GOAL REQUIREMENTS

- Bidder must complete the 80/20 preference point system and submit proof or documentation required in terms of this tender to claim preference points for the Preference Goal Requirements and attach it here:

    - Preference Goal Requirements: (80/20 system)

- Bidder to select the section for points they wish to claim (Mark as Y=Yes) in the table 2 in section 7.4.1;

and

- The Bidder must provide a copy of relevant evidence for the Preferential Goal points which the Bidder qualifies for as set out in table 1 in section 7.4.1 and attach it here.

  - Indicate their commitment to claim points for each of the preference points by signing at par 4.5 in the Invitation to Bid document.

- NOTE (1):

Failure on the part of a bidder to comply to paragraphs (a) and (b) above, will be interpreted to mean that preference points are not claimed.

# ANNEX C, ADDENDUM 1

NB:  The bidder must confirm that they comply with the following Technical Product/ Service Functional Requirements as indicated below as this will be legal contractual binding:

  - SERVICE FUNCTIONAL REQUIREMENT

| No | Service Functional requirement | Duration |
| --- | --- | --- |
| 1 | All material used shall be of approved quality, colours, profiles and thickness | For the duration of the contract |
| 2 | That contractor shall ensure that its team has relevant expertise and have necessary equipment and tools to undertake the work. | For the duration of the contract |
| 3 | A full comprehensive program/project plan to be supplied with the technical bid spec for approval indicating a clear proposed timeframe, project milestone and its dependences. | For the duration of the contract |
| 4 | All working areas to be kept clear, neat and clean, and non-obstructive at all times. The related work activities should not hamper or endanger any SITA employees, Clients and Visitors. | For the duration of the contract |
| 5 | The contractor will be expected to issue a warranty certificate on the work done. | For the duration of the contract |
| 6 | The contractor will have to adhere to SA National Building and Occupational Health and Safety regulations and standards at all times. | For the duration of the project |

I, the bidder (Full names) ……………………………………………. representing (company

name) ………………………………………………... Hereby confirm that I comply with the above

Technical Product / Service Functional Requirements and understand that it will form part of the contract and is

legally binding.

Thus done and signed at ……………………………………. on this………day of…………….….20….

……………………………….

Signature

# ANNEX D: CIDB REGISTRATION REQUIREMENT

The Bidder needs to complete and sign ANNEX D as evidence that the bidder, or subcontractor is registered with the CIDB with a minimum rating or higher for all of the following:

    - 5GB; and

    - 2SO; and

    - 2EB.

The Bidder needs to indicate their CIDB rating by ticking next to the relevant CIDB rating in the table below:

| Service and Support (Milestones) | CIDB Rating (minimum, or Higher) | Indicate the CIDB rating here by ticking next to the appropriate rating | Bidder to Indicate the Bidder’s CIDB rating here |
| --- | --- | --- | --- |
| CIDB Rating/ Level | 5GB; and |  |  |
|  | 2SO; and |  |  |
|  | 2EB |  |  |
|  | Higher |  |  |

- The Bidder needs to provide the Bidder’s CRS number in the space in the table below:

| Requirement | Bidder CRS Number |
| --- | --- |
| Bidder’s CRS number relating to the minimum, or higher rating of 5GB; and |  |
| Bidder’s CRS number relating to the minimum, or higher rating of 2SO; and |  |
| Bidder’s CRS number relating to the minimum, or higher rating of 2EB. |  |

- The Bidder confirms and will ensure compliance to the CIDB Basic Guide General Conditions of Contract for Construction Works (GCC 2004) as referred to in Annex F for the Bid Specification Scope of work for the duration of the contract.

I, the Supplier (Full names) …………………………………………………. representing (company name) ……………………………………………………………. hereby confirm that the Bidder is registered with Construction Industry Development Board (CIDB) and understand that it will form part of the contract and is legally binding.

Thus done and signed at ……………………………………. On this………day of……………….20….

__________________					_____________________

Signature							Designation: