{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Summary","1. Gas Suppression Systems","2. P & G's"],"not_rendered":{"external_links":2,"defined_names":5},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Summary","index":0,"n_rows":49,"n_cols":4,"rows_kept":49,"flags":["formulas_cached_only"]}
[null,"Summary of Mechanical Services Schedule of Prices"]
[]
["Item No.","Description","Unit","Total"]
[{"$nulls":3},"Rands"]
[]
["Sch. 1","Gas suppression system - 300bar","Item"]
[]
["Sch. 2","Preliminary & General Items 5%","Item"]
[]
[3,"Contigency to be expended at the discretion of the engineer 20%","Item"]
[]
[4,"Subtotal","Item"]
[]
[5,"Add VAT @ 15%"]
[]
[null,"GRAND TOTAL"]
[]
[null,"Day Works & Additional Material"]
[null,"Provisional sum above to be expended as and when required upon instructions from the engineer and against which the contractor shall have no claim except where such instructions are passed and deducted in whole or in part if not required. The rates for items below shall be used"]
[]
[null,"Labour"]
[null,"The rates for labour in dayworks are to be applied to the hours worked and are to include overheads, profits, etc."]
[]
[null,"Normal Time"]
[null,"Technician","R/hr"]
[null,"Apprentice","R/hr"]
[null,"Semi-skilled","R/hr"]
[null,"Labourer","R/hr"]
[]
[null,"Out of Hours"]
[null,"Technician","R/hr"]
[null,"Apprentice","R/hr"]
[null,"Semi-skilled","R/hr"]
[null,"Labourer","R/hr"]
[]
[null,"Sundays and Public Holidays"]
[null,"Technician","R/hr"]
[null,"Apprentice","R/hr"]
[null,"Semi-skilled","R/hr"]
[null,"Labourer","R/hr"]
[]
[null,"Transport"]
[null,"The following nett rates for transport are to be applied and they are include for the provision of the vehicle fuel, driver waiting and travelling time."]
[]
[null,"Passengers vehicle in dayworks"]
[null,"LDV in dayworks.","R/day"]
[null,"5 ton truck in dayworks","R/day"]
[]
[null,"Summary of Gas Suppression Services Schedule of Prices"]

{"sheet":"1. Gas Suppression Systems","index":1,"n_rows":38,"n_cols":8,"rows_kept":38,"flags":["formulas_cached_only"]}
[null,"SCHEDULE No. 1"]
[null,"Gas Suppression System"]
[]
[]
["Item No.","Description","Unit","Qty","Rate","Total",null,"U Price"]
[{"$nulls":4},"Rands","Rands"]
[]
[1.1,"Gas suppression system - 300bar"]
[null,"Design, manufacture, works testing, supply and delivery to site, moving into position, erection, connecting up,  site testing, witness testing, proving to the inspectors, demonstrating to the Employer and maintenance of the complete installation as outlined in the specification and on the drawings. The system shall comprise all gas bottles and brackets, Gas control panel, pipework, nozzles including all accessories and fittings for a complete working system within the room and the ceiling void. "]
[]
["1.1.1","Ansul Inergen System 1 - CSIR Archive  - 279m3 ","System",1,{"$nulls":3},15300]
["1.1.2","Ansul Inergen System 2 - Financial Archive - 230m3","System",1]
["1.1.3","Room integrity test","No.",2,{"$nulls":3},1757]
["1.1.4","Pressure relief damper (Gravity fire damper)","No.",2,{"$nulls":3},925]
["1.1.5","Fire detection system including:","System",1,{"$nulls":3},1000]
[null,"Smoke detectors - 4off",{"$nulls":5},6898]
[null,"Sounders and strobes - 4off",{"$nulls":5},5409]
[null,"Fire detection cable/s and accessories",{"$nulls":5},1243]
[null,"Gas suppression panel - 2off",{"$nulls":5},364]
["1.1.6","Gas system installation","System",1,{"$nulls":3},95]
["1.1.7","System coordination of fire detection installation including linking to the HVAC system. ","Item",1,{"$nulls":3},95]
[{"$nulls":7},10]
[{"$nulls":7},10]
[{"$nulls":7},2500]
[{"$nulls":7},2500]
{"$rows_empty":12}
[null,"Total of Schedule No. 1",{"$nulls":3},{"v":0,"d":"0.00"}]

{"sheet":"2. P & G's","index":2,"n_rows":84,"n_cols":6,"rows_kept":84,"flags":["formulas_cached_only"]}
[null,"SCHEDULE No. 2"]
[null,"Conditions of Contract & Contract Preliminaries"]
[]
[]
["Item No.","Description","Unit","Qty","Rate","Total"]
[{"$nulls":4},"Rands","Rands"]
[1,"P & Gs"]
[]
[1.1,"The Tenderer shall allow for items not included in Contract Preliminaries but deemed necessary for the completion of the Mechanical Services Installation based on the Specification and Drawings."," "," "]
[null," "]
[null,"Items must be detailed below stating which items are variable with time (VT) and variable with value (VV) :"," "]
[]
["1.1.1","Allow for the preparation and submittal of information necessary for tender proposals  ","Item",1]
[" "," "," "," "]
["1.1.2","Allow for the preparation and submittal of Pre-Construction "]
[]
["1.1.3","Stage information including working drawings, builderswork and equipment schedules","Item",1]
[null," "]
["1.1.4","Allow for the submittal of  Samples of fittings if required","Item",1]
[" ",null," "," "]
["1.1.5","Allow for the provision of spares and consumables as  "]
[null,"recommended by the Manufacturer of the equipments "," "," "]
[null,"concerned","Item",1]
[" "," "," "," "]
["1.1.6","Allow for the provision of transport, plant,small tools,"," "," "]
[null,"scaffolding, steps and ladders as required including erecting, shifting and removing as necessary.","Item",1]
[]
[" "]
["1.1.7","Allow for receiving, unloading, checking and removing to "]
[null,"store all materials and equipment on arrival at site.","Item",1]
[null,null," "," "]
["1.1.8","Allow for the protection of the installations and stored "]
[null,"materials and products at site","Item",1]
[null," "," "," "]
["1.1.9","Allow for the attendance to all meetings and submittal of "," "," "]
[" ","monthly progress reports","Item ",1]
[]
["1.1.10","Allow for the Production and submittal of Operation &"," "," "]
[null,"Maintenance Manuals and record information","Item ",1]
[null," "]
["1.1.11","Allow for the Submittal of Test Schedules as stated in the specifications","Item ",1]
[]
[]
[null,"Total of this page carried forward"]
[]
[null,"SCHEDULE No. 2 (cont'd)"]
[null,"Conditions of Contract & Contract Preliminaries"]
[]
[]
["Item No.","Description","Unit","Qty","Rate","Total"]
[{"$nulls":4},"Rands","Rands"]
[]
[null,"Total of previous page brought forward"]
[]
[]
["1.1.12","Allow for Familiarisation and Training of Employers staff","Item",1]
[]
["1.1.13","Allow for Defects and Maintence of the Installation Works"]
[null,"after Practical Completion for a period of 12 Months","Item ",1]
[]
[1.2,"The tenderer shall allow for any items not included in main contract preliminaries but deemed necessary for the completion of the mechanical services installation based on the specification and drawings. "]
[]
[null,"Including but not limited to:"]
[" ",null,null," "]
["1.2.1","Builderswork and Core drilled services penetrations.","Item",1]
["1.2.2","Fire stopping of services penetrations.","Item",1]
["1.2.3","Weather sealing of services penetrations.","Item",1]
["1.2.4","Sealing services penetrations to prevent unwanted air leakage.","Item",1]
["1.2.5","Sealing services penetrations to prevent noise transfer.","Item",1]
["1.2.6","Providing items, accessories or apparatus which may not have been specifically mentioned but which are usual or necessary for the fabrication, handling during installation, or to achieve and maintain the performance requirements and safe operation.","Item",1]
["1.2.7","Providing secondary and tertiary steelwork, supports and hangers including final builderswork design and detailing, member sizing, calculations, connection detailing etc","Item",1]
["1.2.8","Stripping, making good and safe disposal of existing CO2 gas suppression system.","Item",1]
{"$rows_empty":11}
[null,"Total of this page"]