Specifications for servicing fire protection systems at ARC-NRE Arcadia campus:

1. Fire detection/alarm system (24 zones)

2. NAF/FM200 gas fire suppression systems x 6
including fault finding on one panel

3. CO2 gas fire suppression system
including fault finding on panel

Onsite briefing session required


Compulsory Requirements 
The supplier must provide the following requirements:
· SAQCC registration certificate
· SABS-approved Certificate
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