DUNJAZANE WATER PIPELINE & PUMPSTATION EMERGENCY SCHEME

CONTRACT NO: UGU-07-1640-2023

CONSTRUCTION OF 110mm DIAMETER UPVC PUMPING MAIN OF 2 km, PUMP STATION, RETICULATION, STANDPIPES AND 500kl RESERVOIR

PART C2: 	PRICING DATA

INDEX

PART C2: PRICING DATA	PD2

C2.1 	Pricing Instructions	PD2

C2.2 	Schedule of Quantities	PD4

# PART C2: PRICING DATA

## C2.1 	Pricing Instructions

1 	The Conditions of Contract, the Contract Data, the Specifications (including the Project Specifications) and the Drawings shall be read in conjunction with the Bill of Quantities.

2	The Bill comprises items covering the Contractor's profit and costs of general liabilities and of the construction of Temporary and Permanent Works.

Although the Tenderer is at liberty to insert a rate of his own choosing for each item in the Bill, he should note the fact that the Contractor is entitled, under various circumstances, to payment for additional work carried out and that the Engineer is obliged to base his assessment of the rates to be paid for such additional work on the rates the Contractor inserted in the Bill. Clause 8 of each Standardized Specification, and the measurement and payment clause of each Particular Specification, read together with the relevant clauses of the Project Specifications, all set out which ancillary or associated activities are included in the rates for the specified operations.

3	Descriptions in the Bill of Quantities are abbreviated and may differ from those in the Standardized and Project Specifications. No consideration will be given to any claim by the Contractor submitted on such a basis. The Bill has been drawn up generally in accordance with the latest issue of Civil Engineering Quantities from the South African Institution of Civil Engineers. Should any requirement of the measurement and payment clause of the appropriate Standardized or Project Specification(s) be contrary to the terms of the Bill or, when relevant, to the Civil Engineering Quantities, the requirement of the appropriate Standardized, Project, or Particular Specification as the case may be, shall prevail.

4	Unless stated to the contrary, items are measured net in accordance with the Drawings without any allowance having been made for waste.

5	The amounts and rates to be inserted in the Bill of Quantities shall be the full inclusive amounts to the Employer for the work described under the several items.  Such amounts shall cover all the costs and expenses that may be required in and for the construction of the work described, and shall cover the costs of all general risks, profits, taxes (but excluding value-added tax), liabilities and obligations set forth or implied in the documents on which the Tender is based.

6	The tenderer has to complete the schedule of quantities in full. Items against which no price is entered are to be considered as incomplete and invalidate the tender. Items against which N/A, left blank or – (dash) is entered are to be considered as incomplete and will also invalidate the tender. Items against which Nil or zero (0) is entered are to be considered to be fully priced and the tenderer will provide the items in questions as specified at zero (0) or Nil price

Rates are to be inserted in BLACK ink. Any amendments must be neatly crossed and initialled. The use of correction ink is NOT permitted.

The Tenderer shall also fill in a rate against the items where the words "rate only" appear in the amount column. Although no work is foreseen under these items and no quantities are consequently given in the quantity column, the tendered rates shall apply should work under these items actually be required.

A Tenderer is NOT PERMITTED to group a number of items together and tender one sum for such group of items. IF THIS IS DONE IT WILL RENDER THE TENDER INVALID.

The tendered rates, prices and sums shall, subject only to the provisions of the Conditions of Contract, remain valid irrespective of any change in the quantities during the execution of the Contract.

- The quantities of work as measured and accepted and certified for payment in accordance with the Conditions of Contract, and not the quantities stated in the Bill of Quantities, will be used to determine payments to the Contractor. The validity of the Contract shall in no way be affected by differences between the quantities in the Bill of Quantities and the quantities certified for payment.

Ordering of materials are not to be based on the Bill of Quantities, but only on information issued for construction purposes.

8	For the purposes of this Bill of Quantities, the following words shall have the meanings hereby assigned to them:

Unit		:	The unit of measurement for each item of work as defined in the Standardized, Project or Particular Specifications

Quantity		:	The number of units of work for each item

Rate		:	The payment per unit of work at which the Tenderer tenders to do the work

Amount		:	The quantity of an item multiplied by the tendered rate of the (same) item

Sum		:	An amount tendered for an item, the extent of which is described in the Bill of Quantities, the Specifications or elsewhere, but of which the quantity of work is not measured in units

9	The units of measurement indicated in the Bill of Quantities are metric units.  The following abbreviations may appear in the Bill of Quantities:

mm	=	millimetre

m	=	metre

km	=	kilometre

km-pass	=	kilometre-pass

m²	=	square metre

m²-pass	=	square metre-pass

ha	=	hectare

m³	=	cubic metre

m³-km	=	cubic metre-kilometre

kW	=	kilowatt

kN	=	kilo newton

kg 	=	kilogram

t	=	ton (1 000 kg)

%	=	per cent

MN	=	meganewton

MN-m	=	meganewton-metre

PC Sum	=	Prime Cost Sum

Prov Sum	=	Provisional Sum

## C2.2 	Schedule of Quantities

| ITEM |  | REFERENCE CLAUSE | D E S C R I P T I O N | UNIT | QUANTITY | RATE(R) | AMOUNT(R) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SECTION A: PRELIMINARY AND GENERAL |  |  |  |  |  |  |  |
|  |  | SANS 1200 A | PRELIMINARY AND GENERAL |  |  |  |  |
|  |  | 8.3 | FIXED-CHARGE ITEMS |  |  |  |  |
| A. | 1 | 8.3.1 | Contractual requirements | Sum | 1 |  |  |
| A. | 2 | PSA 5.1.1 | Other fixed charge obligations | Sum | 1 |  |  |
|  |  | PSA 5.1.2 | Establish facilities on site |  |  |  |  |
|  |  | SANS 1200 A | Facilities for Engineer |  |  |  |  |
| A. | 3 | PSAB 1.3.1 | Offices - interior floor space 30 m² | sum | 1 |  |  |
| A. | 4 | PSAB 2.1 | Survey equipment | sum | 1 |  |  |
| A. | 5 | PSAB 1.4.1 | Engineer's vehicle | sum | 1 |  |  |
| A. | 6 | PSAB 1.5.1 | Shelter for 2 motor vehicles | Sum | 1 |  |  |
| A. | 7 | PSAB 1.6.1 | Fencing around site establishment | m | 80 |  |  |
| A. | 8 | 8.4.2.1 | Provision of a 220 Volt single phase power supply (Prov.) | Prov sum | 1 | 20 000.00 | 20 000.00 |
| A. | 9 |  | Percentage mark up on item A.8 | % | 20 000.00 |  |  |
| A. | 10 | 8.4.2.1 | Provision of potable water supply for use by the Engineer | Prov Sum | 1 | 20 000.00 | 20 000.00 |
| A. | 11 |  | Percentage mark up on item A.10 | % | 20 000.00 |  |  |
| A. | 12 | PSAB 1.2.1 | Computers, printers & cellphone | sum | 1 |  |  |
| A. | 13 | PSAB 1.1.1 | Contract sign board | no | 1 |  |  |
|  |  | SANS 1200 A 8.3.2.2 | Facilities for Contractor |  |  |  |  |
| A. | 14 |  | Office, workshop, and stores | Sum | 1 |  |  |
| A. | 15 |  | Concrete curing baths | Sum | 1 |  |  |
| A. | 16 |  | Living accommodation | Sum | 1 |  |  |
| A. | 17 |  | Ablution and latrine facilities | Sum | 1 |  |  |
| A. | 18 |  | Water and electric power supplies | Sum | 1 |  |  |
| A. | 19 |  | Tools and equipment | Sum | 1 |  |  |
| A. | 20 |  | Communications | Sum | 1 |  |  |
| A. | 21 |  | Dealing with Water (Subclause 5.5) | Sum | 1 |  |  |
| A. | 22 |  | Access (Subclause 5.8) | Sum | 1 |  |  |
| A. | 23 | 8.3.4 | Removal of Site establishment upon completion | sum | 1 |  |  |
|  |  | 8.4 | TIME-RELATED ITEMS |  |  |  |  |
| A. | 24 | 8.4.1 | Contractual requirements | Sum | 1 |  |  |
|  |  | 8.4.2 | Operate and maintain facilities on site for the duration of construction,except where otherwise stated: |  |  |  |  |
|  |  | 8.4.2.1 | Facilities for the Engineer |  |  |  |  |
| A. | 25 | PSAB 1.1.2 | Name boards | Sum | 1 |  |  |
| A. | 26 | PSAB 1.3.2 | Engineer's office, furniture, kitchen & ablutions | Sum | 1 |  |  |
| A. | 27 | PSAB 1.4.2 | Engineers Vehicle | sum | 1 |  |  |
| A. | 28 | PSAB 1.5.2 | Vehicle shelter | Sum | 1 |  |  |
| A. | 29 |  | Provision of a 220 Volt single phase power supply (Prov.) | sum | 1 |  |  |
| A. | 30 |  | Provision of potable water supply for use by the Engineer | sum | 1 |  |  |
| A. | 31 | PSAB 1.2.2 | Computers, printers & cellphone | sum | 1 |  |  |
| A. | 32 | PSAB 2.1.2 | Survey equipment | Sum | 1 |  |  |
|  |  | 8.4.2.2 | Facilities for the Contractor |  |  |  |  |
| A. | 33 |  | Offices, workshop and storage | Sum | 1 |  |  |
| A. | 34 |  | Living accommodation | Sum | 1 |  |  |
| A. | 35 |  | Water and electric power supplies | Sum | 1 |  |  |
| A. | 36 | 8.4.2.2 | Ablution and latrine facilities | Sum | 1 |  |  |
| A. | 37 | 8.4.2.2 | Tools and equipment | Sum | 1 |  |  |
| A. | 38 | 8.4.2.2 | Communications | Sum | 1 |  |  |
| A. | 39 |  | Dealing with Water (Subclause 5.5) | Sum | 1 |  |  |
| A. | 40 |  | Access (Subclause 5.8) | Sum | 1 |  |  |
| A. | 41 | 8.4.3 | Supervision for the duration of the contract | Sum | 1 |  |  |
| A. | 42 | 8.4.4 | Company and head office overhead costs | Sum | 1 |  |  |
|  |  |  | Other time-related obligations |  |  |  |  |
| A. | 43 | 8.4.5 | Other time-related obligations not covered above | Sum | 1 |  |  |
| A. | 44 | PSA 5.2.2 | Health & Safety obligations for the contract | Sum | 1 |  |  |
| A. | 45 | PSA 5.2.3 | Environmental management | Sum | 1 |  |  |
|  |  | 8.5 | Provisional Sums stated by the Engineer |  |  |  |  |
| A. | 46 | PSA 5.2.4.1 | Community Liaison officer appointed by the Employer | Prov Sum | 1 | 40 000.00 | 40 000.00 |
| A. | 47 | PSA 5.2.4.2 | Management, overheads, charges and profit on the above item | % | 40 000.00 |  |  |
| A. | 48 | PSA 5.2.5.1 | Engineer's accomodation | Prov Sum | 1 | 75 000.00 | 75 000.00 |
| A. | 49 | PSA 5.2.5.2 | Management, overheads, charges and profit on the above item | % | 75 000.00 |  |  |
| A. | 50 | PSA 5.2.6.1 | Additional Testing instructed by the Engineer | Prov Sum | 1 | 50 000.00 | 50 000.00 |
| A. | 51 | PSA 5.2.6.2 | Management, overheads, charges and profit on the above item | % | 50 000.00 |  |  |
| A. | 52 |  | Allowance for fencing at reservoir & pumpstation | Prov Sum | 1 | 350 000.00 | 350 000.00 |
| A. | 53 |  | Management, overheads, charges and profit on the above item | % | 350 000.00 |  |  |
| A. | 54 |  | Allowance for telemetry system | Prov Sum | 1 | 100 000.00 | 100 000.00 |
| A. | 55 |  | Management, overheads, charges and profit on the above item | % | 100 000.00 |  |  |
| TOTAL FOR SECTION A: PRELIMINARY AND GENERAL |  |  |  |  |  |  |  |
| SECTION B: PIPELINES - BULK MAINS |  |  |  |  |  |  |  |
|  |  | SANS 1200DB | EARTHWORKS: PIPE TRENCHES |  |  |  |  |
|  |  | 8.3.1 | Site Clearance |  |  |  |  |
| B. | 1 | PSDB 4.3.1.1 | Remove vegetation and trees up to 1m girth as directed along pipe trench 2m wide | m | 1 900 |  |  |
| B. | 2 | 8.3.1(b) | Remove trees over 1m and up to 2m girth including destumping and remove off site as directed | No. | 5 |  |  |
| B. | 3 | PSDB 4.3.1.2 | Clear veld grass and remove topsoil to a nominal depth of 150mm for trench width and stockpile, replace topsoil when trench is backfilled. | m2 | 1 900 |  |  |
| B. | 4 | PSC 1.2 | Take down and erect existing fences | m | 50 |  |  |
|  |  | 8.3.2 | Excavation |  |  |  |  |
|  |  | PSDB 4.3.2.ii | Excavate in all materials for trenches,backfill,compact and dispose of surplus material |  |  |  |  |
| B. | 5 |  | 1m wide trench - up to 1.5m deep | m | 1 805 |  |  |
| B. | 6 |  | 1m wide trench - between 1.5m and 2.5m deep | m | 95 |  |  |
|  |  |  | Extra-over item above for |  |  |  |  |
| B. | 7 |  | Intermediate excavation | m3 | 513 |  |  |
| B. | 8 |  | Boulder excavation Class B | m3 | 428 |  |  |
| B. | 9 |  | Hard Rock excavation | m3 | 428 |  |  |
| B. | 10 | 8.3.2(c) | Excavate unsuitable material from trench bottom and dispose thereof | m3 | 855 |  |  |
|  |  | PSDB 4.3.3 | Services that intersect a trench - |  |  |  |  |
| B. | 11 |  | Cables | No. | 50 |  |  |
|  |  | PSDB 4.3.3 | Services that adjoin a trench - |  |  |  |  |
| B. | 12 |  | Cables | m | 150 |  |  |
|  |  | SANS 1200LB | BEDDING |  |  |  |  |
|  |  | 8.2.2.3 | Provision of bedding from commercial sources: |  |  |  |  |
| B. | 13 | 8.2.2.3(a) | a. Selected granular material | m3 | 190 |  |  |
| B. | 14 | 8.2.2.3(b) | b. Selected Fill material | m3 | 855 |  |  |
|  |  |  | Concrete encasing: |  |  |  |  |
| B. | 15 | 8.2.4 | Encasing of pipes in Class 20/19 concrete | m3 | 10 |  |  |
|  |  | SANS 1200L | MEDIUM-PRESSURE PIPELINES |  |  |  |  |
|  |  | PSL 4.1.1 | Supply, lay, joint, bed,backfill, test and disinfect the following pipes complete with couplings, sockets, compression fittings, specials or flanged jointed material to the relevant SANS standards including short lengths |  |  |  |  |
| B. | 16 |  | Ø110 HDPe Class 16 | m | 70 |  |  |
| B. | 17 |  | Ø110 uPVC Class 16 | m | 1 800 |  |  |
| B. | 18 |  | Ø160 uPVC Class 16 | m | 250 |  |  |
|  |  | 8.2.2 | Eo item for supplying, bedding, jointing and testing and disinfecting the following fittings and specials complete. Cutting of pipes and couplings included: |  |  |  |  |
|  |  |  | uPVC PRESSURE BENDS |  |  |  |  |
|  |  |  | 110 Ø PVC Bends cl 16 |  |  |  |  |
|  |  |  | Bends |  |  |  |  |
| B. | 19 |  | 90° | No | 5 |  |  |
| B. | 20 |  | 45° | No | 5 |  |  |
| B. | 21 |  | 22½° | No | 5 |  |  |
| B. | 22 |  | 11¼° | No | 5 |  |  |
|  |  |  | Compression fittings for Ø110 HDPe pipe |  |  |  |  |
| B. | 23 |  | 90° elbows | No | 2 |  |  |
| B. | 24 |  | Flange adaptor | No | 10 |  |  |
|  |  |  | Fittings for uPVC pipe |  |  |  |  |
| B. | 25 |  | Ø110 CI flange adaptor | No | 10 |  |  |
|  |  | PSL 4.1.2 | Thrust / anchor blocks |  |  |  |  |
| B. | 26 |  | 15 MPa concrete | m3 | 10 |  |  |
| B. | 27 |  | Rough formwork | m2 | 30 |  |  |
| TOTAL FOR SECTION B: PIPELINES - BULKS |  |  |  |  |  |  |  |
| SECTION C: CHAMBERS |  |  |  |  |  |  |  |
|  |  | PC 5.1 | Air Valve Chambers |  |  |  |  |
|  |  |  | Construct air valve chamber complete (INCLUDING fittings, locks, and specials) ffg. pipelines as per details: PN16 |  |  |  |  |
| C. | 1 |  | Ø110 uPVC | No. | 3 |  |  |
|  |  | PC 5.2 | Scour Valve Chambers |  |  |  |  |
|  |  |  | Construct Scour valve chamber complete (INCLUDING fittings,locks and specials) as per details: PN16 |  |  |  |  |
| C. | 2 |  | Ø110 uPVC | No. | 3 |  |  |
|  |  | PC 5.2 | Isolating Valve Chambers |  |  |  |  |
|  |  |  | Construct isolating valve chamber complete (INCLUDING fittings,locks and specials) as per details: PN16 |  |  |  |  |
| C. | 3 |  | Ø110 uPVC | No. | 5 |  |  |
|  |  | PC 5.2 | Non-return Valve Chambers |  |  |  |  |
|  |  |  | Construct non-return valve chamber complete (INCLUDING fittings,locks and specials) as per details: PN16 |  |  |  |  |
| C. | 4 |  | Ø110 uPVC | No. | 3 |  |  |
| TOTAL FOR SECTION C: VALVES & CHAMBERS |  |  |  |  |  |  |  |
| SECTION D: ROAD & STREAM CROSSINGS |  |  |  |  |  |  |  |
|  |  | PSL 3.7 | Road crossings |  |  |  |  |
| D. | 1 | PSL 4.1.6 | Construct tar road crossings complete with excavation, bedding of pipe, testing, disinfecting, connections for Ø110 pipe & reinstatement of road layerworks per detail | m | 20 |  |  |
| D. | 2 |  | Construct stream crossing complete as per details | m | 30 |  |  |
| TOTAL FOR SECTION D: ROAD & STREAM CROSSINGS |  |  |  |  |  |  |  |
| SECTION E - SUNDRIES |  |  |  |  |  |  |  |
|  |  | PSL 4.1.4 | Pipeline Route Markers |  |  |  |  |
| E. | 1 |  | Supply and install concrete pipe markers 0.3m away from pipe trench as per details | No | 20 |  |  |
|  |  | PSG | Connection to Existing Reservoir |  |  |  |  |
| E. | 2 |  | Allow for tie into existing reservoir network | Provisional Sum | 1 | 50 000.00 | R 50 000.00 |
| TOTAL FOR SECTION E: SUNDRIES |  |  |  |  |  |  |  |
| SECTION F: PUMPSTATION |  |  |  |  |  |  |  |
|  |  | SANS 1200 G PK 6.1.5 | PUMP ROOM |  |  |  |  |
|  |  | 8.3.1 | Site Clearance |  |  |  |  |
| F. | 1 | PSDB 4.3.1.1 | Remove vegetation as directed and smaller trees up to 1m girth | m² | 100 |  |  |
| F. | 2 | 8.3.1(b) | Remove trees over 1m and up to 2m girth including destumping and remove off site as directed | No. | 2 |  |  |
|  |  | 8.3.2 | Excavation |  |  |  |  |
|  |  | PSDB 4.3.2.ii | Excavate in all materials for trenches,backfill,compact and dispose of surplus material |  |  |  |  |
| F. | 3 |  | Strip footings 700mm wide | m³ | 15 |  |  |
|  |  |  | Extra-over item above for |  |  |  |  |
| F. | 4 |  | Intermediate excavation | m3 | 8 |  |  |
| F. | 5 |  | Boulder excavation Class B | m3 | 2 |  |  |
| F. | 6 |  | Hard Rock excavation | m3 | 2 |  |  |
| F. | 7 | 8.3.2(c) | Excavate unsuitable material from trench bottom and dispose thereof | m3 | 11 |  |  |
|  |  | 8.2 | F0RMWORK |  |  |  |  |
| F. | 8 | 8.2.1 | Horizontal to roof slab | m² | 30 |  |  |
| F. | 9 | 8.2.2 | vertical 250mm wide to roof slab | m | 22 |  |  |
|  |  | 8.3 | REINFORCEMENT |  |  |  |  |
| F. | 10 | 8.3.1 | a) Mild steel bars | kg | 10 |  |  |
| F. | 11 |  | b) High-tensile steel bars | kg | 950 |  |  |
|  |  | 8.4 | CONCRETE |  |  |  |  |
|  |  | 8.4.3 | Strength concrete, Grade |  |  |  |  |
| F. | 12 |  | a) 25/19 Mpa in strip footing | m³ | 6 |  |  |
| F. | 13 |  | b) 25/19 Mpa in floor slab | m³ | 6 |  |  |
| F. | 14 |  | c) 25/19 Mpa in pump plinths | m³ | 3 |  |  |
| F. | 15 |  | d) 25/19 Mpa in roof slab | m³ | 8 |  |  |
|  |  | 8.4.4 | Unformed surface finishes |  |  |  |  |
| F. | 16 |  | Steel trowelled on top of roof slab | m² | 30 |  |  |
| F. | 17 |  | Damp proof course - 250 micron DPC | m2 | 30 |  |  |
| F. | 18 | PSG 6.3 | Roof slab waterproofing - Sealofix or similar approved | m2 | 30 |  |  |
| F. | 19 |  | Floor screed | m3 | 2 |  |  |
| F. | 20 |  | 230 brickwork - Walls | m2 | 77 |  |  |
| F. | 21 |  | Supply and install complete, Crawl beam - 200 IPE with load test certificate | m | 10 |  |  |
| F. | 22 |  | Chain and pulley hoist for crawl beam to be able to lift a dead load of 800kg | sum | 1 |  |  |
| F. | 23 |  | Sliding joint at walls and roof slab - 2 layers of 3 ply Malthoid | m | 25 |  |  |
| F. | 24 |  | GMS louvres 1000 x 750 complete | no | 6 |  |  |
| F. | 25 |  | Transformer door - 3000 high x 1829 wide, with opening for a crawl beam (Non-standard) 3mm thick with 4 hinges evenly spaced and air vents | no | 1 |  |  |
| F. | 26 |  | Transformer door - 2438 high x 1829 wide (standard ) 3mm thick with air vents | no | 1 |  |  |
| F. | 27 |  | Cable ducts - 90 diameter mPVC | m | 30 |  |  |
| F. | 28 |  | Box out for pipework through walls | no | 4 |  |  |
|  |  |  | Pumps, Motors & MCC |  |  |  |  |
| F. | 29 |  | Supply, install, test, disinfect, commission pumpset inlcuding motors to operate at 10 l/s @ 130m total head | no. | 2 |  |  |
| F. | 30 |  | Motor control centre to operate pumps per specification | no. | 1 |  |  |
| F. | 31 |  | Electrification to pumps & pumpstation including lights, plugpoints and MCC | sum | 1 |  |  |
| F. | 32 |  | Allow for provision of bulk electricity to pumpstation site from Eskom or municipality | Provisional Sum | 1 | R 100 000.00 | R 100 000.00 |
| F. | 33 |  | Markup on above item | % | R 100 000.00 |  |  |
| F. | 34 |  | Lightning protection to building | sum | 1 |  |  |
|  |  |  | Fittings - all fittings & flanges PN16 |  |  |  |  |
| F. | 35 |  | Ø100 GMS flanged pipe with thrust flange 1500mm long | No. | 3 |  |  |
| F. | 36 |  | Ø100 GMS flanged equal tee | No. | 4 |  |  |
| F. | 37 |  | Ø50 double acting air valve with flanged end | No. | 1 |  |  |
| F. | 38 |  | Ø50 Meinecke flanged water meter | No. | 1 |  |  |
| F. | 39 |  | Ø100x50 GMS flanged reducer | No. | 2 |  |  |
| F. | 40 |  | Ø100 flanged Waterworks gate valve with non-rising spindle | No. | 3 |  |  |
| F. | 41 |  | Ø100 non-return valve flanged | No. | 1 |  |  |
| F. | 42 |  | Ø100 GMS flanged spool pipe 1000mm long | No. | 6 |  |  |
| F. | 43 |  | Ø100 Meinecke strainer flanged | No. | 2 |  |  |
| TOTAL FOR SECTION F: PUMPSTATION |  |  |  |  |  |  |  |
| SECTION G: RESERVOIRS |  |  |  |  |  |  |  |
|  |  |  | SITE PREPARATION AND EARTHWORKS |  |  |  |  |
| G | 1 | SANS 1200C 8.2.1 | Clear and grub site | m² | 600 |  |  |
| G | 2 | 8.2.2 | Remove and grub large trees and tree stumps of girth over 1m and up to and including 2m and remove offsite to suitable spoil area | No | 10 |  |  |
| G | 3 | PSD 6.2.1.2 | Remove topsoil to a depth of 150 mm prior to carrying out bulk excavation for reservoir, Treatment work slab and pumpstation, stockpile and maintain for future use | m³ | 90 |  |  |
| G | 4 | SANS 1200 D 8.3.2 | Excavate in all materials to create platform for structures | m³ | 300 |  |  |
| G | 5 |  | Excavate in all materials for foundation trenches and minor chambers | m³ | 30 |  |  |
| G | 6 | PSD 6.2.2.2.a | Extra over excavation items for intermediate material | m³ | 75 |  |  |
| G | 7 | PSD 6.2.2.2.c | Extra over excavation items for hard material | m³ | 105 |  |  |
| G | 8 | PSD 6.2.2.2.b | Extra over excavation items for boulder material | m³ | 105 |  |  |
| G | 9 | PSD 6.2.5 | Rip and compact to 95% MOD AASHTO in-situ material to depth of 150mm | m² | 440 |  |  |
| G | 10 | PSD 6.2.6 | Import and place in situ including compaction to 95% MOD AASHTO, G5 material to form slab base | m3 | 440 |  |  |
|  |  |  | GALAXY RESERVOIRS |  |  |  |  |
| G | 11 | PA 6.1 | Prime cost item: Supply deliver to site and construct 500 kl Galaxy Water Tank - Model GL70/03 complete by supplier. | PC Sum | 1 | 1 180 000.00 | 1 180 000.00 |
| G | 12 | PA 6.2 | Contractor's mark-up on item | % | 1 180 000.00 |  |  |
| G | 13 | PA 5.2 | Testing of reservoir | sum | 1 |  |  |
| G | 14 | PA 5.3 | Disinfection of reservoir | sum | 2 |  |  |
| G | 15 | PA 6.1 | Prime cost item: Supply deliver to site and construct 100 kl Galaxy Water Tank - Model GL70/03 complete by supplier. | PC Sum | 1 | 400 000.00 | 400 000.00 |
| G | 16 | PA 6.2 | Contractor's mark-up on item | % | 400 000.00 |  |  |
| G | 17 | PA 5.2 | Testing of reservoir | sum | 1 |  |  |
| G | 18 | PF 4.1 | Disinfection of reservoir | sum | 2 |  |  |
|  |  |  | Fittings - All fittings & flanges to PN 16 |  |  |  |  |
| G | 19 |  | Ø200 GMS flanged pipe with thrust flange 1500mm long | No. | 4 |  |  |
| G | 20 |  | Ø200 GMS flanged equal tee | No. | 4 |  |  |
| G | 21 |  | Ø25 double acting air valve with flanged end | No. | 2 |  |  |
| G | 22 |  | Ø50 Meinecke flanged water meter | No. | 2 |  |  |
| G | 23 |  | Ø100x50 GMS flanged reducer | No. | 2 |  |  |
| G | 24 |  | Ø200x150 GMS flanged reducer | No. | 2 |  |  |
| G | 25 |  | Ø150 flanged Waterworks gate valve with non-rising spindle | No. | 2 |  |  |
| G | 26 |  | Ø150 GMS flanged spool pipe 1000mm long | No. | 3 |  |  |
| G | 27 |  | Ø100 GMS flanged spool pipe 1000mm long | No. | 2 |  |  |
|  |  |  | Inlet / Outlet Chamber |  |  |  |  |
| G | 28 |  | Excavate in all materials and dispose of same within feehaul | m³ | 30 |  |  |
| G | 29 |  | Extra over intermediate excavation | m³ | 7.5 |  |  |
| G | 30 |  | Extra over hard excavation | m³ | 7.5 |  |  |
| G | 31 |  | Blinding 50mm thick Grade 15/19 concrete | m² | 15 |  |  |
| G | 32 |  | Vertical formwork to concrete base - 200mm high | m | 16 |  |  |
| G | 33 |  | Concrete Grade 25/19 to base | m³ | 3 |  |  |
| G | 34 |  | Reinforcing to walls, base & roof slab | kg | 1000 |  |  |
| G | 35 |  | Vertical formwork to walls | m² | 64 |  |  |
| G | 36 |  | Horizontal formwork to roof slab | m² | 3.2 |  |  |
| G | 37 |  | Concrete Grade 25/19 to walls | m³ | 8 |  |  |
| G | 38 |  | Vertical formwork to concrete roof slab - 200mm high | m | 16 |  |  |
| G | 39 |  | Concrete Grade 25/19 to roof slab | m³ | 3 |  |  |
| G | 40 |  | Screed to fall inside chamber | m³ | 2 |  |  |
| G | 41 |  | Create sump as per details | No. | 1 |  |  |
| G | 42 |  | Backfill around chamber | m³ | 6 |  |  |
| G | 43 |  | Manhole cover & lid as per details | No. | 1 |  |  |
| G | 44 |  | Air vents as per details | No. | 2 |  |  |
| TOTAL FOR SECTION G : RESERVOIRS |  |  |  |  |  |  |  |
| SECTION H: DAYWORKS |  |  |  |  |  |  |  |
|  |  |  | Plant: |  |  |  |  |
| H. | 1 |  | 250/175l concrete mixer | hour | 2 |  |  |
| H. | 2 |  | Mechanical Excavator max 20 ton | hour | 5 |  |  |
| H. | 3 |  | TLB | hour | 5 |  |  |
| H. | 4 |  | Pedestrian roller vibrator | hour | 2 |  |  |
| H. | 5 |  | Generator | hour | 40 |  |  |
| H. | 6 |  | Water tanker (10 000 litre) | hour | 2 |  |  |
|  |  |  | Labour: |  |  |  |  |
| H. | 7 |  | Working Foreman | hour | 20 |  |  |
| H. | 8 |  | Working Chargehand | hour | 20 |  |  |
| H. | 9 |  | Carpenter | hour | 20 |  |  |
| H. | 10 |  | Steelfixer | hour | 20 |  |  |
| H. | 11 |  | Concrete hand | hour | 20 |  |  |
| H. | 12 |  | Bricklayer or Plasterer | hour | 20 |  |  |
| H. | 13 |  | Manhole builder | hour | 20 |  |  |
| H. | 14 |  | Pipelayer | hour | 20 |  |  |
| H. | 15 |  | Plumber or Drainlayer | hour | 20 |  |  |
| H. | 16 |  | Welder | hour | 20 |  |  |
| H. | 17 |  | Certified Blaster | hour | 20 |  |  |
| H. | 18 |  | Ganger | hour | 40 |  |  |
| H. | 19 |  | Semi-skilled Labourer | hour | 50 |  |  |
| H. | 20 |  | Labourer | hour | 20 |  |  |
| H. | 21 |  | Watch person | hour | 20 |  |  |
|  |  |  | Materials: |  |  |  |  |
| H. | 22 |  | Cement in 50kg pockets | pocket | 10 |  |  |
| H. | 23 |  | Concrete sand | m³ | 20 |  |  |
| H. | 24 |  | Plaster and mortar sand | m³ | 20 |  |  |
| H. | 25 |  | 20mm Graded crushed stone | m³ | 20 |  |  |
| H. | 26 |  | General purpose bricks | 1000 | 4 |  |  |
| H. | 27 |  | Engineering bricks | 1000 | 4 |  |  |
| H. | 28 |  | Rough sawn SA pine timber | dm³ | 10 |  |  |
| H. | 29 |  | Welding rods | kg | 5 |  |  |
| TOTAL FOR SECTION H: DAYWORKS |  |  |  |  |  |  |  |

SUMMARY OF SCHEDULE OF QUANTITIES

| SECTION | DESCRIPTION | AMOUNT |
| --- | --- | --- |
| A | Preliminary & General |  |
| B | Pipelines – Bulk |  |
| C | Chambers |  |
| D | Road Crossings |  |
| E | Sundries |  |
| F | Pump station |  |
| G | Reservoir |  |
| H | Dayworks |  |
|  | Sub-total 1 |  |
| Add | Contingencies @ 5% |  |
|  | Sub-total 2 |  |
| Add | VAT @ 15% |  |
|  | TOTAL AMOUNT |  |

Signed:	…………………………………………………….…Date:……………………………….