UGU DISTRICT MUNICIPALITY

DUNJAZANE WATER PIPELINE & PUMPSTATION EMERGENCY SCHEME

CONTRACT NO: UGU-07-1640-2023

CONSTRUCTION OF 110mm DIAMETER UPVC PUMPING MAIN OF 2 km, PUMP STATION, RETICULATION, STANDPIPES AND 500kl RESERVOIR

PART C4: SITE INFORMATION

INDEX

PART C4: SITE INFORMATION	SI2

C4.1	 LOCALITY PLAN	SI2

C4.2 	 CONDITIONS ON SITE	SI2

C4.2.1	Nature of Ground and Subsoil Conditions	SI2

C4.2.2	Weather Conditions	SI2

C4.2.3	Limitations	SI2

# PART C4: SITE INFORMATION

## C4.1		LOCALITY PLAN

The Locality of the site is as per the attached Locality Plan.

## C4.2 		CONDITIONS ON SITE

A brief description of the site conditions is given under this section.

## C4.2.1	Nature of Ground and Subsoil Conditions

No subsoil investigations have been undertaken along the pipeline route. No responsibility is accepted for any conclusions drawn by Tenderers from the results and information supplied (if any) and Tenderers must satisfy themselves as to the nature of materials to be excavated under this contract.

Geotechnical investigations will be undertaken during construction and after completion of bulk earthworks.  The Tenderer must allow a period of 2 weeks from the date of completion of bulk earthworks for these investigations and the production of a geotechnical report by the appointed geotechnical Engineer.

## C4.2.2	Weather Conditions

The following general weather conditions are prevalent on site

| Site Conditions | Specific Details |
| --- | --- |
| Altitude above sea level | Maximum 215 m |
| Ambient temperatures | Maximum: 29ºC Minimum: 11ºC 24-hour Average Max: 29ºC |
| Maximum relative humidity | 75% |
| Environmental atmosphere | Humid with high salt content, severely corrosive. |
| Lightning | Severe |

## C4.2.3	Limitations

The following limitations characterise the site of the pipeline construction:

Where the pipeline transverses privately owned land, the contractor’s activities will be limited to a 15m wide strip along the pipeline route. Any additional space utilisation is to be agreed with the Engineer during construction.

The Ugu DM will arrange for the right to access the site on privately owned land.

The contractor will be required to compensate for land and crop damage, prior to commencement of work.

The pipeline is to be laid in close proximity to existing residences. The contractor’s methodology for constructing the new pipeline should therefore ensure that no (or minimum) disruption of the activities of residents result from his construction activities.

It may be imperative that the contractor constructs access tracks during the construction period, which will be rehabilitated after the contract. The costs of provision of the access tracks will be deemed to be included in the rates of scheduled items.