
	[image: image4.jpg]R Eskom






NEC3 Term Service Contract (TSC3)
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30)

	and


	____________________________________
(Reg No. ________________________ )



	for


	PROVISION OF SUPERVISION, LABOUR, EQUIPMENT AND MATERIAL REQUIRED FOR GENERAL BUILDING MAINTENANCE SERVICES FOR TRANSMISSION SUBSTATIONS AND COMMRCIAL BUILDINGS FOR NORTHERN GRID (NORTHWEST & LIMPOPO). FOR A PERIOD OF 36 MONTHS, FOR AS AND WHEN REQUIRED BASIS.Insert title of the service

	
	

	Contents:


	
	No of pages


	Part C1
	Agreements & Contract Data
	[●]

	Part C2
	Pricing Data
	[●]

	Part C3
	Scope of Work
	[●]

	
	
	

	CONTRACT No.
	___________________________

	
	

	
	

	
	


PART C1:
AGREEMENTS & CONTRACT DATA

	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 

[to be inserted from Returnable Documents at award stage]
	[●]

	C1.2a
	Contract Data provided by the Employer
	[●]

	C1.2b
	Contract Data provided by the Contractor
[to be inserted from Returnable Documents at award stage]
	[●]

	C1.3
	Proforma Guarantees
	[●]



C1.1 Form of Offer & Acceptance

Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

PROVISION OF SUPERVISION, LABOUR, EQUIPMENT AND MATERIAL REQUIRED FOR GENERAL BUILDING MAINTENANCE SERVICES FOR TRANSMISSION SUBSTATIONS AND COMMRCIAL BUILDINGS FOR NORTHERN GRID (NORTHWEST & LIMPOPO). FOR A PERIOD OF 36 MONTHS, FOR AS AND WHEN REQUIRED BASIS.
The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

Delete the row for the Options which do not apply

	Options A 
	The offered total of the Prices exclusive of VAT is 
	Rate Only

	
	Sub total
	Rate Only

	
	Value Added Tax @ 14% is
	Rate Only

	
	The offered total of the amount due inclusive of VAT is

	Rate Only 

	
	(in words) [as per agreed rates]



This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	Tenderer’s CIDB registration number: 
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work: Service Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).  

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Employer


	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Employer prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	
	

	2
	
	

	3
	
	

	4
	
	

	5
	
	

	6
	
	

	7
	
	

	8
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Employer



	Signature


	
	
	

	Name
	
	
	

	Capacity


	
	
	

	On behalf of
	(Insert name and address of organisation)


	
	(Insert name and address of organisation)



	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 TSC3 Contract Data

Part one - Data provided by the Employer
	Clause
	Statement
	Data

	1
	General
	

	
	: 
	

	
	The conditions of contract are the core clauses and the clauses for main Option
	A:

Priced contract with price list

	
	dispute resolution Option
	W1:
Dispute resolution procedure

	
	and secondary Options

	
	
	X1:

Price adjustment for inflation

	
	
	X2

Changes in the law

	
	
	X18:
Limitation of liability

	
	
	X19:
Task Order

	
	
	

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Term Service Contract April 2013
 (TSC3)
	If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data

	10.1
	The Employer is (name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	10.1
	The Service Manager is (name): 
	

	
	Address
	

	
	Tel
	

	
	Fax
	None

	
	e-mail
	

	11.2(2)
	The Affected Property is
	Multiple Properties in the North West & Limpopo

	11.2(13)
	The service is 
	Provision of supervision, labour, equipment and material required for general building maintenance services in the North West & Limpopo

	11.2(14)
	The following matters will be included in the Risk Register
	The Risk Register is of risks which are listed in this contract  and the risks which the Service Manager or the Contractor has notified as an early warning matter. It includes a description of the risk and a description of the actions which are to be taken to avoid or reduce the risk 


	11.2(15)
	The Service Information is in 
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	3 days

	2
	The Contractor’s main responsibilities
	Data required by this section of the core clauses is also provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data

	21.1
	The Contractor submits a first plan for acceptance within
	1 week of contract being issued

	3
	Time
	

	30.1
	The starting date is.
	TBC

	30.1
	The service period is
	TBC

	4
	Testing and defects
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this contract 

	5
	Payment
	

	50.1
	The assessment interval is 
	between the 25th day of each successive month.

	51.1
	The currency of this contract is the 
	South African Rand

	51.2
	The period within which payments are made is
	4 weeks.

	51.4
	The interest rate is 


	the publicly quoted prime rate of interest (calculated on a 365 day year) charged by from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 



	6
	Compensation events
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	7
	Use of Equipment Plant and Materials
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	8
	Risks and insurance
	

	80.1
	These are additional Employer's risks  
	1. 10 % Retention will be deducted for each task order (for each payment)

	
	
	2. 5% Will be released at the completion of each task.  

	
	
	3. Remaining 5% will released at the end of the defect period (52 Weeks)


	83.1


	The Employer provides these insurances from the Insurance Table
	as stated for “Format TSC3” available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 
(See Annexure A for basic guidance).

	83.1  


	The Employer provides these additional insurances
	as stated for “Format TSC3” available on 

http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 
(See Annexure A for basic guidance)

	83.1
	The Contractor provides these additional insurances:
	The contractor shall ensure that they submit a copy of their company Insurances at tender stage, this should include, Contractor All risk, public liability and third party insurances

	83.1
	The minimum amount of cover for insurance against loss and damage caused by the Contractor to the Employer’s property is
	the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 

	83.1
	The insurance against loss of or damage to the works, Plant and Materials is to include cover for Plant and Materials provided by the Employer 
	

	83.1
	The minimum amount of cover for insurance in respect of loss of or damage to property (except the Employer’s property, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Service for any one event is:
	whatever the Contractor deems necessary in addition to that provided by the Employer.

	83.1


	The minimum limit of indemnity for insurance in respect of death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract for any one event is: 
	As prescribed by the Compensation for Occupational Injuries and Diseases Act No. 130 of 1993 and the Contractor’s common law liability for people falling outside the scope of the Act with a limit of Indemnity of not less than R500 000 (Five hundred thousand Rands)..

	9
	Termination
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	10
	Data for main Option clause
	

	A
	Priced contract with price list
	

	20.5
	The Contractor prepares forecasts of the final total of the Prices for the whole of the service at intervals no longer than 
	Monthly

	11
	Data for Option W1
	

	W1.1
	The Adjudicator 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	W1.2(3)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the Institution of Civil Engineers (London) (see www.ice-sa.org.za ) or its successor body.

	W1.4(2)
	The tribunal is: 
	arbitration

	W1.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	TBC (South Africa)

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or

if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	12
	Data for secondary Option clauses
	

	X1
	Price adjustment for inflation
	Reviewed per annum at the anniversary of the starting date of this contract

	X1.1
	The base date for indices is 
	This Contract will be fixed rates for first year and subject to CPI escalation for the remaining period. CPI escalation will be applied at the anniversary of this contract date and for each respective year thereafter 


	X2
	Changes in the law
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	X18
	Limitation of liability
	

	X18.1
	The Contractor’s liability to the Employer for indirect or consequential loss is limited to
	R0.0 (zero Rand)

	X18.2
	For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to
	the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 

	X18.3
	The Contractor’s liability for Defects due to his design of an item of Equipment is limited to
	The greater of 

· the total of the Prices at the Contract Date

and 

· the amounts excluded and unrecoverable from the Employer’s insurance (other than the resulting physical damage to the Employer’s property which is not excluded) plus the applicable deductibles in the Employer’s assets and works / maintenance policies available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 

	X18.4
	The Contractor’s total liability to the Employer, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to
	the total of the Prices other than for the additional excluded matters.

The Contractor’s total liability for the additional excluded matters is not limited. 

The additional excluded matters are amounts for which the Contractor is liable under this contract for

· Defects due to his design, plan and specification,

· Defects due to manufacture and fabrication outside the Affected Property, 

· loss of or damage to property (other than the Employer’s property, Plant and Materials),

· death of or injury to a person and

infringement of an intellectual property right.

	X18.5
	The end of liability date is 
	6 months after the end of the service period.

	X19
	Task Order
	

	X19.5
	The Contractor submits a Task Order programme to the Service Manager within 
	2 days of receiving the Task Order

	Z
	The additional conditions of contract are
	Z1 to Z11 always apply.

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract.

	Z2.2
	Unless already notified to the Employer, the persons or organisations notify the Service Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf.

	Z2.3
	The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z3.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Service Manager within thirty days of the notification or as otherwise instructed by the Service Manager.

	Z3.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Service.

	Z3.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P4 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Service Manager.

	Z4.3
	In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the Affected Property or any portion thereof, in the course of Providing the Service and after the end of the service period, requires the prior written consent of the Service Manager.  All rights in and to all such images vests exclusively in the Employer.  

	Z4.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Service Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 27.4

	Z6.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety                 

      of persons in and about the execution of the service. Without limitation the Contractor:

      accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property;

      warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Service Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete the last paragraph of core clause 61.3 and replace with:

If the Contractor does not notify a compensation event within eight weeks of becoming aware of the event, he is not entitled to a change in the Prices.

	
	

	Z9
	Employer’s limitation of liability

	Z9.1
	The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Contractor’s entitlement under the indemnity in 82.1 is provided for in 60.1(12) and the Employer’s liability under the indemnity is limited to compensation as provided for in core clause 63 and X19.11 if Option X19 Task Order applies to this contract. 

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Ethics


For the purposes of this Z-clause, the following definitions apply:

Affected Party
means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

Coercive Action
means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

Collusive Action
means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

Committing Party
means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees, 

Corrupt Action
means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

Fraudulent Action
means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

Obstructive Action
means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action and

Prohibited Action
means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

Z 11.1 
A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. 

Z 11.2 
The Employer may terminate the Contractor’s obligation to Provide the Service if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Service for this reason.

Z 11.3 
If the Employer terminates the Contractor’s obligation to Provide the Service for this reason, the procedures and amounts due on termination are respectively P1, P2, P3 and P4, and A1 and A3.

Z 11.4 
A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation.

Annexure A:
Insurance provided by the Employer

These notes are provided as guidance to tendering contractors and the Contractor about the insurance provided by the Employer. The Contractor must obtain its own advice. Details of the insurance itself are available from the internet web link given below. 

Services provided in a TSC3 contract could include some element of construction or refurbishment as well as a continuous maintenance or operational service activity.  If an event occurs which causes loss or damage, a claim could be made either against the Employer’s “works” type policy which may be in place for the Employer’s portion of the Affected Property concerned or against the Employer’s assets policy which may be in place for the Employer’s portion of the Affected Property concerned, or both.

The cover provided and the deductibles under the works policy are different to those under the assets policy.   Each policy has a range of applicable deductibles depending on the location of the Affected Property and the nature of the insurable event.   

The Contractor is required in terms of Contract Data for clause 83 to provide cover for the deductibles in the insurance provided by the Employer.  This can be provided from his own resources on a ‘self insured’ basis or obtained by him from his own insurers.   In order to assess the extent of this cover, tendering contractors and their brokers should consult the internet web link given below and scroll to ‘Format TSC3’ to establish both the cover and the deductibles in relation to the service provided in terms of this contract.

Tendering contractors should note that cover provided by the Employer is only per the policies available on the internet web link listed below and may not be the cover required by the tendering contractor or as intended by each of the listed insurances in the left hand column of the Insurance Table in clause 83.2.  In terms of clause 83.1 “the Contractor provides the insurances stated in the Insurance Table except any insurance which the Employer is to provide”.  Hence the Contractor provides insurance which the Employer does not provide and in cases where the Employer does provide insurance the Contractor insures for the difference between what the Insurance Table requires and what the Employer provides.

If Marine Insurance is required the Contractor needs to obtain a copy of the latest edition of Eskom’s Marine Policies Procedures found at internet website given below.

Further information and full details of all Eskom provided policies and procedures may be obtained from: 

From_1_April_2014_To_31_March_2015.aspx 
C1.2 Contract Data

Part two - Data provided by the Contractor
Notes to a tendering contractor:

Please read both the both the NEC3 Term Service Contract April 2013 and the relevant parts of its Guidance Notes (TSC3-GN)
 in order to understand the implications of this Data which the tenderer is required to complete.

The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data.

Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	10.1
	The Contractor is (Name):
	      ___________________________________


	
	Address
	      ___________________________________

_________________________________________

	
	Tel No.
	      ________________________

	
	Fax No.
	      ________________________


	11.2(8)
	The direct fee percentage is
	12%________


	
	The subcontracted fee percentage is
	12%________


	11.2(14)
	The following matters will be included in the Risk Register
	      ___________________________________


	11.2(15)
	The Service Information for the Contractor’s plan is in:
	      ___________________________________


	21.1
	The plan identified in the Contract Data is contained in:
	      ​​​​​​​​​​​​​​___________________________________


	24.1
	The key people are:
	

	
	1

Name:
	      ___________________________________

	
	

Job:
	      ___________________________________

	
	

Responsibilities:
	      ___________________________________

	
	

Qualifications:
	      ___________________________________

	
	

Experience:
	      ___________________________________


	
	2

Name:
	      ___________________________________

	
	

Job
	      ___________________________________

	
	

Responsibilities:
	      ___________________________________

	
	

Qualifications:
	      ___________________________________

	
	

Experience:
	      ___________________________________

	
	
	      ___________________________________

	
	
	CV's (and further key person's data including CVs) are in      



	A
	Priced contract with price list
	

	11.2(12)
	The price list is in
	      ___________________________________ 



	11.2(19)
	The tendered total of the Prices is
	R      ​​​​​​​​__________________________________


Part 2: Pricing Data

TSC3 Option A
	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions: Option A
	2

	C2.2
	The price list 
	[●]


C2.1 Pricing assumptions: Option A

How work is priced and assessed for payment

Clause 11 in NEC3 Term Service Contract (TSC3) core clauses and Option A states:

	Identified and defined terms
	11

11.2
	(12) The Price List is the price list unless later changed in accordance with this contract.



	
	
	(17) The Price for Services Provided to Date is the total of 

1. the Price for each lump sum item in the Price List which the Contractor has completed and

2. where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate.



	
	
	(19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate.




This confirms that Option A is a priced contract where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both.

Function of the Price List

Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not Provide the Service in accordance with the Price List.   The Price List is only a pricing document.  

Link to the Contractor’s plan

Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17). 

Preparing the price list
Before preparing the price list, both the Employer and tendering contractors should read the TSC3 Guidance Notes pages 14 and 15.  In an Option A contract, either Party may have entered items into the price list either as a process of offer and acceptance (tendering) or by negotiation depending on the nature of the service to be provided.  Alternatively the Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in the price list to be prepared and priced by him. 

It is assumed that in preparing or finalising the price list the Contractor:
· Has taken account of the guidance given in the TSC3 Guidance Notes relevant to Option A;

· Understands the function of the Price List and how work is priced and paid for;

· Is aware of the need to link operations shown in his plan to items shown in the Price List;

· Has listed and priced items in the price list which are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;
· Has priced work he decides not to show as a separate item within the Prices or rates of other listed items in order to fulfil the obligation to complete the service for the tendered total of the Prices. 
· Understands there is no adjustment to items priced as lump sums if the amount, or quantity, of work within that item later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the (lump sum) Prices is as a result of a compensation event. 

Format of the price list
(From the example given in an Appendix within the TSC3 Guidance Notes)

Entries in the first four columns in the price list in section C2.2 are made either by the Employer or the tendering contractor. 

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering contractor enters the amount in the Price column only, the Unit, Expected Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for an item of work which is the rate for the work multiplied by the quantity completed, the tendering contractor enters the rate which is then multiplied by the Expected Quantity to produce the Price, which is also entered.

If the Contractor is to be paid a Price for an item proportional to the length of time for which a service is provided, a unit of time is stated in the Unit column and the expected length of time (as a quantity of the stated units of time) is stated in the Expected Quantity column.
For the purpose of the tender, the Contractor will complete the rate column with rates based on a unit measure [i.e. quantity of 1(one)]. Actual quantities of the items will only be inserted when issuing Task Orders.
	C2.2 the price list


NB: The Service Information listed under Section C3.1, item 1.2.1.1 needs to be included by the Contractor when pricing all rates in the pricelist. 

Notes to the Price List

1. The below rates exclude VAT.

2. The rates offered will remain fixed and firm for the first 12 months (excluding labour increase) of the contract period.

3. Increase on all other items excluding labour will be in line with the inflation rate (CPI) and the Contractor should make provision on the tender submission The escalation will only be applicable from the date of approval.

4. Escalation will not apply to items relating to % Mark-ups
5. Contractor to claim shortest safe route as per google map calculated from the main office.
NOTE

Mandatory for evaluation and should be fully completed and submitted with this tender where applicable. Failure to submit will render your tender non-responsive and will be disqualified.

Tenderers to submit all returnable for evaluation in separate and clearly marked files

Tenderers have options to price on the preferred sector. Failure to price on the preferred Sector fully will render your tender nonresponsive and will be disqualified for that specific sector.

All prices must also be submitted in a soft copy (MS Excel Format) identical to the hard copy tender. This can be in a CD or Flash Drive /Memory Stick and clearly marked.

NOTE: Soft copy is not a substitute for hard copies, and hard copies takes precedence over soft copies. As a result, it is important to ensure accuracy of all hard copies. If Hard copies are not delivered the supplier will be deemed non-responsive and they will be disqualified.

[image: image1.emf]BOQ-General  Maintenance for Northern Grid.xlsx


Part 3: Scope of Work

The scope of work to be performed for the different Trades includes but is not limited to the following: The repairs to and maintaining of various defective items on the buildings/sites in the North West & Limpopo  

Appendix 1
The appendix 1 will provide an overview of the geographic footprint (but not limited to) and approximate size of buildings to be maintained, therefore economies of scale should apply.

Description of the service
	AREAS 
	ACTIVITIES

	Outer fence/Gates
	Repair or replace all openings in the fence

	
	Treat all rusted areas (fence and gates)

	
	Repair and replace steel supports where applicable

	
	Earth all unearthed structures

	
	Repair or replace identified defects on gates  

	
	

	Security Fence
	Repair or  replace defective insulators

	
	Repair and re-tension fence wires where applicable

	
	Repair or  replace defective steel supports

	
	Earth unearthed steel structures

	
	Treat all rusted areas (fence and gates)

	
	

	Access control
	Repair or replace defective motor sliding gate for free movement over wheels & Roller bearings

	
	Repair or replace broken Hinges, magnetic switches, magnetic lock, Rollers, wheels , Hinges and chains, limit switches, etc.

	
	Repair or replace the motor & Gearbox mechanisms limit switches defective cables, straps/connections

	
	Repair or replace emergency cranks and drives 

	
	Repair or replace infrared safety beams 

	
	Repair or replace motors, drives and belts.

	
	

	Security fence lights
	Repair or replace all defective lights 

	
	Repair or replace defective cables and connections 

	
	Earth all unearthed steel structures 

	
	

	Driveways / Access Roads 
	Repair potholes, road markings on driveways and access roads 

	
	Repair /replace water pipes underneath driveways.

	
	Ensure pavements and drainage areas are clean and free of any waste material 

	
	

	Drainage system / Bore holes/Plumbing
	Repair defective drainage system 

	
	Repair and cleaning of sewer pipes / septic tanks

	
	Unblocking of sewer system

	
	Repair / replace borehole pumps, motors and pipes

	
	Pressure jetting – ad hoc maintenance

	
	Attend/repairs to burst pipes, blocked toilets, Sewer line faults, faulty tap repairs iro. replacement call outs

	
	Water connection to Hydro boils water tanks, sewer systems and buildings

	
	Supply and install of appliance including (water purifiers, hydro boil etc.). Grease or replace gullies

	
	Repairing of burst and leaking pipes

	
	Install or replace toilets urinals, lavatories, bathtubs, and showers, sinks, mixing valves, troughs and faucets.

	
	Removal of appliances, plumbing fixtures, waste and vent piping and permanent capping of water, drains, vent piping after appliance’s, pipping system or fixture removal.

	
	Annual testing of boreholes and water pump maintenance/ replacement

	
	Water tank repair and replacement

	
	Installation of water storage tanks. Disposal of building rubble or waster material/items. Fat trap sucking, cleaning, and waste disposal (Including disposal certificate)

	
	

	Fire Protection
	Repair or replace identified defects on the  fire hydrants system 

	
	INSPECT detectors, equipment or other items having a defined service life and report where the service life is exceeded or will be exceeded before the next scheduled service.

	
	

	HV Yard
	Filling up of yard stones 

	
	Paving work: repairs/replace

	
	Repair or replace broken trench covers

	
	Repair or replace all defective plinths 

	
	Ground stabilisation 

	
	Construction of ramps

	
	

	Flood lights
	Repair or replace all defective lights 

	
	Repair or replace all defective cables and connections 

	
	Earth all unearthed steel structures

	
	Repair or replace control circuits 

	
	

	Transformer Bank
	Repair or rebuilt bund wall 

	
	

	HV Yard Fence
	Repair all openings

	
	Treat all rusted areas and gates

	
	Repair or replace all steel supports

	
	

	Oil dams
	Repair or replace top mesh cover 

	
	Pump out access water

	
	Repair fence and gates

	
	Repair leaks

	
	Repair or replace water pump 

	
	Reseal joints          

	
	

	Battery room
	Repair or replace defective doors, ceiling, roof ect.

	
	Clean air filters

	
	Repair or replace all lights  (incl. emergency lights)

	
	Repair or replace extractor fan 

	
	

	Oil Storage
	Repair or rebuilt storage area  bund wall 

	
	Repair Leaks contained within banded area

	
	

	Building
	Repair water leaks and taps, pipes, replace and clean curbing, clean and maintain storm water pits and pipping.

	
	Repair or replace lights

	
	Repair or replace toilets

	
	Ventilation system functional

	
	Breaking down and removing of brickwork, reinforced concrete including cutting off and removing reinforcement.

	
	Breaking out and form opening through brick wall for windows including necessary precast or concrete lintels, making good plaster or facings on one or both sides, into reveals.

	
	Taking out and moving doors, windows, including threshold and sills from brickwork to remain (built up or altering openings elsewhere measured)

	
	Repair, clean and replace defective windows 

	
	Repair defective Floors and walls (tiles, carpets, etc.)

	
	Repair or replace defective doors and hinges

	
	Repair or replace Gutters/down pipes

	
	Repair or replace Ceilings boards and cornea 

	
	Repair or replace fascia boards

	
	Repair or replace DC lights

	
	Air conditioners functional and filters are clean

	
	Air conditioners repairs or replacement 

	
	Ensure all cable trench covers in place and in good condition

	
	Fixing existing roof covering complete with ridge and hip capping, fittings, flashing (elsewhere measured) with pitch not exceeding 50 degrees.

	
	Repair or replace defective geyser

	
	Repair, reseal or replace damaged roof

	
	Paint gutters, Eaves, fascia’s, ramps, door frames, window frames, ceiling

	
	Paint interior and exterior walls

	
	Cleaning of gutters and clean existing roof covering using high pressure water cleaning system and steel brushes removing all loose paint, sprawl and deleterious matter.

	
	Waterproof walls

	
	Repair or replace damaged blinds

	
	Deep cleaning of chairs and coaches

	
	Tiling and glazing 

	
	Repair to cracks in existing plaster

	
	Replacement/repairs to existing structural steelworks

	
	Building waste removal/disposal in accordance to the legal bylaws

	
	Wooden furniture repairs

	
	Moving of furniture and redundant items

	
	General labour work/activities

	
	Installing cabinets, shelving, fitted furniture, dry wall and insulation.

	
	Signage

	
	Unblocking of drain pumps including manholes

	
	Issue COC as per plumbing regulations

	
	Provision of first aid box and replacement of items

	
	Provision of fire extinguishers for vehicles 

	
	Supply, transporting and delivery to site of water and diesel as and when required.

	
	Moving and transporting timber products as and when required.

	
	

	Electrical
	Replacement of light bulbs and/or light bulb fittings inside and outside the buildings with energy efficient light bulbs and/or light fittings.

	
	Perform effective troubleshooting to identify hazards or malfunctions and repair or substitute damaged units

	
	Prevent breakdowns of systems by routine inspecting and replacing old wiring and insulated cables, cleaning circuits etc

	
	Replacement and maintenance of lights and light holders inside and outside the complex.

	
	Rewiring of DB boards

	
	Complete replacement of circuit breakers

	
	Correct labelling of circuit breakers

	
	Correct labelling of circuit breaker load receivers (e.g., plugs, etc.)

	
	Installation of load protectors

	
	Correct separation of lines and circuits

	
	Separation of electricity meters

	
	Create an isolation point for each air-con unit in the complex

	
	Develop a wiring diagram

	
	Repairing electrical motors for gate.

	
	Issue COC.


Waterproofing

· Clean and prepare surfaces for application of sealants or other waterproofing material.

· Inspect roofs and other structures to identify leaks or damages that may require repair before applying waterproofing product.

· Inspect the material after installation to ensure that it was applied correctly.

· Clean up spills or other accidents that may occur during application process.

· Inspect the condition of existing waterproofing to determine when they need to be replaced.
· Apply liners to walls or floors to prevent water damage from seeping into areas where it is not desired such as inside walls cavities or underneath floors.

SCAFFOLDING:

· Erection and dismantling for all types of scaffolds higher than 2 meters. Scaffolding shall be erected, altered or dismantled under the supervision of a competent person who has been appointed in writing for this purpose.   
· No scaffolding and platforms will be used without it having been safety cleared and the required documentation completed as per SANS 10085-1:2004 or recent version.
· Scaffolding for use of internal and external building, contractor to also note the some building exceed 6m high. 
FAS
Contractor to refer to Eskom standard no: 240-100979499 (attached as part of tender documents) for Fall Arrest System and working at heights specifications and safety requirements.    

The Contractor will ensure that any damages made during the execution of their activities will be repaired (Contractor’s cost) to the satisfaction of the Employer and that the Employer will not suffer adverse inconvenience in utilising parts of the complex during the project execution

Appendix 1 



	Area
	Substation
	Latitude
	Longitude
	Province

	Carletonville
	Carmel
	-26° 25' 23.0"S
	27° 18' 23.2"E
	North West

	Carletonville
	Midas
	-26° 23' 16.9"S
	27° 31' 43.8"E
	North West

	Carletonville
	Pluto
	-26° 13' 1.5"S
	27° 27' 17.0"E
	North West

	Carletonville
	Hermes
	-26° 54' 4.8"S
	26° 46' 59.4"E
	North West

	Carletonville
	Watershed
	-26° 5' 26.1"S
	26° 8' 37.8"E
	North West

	Carletonville
	Mookodi
	-27° 0' 35.9"S
	24° 44' 38.3"E
	North West

	Rusternburg
	Ararat 
	-25° 33' 46.1"S
	27° 11' 12.7"E
	North West

	Rusternburg
	Trident
	-25° 38' 7.0"S
	27° 10' 56.1"E
	North West

	Rusternburg
	Bighorn
	-25° 40' 57.5"S
	27° 30' 30.5"E
	North West

	Rusternburg
	Dinaledi
	-25° 34' 46.9"S
	27° 51' 12.7"E
	North West

	Rusternburg
	Marang
	-25° 36' 46.8"S
	27° 20' 4.9"E
	North West

	Rusternburg
	Ngwedi
	-25° 24' 22.9"S
	27° 5' 13.0"E
	North West

	Polokwane
	Witkop
	-24.04393° or 24° 2' 38" 
	29.35668° or 29° 21' 24" 
	Limpopo

	Polokwane
	Acornhoek
	24°35'55.95"S
	31° 3'14.22"E
	Limpopo

	Polokwane
	Foskor
	24° 1'39.33"S
	31° 7'33.48"E
	Limpopo

	Polokwane
	Leseding
	24°26'22.03"S
	30° 1'2.16"E
	Limpopo

	Polokwane
	Senakangwedi
	24°48'38.91"S
	30° 7'0.44"E
	Limpopo

	Polokwane
	Spencer
	23°29'17.37"S
	30°22'50.59"E
	Limpopo

	Polokwane
	Tabor
	23°22'29.51"S
	29°46'53.33"E
	Limpopo

	Polokwane
	Merensky
	24°43'8.87"S
	30°13'18.73"E
	Limpopo

	Lephalale
	Borutho
	23°54'08.60"S
	28°58'35.0"E
	Limpopo

	Lephalale
	Matimba
	23°40'8.65"S
	27°36'55.80"E
	Limpopo

	Lephalale
	Medupi
	23°42'11.45"S
	27°34'0.77"E
	Limpopo

	Lephalale
	Spitskop
	24°57'59.70"S
	27°13'39.09"E
	Limpopo

	Lephalale
	Warmbad
	24°53'26.46"S
	28°19'33.92"E
	Limpopo

	Offices
	Polokwane Regional Office
	39 Han Van Ransberg, Polokwane
	 
	Limpopo

	Offices
	Bela Bela Area Office
	Route 101, Business Park, Bela bela
	 
	Limpopo

	Offices
	Rustenburg Area Office
	235 Beyers Naudea, Rustenburg 
	 
	North West

	Offices
	Klerksdorp/Orkney 
	 1 Ena Murray Street Eastleigh Orkney
	 
	North West

	Offices
	 Tzaneen hub
	 
	 
	Limpopo

	Offices
	Polokwane Dx Nedbank building
	 
	 
	Limpopo

	Polokwane
	Manogeng
	 
	 
	Limpopo

	Polokwane
	Silimela
	 
	 
	Limpopo



 
	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Employer’s Service Information
	

	C3.2
	Contractor’s Service Information

(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Employer’s service Information

Contents

28Part 3: Scope of Work


48C3.1: Employer’s service Information


50Description of the service


50Executive overview


50Employer’s requirements for the service


50Interpretation and terminology


51Management strategy and start up.


51The Contractor’s plan for the service


51Management meetings


51Contractor’s management, supervision and key people


51Documentation control


51Invoicing and payment


52Contract change management


52Records of Defined Cost to be kept by the Contractor


52Training workshops and technology transfer


52Design and supply of Equipment


52Things provided at the end of the service period for the Employer’s use


52Equipment


52Information and other things


52Management of work done by Task Order


54Health and safety, the environment and quality assurance


54Health and safety risk management


54Environmental constraints and management


54Quality assurance requirements


55Procurement


55People


55Minimum requirements of people employed


55BBBEE and preferencing scheme


55Accelerated Shared Growth Initiative – South Africa (ASGI-SA)


55Subcontracting


55Preferred subcontractors


55Subcontract documentation, and assessment of subcontract tenders


56Limitations on subcontracting


56Attendance on subcontractors


56Plant and Materials


56Specifications


56Correction of defects


56Contractor’s procurement of Plant and Materials


56Tests and inspections before delivery


57Plant & Materials provided “free issue” by the Employer


58Working on the Affected Property


58Employer’s site entry and security control, permits, and site regulations


58People restrictions, hours of work, conduct and records


58Health and safety facilities on the Affected Property


58Environmental controls, fauna & flora


58Cooperating with and obtaining acceptance of Others


58Records of Contractor’s Equipment


59Equipment provided by the Employer


59Site services and facilities


59Provided by the Employer


59Provided by the Contractor


59Control of noise, dust, water and waste


59Hook ups to existing works


59Tests and inspections


59Description of tests and inspections


59Materials facilities and samples for tests and inspections


60List of drawings


60Drawings issued by the Employer




Description of the service
Executive overview 

Provision of Facilities Management Services Core Technical Services to Transmission Northern Grid which consist of 28 substations and 8 commercial buildings within North West and Limpopo provinces. For a period of 36 months on an “as and when” required basis.

The works amongst others consist of supervision, labour, plant and equipment necessarily to carry out core technical services scope of work.

Please note that only one vehicle will be paid per task order. The Employer will plan Task Order in such a way that travelling cost are minimised. In exceptional cases where supplier needs to use more than one vehicle, Employer approval needs to be obtained in writing. It is recommended that the Contractor procure materials from local suppliers.

The listed facilities are current Transmission facilities that will require Facility Maintenance Services (Technical Services), however the tenderer are to be informed that the below areas are subject to change. Any additional/exclusion shall be communicated in writing following the contract process. Tenderers are advised to visit the site prior tendering to ascertain the core technical scope of work involved. 

The contractor shall provide labour and tools to carry out the Employer’s requirements. The Contractor shall replace broken or damaged equipment within (one) day.

The work comprise amongst others consist of the supervision, labour, plant and equipment necessary to carry out building maintenance services on an “as and when” required basis. The Contractor to respond within 24 hours, however, should the emergency arise, the response time to be immediate. The Employer shall verify all the work to be executed and also the work completed. 

The contractor undertakes to hold the Employer (Eskom Holdings SOC Limited) harmless against any determination or award made in terms of Labour relations Act No 66 of 1995 as amended, in any event where Eskom is held liable with regards to the employees of the supplier.

The Supplier undertakes to compensate Eskom for any determination or award as well as all reasonable legal expenses incurred by the client in order to avoid or oppose such liability alleged by or on behalf of an employee/s of the supplier.

There will be no obligation on the Employer to oppose any proceedings resulting from such an alleged liability, but this does not detract from the Suppliers responsibility in terms of this clause. List of buildings and substations:

Employer’s requirements for the service
· All services and works will be issued and managed through a task order system on an as and when required basis.
· All services and works must be accompanied by the required documentation so that it is auditable and complies with good corporate governance.

Interpretation and terminology
If required include here definitions additional to those used in the conditions of contract which are required only for the purpose of making the Service Information easier to draft and read.  Also list abbreviations used and provide a full interpretation of each one, for example;

The following abbreviations are used in this Service Information:

	Abbreviation
	Meaning given to the abbreviation

	FSS
	Finance Shared Services

	OEM
	Original Equipment Manufacturer

	PO
	Purchase order

	SAP  
	Financial Accounting System

	TO
	Task order

	NG
	Northern Grid


Management strategy and start up.
The Contractor’s plan for the service
Contactor to partner with employer to draft a service plan for the provision of services as instructed in the Task Order abiding to identified standards and regulations
Management meetings

Quarterly and adhoc meetings will be schedules by the Eskom Representative.  Records of these meetings shall be submitted to the Service Manager by the person convening the meeting within three days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

Contractor’s management, supervision and key people

· All staff working on employers premises shall adhere to access control requirements of the specific site
· All contractors staff to report to employers representative before commencing any work on site

· All contractor staff to be clearly identifiable

Documentation control
· All services and works will be issued and managed through a task order system

· All quotations and claims to be done on the task order system and invoices shall refer to the TO number for ease of administration.

· All contract communication to be done using the standard forms as per this contract (Early Warning, Notification of Default, Payment Certificates, Task Orders, Risk Register etc.) and will be attachments to email.

Invoicing and payment

	 

	PAYMENT PROCESS: 

	In an endeavour to reduce the time taken to pay suppliers/contractors, the process now allows submission of invoices from manual to electronic submission via e-mail to invoiceseskomlocal@eskom.co.za 



	The Contractor assesses the amount due and applies to the Employer for payment adhering to the following payment process: 

	
	

	item
	ACTIVITY
	RESPONSIBLE PERSON

	1 
	The Contractor to forward to the Eskom Representative an Assessment of work/service completed on the assessment day. The format of the assessed claim to be the Task Order with claimed Bill of Quantities and cost).


	Contractor 

	The Contractor attaches the detail assessment of the amount due to each tax invoice showing the Price for Work Done to Date for each item in the Price List for work which he has completed. The cost format to invoice to be similar to the Eskom NEC Payment Certificate 


	2 
	The Eskom Representative together with the Contractor agrees to the Assessment.


	Eskom Representative and Contractor 

	Any possible issues regarding the claim of actual work completed will be addressed with the Contractor. 



	3
	The Eskom Representative will check the Payment Certificate with Assessment and request the Office Admin to process the required detail on the SAP system by creating a SE (Service Entry) with Service Entry Number
	Office Admin

	4 
	The Office Admin notifies the Eskom Representative once the SE number is generated. Thereafter the Eskom Representative will approve the SE on SAP by generating a Good Receipt (GR) number
	Eskom Representative

	9 
	The SE number and the GR number to be populated on the Payment Certificate and signed by the Eskom Representative
	Eskom Representative

	11 
	On receipt of the Payment Certificate with the SE and GR numbers, the Contractor will sign the Payment Certificate and, together with the relevant invoice, submit directly to Eskom Finance Shared Services (FSS) (i.e. via email to invoiceseskomlocal@eskom.co.za).
Note: Contractor to resend copy of fully signed Payment Certificate to the Eskom Representative via email
	Contractor 

	

	INVOICING: 

	The Contractor includes the following information on each tax invoice: 

1. The words "TAX INVOICE" in a prominent place (preferably at the top of the page). 

2. Name, address and VAT registration number of the Contractor. 
3. Name, address and VAT registration number of the recipient (Eskom Representative). 
Please note: Eskom's name has to be reflected as Eskom Holdings SOC Limited on all tax invoices and Eskom's VAT number is 4740101508. The word just Eskom is not acceptable. 

4. An individual serial number (tax invoice number) and date issued. 

5. A full and proper description of goods and/or services supplied. 

        Please note: Merely referring to a contract is not sufficient. 

6. The quantity or volume of goods or services supplied.(i.e. to align with the Task Order detail)

7. Invoice must also reflect the Task Order Tracking Number
8. Ensure that the Contract Number (i.e. 46000…number) and Contract Name is clearly indicated

9. Ensure that the Eskom Purchase Order Number(i.e. 450…number) is clearly indicated on your invoice together with the line number on the order you are billing for 

10. Costs on invoice should entail,

· The total Price for Work Done to Date which the Contractor has completed; 

· Other amounts to be paid to the Contractor; 

· Less amounts to be paid by or retained from the Contractor; 

· The change in the amount due since the previous payment being the invoiced amount - excluding VAT, the VAT(15%) and including VAT;

Invoice Submission: 
· All electronic invoices must be sent in PDF format only 

· Each PDF file should contain one invoice; or one debit note; or one credit note only. Eskom SAP system does not support more than one PDF being linked into workflow at a time 

· Only one PDF file per email. ( i.e. one invoice or one debit note or one credit note only) 

· Send all invoices in PDF straight from your system to the Eskom email address i.e. invoiceseskomlocal@eskom.co.za 

Follow-up with Finance Shared Services (FSS): 
All queries and follow-up on invoice payments should be made by contacting the FSS Contact Centre at +27 11 800 5060 or email fss@eskom.co.za 

Introducing electronic invoicing does not guarantee payment, but will ensure visibility of all invoices as well as ensure that no invoices are lost. If the Goods Receipt (GR) is not done, the invoice will be parked and the system will automatically send an email to the end user to do the GR. This is also tracked by Eskom through the park invoice report. 
Your company can request a park invoice report from the Finance Shared Services (FSS) Contact Centre which can then be followed up and corrected. You are welcome to forward the details of invoices corrected to the FSS Contact Centre.

	


Contract change management 

· Changes as per the contract will be notified and addressed as per the NEC3 – TSC3
· Changes to the Task Order, regarding scope, cost and time will be managed via the Eskom Task Order Committee for approval and will be noted as Modification on the Task Order. Modifications to work/service can only resume once TOC approval is obtained and as instructed by the Eskom Representative.

Records of Defined Cost to be kept by the Contractor
As a control measure, it is required by the Contractor to maintain record keeping of all defined cost items for the purpose of compensation event management. A schedule of these cost components not listed in the contract price list to be provided.
Training workshops and technology transfer

Not applicable
Design and supply of Equipment

Not applicable
Things provided at the end of the service period for the Employer’s use

Equipment
None

Information and other things

· Where stated in the price list and Service Information at the end of each task completed the Contractor to provide a concise Report. The task is not complete unless the Report noted is provided for the specified item.

Management of work done by Task Order

When accepting a task order the contractor is to ensure; availability of resources, adequate supervision and the ability to respond to emergency work
[image: image2.emf] 

SS/S or another authorised person request s   for work     using th e   applicable TSSC / TSC  contract   by completing the    1.   TO D ESCRIPTION   with a detailed SoW   2.  TO   START -   &  COMPLETION DATES   3.  NAME & NUMBER  of contact person   4.  All other relevant information  

SS/S send s   TO   to   the   Contractor, requ e sting a  quotation  

With no deviation from the prescribed  TO  template, the Contractor complete s   the  TO  and return s   same   to the SS/S  

After scrutiny, and upon  acceptance of   the   TO   quote ,   SS/S forwards  same   to Admin  

SS/S    1.   sign s   and date s   TO   2. arrange   site  meeting with the  contractor as required.    3.   Ensure  work   commences.   * FIN *  


Turnaround times will be discussed and agreed at task order stage

Health and safety, the environment and quality assurance

Health and safety risk management

In addition to the requirements of the laws governing health and safety, Eskom may have some additional requirements particular to the service and the Affected Property for this contract. 

The Contractor shall therefore comply with all the health and safety requirements as prescribed in the;

· “Maintenance Contract for Eskom Holdings SOC Ltd (Tx Northern Grid) - SHE Specification” attached to this document
· Annexure B : Acknowledgement Form for the Eskom SHE Rules and other requirements 240-43921804 Rev3
In addition as scope specific where applicable,
Note: Contravention to any of the Eskom Life Saving rules, can result in termination of the contract subject to the outcome on an investigation. 
RULE 1: OPEN, ISOLATE, TEST, EARTH, BOND AND/OR INSULATE BEFORE TOUCH 
No person may work on any electrical network unless: 

· He / she is trained and authorised as competent for the task to be done. 

· A pre-task risk assessment to identify all risks and hazards must be conducted prior to any work commencing. 

· An equi-potential zone is created for each worker on the job site by earthing, bonding and/or insulating according to approved divisional procedures. 

· All conducting material is connected together, all staff onsite wear electrical safety shoes and insulating techniques are applied according to standards. 

· The authorised person (Team leader) has certified and shown all team members that the apparatus is safe to work on. He / she is trained and authorised as competent for the task to be done. 

· Contractor to take precautionary measures when working in close proximity to other power lines. 

· Jumper covering is provided to serve as an overhead jumper protection covering above solid cut-outs to reduce bird electrocutions 

RULE 2 : HOOK UP AT HEIGHTS 
Working at height is defined as any work where an activity above 2 metres is performed from ladders, scaffolds, platforms, buckets, excavation, structures or where there is a potential for a fall. A pre-task risk assessment to identify all risks and hazards must be conducted prior to any work at height commencing. 

No person may work at height where there is a risk of falling unless: 

· You are appropriately trained. 

· You are appropriately secured during ascending and descending. 

· You are using an approved fall arrest system where applicable 

The Contractor must be aware of the operating heights when working under HV lines. 

RULE 3 : BUCKLE UP 
No person may drive any vehicle on Eskom business: 

Unless the driver and all passengers are wearing seat belt

RULE 4: BE SOBER 
No person is allowed to work under the influence of drugs and alcohol. Under-the-influence’ means the use of alcohol, drugs and /or a controlled substance to the extent that: 

· The individuals faculties are in any way impaired by the consumption or use of the substances or; 

· The individual is unable to perform in a safe, productive manner or; 

· The individual has a level of any such substance in his body that corresponds with or exceeds accepted medical/legal standards or; 

· The individual has a level of alcohol in his body that is greater than 0,02 % blood alcohol concentration. 

· Any level of an illegal substance in the body’ irrespective of when the substance was used 

RULE 5: ENSURE THAT YOU HAVE A PERMIT TO WORK 
Where an authorisation limitation dictates, no person shall work without the required Permit to Work. (PTW) 

· Work is as defined in the Plant Safety Regulations (PSR) and Operating Regulations for High Voltage Systems (ORHVS) of Eskom. 

· A Risk Assessment must be carried out jointly by the Authorised (AP) and Responsible Person (RP) on all work before it commences. 

· The PTW must be issued by an AP, in accordance with the PSR. 

· The PTW must be accepted in writing by an authorised RP. 

· The PTW shall be shown to everyone working on the job and the risks explained. 

· The RP must ensure that all staff working on that job is entered on a Workers’ Register and the risks explained to each one. 

· The RP must ensure that the conditions of the PTW are enforced for the duration of the work. 

SHEQ REQUIREMENTS: 
In compliance to Eskom’s SHEQ Policy, the Contractor to ensure; 

· Commitment to safety, health and environmental excellence 

· Conduct business with respect and care for people and minimise or avoid impact on the environment 

· Compliance to environmental legislation, conditions of Environmental Authorisations and requirements set out in environmental management plans 
· Acceptance that all injuries and occupational illnesses, as well as safety and environmental incidents are preventable 

· Report, respond to, investigate, close-out, and share learning from safety and environmental incidents

· That SHE is an integral part of your operations and that: 

· no operating condition, or urgency of service, can justify endangering the life of anyone or cause injury or damage to the environment 

In addition, the Contractor to ensure as a tender returnable the following information (as per organogram) is provided, stating who the relevant qualified person is as per various role levels of the below organogram with all required credentials.
[image: image3.emf]
One of the fundamental requirements focuses on professional registration, where a contractor must appoint in writing, a full time or part time Construction Health and Safety Officer (CHSO) after consultation with the client and after having considered the size of the project, the degree of danger likely to be encountered or the accumulation of hazards or risks on the site. No contractor may appoint a CHSO who is not registered with the South African Council for the Project and Construction Management Professions (SACPCMP) and has necessary competencies and resources. The CHSO’s involvement is generally to assist with the control of all health and safety related aspects on site. This will be effective as of 6th August 2015.”
The person so appointed shall: 

· Supply the Eskom Safety Officer with copies of minutes of all Health and Safety Committee meetings (if relevant), on a monthly basis. 

· Supply the Eskom Safety Officer with copies of all appointments in respect of employees employed on this contract, in terms of the Act and Regulations and shall advise the Eskom Safety Officer of any changes thereto – to be handed over to the Employer prior to construction start. 

· Eskom may, at any stage during the currency of this agreement, be entitled to; 

· do safety audits at the Contractor’s premises, its work-places and on its employees; 

· refuse any employee, sub-contractor or agent of the Contractor access to its premises if such person has been found to commit any unlawful act or any unsafe working practice or is found to be not authorized or qualified in terms of the Act 

· issue the Contractor with a work stop order or a compliance order should Eskom become aware of any unsafe working procedures or conditions or any non-compliance with the Act, Regulations and Procedures referred to in 1 above by the Contractor or any of its employees, sub-contractors or agents. 

· No extension of time will be allowed as a result of any action taken by Eskom in terms of the above and the Contractor shall have no claim against Eskom as a result thereof. Furthermore, no amendments to the Act or the Regulations or reasonable amendment to Eskom’s Safety and Operating Procedures will entitle the Contractor to claim any additional costs incurred in complying therewith from Eskom. 

· The Contractor shall be responsible for all expenses incurred to ensure adherence to Health and Safety Regulations as stipulated above which includes but is not restricted to ORHVS training courses, etc. 

Typically, the identified risks as listed in the “Health & Safety Specification” for this contract which could endanger persons/works as per scope of work to be completed by the Contractor. Specific risks, related to projects as will be issued per Task Order are as follows: 

	Typical Risks to be assessed where applicable

	LIVE UNDERGROUND CABLES 

	WORK IN LIVE CHAMBERS/RESTRICTED AREAS 

	LIVE OVERHEAD CONDUCTORS/CROSSINGS 

	CLOSE PROXIMITY WORK TO LIVE EQUIPMENT 

	OPERATING OF CRANES/VEHICLE MOUNTED 

	STATIC ELECTRICITY/INDUCTION 

	WORK WITH CHAINSAWS/MECHANICAL CUTTERS 

	MATERIALS HANDLING/ HEAVY EQUIPMENT HANDLING 

	CONDUCTOR STRINGING AND TENSIONING 

	VEHICLE RISKS 

	WORK IN OPEN TRENCHES/EXCAVATIONS 

	COVID-19 pandemic

	BIOLOGICAL/HEALTH RISKS (CAMPS) 

	WEATHER RELATED RISKS (UV, HEAT, COLD, WIND, RAIN, SNOW, ETC.) 

	ENVIRONMENTAL RISKS 

	ERGONOMIC RISKS (BODY POSITION, FATIGUE) 

	WORK ON/DISMANTLING OF RUSTED & ROTTEN POLES AND STRUCTURES 

	FIRE RISKS 

	PUBLIC SAFETY RISKS 

	WORK CLOSE TO PUBLIC ROADS 

	WORKING IN ENVIRONMENTAL SENSITIVE AREA 

	HISTORICAL EVENTS THAT COULD INFLUENCE THE PROJECT, 

I.E. CURRENT STRUCTURE DESIGNS, AGE OF STRUCTURES TO BE WORKED ON, ETC 

	DEMOGRAPHICS OF THE AREA 


THE CONTRACTOR SHALL IDENTIFY MITIGATION ACTIONS FOR ALL IDENTIFIED RISKS, AS WELL AS IDENTIFY ANY ADDITIONAL RISKS AND INCLUDE IT IN THE HEALTH AND SAFETY PLAN TO BE PROVIDED TO THE EMPLOYER ON TENDER RETURN. 
The Contractor shall comply with other Safety application provisions of Government, Provincial, Municipal Safety Laws, Building, Construction, Electricity Regulations and Eskom Distribution Standards. 

· The Contractor shall accept full responsibility for the means, methods, sequence or procedures of construction for safety precautions or programmes incident to the work of the contractor. 

· The Contractor is required to submit a working methodology statement with regards to the Safety Standards while working within hazardous areas such as live substations or in close proximity of energized apparatus and/or lines. 

· The Contractor shall indemnify the Employer and the Engineer against responsibility for safety on the site of the works. 

· Reference of the Safety Methodology Statement can be found in the Government Occupational Health and Safety Act (Act 85 of 1993) and Construction Regulations Document which is publicly available. 

· Typically, RISK ANALYSIS IDENTIFYING RISKS THAT could endanger the work as done by the Contractor will be done per Works Order. The Contractor should identify mitigation actions for these risks, as well as identify any additional risks and submit at tender 

· The safety of the Contractors personnel and employees acquire precedence over the construction works. 

· The Contractor shall submit a Safety Plan to the Employer within one week of award of contract prior to starting on site. The Safety Plan to be assessed by the Employers Representative where after on approval will the Contractor be allowed access to site. 

Environmental constraints and management

The Contractor shall comply with the environmental laws and regulations as well as criteria and constraints as provided at tender stage. The Contractor will take due care of to ensure compliance.
All environmental legal Liabilities and claims arising from the activities of the Contractor shall be for the Contractors expense. The Contractor is required to have an understanding of Eskom’s basic environmental principles and commitments. 

Quality assurance requirements

· “Quality Assurance Requirements: The Contractor shall comply with all quality requirements as set out in the document QM-58 i.e. Eskom Contract Quality Requirements Specification. 

· The Contractor shall comply with ISO9001:2008 Quality Management System Requirements. 

· The Contractor shall comply with all other regulatory and statutory requirements applicable to the works. 

· The Contractor needs to submit a quality plan indicating the control points for quality to ensure that the works are done according to specification. 

· Quality of workmanship;
· The Contractor is required to employ a competent Supervisor or Foreman on site for the duration of the work issued per Task Order to implement workmanship quality checks. 

· Eskom will do inspections and quality checks on installations completed by the Contractor prior to hand-over of each project 

General

· Except for site management and specialized labour such as operators for plant and equipment, the Contractor is encouraged to use “local” labour on a temporary basis for all manual tasks. 

· The Contractor will attend all site meetings as arranged by the Employer 
· The Contractor will report all obstacles on site that could impact on time and cost to the Employer in writing. Where applicable Early Warnings should be issued

· All work/services shall be carried out in accordance with all the statutory requirements applicable to the area and scope, Eskom’s specifications, standards and regulations 

· The Contractor will be given access to the proposed site and the Contractor must comply with Eskom’s, National, Provincial and Local environmental policies, safety standards and laws. 

· The onus is on the Contractor to obtain the latest revision of standards applicable. 

· The Employer reserves the right to alter the scope of the works, programme and constraints. 

· The Clerk of Works of the Employer will do Quality Control Checks and inspections on the works. The Contractor notifies the Clerk of Works or Employer’s Representative of any inspections to be done three days in advance. 

· The Contractor shall ensure that caution is exercised when working in close proximity of live electrical equipment. 

Accelerated Shared Growth Initiative – South Africa (ASGI-SA) 

If the ASGI-SA requirements are to be included in this contract specify constraints which Contractor must comply with after contract award in regard to any ASGI-SA requirements.  The ASGI-SA Compliance Schedule completed in the returnable tender schedules is reproduced here.  If ASGI-SA does not apply, delete this paragraph.
The Contractor complies with and fulfils the Contractor’s obligations in respect of the Accelerated and Shared Growth Initiative - South Africa in accordance with and as provided for in the Contractor’s ASGI-SA Compliance Schedule
The Contractor shall keep accurate records and provide the Employers Representative with reports on the Contractor’s actual delivery against the above stated ASGI-SA criteria. The Contractor’s failure to comply with his ASGI-SA obligations constitutes substantial failure on the part of the Contractor to comply with his obligations under this contract.
Subcontracting
Preferred subcontractors

The principle Contractor must ensure that his proposed subcontractor has the following documentation on record (for access by the Employer) before the appointment. 

· Valid accreditations, authorization and/or Registration necessary to perform the scope 

· Signed 37.2 agreement between Principle Contractor and Subcontractor 

· Approved H&S plan for the subcontractor’s portion of the works. 

· Principle contractor to ensure his subcontractor complies with the construction regulations. Eg. Where security services are subcontracted the Contract is to ensure that Eskom Protective Services department has vetted and approve the security subcontractor before they can be mobilized OR in the case of Bush clearing, that this appointment is done via relevant Eskom department (Land Development/Environmental) 

· A signed written contract that clearly outlines the roles and responsibilities of each party - must exist between the principal contractor and sub-contractor/s preferably in the NEC Engineering and Construction Subcontract or Short Subcontract form. 

· Subcontractor should submit a valid Tax clearance certificate to the principle contractor. 

· Subcontractors should comply with relevant requirements of the Skills Levies Act, Unemployment Insurance Fund Act and the Compensation of Occupational Injuries and Diseases Act. 

Have the required CIDB grading in place to execute the scope. 

Compliance to approved Safety, Health, Environmental and Quality plans 

The contractor to indicate the percentage of subcontracting, the proposed subcontractors together with their BBBEE statuses, and the sources of assets, goods or services when local content and production criteria are applicable. The NEC system is compulsory for all subcontract documentation.
Subcontract documentation, and assessment of subcontract tenders

The use of NEC system is compulsory
Limitations on subcontracting

The Contractor shall not subcontract more 30% than a specified proportion of the whole of the contract.  

Plant & Materials provided “free issue” by the Employer
Not applicable
Working on the Affected Property

Tenderers are to note that some of the works are to be carried out in existing occupied facilities and work need to planned properly.     
Employer’s site entry and security control, permits, and site regulations
Eskom Sites have strict entrance requirements which tendering contractors need to comply with.  State 

People restrictions, hours of work, conduct and records

Restrictions and hours of work may apply on some sites.  It is very important that the Contractor keeps records of his people working on the Affected Property, including those of his Subcontractors.  State that the Service Manager shall have access to them at any time.  These records may be needed when assessing compensation events.

Health and safety facilities on the Affected Property

Section 3 deals with contractual H & S requirements in addition to those of the OHSA Act.  This section allows the Employer to state what measures are to be taken on the Affected Property by describing where First Aid facilities provided by the Employer are located and any other emergency arrangements.  Do not use if already addressed in 2.3. 

List of drawings and documents:
Drawings issued by the Employer
This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

	Drawing  number
	Revision
	Title

	
	
	

	NOTE: Drawings specific to site and scope of service will be issued when tasks are instructed via Task Order 

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


Documents issued by the Employer

This is the list of documents issued by the Employer at or before the Contract Date and which apply to this contract.

	Document Reference
	Revision
	Title

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


� This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902 � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 5391902 or � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 





NORTHERN GRID GENERAL MAINTENANCE NEC3
PAGE 33
TSC3

COVER

																		TRANSMISSION FACILITIES

























				*Where the word "Bill Of Quantities" is used it shall mean Price Schedule





				TENDER NUMBER												: 





				CONTRACTOR												:





				TENDER OFFER												:		Not applicable

				(Excluding VAT)														(Contract is rates based)



				AUTHORISED SIGNATORY NAME												:





				DESIGNATION												:		SERVICE MANAGER





				AUTHORISED SIGNATURE												:





				DATE												:



	PROVISON OF GENERAL BUILDING MAINTENANCE SERVICES

PRICE SCHEDULE FOR THE GENERAL BUILDING   MAINTENANCE FOR TRANSMISSION NORTHERN GRID REGION

 NORTHERN GRIDS: NORTH WEST & LIMPOPO- PRICE SCHEDULE*




FINAL SUMMARY



		ESKOM HOLDINGS SOC LIMITED

		PRICING SCHEDULE FOR THE GENERAL BUILDING MAINTENANCE FOR NORTHERN GRID 





		FINAL SUMMARY





				Bill No.		TECHNICAL SERVICES						Amount



				1		SHE						54,016.00



				1.1		North West: Rustenburg						13,520,183.23		22560646.72

														13536388.032

				1.2		North West: Carltonville 						9,013,455.49



				1.3		Limpopo						13,520,183.23



				1.4		Limpopo						9,013,455.49





				2		GENERAL BUILDING MAINTENANCE				R		45,067,277.44



						Sub-Total				R		45,121,293.44

						Allow 5% Contingencies on the above total to be used at the discretion of the Contracts Manager and deducted in part if so required.

										R		2,256,064.67



						Sub-Total				R		47,377,358.11

						ADD:

						14% VAT				R		6,632,830.14



						TOTAL CARRIED TO FORM OF OFFER 				R		54,010,188.25







		This schedule provides a summary of the total value of all the sections and remains the responsibility of the contractor to ensure the accuracy of the amount carried to the summary.















&8ESKOM MAINTENANCE BILL ZONES 1 TO 4


&8ESKOM MAINTENANCE BILL ZONES 1 TO 4


FS-&P	


FS-&P	




SHE

				PAY REFERENCE		DESCRIPTION		UNIT		QTY		RATE		AMOUNT

						SHE SCHEDULE



		SECTION NO. 1

		BILL NO. 1



						List of all items of Personal Protective Clothing/Equipment & ensure use thereof for full compliance with company logo



		1				Steel toe capped safety boots 		Once off		1		19,440.00		19,440.00



		2				Overall - 2 piece suit with luminous strap		Once off		1		9,600.00		9,600.00



		3				Gloves		Once off		1		1,440.00		1,440.00



		4				Hard hats with adjustable 3 point webbing chin strap as per SANS 1397		Once off		1		3,456.00		3,456.00



		5				Ear protection (earplugs etc.)		Once off		1		432.00		432.00



		6				Eye protection appropriate to task performed		Once off		1		1,344.00		1,344.00



		7				Dust Mask		Once off		1		1,400.00		1,400.00



		8				Luminous high visibility safety vests		Once Off		1		11,904.00		11,904.00



		9				Submission and Management of Safety File		Once off		1		5,000.00		5,000.00





														R   54,016.00





GENERAL MAINTENANCE

		Item				Unit		Quantity		Rate 

				SECTION NO: 2 GENERAL MAINTENANCE

				BILL NO 2

				PREAMBLES



				The Tenderer is referred to the relevant clauses in the latest edition of the Model Preambles for Trades and to the Supplementary Preambles.



				SUPPLEMENTARY PREAMBLES



				Rate approvals:



				The tenderer is advised that any rate that is required for new work must include the following breakdown:



				Material, labour, plant, wastage, transport and profit.



				Rate approvals must be authorised by the Eskom Service Manager prior to work being carried out.

				Overtime work and normal work:



				The tenderers are advised that the following works may be done during normal working hours as well as after normal working hours. Tenderers must make due allowance for these working hours in the pricing as no claims will be entertained in this regard.



				HOURLY RATE: 



				The tenderer is advised that the following items are Labour Rates for items not covered in this Bills of Quantities.



				Tenderers are advised that all labour charges and transport charges must be procured from the closest to the effected site.



				Any call out work commenced during working hours and completed after normal working hours will be compensated by using normal working hour rates only.



				Any call out work commenced after normal working hours will be compensated by using after normal working hour rates only.



				Prior written approval must be received from the Tx CLN Official prior to commencement of work.



		1		Work to be done from Monday to Friday during normal working hours:



		1.1		Supervisor		Hr		3456		159.00



		1.2		Artisan Plumber		Hr		3456		119.00



		1.3		Artisan Painter		Hr		3456		119.00



		1.4		Artisan Carpenter		Hr		3456		119.00



		1.5		Artisan Bricklayer		Hr		3456		119.00



		1.6		Artisan Welder		Hr		3456		119.00



		1.7		Aircon Mechanician		Hr		3456		119.00



		1.8		Artisan  Mechanical 		Hr		3456		119.00



		1.9		Qualified Fire Technician (SAQCC)		Hr		3456		200.00



		1.10		Master Installation Electrician		Hr		3456		317.00



		1.11		Installation Electrician		Hr		3456		217.00



		1.12		Artisan Electrician		Hr		3456		119.00



		1.13		Fence Installer		Hr		3456		119.00



		1.14		Semi Skilled		Hr		3456		54.00



		1.15		General Worker		Hr		3456		45.10



		1.16		Safety Officer		Hr		3456		105.00





		2		Work to be done from Monday to Friday after normal working hours:



		2.1		Supervisor		Hr		3456		182.85



		2.2		Artisan Plumber		Hr		3456		136.85



		2.3		Artisan Painter		Hr		3456		136.85



		2.4		Artisan Carpenter		Hr		3456		136.85



		2.5		Artisan Bricklayer		Hr		3456		136.85



		2.6		Artisan Welder		Hr		3456		136.85



		2.7		Aircon Mechanician		Hr		3456		136.85



		2.8		Artisan  Mechanical 		Hr		3456		136.85



		2.9		Qualified Fire Technician (SAQCC)		Hr		3456		136.85



		2.10		Master Installation Electrician		Hr		3456		364.55



		2.11		Installation Electrician		Hr		3456		249.55



		1.12		Artisan Electrician		Hr		3456		136.85



		2.13		Fence Installer		Hr		3456		136.85



		2.14		Semi Skilled		Hr		3456		62.10



		2.15		General Worker		Hr		3456		51.86



		2.16		Safety Officer		Hr		3456		120.75





		3		Work to be done on Saturdays during normal working hours:



		3.1		Supervisor		Hr		3456		238.50



		3.2		Artisan Plumber		Hr		3456		178.50



		3.3		Artisan Painter		Hr		3456		178.50



		3.4		Artisan Carpenter		Hr		3456		178.50



		3.5		Artisan Bricklayer		Hr		3456		178.50



		3.5		Artisan Welder		Hr		3456		178.50



		3.7		Aircon Mechanician		Hr		3456		178.50



		3.8		Artisan  Mechanical 		Hr		3456		178.50



		3.9		Qualified Fire Technician (SAQCC)		Hr		3456		300.00



		3.10		Master Installation Electrician		Hr		3456		475.50



		3.11		Installation Electrician		Hr		3456		325.50



		3.12		Artisan Electrician		Hr		3456		178.50



		3.13		Fence Installer		Hr		3456		178.50



		3.14		Semi Skilled		Hr		3456		81.00



		3.15		General Worker		Hr		3456		67.65



		3.16		Safety Officer		Hr		3456		157.50



		4		Work to be done on Sundays/ Public holidays during normal working hours:



		4.1		Supervisor		Hr		3456		318.00



		4.2		Artisan Plumber		Hr		3456		238.00



		4.3		Artisan Painter		Hr		3456		238.00



		4.4		Artisan Carpenter		Hr		3456		238.00



		4.5		Artisan Bricklayer		Hr		3456		238.00



		4.6		Artisan Welder		Hr		3456		238.00



		4.7		Aircon Mechanician		Hr		3456		238.00



		4.8		Artisan  Mechanical 		Hr		3456		238.00



		4.9		Qualified Fire Technician (SAQCC)		Hr		3456		400.00



		4.10		Master Installation Electrician		Hr		3456		634.00



		4.11		Installation Electrician		Hr		3456		434.00



		4.12		Artisan Electrician		Hr		3456		238.00



		4.13		Fence Installer		Hr		3456		238.00



		4.14		Semi Skilled		Hr		3456		108.00



		4.15		General Worker		Hr		3456		90.20



		4.16		Safety Officer		Hr		3456		210.00





		5		Materials



		5.1		Provisional Sum for All and any other materials used incl hired plant that is not allowed for in the BOQ shall be re-imbursed at cost plus material handling fee (Percentage Mark-Up).  Actual invoices shall be submitted to Service Manager 		Sum		1.00		3,000,000.00



		5.2		Percentage Mark Up =                    		%



		7		Transport



				Payment for transport/traveling will be paid in excess of a 50Km round trip from Eskom office..



		7.1		Cost of transport/ travelling 		km



		8		Accomodation



		8.1		Payment where round trip is exceeding 500km (3 star or equivalent)		per night





				Total carried to summary

										R   45,067,277.44



































































































































































































































































































































































&8ESKOM MAINTENANCE BILL ZONES 1 TO 4


6-&P	




ESKOM AIR-CON SCHEDULE

																		1

																		2

																		3

																		4

																		5

																		6

																		7

																		8

																		9

																		10

																		11



&8ESKOM MAINTENANCE BILL


&8ESKOM MAINTENANCE BILL




NEC3 CONTRACT



ESKOM MAINTENANCE BILL ZONES 1 TO 4


ESKOM MAINTENANCE BILL ZONES 1 TO 4


NEC-&P	


NEC-&P	




image1.jpeg

®) €Eskom






image2.emf

ESKOM   SCHEDULE OF SERVICE   MAINTENANCE OF AIR CONDITIONERS AND    REFRIGERATION TO ESKOM BUILDINGS AND    SURROUNDING SITES       MINOR SERVICE     All Air Conditioning Units     To be carried out quarterly   To consist of: -     1.   Clean return air filters   2.   Check unit for c orrect operation   3.   Clean exterior of unit   4.   Report any fault for further action     MAJOR SERVICE     Window Wall and Console Air Conditioning Units     To be carried out annually in the winter (June, July, August) period   To consist of:     1.   Remove and strip unit  –   c hemically wash entire unit, including  condenser and evaporator coils   2.   Clean return air filters and check media   3.   Oil fan motors where possible   4.   Reassemble, test and re - install   5.   Report any faults found for further action      




image11.emf

1.   Contract Duration   The contract will be in place for a period of 36 months commencing from  the date of signed agreement. Rates will be effective for a 12 - month period,  thereafter rates to be increased in line with CPIX.     The responsible Eskom employee will be Mr L.S. Heathman at Mkondeni  Pietermaritzburg.  Tel: 033 - 395 3526 Fax: 033 - 395 3447.  Eskom reserves  the right to exclude or include additional point s of service to this contract.       2.   Prices   Prices to include cost of labour, and equipment required in order to execute  the contract for the Air Conditioner Maintenance Services being called for.   Prices must be fixed for a 12 - month period.       3.   Communication   Goo d communication between Eskom and the Contractor must be  maintained during the full contractual period.  Contact between the parties  regarding the operation of this contract should be on a regular basis i.e. not  less than once every month.  Continued smoot h operation of the contract is  essential and any problem areas experienced by either party must be  communicated to the other party as soon as possible.       4.   Rules for Contractors on Site      All Contractors, and/ or Suppliers providing services on any Eskom site  must fully comply with the Rules of the NEC Document.       5.   Repairs   All repairs except the normal maintenance must be reported to the  responsible person for approval.   Eskom may on request require proof of payment to your supplier for the  spares charged to Esko m.   A turn around time of 2 (two) hours from the call - out is required for the  Contractor to be on site.  




image12.emf

1.   WARRANTEES   The Contractor guarantees the following:   1.1   Delivery of goods will be affected within the delivery lead - time  specified.   1.2   The goods to be supplied  in all respects to the specification,  patterns, samples and drawings specified by Eskom in its supporting  documents.   1.3   The goods will be new and unused and where applicable the goods  will bear the brand name and/or SABS mark of approval.   1.4   The goods supplied t o Eskom will not infringe and third party’s  patent, copyright, trademark, registered design or other protective  rights and the Contractor hereby undertakes to indemnify Eskom  against all damages, loss or legal expenses suffered by Eskom in  respect of any c laim made against it, or its use of such goods.   1.5   The contractor shall confirm with all statutes and with any  regulations promulgated thereunder in respect of the labour,  machinery, plant, equipment, apparatus or materials to be supplied,  or the work (if any ) to be done under the quotation enquiry.  In  particular, the Contractor shall comply with the requirements of the  Occupational Health and Safety Act No. 85 of 1993 and of the  Compensation of Occupational Injuries and Diseases Act No. 130 of  1993.     2.   REJECTI ON   2.1   Goods will be accepted at the place of delivery only as regards  number and conditions for packages and, even though a receipt may  have been given or signed, the goods shall remain liable to rejection  if they are not in accordance with the contract when  unpacked and  inspected as contemplated below.   2.2   Eskom undertakes to advise the Contractor within 7 (seven) working  days after unpacking and inspection of the goods, of those goods  that are rejected.   2.3   Rejected goods will be held at the risk and expense of the  Contractor who, before such goods are released to the Contractor,  shall refund to Eskom.   2.4   Should the Contractor fail within the time limit required by Eskom  replace the goods, Eskom shall be entitles to the remedy.  




image3.emf

MAJOR SERVICE        All types of Split Room  Air Conditioning Units     To be carried out annually in winter (June, July, August) period   To consist of: -     1.   Clean return air filters   2.   Chemically hot wash air cooled condenser coils   3.   Clean condenser fan blades   4.   Check evaporator coil and chemically clean or blow  out if necessary   5.   Clean evaporator fan blade and casing if necessary   6.   Check refrigerant charge   7.   Leak test unit   8.   Check and blow out electric’s   9.   Check electrical connections   10.   Check compressor motor amps   11.   Clean and check condenser drain and drip pans   12.   Lubricate fan b earings where possible   13.   Check heater operation if applicable   14.   Check vee drivers where applicable   15.   Check operating controls   16.   Check for damaged pipe insulation   17.   Check overall operation of unit   18.   Report any faults found for further action       MINOR SERVICE     All Refrig eration Units   To be carried out quarterly   To consist of: -     1.   Check operation of unit   2.   Report any faults found for further action  




image4.emf

MAJOR SERVICE     All Refrigeration Units   To be carried out annually   To consist of: -     1.   Chemically hot wash air cooled condenser coils   2.   Clean condenser fan blades   3.   Check condenser fan motors, clean if necessary and oil bearings if  possible   4.   Check evaporator coils and wash if necessary   5.   Check evaporator fan motors, clean if necessary and oil bearings if  possible   6.   Leak test for refrigeration le aks   7.   Check refrigerant charge   8.   Check and clean electric’s, tighten terminals   9.   Check correct operation of controls including safety controls   10.   Check compressor where sight glass provided   11.   Check compressor   12.   Check lubricating oil in compressor where sight glass prov ided   13.   Check DX valve for correct operation   14.   Check door seals and door catch mechanism for correct operation   15.   Check defrost on freezer room, including drain water   16.   Check and clean condensate drain and pan   17.   Report any faults found for further action   18.   Package plant   and cooling tower information     REPLACEMENT OF NEW COMPRESSOR PROCEDURE     1.   Check condenser and evaporator coils for corrosion and cleanliness.  Clean if  necessary   2.   Remove faulty compressor capacitor   3.   Test compressor oil for acid and contaminate     NB:   If compres sor oil is contaminated or acidic, system should be flushed if    possible, and burn our filter drier fitted in the suction line, evacuated and    recharged, running for a minimum of 72 hours. Burnt out drier should then  be    removed and liquid line drier repla ced on cooling only units.  




image5.emf

1.   Fit new compressor using new springs/ rubbers   2.   Fit new compressor capacitor   3.   Check all electrical controls and connections   4.   Check all wiring for burnt wires and general condition   5.   Evacuate system minimum half hour, break vacuum with  refrigerant and  vacuum again one hour minimum   6.   Break vacuum with refrigerant   7.   Check for leaks using hailde torch or electronic leak detector   8.   Recharge system checking amperage and superheat   9.   Check for leaks   10.   Crimp and weld charging line if possible   11.   Check for le aks   12.   Check piping and lagging and make sure no pipes are touching chassis or other  pipes   13.   Finally, check operation of unit and fan motor/s, bearings etc, check filter     Note:     1.   Each Air Conditioning Unit and Refrigeration Unit will have 4 (four) minor  services   and 1 (one) major service per annum   2.   Payment will only be made on completion of each task accompanied by a  signed job card   3.   The liability period after completion of a major service is 3 (three) months,  during which the contractor will be responsible  




image6.emf

MAJOR  SERVICE FOR: PUMP FOR COOLING TOWERS   (Frequency times a year)     1.   Check pump bearing grease/ oil level and adjust as required   2.   Adjust gland packing for slight drip   3.   Inspect coupling and check adjustment   4.   Check lubricate motor bearings   5.   Check for ti ghtness and security of pump and motor holding down bolts   6.   Check bearing temperature   7.   Clean pump drain and pipe work   8.   Lubricate isolating valve stems and operate valves   9.   Check, clean and adjust valve glands and repack if required   10.   Drain and refi ll pump grease/ oil   11.   Clean strainer   12.   Replace the gland packing and check for wear on pump shaft sleeve   13.   Record operating parameters    




image7.emf

MAJOR SERVICE FOR: COOLING TOWERS   (Frequency twice per year)     1.   Check fans:   (a)   Shafts   (b)   Bearings   (c)   Fan wheels and blades   (d)   P ulleys   (e)   V - belts   (f)   Vibration   (g)   Dis - alignment   (h)   Distortion   (i)   Direction     2.   Check grid eliminators:   (a)   Condition   (b)   Position   (c)   Direction     3.   Check water level and adjust if necessary   4.   Clean sump and strainers   5.   Check bleed - roll (automatic bleed - off system)   6.   Check chemica l dosing pump   7.   Check chemical level and stock   8.   Check motor and motor controls   9.   Check dampers and damper controls   10.   Check pumps and pump controls   11.   Take water samples and analyse   12.   Inspect whole structure for cracks, leaks, distortion and fatigue   13.   Ch eck drain pipes and troughs   14.   Clean structure   15.   Log conditions on logbook    




image8.emf

MINOR SERVICE ROOM UNITS AND PACKAGE UNITS   (Frequency 3 times per year)   1.   CHECK AIR FILTER and clean where necessary.  Should the filter be torn  or damaged it will be necessary to provide   a new filter at the Client’s cost.     2.   CHECK CONDENSATE DRAINS and clear if necessary to prevent internal  water leaks.     3.   CLEAN EQUIPMENT generally and observe its operation in all its  functions.     4.   CHECK AMPERAGE readings on cooling/ heating  –   fan only operatio n and  compare to name plate ratings.     5.   CHECK all electrical components for loose connections.     The above minor services will be carried out 3 (three) times per annum minimum.     MAJOR SERVICES TO BE CARRIED OUT ON ROOM UNITS   (Frequency once per year)     1.   CHECK A IR FILTER and clean where necessary.  Should the filter be torn  or damaged it will be necessary to provide a new filter at the Client’s cost.     2.   CHECK CONDITION OF EVAPORATOR OIL and clean.  Straighten fins  with fin comb where necessary.     3.   CHECK CONDITION OF  CONDENSER OIL and clean.  Straighten fins  with fin comb where necessary.     4.   CHECK CONDENSATE DRIP TRAYS and treat for corrosion if necessary.   Ensure unobstructed gravity flow.     5.   CHECK CONDENSOR DRAINS (clear if necessary to prevent water leaks).     6.   CHECK FANS  to ensure that they are secured to the fan shafts not out of  alignment and are free of corrosion, chips, dents etc.    




image9.emf

1.   CHECK FAN MOTOR(S) to ensure that it (they) is (are) running freely and  true and that the bearings show no sign of wear.  Oil where applica ble.   Ensure that the baffle plates are secured between in and outlet air.     2.   CHECK COMPRESSOR to ensure that it is suspended freely, that all  grommets and bushes are in good condition, that the klixton (overload  protector) is operating efficiently, that the   compressor is operating  correctly and that does not overheat in normal operating conditions.     3.   CHECK THERMOSTAT(S)/ SWITCHES/ CONTACTORS and the wiring  thereto to ensure that all electrical connections are secure and clean.     4.   CHECK REFRIGERANT SYSTEM for le aks and repair where necessary.      Please note any refrigerant gas used for this purpose is for the client’s  account.      Ensure all tubing is clear of other components.     5.   CLEAN EQUIPMENT generally and observe its operation in all its  functions.     6.   CHECK AMPERAGE re adings on cooling/ heating fan only operation and  compare nameplate ratings.     7.   FOR SPLIT UNITS ONLY: The above services (points 1 to 12) plus the  following:     (a)   CHECK & TIGHTEN where necessary all refrigerant pipefittings.   (b)   CHECK head and suction pressures and  ensure that these are in  accordance with specifications.  If not adjust gas volume to the  required head.   *   Please note any refrigerant gas is for Client’s account.     *   Where conditions change due to excavating construction or any kind of    extraordinary exer cises, the cycle of service may be adjusted to maintain    healthy performance coefficient.     The above major service will be carried out once per annum minimum.    




image10.emf

MAJOR SERVICE FOR PACKAGE UNITS   (Frequency once per year)     1.   Check condition of condensers and cle an   2.   Check condition of condenser fans, covers and hail guards   3.   Check fans bearings, V - belts, Pulleys, Mountings, Fanblades and Flexible  Ductings   4.   Check operation of compressors   5.   Check condition of compressors mountings and vibro’s   6.   Replace all filter core dryer s   7.   Replace compressor’s oil   8.   Test oil samples for acidity and moisture   9.   Test and calibrate L.P. switches (Low Pressure)   10.   Test and calibrate H.P. switches (High Pressure)   11.   Test and calibrate thermostats   12.   Test and calibrate thermos controllers   13.   Test and calibrate o il pressure switches   14.   Test and calibrate flow switches   15.   Test and calibrate freeze - stats   16.   Test and calibrate overload protection   17.   Check performance   18.   Check performance of electrical components for sound operation   19.   Check electrical control system for active respons e   20.   Leak detect whole system and repair leaks   21.   Top up charge with same refrigerant   22.   Clean whole structure    




image13.png

9

sz-6L

I
€

[
g

v

‘oN aBeg

owabeuey s1eRu0)

UL AJLIOJUN 10} PIEPUBIS QI U SOUEPIOTOR U b

18P0 se | Bwo 0ig
uopeuwo| 9IS 1 €D

3IoM Jo adoos

1119904 720

suopdunsse Bupyg 170

ejeq Buoud

Jojoeiu0D 2w q papinoid eleq 19EANOD 74D

sefiojdu3 oy Aq papinoid eleq PEAUOD 71D
soueidasoy pue 190 o w0y 11D
Ejeq 10ERUOD B SjUBWLAIBY

(suswpUawE 6007 fenuer) swainoolg uonansu)

asueusjulEy BujuORIPUOINY PUE JusLEen

193eM “1apjuuds ‘2113 ‘Buiquinid ‘ea10313 ‘Buy

(90/229510/2002 "ON “Bay) P31 00$ sBul

IoH woxs3

:Aq pasedaid uogejuanoog

£0 Hed

2o yed

10 ped

:sjusjuod

10y

pue

usamjaq JOBUOD Y/

(€0ssL) Joejjuo) uoys

oI9S Wis] 03N

woysy®







image22.png

| 124¥d VL0 LOVHINGD £0SSLZ10 o1 30vd V1Y LOVHINOD ONY SINIWIRIOY 10 Lavd

THZ6=0T WO TIRTIGI ORI e 05 oSS Mg

wouy paureiqo
oq Kew seinpedoid pue serijod popiaoid WONSI Ife 4O SIIEISP [Ny PuE UONEWINOM JBYLNg 9

Jo way paoud
aieiedos e se 1oy ‘souepinb BujoBaI0) a1 USNIB ‘S8 SIY Ul 10} PAMOE SEY BY UAIYM BIUEINSUI
10 1500 2y} Ayuapl o1 1019ENUGY Bupapua) eu) 10} JuBwaNNba) € BPNUL [ PENUOD AU} JO 7 Med 'S

‘sopin01d af0dw3 a1 1eym pue Saunbal SIGE | SIUEINSU] BU) 1EYM USBIE] BIUBIBYP
oy 10} sainsu Jojoesuoy Byl soueIsu apiroid Saop sakojdwg aul BBy S8SED U puE BpINOId
10U 580p JaA0/dwT Byl Yy BouEINSU) SapiA0Id J0JIEUOD BUY BUBH ,EIEQ IIEAUOD AU Ul PRIEIS
Se apinoid o1 51 8A0jdig By DIy SIUEINSUY UE BpIR0Id 10U S0P J0jIRAUOD BYL "BIGE | dUEINSU|
a1 Ul pajels seoueinsuy ey - Sapiroid J0j9RJUD AU, |78 SNEP JO SWSY U] | g ASNER Ul BqE L
2UBINSU| BU) JO UWINIOD PUBY Y3 BU Uy SSIUEINSUY PAISI| BU) JO UIES AQ PIPUBIUY SE SXSII SIY 18A0D
01 10penu0 Buiapusl oyl Aq painbal 18103 U oq 10u AEw PUE Mojq PAISY ull BN 18UIBIUI B U
aiqeyiene sapijod ay) 1od Ajuo sy 1afojdw3 au) Aq PapIn0Id 18403 1e) 210U PIoYS SI0}PENU0D Buiapua) y

V0D S1y) o Sue)
U apIn0id 801A15S B} 0} UONE[S Uy SAIAHINSP U] PUE 19ACD BUL U10q YSIIGEISS O] £ L 1eUL0,
0110195 pu M0jaq UBAI Yull G2 18UIBIU AU} INSUOD PINOYS S1Y01q J1BY) PUE SIOIIEU0 Bupapual

18700 51U} 0 1USIX@ BU) SSSSE 0} 18I0 U] “SIBINSUI UMO SIY WOL} WY Aq PUIEIGO 10 SISEq PaINSUL Y35,

€ U0 58010531 UMO $,10]9E1U0) B} WOl PapIR0Id aq UED SIy | JeAo/dw3 Byl Aq papiaosd BoueInsul ay)

Ui S2[quanpap au) 10} 19703 apiAoid o) zg aSNEfD 10j Eleq PEAOD Jo SWIB) U painbal S| 0L BUL '€

18K B|qEINSU Y1 JO BINjeU BY) puE Bo/LES Bl Aq paldaE
fuadord s Jo uoeno) oy uo Buipuadap sejquanpep ajqeaydde Jo abuel e sey Aojod yoe3 “Aayod
Sia55e 8} 13pUN 8504} 0} JuaIEYP a1e Aajjod SYI0M B 18PUN SAIQUINPEP Byl pu papiroid 12A03 BUL 7

10q 10 ‘80z auy) Aq paoaye Aadosd oyl jo uopod s jaojduig auy) 1oy 2e(d uy 8q ew iy Aojod
siesse, s jaojdus3 o) 1suieBe 10 2oiniss ay) Aq papaye Auadosd ) Jo uood s jedojdw3 ay) 1oy

20(d u oq Aew yoiym Aojod sxi0m, $0A0/0u3 2y suiebe Jauye apew aq pnoo wiefo e ‘abeuwep o

550] S9SNED YOy SIM90 1UBAS U Jf “AIANE S9YIBS [eUonEsado 10 BIUBUBIUIEW SNONUNUCD € SE (B

€ JUBWYSIGINB1 10 UOINAISUOD JO 1UBWIB]E A0S SPNIAU PG 19EU0d £DSS L € Ui Papinoid seoniag |

MOJoq LSS Yull G J8LIBIL BY] WOy SIGE|IENE SJE oS} BoURINSUI 8y} 0 SyEjeq “JeAoidw3 8y} Aq papinoid
soueinsul By Jn0Ge JoJoEAUC) BY] PUE SI0}9ENU0D BulEpUS] O] SOUEPING Se papiAcid aie SejoU 8SaY]

1ahojdw3 auj Aq papiroid soueINSU] 1y aanxauuy

LOVHINGD SONYNILNIVH ONITTING
UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image23.png

| 124¥d VL0 LOVHINGD £0SSLZ10 1 30vd V1Y LOVHINOD ONY SINIWIRIOY 10 Lavd

woys3 wouy ajqenieae s 1oxeapnipy pardeles ays J0 usunuiodde pue [aued o) N0qe uopewLIOu

o5 50SEmOPNIIGION]
9229 18 Vb 12+ Buainen MOTHNHLe2d
22 0312q0/6 @500

L09€ §9% L1 L2+ Buaineg NITIN 1RBIN

700 jpsuN0aDPEa|
000% 06Z L1 L2+ Buaineg Ho331 2nig

70 Ea0I
1719888 LI 12+ Buaineg NOLONINNIg sydoisuyd

EZOT SIS DPIEqRaIpIE
200€ €08 1) L2+ Buaineg Qiva mespuy

1w uonb@epRbu
09/9-9€8 L LT+ Busineg SMIHANY 12BN
/2w 0 3 auoyd) S|EIop PEIN0D uonea0y auey

popinosd
1£19p 1021000 By Buisn Aq pauIEIGo aq Aew S AD 1BUL “SIOIEJPNIPY JO [aUE WONST BY) Ui PapNILY

2q 0} SsaUBUYM 12U} PIEDIPUI BARY BuELINS B} 0 J5PI0 [eanaqRYd]e Ul paisi Suosiad Bupnolioy au L
nipy 3o |sueg sJakodwg ay) :g aunxauuy
1OVHINGD SONVNILNI ONIGTING

UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image24.png

2 14vd VLYO LOVMINOD £0SSLT10 21 30vd V1Y LOVHINOD ONY SINIWIRIOY 10 Lavd

600 €08 110 X2 ‘900E €08 140 1oL S3Ba1eS 920D Buisaubu woy aigeleny ,

1VA Bupnjoxa 511571 89ud U1 0 G9IeS By
¥ joued 1oy se0Ug By Jo [e1ol pasago Byl (K)TLL

1081000 S1Y1 JO 7
, paljed Juswnaop ay |

neudauL  (nzk

% 511500 PaUYRQ J2UI0 0} PappE

woud pue speayiano 1o} abejueasad ay | ze9
9 sieidoad 1oy 1500 pauyaq au) o) pappe
woud pue speayiano 1o} abeeasad ay | ze9

ssaippe ew-3

oN xey
oNfoL
ssaippy

s 10pesu00 By | vor

1E1U0 Bjoiduod & Bjeard o) [enuassa sy

) Uy e1ep 8y} Jo uope|duwio

SBION BOUEPING 0SS 1 A 10
2z abed uo papoid st e1eq pajeiduod ay) o aiduwexa uy “alaidw0> ) painbal ) JaaPUB BY] YA EIEQ
SI0) Jo suopedydul B puBIsIapUN 0} JBPIO Ul (NO-EDSSL) SBION 2UBPING Sif Jo Sued JueA3[al By} puE
(2007 1equieldag) 1PEAUOD HOYS BaMIBS WLB | EDIN Yl Y10g PEAI 0} PaSIAPE S| J0joeU0D Buuapual By

(1240 s01280U0D BUp) 01980 Bu) Aq Papiroid ejeq

LOVHINGD SONYNILNIVH ONITTING
UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image25.png

‘SNOLLJWNSSY ONIORId £0SSL 120 &1 30vd

V1Y ONIORId 70 Livd

Fiabuowuos pLg

JuB|d JUBUNTaI1] JAIEM E| UORIAS

BupaA00 10013 6°€

Siskjeuy [euaroeg 7}, 0

Buio0]3 55030 § SUONIE] SBUISD §€

Il USUNEaI] IS1EM SISEM L U

Fiaujor pue fnuadied 1€

woyshs sopjupids g}

Bui100 1000 9

BuyoodieE M 5 €

uopoalolg 2113 g Ut

Tauose e

Buuonipuoy-ay "L u

BRU0) 158281 £ €

122112913 '9 U

WUBWIE0I0}UPY § HOMUI0] 212BU0D) 7€

Stomyues e

SHI0M Bupioaulbu3 p u

S¥iom bu

ng °¢ uonoog

HomuEd 5LE suopeiay Z uonoas
Burzeo v ¢ SoueuNIalg |, UOR2aS
Buml €1¢ sejquiealy Aieyuswajddng

Bunaseld 2h €

Saquizald (PO

HOMEIW L'

s1a19pus | 0} 310N

S

/oy s® aq jy sagguenD Jo

soueuBlUely B} J0 BIMPNIS Y |

w

o4 @10/dui02 0} uessaoau SBUIL) 1U10 PuE 10 [[E 10 SIPNIUI Wl YIE 10} PRISIUS S8 PUE SBIEI YL

siseq e se sapuenD Jo siig au1 Buisn pied aq jym J01EAUOD By L

a1eiduion st 18p1o ysel yoes 92u0 patsnipe aq i sapuenb pue auo Jo Auenb e Sey SEUEND J0 SiIG AU L

ab1ey2 40 aay papiaoid aq 0} pawaep aq [y paapdun ya| wa Auy

Al210ua SIj Ul SENAUEND Jo Siig Ly 22ud 0} St sapUB AU |

ejeq Buold 2o

LOVHINGD SONYNILNIVH ONITTING

UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image26.png

1511300 £08SL720 v130vd VLV ONIORId 70 Laved

way

o4 @10/dui0 0} uessaoau SBUIL) 10U10 PUE 10 [[E 10 SIPNIUI W) YIED 10} PAIBIUS SE PUE SBIEI YL

sepuenb pue suopeayads pol

19D 341 10} (7 Wed) SOMIUEND Jo S 34} ) Jojo) aSeald

(z Hed sanyuenD jo s|ig) 3s17 991d 22D

LOVHINGD JONYNILNN
UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image27.png

U0 SVL st 30vd

aiapua] 2yl o safoiduwa auy) o} spieBas
9IQEll PIoY S| WOYS3 819y 1UBAS AUE U ‘PAPUBLIE SE G JO 99 ON 10y SUONE[SY IN0GE" 3y} O SWId] U
apew pieme 10 uoeujua1ap Aue 1suieBe ssejuiey (woxs3) 19ko[dw3 UL ploY O} Sa3eLapUN 1a1apua L YL

uoneidwio) e10feq sekojduiz o jo suopueawy 77

wewAed asnya1 0} 1Bl 8y} 35PIEX5 Aew WOXST 10U UBIRIN201 PaSLOYINEUN Uj }NSa)

PAUEIGO S Sy} BINSUB 0} 21N} BUPUBLIIOD %10 AuE 0} 101d PaUIEIG0 8q 1SN JBQUING G SIU | WOYST
q pazuoyine uoaq sey yiom aroid o} Aolepuew si ("G Ym BuPBWILOD) 18quiny 12PIQ B5eyAINd Y

1 2q 01 1 10} Sajued [le Aq PRUBIS aq 1A 19P10 YSBL UL

“1018UIp1000 198fo0s |
saBeuey 1afoid aus Aq papiosd uonewoju; ay) y 10kening Ainuend au Aq dn umelp aq [ 18p1o yser v

ssaooidsopio el 17

Jyeis sy pue yoswiy
usamaq 10220 Kew tey) swajqosd 1o aindsip Aue Jo uonjos1 o) 10} slaisuodsal Aj9[os S I0IIENUOD Y |
uosiad ajqsuodsas s,w04s3

01 paviodas aq 1snu oyand ay Jo Siaquiaw 10 Seaoduwa “1019EU0D BY) BUNOAUL SIUBPIAJE JO UoEBYSBAU]
1oadsal [le uj uoNEIDBAS aU) Yl 20UEPIITE Uy PalB|dLIOD aq of YoM By L

*KBorens Juewainooid z

uoneaypen 10} aAyelussaiday 5 wo¥S3 0} paluasaid pue papiodss aq o} BUOp YoM Iy

‘Siepawy 8q 0] ow asuodsa
a1 ‘asue fousBiowa ue PINOyS “18AGMOY "SIN0Y 7 UIYNAM SINO-J[ED 0} PUOdSal o} J0REOD BYL

woud pue speaysano

1uawdinba ‘$/00) puey [Ews 40 asn U “oisIAAN J0 1509 B 10} SPNIAUY 0} B1E SBIEl INogE]

‘uopeluawaidwy uopelese sy 1oy Bunm uy Ajenuue Adde 1snu JoERU0D YoE3

140 01 pau

5 I uoye(eass [enuue JoyeasaY) PoBSd YoW 7). € 1o} Wiy PUE PBXY uEw: 0} ase Seaud [y

painbas uayM-puE-Se UE U0 BuEUBIUE|Y S3IINIBS BupNg
10 fures o) Kiesseosu wawdinbs pue ueid ‘noqe| ‘uojspuadns syl Jo sesudwod iom ayL

sao8s 3y} Jo uonduosaq '

uoneULIOJU| DIAIBS |'ED

MIOM Jo 2d0og €D

LOVHINGD SONYNILNIVH ONITTING
UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image28.png

U0 SVL

104 0¥ £0SSL 91 30vd

ViN
552308 o) 0} ajqeaydde suopomsay
VIN
papinoid
q 01 51 558008 UayM Aq 21eQ wany
“Aue y suopoisas
Buipnjous ‘Bupy 10 veyd Auipoey ‘ed1aes “wosiad e o) sakojduiz oy Aq papiroid sse20y ¢
VIN
seajs0s oy 10y sohojduiz ouy Aq popinod jeuore €

TR

S[qeRe Siunosay ~ BEUE] 35UEUL3 UOTUSNY

01 pamwgns aq 1SN S89j0AU; PaA0IdE PUE PaYBA “[EACIGGE PUE LONEILBA 10} [EPWO (NZY) T3
woys3 2y} 0} pamwgnS aq 1SN 1aquiny JuawaaiBe pue suoda painbal [[e Y SS0AU Aow paEIeq

2910AU| Xe] S 4210pUB | BU3 UO PaPNIOU 3G 0) SIRNORIRY €7

38nepo i o Suiia1 Ui SaiigiSu0dsa 5 1818pia] Si o1 BEBP 10U S30p S Ing KijiGel paba)
wioy Bupinsas suipasoid Aue a50ddo o) (woxs3) sakojdw3 ey} uo uonEBYGo ou 8 12ARMOY

i (ons
nasyL

Jasepuay eyl jo saholdwa
ue 4o ieyeq uo 10 Aq paBaie Ayigey yons 850ddo 10 proae o} 18P0 uy Bl By} Aq paLNou) Sasuadxa [eba]
BIqEUOSES) [[2 SE (|2 SE PIeMe 10 UoeUIBIEP AUE 10 WOYS3 SlesuadLuoD 0] SaYELBPUN 1a1apUR L YL

LOVHINGD SONYNILNIVH ONITTING
UIION LOVIINGD GLINI 20S SONITIOH HOXS3






image29.png

3T HSVL VIO O £0SSL. 21304

VIN

S0y

1A01d Jo ued se sasapus] oy) A sokojduig oy o) pasoniap SIEUARN G

LOVHINGD SONYNILNIVH ONITTING
UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image30.png

3T HSVL VIO O £0SSL. o1 30vd

Jaquiny Buimeiq

sbumeig

Jo5eiie jUspUsdspUl U S eiepUa L Bl

e} Ta10
1818pUB | 8U) o @akoidwa By |

10 “auoydajol ‘a0 ue 65 "BnanASELU] WOYST BU) 10 SN SYew 10U

Suans uopesuadwod ssasse o) pue
10/ B} 011U09 0} noiYp B [ 1} BwweiBoid & oY “SauEIdEITe SIY 10} JaA0[dLT BU) O PENIIGNS BG
0151 aueiBoid ay) Moy S1els pue 840jduuF Byl 0} PaIIEU0D SIaUIO AUE 10 310 By} Klefadsa ‘) o umoys
9 01 51 UofEwIOu 1eYM ‘Ui 2 o 5| awiweIBoId Byl o} 1eyn asay Ayoeds “auop aq o i y1om Bupurewas
41 Moy moys o sxem o Kiana paiepdn aq pinoys swweiBoid ay | Y10 sy} 1n0 Kied o} sueid
U1 Moy SmoUs oI ai0pus ] syl Aq uop Aigesajeid ‘auwiweiBosd e arey o) edoeid poob sk

1 Buisiaas pue Bumyuigns 10y a1npasoid pue swweiBosd ays jo w04 9

N

“sasopuay oys Kq papiaoxd sjepiatews Jo asn ay) uo su

say

LOVHINGD SONYNILNIVH ONITTING
UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image31.png

3T HSVL VIO O £0SSL.

61 30vd

R 10 U251 10} 5535010 —psaq | 7€
11,0551 30} dUIo) [EBa] FIAWIG 3
TPLNBIELUZY 5511 J0 WA WBbEUBW [FIUB WO ¢
107 05 — 551 | SIOMeIiGs 10] 1S]ppaup WaisAs buppne e woys3 |67
Sz zE ot Sinpa201d JUGWABEUEwW G1sem S WoYs3 |87
TORONpOAU] [FAWUOIATT + 3
un Bupessdo uzy | L€
TCLL65CL0VE SaOE UGS 10}
976-v¢ | wswssasse peduwy jeuswuonua ainpadsoid woysy | 9
) S3PIeA 0 Y0E] U0 SUoSIad Buiodsuer] | 57
ke 5350/0 [EpISUIIOS 1o} SWAWaNbaT 345 | ¢
suopeaol
ra6Lve snopiezey Ajeoonoae uioidoad jo uorsbcng | 52
OLZ1-7¢ | T09Udinba SApeI0id [EU0sIad Jo 55T pUE UORSAoId | £C
£901VE STIoda1 S0/ SYqnd PapUEaXa | ¢
196°7E SUGIESTIOUINE PUE SIUSWIUIOGGE 2631 | |
SE
08E¥E | Bupasqo pue Buguswnoop ‘Buisieue ‘Buikuspl | 0z
e TUSWSbEUEW YU 51 WoNNUIsia | 61
veze UGS Snq — Inpso0id [EWBWIOIALT | g1
TewsbETEw
geree JewawOIAUS pue wieay “ajes uopnasuo) | s
2 (Sabed gg) wio} uonEaypads au5 | o1
Telive (sabed o) ued Aajes pus WIEaH | Gl
Sveze (55b%d 17) Uoneoyeds Alajes opi B
€62 (s8bed | 7) Juawabeuew Kajes JaAup pue o) €L
BILvZE SaBed (1) SIubioy 12 Bupom | 1
Levee a0 g ) Say BuRGSay] / SaU [EUpIz Wows3 | LL
Vesze (sbed 96) uopEaynads ays e buidonaq | 0L
(sabed g5)
€EEVE | siopenuon jediound Aq jow aq o} siuswanbaI US| 6
Terze S3bed ] Fagod baus | g
(Sabed |¢) UopEoypads Mejes pue QiEaH | £
. TabEd 75 SWSpPUI pareral
s6ze aUs jo wawabeuew anpaya auy Jo ainpadoid | 9
(522 Tsabed Jj sumej o1 ssemy |6
A% goub oEd WS WRBEUEW AenD |7
9ETE Sabed 5] Fopod BuYows | ¢
aie (53520 7] 0B WaA10E (7)€ 1oWos | ¢
SAoaIp Bumm aan uzy |1
ERL[FERRL] WIHIINIAI O NOILAIH05 30 INIWND0A | ON

UIION LOVIINGD

suoneayidads Z

LOVHINGD SONVNILN)

onigTng

GLINI 20S SONITIOH HOXS3







image14.png

JONVLAE00Y % 43440 40 104 £0SSL 110 z30vd VLY LOVHINOD ONY SIN:

ssouyn
aieq 1o ainjeubls
7 aweN

t1a10pua)
auy 103

fypeded

(s)owen

(sJonieubis

‘£1eQ] PEUOD BU) Ul PaYIUSP| PEUOD JO SUOIPUCD BY) Ul 10IIENU0D B} SE paweu Aed
oy sowo02q 1asapus) ay) uodnasoys ‘paaibe se pouad 1ay1o 10 “eleq 19puS | Ay} Ul Palels AUPIEA Jo pouiad
a4 J0 pus ay) a10jaq JaIapua) oY 0) (Kue ) suONEIaQ JO BINPAYIS Bl Buipnioul 1uBWNIOP Siyl Jo Kdod
au0 Bujuinas pue Jeapiano soueidasny Jo wioy syl BuBis Aq 1akodw3 au Aq paidease aq Aew a0 SIL

(spiom )

u S LW/ J0 aASNU| S9911d 9L JO (€10} PaJa0 B L

] S %1 © XL Pappy anleA

u S| LW 0 BAISNPXa S8 B 10 [E10} PaJayo By L

104 Buueaw pue sl AN} 11BY) o
54 J3pUN 1019E1UGD BY) 10 SIGEY PUE SUOREBYGO aY) 0 2 Wiopad 0) S1ayo 1a1epu) o soueldeddy pue
1940 40 w03 sy 40 wed sy BuBls ‘pasuoune Anp oq o) pawsap ‘Ie1apus) Byl jo antelaseidal ay) kg

18pUS | J0 SUOPUO)
oy paidende sey a0 s BuWANs Aq pue ‘SAINaLDS 18pUS | BU) Ul PRIS| SE OlBJaU) EPUBPPE PUE EIE]
18pUB | B} Ul aIS| SIUSWIOp SU) PaUIEXS BUIAEY M0aq ¥90]q BINIEUBIS B} U PaYIUSP 1819pUB) BYL

19eU0D U} Jo BpIL

10 uBwaIN201d 8 10} PEAUOD € OJUl 18IS
s sey ‘abied xau ay) uo ¥o0iq aimeuys abed soueideasy syl uf paynuap! ‘sekoidw3 ay L

o) s130 pay
840

aoue}dasoy pue o0 J0 UL 11D

ejeq J0BIUO0D B Sjuawaalby |D

LOVHINGD SONYNILNIVH ONITTING
UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image32.png

3T HSVL VIO O £0SSL. 0z30vd

TV SEaly pameIoid TUAWAbEUE] [FUSWUOIATS [EUOTEN T00CI0 L5 Y
1o e Wd05AaQ UOGUFH PUE SPEO U0 BUISIoADY 0761 10 12 PV

Ty Spevy [EUoiEN 866110 LY

TV S¥iEd [EUONEN 976110 5 Y

1O 8114 156103 PUE DIPA [EUONEN | 866110 101 Y

Y §SUL OWED | 1661 19501 Y

TV SaPAUSHY 3075 PUE SpaUiaY [Eoyby 5p5] WiE] SIaSia ] V6110 5 Y
Ty SeoImosaY EIMMaubyY Jo UOJENSSITy €861 0 Er Y

1oy olse ) Muewabeuey [eUBWOIALT [2UONEN 800210 6510V

1Oy JOIE ) [FUONEN 866110 9€ Y

T3y 5831055 GBENISH [EUONEN | 6661 40 52 10V

13y UONEAI2SU0D WBWOINGS | 686140 £/ 10

15y 152101 [EUOREN | 866490 18 10V

T3y 1UBWBBEUE]Y EIUBWUOINUS [FUONEN | 8661 0 £0L 107

Foyy Winos 10 219ndoy o J0 UOIMESUoD | 966110 801 Y.

NOILYISI1931 YNOILIaaY

LOVHINGD SONYNILNIVH ONITTING
UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image33.png

3T HSVL VIO O £0SSL. 1z30vd

‘2d0dg au) Uy patels aie 55300 S8s8pua) 2yl ot Aidde Yoiym suogapsal Auy “adods st uy
patels se Jaiopus ay) o1 Buy 10 aoeid ‘Ayey ‘epues ‘uosiad e o) sseade sand sedojdug eyL

Buyy 10 22e1d “vosiad e 0} ssE00Y

oebojp

S1y Aq uoyoe ue SapnoUI B0 Sy Ul 180/dLT BU) 0 UOIE UE 0) BDUBIRLBI Y “onEBalap

fue feaued Reus pue suoje sy Jo Aue eleBajep Aew “sspus sy Buykyiou saye “aojdg oyl
Sa210I B} BPIACI] 01 AIQISUOGS1 10 SBIIGEl §,/210pUa ] Uy

9BUELD 10U S90P YI0M S1Y 10 10 J213PLB BY) LWL} UOEANUNWILLOD € J0 Boueldasoe S f0jdwT By
2403 o) SaBUBYD LDIYM J818pLS . B O} UOANIISU] U BNB Aew JaA0jdwT By

uoneBajop pue Aoyine s saojduig ay)

“Aide ioj pouied Uy upg Saydal By ‘TIEAUCD SIY) Ul PAIEIS SSIBYI0

ssejun ‘uopeounwwes e o) Aide 0) JaiopUs | B 10 JeA0/dw Bu) SeNbal 1DENUOD S I
SuopeaunwLI0D Bupasal

104 uB1dpa1 aU) Kq PaYIOU SSAIPPE 1SE] B} 1 PONIBIBI S| I UBYM 1BY3 SEy UOJEUNUIIOD
Bup 1 Sainbal 1DE1U0D S} YIUM UONEDUNLILIOD A1aA3

suopeopunwwo)

181N5U PUE SUIUILI) B} Uy UEALL OS[E BUINISELL B Uf SPIOM PUE PuNol Aem 1oyl au) pue [einid
541 Uy uEawW osfe JEINBUIS 3L} U] SPIOM ‘BSIAUBYIO SMOYS IXBIU0D AU} B3y 1838 “PEI0D SIY) U]

uoneroidioy

‘o183 a1 Aq pateidwod sey Jaiopus ] B YoM
fupuenb o Burkidynu Aq peieinojed JUNoW Ue ‘way ue 10 PAIEIS S| S1el € BIUM  »
pue pala|dwod Sey J8/5pUS ] By} UAIUM 1STT 89 SU) Ut Wall YOES 10} dlig BUY
10 [E101 3} S| B18Q 01 PAPIADIG SIS 10} B9 B (6)
‘580|185 aU) BUIPINOL Ul psN wa oy} o Auenb auy
£q a1e au) Bufidninu Aq paieinaje S| 3o1g BU) ‘SANUEND 1O S{ig Bl Ut Wal UE 10} paIeIs S| Auo
S1E1 € 210U/ “SSIUEND 0 Sl B} JO UWINIOD B3lid AU} Ui PRIEIS SIUNOWE B 8JE 533l By (g)
se0ies ay) uo wads Apadoxd afes 1ey; o} alepdoidde suny
s a7 45 34140 4083 J0 SPNpoid Byl Jo wns auy 5 aBey) awi] Ay ()
200 aU) Uy BDUEPI0I U 10U 5| YDIYM SEAIBS oY) Jo ed € 51 PRJRA Y (9)
TOEII0D SIU) UlyA BIUEPIOIIE U SIINISS B} PEPINOIA SEY J8IBPUB L U} B 1 uonaiduoD ()
U0
St Y 23uEPI09E U) paBueyD Jae| SSaUN 1Ep LOJSdwOD Bl S| B1eq uoaidwoD By L (1)
‘Peuod 20uBpI039E Uy LB UoKINASUL UE U »
10,2000 311, Palled WAWNIOP BY) Ul +
19U 5| PUE SIS B} SIPIAOI] JRIBPLS BU) MOY UO SIUEIISUOD
fue sa1eis 10 S80/BS BU) SaqUISSP PUE SaYPRS 1AYYS Yy UONEWIOJ) S| 3d0dS B L (€)
Sa1nba1 1EAIUOD SIU) UM SUOIIE PUE SIANIBS “HIOM [EIUSPIOU [[2 BUPNPUI 19BIUOD I LM
0uBPI039E Uy SEUAS BUI 219102 0} AIESSE20U Y10M B} Op O} SUEBL STINIBS BUI PIAOIG 01 (7)
sauapus) ay) pue safojdu3 aur are saied auL (1)
asnep siy) uj waty o uaAB sBuuEaw syl pue Sjenul [ENdeD saey sl pauyaq
SO}y a1 19PIQ YSE L B Ul 10 12}J0 5,48/9pUS BU) Ul 10 BIE(] DAY B} Ul PAYAUBP| SIS |

IS [ei0) ou) A pal

uoperedo-0s
pue 151 [eninw 10 IS © U PUE PEAO SIY Ul PAIEIS S8 1 [eyS Jes3pua Sy pue 303 sy

[LICIELY

X8
st

30

1403
L

I

€

&4

[

10BU0) JO SUORIPUOD

LOVHINGD SONYNILNIVH ONITTING
UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image34.png

U0 HSVL z30vd

‘2dodg auy) ut patels se ssfojdug oy o) sewiweiBoid SyWAns aispus) BuL

swweiBoig

1 uels 10 eises Kew oy 1ey)
# Aue e 01 10u 1o dois o) Jasepua, au nsul kew sefojduig au)
oued pue uogaidwo Jo slep syl sapiap Jadojdug oy

a1eQ uoyaIdwoD ay) 210}eq 10 U0
1 uope|duwio 1ey) 05 Y10/ By} SA0P puE ejep BuE]S YL [AUN YOM LIEIS 10U S30p JR/8PUB] BYL

wy sy sore Kew pue i
212p 5 40 Yoam BUO UM |

uopodwo pue Bupsers

i

1E1U02 S1y1 10} BU0p

Bujoq yiom 0} e0rduu u) Aq paOU $1410 pue JaA0IG Uy 10} $589€ SBPINOIG 813D UL
ssao0y

s 1815pus | U a1om s9aKojdws 5 sesopua-Gns e J e saydde ENUOD SIY1 PEEUOANS
10u pey ay J Se 1EAU0D S Buiioiad 10 jqISUOdSal 1 Y YO SPEAUOIANS JRIAPUB B I

Bugoenuosqng

01 wiy spnusu ssfojdz ay) se saoies

1110 8]0y 2} 10} SesUBCX® PuE S8 B 10 (210} B} o SiSeasI0) seredaid sesopua oYL
ez s

1L uopoNIISU) UE SRaqo JesopUBL BYL
seos ay) o) JEjuIs

01d suossad Aq pasn Ajewiou a1e3 pue 1S 8 85N o 5 UoREBIq0 S 8I3pUS L AU L
2000 BU) YA BIUEPIOIE U SIINISS B} SPIAOL SSsBPUBL S|

£q wny o) uBNSS S| pue 19E1U0D SIY) Y SIUEPIOITE Uy

saopuas b

e611q0 5 4s0pua) ay|

‘S0jB Bl BPINOI 01 8I9PUS  BY) BlGEUB
01 Auesseaeu se apioid of wiy sanbal 1PEAUOD SIU YOIYM UopewLIoul Sap0Id JB0jdT YL

‘papinoid ase Ss0/UGS Byl B1aYM KIIUNCD Byl J0 Me] U} S1 19EAUD SiY) 0} alqeddde mej syl

meq

PBONpaJ 10 PapIoAE 5q UED BujuIEN AyJED UE SE payIou
U8Bq SEY YOIy 131IEW YOE J0 19840 BU) MOY 10y Sfesodosd Buapisuod pue Bupew uy ajesado
-00 J8/0/di3 8} pue Jsizpus ] oy 8ol B 0) SSINIBS By J0 SsauNasN Ay eduy

10 uoneldui) Aejap ‘sedisg au1 10 [e10} BY) BSEAIIU PINCO LI JBNEW AUE JO BIEME SBUI003
Jayye Se UG0S e 1aulo au) Buykyou Aq Buiem Aies ue san sakojdw3 ay) 10 Jaispusy Byl

[

usom o3

LOVHINGD JONYNILNN

Lie

[

X4

x4

vee
44

X4

o0z

v

n

(X8

9

UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image35.png

3T HSVL VIO O £0SSL. ez 30vd

wowked oy o}

Pappe i Aelap J0 49M 3191dwod Jad 950 40 B1e1 BU} 1e 15e101ul aIdus ‘Se] apew st uawiAed € 4|
0j0nuy

o) jo wed paaiBe Aue sked ap -anp si awKed ay) a10joq WaWSBIBESIP S 10} UOSESI BU) JO
Jaiapua] Bl SaYIoU B J212pus ] aU) Aq PEIGNS BD[0AU] UE UM 9316 10U S80p 8A0jdLT Bl I
auapua) ay) 01 Jakojduig au Aq apew eie sawked

1810 “anp Junowre ay) s3anpas aBueyd eyl i aAojdlu3 au o) jesepus 3yl Aq apew si wawiked v
wewAed 15|

1 sous enp unowe ay) uy aBueyd oy e SwawAed JaUI0 “aNp Junowe sy st uawed iy By|
“Jaiapua] ay) woy 8310Au] Ue 10 101201 10Ye SKep b, U Jiopus . o sked jafodug syl

wouikeq

‘uopeldwog jun s1eq uopaidwo auy wioy Aep yoes 1o} saBewep Aejep sked seiapus oyl

‘anp JuNowe 8y} U1 PapNDU S1 J2:3pua). 34l ol Aed o) sa/ojdg au) SauNba1 Me] Byl Iy

Xe) sojes 10 pappe anjen Auy 8s5pUS ] Byl ol pauEIa. 10 Aq pied 8q 0) SlUNOWe SSa] J8IEPUB ]
41 01 pied 8 01 sjuNoWe 12y10 SNId S1EQ) 01 PAPIADIA SIS 10} B3l BU) S| NP 1UNOWE BY |
201185 BU) 10 BjouM AU} 10 SJED

08/9p 91 JalE YUOLI BUO [JUN 8jEp BUE]S BY) WOL} YUOL YIBB Ul A2P JUSLUSSESSE UE 5| 21y
passasse Usaq Sey anp JUNOLIE 3L} MOy MoyS o} d0d BU) Ul PAIEIS SIEIaP 3} SIPNPUI B31oAU]
U “Aep jUaLISSaSSE YES 1E B210AU] UE SWNS PUE AN 1UNOWIE B} SASSASSE J2/3pUa] BUL

anp Junowe ayy Buissassy

Juawhed

wunouwe siy;
sked sasspus, au pue sidoad sauo Aq paran0d 18joQ Byl Buiey Jo 1502 oY) sessasse JoAo/dwT
U Powad U0}981100 $198j8p 31 10 PUB U Aq 12JAQ PaUIIOU & PaIIBLID 10U SeY JRIPUBL AUl i

s1ejeq parveniodun
Pajaq & Buia110 10} papssu Bu 10 ave(d “wosiad e o) ssaode Jaiapua) syl soNB sefojduiz
a1 ‘pouad 011100 $}983p B 10 PUB BU) B10j2q SIIBJRQ PAYOU SIBL0D J8IBPUS SUL
wayl o wiy seyou JaAojduw3 8y} 10U 10 JeYIEM SIPRJRQ SIIBLI0D JeIEPUBL BUL

513420 Buy

901109

Spul 84 oIy 12}aQ Yo J0 8A0jdwT BY) SANOU esapuB)
198491 UoE3 0 J8I3PUS | B} SO J8/0]duT BUY 8P SJ984EP AUl INUN
1984901 © 10} 421895 0} J2I9pua] S} PNUIsUl Aew saAojdwz ouL

a4 pue spuy ay yor

184 Burfynou pue 1oj Bupyoseas

ESREIET]

vig

€19

zis

Lis

15

705

€05

z08

105
05

vey

LOVHINGD SONYNILNIVH ONITTING
UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image36.png

3T HSVL VIO O £0SSL. vz 30vd

uonelonb oy g a1be
10U S30p 81 1Y} UONEDYIOU PUE OISIIBP PABUBL 10 UOKINLISU] BYI JO UOJEULIUOD »
10 uoetonb oy 40 soueldadoE pue olsHBP PaBUEL 10 OIS BYI JO UOJEULUOD »
uanB 24 10u [ UOISPAP PABUEYD 10 UOKINISU AU 1eU) UOEIIOY »
s1 fydas siy "uoispap pabueyd 10 uopansuy pasodosd e 104
UOISSILIGNS J2/0pUB . B J0 Y9BM BUO UM SOl f
188 UoyESUBdWOD € Jo uonEayIou
541 10 $09M 0N LY ‘PAABII S| UOKINIISU] YINS 0U 1 ‘10 80/ 3l Aq 0 Op O} paonIISUY
6u1aq 40 931 2UO UM UONEIOND € SYIGNS 8I5pS 3] “UoNEIOND UDES M UBWSSBSSE
10 S{Ie1ap SYWGnS J2apua) By] “J2iapua] au) Aq passesse aleq uonaldwog ay) o} Aejop
fue pue sele1 10 s8dl1g 8 01 SaBueyd pasodoid ssyduiod sjuake uoesuadwod 10} SUONEIOND

132 uonesuaduwos 1o} su

1000

515p $198/9p BU) 1B1E PAYIOU 10U S| 1UBAD LOYESUBWID Y/
o109 € seyiou JaAojdug oy ‘Buoim usaq aney of
punoj Jate] sy wy) jo Aue Jj “suopdwnsse asay) U0 PASEq S| 1UBAD Ay} 0 1UBWSSBSSY “SuofElond
JUUGNS 0} J3/3PUa . 3} O} UONONISUL SIY Ul 1U3AS B} INOGE SUORAUINSSE S91eis 3y “Aigeuosea:
15838104 8 0} UIELIEIUN 00} B1E 1U2AG LOESUBAWIOD € JO SIaYS AU} 18y} SapIap JaA0[dw3 au)
‘suopietonb
% 18/8pUS] BU) 0} UOISIIBP SIY SO BY ‘USND BB PIND
4 oIy Juna a1 o Bujurem Apiea Ue aAB ou pIp esapue, aUl 1ot SapIap JaAojdiZ aUh i
1UaA3 34} JO LY 0} UOYEDNOU  JaIBPUEL U) J0 Y93M BUO
Uiy “uoiielonb € YuIGnS 0} Wiy SINASUL 10 Y8I5PUS BU) O} UOISP3P S1y Sayou JBAojdT By L
1UaNe 2} Joj Uoyelonb € YUIGNS 0} j2IPLIaL AU} SNSUI Y ‘IS0 SAPAP I AT AU I
0D 1Y) Ul PRIEIS SIuBAS uoesuadwod ayl Jo BUO 10U S|+
10 uoRe[duI0) 10 S3dld AU} 0 (€10} Y LN 198YB 0U SEY »
“uaddey ol patoadxe 1ou st pue pauaddey tou sey »
Uasapua Byl o Iney e woly sosue
saiapuay auy) A paymou
18A3 Ue 1ey) sapap Jafojduuig Syl i paBuEY) 10U a1 Bleq uoyBIdwoD BU) puE 3y BYL
4813pU3] 34l O} U343 BU) PaUIOU 10U Sey JaAojdug Byl
PUE 1088 B} J0 BJEME BUIEIS] BY BIUIS SYERM
o UBy) $59] 511§ PUE 1UBAD UOESUBAIOD € S11UBAS Bl 1eY) SaABRq JBIEpUS Bl
31 1wens uopesuaduios e se uaddey
01 59808 2y YoM 10 pauaddey Sey oI 1uBAS U 0]l B 0) Sa0U J8iBpuS] BuL

Bwgns 0} wyy sinisu; 8y uat

sjuans uopesuadios Bu

noN

paeis Ajsnoperd
jou safoiduwi3 2y (1)
OBU0 SIU} Ul PRIEIS
Buiewos apinoid ou saop safodug e (9)
adoog
U1 u pales se saspus oy o) Buy 10 sveid ‘uosiad e o) ssaa0e BB 10u Sa0p JeAodug YL (G)
PUNOJ 5| BUOU PUE 2JB(] E 10} UAIESS 0} /8I5PUS S} SPNAISU JaA0dT B L (5)
Jeuapua] 8} 0} paleajunww0d Aisnomasd Sey ay Uaiym UoISPEP & saBueyd sefojdu3 au L (€)
“}10m Aue vels ot 1ou 10 dois ) uoanISU ue SawB JeAojduT By L (¢)
‘PRIEIS 5 2311 O pUE Bjes
19 o vy sway 4o sempuenb oy} saye Auo Yoy Bbueyd e+
10 pajaq e 1deode 01 18pI0 uf opew sbueyI e+
1daaxe adoag ay) Buibuey uogansul ue sa ssfojdwg syl (1)
Sluans uopiesuaduwod are Buojo} oy

Sey 8y YoM 1uBAe uopesuadwod € 1N0ge uondwnsse Ue 0} UoBIC) € 59

se y Buppinosd 1oy a1ep syt Aq apirosd ol st 8y Yo

© Yol Jof saguenp Jo

siuans uopesuaduio)

S)UaAs uonesuaduion

LOVHINGD JONYNILNN

[22]

[

2]

519

vi9

€19

719

(3]

19

109

09

UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image37.png

U0 SVL sz30vd

010} uy a1 SeOUBINSU SIY Tey) Bujuiyuod
1901 10 JINSUL S WOy B1EIYSD € SapiAaid Auued 1aUIo Byl Auied e Aq paisanbas uauy

e1eq U0 By} Uy patels se apinoid o) sy afojduiz

a1 yoiym soueinsu; Aue 1deaxs eiqe | BdUEINSU] UL Ul PaIES S3IUEINSUI 3yl S8pI01d J8sBpUS L AL

12400 aoueInSU

iafojdw3 8y q papinoid sBuy J0 Jispus aur Aq 3N Byl o 110 BSOIE YIIYM
wewaBuyyuy ue 1dsaxs ‘S18y10 40 SIBH L) 10 Jasepua ] By} Aq wawaBuLul Ue Jo 1o Bujsye aiqeked
51500 pue uopesuaduios ‘sBuipas201d ‘sunefd 15urebe Jsojd3 au) SaYuWepUl sesBpuB] SuL

Ayuwopuy

asueInsul pue Ayuwapul ‘Ajjiqer| Jo uonewi]

1E1UOD Sy} JapUN S3NP 1o} 110 Kuted o} Aessatau
Ualyn 1d89%3 S89/118S BU} YA UORIBUUGD U PAUIEIGO UORELLIOL] BSOPSIP 10U 0P SBlEd BUL

Aq papiroid [euBlew sy SuINIa a;3puB] B} ‘SBOIAIES BY J0 SOy BY} o UOKBIWOD UQ "SeAAIBS
a1 apinoid ol Ajuo saAoidiu3 aul Aq papirosd feualew ayr asn ol 1yBu ay) sel seiapua Syl

2d0dg Uy

uy paters sesodind aus 10 Jaiopus , oy Aq papiroid feyatew au asn o} 1By o sey Jafojduz yL

[eusjew Jo asn sapieg ay]

apiL

Se7e1 4E1S ou ale 10y WOy 10}
e1doad 10y setes yers pasodoid ‘adoas au o) aBueyd e sof uonelonb SiY Uy SBPNOU) J213PUBL BYL
s1inouy

{qeioseo a12 oAD oWl 01 M ol PUE 1509 [PUOPPE 194 PUE oKD UoRESUOGD ou

o1 Andwiosd pue Aueiaduwiod s1eas aiapua) Byl 1eys suondunsse ay) uo paseq Ik SUBISSaSSY
o0

SIU) 19PUN Y S.428PUB] BUL 1E 1€ PuE BULINI0 Jo B3UEYD 1UEIUBS & GAEY LDy SIENEW

10} S8IUEMOJ[E Sl BUI PUE 1509 SAPNIDUI 1UBAS UONESUBAWOD € 10 19848 B JO UBLISSSSY
Bupsen Ajiea SN ey Ja/apua] au) Jf Se passasse
511U88 BU) ‘USNIB BABY PINOD J8s8pUS PEIUBBAXS UE LI 1UBAS LONIESUSAWIOD € Jo Buuren
Ai1ea ue s 10u pip 1213pua UL 1EY) UOISIBP SIY 10 JIEPUS] B PAYIOL Sey Aol U i
‘pkeiap aq ol 1520010} 5| uogaidwo Wana

uopesuadwod ay) 0} anp ‘tey) B Jo yIBU| ay) S passasse s| aleq uonaiduiod au o} Aejap v
‘sesuadxa snid ‘auop 19f 10u Yo oy}

10§ aBiey Bl 158510} B PUE ‘PAPI0ISI SEY JBIAPUS B} YDy BUOP APEBI[E XIOM J0f SBIEY)
1] 5 uodn 1uers uopesuadwod By} 10 1938 B} SE PaSSESSe ale Sadlid oY) 0 sebuEY) YL

siuene uonesuadwo Buissassy

uonelonb au) ym 5916 10U S30p BY 1EY) UOREIYIOU  ®
10 uopetonb oy jo souerdasce »
s1 Aidas siy "s1uens uopesuadwos 1ayio 104

718

Lie

18

Loe

02

€0L

zoL

voL

oL

9€9

5€9

ve9

€9
4]

Le9

€9

LOVHINGD SONYNILNIVH ONITTING
UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image38.png

3T HSVL VIO O £0SSL. oz 30vd

U0ISI93 $,/0]E0IPNIDY BU) 10} PAMOI[E S B} 0 PUB
41 1oye S99 N0J UEY) 210w SUN0D B} 0} BINdSIp € 4ns 18ja1 Kew Aued 1ouyeu tey) 1daoxe
Pamolle Bui 8} UM UOISII3P SIY Ayou 1ou pip J0jEaPNlpY Byl ®
10 UOISEP 5/0jE0IPNIDY BU) Aq paySIESSIP ST By »
1151n00 a1 01 aindsip e sajo1 Kew Aued v

sunod ay) 0} svusIagEY

‘4l Peq Ul a18 YOIy 19€ 0} Sauney 10 Suopoe Aue 1838 19ENU0d
1) Y UORIBUUGD Uy 19€ O} SAINE] SIY PUE SUOIE Sy 10} J0JEAIPNIDY Bl AyuLiapul Safed a1
passasse 5| 1uaAa UofEsUaAUIOD € SE AEM SUIES By) Ul JUBWSSasSE

S1y Sexew ay ‘Aejap 10 192140 1500 € Jo JUBUISSASSE SAPNDLL UOISI3P S10jIPDY Bl I

A 19410 3U) 0} OS[E PAIEDIUNWLIOD S| 10je2IPIDY BU) PUE AliEd © UBBMISY UOREIUNLILIOD AUy
‘soed au) q Ajlenba pied s o} preme eniqre

Ue se 10u pue Seiled oy} UBBMIBY UONEBIA0 [ENDEAUOD 10 J3IIEL © SE SIGESIONUB S UOISEP SIH
JolequE S 1ou pue ojeapnipe 1uapuadepus se Aeiiedw INdsip au) saes J0jeaPNpY UL

10ieopnfpy B

UOSSIUIGNS Y1 0 SYBBM 1N} UL UOISIPAP SIY
D 1y 40 sapieq o Buikyiou Aq aindsp o) SaMBS JOJEDPNIDY BY L
UOISSIWIANS B} 0 SYBBM OM) LI Alied YoED

£q Wiy 01 PapI0Id S| YOIy UOKEWLIOJUL 1UNODDE OlUl SBYE J0jEDPNDY BU) ‘@INdsip Byl Bues u
aind

€ se uawaes 10y J0jeajpnlpy Syl o} 1uaWERIBESIP payou & yuiqns Aew Alied Jays ‘sanied
u1 Aq pajes ssejun 1UBWSBIBESIP BU) J0 BIEME BULIOIAQ JO $§3M INOJ UM IENUOD S YA
U0PPBUU0S Uy 10 13pUN Jaitew Aue uo Wiy Y SaRIBESIP By 12yl Alied 110 Byl Ajnou Kew Auied

1oy suoseas ay) Jo pue ol

seindsip jo uewomos

uoneuluLa) pue sajndsig

B0 J0 SUOWPUOD 353U} Uy 10} papiA0Id Se 1d80¥ 1o1d 10 aNUBAG Jo SS0] 10} JaA0jLIT
o) 01 aiqey| 10u S| j8i5puS L S| 19EAUOD SYYl Ul panbai SIuEINSU| Byl AQ Papir0Id 18100 B uew
‘10w Auadoid s jaA0/duu3 2y o) sBewep 10 4o 550] 10} 180/ BY) O} BIGEl] 10U S| 1BIBPUBL BYL
1eQ PEU0) BY) Uy PAIEIS Junowe sy

521 Jokojdu3 oy o1 AIGeN s jesapua yL

Ky

o1 pan

151 S3OIIBS BU) 3piAOI 0) aune) & wos Bug

| s 4040pua] 2y uo

n

TRiapUa] 841 kq UOIoE
18n3 auo ue | el o) anjey 1o uopoe ue woy Bugnsas Aadosd of
10§ Bl PEAUOD BY) | aBewWED 10 40 550] 10 (1asapuUB B} Jo Bakoidua ue
@12p sjo3jap au) | _urpajess yunowe ay 1 | jou) uosiad e 4o yieap 10 0} Ainfu Aipoq oy Agert

panss| usoq ‘seoes ay) of sejus
sey uogaidwo) seayuas Bupinosd siesapua) Kq pasn Aeusiou
10 a1eoyed ‘1 1ENUOD Byl | 218D PUE IS BY) SN 0) BNy SIY 10 N0 Buisie wiy
sofojdw3 ou) | _urpajers unowe oyl | isuiebe apew swiepd 10} saispuiag 2yl jo Ager)
aun 18A00
popinoid 19A0) | jo yunowre winunupy 1sujeBe souemnsuy
378V1 FONVANSNI

126

3

€16

4

L6

16

€06

z06

106

06

441
vze

4]

LOVHINGD SONYNILNIVH ONITTING
UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image39.png

3T HSVL VIO O £0SSL. z30vd

PUIWILIOD S| J8/8PUB BU) YDIYM O} SIS0D JBUI0 SIPNIUI OS[E UOREUILLIS] U BNp JUnowe
11 uoseay 1o} SaleuuIa) J8O[LT B 110 6 10 7 ' UOSERY 10} SAIEUII] JRI3PUB BU) I
‘seoinios

o Bupelduion 40 8/0jdui Bl 011503 [UOIPPE BU} 0 1583910} B JO UOINPSP € SAPNPU

0S[e UoEUILLIG] U0 BN JUNOWE BU) °9 10 G 'p '€ 'Z '} UOSE3Y 10} SeleULB) 18A0/dwT B i
saojdw3 eyl Aq pautera sunowe Aue

pue ‘sjuawAed [ewiou 10j Se Passasse anp Junowe Ue SaPNDU; UOJEUIULIB) Lo aNP JUNOWE By |

uoneuiwIa) o Juawey
Jsopus] oy Aq

paiedaid jeustew 1ar0 s1yB1 siy 81d0ad 1aU10 BSOY) 0} BIQE|IEAR SYEU 10 YRSy aSn Kews pUE 05
op 01 ejdoad 1ayio foiduwa 10 yestny saayies ay) elaidwod Rew saAojdui3 ay) ‘uopeuiIS) Iy

uopeujLIs) UO S2INPaIOIY

(6 U0SEaY) SYBOM IUBID LI UBAID US3G 10U SBU LIS 10 UEIS31 O] IO B}
I® UORONIISUI UE PUB JNE} 5,/3/9pUS. SU} 10U S1 UDIUM UOSESI € 10 IO [E Jo.
0 [2RuEISqNS AUz wels 0} 10U Jo dois 0} j2/opua) aU) paNIISUI Sey Jakojdu oy +
(g uoseay) Pe1UOD Siy) Aq palnbal UopEUIOJUI
[eA © PORWIGNS Sey Ja/apU] BU) 12y} papiAoid
anp unowe ue pied jou sey saojdg oyl
1 oreua) Kew Jaispusy syl

41 3PN YIIYM 310N XB)

(1 uoseay) uoseai sayjo kue 10} 10

(9 uoseay)
Anegep a1 1nd 1ou 10 Bupyneyop paddors 1ou

uopeayou oyl o syeem

g
10 (g uoseay) uoneinbas Aiajes 1o ujeay & uaoiq AlEnuEISANS
“(p uoseay) safojdui3 ayi pasepuiy AllenueIsans

(¢ voseay) suoneBlgo siy ym Aidwod of papey AllnuBISaNS
ey 8y tey) Jaiopus ] B} paIoU Sey safojduwi3 au) y SreunB) Rew JaAojduig By].

(g uoseay) 10eU05 Sy paubisse sey s

10 (. uoseay) (sennba sy 10) waAosul 10 1dnsyuEq BW020q Sey Alied JoUI0 By«
1 ereuwa) Rew Aued 1ouu3

01 K1ESS308U }10M JUMN 0U SB0P JAI3PUG BY) ‘PANSS] UBBQ SEY SIEIYLID UOEUILIZ) € 13y
1102 Sy Y saydwod uoseas sy Adwod ajedynied uoneuse) e sanss Jafojdig oy

115] 10 UOSES SIY J0 SIEISP BUING 13U BU) SoNIOU BY ‘SleulIB) O] SaYSIM Alied 1oULS i

u

eujLI2) 10§ SUOSERI pUB UORERUILLID]

J01EaIPNIE MaU & UBSOLD 10U BAEY SAIE] AU} PUE 19E MOU 10ULED 10 PaUBISal Sy J0jEaPIDY
U1 1 5un02 8 01 PaNas 1ou Sey JojeaPnIoY U LIy Bindsip € ajas osie Kew Alied v

LOVHINGD SONVNILN)

€96

796

156

6

L6

6

v'es

€6

ze6

1e6

6

76

onigTng

UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image40.png

U0 SVL

ez 30vd

(iakojduw3 10f)

a1eq paubig

se1 oy 1no Autea 0 nok pnisul pue swiwesBosd pue 82yd aroge ayy 1daade |

(pawoene) 1oi]

(10pe4100 10f)

aeq paubls
S14se 1 oy 10y swwesBord oy |

N 18P0 YseL SIU 1o} S39Ud AL JO (1oL

¥ (payoene sperop)
1571 211d 3} UO 10U 310/ J0 WAl 10} S0 JO [EIOL.

¥ (pauoene sperop)
1517 911d BU) U0 Y10 JO S 10} SENIG 10 10|

(iakojduw3 10f)

aeq paubls
mojaq sjesodosd awweiBoid pue sopd nok yuwigns aseeld

yoom sad sobewep kejpq
s1eq vogaidwod

uopduossq

581 By

0y 341 10 Ausea 0} nok onasus 0 sodoud |

paels e uy

(1ope4u00)

1110 pal11eD 3q 0} PAIINIISU] S 394195 BY) Ul

oL
somiss ON J9PIQ dse L

siseq yse) g yse] e uo awn o popad
1M YIOM UBUM 35N 10} UIIO} 18PIQ Y51

189pIQ Yse |

UIION LOVIINGD

LOVHINGD SONYNILNIVH ONITTING
GLINI 20S SONITIOH HOXS3







image15.png

JONVLAE00Y % 43440 40 104 £0SSL 110 30vd V1Y LOVHINOD ONY SINIWIRIOY 10 Lavd

O Japus,. anewRyY, ‘pasIOpS
finp ‘asodind ey o} pasn 2q Aew UaLNOP S} Jo S31000 JoUN; 1240 J3PUS) SAEUISIE PN O SIUSUN S2ISPUBA | BTON

aeq Jo ameubys
5 ouwey

sekopdwg
a1 10}

Q3L 90S SONIGTOH WONS3

fypeded

(s)owen
(sJonieubis
800G Paisy Se EU0D B} O SWId) U e

JayiaBoy (Aue y) suoneinag Jo eInpPaYdS 8l Buipniour WawNd0p Siy) Jo Adod pareiduios Ajny auo SanEIRI
181BPUB) B} UBLM B1EP BY) UO 1998 OlU| SAWOD uBWISBIBY SIY) ‘UIRIBY PAUIEIUOD BuyIAUE BUPUEISYNMION

wawaaiBy siyl Jo uoelpndas e aINysuod
lyS Sui) 8S0Y) Y B0UBPIOITE Uy SUOREBGO 953U} JO AUB [UINy Of BINJE DAY Olu SBWOD JuBWEBIY
141 212p o) Jaye 15[ 10 ‘e E1eQ 19ENU0D AU} U} PaIUBPI I9EIUOD JO SUONPUD BY} 10 SWIB] Uf PAPIN0Id
q 0] uopeuBWN20p J8yl0 Aue pue soueinsUl Jo Jooid ‘sealUBIEND ‘SPUOG ‘SANINIS AuUE Jo A1NJRP BU)
abueise ol (eleq 19ENU0D Bl uj SN a1e Siie1ap S50yM) aBe s Jakojdw3 ay) 19EI0D “(Kue 3) Suonenag o
aInpayps s Bupnul WuaweaiBy sy 40 Adod pareiduwio e BuE281 J0 o3 BUO UM eYS J8I3PUB) B |

seued yiog 1oj (s)onneiussoida
pespouyine AINp a1 Aq PauBls oq 1SN UM ‘SIIPaYDS 1YY Ul PAUIEILOD SSAIUN PIIEA BJE SIUSWNI0P
PIES woy SUOEap 10 0] SJuBWPUBLIE ON “8oueldaddy pUE 18O 40 w0 S 4o ed Buwioy pue o)
Paydene Suoeiraq 10 BNPaYdS U uf pauleluod aie “edueldaady puE 18O Jo 558201 syt Bunp akoidu3
5y pue se12pus) au) Aq paaibe a0 Bl J0 SuLB) au) o] SABUEYD AUE S [[BM SE SAINPBUDS 19pUBL AUl
paisy olasay) epuappe Aue pue ele(] 1apUaL AU} Ui PRIS SIUSWINIOP 3] 0] SIUSWPUSLE PUE WO} SUONEIa

sueq pas
{10210y} sued 10) swewnaop pue sBumeip pue

anoge ay) ojuy aauasajel Aq patesodioouy oq Kew o

uogewwiou] 89n1sS HI0AA J0 2d0dS € veg

sanguenp Jo s

Tued
(2ue1daoay pue 1o0 Jo w4 S1Y) SSPNPPU YY) ‘el VENOD PUE SWBWBAIBY | Led
1 POUIEIUOD 318 "BAUOD BU} J0 S} By L

aWaa1By SIL) J0 1231GNS AUl S ley} 19D B} Ut puE JawaIBY Sy
U pauEI0D Suoppuoa pue Suis) 8y uodn 113pus) Syl pue J8A0AWT B} UBEMIB] WaWBAIBY UE Wio) [leyS
19O 5,1919pUB) 8U} 0 8ouEId02Y “ElEQ VEAUOD BU) Ul PAIUSP| DEAUOD JO SUOIPUCD U] Y BIUEPIOIIE
Uy anp unowe ay) sopenuo) oy Aed eys 1eAoidu3 ou J0IoU) UONEIBPISUOD U] IO SBIBPUS)
oy sidedse mojoq paynuep! Jakojdw3 ay) “soueldedny pue 1eyo 4o wioy s Jo ued sy Bubls kg

aouejdasoy

LOVHINGD SONYNILNIVH ONITTING
UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image16.png

JONVLAE00Y % 43440 40 104 £0SSL 110 v30vd V1Y LOVHINOD ONY SINIWIRIOY 10 Lavd

aeq

ssoum jo
aimeubys
5 oweN

0
Heuaq uo.

G317 208 SONITTOH WOXS3. (uonesiustio o ssaiops pus swsu yssu

fypeded
ouwey

ameuts

Jafoidw3 sy Jog 21819pu3) 8y} 104

ys wiog sy
oy usamaq
a

1uawaaiBy siu) woy Buisye sepued sy useM|aq 19EUC BU)  19aYa 10 Buueaw Aue arey
10 Adod paubis patalduiod e Jo Ja19pua) 8y} Aq 1dje281 U} PUE SIUBWINDOP J3PUSI B} O BNS:
popiad oy Bupnp paydu 10 UopEduNUILIOD (810 ‘Buim u) 18YIBLM 18NEW 13UI0 OU e paaibe Alssaidxa

soueidasoy pue Jayo Jo ssea0id sy Bupnp
sofoidwi3 eu pue sasapua) ay) Aq pasibe B0 Bl J0 SISl BU) 0] SABUELD JO UCKEIYIER “UONELIYOD
Aue se o e ‘SoINpaYS J8pUB | BU) Ul Palsi| 01213} EPUSDPE AUE PUE E12(] J9PUS | B} Ul PRIS] SIUSWNI0D
41 01 SjuBLIPUBLIE pUE WO1} SUOEINGP AJUO AU} SE SUOIEIARQ J0 BNPaYS Siy) 1da39e pu o} Baibe Jaiapual
oy pue safoidw3 ay) ‘mojeq SUONEaQ Jo BINPAYS Iyl BuuBls seAtelussaidar paspoyine Anp syl kg

e120 palang | on

110 1930 3y fesodioou
0} pasiNal 3 [EUS SIUWNOOP JOEIUOD SU) Jo Yelp [EU U} PUE a1 P3PIOTDA 3q S JUSWIBE LS Jo ALCAND
U} ‘230e)dB33y pUe a0 10 $53001d U} UMD PRI JUBWISBIBE J0 3IANS U} 30 PISAIO S UOBITP © SANISUT
Iy J3Y3] UoNS Ul 3} AU PINOS  WSUIN30p 12103 [eUy 34} Ul PIPNIUI 30 JOU 1SN 1319] BURA0D SI3IPUSL Y €
9pUL Jo SUOIPUOD 31} 0 SWiS) U paREd
51 512D BuISOp 13pUS) 34) 0} 10ud 2L 54 AQ PSS! SUALLINIOP J3PU3] 3] WOI SUGTRIASD 10 103D UL
120100 o 553001 2 10 1S3} 34} 10U S1 PUE SIYE 34} USaNYEA UOEOB3U 0 padofanap Ua3q seu DesjUO3
1 pa1nba1 30 jou pinon 33ueide02y % 120 U} Jo Wed L 9L Jo preve of soud 1afodur3 au) Ka pajadoo B 0L L
10

suoneiAsq J0 NPayYds

LOVHINGD SONYNILNIVH ONITTING
UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image17.png

| 124¥d VL0 LOVHINGD £0SSLZ10 s30vd

OV 10 Lvd

(90uepind a1seq 10} y aInXauUY 295)

k741
B R T T e oy

U0 SIqEIIeAR ,£ISS | P04, 10} pAIRIS Y GOUEINSU L) SapiAoid aA0jdwT Ay L 128
iz}
<O e A T TIO RIEZ O WONS W-iy
uo ajqejiea Aoyjod adueins:
£2SS1 12ULI0S, U Ul PAGUISEP JUAAS Jo ssa0xe  Auadoud s saAojdus
1) 01 UAS]2) SaIQUONPaP AL Jo oW 2L B 0) AbewEp 10 Jo §S0] 10} j3A0[dL
) 0} 21qe1 10U S1I09EAHOD AL 1og
Kejap 40 yoam a10iduos 1ad g 1 uaLAed aje| uo ales 1sasalul Ay | 75
“yuow yaea Jo 57 Ul st fep juatussasse UL 105
yoom (10 | 51 A101 0 posd ay L e
vaL 1 pouad aoimias UL Loe
var 1 ajep Bupe)s oy Log
19811100 SY1 40 € Leg
1 uopewLIOJu] 2D1AIaS, PallEd JWBWINI0p Y| ul st uogewo) sames AL (9L
soueusjurel Buiping sioomesaul  (S)ZHL
ez orwoNsIDNIZAUS
s g6¢ (€£0) ON xey
s g6¢ (€£0) ONPRL
wapuoywy ssaippy
peoy puepiod 1
awen a1
Jusby s 1040
s sakojdg ue syuiodde sadojdusz au |
Bingsauueyor uojpues ‘anq
[l9MXEI “Yued HeMeBay Je 2210 pasalsibay ssaippy
eoLyy YInos jo
yqnday ays Jo smef Aueduwiod ays Jo sua) uy
pajelodioduy uosiad onsunf e (90/,255L0/200
505 sBuiploH woys3 (weN) st saf0jdwz a1 Lon
lesausn
eleq Juswalels  esne|y

UIION LOVIINGD

1ofiojdwiz sy Aq papiroad eleq
€)eQ 19E1U0D 21D

LOVHINGD SONYNILNIVH ONITTING
GLINI 20S SONITIOH HOXS3







image18.png

| 124¥d VL0 LOVHINGD £0SSLZ10 930vd V1Y LOVHINOD ONY SINIWIRIOY 10 Lavd

‘JOIVS 40 600€ £08 110 XBd 'B00€ £08 110 |21 saibajeng wenuo) buuaauibuy
18U WO PAUIEIGO 30 0} 10 ‘83U S WIOST JO SULS) U 31y ,4(1d, © SE PUIENE BB DRI |

JaA0j0luig BU) 0 1BSUCS UBLM AU} INOL
uosiad Aue o) suopefigo 10 S1yBy si Jo Aue uBisse 10 a1eBe[ap ‘3pad 10U S0P JOJRAUOD BYL L7

wewubisse pue uopebajap uoisse) 1z

Aidde sAem(e yoIyMm |7 01 |7 SUOMPUOD [eUOMIPPE BulM:
(8007 19quiidss) 130100 110U SOIAISS W] €DIN U oIe 19640 o Su

poq 10ssa30ns 51 01eQIE UE SR[aS Oy BlEIS
SI01E1IQ1Y JO UONBI0SSY BU) JO BAUIWIOU 10U SA0P BINPaI0Id UONEMGIE UL Y -
S1y 10 Bujaq oW oY 10§ uBWLIEYD BY| 10 3II0YD © G316 10ULED SE B Yl -
JoieqIE Ue Bs00yD

oy uopesyueB10 1o uosiad ay |

pos

e aq 0L SIpjeY 59 0} S| UOREIGIE a1aym 3oe(d 3y

“Apoq
1055900 )1 10 (2311JY WIALINOS) SI01RNIQIY
10 uonepossy oy Aq paysiiand suonemary
1019MpUOY) 8y} 10} SN JO UOMIPS 1531e] AU L s aunpasoid vojenique ay L

“uonemaiy jeunqy ay L vee

[\ TSaTor 235)
*BuiseuBuz AL J0 UONMISU] UEDLLY YINOS

I 3Y) Jo uewRy ) By | (@)zes
“wyy 0y and
© 10501 01 Buipuaiu Auied oy Aq eleq 1ENUO)
S1u) 01 g ainxauuy uj paisy so1EAPNIPY
10 1auRq WoysT aup woy patoajas uosiad ay|
stiopEapnipy syl 1e6
oN
(9661) 10 uopesauabay pue uoy
‘SWweI9 Buisnoy wopb
(spuey puesnou paipuny aL) 000 00 Ueys
5591 10U Jo AuWapU] J0 | € YM 10V a1
10 adods au apisino Buyjey ejdoad 104 Apqes
ME] UOWILIOD 5, J0JIEUOT DY) PUE 661 1O
0£1 "ON 10y Seseasiq pue saunfu jeuonedn2og
104 uonesuadwio) ays Aq paquasaid sy aiqeL
2ouBINSU) U) Ul PaJEIS BIUEINSU] Ynoj
U} 10} 1370 Jo JunowWE wWnwI By | 128
-soAojdur3 oy Aq papinoid 1ey) o} uonippe
Kiessa20u Sweap JOEIO) AU} ISASIRUM 51 SIGE | SOUBINSU] BU) Uj PBIEIS SIUEINSU
P 9 10} 1270 J0 JunOwWE WnWwUI By | 128
2776
O eI T TIO RIEZ O WONSa Wi
uo ajqeiiea Aoyjod adueins:
L£SS 1 JPUIIO,, 3Y) Ul PAGUISIP JaAD
o) 07 uEASIa1 SAIGHINPEP AU} JO JUNOWIE BY} S| BIGE | B3UBINSU| B} Ul PRIEIS BIUEINSUY
1514 94} 10} 12400 JO JUNOWE WNWUIL B 128
1OVHINGD SONVNILNI ONIGTING

UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image19.png

| 124¥d VL0 LOVHINGD £0SSLZ10 130vd VLY LOVHINOD ONY SIN:

weydpal
54 £q yum paiidwio a8 3snE s1y) Jo SUOIsIAId B Jey) SBINSU JOJIEJOD B} B0 SIYL
£q painbas 815U SIBYI0 0} UOEULIOJUI BSOS JOJIELOD BUI PINOYS (9l 12y} e BdUBISiXa
Uy 510981 UaLIM A PaoUBPIAG) BINSOPSIP JO B BU) 18 JOJIEAUOD BU) O U0ISSassad oy

uy Apeaife Sem ol uolEwI0LuY 0} J0 ujewiop Jyand Byl S1a1U “10joEUOY By 40 ied Byl o
UINESP INOUM “I31ERI2} 10 BINSOISIP 4O B BU} 18 YD1y UoRewIOul of Aldde “Janamoy ‘jou
580p BupfELISpUN S1U | “EAU0D Siy) Aq painbas a1y 1d80¥e SIBU0 O BIGEIEAE 1DEAUCD SIUL
Ui UO}IBUL0D f 10 woly Buisye uofewIoyul AUE SYeW 10 BSOPSIP 10U S30p JOJ9ENLOD BYL

Aenuapyuo

‘soies oy Bugeidwod Jo JaAojduw3 ay) 01 1500 [EUOIPPE 158310} ) 10 UOINPSP € 559 176
SNE[ Ul PRIS| SIUNOWE SSPNIaU] UOEUIULIB) UO NP JUNOLWE B} PUE L6 BSTEID Ul PRIEIS
as0u] a1e uoeuIa U0 SaINPad0id By} BSnE 1 Jo Swie) Ul SaleuNe) JaAofdwT BuL ]

‘somoesd yons Jo sousnbasuod
© se Jodojdw3 U\ jo 85eq ElEp 10pUBA paroidde e By} WOl PAAOLII S| 1qUIBLY 4N

fue 10 Jojoes0D Bl BB SBUEISWINaAD Ui BupnoU puE SuoReEsiUEBI0 10 odoad 1210 10
Jaf0jdw3 U} Y 1ENU0D 10 $58901d JuBWBIN201d AUE YiiM UOIIBULIOD U IBYIBYM ‘BSIMIBYI0
10 puy AuE J0 SIaUaq 10 ‘SuoNeIBPISU0 ‘SuawAed ‘Siayo 1o Buptew apnppul sepoesd Yong

seapoesd 1dnuiod 1o
eBaiis i Bupedionsed o £pog AioleinBas 1o BAENSIIWIPE unod 1a1aduw0d & Aq AyNb puno sy
10}924]1100 BU)  BIINIBS BUl BPIADI O} UONEBIGO SJ0j9ELOD Bl BleuiuIa) Rew JaAojdig oy )

(uopoe feupuy 12 Bupnjowy) JojoRj0 oy isureBe sjepdosdde
e uoyoe 1ay1o Aue BuIYE} 10 B2AIBS U 3pI0I 0 UOREBIGO S,/0j921U0) Y} BuneuwE)

10§ SPUNOIB SBINYISUOD 19EAUCD SIY) J0 UOIINDBX® U 10 PIEME BU) J0] PIEMS) 1O 1UBWISINDU] UE
se ‘oap9eid 141102 10 (B U Se ARaB1PUI 10 AOBIIP BYYS PaNIISOD 8q P03 10 SaINISUOD
oIy “Jojoeu0g 8 Aq apew pury Aue 40 1auaq 1o ‘uonesapisuca uawiked ‘a0 fuy

so3

-soinsas auy) Bupeiduios o safojdu
5141 011502 [EUOPPE 1589810} BU} O UOKINSP € SS3] |76 SSNEY Ul PaIS]] SIUNOWE 3PNl
UOEUUIZ] UO BN 1UNOWE B} PUE || SSNE|) Ul PBIEIS 350U} BIE UONIELIS] UO SaINdoid
a1 ‘aSnE SIU1J0 SUS) Uy SBYEUWIS) JAOJGLLT U] | “UONIEUIWIS) 10 UOSER) € BINYISU0D
few smeis 33ag-g sy ul sbueyo & Jo Jafoduz oy Ayiou o} JojoeuOD oY) Aq ainye

20119 341 3piAolg 0} UOREBGO
540198400 BU) BEULIB ‘AlOATEUINE 10 10BNUOD SIY) S1eNoBaU-a) 1auNa Aew sako/duiz
a1 8jep Buess ay) ouss aseaidap sey SMels IIGG-G S0JLUCD UL INSAI € e ‘BIBUM

Joojduw3 ay) Aq paIoNIISUI BSIMIBYIO SE 10 UOREIYIOU BY) 10 SKEp ALyl
U 80dw3 2y o) sniels 33g6-G SIY Ul 8BUEYD By} BulyUe UopEWBWI0P Bupoddns
fuesssau pue aldIED UONEIYBA PaIEpN UE NS 0] PaiNbal S| JORELOD BY L

aBueyd a1 o Skep Uaas Uiy JaAojduZ UL a0 J0j9EUOD
oy ‘sniels 33gg-g 508400 8yl 0} BuBY € Uy SYNSe) SBuyEap SSUISNG 10 UoMISOdI0D
ssauISNq Sy 0 SBUEYD JaYIO AU 10 dilSIEUMO “SNIES [EB2) 510192/ BU) Ul BBUBYD € BIBUM,

smess (3394-9) 1weunamodw3 ojuiou0a3 yoeig peseq peorg jo abuey)

Ansnpu] uognquisig AouIal3 aus pue Ansnpul Aiddng Ayoe(3 2l Jo Buunpnasa ayi Jo
WnseJ & se sannua [E63| alesedas oju PaeAUOD aq Kew UM suopesado 1o Suojsp uaseid
51140 AUE 10 SOLEIPISANS Si 30 AU 0} 1OEOD SIy} JapUN SUOKEBIIGO PUE SIYBLI Si S1eBaIop
PuE 8pa2 0j92.]u00 BU) 0} 8D110U UM L0 Kew JaAojdw3 aU) ‘2r0qe B BuIpUEISYIMON

(R4

274

(474

[R>4

vz

(x4

[273

vez

[4%4

vz

[>2

23

LOVHINGD SONYNILNIVH ONITTING
UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image20.png

| 124¥d VL0 LOVHINGD £0SSLZ10 e30vd V1Y LOVHINOD ONY SINIWIRIOY 10 Lavd

68 0U ‘1Y Xe | pappY anjeA a1 Jo suawainbai ay) y Aidwoo o) painba sy 10joeu0D BUL

apew aq o) sy Juswiked uaym Aq a1ep Pake[ep Byl WOl PAIEINDIED UBY) 51 7'LG SNEP JO
s} uy 18/0duug Bl Aq BNp 158151U] “3310AUI XE} 121109 B} 10 UOISSILINS PBKEISp B 01 S
Uy enba poad & Aq papusixs s| awAed e ayew of sy i8ojdig Syl usyM Aq W By} PENUD

Siup Aq paunbas s ay) Aq pu w0} 8y Uy 8210AUI Xe) € SpiAoid 10U S80P J0JRIOD BUL 4]

wowked
104 8 JunoWE passasse 191102 ay) BuIMOLS ‘UoNEWLIOJU] BNIBS U Ul palels Sainpadoid
s4aA0jduig U Y IUEPIOIE Uy SII0AUY XL € Yl JeAojdwT BY) SapIA0Id 0joRUOD BUL

05 3Sne[> 0} PpY "ISa121uf PUE SOON

xe 240 u

no1d

6510} 841 Y Aidwod pue BAIBSGO BSMAYY ‘[011U0D PUE UORIBIP S 0}9B4UOD
5U) JopUN S10Uj0 PUE S39A0|dW “SIOIENUOIGNS SIY 1B} SINSUS PUE IOBIIOD SIL JaPUN 10}
papioid aspwaylo sanpaooid pue saulEPING ‘Seini pue suogeiBal pue Swe| [EBLIUOAUS
aigeaydde |2 Yy saydwod ‘Go/eS BU JO UONNOZXa BU) 0GR PUE U} OJOEAUOD AL

BujoBoioy au) ym Aduios pue aBsqo asmay
01105 PUE UORIBIP 5,10}9E/1I0D B} 13PUN SIaUI0 PuE S3aA0[dWS ‘SIOPENUOIGNS
S14 e} S8INSUB P 1ENUOD SIY) 18PUN J0j PapIACId BSIAIBYI0 Sa1NPacoid puE sauypING
Seini pue suoneinBa pue se| Aijes g ulleay eqedydde e ywm pue suopeinbay
uomaniISU0D Byl Y Aldwio 0) ‘2018S BY) 10 UONINBXE B} INOGE PUE Uf 'SYELBPUN  »
pue ‘so11sas 40 uognoexa
1 10ge pue uj fiages g yieay Jo soueuaiurew sadosd oy 1oj AllEsBUD pue 19ENUCS S
ut 10} papinod sainpadoid pue SaulEPING “sejf A19JES UE UIEaY B} puE SuonEInBa pue
‘sme| A1oyes g ujeay aiqeaydde e “Suonenbay uoINSUO au) yw soueydwod sedosd
104 JUNOLIE JUSRYNS € SIPNIOU S1EQI PEAUOD U} IE SE 539U 31 JO [EI0] 3U) 18U} SIUELEM o
~/0J92.]100 U} UOEWL| INOUIA “S9/U3S SU) O UOINGEXS BY) INOGE PUE Uy Suossad Jo
f14es pue yieaYy aU) uleluew o) SUOINEIBId BIGEUOSESI [IE el 0} SSYENaPUN JOJORAUOD B L

wowUONAUS Y} pue K1oes ‘YeoH

Bugun.
ujwawsaiBe yans wiyuod pue sspABYI0 BaiBE Saed oy} ssajun fddoiss ue o) asy anb
10U S30p pUE “SIBLI JO JSAEM © BINYISUOD 10U S0P J0jEAPIDY BYI 10 SaIEBR[P 1BY) 10 SaEd
41 AQ 19211U00 S14) Ui PBIEIS UOJIE AUE J0 UONIEXE[S) 10 JBAIEA ‘UOISSB0U0D ‘UOISUBIXS AUy

:z'z1 asnepd 01 ppy :foddoiss pue sonep

‘asnepo syys uy sBupyENapUN Byl Aq BPIGE SIRENUOAGNS SIY

18U} S9IMSUB 0j0EU0D BYL

Jeojdw3 au) ul Apassnioxe Sisen sabewy
yans |fe 01 pue uy SB [y 80jdug au1 40 1uBsU0D uaNM Joud By} SeiNbas ‘poad soies
U1 0 pua aY) 13l puE B3NS U} BulpIACI J0 @SINGD Byl Ui Joasay) ood Aue 1o Auadod

sasfojduig oy 40 (ssyiay10 10 8Be100; 0apin “sydesboroyd 1ayioym) sebew Jo Buptel oy

PSSO[ISIP 0S UOREWLIOJUY BU) 0 PAPIOYE B [ 1UBLIERI) [EUBPYUOD
18U} SEDUBINSSE UEIGO ) SHOYP B|qEUOSE) SSN PUE Me] Aq PASOISIP aq of painbas S|

1 U1 UoReWIOJU) B J0 UoIOd 18y} BSOS Kew JOJIEALOY B} UBY) ‘PAUEIGO G 'IOULED 10
10U 5} 19P10 BARI0IA UaNS 1ey) 1UBAS B} U] “BINSOPSIP AUE 0} 1oud ‘alqissod Jf ueXe) 8q uea
uope sauo Aue sojpue sapio uomeloxd ereydosdde ue 1ey) os Jadojdug au) seyo ‘ainsopsip
01 10ud me| Aq pamuiied weIxa ay) 0) ojoeu0Y a1 ‘epuapyU0d 1day 8q o1 painbal st Yy
uonewojul yans Aue asopsip o) me] Aq painbas ‘awi AUE 1e 'S} 0J9ENLIOD Bl 12} 1UBAS BU) U]

Jaojdui3 oy g SsIaYI0 payou [aun yans se papieBal
2 01 511 ‘[ENUSPYUOD S| UOREWIIOJU YONS AUE JBYIAYM INOGE UIELIBOUN S 109EU0D AU )i

LOVHINGD JONYNILNN

€1z

(74

vz

79z

vez

R4

svz

vvz

€1z

vz

1z

9z

sz

UIION LOVIINGD GLINI 20S SONITIOH HOXS3







image21.png

| 124¥d VL0 LOVHINGD £0SSLZ10 630vd V1Y LOVHINOD ONY SINIWIRIOY 10 Lavd

‘so1es o) Bugidwod Jo JaA0/duw3 aY) 01 1509 [EUONIPPE 158310} L) 10 UOINPSP € 559 126
SSNED Ul PaISi] SIUNOWE S3NUI UOEUILLIS) UO SN JUNOWE BY) PUE |L§ SSNELD Ul PRIEIS
850U} a1e uoEuLIBY U0 SBINPasid Bu) BSNE S J0 Swe) Ul SaleuNR) JaAofdwT BYL ]

wiog
a1 8pin01 0} UONEBIGo S J0j0EU0) U BleuIE) Rew soAoidw3 Byl (Aue y) 18pI0 seL
& Uy palels syl ay) sayoes) sabewep Azjep Jo 1wawiked s 40j22/10D BY) 10} aNP JUNOWE 31§

705 asne|) 0 uopppy

1 1sureBe pajueid 1opio wawabeuew

pnf e pet o

uaeaba S11 10, SPIOM AU} 1ae Z'0G ASNEJD 0} PPY UoNRUILLIE|

(puey 0182) 000y 01 panu
51550] [Eqluanbasuod 10 198U S10j9B4UOD BY) 10} JOIEALOY B} 0 KIGEY S.48A0dT By L

08 asnep 01 ppy K

saofojduiz

Jakojdug
34} J0 UORNISU) UE WioY SASLIE JUBAS BY) SSAIUN, ‘| L9 SSNEP U] IUBIUSS 1SE| Ay} U0 2320

SiuaAa uonesuaduwo Buikjion

wawAed 1o} sywqns ay
[9E3 10 80GL0L0VLY J8qWINU 1A S J5A0[dwZ Bl 8pnjou o) pue (papuatue se) |66 0

LOVHINGD JONYNILNN

Thz

Luz
173

Loz
oz

16z
62

%74
8z

onigTng

UIION LOVIINGD GLINI 20S SONITIOH HOXS3









1


2


3


4


5


6


7


A


B


C


D



_1756729621.unknown

