Double Door Fridge, 936L

Double Hinged Glass Door

Includes 10 plastic coated adjustable shelves

LED – illumination

Pre-set at 3.5°C

Manual Thermostat

Certified according to ISO 9001

ISO 14001 Compliant

External Dimensions: (W x D x H) 1025 x 731 x 2045mm