Bid Specification

-----------------------------------------------------------------------------------------------------------------------------------------------------

Tender Specifications

-----------------------------------------------------------------------------------------------------------------------------------------------------

implementation of municipal disaster response grant project

- INVITATION

Musina Local Municipality hereby invites Bidders with Construction Industry Development Board grading of 1CE or higher to bid for Mass Earthworks fill to existing Major Portal Culvert Structure Ward 7

- SCOPE OF WORK

Processing of eroded gravel fill materials for north (Gumela to Tshikotoni) and south (Tshikotoni to Gumela) approach of the existing portal culvert to the extent of 255m3. Slope protection through stone pitching and gabion structure to the extent of surface area equal to 102m2.

- Reinstate of eroded fill material to minor bridge abutment structure

- Expose abutment foundation, rip and compact to foundation

- Mass earthworks fill and grid compact

- Rebuild wearing base layer on approach of the major portal culvert

- Rebuilt one of the wing wall collapsed

- Slope protection through stone pitching or gabion structure

- DURATION

Two (2) months

.

- PRICING SCHEDULE

All bidders must complete the pricing schedule for the Scope of Work and any omission will be regarded as non-responsive and the bidder will be automatically disqualified.

- MANDATORY ADMINISTRATIVE REQUIREMENTS

Failure by the bidder to submit Supply Chain Administrative Requirement will render the bid non-responsive, and, the automatic disqualification for further process. Included in the mandatory SCM will be:

- A detailed Curriculum Vitae of the Site Agent or person who will be full-time assigned to the project.

- Bid Evaluation

The evaluation will be done by using 80/20 point system as indicated below:

  - Phase 1: Specific Goals Preference Points: 20

| 6.1 Specific Goals Preference Points |  |  |  |
| --- | --- | --- | --- |
|  | Designated Groups | Maximum Points | Amount Awarded |
| 6.1.1 | Points for HDI status (51% Black owned) | 10 |  |
| 6.1.2 | Points for 51% Women’s Equity | 4 |  |
| 6.1.3 | Points for Black person with Disability | 3 |  |
| 6.1.4 | Points for 51% owned Youth firm | 3 |  |
| 6.1.5 | Form not completed | 0 |  |
|  | Sub-Total | 20 |  |

  - Phase 2 : Price and Specific Goals Preference Points

| 6.2 Price and Specific Goals Preference Points |  |  |  |
| --- | --- | --- | --- |
|  | Criteria Description | Maximum Points | Amount Awarded |
| 6.2.1 | Pricing Schedule (Offer: Item 4.1.1) | 80 |  |
| 6.2.2 | Specific Goals Preference Points | 20 |  |
|  | Sub-Total | 100 |  |

- SPECIAL CONDITIONS TO BIDDERS

Bidders are expected to have a minimum of 1CE or higher CIDB Grading, failure to adhere to this requirement is automatically disqualification of the bidder.

- Queries and Contract Information

All queries regarding this bid must be submitted in writing by email. No telephonic queries will be acceptable.

The contact details for queries are:

Technical Specifications:

Mike Mthombeni

Manager: Civil and Mechanical Engineering Services

mikemt@musina.gov.za

Supply Chain Requirements

Mary Siziba

Manager: Supply Chain Management

marys@musina.gov.za

- Clarification / Briefing Meeting: No clarification or briefing meeting required.

10. LEGAL IMPLICATIONS

The Supply Chain Management requirements to be complied with as well as Disaster Management Act (Act 57 of 2002).

6. RECOMMENDATIONS

To recommend to the Office of the Municipal Manager to approve the Bid Specifications to procure Civil Engineering Contractor to implement disaster response funded project, Bridge Structure at Tshikotoni Village in Ward 7.

_________________________					_____________

MT Mthombeni: Manager Civil 						Date

__________

KY Sinclair

General Manager: Technical Services

Comments: _________________________________________________________________________________________________________________________________________________________________________________________________________

__________

T Nephawe

Chief Financial Officer

Comments: _________________________________________________________________________________________________________________________________________________________________________________________________________

________________

TN Tshiwanammbi

Municipal Manager

Comments: _________________________________________________________________________________________________________________________________________________________________________________________________________