{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Hugo Bierman -Simonstown"],"not_rendered":{"external_links":4,"defined_names":7},"read":"whole","date_system":"1900"}

{"sheet":"Hugo Bierman -Simonstown","index":0,"n_rows":136,"n_cols":29,"rows_kept":136}
["Page","Item","Description","Uom","Quantity","Rate","Amount","Total","x","x","x","x","x","x","x","x","x","x","x","x","Package","Section","Bill","Trade","Type","ABUm","PayRef"]
[]
[null,null,"RFP---/2023: SIMONSTOWN NAVAL BASE _HUGO BIERMAN",{"$nulls":17},1,1,1,-2,"H"]
[null,null,"RENOVATIONS AND UPGRADE TO 8 STOREY HUGO BIERMAN BUILDING",{"$nulls":25},"NOTE:  the column headings a - z must be present for the importer."]
[{"$nulls":28},"These contain an X which is set forecolor = white"]
[null,null,"SECTION NO.1 : ALTERATIONS",{"$nulls":17},1,1,1,-2,"H"]
[]
[null,null,"Repair, Renovate and Upgrade existing complete with Plumbing, Electricity, Mechanical revamp:",{"$nulls":17},1,1,2,201,"H","0"]
[]
[null,null,"Alterations",{"$nulls":17},1,1,2,201,"C","0"]
[]
[null,null,"Removal of Existing:"]
[]
[null,null,"Ground Floor:",{"$nulls":17},1,1,2,201,"H","0"]
[]
[null,"1","Hack up and remove all existing vinyl floor finishes",{"$nulls":17},1,1,2,201,"I","PS"]
[]
[null,"1","Hack up and remove all existing ceramic floor finishes",{"$nulls":17},1,1,2,201,"I","PS"]
[]
[null,"1","Hack up and remove damaged cement/concrete floor screeds",{"$nulls":17},1,1,2,201,"I","PS"]
[]
[null,null,"Remove existing paint on walls, prepare surfaces to receive new, "]
[]
[null,null,"Hack off existing plaster in patches "]
[]
[null,null,"Hack up existing damaged wall tiles at ablutions "]
[]
[null,null,"Hack up existing damaged tiles to splashbacks"]
[]
[null,null,"Scrap off paint on doors, prepare surfaces to receive new,"]
[]
[null,null,"Scrap off paint on steel/timber windows, prepare surfaces to receive new,"]
[]
[null,null,"Scrap off paint on concrete ceilings, prepare surfaces to receive new,"]
[]
[null,null,"Take out and remove damaged plumbing pipes,"]
[]
[null,null,"Take out and remove damaged plumbing pipes,"]
[]
[null,null,"Take out and remove damaged sanitary ware,"]
[]
[null,null,"Take out and remove damage Ironmongery"]
[]
[null,null,"Fix existing damged windows, "]
[]
[null,null,"Fix existing brocken glazing to windows"]
[]
[null,null,"Take out and remove damaged joinery,"]
[]
[null,null,"Fix existing joinery and fittings, etc"]
[]
[null,null,"Upgrade and repair to existing kitchen including replacing damaged equipment and utensils"]
[]
[null,null,"Remove existing damged doors where necessary, and prepare frames to receive new"]
[]
[null,null,"Remove existing damged mirrors at ablutions and rooms "]
[]
[null,null,"Investigate, seal and repair leaks and damages to roofs where required"]
[]
[]
[null,null,"SECTION NO.2 : NEW WORKS",{"$nulls":17},1,1,1,-2,"H"]
[]
[null,null,"Install new concrete screeds to receive new floor finishes"]
[]
[null,null,"Supply and install new vinyl floor tiles (colour by client)"]
[]
[null,null,"Supply and install new ceramic/porcelian tiles to floors"]
[]
[null,null,"Supply and install new tiles to splash backs"]
[]
[null,null,"Supply and install new wall tiles to ablution walls"]
[]
[null,null,"Plaster previously plastered walls in patches"]
[]
[null,null,"Paintwork to previously painted walls"]
[]
[null,null,"Paintwork to previously painted doors"]
[]
[null,null,"Paintwork to new doors"]
[]
[null,null,"Paintwork to previously painted timber skirtings"]
[]
[null,null,"Paintwork to previously concrete cielings "]
[]
[null,null,"Supply and install mirrors to ablutions and in rooms"]
[]
[null,null,"Supply and install new ironmongery to doors"]
[]
[null,null,"Supply and install new curtain rails and curtains complete"]
[]
[null,null,"Supply and install new signage for fire, room numbers, etc."]
[]
[]
[]
[]
[null,null,"PLUMBING"]
[null,"3","Supply and install sanitary ware, i.e., WC and pans, WHB, sinks, wash troughs, urinals complete with all necessary fittings,",{"$nulls":17},1,1,2,201,"I","N"]
[]
[]
[null,null,"WATER PROVISION: HOT AND COLD ",{"$nulls":17},1,1,2,201,"C","0"]
[]
[null,"3","Replace all damaged water pipes, hot and cold  water ",{"$nulls":17},1,1,2,201,"I","N"]
[{"$nulls":7},{"$f":"F103*#REF!","v":{"$error":"#REF!"}}]
[null,null,"Investigate and repair water leaks",{"$nulls":4},{"$f":"F104*#REF!","v":{"$error":"#REF!"}}]
[]
[null,null,"Repair or replace defective water heating equipment",{"$nulls":4},{"$f":"F106*#REF!","v":{"$error":"#REF!"}}]
[]
[]
[null,null,"Electrification:",{"$nulls":17},1,1,2,201,"H","0"]
[]
[null,"4","Repairs and replacement of all damaged Electrical works, e.g. light fittings, plugs, damaged wiring, where necessary DBs, etc.. Complete with required CoC",{"$nulls":17},1,1,2,201,"S","0"]
[]
[null,null,"Mechanical:",{"$nulls":17},1,1,2,201,"H","0"]
[]
[null,"4","Repair, service and replace all damaged Mechanical equipment including fire fighting equipment, e.g. fire hydrants, fire sprinkler, air conditioning equipment, etc. where necessary DBs, etc.. Complete with required CoC",{"$nulls":17},1,1,2,201,"S","0"]
[]
[null,null,"Professional Fees:"]
[null,"9","Contractor to provide Professional and Design Professional Services including but not limited to OHS, LandSurvey, Geotechnical Services, Construction Monitoring, QuantitySurveying, etc. necessary to make the project a complete success. Costs to include all related costs by the Local Municipality.",{"$nulls":4},{"$f":"81900","v":{"v":81900,"d":"R81,900.00"}},{"$nulls":12},1,1,2,201,"I","LS"]
[]
[]
[null,null,"Contract Allowances:",{"$nulls":17},1,1,2,201,"S","0"]
[]
[null,"10","Contractor to allow for the employment, payment, etc of Community Liaison Officer for the duration of the works on site.",{"$nulls":4},{"v":384.36,"d":"R384.36"},{"$nulls":12},1,1,2,201,"I","N"]
[]
[]
[null,"11","Contractor to allow for the employment, payment, attendance etc of Built Environment Graduate Trainee for the duration of the works on site at R 7 000 Nett for the Graduate Trainee.",{"$nulls":17},1,1,2,201,"I","I"]
[]
[]
[]
[null,null,"Contingencies:",{"$nulls":17},1,1,2,201,"H","0"]
[]
[null,"12","Add 10% Contingencies to be used at client's descretion",{"$nulls":17},1,1,2,201,"I","NA"]
[]
[]
[]
[null,null,"TOTAL",{"$nulls":3},{"$f":"SUM(G7:G135)","v":0}]