| No. | Compulsory Requirement which Contractors must meet | Criteria Weight (%) | Criteria Sub Weight (%) |
| --- | --- | --- | --- |
|  | To be ISO9001 accredited. Contractor must be registered with the CIDB (minimum level 5ME PE). |  |  |
| 1 | - Previous Work Experience on similar projects with references e.g. Must submit proof of previous/current Maintenance Contracts. - Must have a minimum of 3/5 years of completed maintenance experience on Fuel Oil Plant & Burners. | 25 |  |
| 1.1 | Three-year experience. |  | 10 |
| 1.2 | Four years’ experience |  | 20 |
| 1.3 | Five and more years’ experience |  | 30 |
| 2 | ### Requirements: | 75 |  |
| 2.1 | Equipment (Supply proof of ownership/rental agreement) - Tool list with required tools for office, Supervisor and Technicians (3) Minimum requirements: Computer, Printer, Paper etc. - Tool list with required tools maintenance proof of test rig (3) |  | 6 |
| 2.2 | Method statement - The contractor needs to submit Procedures/Inspection & Test Plans (ITP’s) with relevance to: - Maintenance of positive displacement pumps - Maintenance of fuel oil heaters - Fuel oil burners & commissioning - C&I of burner panels - BMS safety procedure - Control valve overhaul - Flame Scanner setup - RTS preparation & commissioning - Outage commissioning: - Dry runs - Firing |  | 24 |
| 2.3 | Qualifications and Experience of Key Personnel - Minimum Technical Qualifications/Experience: - Site Manager: NQF level 5 & 5 years Fuel Oil Plant experience or 10 years Fuel Oil Plant experience. - C&I: N3 & 2 years’ experience or 5 years’ experience. - Mechanical Fitters: Trade test or 4 years’ experience. - All employees to be formally trained & certified in terms of Fuel Firing Systems (FFFR) - The contractor needs to have a Fuel Oil Burner Test Rig on their premises which is capable of doing Pressure Testing & Flow Calibration on the Burner Blocks & Burner Lances/Atomisers. |  | 45 |
|  | MINIMUM THRESHOLD (80%) |  |  |
| NB!! | Documentation to confirm compliance to the above criteria is to be submitted by the deadline of submission date and time. Failure to provide the proof of compliance for any item will result in a zero score for that item. We reserve a right to lower the minimum threshold. All documents may be verified |  |  |
|  | Total: | 100 |  |