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C1.1 Form of Offer & Acceptance

Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

A service for maintenance of or through pest control, invader weed/ plants, veld grass-cutting, indoor plants, litter picking, pavement cleaning, maintenance of newly landscaped areas and other long established areas to  keep an uninterrupted schedule to improve and maintain the site aesthetic housekeeping and ensure that we comply with applicable legal and other requirements.

The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

Delete the row for the Options which do not apply
	Option A 
	The offered total of the Prices exclusive of VAT is 
	R 

	
	Sub total
	R 

	
	Value Added Tax @ 15% is
	R   

	
	The offered total of the amount due inclusive of VAT is[footnoteRef:1] [1:  This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.] 

	R 

	
	(in words) Fifty two million two hundred and thirty six thousand seven hundred and ninety five rands. 




This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)

	
	
	

	Name(s)

	
	
	

	Capacity

	
	
	

	For the tenderer:

	

	
Name & signature of witness
	(Insert name and address of organisation)
	
	

Date
	

	Tenderer’s CIDB registration number: 
	




Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work: Service Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy of this document, including the Schedule of Deviations (if any).  


	Signature(s)
	
	
	

	
Name(s)
	

	
	

	
Capacity
	

	
	


	for the Employer
	


	
Name & signature of witness
	
	
	


Date
	

	
	
	
	
	


			
Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.







Schedule of Deviations to be completed by the Employer prior to contract award
Note:
1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.
3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	[●]
	[●]

	2
	[●]
	[●]

	3
	[●]
	[●]

	4
	[●]
	[●]

	5
	[●]
	[●]

	6
	[●]
	[●]

	7
	[●]
	[●]

	
	
	




By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:



	
	For the Employer




	Signature
	


	
	

Thozama Gangi

	Name
	


	
	

Acting General Manager: Medupi Power Station

	Capacity


	
	
	
Eskom Holdings SOC, Megawatt Park
Maxwell Drive, Sandton,
Johannesburg, 2199

	On behalf of
	


	
	

J Morudu (Procurement Manager)

	Name & signature of witness
	
	
	

	
Date
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C1.2 TSC3 Contract Data

Part one - Data provided by the Employer

	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for main Option: 
	

	
	
	A:		Priced contract with price list

	
	dispute resolution Option
	W1:	Dispute resolution procedure

	
	and secondary Options
	

	
	
	X1:		Price adjustment for inflation

	
	
	X2:		Changes in the law

	
	
	X17:	Low service damages

	
	
	X18:	Limitation of liability

	
	
	X19:	Task Order

	
	
	Z:		Additional conditions of contract

	
	of the NEC3 Term Service Contract (June 2005)[footnoteRef:2] [2:  Available from Engineering Contract Strategies Tel 011 803 3008 Fax 011 803 3009] 

	

	10.1
	The Employer is (name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	
	Tel No.
	

	
	Fax No.
	

	10.1
	The Service Manager is (name): 
	Steve Diniso

	
	Address
	Medupi Power Station, Steenbok Road, Onverwacht,

	
	Tel
	016 457 5190

	
	Fax
	-

	
	e-mail
	DinisoS@eskom.co.za


	11.2(2)
	The Affected Property is
	Medupi Power Station and surrounding Areas 

	11.2(13)
	The service is 
	Gardening Maintenance Services over a 4 year period at Medupi Power Station.

	11.2(14)
	The following matters will be included in the Risk Register
	All the risks will be identified prior, registered and addressed during the Risk Register meeting that will take place as agreed between the parties.

	11.2(15)
	The Service Information is in 
	Part 3: Scope of Work (comprehensive and summary) and all other supporting documents 

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	One (1) week.


	2
	The Contractor’s main responsibilities
	Data required by this section of the core clauses is also provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data

	21.1
	The Contractor submits a first plan for acceptance within
	
Two (2) weeks of Contract start date

	3
	Time
	

	30.1
	The starting date is.
	

	30.1
	The service period is
	60 months

	4
	Testing and defects
	As per the attached Specification documents

	5
	Payment
	

	50.1
	The assessment interval is 
	· between the 25th day of each successive month

	51.1
	The currency of this contract is the 
	South African Rand (ZAR)

	51.2
	The period within which payments are made is
	
30 days as per Eskom Finance Procedures.

	51.4
	The interest rate is 

	the publicly quoted prime rate of interest (calculated on a 365 day year) charged by from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 

(ii) the LIBOR rate applicable at the time for amounts due in other currencies.  LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and  if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter (and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove.

	6
	Compensation events
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	7
	Use of Equipment Plant and Materials
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	8
	Risks and insurance
	

	80.1
	These are additional Employer's risks  
	As stated for “Format TSC3” available on (See attached Annexure A) Annual Contract All Risks Policy – ESK2015/16 ACAR. 

	83.1

	The Employer provides these insurances from the Insurance Table
	As stated for “Format TSC3” available on (See attached Annexure A) Annual Contract All Risks Policy – ESK2015/16 ACAR.

	83.1
	The Contractor provides these additional insurances:
	the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_
From_1_April_2014_To_31_March_2015.aspx

	83.1
	The minimum amount of cover for insurance against loss and damage caused by the Contractor to the Employer’s property is
	The minimum amount the Contractor deems necessary in addition to that provided by the Employer 

	83.1
	The minimum amount of cover for insurance in respect of loss of or damage to property (except the Employer’s property, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Service for any one event is:
	






whatever the Contractor deems necessary in addition to that provided by the Employer.

	83.1

	The minimum limit of indemnity for insurance in respect of death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract for any one event is: 
	As prescribed by the Compensation for Occupational Injuries and Diseases Act No. 130 of 1993 and the Contractor’s common law liability for people falling outside the scope of the Act with a limit of Indemnity of not less than R500 000 (Five hundred thousand Rands).

	9
	Termination
	Should the Contractor not be able to correct deviations on issue of 3 Non-conformance Reports (NCRs) for a single activity, Employer may terminate the contract.

	10
	Data for main Option clause
	

	A
	Priced contract with price list
	

	20.5
	The Contractor prepares forecasts of the final total of the Prices for the whole of the service at intervals no longer than 
	

Four (4) Weeks 

	11
	Data for Option W1
	

	W1.1
	The Adjudicator 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	W1.2(3)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the Institution of Civil Engineers (London) (see www.ice-sa.org.za ) or its successor body.

	W1.4(2)
	The tribunal is: 
	Arbitration

	W1.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	Republic of South Africa

	
	The person or organisation who will choose an arbitrator 
· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	

the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	12
	Data for secondary Option clauses
	

	X1
	Price adjustment for inflation
	

	X1.1
	The base date for indices is 
	
Anniversary of the Contract

	
	The proportions used to calculate the Price Adjustment Factor are:
	Proportion
	linked to index for
	Index prepared by

	
	CPA will only account for after the first year of the contract period, prices are fixed and firm throughout the contract period
	0.70
	Labour
	SEIFSA Table C3

	
	
	0.10
	Transport
	SEIFSA Table L2

	
	
	0.05
	Others
	SEIFSA Table D

	
	
	0.15
	Fixed
	

	
	
	1.00
	
	

	X2
	Changes in the law
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	X17
	Low service damages
	

	X17.1
	The service level table is in
	As per Annexure “B”

	X18
	Limitation of liability
	

	X18.1
	The Contractor’s liability to the Employer for indirect or consequential loss is limited to
	

R0.0 (zero Rand)

	X18.2
	For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to
	the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_
From_1_April_2014_To_31_March_2015.aspx 

	X18.3
	The Contractor’s liability for Defects due to his design of an item of Equipment is limited to
	The greater of 

the total of the Prices at the Contract Date
and 
the amounts excluded and unrecoverable from the Employer’s insurance (other than the resulting physical damage to the Employer’s property which is not excluded) plus the applicable deductibles in the Employer’s assets and works / maintenance policies available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_
       From_1_April_2014_To_31_March_2015.aspx 

	X18.4
	The Contractor’s total liability to the Employer, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to
	the total of the Prices other than for the additional excluded matters.

The Contractor’s total liability for the additional excluded matters is not limited. 
The additional excluded matters are amounts for which the Contractor is liable under this contract for

Defects due to his design, plan and specification,
Defects due to manufacture and fabrication outside the Affected Property, 
loss of or damage to property (other than the Employer’s property, Plant and Materials),
death of or injury to a person and
infringement of an intellectual property right.

	X18.5
	The end of liability date is 
	6 months after the end of the service period.

	X19
	Task Order
	

	X19.5
	The Contractor submits a Task Order programme to the Service Manager within 
	· 5 days of receiving the Task Order
· Additional Emergency Conditions Apply

	Z
	The additional conditions of contract are
	
Z1 to Z12 always apply.

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract.

	Z2.2
	Unless already notified to the Employer, the persons or organisations notify the Service Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf.

	Z2.3
	The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z3.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Service Manager within thirty days of the notification or as otherwise instructed by the Service Manager.

	Z3.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Service.

	Z3.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P4 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Ethics

	Z4.1
	Any offer, payment, consideration, or benefit of any kind made by the Contractor, which constitutes or could be construed either directly or indirectly as an illegal or corrupt practice, as an inducement or reward for the award or in execution of this contract constitutes grounds for terminating the Contractor’s obligation to Provide the Service or taking any other action as appropriate against the Contractor (including civil or criminal action).

	Z4.2
	The Employer may terminate the Contractor’s obligation to Provide the Service if the Contractor (or any member of the Contractor where the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations) is found guilty by a competent court, administrative or regulatory body of participating in illegal or corrupt practices.   

Such practices include making of offers, payments, considerations, or benefits of any kind or otherwise, whether in connection with any procurement process or contract with the Employer or other people or organisations and including in circumstances where the Contractor or any such member is removed from the an approved vendor data base of the Employer as a consequence of such practice.

	Z4.3
	Notwithstanding the provisions of core clause 90.2, the procedures on termination in terms of this clause are P1, P2 and P4 as stated in the core clause 92 and the amount due is A1 and A3 as stated in core clause 93.

	
	

	Z5
	Confidentiality

	Z5.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z5.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Service Manager.

	Z5.3
	In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z5.4
	The taking of images (whether photographs, video footage or otherwise) of the Affected Property or any portion thereof, in the course of Providing the Service and after the end of the service period, requires the prior written consent of the Service Manager.  All rights in and to all such images vests exclusively in the Employer.  

	Z5.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z6
	Waiver and estoppel: Add to core clause 12.3:

	Z6.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Service Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z7
	Health, safety and the environment:  Add to core clause 27.4

	Z7.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor:
accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property;
warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and
undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z7.2
	The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z8
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z8.1
	Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Service Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z8.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z8.3
	The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z9
	Notifying compensation events

	Z9.1
	Delete the last paragraph of core clause 61.3 and replace with:

If the Contractor does not notify a compensation event within eight weeks of becoming aware of the event, he is not entitled to a change in the Prices.

	

	

	Z10
	Employer’s limitation of liability

	Z10.1
	The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z10.2
	The Contractor’s entitlement under the indemnity in 82.1 is provided for in 60.1(12) and the Employer’s liability under the indemnity is limited to compensation as provided for in core clause 63 and X19.11 if Option X19 Task Order applies to this contract. 

	
	

	Z11
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z11.1
	   or had a business rescue order granted against it.



	
	











Annexure A:	Insurance provided by the Employer

These notes are provided as guidance to tendering contractors and the Contractor about the insurance provided by the Employer. The Contractor must obtain its own advice. Details of the insurance itself are available from the internet web link given below. 

1.	Services provided in a TSC3 contract could include some element of construction or refurbishment as well as a continuous maintenance or operational service activity.  If an event occurs which causes loss or damage, a claim could be made either against the Employer’s “works” type policy which may be in place for the Employer’s portion of the Affected Property concerned or against the Employer’s assets policy which may be in place for the Employer’s portion of the Affected Property concerned, or both.

2.	The cover provided and the deductibles under the works policy are different to those under the assets policy.   Each policy has a range of applicable deductibles depending on the location of the Affected Property and the nature of the insurable event.   

3.	The Contractor is required in terms of Contract Data for clause 83 to provide cover for the deductibles in the insurance provided by the Employer.  This can be provided from his own resources on a ‘self insured’ basis or obtained by him from his own insurers.   In order to assess the extent of this cover, tendering contractors and their brokers should consult the internet web link given below and scroll to ‘Format TSC3’ to establish both the cover and the deductibles in relation to the service provided in terms of this contract.

4.	Tendering contractors should note that cover provided by the Employer is only per the policies available on the internet web link listed below and may not be the cover required by the tendering contractor or as intended by each of the listed insurances in the left hand column of the Insurance Table in clause 83.2.  In terms of clause 83.1 “the Contractor provides the insurances stated in the Insurance Table except any insurance which the Employer is to provide”.  Hence the Contractor provides insurance which the Employer does not provide and in cases where the Employer does provide insurance the Contractor insures for the difference between what the Insurance Table requires and what the Employer provides.

5.	If Marine Insurance is required the Contractor needs to obtain a copy of the latest edition of Eskom’s Marine Policies Procedures found at internet website given below.

6.	Further information and full details of all Eskom provided policies and procedures may be obtained from: 

http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_
From_1_April_2014_To_31_March_2015.aspx 
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Annexure B:  Table of low service damages (X17)



	Low Service Damage Description
	Value of Low Service Damages
	Limit of Low Service Damage

	
Service delays not finishing as per agreed upon schedule submitted to the Service Manger 
	
1.5% of Task Order per day
	
Limited to 10% of the Task Order value

	
Submission of documents as per agreed upon CDSS in this service agreement
	
1.5% of Task Order per day
	

Limited to 10% of the Task Order value

	
Daily Progress Updated Schedule
	
1.5% of Task Order per day
	
Limited to 10% of Task Order Value

	
No response of NCR within 3 days
	
1.5% of Task Order per day
	
Limited to 10% of Task Order Value
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[bookmark: OLE_LINK3][bookmark: OLE_LINK4]C1.2 Contract Data

Part two - Data provided by the Contractor

	Clause
	Statement
	Data

	10.1
	The Contractor is (Name):
	[bookmark: Text531]     

	
	Address
	[bookmark: Text532]     

	
	Tel No.
	[bookmark: Text533]     

	
	Fax No.
	[bookmark: Text534]     

	11.2(8)
	The direct fee percentage is
	     %

	
	The subcontracted fee percentage is
	[bookmark: Text434]     %

	11.2(14)
	The following matters will be included in the Risk Register
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C2.1 Pricing assumptions: Option A

1. How work is priced and assessed for payment

Clause 11 in NEC3 Term Service Contract (TSC3) core clauses and Option A states:

	Identified and defined terms
	11
11.2
	
(12) The Price List is the price list unless later changed in accordance with this contract.


	
	
	(17) The Price for Services Provided to Date is the total of 

the Price for each lump sum item in the Price List which the Contractor has completed and
where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate.


	
	
	(19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate.




This confirms that Option A is a priced contract where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both.

Function of the Price List

Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not Provide the Service in accordance with the Price List.   The Price List is only a pricing document.  

Link to the Contractor’s plan

Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17). 

Preparing the price list

Before preparing the price list, both the Employer and tendering contractors should read the TSC3 Guidance Notes pages 14 and 15.  In an Option A contract, either Party may have entered items into the price list either as a process of offer and acceptance (tendering) or by negotiation depending on the nature of the service to be provided.  Alternatively the Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in the price list to be prepared and priced by him. 









It is assumed that in preparing or finalising the price list the Contractor:

· Has taken account of the guidance given in the TSC3 Guidance Notes relevant to Option A;
· Understands the function of the Price List and how work is priced and paid for;
· Is aware of the need to link operations shown in his plan to items shown in the Price List;
· Has listed and priced items in the price list which are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;
· Has priced work he decides not to show as a separate item within the Prices or rates of other listed items in order to fulfil the obligation to complete the service for the tendered total of the Prices. 
· Understands there is no adjustment to items priced as lump sums if the amount, or quantity, of work within that item later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the (lump sum) Prices is as a result of a compensation event. 


Format of the price list
(From the example given in an Appendix within the TSC3 Guidance Notes)

Entries in the first four columns in the price list in section C2.2 are made either by the Employer or the tendering contractor. 

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering contractor enters the amount in the Price column only, the Unit, Expected Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for an item of work which is the rate for the work multiplied by the quantity completed, the tendering contractor enters the rate which is then multiplied by the Expected Quantity to produce the Price, which is also entered.

If the Contractor is to be paid a Price for an item proportional to the length of time for which a service is provided, a unit of time is stated in the Unit column and the expected length of time (as a quantity of the stated units of time) is stated in the Expected Quantity column.


























C2.2 the price list




NB: The Total of the Tendered Price shall include as listed below in the execution of the scope.

1. Safety, Health, Environment and Quality (SHEQ) compliance and Personal Protective Equipment costs in accordance to the OHS act and Eskom SHEQ policy.
2. Waste Management compliance in accordance with the legislative and Eskom Environmental Policy.
3. Personnel Transportation compliance in accordance to Eskom Transportation Policy.
4. Four containers – one to house the employees, one ablution block, one for management of the Contractor; and the other to store supplier’s machine and equipment.
5. Certified equipment and machinery operators, provide CV’s before work can commence. 
6. Certified rope access for clinker removal
7. Equipment, Tools, Machinery and Consumables are to be included in costs.
8. Proof of Minimum Tools and Machinery required – as per the technical evaluation criteria 


	
	
	DETAILED ACTIVITY BASED PRICE LIST
	
	
	
	
	

	
	
	



	
	
	
	
	

	
	
	GENERAL MAINTENANCE

	

	








	
	
	
	
	
	
	
	
	

	
	
	
	
	
	





	
	
	

	Item
	Description
	Unit
	Qty
	HRS
	Rate
	Total
	No of Months - 60
	Amount

	 
	Section 1
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 
	 

	 
	Preliminary and General 
	 
	 
	 
	 
	 
	 
	 

	 
	Site Establishment
	 
	 
	 
	 
	 
	 
	 

	1
	Site Office (to be provided by Employer)
	Sum
	1
	n/a
	Zero
	Zero
	Zero
	Zero

	2
	Office furniture (Tables & Chairs)
	Sum
	1
	n/a
	R
	R
	once-off
	R

	3
	Provision of Office Equipment (office printer and 4 Laptops)
	Sum
	1
	n/a
	R
	R
	once-off
	R

	4
	Heavy duty Carlow Plastic Chairs
	No.
	110
	n/a
	R
	R
	once-off
	R

	5
	Floor standing Hot & Cold-water dispenser
	No.
	4
	n/a
	R
	R
	once-off
	R

	 
	 
	 
	 
	 
	 
	 
	 
	 

	 
	SHEQ Requirements
	 
	 
	 
	 
	 
	 
	 

	6
	Safety file
	once-off
	1
	n/a
	R
	R
	once-off
	R

	7
	Annual Medicals for staff
	per person
	98
	n/a
	R
	R
	annually
	R

	8
	PPE x2 annually
	No.
	98
	n/a
	R
	R
	bi-annually
	R

	9
	3x Heavy Duty Steel Lockers for employee belongings
	once-off
	33
	n/a
	R
	R
	once-off
	R

	 
	 
	 
	 
	 
	 
	 
	 
	 

	 
	Provision for Consumables
	 
	 
	 
	 
	 
	 
	 

	10
	Cartridges, Stationery, etc
	sum
	1
	n/a
	R
	R
	60
	R

	11
	Coffee, Tea, sugar, Portable drinking water
	sum
	1
	n/a
	R
	R
	60
	R

	12
	Office cleaning and housekeeping consumables
	sum
	1
	n/a
	R
	R
	60
	R

	 
	 
	 
	 
	 
	 
	 
	 
	 

	 
	Provision for transportation
	 
	 
	 
	 
	 
	 
	 

	13
	22-seater Bus - (Home-work-home
	per month
	4
	n/a
	R
	R
	60
	R

	14
	16-seater bus (Site use)
	per month
	3
	n/a
	R
	R
	60
	R

	15
	LDV Double cab bakkie
	per month
	4
	n/a
	R
	R
	60
	R

	16
	Site De- Establishment
	sum
	1
	n/a
	R
	R
	once-off
	R

	 
	Sub Total
	 
	 
	 
	 
	 
	 
	R

	
	
	
	
	
	
	
	
	

	
	Section 2
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	 
	Labour
	 
	 
	 
	 
	 
	 
	 

	 
	The total cost of remuneration per worker must not be paid lower than Government Gazzeted rates and must include the following: 
	 
	 
	 
	 
	 
	 
	 

	 
	Basic Salary, Leave pay, sick pay, UIF, COID,
	 
	 
	 
	 
	 
	 
	 

	 
	Provident Fund and Skill Levy
	 
	 
	 
	 
	 
	 
	 

	 
	Normal Hours
	 
	 
	 
	 
	 
	 
	 

	1
	Site Manager
	Hours
	2
	178
	R
	R
	60
	R

	2
	Supervisors
	Hours
	6
	178
	R
	R
	60
	R

	3
	Safety and health officer
	Hours
	1
	178
	R
	R
	60
	R

	4
	Environmental Officer
	Hours
	1
	178
	R
	R
	60
	R

	5
	Vehicle Driver
	Hours
	6
	178
	R
	R
	60
	R

	6
	Tractor Driver
	Hours
	2
	178
	R
	R
	60
	R

	7
	Wood Cutter Worker(Trees)
	Hours
	2
	178
	R
	R
	60
	R

	8
	Swimming Pool Repair
	Hours
	1
	178
	R
	R
	60
	R

	9
	General Labour-Garden worker
	Hours
	26
	178
	R
	R
	60
	R

	10
	Bush Cutters Worker
	Hours
	48
	178
	R
	R
	60
	R

	11
	Pest Control Worker
	Hours
	2
	178
	R
	R
	60
	R

	 
	Overtime - Weekly after Hours and Saturday
	 
	 
	 
	 
	 
	 
	 

	 
	Instruction and approved by Contract Manager
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 
	 

	12
	Site Manager
	Hours
	1
	28
	R
	R
	60
	R

	13
	Supervisors
	Hours
	3
	28
	R
	R
	60
	R

	14
	SHE Representative
	Hours
	2
	28
	R
	R
	60
	R

	15
	Environmental Officer
	Hours
	1
	28
	R
	R
	60
	R

	16
	Vehicle Driver
	Hours
	3
	28
	R
	R
	60
	R

	17
	Tractor Driver
	Hours
	1
	28
	R
	R
	60
	R

	18
	Swimming Pool Repair
	Hours
	1
	28
	R
	R
	60
	R

	19
	General Labour-Garden worker
	Hours
	26
	28
	R
	R
	60
	R

	20
	Bush Cutters
	Hours
	21
	28
	R
	R
	60
	R

	 
	Overtime - Sunday and Holidays
	 
	 
	 
	 
	 
	 
	 

	 
	Instruction and approved by Contract Manager
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 
	 

	21
	Site Manager
	Hours
	1
	30
	R
	R
	60
	R

	22
	Supervisors
	Hours
	3
	30
	R
	R
	60
	R

	23
	SHE Representative
	Hours
	2
	30
	R
	R
	60
	R

	24
	Environmental Officer
	Hours
	1
	30
	R
	R
	60
	R

	25
	Vehicle Driver
	Hours
	3
	30
	R
	R
	60
	R

	26
	Tractor Driver
	Hours
	1
	30
	R
	R
	60
	R

	27
	Swimming Pool Repair
	Hours
	1
	30
	R
	R
	60
	R

	28
	General Labour - Garden worker
	Hours
	26
	30
	R
	R
	60
	R

	29
	Bush Cutters
	Hours
	21
	30
	R
	R
	60
	R

	 
	Sub Total
	 
	 
	 
	 
	 
	 
	R

	 
	 
	 
	 
	 
	 
	 
	 
	 

	 
	Section 3: All plant, equipment and tools remain Eskom Property on after this contract duration
	 
	 
	 
	 
	 
	 
	 

	 
	Plant, Equipment and tools - Once-off
	 
	 
	 
	 
	 
	 
	 

	1
	Trailer - Extra-large trailer mesh (5m x 2m) 
	Each 
	2
	 
	R
	 
	1
	R

	2
	1000L Diesel tank Bowser
	Each 
	2
	 
	R
	 
	1
	R

	3
	1000L Water tank Bowser 
	Each 
	2
	 
	R
	 
	1
	R

	4
	Chain saw 
	Each 
	7
	 
	R
	 
	1
	R

	5
	Industrial petrol lawn mowers 
	Each 
	5
	 
	R
	 
	1
	R

	6
	Heavy Duty Petrol Bush Cutter
	Each 
	21
	 
	R
	 
	1
	R

	7
	Leaf blower/ Vacuum 
	Each 
	12
	 
	R
	 
	1
	R

	8
	Ride on mower
	Each 
	2
	 
	R
	 
	1
	R

	 
	Sub Total
	 
	 
	 
	 
	 
	 
	R

	 
	Section 4
	 
	 
	 
	 
	 
	 
	 

	 
	Tools - Once-Off: all tools remain Eskom Property on after this contract duration 
	
	 
	 
	 
	 
	 
	 

	9
	Heavy duty steel garden digging Fork
	Each 
	15
	 
	R
	 
	1
	R

	10
	Garden plastic leaf rake
	Each 
	15
	 
	R
	 
	1
	R

	11
	Garden steel leaf rake
	Each 
	15
	 
	R
	 
	1
	R

	12
	300mm Hard brooms
	Each 
	15
	 
	R
	 
	1
	R

	13
	300mm soft brooms
	Each 
	15
	 
	R
	 
	1
	R

	14
	 
	 
	 
	 
	 
	 
	 
	R

	 
	Sub Total
	 
	 
	 
	 
	 
	 
	R

	 
	Section 5: All tools remain Eskom Property on after this contract duration 
	 
	 
	 
	 
	 
	 
	 

	 
	Provision for tool maintenance and consumables
	 
	 
	 
	 
	 
	 
	 

	 
	As and when required (Contract Manager to give instructions)
	 
	 
	 
	 
	 
	 
	 

	 
	Provisional allowance for consumables, repairs and maintenance of plants and equipment  
	Monthly 
	1
	 
	R
	 
	60
	R

	 
	Tractor with slasher and bailer or racker including driver
	Day 
	10
	 
	R
	 
	30
	R

	 
	Overhead and profit @ 15%
	Perc
	15
	 
	R
	 
	60
	R

	 
	Sub Total
	 
	 
	 
	 
	 
	 
	R

	 
	 
	 
	 
	 
	 
	 
	 
	 

	 
	TOTAL
	 
	 
	 
	 
	 
	 
	R
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1 [bookmark: _Toc137798038][bookmark: _Toc229128241][bookmark: _Toc232953634][bookmark: _Toc394174898]Description of the service
1.1 [bookmark: _Toc137798039][bookmark: _Toc229128242][bookmark: _Toc232953635][bookmark: _Toc394174899]Executive overview 
PROVISION OF INDUSTRIAL HORTICULTURAL SERVICES which includes maintenance of or through pest control, invader weed/ plants, veld grass-cutting, indoor plants, litter picking, pavement cleaning, maintenance of newly landscaped areas and other long established gardens over a 3 year period at Medupi Power Station.

Refer also to the Medupi Document identifier: 240-101989516, Medupi Power Station Facility Maintenance revision 2 included in the enquiry document.

1.2 [bookmark: _Toc137798056][bookmark: _Toc229128259][bookmark: _Toc232953636][bookmark: _Toc394174900]Employer’s requirements for the service
Refer also to the Medupi Document Identifier: 240-97020108, Medupi Power station Facility Maintenance revision 6 included in the enquiry document.

Service Information

Work to be performed by the Contractor

The work covered by this contract will include: 

	[bookmark: RANGE!A1:C66] 
	SCOPE of WORK (Summary):
	 

	1.00
	LM GRASS AREAS
	 

	1.1
	Slashing Veld Grass 
	Tri-annually 

	1.2
	Removal and Maintenance of weeds 
	Tri-annually 

	1.3
	Application of herbicide 
	Tri-annually 

	1.4
	Fertilization 
	Annually 

	1.5
	Maintenance of firebreaks
	Bi-annually 

	1.6
	VELD GRASS AREAS m²- Includes 
	 

	1.7
	Near, below and along  all the Conveyor belts
	Monthly

	1.8
	Raw Water Damsx2,coro-graveyard, and the Farm areas
	Monthly

	1.9
	Dirty dams and Ash dams
	Monthly

	1.10
	Power Islands and peri-meter fence areas
	Bi-annually 

	1.11
	Removal of weeds in V-drains in all dams
	Monthly

	1.12
	Removal of alien plants all over site including stockpile areas
	Monthly

	1.13
	Main Gate Parking areas and along the fencing
	Bi-monthly

	1.14
	Visitors' centre, H-Block, HR offices,
	Bi-monthly

	1.15
	Side Road from Steenbok road to the main entrance
	Bi-monthly

	   1.16 
	 Office plant maintenance and replacement of dead plants
	Monthly 

	2.00
	LAWN AREAS 
	 

	2.1
	Top dressing 
	Annually 

	2.2
	Mowing (September to April - weekly) 
	Weekly 

	2.3
	Fertilizing: 
	 

	 
	250g/m² of 2:3:2 (22) + Zn - Mid Sept
	Annually 

	 
	200g/m² of LAN - End October & Mid-Jan
	Bi-annually 

	 
	250g/m² of 2:3:4 (24)- Mid Dec & End Feb
	Bi-annually 

	 
	 
	 

	3.00
	PLANTING AREAS 
	 

	3.1
	Maintenance of tree stakes and ties Pruning
	Monthly 

	3.2
	Corrective pruning of shrubs 
	Bi-annually 

	3.3
	Corrective pruning of trees 
	Bi-annually 

	3.4
	Pruning of specimen palms 
	Bi-annually 

	3.5
	Composting planted areas 
	Annually 

	3.6
	Mulching of planted areas 
	Annually 

	3.7
	Fertilizing (beds & courtyards): 
	 

	 
	250g/m² of 2:3:2 (22) + Zn (beds & courtyards) 
	Tri-annually 

	 
	3:1:5 SR (beds & courtyards) 
	Tri-annually 

	 
	200g/m² of LAN (beds & courtyards) 
	Tri-annually 

	3.8
	Clearing of litter in planted areas 
	Daily

	3.9
	Planters on slab and courtyards on slabs 
	 

	 
	Clean up litter in courtyards 
	Daily

	 
	Wash foliage indoor planters 
	Daily

	 
	 
	 

	4.00
	Irrigation System  
	 

	4.1
	 Automatic application - per specification 
	 Daily 

	4.2
	 Manual Application - per specification 
	 Daily 

	4.3
	Routine Inspections and Work on Field Equipment  per attached specification
	 Weekly 

	 
	 
	 

	5.00
	PESTS & DISEASE CONTROL
	 

	5.1
	Monitoring 
	Monthly 

	5.2
	Spraying (Prov. allowance per annum) 
	Monthly 

	 
	 
	 

	6.00
	GENERAL HOUSING AREA AND SITE WORK  
	 

	6.1
	Eradication of weeds in the Yards and Paving Areas
	Weekly

	6.2
	Soil sampling on site
	Annually 

	6.3
	Litter cleaning on Roads inside and Outside the Site
	Monthly 

	6.4
	Sweeping of all walkways 
	Daily

	 6.5
	 Remove Waste from Complexes
	 

	7.00
	GROUND AREA REHABILITATION 
	 

	7.1
	Ground area next to the Main Warehouse as well as beyond the Units ( contractors area )still on site must be rehabilitated and trees,s planted
	per area 

	7.2
	Soil Sampling
	per area

	7.3
	Slashing Veld Grass 
	Weekly

	7.4
	Removal and Maintenance of weeds 
	Tri-annually 

	7.5
	Application of herbicide 
	Tri-annually 

	7.6
	Planting of trees
	per area

	7.7
	Fertilization 
	Annually 

	7.8
	Maintenance of firebreaks
	Bi-annually 



1.3 [bookmark: _Toc137798041][bookmark: _Toc229128244][bookmark: _Toc232953637][bookmark: _Toc394174901]Interpretation and terminology
Refer to the Medupi Document Identifier: 240-101989516, Medupi power Station Facility Maintenance revision 2 included in the enquiry document.


The following abbreviations are used in this Service Information:

	Abbreviation
	Meaning given to the abbreviation

	NEC
	New Engineering Contract

	TSC
	Term Service Contract

	CDSS
	Contractor Document Submission Schedule 

	SoW
	Scope of Work



2 [bookmark: _Toc137798042][bookmark: _Toc229128245][bookmark: _Toc232953638][bookmark: _Toc394174902]Management strategy and start up.
2.1 [bookmark: _Toc137798055][bookmark: _Toc229128258][bookmark: _Toc232953639][bookmark: _Toc394174903]The Contractor’s plan for the service

The Contractor will submit a plan to the Service Manager for acceptance within the period stated in the service agreement.

The Contractor’s plan must be in line with the Medupi Document Identifier: 240-101989516, Medupi Power Station Facility Maintenance strategy documents and plant maintenance schedules. 

2.2 [bookmark: _Toc137798043][bookmark: _Toc229128246][bookmark: _Toc232953640][bookmark: _Toc394174904]Management meetings
The conditions of contract (e.g. Clause 16.2) and other sections of the Service Information (e.g. safety risk management) may require that a meeting shall be held.

The intention is that the Parties use the techniques of partnering to manage the contract by holding meetings designed to pro-actively and jointly manage the administration of the contract with the objective of minimising the adverse effect of risks for both Parties

The Contractor will provide a detailed feedback report on a Monthly basis during contract execution providing accurate feedback on the status of service carried out by the Contractor. This report should indicate accurate progress of service and if any constraints are experienced, the Contractor to communicate with the Service Manager and mitigate the risks with action plans.

Meetings of a specialist nature may be convened as specified elsewhere in this Service Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the service.  Records of these meetings shall be submitted to the Service Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

2.3 [bookmark: _Toc137798049][bookmark: _Toc229128252][bookmark: _Toc232953641][bookmark: _Toc394174905]Contractor’s management, supervision and key people
The Contractor to provide a key list of personnel who will carry out the work on site with their qualifications attached, one month after the Contract Start Date to the Service Manager. 

2.4 [bookmark: _Toc137798053][bookmark: _Toc229128256][bookmark: _Toc232953642][bookmark: _Toc394174906]Provision of bonds and guarantees
Not Applicable 

2.5 [bookmark: _Toc137798044][bookmark: _Toc229128247][bookmark: _Toc232953643][bookmark: _Toc394174907]Documentation control
Eskom Holdings SOC Ltd Document Management System Procedure 32-644 will apply.

All the drawings (if any) issued by the Employer for this contract is copyright protected and are not to be copied by the Contractor.

It is the responsibility of the Contractor to update any drawings that may have changed due to modifications on the plant. These drawings should be submitted and registered correctly by the Contractor to the drawing office at Medupi Power Station.

The Contractor submits all documentation on a formal transmittal form to the Service Manager. 

All Communications will be filed and kept on site at all times as it is crucial to have the correct communication structures. These communication documents should at all times adhere to the NEC 3 Term Service Contract communication requirements.

2.6 [bookmark: _Toc232953644][bookmark: _Toc394174908]Invoicing and payment
Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Service Manager’s payment certificate.  

The Contractor shall address the tax invoice to:
Eskom Holdings SOC Ltd - Reg. No. 2002/015527/30
Medupi Power Station
Private Bag X9003
Lephalale
0555

The Contractor keeps records of all invoices submitted and paid up to the end of the project, as well as details of Actual Costs.
All invoices are hand delivered to the Medupi Finance Department (Account payables) and include on each invoice the following information:

· Name and address of the Contractor and the Service Manager; 
· The contract number and title;
· All Electronic invoices must be sent in PDF format only;
· Each PDF file must contain one invoice, or one debit note, or one credit note only.
· The Contractor’s e-mail may contain more than one PDF file (e.g. 2 Invoices on separate PDF files in one e-mail).
· The Task Order number starting with 45* series
· Contractor’s VAT registration number;
· The Employer’s VAT registration number 4740101508;
· Description of service provided for each item invoiced based on the Price List;
· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;
· E-mail address for invoice submission:
· Local Eskom invoices: Invoiceseskomlocal@eskom.co.za


Contractor is required to follow the correct process to ensure the payment is effected in accordance with contractual payment terms.

Contractor is required to follow the correct process to ensure payment is effected in accordance with contractual payment terms:

2.6.1 Service related invoices

a) Once the service have been delivered/completed both parties have to agree that the service has been delivered/completed successfully prior to invoicing
b) An assessment payment certificate must be completed between the Contractor and Service Manager according to the service performed. Both parties have to sign the assessment/certificate
c) A copy of assessment/payment certificate must be obtained by the Contractor to enable the creation of an invoice and to prevent any discrepancies. A copy of the assessment/payment certificate must be attached to the original invoice
d) Service Manager performs a service entry and Goods Receipt on the SAP system. (Assessment/Payment Certificate issued as a source document for Service Entry Goods Receipt)
e) Service Manager will the forward the Service entry and Goods Receipt Note number to the Contractor within 3 working days after the service has been rendered and the Assessment/Payment certificate signed
f) Contractor must forward the original invoices together with a copy of the Assessment/Payment certificate to the Eskom Documentation Centre.


2.6.2 Invoices linked to commodity prices

a) The requirements are the same as for Goods Delivered Invoices.
b) Invoices which are linked to commodity prices will result in CPA (Contract Price Adjustment).
c) Attach a copy of the material invoice that has been previously paid to the CPA invoice, as well as the calculation sheet and all indices attached other than SEIFSA.
d) The relevant Eskom Department will then complete the CPA calculation sheet and forwards it to the Eskom Documentation Centre.

2.6.3 Retention Invoices 

a) The requirements are the same as for Goods Delivered and service related Invoices. 
b) Where Retention is applicable on the contract, the Eskom SAP system will automatically create the Retention, and the amount deducted from the invoiced amount.
c) Invoices related to retentions release require a defect or completion certificate and a retention release certificate from the Service Manager and must be attached to the original invoice.  The original invoice for the retention to be released must be accompanied by the approved and signed completion/defect certificate and retention release certificate and forwarded by the Service Manager to the Documentation Centre to effect payment.

2.6.6 General Information related to Eskom Invoices

a) Contractor must ensure that the Service Entry and Goods Receipt Note number appears on the invoice.  (It can be printed or hand written on the invoice).
b) Eskom Purchase Order number must appear on invoice.
c) Invoices must be VAT compliant in line with the VAT Act requirements.
d) Invoices submitted must reflect the bank account details.  A once off copy of the banking details may be forwarded to the Documentation Centre and it will be attached to each scanned invoice.
e) Invoices must be original or certified as an original in line with the VAT Act.  No electronic invoices will be accepted.
f) Eskom’s correct name “Eskom Holdings SOC Limited” must appear on the invoice.
g) The Eskom VAT registration number: 4740 101 508 must appear on the invoice.
h) No pro-forma invoices will be accepted.



Note:
1. Invoices must be delivered to the Eskom Documentation Centre, as this will speed up the payment process and ensure that invoices are not lost and payments delayed.  There is no need for Service Manager to sign invoices as they perform Goods Receipt in the system.  The assessment certificate and Goods Receipt serves as the approval of payment.
2. Eskom Documentation Centre will review invoices according to a checklist and on completion scan the documentation into Accounts Payable processing system (Documentation can only be scanned where the Purchase order no. and Goods Receipt Note no. is reflected on the invoice, and the invoice complies with the VAT Act).
3. Invoices are processed and released for payment by Accounts Payable Section only where the source documentation is 100% correct

2.7 [bookmark: _Toc137798052][bookmark: _Toc229128255][bookmark: _Toc232953645][bookmark: _Toc394174909]Contract change management 
Any change of the Contractor’s company ownership should be communicated through to the Service Manager. Failing to do this may lead to contract termination with legal consequences. 

The correct processes and procedures will be communicated through to the Contractor by the Service Manager.

If the Employer’s Service Manager change, the Contractor will be notified by the Employer as soon as possible to ensure that the Contractor follow the correct communication channels.

2.8 [bookmark: _Toc137798054][bookmark: _Toc229128257][bookmark: _Toc232953646][bookmark: _Toc394174910]Records of Defined Cost to be kept by the Contractor
In order to substantiate the Defined Cost of Compensation Events, the Employer may require the Contractor to keep records of amounts paid by him for people employed by the Contractor, Plant and Materials, work subcontracted by the Contractor (if any) and Equipment. 

Any communication and documentation during this service agreement to be filed in the contract file. This file is in the possession of the Service Manager at all times.

2.9 [bookmark: _Toc137798051][bookmark: _Toc229128254][bookmark: _Toc232953647][bookmark: _Toc394174911]Insurance provided by the Employer
As stated in Contract Data and as per Annexure A within this Service Agreement.

2.10 [bookmark: _Toc137798050][bookmark: _Toc229128253][bookmark: _Toc232953648][bookmark: _Toc394174912]Training workshops and technology transfer
N/A
2.11 [bookmark: _Toc137798061][bookmark: _Toc229128264][bookmark: _Toc232953649][bookmark: _Toc394174913]Design and supply of Equipment
Details of the design of Equipment is shared with the Service Manager, not necessarily for his acceptance but, as an assurance that the Equipment will be able to allow the Contractor to Provide the Service efficiently and without delay.  

2.12 [bookmark: _Toc137798062][bookmark: _Toc229128265][bookmark: _Toc232953650][bookmark: _Toc394174914]Things provided at the end of the service period for the Employer’s use
2.12.1 [bookmark: _Toc394174915]Equipment
None
2.12.2 [bookmark: _Toc394174916]Information and other things
In the event that information and other things are required, it will be discussed by the Parties, and provision of information and other things will be mutually agreed upon.






2.13 [bookmark: _Toc232953651][bookmark: _Toc394174917]Management of work done by Task Order

A Task is work within the service which the Service Manger may instruct the Contractor to carry out within a stated period of time.

Task Completion is when the Contractor has done all the work in the Task and corrected Defects which would have prevented the Employer or Others from using the Affected Property and Others from doing their work.

Task Completion Date is the date for completion stated in the Task Order unless later changed in accordance with this contract.

A Task Order includes:

· A detailed description of the work in the Task
· A priced list of items of work in the Task in which items taken from the Price List are identified.
· The starting and completion dates for the Task
· Conditions of the service agreement is in accordance with the Task Order issued

The Service Manager consults the Contractor about the contents of a Task Order before he issues it.

No Task Order is issued after the end of the service period.

Work will not commence on site without the Contractor and the Service Manager signing a Contract Agreement.

It is the Contractors responsibility to provide the Service Manager a detailed Task Order programme for acceptance within the period stated in the Contract Data.

Only when the Task Order programme is accepted and agreed upon by the Service Manager and the Contractor will any work commence on site.

When any emergencies do arise, it is required from the Contractor to adhere to the following terms:

· The Contractor will be informed of emergencies when the Service Manager first becomes aware of it. 
· Response time within 2 hours for any communication when the Contractor acknowledges the emergency.
· Provide a schedule within 8 hours after Task Order provided to the Contractor
· Mobilise within 5 hours after Task Order have been accepted by both parties.




3 [bookmark: _Toc232953652][bookmark: _Toc394174918]Health and safety, the environment and quality assurance
3.1 [bookmark: _Ref134768869][bookmark: _Toc137798045][bookmark: _Toc229128248][bookmark: _Toc232953653][bookmark: _Toc394174919]Health and safety risk management

	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor:
accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2003 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property;
warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and
undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

The Contractor shall comply with the Health and Safety requirements. Reference is made to document no. 32-726 and 32-727; Safety, Health, Environmental and Quality (SHEQ) Policy.

Particular consideration must be given to the following Eskom Life Saving Rules:
1. Isolate, before touch,
2. Hook up on heights,
3. Buckle up,
4. Be Sober,
5. Permit to Work.



3.2 [bookmark: _Toc137798046][bookmark: _Toc229128249][bookmark: _Toc232953654][bookmark: _Toc394174920]Environmental constraints and management
The Contractor shall comply with the environmental criteria and constraints required by the Employer. 
The Contractor shall comply with the Medupi Power Station Environmental Management System. Reference is made to document 32-727, the SHEQ policy and document 237-555 ENV-SP Medupi Power Station requirements for Contractors and Suppliers.

The following shall apply:

· The Contractor shall have a documented and implementable Environmental Management System, e.g. Environmental Policy, Operational Procedures relating to their activities, Environmental Aspect and Impacts Register.
· The Contractor shall prepare an Environmental Management Plan relating to their activities that will be carried out. The Environmental Management Plan shall be based on, amongst others, Eskom Medupi Operational Environmental Management Plan and other applicable environmental legislation. The Environmental Management Plan must include all Aspects and Impacts relating to the activity and address the principle of Continual Improvement. 
· The Contractor Employees shall be inducted on the environmental documentation.
· The Contractor shall comply with all Eskom Medupi Power Station environmental requirements such as Policies, Standards, and Procedures.
· The Contractor shall appoint trained and competent personnel (in writing), who will have the responsivity of implementing all environmental requirements of the contract.
· The Method Statement shall be submitted to the Eskom Medupi Power Station Environmental Senior Advisor for approval, prior to the commencement of the activity. No work shall commence without an approved Method Statement.
· Non-conformances and Incident Reporting and Investigation shall be done by the Contractor; such reports must include but not limited to the following information:
· The cause of the non-conformance/incident;
· The proposed actions to correct and prevent recurrence.
· Eskom Medupi Power Station shall issue a non-conformance where there are deviations from the Eskom Medupi Power Station’s procedures and other environmental requirements. No work will continue until the non-conformance is addressed; in cases where the non-conformance cannot be addressed immediately; measures (in writing, with target dates) shall be submitted to the Environmental Management Department.
· The Contractor shall allocate funds for the implementation of Environmental requirements.
Environmental Management Programmes

· Environmental Management Programmes shall be established and maintained to ensure that objectives and targets are achieved.

3.2.1 

The following minimum records shall be kept on site;

· The Contractor’s specific Environmental Management Plan
· Aspect/Impacts register
· Non-conformance register
· Public Complains register
· Waste disposal register
· Hazardous Substances register and MSDS (Material Safety Data Sheets), where applicable.
· Records of Audit reports and Audit finding close-out, where applicable.
· Records of Inspections conducted
Note: Compliance to the Environmental requirements will be monitored via periodic Inspections and Audits.

3.3 [bookmark: _Toc137798047][bookmark: _Toc229128250][bookmark: _Toc232953655][bookmark: _Toc394174921]Quality assurance requirements
The Contractor shall be required to demonstrate by means of a Contract Quality Plan (CQP) that this organisation is so structured that all the requirements of the specification will be properly monitored and controlled. The Contract Quality Plan (CQP), shall be drafted in line with Supplier Contract Quality Requirement Specification (QM58). The Quality documents are to be submitted for approval to the Service Manger within thirty (30) days after a contract has been awarded to the Contractor.

No work may commence unless the Contract Quality Plan and Quality Control Plan documents have been submitted and approved by the Quality Control Senior Advisor. 
The Contractor shall be required to read and fully understand the contents of the Supplier Contract Quality Requirement Specification (QM58) and a copy is to be kept in possession or on premises.

The Contractor shall comply with all Employer’s requirements as set out in QM-58 (Supplier Contract Quality Specification).  .

The Contractor further ensures that the subcontractor’s programmes (if any), comply with the requirements of the Service Information.

The Contractor notifies the Service Manager of any changes to the Quality System and obtains agreement prior to implementation on existing orders and contracts. 

The Supplier Contract Quality Requirement Specification (QM58) shall remain applicable in the event of the contract being extended or modified for reasons permitted.

By signature and acceptance of this contract the Contractor acknowledges and agrees to comply with and adhere to Eskom’s policies and procedures (current and/or latest revisions) including the Supplier Contract Quality Requirement Specification (QM58).


The Contractor shall comply with:

a)	 The Occupational Health and Safety Act, 1993, and all Regulations made there under.
b)   All Employer Safety and Operating Procedures, which are attached hereto.

The Contractor acknowledges that he is fully aware of the requirements of all the above and undertakes to employ only people who have been duly authorised in terms thereof and who have received sufficient safety training to ensure that they can comply therewith.

The Contractor undertakes not to do, or not to allow anything to be done which will contravene any of the provisions of the Act, Regulations or Safety and Operating Procedures.

The Contractor shall appoint a person who will liaise with the Employer Safety Officer responsible for the premises relevant to this contract.  The person so appointed shall on request:

a) Supply the Employer Safety Officer with copies of minutes of all Health and Safety Committee meetings, whenever he is required to do so.
b) 	Supply the Employer Safety Officer with copies of all appointments in respect of employees employed on this contract, in terms of the Act and Regulations and shall advise the Employer Safety Officer of any changes thereto.

Employer may, at any stage during the currency of this agreement be entitled to:

a)  Do safety audits at the Contractor's premises, its work places and on its employees.
b)	Refuse any employees, sub-Contractor or agent of the Contractor access to its premises if such person has been found to commit any unlawful act or any unsafe working practice or is found to be not authorised or qualified in terms of the Act.
c) Issue the Contractor with a work stoppage order or a compliance order should Employer become aware of any unsafe working procedures or conditions or any non-compliance with the Act, Regulations and Procedures by the Contractor or any of its Employees, sub-Contractors or agents. Stoppages of this nature will not constitute a compensation event.

List of minimum statutory appointments required (where applicable), as required by the OHS Act:

OHS Act, Section 16(2) - Employer
OHS Act, GMR 2(1) - Supervision of Machinery
OHS Act, GMR 2(7) - Assist the designated person
OHS Act, Section 17 - Health and Safety Rep
OHS Act, GAR 9 – Incident investigation 
OHS Act, CR 19 – Explosive Powered Tools
OHS Act, CR 22 – Electrical installations and machinery
OHS Act, GSR 3 – First Aider

4 [bookmark: _Toc137798064][bookmark: _Toc229128267][bookmark: _Toc232953656][bookmark: _Toc394174922]Procurement
4.1 [bookmark: _Toc137798065][bookmark: _Toc229128268][bookmark: _Toc232953657][bookmark: _Toc394174923]People
4.1.1 [bookmark: _Toc137798066][bookmark: _Toc229128269][bookmark: _Toc232953658][bookmark: _Toc394174924]Minimum requirements of people employed
None
4.1.2 [bookmark: _Toc137798067][bookmark: _Toc229128270][bookmark: _Toc232953659][bookmark: _Toc394174925]BBBEE and Preference scheme
Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Employer within thirty days of the notification or as otherwise instructed by the Employer.

Where, as a result, the Contractor’s B-BBEE status has decreased since the starting date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to provide the service.

Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination will be dealt with according to the NEC3 TSC penalty/termination clauses

4.1.3 [bookmark: _Toc229128271][bookmark: _Toc232953660][bookmark: _Toc394174926]Accelerated Shared Growth Initiative – South Africa (ASGI-SA) 
N/A

4.2 [bookmark: _Toc137798068][bookmark: _Toc229128272][bookmark: _Toc232953661][bookmark: _Toc394174927]Subcontracting
4.2.1 [bookmark: _Toc137798069][bookmark: _Toc229128273][bookmark: _Toc232953662][bookmark: _Toc394174928]Preferred subcontractors
The Employer may list which subcontractors or suppliers the Contractor is required to enter into subcontracts with.

If the Contractor subcontracts work, he is responsible for providing the Service as if he had not subcontracted. This contract applies as if a Subcontractor’s employees and equipment were the Contractor’s.

4.2.2 [bookmark: _Toc137798070][bookmark: _Toc229128274][bookmark: _Toc232953663][bookmark: _Toc394174929]Subcontract documentation, and assessment of subcontract tenders
When the Contractor uses a Subcontractor he needs to engage with him on a NEC basis. The Subcontractor needs adhere to all processes, policies and procedures of Eskom as service should be provided as if not subcontracted to Eskom.

All reporting will happen based on the NEC standard forms or as agreed upon in the Kick off meeting.

4.2.3 [bookmark: _Toc137798071][bookmark: _Toc229128275][bookmark: _Toc232953664][bookmark: _Toc394174930]Limitations on subcontracting
The Contractor submits the name of each proposed Subcontractor to the Service Manager for acceptance. A reason for not accepting the Subcontractor is that the appointment will not allow the Contractor to Provide the Service.

The Contractor does not appoint a Subcontractor until the Service Manager accepted them.


4.2.4 [bookmark: _Toc137798072][bookmark: _Toc229128276][bookmark: _Toc232953665][bookmark: _Toc394174931]Attendance on subcontractors
The Subcontractor should attend all morning feedback meetings to provide accurate feedback on the progress of service. Assessment meetings between Service Manager and the Contractor should be avoided by the Subcontractor. 

4.3 [bookmark: _Toc137798073][bookmark: _Toc229128277][bookmark: _Toc232953666][bookmark: _Toc394174932]Plant and Materials
4.3.1 [bookmark: _Toc394174933]Specifications
Plant and Materials are defined as items intended to be included in the Affected Property.  This will refer to replacement of worn or defective parts, routine replacement as part of regular preventative maintenance and supply of spare parts.  

4.3.2 [bookmark: _Toc137798075][bookmark: _Toc229128279][bookmark: _Toc232953668][bookmark: _Toc394174937]Plant & Materials provided “free issue” by the Employer
None
5 [bookmark: _Toc232953672][bookmark: _Toc394174938]Working on the Affected Property
5.1 [bookmark: _Toc137798084][bookmark: _Toc229128287][bookmark: _Toc232953673][bookmark: _Toc394174939]Employer’s site entry and security control, permits, and site regulations

· The Contractor personnel are required to be in possession of a Contractor’s Permit at all times.
· Lost permits are replaced at the Contractors’ cost
· The Contractor must provide Eskom Security with Proof of the company’s owner’s and employees’ Criminal Record Clearances three (3) days prior to work commencement 
· The successful Contractor is required to submit employee Proof of UIF registration and contribution on commencement of the contract
· All Contractor personnel are issued with access permit (Contractor’s Permit) which contains the following information:
· Name
· ID Number
· Company
· Validity date
· In order to assist Protective Services with the issuing of permits and the identification of personnel on site, the Contractor supplies a list of all personnel that he intends using on site, at least 24 hours prior to entry of the Security Area.  
· The list, identified with the Contractor’s name, contains the following information:
· Employee Name
· Employee ID Number
· Eskom Safety Co-ordinator signature
· Service Manager signature
· Copy of the ID of every employee 
· Contractor compiles detailed lists of all tools and equipment to be taken on site before arriving at the Power Station Security gate.  
· A special Tool List form is available at Protective Services.  
· An authorised copy of this list is retained to be used again when the tools and equipment is removed from site after the completion of the service.
· The Contractor's visitors and all personnel conform at all times to the security arrangements in force at the site.  
· Application forms for visitors are filled in by the Contractor's Site Manager and approved by the Employers Representative, one day before the visit and submitted to the Employer’s Protective Services office. 
· Visitors are not allowed on site if the necessary forms are not in the possession of security staff.
· The Chief of Protective Services may, with valid cause, remove any of the Contractor's personnel from the site, either temporarily or permanently, without any prejudice. He may deny access to the site to any person whom, in the opinion of the said Chief of Protective Services, constitutes a security risk.
· No unauthorised vehicles are allowed on site.  
· Only Contractor’s vehicles with displayed Contract Vehicle Permits disks are allowed on site. 
· Contract Vehicle Applications are directed to the Employers Representative.
· The Contractor is forbidden to enter any other areas (e.g. Eskom employee’s offices) , and must ensure that his employees abide by these regulations.
· Parking inside the power station is strictly forbidden, except for Site Manager’s vehicle and vehicles used for operation, and loading/unloading purposes.
· No recruiting of casual labour is done on Eskom premises, including the area outside the Power Station Security Gate.
5.1.2 Eskom Life Saving Rules:

Five Life Saving Rules have been developed that will apply to all Eskom employees, agents, consultants and contractors.

Rule 1:   Open, Isolate, Test, Earth, Bond, And / Or Insulate before touch - that is any plant operating above   1 000 V.

Rule 2:	Hook up at heights - no person may work at height where there is a risk of falling.

Rule 3:	Buckle up – no person may drive any vehicle on Eskom business and/or on Eskom premises: unless the driver and all passengers are wearing seat belts.

Rule 4:	Be sober (no person is allowed to work under the influence of drugs and alcohol.)

Rule 5:	Use a permit to work – where an authorization limitation exists, no person shall work without the required permit to work.

· Medupi Power Station Health and Safety Standards 
· Specifications for Contractors attached to the Invitation to Tender. This procedure will be handed over during tender enquiry and will enable the successful Tenderer to compile a Health & Safety plan that has to be approved by the Employer prior to commencement of work.
· Compliance with Eskom & Medupi No Smoking Policy
· Adhere to the OHS Act 85 of 1993
· All staff will undergo Safety Induction, presented by Medupi Risk Management Department
· Employer’s site regulations, covering the following:
· Storage of material
· Safety precautions and fire prevention
· Other Contractor's work
· Representation of sub-contractors
· Contractor's Site
· Disposal of waste, oil residue and sludge  
· Working at heights
· Working in and around an area that contains flammable substances
· Availability of fire extinguishers when working in an area that contains flammable 
· Substances

5.2 [bookmark: _Toc137798086][bookmark: _Toc229128289][bookmark: _Toc232953674][bookmark: _Toc394174940]People restrictions, hours of work, conduct and records
The Contractor provides the necessary resources to carry out the service as stated in the Service Information.

The Contractor provides everything to carry out the Service Information of this contract unless where otherwise stated in this Service Agreement. Everything that should be provided by the Employer is stated in this Service Agreement, anything not stated in the Service Agreement should be provided by the Contractor to execute the work as stated in the Service Information

It is very important that the Contractor keeps records of his people working on the on site, including those of his Subcontractors.  The Service Manager shall have access to all records of the Contractor and Subcontractor at any time when deemed necessary.  

5.3 [bookmark: _Toc137798087][bookmark: _Toc229128290][bookmark: _Toc232953675][bookmark: _Toc394174941]Health and safety facilities on the Affected Property
Any emergency equipment or fire suppression systems to be utilized by the Contractor when an emergency arise

Please refer to SHE Requirements for Contractors – Refer to GGR 0992 Heading 8.1

5.4 [bookmark: _Toc137798088][bookmark: _Toc229128291][bookmark: _Toc232953676][bookmark: _Toc394174942]Environmental controls, fauna & flora
General environmental requirements referred to in section 3 above, Medupi Power Station ISO14001.

5.5 [bookmark: _Toc137798092][bookmark: _Toc229128295][bookmark: _Toc232953678][bookmark: _Toc394174944]Records of Contractor’s Equipment
The Contractor will at all times keep record of his equipment on site with relevant inspections carried out. Inspection reports should be accessible by the Service Manager at any given time when he deems necessary. 

All equipment or tools signed in by the Contractor should strictly adhere to the gate access rules and procedures.

All Equipment including hired should be inspected and approved before accepted on site. 

The Contractor will keep records of all hired Equipment to execute the Service Information

5.6 [bookmark: _Toc137798093][bookmark: _Toc229128296][bookmark: _Toc232953679][bookmark: _Toc394174945]Equipment provided by the Employer
It is the responsibility of the Contractor to provide his Equipment list to the Service Manager with all calibration certificates etc. 

The Employer provides Equipment as stated in the Service Information, anything not stated in the Service Information the Contractor have to provide and already accounted for in the Price List.

5.7 [bookmark: _Toc137798094][bookmark: _Toc229128297][bookmark: _Toc232953680][bookmark: _Toc394174946]Site services and facilities
5.7.1 [bookmark: _Toc232953681][bookmark: _Toc394174947]Provided by the Employer
The Employer will provide in the way of water points, fire protection and lighting (etc) on the Affected Property. Power will be provided by the Employer the Contractor needs to ensure his own cabling, connections, DB Boards and CoC certificates of installations and connections.

Supply of Electricity

· Employer will make available to the Contractor 220/230-volt electrical supply free of charge from the closest existing point of supply. 
· The Contractor is to make provision for the necessary extensions and plug points.
· All Electrical boards must be inspected and tested before connecting to a power supply and then a CoC must be issued by the Contractor 
· The Contractor will adhere to the Electrical Installation Regulations of 1992

Medical Facilities

· The Contractor provides a First Aid service to his employees and subcontractor.  In the case where these prove to be inadequate, like in the event of a serious injury, the Employer’s Medical Centre and facilities are available.
· Outside the Employer’s office hours, the Employer’s First Aid Services are only available for serious injuries and life threatening situations.
· The Employer is entitled, however, to recover the costs incurred, in the use of the above Employer’s facilities, from the Contractor.

5.7.2 [bookmark: _Toc137798095][bookmark: _Toc229128298][bookmark: _Toc232953682][bookmark: _Toc394174948]Provided by the Contractor
· The Contractor shall provide furniture, for his own use adequate size offices. 
· A cleaning service must also be provided by the Contractor.  
· The Contractor shall vacate all such infrastructure (cabins) on completion of the contract.
· Any electrical equipment or appliances used by the Contractor shall conform to the applicable South African Safety standards and Medupi standard PSR Unique Identifier 36-681, and shall be maintained in safe and proper working condition.  
· The Employer shall have the right to stop the Contractor’s use of any electrical equipment or appliance, which in the Employer’s opinion does not conform to the foregoing.


Site Location

· The boundary of the site is within the Power Station boundary fences. 
· The Contractor is to mark the boundaries of his site clearly. 
· The Contractor is to ensure that all his material and equipment is always within the boundaries of his site. 
· A site for the Contractor will be provided if needed.  (The exact position will be determined on site).  
· The Contractor will ensure further treatment of the yard area to keep all neat and tidy at all times.  
· The Contractor shall also include for such items as security, watch and access arrangements to his yard area.
· The Contractor shall not occupy any site area other than that located to him
· On completion of the service on Site, all areas allocated to the Contractor shall be re-instated to their former condition to the satisfaction of Employer

Contractor’s site requirements

· The Contractor supplies, installs, properly maintains and removes all temporary construction facilities and utilities necessary for the complete performance of the service
Including the following: 

· The Contractor’s yard should adhere to sound housekeeping, failing with this the Employer may use another Contractor to clean up the Contractor’s yard. These costs will be carried by the Contractor.
· Any damage to installed lighting is repaired at the Contractor’s expense.
· The reticulation of electricity, water and any other services required by the Contractor from a supplied central distribution point.
· Hazardous Substances to be contained as per Eskom requirements. 
· Transportation on and off site 
· Telephone connections may be available and the Contractor applies via the Services Manager for a connection. Connection fees and calls are for the Contractor’s account.
· Compressed air and gases
· Maintenance of lay-down and storage areas
· Electric panels and distribution wiring for erection and within Contractor's yard
· Security of Contractor's yard
· Temporary lighting to ensure safe working conditions.

Accommodation

The provision of accommodation for Contractor's personnel is the responsibility of the Contractor.
The Contractor or any of his employees or subcontractors is not allowed to use the Employer’s dining facilities. 

5.8 [bookmark: _Toc137798100][bookmark: _Toc229128303][bookmark: _Toc232953683][bookmark: _Toc394174949]Control of noise, dust, water and waste .
All waste introduced to and/or produced on Employer's Premises by the Contractor for this order, must be handled in accordance with the minimum requirements for the Handling and Disposal of hazardous waste in terms of Government Legislation as proclaimed by the Department of Water Affairs and Forestry 1994 Ref.: BN0621-16296-5. (A copy of this document is available at the Power Station for reference purposes).

Provide sufficient storage containers, labelled depicting general or hazardous waste and store in a designated storage area
No hazardous waste may be stored for a period of more than 90 days on the Medupi Power Station’s premises
Ensure that all hazardous waste is disposed of at a licensed Class H disposal site. A copy of the hazardous waste disposal certificate must be submitted to the Service Manager.

Ensure that the Contractor’s site comply with the general good housekeeping practices. Redundant material must be removed. No scrap shall be stored in the Contractor’s yard. Scrap is to be cleared from Site daily.

5.9 [bookmark: _Toc137798103][bookmark: _Toc229128306][bookmark: _Toc232953684][bookmark: _Toc394174950]Hook ups to existing works
Any work performed at heights, must adhere to the correct safety standards, procedures and specifications stated in the Health and safety risk management of Medupi Power Station. Refer to GGR 0992

5.10 [bookmark: _Toc232953685][bookmark: _Toc394174951]Tests and inspections
5.10.1 [bookmark: _Toc232953686][bookmark: _Toc394174952]Description of tests and inspections
The Contractor gives at least 48 hours in advance notification to the Supervisor or the Authority for inspection/test and hold or witness points, which require their attendance. The Contractor confirms readiness for inspection at least 24 hours prior to the test.

The Contractor ensures that all work has been fully inspected, accepted and documented prior to requesting any inspection by the Supervisor.

The Contractor and the Employer provide materials, facilities and samples for tests and inspections as stated in the Service Information.
6 [bookmark: _Toc137798122][bookmark: _Toc229128325][bookmark: _Toc232953689][bookmark: _Toc394174954]List of drawings
6.1 [bookmark: _Toc137798123][bookmark: _Toc229128326][bookmark: _Toc232953690][bookmark: _Toc394174955]Drawings issued by the Employer
This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.


	Drawing  number
	Revision
	Title
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PART 4: SITE INFORMATION

General description
The Medupi Power Station is situated approximately 10km from Lephalale Municipality District offices, in Limpopo province.

Existing buildings, structures, and plant & machinery on the Site
6 Units, 12 building structures.


Existing buildings, structures, and plant & machinery on the Site
Not applicable. The Contractor to specify any information required if necessary.


Subsoil information
Not applicable. The Contractor to specify any information required if necessary.

Hidden services 
All known services will be brought to the attention of the Contractor by Employers Representative. Should the Contractor encounter any other services in the work area, he will immediately bring them to the attention of the Employers Representative who will issue instructions as to what actions are to be taken.

The protection of all pipes, gauges and plant is of extreme importance. Should any damage take place, which is due to the Contractors negligence, another Contractor will be brought onto site to affect repairs.  All costs will be to the account of the Contractor who caused damage.






Other reports and publicly available information

Available on request
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