TERMS OF REFERENCE

UNPLANNED ELECTRICAL REPAIRS, INSTALLATIONS AND MAINTENANCE/EMERGENCY REPAIRS AT THE YACHT CLUB

The HSRC Cape Town Office at The Yacht Club, 2 Dockrail Road, Foreshore requires the services of a registered electrician to provide installation, maintenance and repairs of any electrical services for three (3) years.

Background

The Human Sciences Research Council (HSRC) is a research organisation that advances social sciences and humanities for public use. The HSRC subscribes to the values of good governance, accountable public administration and sound management of the resources as reflected in the Public Financial Management Act of 1999 (PFMA as amended by Act 29 of 1999) and other laws and regulations applicable to public administration.

Established in 1968 as South Africa’s statutory research agency and has grown to become the largest dedicated research institute in the social sciences and humanities on the African continent, doing cutting-edge public research in areas that are crucial to development.

Our mandate is to inform the effective formulation and monitoring of government policy; to evaluate policy implementation; to stimulate public debate through the effective dissemination of research-based data and fact-based research results; to foster research collaboration; and to help build research capacity and infrastructure for the human sciences.

Service Requirement

The purpose of this bid is to secure the services of an Electrical service provider that would be able to successfully maintain the electrical facilities at the HSRC Cape Town Office. The estimated start date of the services is 01 October 2025.

The HSRC requires the services of an electrical service provider to conduct routine maintenance and emergency repairs to any electrical equipment/ installations in the building as per SANS 10142 that seriously could affect the business of the organisation such as faulty electric socket outlet circuits, lighting, electrical motors, switch gear, but not limited to such equipment.

Scope of Work

The scope of the work/services to be provided by the contractors is as follow:

- General electrical maintenance works in this contract will include but not limited to

- Electrical distribution boards and component maintenance

- Cable /wires installations and maintenance

- Electrical appliances diagnosis and repairs – Hydro boils

- Fault finding

Response to Call Outs

The Service Provider will at all time respond to emergency call outs as requested by the HSRC. The Service provider will respond to emergency call outs/technical problems reported to them within reasonable period (12 hours) unless they are major technical problems

Ad hoc call outs before midday:

- Response must be the same day and repairs must be within 6 hours.

Ad hoc call outs after midday:

- Response must be within 24 hours.

The response must indicate the following:

- Call out fee

- Call out fee after hours (including weekends/p/holidays

Operating Hours

The service provider will be required to provide services as per the request of the HSRC during and out of working hours. The service provider will be required to be available to provide services 365 days a year (including public holidays) all hours

Mandatory Requirements of the Service Provider

- Site visit by the supply-Register will be completed by all suppliers interested.

- A minimum of three (3) recent, relevant, valid, and contactable references is required. Reference letters must be no older than three years, dated, signed by the client, and provided on the client’s official letterhead.

- The contract shall be registered with the ECB as laid down in the Electrical Installation Regulations of the Occupational Health and Safety Act 85/1993. Proof valid ECB must be submitted. The service must have  and provide a valid Proof of the Electrical Contractors' Association of South Africa (ECA(SA).

- The service provider must provide Valid Certificate of good standing Registered with the Department of Labor in terms of COIDA (Compensation for Occupational Injuries and Diseases Act, No 130 of 1993) with nature of business strictly for Electrical Services. COIDA must be valid on submission. No proof of registration will be accepted

- Proof of Public Liability Insurance of not less than R500 000.00 per occurrence.

- Proof of registration for electrical contractor issued by department of labour.

- A valid Wireman’s certificate.

- The service provider must be registered with CIDB and should have a CIDB contractor grading of 1EB or higher.

IMPORTANT: Failure to meet or submit any of the above requirements will result in submission not being evaluated and automatically rejected

Pricing schedule for unplanned maintenance

|  | Year 1 | Year 2 | Year 3 |
| --- | --- | --- | --- |
| Rates per hour during office hours (08:00 to 17:00) |  |  |  |
| Rates per hour-afterhours (from 17:01 including public holidays) |  |  |  |
| Transportation rates-(only above 50km to and from the supply base) |  |  |  |
| Call out fee |  |  |  |

Material Markup

Markup Formula:  Material Price = Cost Price + Markup (%)

|  | Year 1 Markup | Year 2 Markup | Year 3 Markup |
| --- | --- | --- | --- |
| Material Costs below R10,000.00 |  |  |  |
| Material Costs between R10,001,00 and R40,000,00 |  |  |  |
| Material Costs above R40,000,00 |  |  |  |