ARC INFRUITEC - NIETVOORBIJ

Private Bag/Private X5026, Stellenbosch, 7599, South Africa

Tel: (021) 809 3093. Fax: (021) 809 3400/3592

# Office of the Supply Chain Management

Description of service: Supply and delivery of a portable/handheld pH meter for use in beverages and food products.

##### SCOPE OF WORK AND CONDITIONS

| Item | Description of item | Comply with spec. Please indicate (Yes or No) |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | If no please indicate the deviation |
| 1 | Supply of a portable pH meter. |  |  |  |
| 1.1 | Water proof housing |  |  |  |
| 1.2 | Durable and robust |  |  |  |
| 1.3 | pH range: 0.00 to 14.00 |  |  |  |
| 1.4 | Automatic calibration and buffer Recognition (4.01, 7.00 & 10.00) |  |  |  |
| 1.5 | Temperature Range: 0.0 to 100.0°C Temperature Resolution: 0.1°C |  |  |  |
| 1.6 | Automatic temperature compensation |  |  |  |
| 1.7 | Battery Life >200 hours |  |  |  |
|  | General conditions |  |  |  |
| 1.8 | Graphic display with on screen instructions |  |  |  |
| 1.9 | The standard one-year guarantee shall apply to the instrument. |  |  |  |
| 2.0 | Replaceable electrodes, with minimum six month warranty on the electrodes. |  |  |  |
| Extras | Multiple measurements such as salinity or TDS would be a bonus. |  |  |  |

PRICING SCHEDULE FOR SUPPLY AND DELIVERY portable/handheld pH meter – INFRUITEC – STELLENBOSCH

| Item description | Quantity | Unit price | Total Price |
| --- | --- | --- | --- |
| - Supply for a Portable Ph Meter | 1 |  |  |
| SUBTOTAL |  |  |  |
| VAT |  |  |  |
| GRANDTOTAL |  |  |  |

Company name:……………………………………………………………………………………………….

Contact person:………………………………………………………………………………………………..

Contact number:……………………………………………………………………………………………….

Date and signature:…………………………………………………………………………………………

Contact: Jeremy Boonzaier - BoonzaierJ@arc.agric.za – 021 809 3066