ANNEXURE C SCOPE OF WORK

### SITE INFORMATION CONTRACTED ROUTINE WORKS – CLASSIFICATION AND FREQUENCY OF SERVICE

| Seasonal Maintenance |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # J | # F | # M | # A | # M | # J | # J | # A | # S | # O | # N | # D |

| # 6 Months | # Intensive Maintenance period |
| --- | --- |
| # 6 Months | # Low Maintenance period |

| # Intensive Maintenance period detail |  |
| --- | --- |
| # Description of activity | # Minimum Frequency |
| # High Maintenance Area Grass Cutting | # (7 - 10 day return period) |
| # Medium Maintenance Area Grass Cutting | # (14 day return period) |
| # Low Maintenance – Grass Cutting | # Annually |
| # Weed Flower Beds | # (High 7 day return medium 14 day return period) |
| # Pruning of trees and hedges (Note 1) | # (15 - 90 day return period) |
| # Litter picking and bins (includes culverts) | # Daily |
| # Watering (Note 2) | # As required |
| # Road Sweeping and parking areas | # Weekly |
| # Herbicide spraying (no weed growth) (Note 3) | # As required |
| # Sweeping and raking – paths and footways | # Daily |
| # Cleaning of gutters | # Monthly |
| # Compost processing (Note 4) | # As required |
| Seasonal Maintenance (continued) |  |
| # Low Maintenance period detail |  |
| # Description of activity | # Minimum Frequency |
| # High Maintenance Area (14 day return period) | # 2/month |
| # Medium Maintenance Area (60 day return period) | # 1/2 months |
| # Low Maintenance Area (90 day return period) | # 1/3 months |
| # Weed Flower Beds (60 day return period) | # 1/2 month |
| # Pruning of trees and hedges (Note 1) | # (15 - 90 day return period) |
| # Litter picking and bins (includes culverts) | # Daily |
| # Watering (Note 2) | # As required |
| # Road Sweeping and parking areas | # Weekly |
| # Herbicide spraying (no weed growth)(Note 3) | # As required |
| # Sweeping and raking | # Daily |
| # Cleaning of gutters | # As required |
| # Compost processing (Note 4) | # As required |

Note  1. 	A minimum of one meter clearance of tree branches and large shrubs to be maintained with respect to all buildings and permanent structures and electrical and security fences, where applicable

Note 2. 	Irrigation will be temporarily be postponed whenever water reticulations problems are being rectified or require attention

Note 3. 	Special attention to be given to alien vegetation control and extermination management program (in particular black wattle germination control and “pom poms”,  seringa, buckweed eradication. )

Note 4. 	Compost processing on site will be dependent on client needs and available storage space at compost site. If full capacity is reached, redundant material must be disposed of as indicated under refuse removal description

| Seasonal Approach : Sports fields |  |
| --- | --- |
| # Intensive Maintenance period detail |  |
| # Description of activity | # Minimum Frequency |
| # High Maintenance Area (7 day return period) | # 4/month |
| # Low Maintenance Area (14 - 28 day return period) | # 1-2 per month |
| # Irrigation | # Daily |

| # Low Maintenance period detail |  |
| --- | --- |
| # Description of activity | # Minimum Frequency |
| # High Maintenance Area (14 day return period) | # 2/month |
| # Low Maintenance Area (28 day return period) | # Monthly |
| # Irrigation | # As required |

| Pool Maintenance *Minimum requirements for pool maintenance |  |
| --- | --- |
| # Routine Maintenance Requirements |  |
| # Description of activity | # Frequency |
| # Confirm operation of pump (+ filter) equipment | # Daily (or as required) |
| # Check operation of automatic pool cleaner | # Daily (or as required) |
| # Check general water quality for pH, chlorine level and alkalinity | # Weekly (or as required) |
| # Booster chemical treatment (chlorine) | # As required, typically during rainy season |
| # Backwash pool filter | # Weekly |
| # Supply and replace sand in filter | # As and when required |
| # Brush pond surface | # As and when required |

| POOL MEASUREMENTS Total Number of Pools (4) |  |  |  |
| --- | --- | --- | --- |
| ITEM | LOCATION | UNIT RATE | QTY |
| 1 | IA Main Swimming Pool | m³ | 213 |
| 2 | Residential Pool | m³ | 90.65 |
| 3 | Legae Pool | m³ | 158.08 |
| 4 | Remote site Pool | m³ | 84 |

| Water Feature Maintenance |  |
| --- | --- |
| # Minimum Routine Maintenance Requirements |  |
| # Description of activity | # Frequency |
| # Confirm operation of pump | # Daily |
| # Check general water quality and pond condition | # Daily (or as required) |
| # Pool chemicals (Acid, chlorine granules, chlorine floater, alum powder, stabilizer, salt) | # Daily (or as required) |
| # Check water level and top-up (water replacement) | # Weekly |
| # Remove debris (leaves, etc, from pump and pond) | # Daily (or as required) |
| # Pool test kit and replacement test liquid / chemicals | # As and when required |
| # Automated irrigation system: control box, supply and install | # As and when required |
| # Automated irrigation system: solenoid valve, supply and install | # As and when required |
| # Automated irrigation system: solenoid valve box lid, supply and install | # As and when required |
| # Manual irrigation system: Ball valve, gate valve, supply and install | # As and when required |
| # TOTAL COST |  |

Note: All PC costs = (Materials plus % mark-up)

### ADDITIONAL MAINTENANCE RELATED ITEMS

| # Extras | # Ad hoc |
| --- | --- |
| # Fertilizer (2:3:2, K.A.N, L.A.N, 3:2:1, 5:1:5, 8:1:5, Bone meal) | # When required |
| # Tree Felling (complete with removal and leveling) | # When required |
| # Topsoil / top dressing | # When required |
| # Stump grinding | # When required |
| # Poison Spraying including pest & disease control, in particular | # When required |
| # Alien vegetation extermination, in particular “Pom poms” | # When required |
| # Black wattle tree extermination | # When required |
| # Blue gum tree removal | # When required |
| # Planting Material and Seeds | # When required |
| # Irrigation Management | # When required |
| # Scarifying and aeration | # When required |
| # Firebreaks and maintenance of gravel roads | # When required |
| # Landscape design and works | # When required |
| # Outdoor furnishings | # When required |
| # Pool cleaning and maintenance equipment | # Daily (or as required) |