| To whom it may concern | Date | 28 October 2025 |
| --- | --- | --- |
|  | Enquiries | Spha Madondo |
|  | E-mail address | Madondst@eskom.co.za |

Dear Sir/Madam

| Request for Enquiry Number | E2070CXRTD |
| --- | --- |
| Description / Project Title | The supply and delivery of fluorescent sulphur dioxide (so2), chemiluminescence nitrogen oxide (nox) and ozone (o3) analyser for Research, Testing & Development (RT&D). |
| Tender Questions Closing Date |  |

| Item | Questions | Answers | Clarity Published Dates |
| --- | --- | --- | --- |
|  | May I please ask for clarity on how many of each type of analyser is required on the above-mentioned tender please? Is it only one of each analyser? | Refer to the BOQ | 27 October 2025 |
|  | Kindly advise on the following regarding the analysers: - What is the process? - What is the gas sample gas composition at the point of measurement? - The temperature at the measurement point? - Will there be any moisture present in the sample gas? - What is the dust in the sample gas? - Is the installation point certified? (Zone 1 or Zone 2 or General-purpose area) - Must we supply any sample handling equipment? - Will these analysers be build into your own shelters or panels, must we supply it? | - Gas analyser works by drawing a gas sample into a measuring chamber and analysing it using a specific sensor technology, such as infrared absorption or electrochemical sensors, to determine the concentration of a target gas. - N/A - The temperature inside the hut/shelter is controlled at 25±5ºC. The inlet probe is above the roof of hut which is exposed to outside temperature. - There will not be moisture present in the sample gas. - There is no dust in the sample gas as the analysers have sample filters that do not allow dust to pass through. - The gas analysers have certified equivalent methods. Normally these analyser are installed inside a shelter at remote areas. - The analysers must be in a box with protective sponge to avoid movement of internal components during transportation. - Eskom air quality will provide shelter for analysers. | 30 October 2025 |
|  | Please confirm if Eskom requires portable or fixed units. | N/A | 30 October 2025 |