eskom holdings SOC ltd

Contract No. _________

Supply, and delivery of electrical cables to Matimba Power Station over the Period of five years

	[image: image1.jpg]R Eskom






NEC3 Supply Contract (SC3)
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30)

	and


	[Insert at award stage]

(Reg No. ___________ )

	for


	Supply and delivery of electrical cables to Matimba Power Station over a period of five (5) years.
Insert title of the goods and services

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	[●]

	Part C2
	Pricing Data
	[●]

	Part C3
	Scope of Work
	[●]

	
	
	

	CONTRACT No.
	[Insert at award stage]

	
	

	
	

	
	


PART C1:
AGREEMENTS & CONTRACT DATA

	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 

[to be inserted from Returnable Documents at award stage]
	[●]

	C1.2a
	Contract Data provided by the Purchaser
	[●]

	C1.2b
	Contract Data provided by the Supplier
[to be inserted from Returnable Documents at award stage]
	[●]

	C1.3
	Proforma Guarantees
	[●]


C1.1 Form of Offer & Acceptance

Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Supply, and delivery electrical cables to Matimba Power Station

 over a period of five years.
The tenderer, identified in the Offer signature block, has

	either
	examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender.

	or
	examined the draft contract as listed in the Acceptance section and agreed to provide this Offer.


By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

	
	The offered total of the Prices exclusive of VAT is 
	R [●]

	
	Value Added Tax @ 15% is
	R [●]

	
	The offered total of the amount due inclusive of VAT is

	R [●]

	
	(in words) [●]



This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).  

	Signature(s)


	
	
	

	Name(s)
	
	
	Halalisiwe Khumalo 

	Capacity


	
	
	(Procurement Manager)

	for the Purchaser


	Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199

	Name & signature of witness
	Eskom Holdings SOC Ltd                                                                           (Reg No 2002/015527/30)                                                                            Matimba Power Station 

Private Bag x215,Lephalale                                                                           0555

	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	[●]
	[●]

	2
	[●]
	[●]

	3
	[●]
	[●]

	4
	[●]
	[●]

	5
	[●]
	[●]

	6
	[●]
	[●]

	7
	[●]
	[●]

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:
	
	For the Purchaser



	Signature


	
	
	

	Name
	
	
	Halalisiwe Khumalo

	Capacity


	
	
	Manager Procurement

	On behalf of
	(Insert name and address of organisation)


	
	Eskom Holdings SOC Ltd                                                                           (Reg No 2002/015527/30)                                                                            Matimba Power Station 

Private Bag x215, Lephalale                                                                           0555


	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 SC3 Contract Data

Part one - Data provided by the Purchaser
[Instructions to the contract compiler: (delete these two notes in the final draft of a contract)

1. Please read the relevant clauses in the conditions of contract before you enter data.  The number of the clause which requires the data is shown in the left-hand column for each statement however other clauses may also use the same data.  

2. Some SC3 options are always selected by Eskom Holdings SOC Ltd.   The remaining SC3 options are identified by shading in the left hand column.  In the event that the option is not required select and delete the whole row.  Where the following symbol is used “[●]” - data is required to be inserted relevant to the specific option selected.]

Completion of this data in full, according to the Options chosen, is essential to create a complete contract.

	Clause
	· Statement
	· Data

	1
	· General
	· 

	
	The conditions of contract are the core clauses and the clauses for Options 
	

	
	
	X1:

Price adjustment for inflation

	
	
	X2

Changes in the law

	
	
	X7:

Delay damages

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Supply Contract (April 2013) 

	(If the December 2009 edition is to be used delete April 2013 and replace by December 2013)

	10.1
	The Purchaser is (name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	
	Tel No.
	[●]

	
	Fax No.
	[●]

	10.1
	The Supply Manager is (name): 
	S Tisane

	
	Address
	Eskom Holdings SOC Limited (Reg No: 2002/015527/06)

Matimba Power Station 

Private Bag x215, Lephalale                                                                           0555



	
	Tel
	014 763 8036

	
	Fax
	

	
	e-mail
	tisanets@eskom.co.za

	11.2(13)
	The goods are 
	Electrical Cable


	11.2(13)
	The services are 
	Supply and deliver electrical cable

 on site Matimba Power Station, Main Stores Receiving 

	11.2(14)
	The following matters will be included in the Risk Register
	N/A

	11.2(15)
	The Goods Information is in 
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	11.2(15)
	The Supply Requirements as part of the Goods Information is in 
	Annexure A to this Contract Data

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	3 working days

	· 2
	The Supplier’s main 
responsibilities
	Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data.

	· 3
	Time
	· 

	30.1
	The starting date is.
	2025/06/01

	30.1
	The delivery date of the goods and services is:
	Goods and services 
	delivery date

	
	
	1
	As per the order per item on as and when required basis as stipulated in this contract agreement
	As per agreed programme

	
	
	
	
	

	
	
	
	
	

	31.1
	The Supplier is to submit a first programme for acceptance within 
	2 weeks of the Contract Date indicating lead times of each item on the contract.

	32.2
	The Supplier submits revised programmes at intervals no longer than 
	1 week

	· 4
	Testing and defects
	· 

	42
	The defects date is 
	1 week after Delivery of goods.

	43.2
	The defect correction period is 
	As per the agreed lead times.

	42.2
	The defects access period is  
	As per agreed arrangement made

	· 5
	Payment
	· 

	50.1
	The assessment interval is 
	 within 7 days after delivery.

	51.1
	The currency of this contract is the 
	South African Rand

	51.2
	The period within which payments are made is
	As per Eskom terms linked to the vendor registration

	51.4
	The interest rate is 


	the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 
(ii) the LIBOR rate applicable at the time for amounts due in other currencies.  LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove.

	· 6
	Compensation events
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	· 7
	Title
	There is no reference to Contract data in this  section of the core clauses and terms in italics used in this section and identified elsewhere in this Contract data

	· 8
	Risks, liabilities, indemnities, and insurance
	

	88.1
	The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to
	R10 000 (Ten thousand Rand)

	88.2
	For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to
	(1) the Purchaser's existing and surrounding property in the care, custody and control of the supplier: the amount of the deductible (first amount payable) relevant to the event described in the "Format A" insurance policy available on request from Eskom’s Insurance Management Services.

(2) or all other existing Purchaser's property

For any one occurrence or series of occurrences arising out of one event but unlimited during the period of contract:

· R25 million (Twenty-five million Rand) for Generation property; 


	88.3
	The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to:
	N/A

	88.4
	The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to
	N/A



	88.5
	The end of liability date is 
	After Quality check has been done and the Guarantee period lapsed.

	· 9
	Termination and dispute resolution
	

	94.1
	The Adjudicator is 
	the person nominated from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him and appointed on agreement by both Parties.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the ICE-SA
Division.

	
	Address
	To be determent 

	
	Tel No.
	To be determent

	
	Fax No.
	To be determent

	
	e-mail
	To be determent

	94.2(3)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za)

	94.4(2)
	The tribunal is: 
	arbitration

	94.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	94.4(5)
	The place where arbitration is to be held is
	Lephalale South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	· 10
	Data for Option clauses
	· 

	X1
	Price adjustment for inflation
	

	X1.1
	The base date for indices is 
	One month prior to tender closing date. CPA will kick in 16 months from the base date of the contract.

	
	The proportions used to calculate the Price Adjustment Factor are:
	proportion
	linked to index for
	Index prepared by

	
	
	80%
	Transportation
	SEIFSA Table L-2(A)*

	
	
	5%
	Electrical Cables
	SEIFSA Table M-6

	
	
	15%
	non-adjustable
	

	
	
	1.00


	
	

	X2
	Changes in Law
	

	X2.1
	A change in the law of 


	South Africa. It is a compensation event if it occurs after the Contract Date



	X7
	Delay damages
	

	X7.1
	Delay damages for Delivery are
	Delivery of
	amount per day

	
	
	Items as per Scope of Work as stipulated in this Contract
	1% per day up to a maximum of 10% of the order value.

	
	
	
	

	
	
	
	

	
	
	
	

	Z
	The additional conditions of contract are
	Z1 to Z15 always apply for Eskom

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Supplier does not cede, delegate, or assign any of its rights or obligations to any person without the written consent of the Purchaser.

	Z1.2
	Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract.

	Z2.2
	Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf.

	Z2.3
	The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change.

	Z3.2
	The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager.

	Z3.3
	Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services.

	Z3.4
	Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time).  Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager.

	Z4.3
	In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager.  All rights in and to all such images vests exclusively in the Purchaser.  

	Z4.5
	The Supplier ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 25.4

	Z6.1
	The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. 

Without limitation the Supplier:

warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and

undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”.

	
	

	Z9
	Purchaser’s limitation of liability

	Z9.1
	The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited.

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Addition to secondary Option X7 Delay damages (if applicable in this contract)

	Z11.1
	If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table.

	
	

	Z12
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z12.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z12.2
	The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason.

	Z12.3
	If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z12.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation.


Z13
Insurance
Z __13.1
Replace core clause 84 with the following:
	Insurance cover
	84
	

	
	84.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. 

	
	84.2
	The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued.

	
	
	


	INSURANCE TABLE A

	Insurance against

Minimum amount of cover or minimum limit of indemnity

Loss of or damage to the goods, plant and materials

The replacement cost where not covered by the Purchaser’s insurance.

The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.
Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract

Loss of or damage to property

Purchaser’s property

The replacement cost where not covered by the Purchaser’s insurance.

The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.
Other property

The replacement cost
Death of or bodily injury

The amount required by the applicable law.

Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract

The amount required by the applicable law 




Z _13.2

Replace core clause 87 with the following:
	Insurance by the Purchaser
	
	87
	

	
	
	87.1
	The Purchaser provides the insurances stated in the Insurance Table B

	
	
	
	INSURANCE TABLE B

Insurance against or name of policy
Minimum amount of cover or minimum limit of indemnity

Assets All Risk

Per the insurance policy document

Contract Works insurance

Per the insurance policy document

Environmental Liability

Per the insurance policy document
General and Public Liability

Per the insurance policy document
Transportation (Marine)

Per the insurance policy document
Motor Fleet and Mobile Plant

Per the insurance policy document
Terrorism

Per the insurance policy document
Cyber Liability

Per the insurance policy document

Nuclear Material Damage and Business Interruption
Per the insurance policy document
Nuclear Material Damage Terrorism
Per the insurance policy document


	Z14
	Nuclear Liability

	Z14.1
	The Purchaser is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS.

	Z14.2
	The Purchaser is solely responsible for and indemnifies the Supplier or any other person against any and all liabilities which the Supplier or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Supplier or any other person or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser.

	Z14.3
	Subject to clause Z14.4 below, the Purchaser waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Supplier or any other person, or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser.

	Z14.4
	The Purchaser does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter.

	Z14.5
	The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned.

	
	

	Z15
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means occupational exposure limit.

	Parallel Measurements
	means measurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means  airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Purchaser’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z15.1
	The Purchaser ensures that the Ambient Air in the area where the Supplier will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z15.2
	Upon written request by the Supplier, the Purchaser certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Supplier may perform Parallel Measurements and related control measures at the Supplier’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z15.3
	The Purchaser manages asbestos and ACM according to the Standard.

	Z15.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe.

	Z15.5
	The Supplier’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z15.6
	The Supplier continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations.

	Z15.7
	Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Purchaser at the Purchaser’s expense, and conducted in line with South African legislation.


Annexure A:
Supply Requirements
[Notes: The example given in the NEC3 Supply Contract Guidance Notes pages 15 to 20 inclusive is based on Incoterms 2000.   However users will probably wish to use Incoterms 2010 which the details below are based on.    Users may need to adjust the information to comply with actual requirements. First decide whether Incoterms will be used or not, then delete the arrangement below which does not apply and delete these notes]

The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2010
 as follows:

[Select the group and then term within the group which applies and state the applicable delivery place.  Delete all the other groups and this note]
	Group
	Category
	Term
	Delivery Place

	E
	departure
	EXW
	

	F
	main carriage unpaid
	FCA, FAS, FOB
	

	C
	main carriage paid
	CFR, CIF, CPT, CIP
	

	D
	arrival
	DAT, DAP, DDP
	


The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.  

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

	A
	The Supplier’s obligations
	B
	The Purchaser’s obligations

	A1
	Provision of goods in conformity with contract
	B1
	Payment of the price

	A2
	Licences, authorisations and formalities
	B2
	Licences, authorisations and formalities

	A3 
	Contracts of carriage and insurance
	B3
	Contracts of carriage and insurance

	A4
	Delivery
	B4
	Taking delivery

	A5
	Transfer of risks
	B5
	Transfer of risks

	A6 
	Division of costs
	B6
	Division of costs

	A7
	Notice to the buyer 
	B7
	Notice to the seller

	A8
	Proof of delivery, transport document or equivalent electronic message
	B8
	Proof of delivery, transport document or equivalent electronic message

	A9
	Checking - packing - marking
	B9
	Inspection of goods

	A10
	Other obligations
	B10
	Other obligations


[Should there be a need to amplify any of the published obligations listed above for the chosen INCOTERM, add them here.]

All other information NOT pertinent to the above is given in the balance of the Goods Information
The Supply Requirements for this contract are as follows:

[Use these when INCOTERMS do not apply].  [Revise and complete as required]
	1. The requirements for the supply are
	[State the constraints on how the Supplier manufactures, prototypes, tests and stores the goods including order and timing]

	2. The requirements for transport are 
	[State the extent to which the Supplier transports the goods and the mode of transport]

	3. The delivery place is
	[State the location where the goods are to be placed by the Supplier, such as whether it is a dispatch department at the Supplier’s premises, the Purchaser is to collect or other location the Purchaser may require. If the delivery place for the services is different to the goods state it here]

	4. Actions of the Parties during supply
	Action
	Party which does it

	
	Giving notice of Delivery
	

	
	Checking packing and marking before dispatch
	

	
	Contracting for transport
	

	
	Pay costs of transport
	

	
	Arrange access to delivery place
	

	
	Loading the goods
	

	
	Unloading the goods
	

	For international procurement
	Undertake export requirements
	

	
	Undertake import requirements
	

	5. Information to be provided by the Supplier 
	Title of document

	
	Packing lists for cases and their contents

	
	Copy of invoice for the goods

	
	Delivery Note

	
	Test results and maintenance manuals

	For  international procurement
	Licences, authorisations and other formalities associated with export of the goods 

	
	Air Waybill or Bill of Lading with associated landing, delivery and forwarding order 

	
	The Bill of Entry endorsed by the importation authority

	
	Customs work sheets, showing tax, duties and surcharges which the law of the country into which the goods are being imported requires the importer to pay

	
	Invoice from the importation clearing agent showing airline fees, landing charges, wharfage and dock dues as applicable

	
	Specify other import documents required by authorised officials. 


All other information NOT pertinent to the above is given in the balance of the Goods Information
C1.2 Contract Data

Part two - Data provided by the Supplier
[Instructions to the contract compiler:  (delete this note before issue to tenderers with an enquiry)
Whenever a cell is shaded in the left hand column it denotes this data is optional and would be required in relation to the option selected.  In the event that the option is not required select and delete the whole row.]

Notes to a tendering supplier:

1. Please read both the NEC3 Supply Contract (SC3)
 and the relevant parts of its Guidance Notes (SC3-GN)
 in order to understand the implications of this Data which the tenderer is required to complete.  

2. The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

3. Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	· Clause
	· Statement
	· Data

	10.1
	The Supplier is (Name):
	     

	
	Address
	     

	
	Tel No.
	     

	
	Fax No.
	     

	11.2(8)
	The Goods Information for the Supplier’s design is in:
	     

	11.2(11)
	The tendered total of the Prices is
	R     , 

      (in words)

	11.2(12)
	The price schedule is in:
	

	11.2(14)
	The following matters will be included in the Risk Register
	     

	25.2
	The restrictions to access for the Supply Manager and Others to work being done for this contract are
	     

	30.1
	The delivery date of the goods and services is:
	goods and services 
	delivery date

	
	
	1
	[●]
	[●]

	
	
	2
	[●]
	[●]

	
	
	3
	[●]
	[●]

	31.1
	The programme identified in the Contract Data is contained in:
	     

	63.2
	The percentage for overheads and profit added to the Defined Cost is
	     %


Part 2: Pricing Data

NEC3 Supply Contract
	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions
	2

	C2.2
	The price schedule 
	[●]


C2.1 Pricing assumptions

How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

	Identified and defined terms
	11

11.2
	(11) The Prices are the amounts stated in the price column of the Price Schedule.  Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate.



	
	
	(12) The Price Schedule is the price schedule unless later changed in accordance with this contract.



	Assessing the amount due
	50.2
	The amount due is

the Price for each lump sum item in the Price Schedule which the Supplier has completed, 
where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate,

plus other amounts to be paid to the Supplier,

less amounts to be paid by or retained from the Supplier.
Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due.




This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.  

Preparing the price schedule
Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has 

· Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;
· Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

· Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices; 
· Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;
· Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.
Format of the price schedule
Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier. 

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule
	Supply & Delivery of Electrical Cables

	Item nr

	Material number

	    Material   Description and Texts (Fuse, Relay, Contactors, and circuit Breakers)

	UOM
	QTY 

	Unit Price

	Total Price


	1
	145012
	CABLE, ELECTRICAL: CONDUCTOR MATERIAL: COPPER TINNED; CONDUCTOR SIZE: (35 X 3)/(10 X 3) MM; TYPE: PANZERFLEX TRAILING, STRANDED FLEXIBLE; COVERING: NEOPRENE; RATING: 11 KV; CONDUCTOR INSULATION: CR BLACK NEOPRENE RUBBER; FOR COAL STACKER, 3X(25+2)X10 + 1 X 16, 6/10 KV, VOLT 6/10 KV, 25 + 2 A, 1 X 16, AS EARTH CONDUCTOR, COATED WITH SEMI-CONDUCTIVE COATED RUBBER AND LAID TOGETHER WITH PHASE AND SIGNALLING CONDUCTORS, OUTER SHEARTH, COLOUR: RED
	M
	2000
		
	2
	144974
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 10 MM2; ARMOR: PVC; TYPE: DIRECT BURIAL; CONDUCTOR: 4 CORE, CU; COVERING: PVC; RATING: 500 V TO 1 KV; CONDUCTOR INSULATION: PVC
	M
	500
		
	3
	145285
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 10 MM2; TYPE: TRAILING; CONDUCTOR: 4 CORE, CU MULTISTRAND; COVERING: RUBBER TOUGH; CONDUCTOR INSULATION: RUBBER VULCANIZED; REFERENCE NO: H07RNF; HO7RNF; NEOPRENE
	M
	750
		
	4
	630105
	CABLE, ELECTRICAL: VOLTAGE: 1000 VAC; CORE QUANTITY: 1; CONDUCTOR MATERIAL: CU/STL WOVEN; CONDUCTOR SIZE: 95 MM2; ARMOR: STL; DESIGN TYPE: ANTI THEFT; TYPE: LIGHTNING PROTECTION; CONDUCTOR INSULATION: PLASTIC
	M
	10000
		
	5
	14476
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 16 MM2; ARMOR: STL WIRE; CONDUCTOR: 4 CORE, CU STRANDED; COVERING: PVC; RATING: 1 KV; CONDUCTOR INSULATION: PVC; SUPPL P/N: BVX4HCV; REFERENCE NO: BVX4HCV; ARMOURED, PVC OUTER SHEATH, ENDS MUST BE PROTECTED BY PLASTIC CAP TO PREVENT INGRESS OF MOISTURE
	M
	1000
		
	6
	144975
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 16 MM2; TYPE: TRAILING; CONDUCTOR: 4 CORE, CU; COVERING: PVC; CONDUCTOR INSULATION: PVC; REFERENCE NO: BRR4HCN; RUBBER, CORE COLOURE: BLUE, BLACK BROWN, YELLOW/GREEN, ESKOM STANDARD CODE, AE
	M
	1000
		
	7
	145040
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 185 MM2; TYPE: ARMORED; CONDUCTOR: 3 CORE, CU STRANDED; COVERING: PVC; RATING: 3.3 KV; CONDUCTOR INSULATION: PVC; SUPPL P/N: CVX3SCV
	M
	1500
		
	8
	145031
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 2.5 MM2; TYPE: CATENARY FLAT; CONDUCTOR: 8 CORE, CU; COVERING: RUBBER; CONDUCTOR INSULATION: NEOPRENE; SIZE OF CABLE: 35 MM X 7 MM
	M
	200
		
	9
	144972
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 2.5 MM2; TYPE: CATENARY FLAT; CONDUCTOR: 8 CORE, CU; COVERING: RUBBER; CONDUCTOR INSULATION: NEOPRENE; SIZE OF CABLE: 35 MM X 7 MM
	M
	500
		
	10
	14484
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 2.5 MM2; ARMOR: STL WIRE; TYPE: DIRECT BURIAL; CONDUCTOR: 19 CORE, CU STRANDED; COVERING: RUBBER; RATING: 1 KV; CONDUCTOR INSULATION: PVC; SUPPL P/N: BVX19DCV; PVC OUTER SHEATH
	M
	1000
		
	11
	645551
	CABLE, ELECTRICAL: VOLTAGE: 230 V; CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 1.5 MM2; ARMOR: AL/PVC; DESIGN TYPE: INDUSTRIAL; CONDUCTOR INSULATION: PVC/RUBBER
	M
	2500
		
	12
	646486
	CABLE, ELECTRICAL: VOLTAGE: 230 V; CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 1.5 MM2; ARMOR: AL/PVC; DESIGN TYPE: INDUSTRIAL; CONDUCTOR INSULATION:
	M
	2500
		
	13
	641780
	CABLE, ELECTRICAL: VOLTAGE: 3.3 KV; CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 35 X 3 MM2; ARMOR: ARMORED; DESIGN TYPE: UNDERGROUND; SHEATH MATERIAL: PVC; TYPE: XLPE ARMORED; CONDUCTOR: PLAIN CIRCULAR COMPACTED STRANDED; COVERING: EXTRUDED PVC BEDDING; RATING: 3.3 KV; TEMPERATURE RATING: 90 DEG C; LENGTH: 500 M; CONDUCTOR INSULATION: XLPE
	M
	2500
		
	14
	144996
	CABLE, ELECTRICAL: VOLTAGE: 3.3/6.6 KV; CORE QUANTITY: 3; CONDUCTOR MATERIAL: RUBBER; CONDUCTOR SIZE: 25 MM2; ARMOR: NON ARMORED; DESIGN TYPE: TRAILING; TYPE: FLEXIBLE CU SCREENED MINING CABLE; CONDUCTOR: 3 CORE, CU STRANDED; COVERING: RUBBER; LENGTH: 1 KM; APPLICATION: MAIN SHIFTABLE 25 HEAD END TRANSFORMER; CONDUCTOR INSULATION: RUBBER; REFERENCE NO: CRR3KCR; 25 MM X3 CORE RUBBER TRAILING CABLE; TYPE 66 3.8/6.6KV; 3 EARTHS
	M
	20000
		
	15
	217825
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 300 MM2; ARMOR: XLPE; TYPE: ARMORED; CONDUCTOR: 1; RATING: 6.6 KV; CONDUCTOR INSULATION: PVC AWA; HALOGEN FREE W/WHITE STRIPE COVERING
	M
	1500
		
	16
	241594
	CABLE, ELECTRICAL: VOLTAGE: 300-500 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 2.5 MM; ARMOR: PLASTIC/ALUMINIUM; DESIGN TYPE: SURFEX; CONDUCTOR INSULATION: AL/PLASTIC; SUPPL P/N: L31RR0023A; 2+EA WHITE
	M
	3000
		
	17
	144978
	CABLE, ELECTRICAL: VOLTAGE: 3300 V; CORE QUANTITY: 3; CONDUCTOR MATERIAL: CU STRANDED; CONDUCTOR SIZE: 35 MM2; ARMOR: NON ARMORED; DESIGN TYPE: TRAILING; TYPE: HIGH VOLTAGE; CONDUCTOR: 3 CORE, CU STRANDED; COVERING: RUBBER; RATING: 3300 V; LENGTH: 500 M; CONDUCTOR INSULATION: RUBBER; REFERENCE NO: CRR4LCR; CORES INDIVIDUAL INSULATED; TWO ADDITIONAL 10MM PILOT CABLES TO BE INSERTED AS PART OFF CABLE
	M
	3000
		
	18
	145092
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 35 MM2; TYPE: SUPER WELDING; CONDUCTOR: 1 CORE, CU STRANDED; COVERING: PVC NITRILE; RATING: 300 A; CONDUCTOR INSULATION: PVC; COLOUR: GREY
	M
	2000
		
	19
	144973
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 4 MM2; ARMOR: PVC; TYPE: DIRECT BURIAL; CONDUCTOR: 4 CORE, CU; COVERING: PVC; CONDUCTOR INSULATION: PVC; REFERENCE NO: SC20: 5605
	M
	2000
		
	20
	145029
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 4 MM2; TYPE: TRAILING; CONDUCTOR: 4 CORE, CU; COVERING: PVC; CONDUCTOR INSULATION: PVC; CATENARY (FLAT CABLE)
	M
	1000
		
	21
	145282
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 4 MM2; TYPE: TRAILING; CONDUCTOR: 4 CORE, CU MULTISTRAND; COVERING: NEOPRENE; CONDUCTOR INSULATION: NEOPRENE
	M
	2000
		
	22
	719022
	CABLE, ELECTRICAL: VOLTAGE: 450-750 V; CORE QUANTITY: MM2; DESIGN TYPE: TRAILING; STANDARD: HO7RN/F; CONDUCTOR: 95 MM2; COVERING: BLACK RUBBER; RATING: 192 A; LENGTH: 500 M; APPLICATION: POWER CABLE; CONDUCTOR INSULATION: RUBBER; TRAILING 95.00
	M
	1500
		
	23
	636087
	CABLE, ELECTRICAL: VOLTAGE: 6.6 KV; CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 35 MM2; ARMOR: STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; TYPE: LOW HALOGEN; CONDUCTOR: 3 CORE, CU; COVERING: POLYURETHANE; LENGTH: 500 M; APPLICATION: CONVEYORS; CONDUCTOR INSULATION: PVC; SUPPL P/N: DXE03LCM
	M
	1500
		
	24
	241702
	CABLE, ELECTRICAL: VOLTAGE: 600/1000 V; CORE QUANTITY: 4C; CONDUCTOR MATERIAL: CU; CONDUCTOR SIZE: 35 MM2; CONDUCTOR: 4 CORE, CU; RATING: 600/1000 V; CONDUCTOR INSULATION: PVC; REFERENCE NO: BVV04LCM; LH WITH BLUE STRIPE UNARMOURED COVERING
	M
	500
		
	25
	724333
	CABLE, ELECTRICAL: VOLTAGE: 600-1000 V; CORE QUANTITY: 4; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 2.5 MM2; DESIGN TYPE: 4 CORE; TYPE: POWER; COVERING: PVC; RATING: 26 A; LENGTH: 500 M; REFERENCE NO: BVX4DCJ; ARMOURED; STRANDED COPPER; OIL RESISTANT; HALOGEN FREE; LOW SMOKE; FLAME RETARDANT AND STEEL WIRE ARMOURED
	M
	1500
		
	26
	724332
	CABLE, ELECTRICAL: VOLTAGE: 600-1000 V; CORE QUANTITY: 4; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 4 MM2; DESIGN TYPE: 4 CORE; TYPE: POWER CABLE; COVERING: PVC ARMOURED; RATING: 35 A; LENGTH: 500 M; CONDUCTOR INSULATION: PVC; REFERENCE NO: BVX4ECJ; STRANDED COPPER; OIL RESISTANT; HALOGEN FREE; LOW SMOKE; FLAME RETARDANT AND STEEL WIRE ARMOURED; RATED FOR 600/1000 V
	M
	1500
		
	27
	145043
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 70 MM2; CONDUCTOR: 4 CORE, CU STRANDED; COVERING: PVC; RATING: 600-1000 V; CONDUCTOR INSULATION: PVC; SUPPL P/N: BVX4NCV; LV
	M
	1000
		
	28
	145041
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 95 MM2; CONDUCTOR: 4 CORE, CU STRANDED; COVERING: PVC; RATING: 1 KV; CONDUCTOR INSULATION: PVC; SUPPL P/N: BVX4PCV; ARMOURED
	M
	1000
		
	29
	724246
	CABLE AND CONDUIT ASSEMBLY: TYPE: FLEXI CABLE; DIAMETER 2.5MM2: 16 CORE; LENGTH: 500 M; CONNECTION TYPE: NORMAL TERMINATION; MATERIAL: COPPER; COLOR: BLACK; SPECIAL FEATURES: FLAT RIBBON
	M
	500
		
	30
	14530
	WIRE, ELECTRICAL: TYPE: BUILDING; SIZE: 16 MM2; COLOR: BLACK; STRUCTURE: (7) STRAND; MATERIAL: CU; INSULATION: PVC; RATING: 600 V TO 1 KV; 1.72 MM DIA STRANDS, SUPPLIED IN 100 METER ROLLS; SINGLE CORE
	M
	500
		
	31
	749874
	CABLE, ELECTRICAL: VOLTAGE: 3300 VAC; CORE QUANTITY: 1; CONDUCTOR MATERIAL: COPPER STRANDED; CONDUCTOR SIZE: 300 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: PVC; RATING: 3300 VAC; CONDUCTOR INSULATION: PVC; REFERENCE NO: CVX1UCV
	M
	500
		
	32
	750016
	CABLE, ELECTRICAL: VOLTAGE: 3300 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 35 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: PVC; RATING: 3300 VAC; CONDUCTOR INSULATION: PVC; REFERENCE NO: CVX3LCV
	M
	500
		
	33
	750015
	CABLE, ELECTRICAL: VOLTAGE: 3300 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 25 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: PVC; RATING: 3300 VAC; CONDUCTOR INSULATION: PVC; REFERENCE NO: CVX3KCV
	M
	500
		
	34
	750014
	CABLE, ELECTRICAL: VOLTAGE: 3300 VAC; CORE QUANTITY: 4; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 120 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: PVC; RATING: 3300 VAC; CONDUCTOR INSULATION: PVC; REFERENCE NO: CVX4QCV
	M
	500
		
	35
	750013
	CABLE, ELECTRICAL: VOLTAGE: 22000 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 150 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: PVC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: FXE3RCV
	M
	500
		
	36
	750025
	CABLE, ELECTRICAL: VOLTAGE: 6600 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 95 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; RATING: 6600 VAC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: DXE3PCV; DELIVERED IN DRUM
	M
	500
		
	37
	750024
	ABLE, ELECTRICAL: VOLTAGE: 6600 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 150 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; RATING: 1100 VAC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: DXE3RCV; DELIVERERD IN DRUM
	M
	500
		
	38
	750020
	CABLE, ELECTRICAL: VOLTAGE: 6600 VAC; CORE QUANTITY: 1; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 300 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; RATING: 6600 VAC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: DXE1UCV; DELIVERED IN DRUM
	M
	500
		
	39
	750022
	CABLE, ELECTRICAL: VOLTAGE: 1000 VAC; CORE QUANTITY: 1; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 630 MM2; ARMOR: STEEL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; RATING: 1000 VAC; CONDUCTOR INSULATION: PVC; REFERENCE NO: BVX1XCV; DELIVERED IN DRUM
	M
	500
		
	40
	750021
	CABLE, ELECTRICAL: VOLTAGE: 11000 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 150 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; RATING: 11000 VAC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: EXE3RCV; DELIVERED IN DRUM
	M
	500
		
	41
	750023
	CABLE, ELECTRICAL: VOLTAGE: 11000 VAC; CORE QUANTITY: 1; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 300 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; RATING: 11000 VAC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: EXE1UCV; DELIVERED IN DRUM
	M
	500
		
	42
	750019
	CABLE, ELECTRICAL: VOLTAGE: 11000 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 95 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; RATING: 11000 VAC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: EXE3PCV; DELIVERED IN DRUM
	M
	500
		
	43
	750018
	CABLE, ELECTRICAL: VOLTAGE: 22000 VAC; CORE QUANTITY: 1; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 500 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; RATING: 22000 VAC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: FXE1WCV; DELIVERED IN DRUM
	M
	500
		
	44
	400635
	CABLE, ELECTRICAL: VOLTAGE: 1 KV; CORE QUANTITY: 7 C; CONDUCTOR MATERIAL: CU; CONDUCTOR SIZE: 4 MM2; ARMOR: STL WIRE; DESIGN TYPE: STRANDED; COVERING: PVC; RATING: 600-1000 VAC; CONDUCTOR INSULATION: PVC; REFERENCE NO: BVX7ECV
	M
	500
		
	45
	750297
	CABLE, ELECTRICAL; VOLTAGE: 1000 V AC; CONDUCTOR SIZE: 35 MM2; INSULATION: PVC; COVERING: PVC; ARMOR: STL WIRE; CORE QUANTITY: 4; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: PVC; REFERENCE NO: BVX4LCV
	M
	500
		
	46
	750296
	CABLE, ELECTRICAL; VOLTAGE: 1000 V AC; CONDUCTOR SIZE: 2.5 MM2; INSULATION: PVC; COVERING: PVC; ARMOR: STL WIRE; CORE QUANTITY: 7; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: PVC; REFERENCE: BVX7DCV
	M
	500
		
	47
	750258
	CABLE, ELECTRICAL; VOLTAGE: 11000 V AC; CONDUCTOR SIZE: 500 MM2; INSULATION: XLPE; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; ARMOR: STL WIRE; MATERIAL: PVC; CORE QUANTITY: 1; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: PVC; REFERENCE: EXE1WCV
	M
	500
		
	48
	751828
	CABLE, ELECTRICAL: VOLTAGE: 1.8/3 KVAC; CORE QUANTITY: 1 CORE; CONDUCTOR MATERIAL: FLEXIBLE CLASS 5 COPPER; CONDUCTOR SIZE: 185 MM2; DESIGN TYPE: FLEXIBLE RUBBER; SHEATH MATERIAL: POLYCHIOROPRENE; RATING: 1.8/3 KVAC; SPECIFICATION: IEC 60332, SANS 1574; CONDUCTOR INSULATION: ETHYLENE PROPYLENE RUBBER; REFERENCE NO: NSGAFOU
	M
	500
		
	49
	755169
	CABLE, ELECTRICAL; VOLTAGE: 600/1000 V; CONDUCTOR SIZE: 2.5 MM2; INSULATION: PVC; ARMOR: STL WIRE; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: LOW HALOGEN PVC SHEATHED; SPECIFICATIONS: SANS 1411, SANS 1507-3, SANS 1339; SANS 1574, BVX3DCM
	M
	500
		
	50
	755170
	CABLE, ELECTRICAL; VOLTAGE: 600/1000 V; CONDUCTOR SIZE: 4 MM2; INSULATION: PVC; ARMOR: STL WIRE; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: LOW HALOGEN PVC SHEATHED; SPECIFICATIONS: SANS 1411, SANS 1507-3, SANS 1339; SANS 1574, BVX3ECM
	M
	500
		
	51
	755172
	CABLE, ELECTRICAL; VOLTAGE: 600/1000 V; CONDUCTOR SIZE: 6 MM2; INSULATION: PVC; ARMOR: STL WIRE; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: LOW HALOGEN PVC SHEATHED; SPECIFICATIONS: SANS 1411, SANS 1507-3, SANS 1339; SANS 1574, BVX3FCM
	M
	500
		
	52
	755175
	CABLE, ELECTRICAL; VOLTAGE: 600/1000 V; CONDUCTOR SIZE: 10 MM2; INSULATION: PVC; ARMOR: STL WIRE; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: LOW HALOGEN PVC SHEATHED; SPECIFICATIONS: SANS 1411, SANS 1507-3, SANS 1339; SANS 1574, BVX3GCM
	M
	500
		
	53
	755238
	CABLE, ELECTRICAL; VOLTAGE: 600/1000 V; CONDUCTOR SIZE: 16 MM2; INSULATION: PVC; ARMOR: STL WIRE; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: LOW HALOGEN PVC SHEATHED; SPECIFICATIONS: SANS 1411, SANS 1507-3, SANS 1339; SANS 1574, BVX3HCM
	M
	500
		
	54
	756584
	CABLE, ELECTRICAL; VOLTAGE: 600/1000 V; CONDUCTOR SIZE: 50 MM2; INSULATION: PVC; ARMOR: STL WIRE; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: LOW HALOGEN PVC SHEATHED; SPECIFICATIONS: SANS 1411, SANS 1507-3, SANS 1339; SANS 1574, BVX3MCM
	M
	500
		
	55
	755239
	CABLE, ELECTRICAL; VOLTAGE: 600/1000 V; CONDUCTOR SIZE: 25 MM2; INSULATION: PVC; ARMOR: STL WIRE; CORE QUANTITY: 4; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: LOW HALOGEN PVC SHEATHED; SPECIFICATIONS: SANS 1411, SANS 1507-3, SANS 1339; SANS 1574, BVX4KCM
	M
	500
		
	56
	756189
	CABLE, ELECTRICAL: VOLTAGE: 1.9/3.3 KV; CORE QUANTITY: 6; CONDUCTOR MATERIAL: FLEXIBLE TINNED STRANDED COPPER; CONDUCTOR SIZE: 3 X 50 + 16 + 2 X 10 MM2; DESIGN TYPE: TRAILING REELING CABLE; SHEATH MATERIAL: CHLORINATED POLYETHYLENE, POLYCHLOROPRENE RUBBER AND CHLOROSULPHONATED POLYETHYLENE RUBBER; SPECIFICATION: SANS 1520-1; SANS 1411-1; SANS 1411-3; APPLICATION: ASH STACKER REELING CABLE; CONDUCTOR INSULATION: ETHYLENE-PROPYLENE RUBBER; TINNED BRAIDED COPPER WIRED SCREEN
	M
	500
		
	57
	756190
	CABLE, ELECTRICAL: VOLTAGE: 1.9/3.3 KV; CORE QUANTITY: 6; CONDUCTOR MATERIAL: FLEXIBLE TINNED STRANDED COPPER; CONDUCTOR SIZE: 3 X 35 + 16 + 2 X 10 MM2; DESIGN TYPE: TRAILING REELING CABLE; SHEATH MATERIAL: CHLORINATED POLYETHYLENE, POLYCHLOROPRENE RUBBER AND CHLOROSULPHONATED POLYETHYLENE RUBBER; RATING: 1.9/3.3 KV; SPECIFICATION: SANS 1520-1; SANS 1411-1; SANS 1411-3; APPLICATION: ASH SPREADER; CONDUCTOR INSULATION: ETHYLENE-PROPYLENE RUBBER; TINNED
	M
	2000
		

	


Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Purchaser’s Goods Information
	

	C3.2
	Supplier’s Goods Information
(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Purchaser’s Goods Information
Contents

When the document is complete, insert a ‘Table of Contents’.  To do this go to:  Reference, → Table of Contents.  Three levels and the title (but not the subtitle) may be shown if the formats used in this template are retained.   Alternatively just update the table below when the drafting of the Goods Information is complete by clicking on ‘References’ then ‘Update Table’ then ‘Update entire table’
2PART C1:
AGREEMENTS & CONTRACT DATA


3o
Offer


3o


4Acceptance


5o
Schedule of Deviations to be completed by the Purchaser prior to contract award


6o
Part one - Data provided by the Purchaser


6o
Statement


6o
Data


6o
General


6o


7o
2


7o
The Supplier’s main responsibilities


7o
3


7o
Time


7o


7o
4


7o
Testing and defects


7o


8o
5


8o
Payment


8o


8o
6


8o
Compensation events


8o
7


8o
Title


Error! Bookmark not defined.o
There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.


8o
8


8o
Risks, liabilities, indemnities, and insurance


8o


9o
9


9o
Termination and dispute resolution


10o
10


10o
Data for Option clauses


10o


18o
The Supply Requirements for this contract are based on the use of INCOTERMS:


19o
The Supply Requirements for this contract are as follows:


20o
Part two - Data provided by the Supplier


20o
Clause


20o
Statement


20o
Data


21Part 2: Pricing Data


1o
How goods and services are priced and assessed for payment


1o
Function of the Price Schedule


1o
Preparing the price schedule


2o
Format of the price schedule


13Part 3: Scope of Work


15C3.1: Purchaser’s Goods Information


171
Overview and purpose of the goods and services


172
Specification and description of the goods


243
Purchaser’s design


244
Procedure for submission and acceptance of Supplier’s design


245
Other requirements of the Supplier’s design


246
Use of Supplier’s design


247
Manufacture & fabrication


258
Factory acceptance testing (FAT)


259
Other tests and inspections and commissioning in place of use


2510
Operating manuals and maintenance schedules


2511
Supply Requirements


2512
Specification of the services to be provided


2513
Constraints on how the Supplier Provides the Goods


2514
Programming constraints


2515
Work to be done by the Delivery Date


2616
Marking the goods


2617
Constraints at the delivery place and place of use


2618
Cooperating with Others


2619
Services & other things to be provided by the Purchaser or Supplier


2620
Management meetings


2721
Documentation control


2722
Health and safety risk management


2723
Environmental constraints and management


2724
Quality


2825
Invoicing and payment


2826
Insurance provided by the Purchaser


2827
Contract change management


2828
Provision of bonds and guarantees


2829
Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier


2930
Procurement


2931
Subcontracting


2932
Preferred subcontractors


2933
Limitations on subcontracting


2934
Spares and consumables


2935
Other requirements related to procurement


2936
Cataloguing requirements by the Supplier


29


2937
List of drawings


2938
Drawings issued by the Purchaser


xxxiC3.2
Supplier’s Goods Information




1 Overview and purpose of the goods and services

The purpose of this document is to define a User Scope of Work requirement based on which the supply of goods and a service contract will be established between the Purchaser and the Supplier.

Matimba Power Station is expected to operate at EAF > 80% and It is therefore imperative that the successful and suitably qualified Supplier aligns his/ her organisation fully to these Scope of Work.         
2 Specification and description of the goods
All cables must strictly comply to the following standards, as a minimum: 

· 240-56227443 – Generation Requirements for Control and Power Cables for Power Stations     




      Standard.

· All SANS standards mentioned in the 240-56227443 for respective cables.  

· All cables will be stocked as and when required. 

	Supply & Delivery of Electrical Cables

	Item nr
	Material number
	    Material   Description and Texts 


	UOM

	1
	145012
	CABLE, ELECTRICAL: CONDUCTOR MATERIAL: COPPER TINNED; CONDUCTOR SIZE: (35 X 3)/(10 X 3) MM; TYPE: PANZERFLEX TRAILING, STRANDED FLEXIBLE; COVERING: NEOPRENE; RATING: 11 KV; CONDUCTOR INSULATION: CR BLACK NEOPRENE RUBBER; FOR COAL STACKER, 3X(25+2)X10 + 1 X 16, 6/10 KV, VOLT 6/10 KV, 25 + 2 A, 1 X 16, AS EARTH CONDUCTOR, COATED WITH SEMI-CONDUCTIVE COATED RUBBER AND LAID TOGETHER WITH PHASE AND SIGNALLING CONDUCTORS, OUTER SHEARTH, COLOUR: RED
	M

	2
	144974
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 10 MM2; ARMOR: PVC; TYPE: DIRECT BURIAL; CONDUCTOR: 4 CORE, CU; COVERING: PVC; RATING: 500 V TO 1 KV; CONDUCTOR INSULATION: PVC
	M

	3
	145285
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 10 MM2; TYPE: TRAILING; CONDUCTOR: 4 CORE, CU MULTISTRAND; COVERING: RUBBER TOUGH; CONDUCTOR INSULATION: RUBBER VULCANIZED; REFERENCE NO: H07RNF; HO7RNF; NEOPRENE
	M

	4
	630105
	CABLE, ELECTRICAL: VOLTAGE: 1000 VAC; CORE QUANTITY: 1; CONDUCTOR MATERIAL: CU/STL WOVEN; CONDUCTOR SIZE: 95 MM2; ARMOR: STL; DESIGN TYPE: ANTI THEFT; TYPE: LIGHTNING PROTECTION; CONDUCTOR INSULATION: PLASTIC
	M

	5
	14476
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 16 MM2; ARMOR: STL WIRE; CONDUCTOR: 4 CORE, CU STRANDED; COVERING: PVC; RATING: 1 KV; CONDUCTOR INSULATION: PVC; SUPPL P/N: BVX4HCV; REFERENCE NO: BVX4HCV; ARMOURED, PVC OUTER SHEATH, ENDS MUST BE PROTECTED BY PLASTIC CAP TO PREVENT INGRESS OF MOISTURE
	M

	6
	144975
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 16 MM2; TYPE: TRAILING; CONDUCTOR: 4 CORE, CU; COVERING: PVC; CONDUCTOR INSULATION: PVC; REFERENCE NO: BRR4HCN; RUBBER, CORE COLOURE: BLUE, BLACK BROWN, YELLOW/GREEN, ESKOM STANDARD CODE, AE
	M

	7
	145040
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 185 MM2; TYPE: ARMORED; CONDUCTOR: 3 CORE, CU STRANDED; COVERING: PVC; RATING: 3.3 KV; CONDUCTOR INSULATION: PVC; SUPPL P/N: CVX3SCV
	M

	8
	145031
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 2.5 MM2; TYPE: CATENARY FLAT; CONDUCTOR: 8 CORE, CU; COVERING: RUBBER; CONDUCTOR INSULATION: NEOPRENE; SIZE OF CABLE: 35 MM X 7 MM
	M

	9
	144972
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 2.5 MM2; TYPE: CATENARY FLAT; CONDUCTOR: 8 CORE, CU; COVERING: RUBBER; CONDUCTOR INSULATION: NEOPRENE; SIZE OF CABLE: 35 MM X 7 MM
	M

	10
	14484
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 2.5 MM2; ARMOR: STL WIRE; TYPE: DIRECT BURIAL; CONDUCTOR: 19 CORE, CU STRANDED; COVERING: RUBBER; RATING: 1 KV; CONDUCTOR INSULATION: PVC; SUPPL P/N: BVX19DCV; PVC OUTER SHEATH
	M

	11
	645551
	CABLE, ELECTRICAL: VOLTAGE: 230 V; CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 1.5 MM2; ARMOR: AL/PVC; DESIGN TYPE: INDUSTRIAL; CONDUCTOR INSULATION: PVC/RUBBER
	M

	12
	646486
	CABLE, ELECTRICAL: VOLTAGE: 230 V; CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 1.5 MM2; ARMOR: AL/PVC; DESIGN TYPE: INDUSTRIAL; CONDUCTOR INSULATION:
	M

	13
	641780
	CABLE, ELECTRICAL: VOLTAGE: 3.3 KV; CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 35 X 3 MM2; ARMOR: ARMORED; DESIGN TYPE: UNDERGROUND; SHEATH MATERIAL: PVC; TYPE: XLPE ARMORED; CONDUCTOR: PLAIN CIRCULAR COMPACTED STRANDED; COVERING: EXTRUDED PVC BEDDING; RATING: 3.3 KV; TEMPERATURE RATING: 90 DEG C; LENGTH: 500 M; CONDUCTOR INSULATION: XLPE
	M

	14
	144996
	CABLE, ELECTRICAL: VOLTAGE: 3.3/6.6 KV; CORE QUANTITY: 3; CONDUCTOR MATERIAL: RUBBER; CONDUCTOR SIZE: 25 MM2; ARMOR: NON ARMORED; DESIGN TYPE: TRAILING; TYPE: FLEXIBLE CU SCREENED MINING CABLE; CONDUCTOR: 3 CORE, CU STRANDED; COVERING: RUBBER; LENGTH: 1 KM; APPLICATION: MAIN SHIFTABLE 25 HEAD END TRANSFORMER; CONDUCTOR INSULATION: RUBBER; REFERENCE NO: CRR3KCR; 25 MM X3 CORE RUBBER TRAILING CABLE; TYPE 66 3.8/6.6KV; 3 EARTHS
	M

	15
	217825
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 300 MM2; ARMOR: XLPE; TYPE: ARMORED; CONDUCTOR: 1; RATING: 6.6 KV; CONDUCTOR INSULATION: PVC AWA; HALOGEN FREE W/WHITE STRIPE COVERING
	M

	16
	241594
	CABLE, ELECTRICAL: VOLTAGE: 300-500 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 2.5 MM; ARMOR: PLASTIC/ALUMINIUM; DESIGN TYPE: SURFEX; CONDUCTOR INSULATION: AL/PLASTIC; SUPPL P/N: L31RR0023A; 2+EA WHITE
	M

	17
	144978
	CABLE, ELECTRICAL: VOLTAGE: 3300 V; CORE QUANTITY: 3; CONDUCTOR MATERIAL: CU STRANDED; CONDUCTOR SIZE: 35 MM2; ARMOR: NON ARMORED; DESIGN TYPE: TRAILING; TYPE: HIGH VOLTAGE; CONDUCTOR: 3 CORE, CU STRANDED; COVERING: RUBBER; RATING: 3300 V; LENGTH: 500 M; CONDUCTOR INSULATION: RUBBER; REFERENCE NO: CRR4LCR; CORES INDIVIDUAL INSULATED; TWO ADDITIONAL 10MM PILOT CABLES TO BE INSERTED AS PART OFF CABLE
	M

	18
	145092
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 35 MM2; TYPE: SUPER WELDING; CONDUCTOR: 1 CORE, CU STRANDED; COVERING: PVC NITRILE; RATING: 300 A; CONDUCTOR INSULATION: PVC; COLOUR: GREY
	M

	19
	144973
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 4 MM2; ARMOR: PVC; TYPE: DIRECT BURIAL; CONDUCTOR: 4 CORE, CU; COVERING: PVC; CONDUCTOR INSULATION: PVC; REFERENCE NO: SC20: 5605
	M

	20
	145029
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 4 MM2; TYPE: TRAILING; CONDUCTOR: 4 CORE, CU; COVERING: PVC; CONDUCTOR INSULATION: PVC; CATENARY (FLAT CABLE)
	M

	21
	145282
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 4 MM2; TYPE: TRAILING; CONDUCTOR: 4 CORE, CU MULTISTRAND; COVERING: NEOPRENE; CONDUCTOR INSULATION: NEOPRENE
	M

	22
	719022
	CABLE, ELECTRICAL: VOLTAGE: 450-750 V; CORE QUANTITY: MM2; DESIGN TYPE: TRAILING; STANDARD: HO7RN/F; CONDUCTOR: 95 MM2; COVERING: BLACK RUBBER; RATING: 192 A; LENGTH: 500 M; APPLICATION: POWER CABLE; CONDUCTOR INSULATION: RUBBER; TRAILING 95.00
	M

	23
	636087
	CABLE, ELECTRICAL: VOLTAGE: 6.6 KV; CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 35 MM2; ARMOR: STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; TYPE: LOW HALOGEN; CONDUCTOR: 3 CORE, CU; COVERING: POLYURETHANE; LENGTH: 500 M; APPLICATION: CONVEYORS; CONDUCTOR INSULATION: PVC; SUPPL P/N: DXE03LCM
	M

	24
	241702
	CABLE, ELECTRICAL: VOLTAGE: 600/1000 V; CORE QUANTITY: 4C; CONDUCTOR MATERIAL: CU; CONDUCTOR SIZE: 35 MM2; CONDUCTOR: 4 CORE, CU; RATING: 600/1000 V; CONDUCTOR INSULATION: PVC; REFERENCE NO: BVV04LCM; LH WITH BLUE STRIPE UNARMOURED COVERING
	M

	25
	724333
	CABLE, ELECTRICAL: VOLTAGE: 600-1000 V; CORE QUANTITY: 4; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 2.5 MM2; DESIGN TYPE: 4 CORE; TYPE: POWER; COVERING: PVC; RATING: 26 A; LENGTH: 500 M; REFERENCE NO: BVX4DCJ; ARMOURED; STRANDED COPPER; OIL RESISTANT; HALOGEN FREE; LOW SMOKE; FLAME RETARDANT AND STEEL WIRE ARMOURED
	M

	26
	724332
	CABLE, ELECTRICAL: VOLTAGE: 600-1000 V; CORE QUANTITY: 4; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 4 MM2; DESIGN TYPE: 4 CORE; TYPE: POWER CABLE; COVERING: PVC ARMOURED; RATING: 35 A; LENGTH: 500 M; CONDUCTOR INSULATION: PVC; REFERENCE NO: BVX4ECJ; STRANDED COPPER; OIL RESISTANT; HALOGEN FREE; LOW SMOKE; FLAME RETARDANT AND STEEL WIRE ARMOURED; RATED FOR 600/1000 V
	M

	27
	145043
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 70 MM2; CONDUCTOR: 4 CORE, CU STRANDED; COVERING: PVC; RATING: 600-1000 V; CONDUCTOR INSULATION: PVC; SUPPL P/N: BVX4NCV; LV
	M

	28
	145041
	CABLE, ELECTRICAL: CONDUCTOR SIZE: 95 MM2; CONDUCTOR: 4 CORE, CU STRANDED; COVERING: PVC; RATING: 1 KV; CONDUCTOR INSULATION: PVC; SUPPL P/N: BVX4PCV; ARMOURED
	M

	29
	724246
	CABLE AND CONDUIT ASSEMBLY: TYPE: FLEXI CABLE; DIAMETER 2.5MM2: 16 CORE; LENGTH: 500 M; CONNECTION TYPE: NORMAL TERMINATION; MATERIAL: COPPER; COLOR: BLACK; SPECIAL FEATURES: FLAT RIBBON
	M

	30
	14530
	WIRE, ELECTRICAL: TYPE: BUILDING; SIZE: 16 MM2; COLOR: BLACK; STRUCTURE: (7) STRAND; MATERIAL: CU; INSULATION: PVC; RATING: 600 V TO 1 KV; 1.72 MM DIA STRANDS, SUPPLIED IN 100 METER ROLLS; SINGLE CORE
	M

	31
	749874
	CABLE, ELECTRICAL: VOLTAGE: 3300 VAC; CORE QUANTITY: 1; CONDUCTOR MATERIAL: COPPER STRANDED; CONDUCTOR SIZE: 300 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: PVC; RATING: 3300 VAC; CONDUCTOR INSULATION: PVC; REFERENCE NO: CVX1UCV
	M

	32
	750016
	CABLE, ELECTRICAL: VOLTAGE: 3300 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 35 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: PVC; RATING: 3300 VAC; CONDUCTOR INSULATION: PVC; REFERENCE NO: CVX3LCV
	M

	33
	750015
	CABLE, ELECTRICAL: VOLTAGE: 3300 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 25 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: PVC; RATING: 3300 VAC; CONDUCTOR INSULATION: PVC; REFERENCE NO: CVX3KCV
	M

	34
	750014
	CABLE, ELECTRICAL: VOLTAGE: 3300 VAC; CORE QUANTITY: 4; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 120 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: PVC; RATING: 3300 VAC; CONDUCTOR INSULATION: PVC; REFERENCE NO: CVX4QCV
	M

	35
	750013
	CABLE, ELECTRICAL: VOLTAGE: 22000 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 150 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: PVC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: FXE3RCV
	M

	36
	750025
	CABLE, ELECTRICAL: VOLTAGE: 6600 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 95 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; RATING: 6600 VAC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: DXE3PCV; DELIVERED IN DRUM
	M

	37
	750024
	ABLE, ELECTRICAL: VOLTAGE: 6600 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 150 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; RATING: 1100 VAC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: DXE3RCV; DELIVERERD IN DRUM
	M

	38
	750020
	CABLE, ELECTRICAL: VOLTAGE: 6600 VAC; CORE QUANTITY: 1; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 300 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; RATING: 6600 VAC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: DXE1UCV; DELIVERED IN DRUM
	M

	39
	750022
	CABLE, ELECTRICAL: VOLTAGE: 1000 VAC; CORE QUANTITY: 1; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 630 MM2; ARMOR: STEEL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; RATING: 1000 VAC; CONDUCTOR INSULATION: PVC; REFERENCE NO: BVX1XCV; DELIVERED IN DRUM
	M

	40
	750021
	CABLE, ELECTRICAL: VOLTAGE: 11000 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 150 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; RATING: 11000 VAC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: EXE3RCV; DELIVERED IN DRUM
	M

	41
	750023
	CABLE, ELECTRICAL: VOLTAGE: 11000 VAC; CORE QUANTITY: 1; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 300 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; RATING: 11000 VAC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: EXE1UCV; DELIVERED IN DRUM
	M

	42
	750019
	CABLE, ELECTRICAL: VOLTAGE: 11000 VAC; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 95 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; RATING: 11000 VAC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: EXE3PCV; DELIVERED IN DRUM
	M

	43
	750018
	CABLE, ELECTRICAL: VOLTAGE: 22000 VAC; CORE QUANTITY: 1; CONDUCTOR MATERIAL: STRANDED COPPER; CONDUCTOR SIZE: 500 MM2; ARMOR: SINGLE STL WIRE; DESIGN TYPE: INDUSTRIAL; SHEATH MATERIAL: PVC; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; RATING: 22000 VAC; CONDUCTOR INSULATION: XLPE; REFERENCE NO: FXE1WCV; DELIVERED IN DRUM
	M

	44
	400635
	CABLE, ELECTRICAL: VOLTAGE: 1 KV; CORE QUANTITY: 7 C; CONDUCTOR MATERIAL: CU; CONDUCTOR SIZE: 4 MM2; ARMOR: STL WIRE; DESIGN TYPE: STRANDED; COVERING: PVC; RATING: 600-1000 VAC; CONDUCTOR INSULATION: PVC; REFERENCE NO: BVX7ECV
	M

	45
	750297
	CABLE, ELECTRICAL; VOLTAGE: 1000 V AC; CONDUCTOR SIZE: 35 MM2; INSULATION: PVC; COVERING: PVC; ARMOR: STL WIRE; CORE QUANTITY: 4; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: PVC; REFERENCE NO: BVX4LCV
	M

	46
	750296
	CABLE, ELECTRICAL; VOLTAGE: 1000 V AC; CONDUCTOR SIZE: 2.5 MM2; INSULATION: PVC; COVERING: PVC; ARMOR: STL WIRE; CORE QUANTITY: 7; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: PVC; REFERENCE: BVX7DCV
	M

	47
	750258
	CABLE, ELECTRICAL; VOLTAGE: 11000 V AC; CONDUCTOR SIZE: 500 MM2; INSULATION: XLPE; COVERING: INDIVIDUAL COPPER SCREEN TAPE AND SINGLE STL WIRE ARMOR; ARMOR: STL WIRE; MATERIAL: PVC; CORE QUANTITY: 1; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: PVC; REFERENCE: EXE1WCV
	M

	48
	751828
	CABLE, ELECTRICAL: VOLTAGE: 1.8/3 KVAC; CORE QUANTITY: 1 CORE; CONDUCTOR MATERIAL: FLEXIBLE CLASS 5 COPPER; CONDUCTOR SIZE: 185 MM2; DESIGN TYPE: FLEXIBLE RUBBER; SHEATH MATERIAL: POLYCHIOROPRENE; RATING: 1.8/3 KVAC; SPECIFICATION: IEC 60332, SANS 1574; CONDUCTOR INSULATION: ETHYLENE PROPYLENE RUBBER; REFERENCE NO: NSGAFOU
	M

	49
	755169
	CABLE, ELECTRICAL; VOLTAGE: 600/1000 V; CONDUCTOR SIZE: 2.5 MM2; INSULATION: PVC; ARMOR: STL WIRE; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: LOW HALOGEN PVC SHEATHED; SPECIFICATIONS: SANS 1411, SANS 1507-3, SANS 1339; SANS 1574, BVX3DCM
	M

	50
	755170
	CABLE, ELECTRICAL; VOLTAGE: 600/1000 V; CONDUCTOR SIZE: 4 MM2; INSULATION: PVC; ARMOR: STL WIRE; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: LOW HALOGEN PVC SHEATHED; SPECIFICATIONS: SANS 1411, SANS 1507-3, SANS 1339; SANS 1574, BVX3ECM
	M

	51
	755172
	CABLE, ELECTRICAL; VOLTAGE: 600/1000 V; CONDUCTOR SIZE: 6 MM2; INSULATION: PVC; ARMOR: STL WIRE; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: LOW HALOGEN PVC SHEATHED; SPECIFICATIONS: SANS 1411, SANS 1507-3, SANS 1339; SANS 1574, BVX3FCM
	M

	52
	755175
	CABLE, ELECTRICAL; VOLTAGE: 600/1000 V; CONDUCTOR SIZE: 10 MM2; INSULATION: PVC; ARMOR: STL WIRE; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: LOW HALOGEN PVC SHEATHED; SPECIFICATIONS: SANS 1411, SANS 1507-3, SANS 1339; SANS 1574, BVX3GCM
	M

	53
	755238
	CABLE, ELECTRICAL; VOLTAGE: 600/1000 V; CONDUCTOR SIZE: 16 MM2; INSULATION: PVC; ARMOR: STL WIRE; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: LOW HALOGEN PVC SHEATHED; SPECIFICATIONS: SANS 1411, SANS 1507-3, SANS 1339; SANS 1574, BVX3HCM
	M

	54
	756584
	CABLE, ELECTRICAL; VOLTAGE: 600/1000 V; CONDUCTOR SIZE: 50 MM2; INSULATION: PVC; ARMOR: STL WIRE; CORE QUANTITY: 3; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: LOW HALOGEN PVC SHEATHED; SPECIFICATIONS: SANS 1411, SANS 1507-3, SANS 1339; SANS 1574, BVX3MCM
	M

	55
	755239
	CABLE, ELECTRICAL; VOLTAGE: 600/1000 V; CONDUCTOR SIZE: 25 MM2; INSULATION: PVC; ARMOR: STL WIRE; CORE QUANTITY: 4; CONDUCTOR MATERIAL: STRANDED COPPER; SHEATH MATERIAL: LOW HALOGEN PVC SHEATHED; SPECIFICATIONS: SANS 1411, SANS 1507-3, SANS 1339; SANS 1574, BVX4KCM
	M

	56
	756189
	CABLE, ELECTRICAL: VOLTAGE: 1.9/3.3 KV; CORE QUANTITY: 6; CONDUCTOR MATERIAL: FLEXIBLE TINNED STRANDED COPPER; CONDUCTOR SIZE: 3 X 50 + 16 + 2 X 10 MM2; DESIGN TYPE: TRAILING REELING CABLE; SHEATH MATERIAL: CHLORINATED POLYETHYLENE, POLYCHLOROPRENE RUBBER AND CHLOROSULPHONATED POLYETHYLENE RUBBER; SPECIFICATION: SANS 1520-1; SANS 1411-1; SANS 1411-3; APPLICATION: ASH STACKER REELING CABLE; CONDUCTOR INSULATION: ETHYLENE-PROPYLENE RUBBER; TINNED BRAIDED COPPER WIRED SCREEN
	M

	57
	756190
	CABLE, ELECTRICAL: VOLTAGE: 1.9/3.3 KV; CORE QUANTITY: 6; CONDUCTOR MATERIAL: FLEXIBLE TINNED STRANDED COPPER; CONDUCTOR SIZE: 3 X 35 + 16 + 2 X 10 MM2; DESIGN TYPE: TRAILING REELING CABLE; SHEATH MATERIAL: CHLORINATED POLYETHYLENE, POLYCHLOROPRENE RUBBER AND CHLOROSULPHONATED POLYETHYLENE RUBBER; RATING: 1.9/3.3 KV; SPECIFICATION: SANS 1520-1; SANS 1411-1; SANS 1411-3; APPLICATION: ASH SPREADER; CONDUCTOR INSULATION: ETHYLENE-PROPYLENE RUBBER; TINNED
	M


3 Purchaser’s design

Clause 21.1 requires that the Purchaser states which parts of the goods he is to design.  Complete as required or delete.   Be careful not to duplicate what may already be covered in the Purchaser’s operating philosophy / user requirement specification (URS) / performance specification described elsewhere in this Goods Information.

None
4 Procedure for submission and acceptance of Supplier’s design
This is a mandatory requirement of core clause 21.2 and must be addressed. Identify the extent of detail (the particulars) of the Supplier’s design which is to be submitted to the Supply Manager for his acceptance. .  State requirements for drawings to be prepared by the Supplier.
As stipulated n the Scope of Work of this document
5 Other requirements of the Supplier’s design

Use this section to describe any particulars which must be taken into account by the Supplier in his design; for example codification of the goods. 
The goods supplied must be bubbled wrapped during transportation and delivery  to site Matimba Power Station 
6 Use of Supplier’s design
First read core clause 22.1 and then include here the exceptions and other purposes if applicable.  If there are none this section could be deleted leaving the core clause to stand. 

N/A
7 Manufacture & fabrication

Although the Purchaser does not usually prescribe how the goods are to be manufactured and fabricated, if there are any specific requirements they could be stated here. 
As per Original Equipment Manufacturer (OEM)
8 Factory acceptance testing (FAT)

Core Clauses 40 and 41 both make reference to the Goods Information regarding tests and inspections. 

There are often comprehensive requirements for testing at place of manufacture and before delivery. State whether the tests are to be witnessed by the Supply Manager or by a testing agency of the Purchaser’s nomination.  Note, Supplier may not restrict Supply Manager’s right to witness tests per clause 25.2

9 Other tests and inspections and commissioning in place of use

Describe any other tests and inspections that may be required, specifically in the place of use.  If the Supplier is to commission the goods in the place of use after Delivery, describe the process here.  If he is only required to witness and report on the commissioning done by others, this would be included as a service in section 4 below.

10 Operating manuals and maintenance schedules

Use this section to describe these requirements.  Pay particular attention to when and in what form they are required.  Consideration should be given to obtaining operating manuals and maintenance schedules before Delivery of the whole of the goods when there is still financial incentive for the Supplier to do so.  
11 Supply Requirements

Clause 11.2(16) defines Supply Requirements and clause 11.2(8) states that they are part of the Goods Information.  They can either be included here or as an Annexure to the Contract Data provided by the Purchaser because of their commercial nature.  Eskom has chosen to include them in the C1.2a Contract Data, hence include the following text here:

The Supply Requirements for this contract are in an Annexure to the Contract Data provided by the Purchaser. 

12 Specification of the services to be provided

	These services may include training of the Purchaser’s staff in the use of the goods, supervision of installation of the goods on the Purchaser’s property and post Delivery commissioning and monitoring of the goods in use.  Ensure that all items of service specified can be related to an item in the Price Schedule


13 Constraints on how the Supplier Provides the Goods

14 Programming constraints 

Read clause 31.2 first then state what additional information (if any) is to go in the programme per the last bullet of clause 31.2.  Describe any particular constraints on the order and timing of the work which the Supplier must take into account in his programme.

15 Work to be done by the Delivery Date

	Clause 11.2(5) defines Delivery as when the Supplier has done all the work which the Goods Information states he is to do by the Delivery Date.  The defined term “Delivery” is used in this contract to identify when a stage, or amount of work has been achieved.  This may be more than the common meaning of “delivery” and could include the passing of specified tests, provision of documentation and packing and preparation for air freight or shipping to the Purchaser’s nominated Delivery Place specified in the Supply Requirements.  

Either list here what has to be done in order to constitute “Delivery”, or list what may remain undone and be completed after the Delivery Date by stating that everything else must be done before Delivery.


16 Marking the goods 
If this contract requires the goods be paid for before they are brought within the Delivery Place, core clause 71.1 requires that the Goods Information state how the Supplier is to “mark” the goods 
17 Constraints at the delivery place and place of use

State any constraints on how the Supplier is to provide the goods and services both at the delivery place and where the goods and services are to be put into use, e. g. restriction on access, hours of working and sequence of work.  Sites such as Sasol Secunda and Koeberg Nuclear Power Station have very strict entrance requirements which tenderers need to allow for in their prices, and the Supplier has to comply with.  State these or similar requirements here.

18 Cooperating with Others

Although not a direct requirement of the conditions of contract if the Purchaser is aware of the Supplier’s need to co-operate with Others (for example where the supply is to one of the Purchaser’s contractor’s on a project or design of the goods needs to be discussed with Others) details could be given here. 

19 Services & other things to be provided by the Purchaser or Supplier
	Clause 23.2 requires that the Goods Information state what services and other things are to be provided by the Parties, each to the other as part of the supply process.  This has nothing to do with the services identified in the Contract Data.   It would include temporary services and things needed to facilitate the supply, such as cranes provided by the Purchaser for offloading of the goods. 


20 Management meetings

The conditions of contract (e.g. Clause 16.2) require and other sections of the Goods Information (e.g. safety risk management) may require (mandate) that a meeting shall be held.  However the intention of all NEC contracts is that the Parties and their agents use the techniques of partnering to manage the contract by holding meetings designed to pro actively and jointly manage the administration of the contract with the objective of minimising the adverse effects of risks and surprises for both Parties.

Depending on the complexity of the goods, it is probably beneficial for the Supply Manager to hold a regular risk register meeting (Clause 16.2).  This could be used to discuss safety, compensation events, subcontracting, overall co-ordination and other matters of a general nature.  Separate meetings for specialist activities such as programming, engineering and design management, may also be warranted.

Describe here the general meetings and their purpose. Provide particulars of approximate times, days, location, and attendance requirements, stipulating that attendees shall have the necessary delegated authority to make decisions in respect of matters raised at such meetings.

The right to hold specialist meetings should be stated generically and in such a way that ambiguity with other parts of the Goods Information is avoided. 

The following text could be used as a model for this section:
Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Risk register and compensation events
	Weekly on ________ at ___
	
	

	Overall contract progress and feedback
	Monthly on _____ at ___
	
	Purchaser, Supplier, and ___

	
	
	
	

	
	
	
	


Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

21 Documentation control

Specify how documentation will be identified with an alpha numeric which indicates source, recipient, communication number etc.  Provide details of any particular format or other constraints; for example that all contractual communications will be in the form of properly compiled letters or forms attached to e mails and not as a message in the e mail itself.  State any particular routing requirements but note from SC who issues what to whom.

22 Health and safety risk management

In addition to the requirements of the laws governing health and safety, the Purchaser may have some additional requirements particular to the goods and the location where they are to be delivered for this contract.  This is a requirement of clause 25.4.
The Supplier shall comply with the health and safety requirements [stated here or contained in Annexure ___________ to this Goods Information].
23 Environmental constraints and management

Describe or cross refer to environmental constraints applicable to the Supplier’s design of the goods if not already included in the Purchaser’s URS. 

The Supplier shall comply with the environmental criteria and constraints [stated here or contained in Annexure ________ ]

24 Quality

Specify minimum requirements for the Supplier’s Quality Plan and Work Procedures if required and not already covered in the specifications for the goods.  State whether ISO compliance is a condition and if so which ISO standard shall apply. 

25 Invoicing and payment
List the information that is to be shown by the Supplier on his invoices.  State any other requirements relating to payment.   For example:

Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.  
The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

Name and address of the Supplier and the Supply Manager; 

The contract number and title;

Supplier’s VAT registration number;

The Purchaser’s VAT registration number.
Description of goods and services provided for each item invoiced based on the Price Schedule;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

(add other as required)

Add procedures for invoice submission and payment (e. g. electronic payment instructions)
The following Eskom Life Saving Rules applies when entering premises. 

a. Open, isolate, earth, bond or and isolate before touch.

b. Hook up at heights.

c. Buckle up.

d. Be sober.

e. Permit to work.

26 Insurance provided by the Purchaser
First read SC3 Core Clause 84.1 and then add anything necessary for the management of insurance related issues such as a cross reference to where procedures for making claims can be found.  Also provide contact details for persons capable of being able to answer any insurance related queries the Supplier may have, as well as to whom the information required by any Marine Insurance may be addressed.  
27 Contract change management 
This section is intended to deal with any additional requirements to the compensation event clauses in section 6 of the core clauses; such as the use of standard forms.  Not the same thing as documentation control.

28 Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Supplier is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.  

The Purchaser may withhold payment of amounts due to the Supplier until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Supplier by the Supply Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Supplier does not affect the Purchaser’s right to termination stated in this contract. 

29 Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier
Read clause 63.2 and 11.2(4) and then state whether the Supplier is required to keep any records of Defined Cost.  Include any other constraint which may be required in regard to format and filing of the records, and whether access for the Supply Manager shall be provided in hard copy or electronically. 

30 Procurement
31 Subcontracting
32 Preferred subcontractors

SC does not make use of nominated subcontracting, but the Purchaser may list which subcontractors or sub-suppliers the Supplier is required to enter into subcontracts with (if any).  This is usually only required where plant and materials need to be obtained from a particular supplier or group of suppliers in order to comply with operational standards for the goods.

33 Limitations on subcontracting

The Purchaser may require that the Supplier must subcontract certain specialised work, or that the Supplier shall not subcontract more than a specified proportion of the whole of the contract.  

34 Spares and consumables
Some contracts may need to include provision for the supply of a minimum category of spares, fuel, oil or other consumables which the Purchaser may need at or just after delivery or commissioning of the goods and that it is best the Supplier provide these initially as part of his Providing the Goods and Services  
35 Other requirements related to procurement

Other requirements such as ASGISA or socio political enhancements the Supplier is to provide as part of Providing the Goods and Services (if any) could be included here.

36 Cataloguing requirements by the Supplier
State whether cataloguing is applicable, if it is, reference the requirements for cataloguing that need to be satisfied by the Supplier (consult Procurement Instruction Number 1 of 2018 – Incorporating Cataloguing into the Procurement Environment, Unique Identifier 240-1289988974).

37 List of drawings

38 Drawings issued by the Purchaser
This is the list of drawings issued by the Purchaser at or before the Contract Date and which apply to this contract.  

	Drawing number
	Revision
	Title

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


C3.2
Supplier’s Goods Information

	This section of the Goods Information will always be contract specific depending on the nature of the goods and services.

It is most likely to be required for supply contracts where the tendering supplier will have proposed specifications and schedules for the goods and services, which once accepted by the Purchaser prior to award of contract now become obligations of the Supplier per core clause 20.1.




This section could also be compiled as a separate file.



� This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.


� International Chamber of Commerce, Incoterms 2010, Paris, January 2011


� Either April 2013 or December 2009 Edition as stated by Purchaser in Contract Data part 1.


� Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902, or � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 







DOCUMENT C2.1
PAGE 2
PRICING DATA




Part C2: Pricing Data
PAGE 1
C2 SC3 Cover

