eskom holdings soc ltd

Contract number _____________
SUPPLY, DELIVER, TEST, COMMISSION AND PERFORM TRAINING ON MECHANICAL EQUIPMENT ITEMS AT KUSILE POWER STATION




Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	

	C3.1
	Purchaser’s Goods Information
	

	C3.2
	Supplier’s Goods Information
(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Purchaser’s Goods Information
Contents

1Part 3: Scope of Work


2C3.1: Purchaser’s Goods Information


41
Overview and purpose of the goods and services


52
Specification and description of the goods


92.1
Purchaser’s design


92.2
Procedure for submission and acceptance of Supplier’s design


92.3
Other requirements of the Supplier’s design


92.4
Use of Supplier’s design


92.5
Manufacture & fabrication


92.6
Factory acceptance testing (FAT)


102.7
Other tests and inspections and commissioning in place of use


102.8
Operating manuals and maintenance schedules


103
Supply Requirements


114
Specification of the services to be provided


115
Constraints on how the Supplier Provides the Goods


115.1
Programming constraints


125.2
Work to be done by the Delivery Date


125.3
Marking the goods


125.4
Constraints at the delivery place and place of use


125.5
Cooperating with Others


125.6
Services & other things to be provided by the Purchaser or Supplier


135.7
Management meetings


145.8
Documentation control


145.9
Health and safety risk management


145.10
Environmental constraints and management


155.11
Quality


155.12
Invoicing and payment


155.13
Insurance provided by the Purchaser


155.14
Contract change management


155.15
Provision of bonds and guarantees


155.16
Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier


166
Procurement


166.1
Subcontracting


166.1.1
Preferred subSuppliers


166.1.2
Limitations on subcontracting


166.1.3
Spares and consumables


166.1.4
Other requirements related to procurement


166.1.5
Cataloguing requirements


177
List of drawings


177.1
Drawings issued by the Purchaser


18C3.2
Supplier’s Goods Information




1 Overview and purpose of the goods and services
The services include the supply, delivery, offloading, testing, commissioning and performance of

training on supplied mechanical equipment, to perform day-to-day maintenance activities. The following equipment is required.
1. Portable electric compressors (x4)
2. Submersible water pump, 37kW (x3)
3. Mobile diesel lights (x4)  

The Supplier to deliver goods as per provided specification. The provided machinery and equipment shall be complete with their ancillaries and accessories. Supplied equipment shall comply with the Occupational Health and Safety Act requirements, the South African National Standards (SANS) and any other relevant standards or specifications.

The Supplier to provide all tools, equipment and labour required to execute the full scope of works

as detailed herein. All supplied equipment shall comply with the requirements of the Occupational Health and Safety Act (Act 85 of 1993) and any other relevant standards, regulations and specifications.
The Kusile Power Station site is located approximately 37km from Emalahleni in the Mpumalanga Province. Goods shall be delivered to the Kusile Power Station site.
2 Specification and description of the goods
	No.
	Machinery/Equipment Type
	Quantity
	Specification

	1
	Portable electric compressors
	4
	General Information
Application:
Compressor plant Dimensions (LxWxH) (mm):
5240 x 2210 x 2359

Mass (kg):
6850



	No.
	Machinery/Equipment Type
	Quantity
	Specification

	2
	Submersible water pump, 37kW
	3
	Application:
Station sumps and dams

Pump type:
Centrifugal submersible Discharge Pipe Size:

100mm

Stage:
1

Capacity:
169m3/hr

Total head:
28m

NPSHr:
3,5m

Speed:
1475 rpm

Driver:
Electric motor

Mount:
Vertical

Model no.:
HS-5150.300MT

	3
	Mobile diesel lights
	4
	Dimensions
Length:
2420mm

Width:
1360mm

Height:
3050mm

Loading container:
2600mm height

Full extending:
9m Height

Gross weight:
850kg

Genset power:
6kW (1500/1800rpm-kw)

Engine Specifications
Speed:
1500/1800rpm Number of cylinders:

3

Engine characters:
4 cycles, water cooled, diesel Combustion system:
E-TVS

Engine aspiration:
Naturally aspirated Emission level:
Regular

Alternator
Frequency:
50/60Hz

Rating voltage:
220/110V (50 Hz), AC

Alternator:
Class H insulation

Alternator:
IP23 protection grade

Mast & Light
Type of lights:
Regular metal halide

Light fixture:
Oval

Luminous flux:
110 000LM/light Number & power:
4 x 1000W

Of lights

Number of mast:
Electrical (Vertical, 3500lb winch) Sections

Mast rotation:
359 degrees, manual rotation, self Locking

Light tilt:
Manually Trailer
Trailer suspension:
Leaf springs axle without brake and 

                                        axle with brakes

Tow bar:
A-style frame with supporting jack

Stabilizing legs &
 4pcs drawable bar with manual jacks number:

Wheel’s rim size:
14’’sunraysia rim with regular tyres & tyres

Tow adapter:
 2’’ ball coupler or 3’’ pintle ring Di

Tail lights:
 Complex tail lights

1*40HQ:
16

container


2.1 Purchaser’s design
Not Applicable
2.2 Procedure for submission and acceptance of Supplier’s design

Not applicable
2.3 Other requirements of the Supplier’s design
The Supplier to deliver goods as per provided specification. The provided machinery shall be complete with their ancillaries or accessories. Plant machinery shall be SANS compliant and adhere to the Occupational Health and Safety Act requirements and any other relevant standards or specifications. The Supplier to provide all tools, equipment and labour to execute the full scope of Works as detailed herein
2.4 Use of Supplier’s design

As per core clause 22.1 

2.5 Manufacture & fabrication

The Purchaser will not prescribe how the goods are to be manufactured and fabricated.
The Supplier shall provide all labour, equipment, materials, equipment, plant tools and resources required to complete the specified scope of Works.
2.6 Factory acceptance testing (FAT) and Performance Testing
The Contractor shall perform all routine factory tests on provided equipment, as described in SANS standards and any other applicable and relevant standards and specifications. The Contractor to provide test certificates and any other statutory documentation, where applicable, for all delivered items.
The Contractor shall carry out performance tests at their facility on supplied items, to verify and confirm their operating behaviour and performance. The Contractor to confirm the test procedure and acceptance criteria with the Employer, prior testing of equipment. Prior conducting the tests, the Contractor to submit a Quality and Control Plan for review and acceptance by the Employer. A representative of the Employer shall witness the tests. The Contractor shall arrange with the Employer’s representative for witnessing the test activities. The Contractor to submit the applicable test certificates and/or records as well as calibration certificates of equipment and instrumentation used for the test activities.

The Contractor shall supply all labour, materials, plant, and equipment required for the tests. The items to be tested include the following:

•
4 x electric compressors

•
3 x submersible water pumps

•
4 x diesel lights

Cost of Testing
The cost of testing undertaken by the Supplier in terms of his obligations under the contract must be included in the rates tendered for and will not be paid for separately.

The Supplier may not restrict Supply Manager’s right to witness tests.
2.7 Other tests and inspections and commissioning in place of use
The Contractor shall perform all tests that may be required to ensure that the supplied equipment is ready for hand over and use by the Employer. The commissioning and site acceptance tests shall be conducted at the Kusile site. The Contractor shall supply all labour, materials, plant, and equipment for the required tests. Supplied equipment shall be subject to a commissioning run to ensure that the equipment is operating in accordance with their specified conditions. Arrangements for witnessing of tests on site by the Employer, shall only be made after the Contractor has pre-commissioned the equipment and satisfied himself that it is in running order. It is the responsibility of the Contractor to arrange for the witnessing of test activities with the Employer’s representative. On completion of the tests, the Contractor shall supply all test certificates/records as well as any prescribed statutory documents, where applicable, certifying that the equipment is in complete working order.

Where required, the Contractor to provide the initial fill of oil/lubrication/grease and any other consumables for all components, for the commissioning and site test activities.

The Contractor to perform commissioning and/or site acceptance tests on the following equipment items:

•
4 x electric compressors

•
3 x submersible water pumps

•
4 x diesel lights
2.8 Operating manuals and maintenance schedules

The Contractor shall prepare and submit operating and maintenance manuals for all supplied equipment under this contract. The manuals to provide a detailed/complete record of information relating to the proper and safe operation and maintenance of the supplied items. The Contractor to submit the documentation to the Employer for review and acceptance. The Contractor to submit the operating and maintenance manuals prior conducting any testing or commissioning activities. The manuals shall provide comprehensive information on the following but not limited to:

a.
Equipment technical data

b.
Detailed drawings of supplied equipment

c.
Operating philosophy of supplied equipment

d.
Prescribed maintenance schedule or routine maintenance procedures/instructions per Manufacturer requirements at the recommended service intervals

e.
Commissioning procedures

2.9 Preservation and storage instructions and information Supply Requirements
The Supplier shall provide all labour, equipment, materials, equipment, plant tools and resources required to complete the specified scope of Works.
Procedure for Delivery of Goods
Prior delivery of goods, the Contractor to submit material technical data sheets for all supplied items for review and verification.

The Employer’s representatives shall inspect the goods upon arrival on site. The Contractor to allow a period of three (3) days for the completion of inspections from the date of delivery. In the event that supplied goods are rejected after inspection, the Employer shall notify the Contractor of such rejection. The Contractor shall rectify the goods within a period agreed upon between the Employer and the Contractor.

Preservation, Shipping and Transportation
The Contractor shall ensure that all supplied equipment is preserved, shipped, and transported in an appropriate manner. The Contractor to ensure that all storage requirements for supplied equipment is properly implemented to preserve the goods against adverse conditions, deterioration, damages etc.

Structural skids shall be of sufficient strength for transportation and installation. Skids shall also have provisions for winching and/or lifting

Where applicable, the Contractor to submit storage and preservation procedures for the supplied goods.
Corrosion Protection
Corrosion protection systems on supplied equipment shall be in accordance with the manufacturer’s specification and any other applicable standards and specifications.
Warranty
A minimum warranty period of 12 months shall apply for all supplied equipment.
Breakdown Turnaround Time for Equipment Repairs During Warranty Period
The Contractor shall provide written confirmation of the estimated time to attend to equipment breakdown repairs during the warranty period. This shall be submitted to the Employer for acceptance. Should the repair works exceed 48 hours, the Contractor shall supply replacement units of the defective item.
3 Specification of the services to be provided.
	The following services are required together with the supply of the equipment:

1. Supply, assembly, delivery and offloading of all equipment.
2. Supply of all operating and maintenance procedures and technical data sheets.
3. Submit Priced schedule of spare parts that are recommended to be kept by the Employer for the long-term operation and maintenance of the supplied machines

4. Onsite commissioning 

5. Training of Purchaser personnel for use of the equipment.

6. Warranty period

7. All supplied equipment shall comply with the requirements of the Occupational Health and Safety Act (Act 85 of 1993) and any other relevant standards, regulations and specifications.




4 Constraints on how the Supplier Provides the Goods
4.1 Programming constraints 

A programme for delivery to be provided as per Contract data (3 days after contract award).

The Contractor to submit a detailed work schedule for the works after contract award. The schedule shall highlight all scope related activities and their durations. The Contractor shall notify the Employer timeously should there be any changes in the submitted programme. The Contractor shall acquaint themselves with the specified Works and verify all scope necessary to undertake the Works, for proper programming.
4.2 Work to be done by the Delivery Date
	The Supplier provides all the work which the Goods Information states he is to do by the Delivery Date.  


4.3 Marking the goods 

A corrosion resistant nameplate shall be securely attached on each equipment item supplied. The nameplates to bare the following details but not limited to:

a)
Manufacturer’s name

b)
Date of fabrication

c)
Type and Model

d)
Serial Number/Product Identification Number

e)
Date of manufacture

f)
Rated duty

g)
Rated operating speed

h)
Maximum permissible operating speed

i)
Drive motor size etc.
4.4 Constraints at the delivery place and place of use

The Supplier is to communicate delivery 5 days prior to delivery to site in order for the Purchaser to issue details of the delivery site/place at Kusile Power Station.
4.5 Cooperating with Others

The Supplier to cooperate with Others who are identified by the Purchaser only.
4.6 Services & other things to be provided by the Purchaser or Supplier
	The Supplier to provide equipment to offload the equipment at the Purchaser site. 
Special Tools Requirements

The Contractor to identify and submit to the Employer a priced list of all special tools required for the operation and maintenance of the supplied equipment. These shall include the following but not limited to:

•
OEM specific tools/devices

•
Tools required for on-going maintenance of the equipment
Handover

The Contractor shall be responsible for handover of all Works associated with the contract as per this scope of Works. The handover submissions shall include but not limited to the following:

a)
Warranty certificates

b)
Quality Control Plans/Inspection and Test Plans

c)
Technical Data Sheets/Material Certificates

d)
Operating and maintenance manuals

e)
Factory acceptance test certificates/documentation

f)
Spares schedule

g)
Special tools schedule
Training Requirements

The Contractor to provide relevant training on the safe operation and maintenance of all supplied equipment. Training provided by the Contractor shall be directly applicable to the actual equipment supplied per this work instruction. The training shall be provided by way of on-site formal training sessions by the equipment suppliers, who shall certify that the training has been completed satisfactorily. The training shall cover the following:

a)
Operator Training

b)
Maintenance Training

c)
Engineering Training

The Contractor to provide training manuals as part of the training deliverables. All training content shall be submitted to the Employer for review and acceptance, prior administering the training sessions.

The Contractor submits to the Employer for acceptance, a detailed training programme for each training course. Two (2) training events are to be provided by the Contractor, as a minimum, for each training intervention. A minimum of twenty (20) people shall be trained per administered course.



4.7 Management meetings

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Project Kick-off Meeting
	2 days Contract Award
	Kusile Power Station
	Employer, Supplier and Others

	SHEQ Requirements Clarification Meeting
	Project Kick-off Meeting
	Kusile Power Station
	Employer, Supplier and Others

	Delivery Progress Meeting 
	Weekly on Thursdays
	Kusile Power Station/online
	Employer, Supplier and Others

	Risk register and compensation events
	as and when required
	Kusile Power Station
	Employer, Supplier and Others

	Other
	as and when required
	Kusile Power Station
	Employer, Supplier and Others


Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.  
All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

4.8 Documentation control

Documentation Submissions

The Contractor to allow a minimum of 21 days for mailing, processing, and review of data by the Employer. The Contractor is responsible for the compilation and supply of all specified documentation.

The Employer uses Smartplant Owner Operator (SPO) for documents and records management. The Contractor shall submit documentation in electronic and PDF formats. The Contractor shall submit a minimum of 1-off electronic and PDF copies. The electronic documents submissions shall be submitted using a fully secure web-based solution providing carefully controlled access to appropriate project information for authorized personnel. All electronic data and documents shall be in such a form which enables importing of such data, documents, and drawings, seamlessly into the Intergraph SPF (Smart Plant Foundation) system.

The language of all documentation shall be in the English language. The units of measure are metric.

The Contractor shall retain the requested information for the entire life cycle ofthe plant and provide these to the Employer on prior written notice at any time notwithstanding the expiry or termination of the contract.
Drawings

The Contractor shall submit all equipment arrangement drawings for review and acceptance, prior manufacture/fabrication and delivery of items.
The Supplier is to submit the 2 hard copies of all procedures and manual and drawings as well as 1 soft copy of all documents per equipment.
Data Retention
The below listed data, but limited to, shall be kept by the Contractor for at least 10 years. During this period, The Contractor shall make available the data, upon request from the Employer:

a.
All necessary certification of material i.e. mill test reports etc.

b.
Quality control tests, hydrostatic tests, mechanical run tests etc.

c.
Weld procedures and qualifications etc.
4.9 Health and safety risk management
The Supplier shall comply with the health and safety requirements below as well as  contained in Annexure A to this Goods Information.
a)
The Contractor shall comply with the Occupational Health and Safety Act no 85 of 1993 and its regulations as well as Eskom’s SHE policy, procedures, standards, guidelines, specifications, and site regulations.

b)
The Contractor shall submit a project specific safety file to the Employer for acceptance, prior to the start of the works

c)
Risk assessments shall be conducted prior to undertaking Works to identify any hazards and risks associated with the Works

d)
Personnel undertaking Works shall be equipped with the necessary safety /protective equipment
4.10 Environmental constraints and management
This is applicable to the Contractor and his Subcontractors

•
The Contractor and his subcontractors shall comply with all applicable environmental laws and regulations, guidelines, and procedures during the execution of the Works.

The Supplier shall comply with the environmental criteria and constraints contained in Annexure A to this Goods Information.
4.11 Quality

This is applicable to the Contractor and his Subcontractors:

The Contractor shall ensure that a Quality Management System (QMS) is setup and fully maintained during the entire duration of the contract. The Contractor shall comply with the latest ISO 9001 standard, Supplier Quality Management Specification [4] and any other applicable or related quality management standard/s and/or specification/s – this shall mean the latest applicable revision of the standard/s or specification/s.

The Contractor shall ensure that Quality Assurance is performed at all stages/phases of work carried out for the Employer.
The Contractor shall ensure that Quality Control is performed at all stages/phases of the Works i.e. manufacturing, fabrication, testing, certification etc. The Contractor shall develop and implement processes and procedures that efficiently and effectively monitor, verify, and document the quality of the scope of work that is carried out.
The Supplier shall comply with the quality criteria and constraints contained in Annexure A to this Goods Information.
4.12 Invoicing and payment
Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.  

The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

•
Name and address of the Supplier and the Supply Manager; 

•
The contract number and title;

•
Supplier’s VAT registration number;

•
The Purchaser’s VAT registration number.

•
Description of goods and services provided for each item invoiced based on the Price Schedule;

•
Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

•
The invoice is to be submitted to invoiceseskomlocal@eskom.co.za once confirmed with the payment certificate.
4.13 Insurance provided by the Purchaser.
As stated in the Contract Data
4.14 Contract change management. 
All changes to the Contract, such as Supplier management changes or Compensation events shall be communicated through standard NEC SC 3 forms.
4.15 Provision of bonds and guarantees

Not applicable
4.16 Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier
The Supplier is required to keep any records of Defined Cost.  
5 Procurement
5.1 Subcontracting
5.1.1 Preferred Suppliers

Not applicable 
5.1.2 Limitations on subcontracting

Not applicable
5.1.3 Spares and consumables.
Spares requirements

The Contractor to submit a priced schedule or list of spare parts, which are recommended to be kept by the Employer for the long-term operation and maintenance of all supplied goods. This shall detail the full particulars of the items as well as serial numbers pertaining to the supplied equipment. The Contractor to also submit the accompanying Technical Data Sheets or Material Certificates of the listed spares.
Special Tools Requirements

The Contractor to identify and submit to the Employer a priced list of all special tools required for the operation and maintenance of the supplied equipment. These shall include the following but not limited to:

•
OEM specific tools/devices

•
Tools required for on-going maintenance of the equipment
5.1.4 Other requirements related to procurement
Other requirements such as ASGISA or socio political enhancements the Supplier is to provide as part of Providing the Goods and Services (if any) could be included here.
5.1.5 Cataloguing requirements by the Supplier
The Supplier is to provide technical specification for cataloguing of components identified in the operating and maintenance manuals. The Purchaser will issue the forms required to be completed to the Supplier on the date of the Kick-off meeting.
6 List of drawings

6.1 Drawings issued by the Purchaser
This is the list of drawings issued by the Purchaser at or before the Contract Date and which apply to this contract.  
	Drawing number
	Revision
	Title

	Not applicable
	
	

	
	
	

	
	
	

	
	
	

	
	
	


C3.2
Supplier’s Goods Information

	This section of the Goods Information will always be contract specific depending on the nature of the goods and services.
It is most likely to be required for supply contracts where the tendering supplier will have proposed specifications and schedules for the goods and services, which once accepted by the Purchaser prior to award of contract now become obligations of the Supplier per core clause 20.1.



This section could also be compiled as a separate file.


�
�
�
�
�
�
�
�
Discharge Outlet:	80mm Evertite 3ˈˈMale Spud with Gasket





Sound Pressure Level (7m)dB(A):	98





Electric Motor


Power (kW):	300/400


Voltage (v):	400


Frequency:	50


Startup Amps (A):	1200


Running Amps @ 7-10 bar (A):	500-560


Circuit Breaker (A):	630





Cabling:	2 x 120mm2





Performance:�
�
�
�
�
Performance�
Capacity (FAD)�
�
�
�
�
�
�
cfm�
m3/min�
l/s�
�
�
�
�
�
Pressure up to


6,9 bar (g)�
1613�
45,7�
762�
�
�
�
�
�
Pressure up to


9,3 bar (g)�
1522�
43,1�
718�
�
�
�
�
�
Pressure up to 10,3 bar (g)�
1320�
37,4�
632�
�
�
�
�
�



Other Features


Auto Start:	Hot Air Outlet





Spillage Free Frame:	Emergency Stop Switch Forklift Slots &


Lifting Eye





Class Zero certified :	Integrated Aftercooler +Water Separator (oil-free according to ISO8573-1)





Mobile Dryer





Air Compressor Output:	1613 CFM (45,7m3/min) Dew point temperature:		-20°C�
�











Part C3: Scope of Work
1
C3 sc3 Cover page

