INXUBA YETHEMBA

UMASIPALA WASEKHAYA / PLAASLIKE MUNISIPALITEIT /

LOCAL MUNICIPALITY

P O Box 24                                                                                                                      P O Box 55

CRADOCK                                                                                                                       MIDDELBURG

5880                                                                                                                                5900

TEL : +27(0)48 801 5000                                                                                              TEL : +27(0)49 842 1337

FAX : +27(0)48 881 1421                                                                                             FAX : +27(0)49 842 1310

“A coherent developmental municipality putting people first and providing a better life for all its citizens”

REQUEST FOR QUOTATION

| To: | ALL PROSPECTIVE SERVICE PROVIDERS |
| --- | --- |
| Project Name: | SUPPLY AND DELIVERY OF ELECTRICAL MATERIAL |
| Requestor: | INXUBA YETHEMBA MUNICIPALITY |
| QUOTATION NO. | IYM02/05/2022Q |
| NOTICE NO. | 45/2022 |
| Advert Date: | 30 May 2022 |
| Closing Date: | 6 June 2022 |

SPECIFICATION

SPECIFICATION AND PRICING SCHEDULE Pricing Schedule: No.; Description of Goods; Quantity; Unit Price; Total Price. 1.; Cable, 600/1000V, Airdac, 10mm², SNE with communication wire; 1. 2.; Ready Board c/w, 1 x 63amp E/L & MCB’s, 3 x 4x2 16amp replaceable socket outlets, 1 x Bulkhead, 1 x Light Switch; 10. 3.; Enclosure, 4 Way, Pole Mount / Surface Mount, Glass Reinforced Polyester, Sprayed with UV coating, 20 year life, Horizontal Hinged Lid, Stainless Steel Hinges, Door Stay, Triangle Key Lock & Pad Lockable, IP 55, 1 x Din rail 300mm long, 72mm from Enclosure Top to Din Centre, 1 x Din Rail 170mm long, Raised 25mm, 242mm from Enclosure Top to Din Centre, Neutral Bar 8 way, Earth Bar 8 way, N/E Bar to be Linked, N/E Bar 47mm from Bottom of Enclosure, 4 x 63A 1Ph 6kA Orange Handle Din QF-1 18 D Hydraulic Magnetic MCB, 1 x Busbar between 2 x MCB, 10 x No 1 PVC Gland UV Stable, 3 x 16mm Sq PVC GP Red Tails Wired for MCB, 1 x 16mm Sq Black Tail Wired to Neutral Bar, 1 x 16mm Sq Green Tail Wired to Earth Bar, Tails to be 1,7m long from bottom of enclosure; 25. 4.; Tubing Heatshrink 12.7mm OD Black PVC Shrink Ratio 2:1 ≥15kV/mm; 1. 5.; Tubing Heatshrink 12.7mm OD Blue PVC Shrink Ratio 2:1 ≥15kV/mm; 1. 6.; Tubing Heatshrink 12.7mm OD Red PVC Shrink Ratio 2:1 ≥15kV/mm; 1. 7.; Tubing Heatshrink 12.7mm OD Yellow PVC Shrink Ratio 2:1 ≥15kV/mm; 1. 8.; Ferrule, Bi-metal 25 – 95 Shear Off, BSM-25/95, E300033 or equivalent; 50. 9.; MCB, 1PH, 63A, 6kA, Hydraulic Magnetic, Din, Orange Handle, QF-1 18-D, or equivalent; 30. 10.; Stainless Steel Strap 12mm x 0,75mm Thick; 10. 11.; CT, Metering, Class 1, 500/5amp, 15VA, ID 40mm; 9. 12.; CT, Metering, Class 1, 400/5amp, 15VA, ID 40mm; 6. 13.; Fuse link, Expulsion, K Type, 20amp; 50. 14.; Fuse link, Expulsion, K Type, 3amp; 100. 15.; Fuse link, Expulsion, K Type, 6amp; 100. 16.; Fuse link, Expulsion, K Type, 10amp; 50. 17.; Fuse link, Expulsion, K Type, 15amp; 100. 18.; Fuse link, Expulsion, K Type, 40amp; 100. 19.; Tape, PVC Insulating, Minimum breakdown voltage 10kV, Size 0.2mm x 19mm x 20m RED – 10 BLACK – 20 YELLOW/WHITE – 10 BLUE - 10; 50. Sub-total. Vat @ 15%. TOTAL. Evaluation criteria The quotes will be evaluated using the 80/20 preferential point system. Payment for Services Payment will be issued with 30 days after goods have delivered. All relevant information must accompany all quotations submitted. No late or incomplete quotation will be accepted for consideration. The municipality reserves the right not to accept the lowest or any quotation and no reason for the acceptance or rejection of a quotation will be furnished. General - The Inxuba Yethemba Municipality Supply Chain Management policy shall apply - All prices will be evaluated inclusive of VAT, except where a non-VAT vendor has submitted a responsive bid. In this case, all bids prices will be evaluated exclusive of VAT. - Certified copies of identity documents of directors. - Quotations must be signed or annexed with a company stamp. - Bidders to supply municipal utility bill or lease agreement reflecting status of accounts. - Bidders to include the following municipal declarations with the quotations: MBD 4 and MBD 9. - Quotations to be valid for 60 days from the closing date. - IYM reserves the right to award the quotation in full or part thereof. - CSD report must be submitted - SARS Pin or Tax compliance certificate Note: Failure to attach the B-BBEE Status Level Certificate will result in the bidder losing the preference points. Formal written price quotations should be submitted in a sealed envelope, clearly marked “QUOTATION NO: 02/05/2022Q (SUPPPLY AND DELIVERY OF ELECTRICAL MATERIAL)”, which must be placed in the bid box, located at the Registry Office in the IYM offices No. 1 JA Calata Street, Cradock, 5880, before 6 June 2022 at 3pm on the closing date. No email submissions will be allowed. For technical enquiries with regard to the Request for Quotation, please contact the Project Manager, Mr. F Joubert on 083 778 8914 or francois@iym.gov.zap All suppliers are required to register on the Central Supplier Database (CSD), as well as submit a Declaration of Interest form (available from the Supply Chain Office). Information on the CSD is available on the CSD website: www.csd.gov.za. Should you have any SCM related enquiries please contact the Supply Chain Management Unit; - Silulami Mbilane (048) 801 5059 or email silulami@iym.gov.za CLSOING DATE: 6 JUNE 2022 AT 3PM