Mini-rhizotron(Root imager) Specification

- Quotes are required for both the CI-600 and CI-602 root imager, although only 1 will be acquired. Comparable apparatus from other manufacturers will be considered if their specifications match the CID instruments.

- Full system required, including:

- Root scanner

- Root tubes

- Tablet for data collection and analysis

- Software for analysis

- Storage case

- Quotes for the instrument to be accompanied by a quote for unit price for spare root tubes. These may be locally manufactured rather than OEM supplied if compatible with the scanner size.

All quotes to be accompanied by a brochure with full specifications of the make and model quoted on.