eskom holdings soc ltd

Contract number _____________
The supply and delivery of various V-Belts at Grootvlei power station for as an when required for a period of 5 years.




Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Purchaser’s Goods Information
	

	C3.2
	Supplier’s Goods Information
(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Purchaser’s Goods Information
Table of Contents

1Part 3: Scope of Work


2C3.1: Purchaser’s Goods Information


41
Overview and purpose of the goods and services


42
Specification and description of the goods


62.1
Procedure for submission and acceptance of Supplier’s design


63
Supply Requirements


64
Constraints on how the Supplier Provides the Goods


64.1
Programming constraints


64.2
Work to be done by the Delivery Date


64.3
Marking the goods


64.4
Constraints at the delivery place and place of use


64.5
Services & other things to be provided by the Purchaser or Supplier


64.6
Management meetings


74.7
Documentation control


74.8
Health and safety risk management


84.9
Environmental constraints and management


84.10
Quality


84.11
Invoicing and payment


94.12
Insurance provided by the Purchaser


94.13
Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier


95
Procurement


95.1
Subcontracting


95.1.1
Preferred subcontractors




1 Overview and purpose of the goods and services
The supply and delivery of various V-Belts at Grootvlei power station for as an when required for a period of 5 years. They are used on various pumps to transmits force from one driving component to the driven component. Brand FENNER is required on these V-Belts.
2 Specification and description of the goods
Detailed specifications of the goods are as follows:
	Material
	Detailed description
	Unit of Measure

	0028500
	BELT, V: TOP WIDTH: 13 MM; THICKNESS: 10 MM; SUPPL P/N: 13NSPA1700; 1700MM PITCH CIRCUMFERENCE, PLEASE ENSURE THEY ARE ALL OF THE SAME LOT NUMBER
	EA

	0028644
	BELT, V: PROFILE: 22N; SPC; REFERENCE NUMBER: 6700X20; SUPPL P/N: 6700X20; IN MATCHED SETS OF EIGHT(8); FOR SLURRY ASH PUMPS TYPE 250X200/25MG
	EA

	0028714
	BELT, V: TOP WIDTH: 12.5 MM; THICKNESS: 13 MM; REFERENCE NUMBER: A37 8264; PITCH CIRCUMFERENCE: 985 MM; REFERENCE NO: 30518381
	EA

	0028719
	BELT, V: TYPE: DRIVE; INSIDE CIRCUMFERENCE: 270 MM; OUTSIDE CIRCUMFERENCE: 290 MM; TOP WIDTH: 13 MM; MATERIAL: RUBBER; THICKNESS: 8 MM; PROFILE: 13; REFERENCE NUMBER: 13X920; PITCH CIRCUMFERENCE: 920 MM; REFERENCE NO: A35; SUPPL P/N: 13 X 920
	EA

	0028723
	BELT, V: TOP WIDTH: 10 MM; THICKNESS: 8 MM; SUPPL P/N: 10NSPZ1270; PITCH 1270MM CIRCUMFERENCE
	EA

	0028724
	BELT, V: TOP WIDTH: 10 MM; THICKNESS: 8 MM; SUPPL P/N: 10NSPZ1520; PITCH 1520MM CIRCUMFERENCE
	EA

	0028725
	BELT, V: TOP WIDTH: 10 MM; THICKNESS: 8 MM; SUPPL P/N: 10NSPZ2030; PITCH 2030MM CIRCUMFERENCE
	EA

	0028726
	BELT, V: TOP WIDTH: 16 MM; THICKNESS: 13 MM; SUPPL P/N: 16NSPB1800; PITCH 1800MM CIRCUMFERENCE
	EA

	0028755
	BELT, V: TOP WIDTH: 13 MM; THICKNESS: 8 MM; SUPPL P/N: VB13X8X1860; 1860MM PITCH CIRCUMFERENCE
	EA

	0028765
	BELT, V: TOP WIDTH: 22 MM; THICKNESS: 14 MM; 5010MM PITCH CIRCUMFERENCE
	EA

	0028766
	BELT, V: TOP WIDTH: 22 MM; PROFILE: 22; REFERENCE NUMBER: 22X3710; PITCH CIRCUMFERENCE: 3710 MM; SUPPL P/N: 22X3710
	EA

	0028776
	BELT, V: OUTSIDE CIRCUMFERENCE: 1670 MM; THICKNESS: 17 MM; REFERENCE NUMBER: B64
	EA

	0028777
	BELT, V: TOP WIDTH: 17 MM; PROFILE: 17; REFERENCE NUMBER: 17X1570; PITCH CIRCUMFERENCE: 1570 MM; SUPPL P/N: 17X1570
	EA

	0028780
	BELT, V: TOP WIDTH: 17 MM; PROFILE: 17; SPECIFICATION: BS 4; REFERENCE NUMBER: 17X1410; PITCH CIRCUMFERENCE: 1410 MM; SUPPL P/N:17X1410
	EA

	0028784
	BELT, V: TOP WIDTH: 22 MM; PROFILE: 22; REFERENCE NUMBER: 22X1630; PITCH CIRCUMFERENCE: 1630 MM; SUPPL P/N: 22X1630
	EA

	0028786
	BELT, V: TOP WIDTH: 16 MM; PROFILE: 16N; SPB; PITCH CIRCUMFERENCE: 4310 MM; REFERENCE NO: NO5V1700; SUPPL P/N: 16X4310
	EA

	0028787
	BELT, V: TOP WIDTH: 13 MM; PROFILE: 13; REFERENCE NUMBER: 13X1990; PITCH CIRCUMFERENCE: 1990 MM; SUPPL P/N: 13X1990
	EA

	0028813
	BELT, V: TOP WIDTH: 17 MM; PROFILE: 17; REFERENCE NUMBER: 17X2530; PITCH CIRCUMFERENCE: 2530 MM; MANUF P/N: 17X2530
	EA

	0028849
	BELT, V: TOP WIDTH: 10 MM; PROFILE: 10N/SPZ; PITCH CIRCUMFERENCE: 630 MM; SUPPL P/N: 10X630
	EA

	0028991
	BELT, V: TYPE: FAN; INSIDE CIRCUMFERENCE: 2.5 M; OUTSIDE CIRCUMFERENCE: 2.5 M; TOP WIDTH: 22 MM; MATERIAL: RUBBER; PROFILE: 22N;SPC; REFERENCE NUMBER: 22NX2500; MANUF P/N: 22NX2500; MATCHED SET OF 6
	EA

	0029034
	BELT, V: TOP WIDTH: 16 MM; PROFILE: 116N/SPB; PITCH CIRCUMFERENCE: 5680 MM; SUPPL P/N: 116NX5680; MATCH SETS OF FOUR EACH; SINGLE
	EA

	0029035
	BELT, V: TOP WIDTH: 17 MM; PITCH CIRCUMFERENCE: 7610 MM; SUPPL P/N: 17X7610
	EA

	0029036
	BELT, V: MANUF P/N: VB20 B1800
	EA

	0227252
	BELT, V: TYPE: DRIVE; INSIDE CIRCUMFERENCE: 2.9 M; OUTSIDE CIRCUMFERENCE: 2.92 M; TOP WIDTH: 21 MM; MATERIAL: RUBBER; THICKNESS:19.93 MM; SUPPL P/N: SPC 9000; FOR USE ON ASH CRUSHERS; 5 X BELTS PER SET TO BE MATCHED; PITCH 9000 MM CIRCUMFERENCE; HEAT AND OIL RESISTANCE
	EA

	0227253
	BELT, V: TOP WIDTH: 21 MM; SUPPL P/N: SPC 6700; FOR USE ON ASH PUMPS, 8 X BELTS PER SET TO BE MATCHED; PITCH 6700MM CIRCUMFERENCE
	EA

	0251911
	BELT, V: TYPE: ASH PUMPS 2/3 WEDGE; INSIDE CIRCUMFERENCE: 6.705 M; OUTSIDE CIRCUMFERENCE: 6.795 M; TOP WIDTH: 22 MM; THICKNESS: 14 MM; PROFILE: C264; INSIDE DIAMETER: 6.761 M; REFERENCE NO: VB22X 6760X14, UNK; SUPPL P/N: C264 PIX
	EA

	0254947
	BELT, V: TYPE: WEDGE; INSIDE CIRCUMFERENCE: 9.3 M; OUTSIDE CIRCUMFERENCE: 9.5 M; TOP WIDTH: 22 MM; MATERIAL: RUBBER; SUPPL P/N:SPC9500
	EA

	0255962
	BELT, V: TYPE: WEDGE; OUTSIDE CIRCUMFERENCE: 6860 MM; TOP WIDTH: 22 MM; MATERIAL: RUBBER; THICKNESS: 14 MM; REFERENCE NO:VB22X6860; SUPPL P/N: C270; REQUIRED FOR USE ON ASH PUMPS 2 AND 3; PIX
	EA

	0569738
	BELT, TOOTHED: TYPE: SYNCHRONOUS; WIDTH: 33 MM; LENGTH: 900 MM; MATERIAL: RUBBER; TEETH: 95; PITCH: 10 MM; FOR USE WITH GEARMOTOR
	EA

	0606069
	BELT, TOOTHED: TYPE: TIMING; WIDTH: 20 MM; LENGTH: 3.2 M; MATERIAL: RUBBER; TEETH: 400; PITCH: 8 MM; SPECIFICATION: HITD 3200-8M-20; THICKNESS: 2 MM; FOR USE ON LIFT EQUIPMENT FOR TRANSMISSIONOF LIFT DOORS
	EA

	0606070
	BELT, TOOTHED: TYPE: TIMING; WIDTH: 20 MM; LENGTH: 1.6 M; MATERIAL: RUBBER; TEETH: 200; PITCH: 8 MM; SPECIFICATION: HITD 1600-8M-20; THICKNESS: 2 MM; FOR USE ON LIFT EQUIPMENT FOR TRANSMISSION OF LIFT DOORS
	EA

	0606097
	BELT, TOOTHED: TYPE: TIMING; WIDTH: 20 MM; LENGTH: 1.2 M; MATERIAL: RUBBER; TEETH: 150; PITCH: 8 MM; SPECIFICATION: HITD 1200-8M-20; THICKNESS: 2 MM; FOR USE ON LIFT EQUIPMENT(ON LIFTS) FOR TRANSMISSION OF LIFT DOORS
	EA


2.1 Procedure for submission and acceptance of Supplier’s design

Supplier should adhere to the specified goods information during sourcing of the goods to ensure compliance during quality inspections or checks after delivery has been made.
3 Supply Requirements

The Supply Requirements for this contract are in an Annexure A to the Contract Data provided by the Purchaser. 
4 Constraints on how the Supplier Provides the Goods
4.1 Programming constraints 

The contract is as and when required, the supplier to adhere to the conditions stipulated on the contract data.
4.2 Work to be done by the Delivery Date
Goods are to be delivered at the delivery place, in good condition and as per their detailed specifications.

4.3 Marking the goods 
All goods will be paid once they are delivered at the delivery place as well as after goods inspection or checks is completed.
4.4 Constraints at the delivery place and place of use
Supplier to arrange with the Purchaser prior to delivery of goods, for security access to be arranged. No deliveries will be allowed during weekends and public holidays. Deliveries should be made to the delivery place, during the following times:

Monday – Thursday             :         08H00 - 16H00
Friday                                   :         08H00 - 11H30

4.5 Services & other things to be provided by the Purchaser or Supplier
Both parties will assist during offloading and where material handling equipment such as forklift, overhead crane is required the purchaser will provide for the purpose of offloading the goods.

4.6 Management meetings
Quarterly meetings to be held once the contract is up and running to discuss the progress and anticipated next delivery. The meeting to be attended by the Supply Manager or his/her representative, Service Provider representative and the End User. The meeting will be held at Grootvlei Power Station.

The following text could be used as a model for this section:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Kick off meeting
	Once off after contract placement
	Grootvlei Power Station
	Purchaser and Supplier

	Quarterly contract meeting
	3 monthly
	Grootvlei Power Station
	 Purchaser and Supplier


Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.  
All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

4.7 Documentation control
All communication will be in the form of meeting minutes as well as emails and both parties must have contract file to ensure the details of the contract are stored accordingly.
4.8 Health and safety risk management
The Supplier shall always comply with OHS Act 95 of 1993 or ISO 45001, Eskom’s SHE rules and requirements. The Supplier must identify, assess and manage Safety, Health and Environmental risks related to the scope of work. The methodology used for the risk assessment must be provided together with the BRA.
The Contractor shall adhere to all OHS Legal requirements, OHS corporate policies, standards and procedures to which Eskom subscribes and as indicated on the issued SHE specification.

The Contractor shall, when coming on site (Grootvlei Power Station), abide by the Lifesaving Rules.  These will be provided by the Employer on the start of the contract. 

 

The Contractor shall also abide by the Grootvlei High risk Safety, Health and Environmental Specifications 240-73418055, which will also be provided by the Employer.  

The Contractor shall, when coming on site (Grootvlei Power Station), make use of approved personal protective clothing such as overalls, safety shoes, safety hat, safety goggles, dust mask and gloves when necessary.

The Employer follows an Incident management procedure (32-95) that includes the investigation of all accidents involving personnel and property.  This is done with the intention of introducing control measures to prevent a recurrence of the same incidents.  The Contractor is expected to fully co-operate to achieve this objective.  The Contractor will report any incident and accidents to Grootvlei Power Station within 24 hours or before end of shift .  This report does not relieve the Consultant of his legal obligation to report certain incidents to the Department of Labour, or to keep records in terms of the Occupational Health and Safety Act, and Compensation for Occupational Injuries and Diseases Act.

The Contractor implements a safety plan and maintains the safety system until the completion of the whole of the works.  The plan, will as a minimum, contain PPE information, written safe work procedures, job specific risk assessments, safety meetings, etc.  The plan will be to the Employer’s satisfaction and will be accepted prior to the commencement of any work.

The Contractor will be subject to periodic audits by the Employer to ensure compliance with the plan.  Any deviations will be corrected to the Employer’s satisfaction.

The Service Manager has the right to stop the Contractor's work activities which, in the opinion of Service Manager, is un-safe.  The Contractor may only continue with work activities when all safety deficiencies have been corrected to the Service Manager’s satisfaction.  The Contractor shall have no claim against the Employer in respect of delay due to the above.

The Contractor shall comply with the health and safety requirements contained in the contract tender package

The Contractor shall comply with the health and safety requirements contained in the contract tender package

4.9 Environmental constraints and management
The contractor and or supplier shall have a documented and implemented environmental management system e.g. environmental policy, operational procedures relating to their activities, aspects/impacts register etc.;
The contractor shall comply with all Eskom Grootvlei Power Station environmental requirements such as policies, standards and procedures (work instructions). Non-conformance, incident reporting and investigations shall be done by the contractor. Polluter pays principles shall apply to all Contractors. It is the responsibility of the polluter to clean all spillages and for the rehabilitation of the polluted land and the cost associated with that.

Eskom Grootvlei Power Station shall issue non-conformances where there are deviations from Grootvlei Power Station Procedures and any other environmental requirements. Adherence to the ‘Duty of Care’ as stipulated in section 28 of the National Environmental Management Act 107 of 2008.

All incidents shall be managed according to Eskom Environmental incident management procedure-240-133087117;. Station Waste management procedure and colour coding shall be adhered to at all times.
4.10 Quality

The Contractor shall implement a quality system and maintains the quality system until the completion of the whole of the Works.  The system, will as a minimum, comply with the provisions of the ISO9001 and the Eskom Supplier Contract Quality Requirements Specification (240-105658000).The system will be to the Employer’s satisfaction and will be accepted prior to the commencement of any work as per services.
The Contractor will be subject to periodic audits by the Employer in order to ensure compliance with the system. Any deviations will be corrected to the Employer’s satisfaction.

The Supply Manager has the right to stop the Contractor's work activities which, in the opinion of Supply Manager, does not meet the requirements of the system and will have a detrimental effect on plant performance. 

4.11 Invoicing and payment

Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.  
The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

· Name and address of the Supplier and the Supply Manager; 

· The contract number and title;

· Supplier’s VAT registration number;

· The Purchaser’s VAT registration number.
· Description of goods and services provided for each item invoiced based on the Price Schedule;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

· (add other as required)

4.12 Insurance provided by the Purchaser
No additional insurance apart from the stated in the contract data
4.13 Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier
Assessments signed by all parties and notification of compensation events should be kept by the Supplier as well as the Purchaser for future reference, should there be any.

5 Procurement
5.1 Subcontracting
5.1.1 Preferred subcontractors

Tenderers shall subcontract a minimum of 5% of the contract value to the following designated groups: 

• an EME or QSE which is 51% owned by black people living in rural or underdeveloped area or townships. 

NOTE 1: Tenderers shall submit the following mandatory returnable for Subcontracting: 

• Letter of intent to subcontract 5% from Main contractor. 

Potential scope to be subcontracted and/or outsourced 

• Transportation 

Tenderers are required to submit their proposals in the table below

	Local Procurement Content
	Eskom target
	Tenderer Proposal

	
	100%
	




Part C3: Scope of Work
1
C3 sc3 Cover page

