NTCSA SOC ltd

Contract No. _________

contract title: Supply, deliver, and offload requested quantities of various light bulbs and light fittings to NTCSA Central Grid, HV Plant as per specifications on an “as and when required” basis for a period of 24 months


	


NEC3 Supply Contract (SC3)
	Between


	NTCSA SOC Ltd 

(Reg No. 2021/539129/30)

	and


	[Insert at award stage]

(Reg No. ___________ )

	for


	Supply, deliver, and offload requested quantities of various light bulbs and light fittings to NTCSA Central Grid, HV Plant as per specifications on an “as and when required” basis for a period of 24 months
Insert title of the goods and services

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	[●]

	Part C2
	Pricing Data
	[●]

	Part C3
	Scope of Work
	[●]

	
	
	

	CONTRACT No.
	

	
	

	
	

	
	


C1.1 Form of Offer & Acceptance

Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Supply, deliver, and offload requested quantities of various light bulbs and light fittings to NTCSA Central Grid, HV Plant as per specifications on an “as and when required” basis for a period of 24 months

The tenderer, identified in the Offer signature block, has

	either
	examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender.

	or
	examined the draft contract as listed in the Acceptance section and agreed to provide this Offer.


By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

	
	The offered total of the Prices exclusive of VAT is 
	R [●]

	
	Value Added Tax @ 15% is
	R [●]

	
	The offered total of the amount due inclusive of VAT is

	R [●]

	
	(in words) [●]



This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).  

	Signature(s)


	
	
	

	Name(s)
	Dumi Nthongoa


	
	

	Capacity


	Senior Manager: Central Grid
	
	

	for the Purchaser


	NTCSA SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	[●]
	[●]

	2
	[●]
	[●]

	3
	[●]
	[●]

	4
	[●]
	[●]

	5
	[●]
	[●]

	6
	[●]
	[●]

	7
	[●]
	[●]

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Purchaser



	Signature


	
	
	

	Name
	
	
	Dumi Nthongoa



	Capacity


	
	
	Senior Manager: Central Grid

	On behalf of
	(Insert name and address of organisation)


	
	NTCSA SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199

	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 SC3 Contract Data

Part one - Data provided by the Purchaser
Completion of this data in full, according to the Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for Options 
	

	
	
	X1:

Price adjustment for inflation

	
	
	X2

Changes in the law

	
	
	X4:

Parent company guarantee

	
	
	X7:

Delay damages

	
	
	X17:
Low performance damages

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Supply Contract (April 2013) 

	(If the December 2009 edition is to be used delete April 2013 and replace by December 2013)

	10.1
	The Purchaser is (name):
	NTCSA SOC Ltd (reg no: 2021/539129/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	
	Tel No.
	[●]

	
	Fax No.
	[●]

	10.1
	The Supply Manager is (name): 
	TBC

	
	Address
	TBC

	
	Tel
	TBC

	
	Fax
	TBC

	
	e-mail
	TBC

	11.2(13)
	The goods are 
	Light bulbs and light fittings



	11.2(13)
	The services are 
	SUPPLY, DELIVER, AND OFFLOAD REQUESTED QUANTITIES OF VARIOUS LIGHT BULBS AND LIGHT FITTINGS TO NTCSA CENTRAL GRID, HV PLANT AS PER SPECIFICATIONS ON AN “AS AND WHEN REQUIRED” BASIS FOR A PERIOD OF 24 MONTHS

	11.2(14)
	The following matters will be included in the Risk Register
	· The supplier must ensure alignment with the prices agreed
· The scope must be executed as it is without deviations.
· The service provider is responsible for ensuring that all personnel are competent and trained to carry out the supply, delivery and offloading of the fragile goods (i.e. lamps).
· Delivery response times must align with contractual agreement
· Supplier shall ensure safe handling of the luminaires throughout the supply, delivery, and offloading activities. Supplier must attend the SHE induction when the contract is awarded.
· Supplier to ensure that their processes comply with environmental regulations relating to handling of lamps. Supplier will be inducted on Environmental Standard for the proposed requirements
· Supplier shall comply with the relevant quality related requirements and specifications as stated within the PR Form specifications, technical evaluation, and NEC Contract.  Supplier will be inducted on Eskom Quality Standard for the proposed requests



	11.2(15)
	The Goods Information is in 
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	11.2(15)
	The Supply Requirements as part of the Goods Information is in 
	Annexure A to this Contract Data

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	2 weeks

	2
	The Supplier’s main responsibilities
	Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data.

	3
	Time
	

	30.1
	The starting date is.
	TBC

	30.1
	The delivery date of the goods and services is:
	goods and services 
	delivery date

	
	
	1
	As stipulated in each purchase order
	[●]

	30.2
	The Supplier does not bring the goods to the Delivery Place more than one week before the Delivery Date.
	[no data required]

	31.1
	The Supplier is to submit a first programme for acceptance within 
	2 weeks of the Contract Date.

	32.2
	The Supplier submits revised programmes at intervals no longer than 
	2 weeks.

	4
	Testing and defects
	

	42
	The defects date is 
	Twenty-four (24) months from the date of delivery to Eskom upon which the defect was identified

	43.2
	The defect correction period is 
	Four (4) working weeks from the date of the identification

	42.2
	The defects access period is  
	Twenty-one (21) working days

	5
	Payment
	

	50.1
	The assessment interval is 
	between the 25th day of each successive month.

	51.1
	The currency of this contract is the 
	South African Rand

	51.2
	The period within which payments are made is
	4 weeks.

	51.4
	The interest rate is 


	0%

	6
	Compensation events
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	7
	Title
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	8
	Risks, liabilities, indemnities and insurance
	

	80.1
	These are additional Purchaser’s risks  
	1. None

	88.1
	The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to
	R0.0 (zero Rand)

	88.2
	For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to
	(1) for the Purchaser’s existing and surrounding property in the care, custody and control of the Supplier the amount of the deductible (first amount payable) relevant to the event 
and

(2) for all other existing Purchaser’s property the  applicable deductible as at contract date 


	88.3
	The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to:
	The total purchase order values for the defective item.

	88.4
	The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to
	The total purchase order values

	88.5
	The end of liability date is 
	2 years after Delivery of the whole of the goods and services.

	9
	Termination and dispute resolution
	

	94.1
	The Adjudicator is 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	
	Address
	Gauteng, South Africa

	
	Tel No.
	TBC

	
	Fax No.
	TBC

	
	e-mail
	TBC

	94.2(3)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za)

	94.4(2)
	The tribunal is: 
	arbitration

	94.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	94.4(5)
	The place where arbitration is to be held is
	South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	10
	Data for Option clauses
	

	X1
	Price adjustment for inflation
	

	X1.1
	The base date for indices is 
	[●].

	
	The proportions used to calculate the Price Adjustment Factor are:
	proportion
	linked to index for
	Index prepared by

	
	
	0.
	[●]
	[●]

	
	
	0.
	[●]
	[●]

	
	
	0.
	[●]
	[●]

	
	
	0.
	[●]
	[●]

	
	
	0.
	[●]
	[●]

	
	
	[●]
	non-adjustable
	

	
	
	1.00


	
	

	X2
	Changes in the law
	

	X2.1
	A change in the law of 


	Is a compensation event if it occurs after the Contract Date

	X7
	Delay damages
	

	X7.1
	Delay damages for Delivery are
	Delivery of
	amount per day

	
	
	Damage Amount

Delivery Delays

3 Days
More than 3 days

5% of the
	2.5% of the task order value
5% of the task order

	
	
	
	

	
	
	
	

	
	
	
	

	X17
	Low performance damages
	

	X17.1
	The amounts for low performance damages are:
	amount
	performance level

	
	
	R [●]
	for [●]

	
	
	R [●]
	for [●]

	
	
	R [●]
	for [●]

	
	
	R [●]
	for [●]

	Z
	The additional conditions of contract are
	Z1 to Z15 always apply for NTCSA

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser.

	Z1.2
	Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract.

	Z2.2
	Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf.

	Z2.3
	The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change.

	Z3.2
	The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager.

	Z3.3
	Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services.

	Z3.4
	Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time).  Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager.

	Z4.3
	In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager.  All rights in and to all such images vests exclusively in the Purchaser.  

	Z4.5
	The Supplier ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 25.4

	Z6.1
	The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. 

Without limitation the Supplier:

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and

· undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4710303126 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”.

	
	

	Z9
	Purchaser’s limitation of liability

	Z9.1
	The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited.

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Addition to secondary Option X7 Delay damages (if applicable in this contract)

	Z11.1
	If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table.

	
	

	Z12
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z12.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z12.2
	The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason.

	Z12.3
	If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z12.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation.


Z13
Insurance
Z __13.1
Replace core clause 84 with the following:
	Insurance cover
	84
	

	
	84.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. 

	
	84.2
	The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued.

	
	
	


	INSURANCE TABLE A

	Insurance against

Minimum amount of cover or minimum limit of indemnity

Loss of or damage to the goods, plant and materials

The replacement cost where not covered by the Purchaser’s insurance.

The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.
Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract

Loss of or damage to property

Purchaser’s property

The replacement cost where not covered by the Purchaser’s insurance.

The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.
Other property

The replacement cost
Death of or bodily injury

The amount required by the applicable law.

Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract

The amount required by the applicable law 




Z _13.2

Replace core clause 87 with the following:
	Insurance by the Purchaser
	
	87
	

	
	
	87.1
	The Purchaser provides the insurances stated in the Insurance Table B

	
	
	
	INSURANCE TABLE B

Insurance against or name of policy
Minimum amount of cover or minimum limit of indemnity

Assets All Risk

Per the insurance policy document

Contract Works insurance

Per the insurance policy document

Environmental Liability

Per the insurance policy document
General and Public Liability

Per the insurance policy document
Transportation (Marine)

Per the insurance policy document
Motor Fleet and Mobile Plant

Per the insurance policy document
Terrorism

Per the insurance policy document
Cyber Liability

Per the insurance policy document

Nuclear Material Damage and Business Interruption
Per the insurance policy document
Nuclear Material Damage Terrorism
Per the insurance policy document


	Z14
	Nuclear Liability

	Z14.1
	The Purchaser is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS.

	Z14.2
	The Purchaser is solely responsible for and indemnifies the Supplier or any other person against any and all liabilities which the Supplier or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Supplier or any other person or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser.

	Z14.3
	Subject to clause Z14.4 below, the Purchaser waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Supplier or any other person, or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser.

	Z14.4
	The Purchaser does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter.

	Z14.5
	The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned.

	
	

	Z15
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means occupational exposure limit.

	Parallel Measurements
	means measurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means  airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Purchaser’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z15.1
	The Purchaser ensures that the Ambient Air in the area where the Supplier will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z15.2
	Upon written request by the Supplier, the Purchaser certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Supplier may perform Parallel Measurements and related control measures at the Supplier’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z15.3
	The Purchaser manages asbestos and ACM according to the Standard.

	Z15.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe.

	Z15.5
	The Supplier’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z15.6
	The Supplier continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations.

	Z15.7
	Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Purchaser at the Purchaser’s expense, and conducted in line with South African legislation.


Annexure A:
Supply Requirements
[Notes: The example given in the NEC3 Supply Contract Guidance Notes pages 15 to 20 inclusive is based on Incoterms 2000.   However users will probably wish to use Incoterms 2010 which the details below are based on.    Users may need to adjust the information to comply with actual requirements. First decide whether Incoterms will be used or not, then delete the arrangement below which does not apply and delete these notes]

The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2010
 as follows:

[Select the group and then term within the group which applies and state the applicable delivery place.  Delete all the other groups and this note]
	Group
	Category
	Term
	Delivery Place

	E
	departure
	EXW
	

	F
	main carriage unpaid
	FCA, FAS, FOB
	

	C
	main carriage paid
	CFR, CIF, CPT, CIP
	

	D
	arrival
	DAT, DAP, DDP
	


The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.  

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

	A
	The Supplier’s obligations
	B
	The Purchaser’s obligations

	A1
	Provision of goods in conformity with contract
	B1
	Payment of the price

	A2
	Licences, authorisations and formalities
	B2
	Licences, authorisations and formalities

	A3 
	Contracts of carriage and insurance
	B3
	Contracts of carriage and insurance

	A4
	Delivery
	B4
	Taking delivery

	A5
	Transfer of risks
	B5
	Transfer of risks

	A6 
	Division of costs
	B6
	Division of costs

	A7
	Notice to the buyer 
	B7
	Notice to the seller

	A8
	Proof of delivery, transport document or equivalent electronic message
	B8
	Proof of delivery, transport document or equivalent electronic message

	A9
	Checking - packing - marking
	B9
	Inspection of goods

	A10
	Other obligations
	B10
	Other obligations


[Should there be a need to amplify any of the published obligations listed above for the chosen INCOTERM, add them here.]

All other information NOT pertinent to the above is given in the balance of the Goods Information
The Supply Requirements for this contract are as follows:

  [Revise and complete as required]
	1. The requirements for the supply are
	SUPPLY, DELIVER, AND OFFLOAD REQUESTED QUANTITIES OF VARIOUS LIGHT BULBS AND LIGHT FITTINGS TO NTCSA CENTRAL GRID, HV PLANT AS PER SPECIFICATIONS ON AN “AS AND WHEN REQUIRED” BASIS FOR A PERIOD OF 24 MONTHS

	2. The requirements for transport are 
	The supplier is to deliver the goods to Eskom Simmerpan, Germiston, Gauteng

	3. The delivery place is
	Eskom, Simmerpan, Germiston, Gauteng

	4. Actions of the Parties during supply
	Action
	Party which does it

	
	Giving notice of Delivery
	Both parties

	
	Checking packing and marking before dispatch
	Supplier

	
	Contracting for transport
	Supplier

	
	Pay costs of transport
	Supplier

	
	Arrange access to delivery place
	Both parties

	
	Loading the goods
	Supplier

	
	Unloading the goods
	Supplier

	5. Information to be provided by the Supplier 
	Title of document

	
	Packing lists for cases and their contents

	
	Copy of invoice for the goods

	
	Delivery Note

	
	Test results and maintenance manuals


All other information NOT pertinent to the above is given in the balance of the Goods Information
C1.2 Contract Data

Part two - Data provided by the Supplier
Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	10.1
	The Supplier is (Name):
	     

	
	Address
	     

	
	Tel No.
	     

	
	Fax No.
	     

	11.2(8)
	The Goods Information for the Supplier’s design is in:
	     

	11.2(11)
	The tendered total of the Prices is
	R     , 

      (in words)

	11.2(12)
	The price schedule is in:
	

	11.2(14)
	The following matters will be included in the Risk Register
	     

	25.2
	The restrictions to access for the Supply Manager and Others to work being done for this contract are
	     

	30.1
	The delivery date of the goods and services is:
	goods and services 
	delivery date

	
	
	1
	[●]
	[●]

	
	
	2
	[●]
	[●]

	
	
	3
	[●]
	[●]

	31.1
	The programme identified in the Contract Data is contained in:
	     

	63.2
	The percentage for overheads and profit added to the Defined Cost is
	     %


Part 2: Pricing Data

NEC3 Supply Contract
	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions
	2


	C2.2
	The price schedule 
	[●]


C2.1 Pricing assumptions

How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

	Identified and defined terms
	11

11.2
	(11) The Prices are the amounts stated in the price column of the Price Schedule.  Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate.



	
	
	(12) The Price Schedule is the price schedule unless later changed in accordance with this contract.



	Assessing the amount due
	50.2
	The amount due is

· the Price for each lump sum item in the Price Schedule which the Supplier has completed, 
· where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate,

· plus other amounts to be paid to the Supplier,

· less amounts to be paid by or retained from the Supplier.
Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due.




This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.  

Preparing the price schedule
Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has 

· Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;
· Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

· Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices; 
· Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;
· Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.
Format of the price schedule
Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier. 

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule
	Item nr
	Description
	Unit
	Quantity
	Rate
	Price

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


	The total of the Prices
	


Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Purchaser’s Goods Information
	

	C3.2
	Supplier’s Goods Information
(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Purchaser’s Goods Information
Contents

When the document is complete, insert a ‘Table of Contents’.  To do this go to:  Reference, → Table of Contents.  Three levels and the title (but not the subtitle) may be shown if the formats used in this template are retained.   Alternatively just update the table below when the drafting of the Goods Information is complete by clicking on ‘References’ then ‘Update Table’ then ‘Update entire table’
1Part 3: Scope of Work


2C3.1: Purchaser’s Goods Information


41
Overview and purpose of the goods and services


42
Specification and description of the goods


42.1
Purchaser’s design


42.2
Procedure for submission and acceptance of Supplier’s design


42.3
Other requirements of the Supplier’s design


52.4
Use of Supplier’s design


52.5
Manufacture & fabrication


52.6
Factory acceptance testing (FAT)


52.7
Other tests and inspections and commissioning in place of use


52.8
Operating manuals and maintenance schedules


53
Supply Requirements


64
Specification of the services to be provided


65
Constraints on how the Supplier Provides the Goods


65.1
Programming constraints


65.2
Work to be done by the Delivery Date


65.3
Marking the goods


65.4
Constraints at the delivery place and place of use


65.5
Cooperating with Others


75.6
Services & other things to be provided by the Purchaser or Supplier


75.7
Management meetings


75.8
Documentation control


85.9
Health and safety risk management


85.10
Environmental constraints and management


85.11
Quality


85.12
Invoicing and payment


85.13
Insurance provided by the Purchaser


95.14
Contract change management


95.15
Provision of bonds and guarantees


95.16
Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier


96
Procurement


96.1
Subcontracting


96.1.1
Preferred subcontractors


96.1.2
Limitations on subcontracting


96.1.3
Spares and consumables


106.1.4
Other requirements related to procurement


106.1.5
Cataloguing requirements


107
List of drawings


107.1
Drawings issued by the Purchaser


11C3.2
Supplier’s Goods Information




Overview and purpose of the goods and services
NTCSA Central Grid substations are equipped with various types of light fittings in different areas. These lights provide adequate illumination to ensure sufficient level of visibility in line with OHS Act. No. 85 of 1993 workplace regulations. Maintenance of these lights is critical to the safe and compliant operation of the organisation, due to the large number of substations and therefore lights, there are frequent light bulbs or light fitting components failures experienced within the Grid. Replacement of bulbs and light fittings requires adequate supply of spares. It has become difficult to meet the OHS Act requirements in some areas due to lack of replacement spares to timeously resolve defective lights. Inadequate lighting due to defective luminaires not only compromise personnel safety, it also increases substation security risk of equipment theft and compromised security of supply in relation to vandalism.
Specification and description of the goods
Battery Rooms Lights
· Type 1 Fitting - Light fitting:

· Type: NLED 5ft (1500mm), 230V AC, 350mA, 50Hz

· Power factor >0,9

· 67W

· Rated lifetime: 50 000 Hr.

· Flame Proof, Zone 1 - Zone 2 (Gas) & Zone 21 - Zone 22 (Dust)

· >/= IP66

· Luminous Flux: 6365lm

· SABS 314 & IEC 60079 compliant

· Type 2 Fitting – Emergency Light fitting:

· Type: NLED 5ft (1500mm), 230V AC, 350mA, 50Hz

· Power factor >0,9

· 67W

· Rated lifetime: 50 000 Hr.

· Flame Proof, Zone 1 - Zone 2 (Gas) & Zone 21 - Zone 22 (Dust)

· >/= IP66

· Luminous Flux: 6365lm

· Factory converted to emergency mod

· SABS 314 & IEC 60079 compliant

· Type 3 Fitting - 230V 50Hz AC Lamps:

· 100W T1 E27 Elliptical Incandescent Lamp

· 60W T2 E27 Elliptical Incandescent Lamp.

· Type 3 Fitting - 24V DC Lamps:

· 100W T1 E27 Incandescent Lamp

· 60W T2 E27 Incandescent Lamp

Control and Carrier Rooms Lights

· Type 1 Fitting - Light fitting:

· Type: 230V AC, 50Hz

· 40W G13 Lamp base, T8 & T12 compatible
· IEC 60598 compliant

· Type 1 Fitting - 230V 50Hz AC Lamps:

· 40W T12 G13 Fluorescent Lamp

· 36W T8 G13 Fluorescent Lamp

GIS Lights

· Type 1 Fitting - Light fitting:

· Type: 230V AC, 50Hz

· 400W HPS, E40 base

· Fully equipped with Control Gear

· IEC 60598 compliant

· Type 1 Fitting - 230V 50Hz AC Lamps:

· 400W E40 HPS Elliptical Lamp

· Type 2 Fitting (Old) - 230V 50Hz AC Lamps:

· 500W E40 MV Elliptical Lamp

Substation Flood Lights

· Type 1 Fitting - Light fitting:

· Type: 230V AC, 50Hz

· 400W HPS, E40 base

· Fully equipped with switchgear & mounting bracket

· >/= IP55

· IEC 60598 compliant

· Type 1 Fitting - 230V 50Hz AC Lamps:

· 400W E40 HPS Tubular Lamp

Substation Perimeter Lights

· Type 1 Fitting - Light fitting:

· Type: 230V AC, 50Hz

· 70W HPS, G29 Lamp base

· >/= IP55

· IEC 60598 compliant

· Type 1 Fitting - 230V 50Hz AC Lamps:

· 70W G29 HPS Tubular Lamp

· Type 2 Fitting - Light fitting (LED):

· Type: 230V AC, 50Hz

· 60W LED

· >/= IP66

· IEC 60598 compliant
Emergency Lights

· Type 1 Fitting - Light fitting:

· Type: 230V AC, 50Hz

· 70W HPS, E40 Lamp base

· IEC 60598 compliant

· Type 1 Fitting - 230V 50Hz AC Lamps:

· 70W HPS E40 Elliptical Lamp

Purchaser’s design
Not applicable
Procedure for submission and acceptance of Supplier’s design

Not applicable 
Other requirements of the Supplier’s design
Not applicable
Use of Supplier’s design
Not applicable
Manufacture & fabrication

Not applicable
Factory acceptance testing (FAT)

Not applicable
Other tests and inspections and commissioning in place of use

Not applicable 
Operating manuals and maintenance schedules

Not applicable 
Supply Requirements

Refer to Technical Specification

The Supply Requirements for this contract are in an Annexures A, B and C to the Contract Data provided by the Purchaser.
Specification of the services to be provided

	These services may include training of the Purchaser’s staff in the use of the goods, supervision of installation of the goods on the Purchaser’s property and post Delivery commissioning and monitoring of the goods in use.  Ensure that all items of service specified can be related to an item in the Price Schedule


Constraints on how the Supplier Provides the Goods

Programming constraints 

The contract is as and when required. The supplier is to adhere to the conditions stipulated on the contract data.
Work to be done by the Delivery Date

Supply, deliver and offloading of various light bulbs and light fittings 

Marking the goods 
If this contract requires the goods be paid for before they are brought within the Delivery Place, core clause 71.1 requires that the Goods Information state how the Supplier is to “mark” the goods 
Constraints at the delivery place and place of use

To notify and verify with NTCSA Central grid as to when delivery will take place. The Purchaser will arrange and confirm an agreed date, time and place for delivery. Goods to be delivered between 07:15 and 15:30 Monday to Thursday, as well as Friday between 07:15 and 12:00. No delivery will be accepted during weekends as well as holidays.
Cooperating with Others

Not applicable 
Services & other things to be provided by the Purchaser or Supplier
Not applicable 
Management meetings

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

	Title and purpose 
	Approximate time & interval 
	Location 
	Attendance by: 

	Risk register and compensation events Risk reduction meeting 
	As and when required 
	MS Team or Purchaser’s location 
	Purchaser’s representatives, Supplier’s representatives 

	Overall contract progress and feedback 
	As and when required 
	MS Team or Purchaser’s location 
	Purchaser’s representatives, Supplier’s representatives 

	SHEQ 
	As and when required 
	MS Team or Purchaser’s location 
	Purchaser’s representatives, Supplier’s representatives 


Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

Documentation control

The use of standard SC3 forms, letters, templates must be used when issuing official communication. 

All contractual Documentation must have relevant contract number and Purchase Order Number as reference as per National Transmission Company of South Africa Standards. Contractual communications will be in the form of properly compiled letters, letters attached to emails, emails, NEC3 template and urgent Supplier meetings can be in the form of SMS. The use of SMS’s, emails does not override the use of applicable and relevant NEC3 standard templates, forms, and National Transmission company of South Africa procedures.
Health and safety risk management

The Supplier shall comply with the health and safety requirements to this Goods Information.

•
The Supplier complies with the SHE specification for the NTCSA Central Grid.

•
The Supplier implements a Safety Management Plan (SMP) that complies with the Health and Safety specifications and further uses the OHS Act as a guideline, subject to the Supply Manager’s acceptance.

The Supplier as an Employer in his own right has duty of care and obligation to ensure that he provides a safe working environment in line to his employees.

No work on site will be allowed to commence before all the access permits and the relevant health and safety files are in place – according to the Eskom standard SHE Requirements 32-726 and 32-727: (Occupational Health and Safety Requirements to be met by National Transmission Company South Africa Employees, Suppliers and Sub-Suppliers during maintenance and construction work.) 

The Supplier is to compile the complete Safety File according to Annexure 1 – Audit form in the Eskom Standard SHE Requirements 32-726 and 32-727 Document and submit to NTCSA Services Risk and Safety Department.  PLEASE NOTE that only once approval for the Safety File has been granted by NTCSA Services Risk and Safety Department will arrangements for an Inaugural Meeting will be made to start Construction work on Site.
Environmental constraints and management

The Supplier shall comply with the environmental criteria and constraints Annexure.

•
General:

o
The Supplier complies with the SHE Specification for NTCSA Central Grid.

o
In case of uncertainty or discrepancies between various standards and specifications, the Supplier shall consult with the Supply Manager for clarity.

The Supplier shall control his activities and processes in accordance with National Transmission Company South Africa Environmental Policies, TST41-120 Rev2 and National Transmission Company South Africa SHE Requirements 32-726 The EMP will provide the Aspects and Impacts that will require management and must be followed strictly. The Supplier shall prepare a separate mitigation plan for all environmental concerns raised through the EMP and in any other relevant forum.
Quality

The Supplier shall comply with the Quality criteria and constraints stated in the Employer’s specification QM58, ISO 9001 and Works Information.

•

The Supplier complies with the Employer’s specification QM58.

•

The Supplier’s Quality Management System conforms to International Standard ISO 9001. 

•

The Supplier submits his Quality Management System documents to the Supply Manager for acceptance as part of the programme to include details of the:

o
Quality Plan for the Works;

o
Quality policy;

o
Index of procedures to be used; 

o
Document register; and,

o
Schedule of internal and external audits for the Works.

•

The Supplier submits in detail his proposed test and inspection plan to the Supervisor for acceptance before manufacturing and installation start. The Supplier’s test and inspection plan includes detailed trenching records, witness points and hold points for critical activities. 

•

Tolerances are covered in the specifications.

•

The Supplier develops and maintains a comprehensive register of documents that are generated on the contract including all quality related documents. The Supply Manager indicates those documents to be submitted for information, review or acceptance and the Supplier indicates such requirements within his register of documents. The register indicates the dates of issue of the documents with the Supply Manager responding to documents submitted by the Supplier for review or acceptance within the period for reply (except where stated otherwise) prior to such documents being used by the Supplier.

•

The Quality Plan means the Supplier’s statement, which outlines strategy, methodology, resources allocation, quality assurance and quality control co-ordination activities to ensure that the Works meet the standards stated in the Works Information. It includes a description of the Supplier’s test and inspection activities, and check/test sheets. The Employer’s specification QM58 contains the minimum requirements for the Quality Plan.
• ISO 9001 compliance is a condition and it shall apply.

• 240-12248652_List of Tender Returnables_Cat 2_ Rev 7

• 240-68099512 Form A_Cat 2_ Rev 9

• 240-105658000 Supplier Quality Management Specification (3)

• 240-109253302 _ Quality Control Plan or Inspection Test Plan (QCP or ITP) rev 2

• 240-109253698 CQP Template 2021

• 240-126469599_Method Statement template final 18 Oct2021
Invoicing and payment
List the information that is to be shown by the Supplier on his invoices.  State any other requirements relating to payment.   For example:

Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.  
The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

· Name and address of the Supplier and the Supply Manager; 

· The contract number and title;

· Supplier’s VAT registration number;

· The Purchaser’s VAT registration number: 4710303126;
· Description of goods and services provided for each item invoiced based on the Price Schedule;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

Insurance provided by the Purchaser
As stipulated in the Contract Data.
Contract change management 
All Supplies will be done in accordance with National Transmission Company South Africa’s policies, standards and specifications. No deviation from any specification will be accepted, unless requested through the Supply Manager and approved in writing by the responsible National Transmission Company South Africa’s Engineer.
Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Supplier is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.  

The Purchaser may withhold payment of amounts due to the Supplier until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Supplier by the Supply Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Supplier does not affect the Purchaser’s right to termination stated in this contract. 

Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier
The Supplier is to keep proof such as invoices of all costs incurred for a compensation event and submit 

them to the Supply Manager if requested.
Procurement
Subcontracting
Preferred subcontractors

Not applicable
Limitations on subcontracting

Not applicable
Spares and consumables
Not applicable 
Supplier,Development, Localisation and Industrialisatiom
[image: image1.emf]Section 1:   Objective Criteria   The inclusion of objective criteria in an enquiry is not mandatory but a condition for contract award, and if  included, this must align with the requirements of the PPPFA [clause 2(1)(f)] and be clearly stated in the enquiry  together with the consequence o f such objective criteria (i.e., if the tenderer does not meet objective criteria; it  may lead to the second - ranked tenderer being recommended for award).     NB: The following documents are required to claim preference points,      Valid B - BBEE certificate issued by a SANAS accredited verification agency / sworn affidavit / CIP C   affidavit   Section 2:  Objective criteria   2.1 Designated Sectors   

When applicable the following stipulated minimum threshold for Local Production and Content must be  achieved in full by the tenderer  

 

 YES  NO  

a)   Is this Commodity or part of it a Designated  Sector?       ☐    

                               Designated items  

Commodity  component  Local content Threshold  

N/A  N/A  N/A  

   

 

          CIDB Skills Development   

Continuation of Mandatory Requirements  


Cataloguing requirements by the Supplier
Not applicable 
List of drawings

Drawings issued by the Purchaser
Annexure 1: Indicative Photometric Illumination Pattern – Bat-wing Pattern

[image: image2.png]



C3.2
Supplier’s Goods Information

	This section of the Goods Information will always be contract specific depending on the nature of the goods and services.

It is most likely to be required for supply contracts where the tendering supplier will have proposed specifications and schedules for the goods and services, which once accepted by the Purchaser prior to award of contract now become obligations of the Supplier per core clause 20.1.




This section could also be compiled as a separate file.



� This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.


� International Chamber of Commerce, Incoterms 2010, Paris, January 2011







DOCUMENT C2.1
PAGE 2
PRICING DATA




Part C2: Pricing Data
PAGE 1
C2 SC3 Cover

