Eskom Holdings SOC Ltd

Contract No. _________

provision of DIESEL

 maintenance service




	[image: image2.jpg]R Eskom






NEC3 Term Service Contract (TSC3)
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30)

	and


	[Insert at award stage]

(Reg No. ___________ )

	for


	The provision of Diesel Generator/ UPS Maintenance and Diesel Supply Service within Gauteng Operating Unit, for a period of 12 months “ as and when” required basis.
Insert title of the service

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	2

	Part C2
	Pricing Data
	22

	Part C3
	Scope of Work
	1

	
	
	

	CONTRACT No.
	[Insert at award stage]

	
	

	
	

	
	


PART C1:
AGREEMENTS & CONTRACT DATA

	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 

[to be inserted from Returnable Documents at award stage]
	3

	C1.2a
	Contract Data provided by the Employer
	6

	C1.2b
	Contract Data provided by the Contractor
[to be inserted from Returnable Documents at award stage]
	1

	
	
	


C1.1 Form of Offer & Acceptance

Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

The provision of Generator, UPS Maintenance and Diesel Supply Services within Gauteng Operating Unit, for a period of 12 months “as when required basis”
The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

Delete the row for the Options which do not apply

	Options A 
	The offered total of the Prices exclusive of VAT is 
	Rates based Contract/to be as per Task Order

	
	Sub total
	Rates based Contract/to be as per Task Order

	
	Value Added Tax @ 15% is
	Rates based Contract/to be as per Task Order

	
	The offered total of the amount due inclusive of VAT is

	Rates based Contract/to be as per Task Order

	
	(in words) [●]



This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	Tenderer’s CIDB registration number: 
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work: Service Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).  

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Employer


	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Employer prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	[●]
	[●]

	2
	[●]
	[●]

	3
	[●]
	[●]

	4
	[●]
	[●]

	5
	[●]
	[●]

	6
	[●]
	[●]

	7
	[●]
	[●]

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Employer



	Signature


	
	
	

	Name
	
	
	

	Capacity


	
	
	

	On behalf of
	(Insert name and address of organisation)


	
	(Insert name and address of organisation)



	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 TSC3 Contract Data

Part one - Data provided by the Employer
	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for main Option: 
	

	
	
	A:

Priced contract with price list

	
	dispute resolution Option
	W1:
Dispute resolution procedure

	
	and secondary Options
	

	
	
	X18:
Limitation of liability

	
	
	X19:
Task Order

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Term Service Contract April 2013
 (TSC3)
	If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data

	10.1
	The Employer is (name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	
	Tel No.
	To be advised

	
	Fax No.
	To be advised

	10.1
	The Service Manager is (name): 
	To be advised

	
	Address
	Eskom Holdings SOC Ltd

Megawatt Park

Maxwell Drive

Sandton,

Johannesburg

2000



	
	Tel
	To be advised

	
	Fax
	To be advised

	
	e-mail
	To be advised

	11.2(2)
	The Affected Property is
	Eskom properties within Gauteng Operating Unit

	11.2(13)
	The service is 
	The provision of Generator, UPS Maintenance and Diesel Supply Services within Gauteng Operating Unit, for a period of 12 months, as when required basis.



	11.2(14)
	The following matters will be included in the Risk Register
	

	11.2(15)
	The Service Information is in 
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	two (2) days

	2
	The Contractor’s main responsibilities
	Data required by this section of the core clauses is also provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data

	21.1
	The Contractor submits a first plan for acceptance within
	Not applicable

	3
	Time
	

	30.1
	The starting date is.
	Two days after Contract signing by both parties

	30.1
	The service period is
	12 months period

	4
	Testing and defects
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	5
	Payment
	

	50.1
	The assessment interval is 
	One week after completion date of the Task Order

	51.1
	The currency of this contract is the 
	South African Rand

	51.2
	The period within which payments are made is
	14 days of invoice date 

	51.4
	The interest rate is 


	The publicly quoted prime rate of interest (calculated on a 365 day year) charged by from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands


	6
	Compensation events
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	7
	Use of Equipment Plant and Materials
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	8
	Risks and insurance
	

	80.1
	These are additional Employer's risks  
	1. Inclement weather

	
	
	2. Resident Complaints

	
	
	3. Theft and vandalism
4. COVID  19


	9
	Termination
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	10
	Data for main Option clause
	

	A
	Priced contract with price list
	

	20.5
	The Contractor prepares forecasts of the final total of the Prices for the whole of the service at intervals no longer than 
	Not applicable.

	11
	Data for Option W1
	

	W1.1
	The Adjudicator 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).


	
	Address
	[●]

	
	Tel No.
	[●]

	
	Fax No.
	[●]

	
	e-mail
	[●]

	W1.2(3)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the Institution of Civil Engineers (London) (see www.ice-sa.org.za ) or its successor body.

	W1.4(2)
	The tribunal is: 
	arbitration

	W1.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	Sandton, South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or

· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	12
	Data for secondary Option clauses
	

	X1
	Price adjustment for inflation
	Not Applicable

	X1.1
	The base date for indices is 
	One month before the tender close date- Applicable for price tendering purpose

	
	The proportions used to calculate the Price Adjustment Factor are: 

Not applicable- contract period equal to be 12 months period
	proportion
	linked to index for
	Index prepared by

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	

	
	
	

	
	
	

	X18
	Limitation of liability
	

	X18.1
	The Contractor’s liability to the Employer for indirect or consequential loss is limited to
	R0.0 (zero Rand)

	X18.2
	For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to
	the amount of the deductibles relevant to the event 

	X18.3
	The Contractor’s liability for Defects due to his design of an item of Equipment is limited to
	The greater of 

· the total of the Prices at the Contract Date

and 

· the amounts excluded and unrecoverable from the Employer’s insurance (other than the resulting physical damage to the Employer’s property which is not excluded) plus the applicable deductibles

	
	
	· 

	X18.5
	The end of liability date is 
	12 months after the end of the service period.

	X19
	Task Order
	

	X19.5
	The Contractor submits a Task Order programme to the Service Manager within 
	2 days of receiving the Task Order

	
	
	

	
	
	

	
	
	

	Z
	The additional conditions of contract are
	Z1 to Z14 always apply.

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract.

	Z2.2
	Unless already notified to the Employer, the persons or organisations notify the Service Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf.

	Z2.3
	The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z3.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Service Manager within thirty days of the notification or as otherwise instructed by the Service Manager.

	Z3.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Service.

	Z3.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P4 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Service Manager.

	Z4.3
	In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the Affected Property or any portion thereof, in the course of Providing the Service and after the end of the service period, requires the prior written consent of the Service Manager.  All rights in and to all such images vests exclusively in the Employer.  

	Z4.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Service Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 27.4

	Z6.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor:

· accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property;

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and

· undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Service Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete the last paragraph of core clause 61.3 and replace with:

If the Contractor does not notify a compensation event within eight weeks of becoming aware of the event, he is not entitled to a change in the Prices.

	
	

	Z9
	Employer’s limitation of liability

	Z9.1
	The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Contractor’s entitlement under the indemnity in 82.1 is provided for in 60.1(12) and the Employer’s liability under the indemnity is limited to compensation as provided for in core clause 63 and X19.11 if Option X19 Task Order applies to this contract. 

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z11.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z11.2
	The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason.

	Z11.3
	If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z11.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation.


Z12

Insurance

Z _12_.1
Replace core clause 83 with the following:
	Insurance cover
	83
	

	
	83.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force.



	
	83.2
	The Contractor provides the insurances stated in the Insurance Table A from the starting date until the earlier of Completion and the date of the termination certificate. 

INSURANCE TABLE A

Insurance against
Minimum amount of cover or minimum limit of indemnity
Loss of or damage caused by the Contractor to the Employer’s property
The replacement cost where not covered by the Employer’s insurance.

The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.
Loss of or damage to Plant and Materials
The replacement cost where not covered by the Employer’s insurance.

The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.
Loss of or damage to Equipment
The replacement cost where not covered by the Employer’s insurance.

The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.
The Contractor’s liability for loss of or damage to property (except the Employer’s property, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Service
Loss of or damage to property

The replacement cost

Bodily injury to or death of a person

The amount required by the applicable law.

Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract
The amount required by the applicable law



	
	
	

	
	
	


Z __12.2
Replace core clause 86 with the following:

86.1 The Employer provides the insurances stated in the insurance

                      
[image: image1.emf]General ACAR  Confirmation of Insurance 2021-22 FY.pdf


	Insurance by the Employer
	86
	

	
	86.1
	The Employer provides the insurances stated in the Insurance, as stated above- PDF- General ACAR Confirmation of Insuance.

	
	
	

	
	
	

	Z13
	Nuclear Liability

	Z13.1
	The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS.

	Z13.2
	The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 44 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z13.3
	Subject to clause Z13.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z13.4
	The Employer does not waive its rights provided for in section 30 (7) of Act 44 of 1999, or any replacement section dealing with the same subject matter.

	Z13.5
	The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned.

	
	

	Z14
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means occupational exposure limit.

	Parallel Measurements
	means measurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means  airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z14.1
	The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z14.2
	Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z14.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z14.3
	The Employer manages asbestos and ACM according to the Standard.

	Z14.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe.

	Z14.5
	The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z14.6
	The Contractor continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001.

	Z14.7
	Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation.


C1.2 Contract Data

Part two - Data provided by the Contractor
Notes to a tendering contractor:

1. Please read both the both the NEC3 Term Service Contract April 2013 and the relevant parts of its Guidance Notes (TSC3-GN)
 in order to understand the implications of this Data which the tenderer is required to complete.

2. The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data.

3. Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	10.1
	The Contractor is (Name):
	     

	
	Address
	     

	
	Tel No.
	     

	
	Fax No.
	     

	11.2(8)
	The direct fee percentage is
	     %

	
	The subcontracted fee percentage is
	     %

	11.2(14)
	The following matters will be included in the Risk Register
	     

	11.2(15)
	The Service Information for the Contractor’s plan is in:
	     

	21.1
	The plan identified in the Contract Data is contained in:
	     

	24.1
	The key people are:
	

	
	1

Name:
	     

	
	

Job:
	     

	
	

Responsibilities:
	     

	
	

Qualifications:
	     

	
	

Experience:
	     

	
	2

Name:
	     

	
	

Job
	     

	
	

Responsibilities:
	     

	
	

Qualifications:
	     

	
	

Experience:
	     

	
	
	     

	
	
	CV's (and further key person's data including CVs) are in      .

	A
	Priced contract with price list
	

	11.2(12)
	The price list is in
	Refer to price schedule section     

	11.2(19)
	The tendered total of the Prices is
	  Rates based Contract/as per Task Order    


Part 2: Pricing Data

TSC3 Option A

	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions: Option A
	2

	C2.2
	The price list 
	3


C2.1 Pricing assumptions: Option A

How work is priced and assessed for payment

Clause 11 in NEC3 Term Service Contract (TSC3) core clauses and Option A states:

	Identified and defined terms
	11

11.2
	(12) The Price List is the price list unless later changed in accordance with this contract.



	
	
	(17) The Price for Services Provided to Date is the total of 

· the Price for each lump sum item in the Price List which the Contractor has completed and

· where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate.



	
	
	(19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate.




This confirms that Option A is a priced contract where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both.

Function of the Price List

Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not Provide the Service in accordance with the Price List.   The Price List is only a pricing document.  

Link to the Contractor’s plan

Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17). 

Preparing the price list
Before preparing the price list, both the Employer and tendering contractors should read the TSC3 Guidance Notes pages 14 and 15.  In an Option A contract, either Party may have entered items into the price list either as a process of offer and acceptance (tendering) or by negotiation depending on the nature of the service to be provided.  Alternatively the Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in the price list to be prepared and priced by him. 

It is assumed that in preparing or finalising the price list the Contractor:
· Has taken account of the guidance given in the TSC3 Guidance Notes relevant to Option A;

· Understands the function of the Price List and how work is priced and paid for;

· Is aware of the need to link operations shown in his plan to items shown in the Price List;

· Has listed and priced items in the price list which are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;
· Has priced work he decides not to show as a separate item within the Prices or rates of other listed items in order to fulfil the obligation to complete the service for the tendered total of the Prices. 
· Understands there is no adjustment to items priced as lump sums if the amount, or quantity, of work within that item later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the (lump sum) Prices is as a result of a compensation event. 

Format of the price list
(From the example given in an Appendix within the TSC3 Guidance Notes)

Entries in the first four columns in the price list in section C2.2 are made either by the Employer or the tendering contractor. 

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering contractor enters the amount in the Price column only, the Unit, Expected Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for an item of work which is the rate for the work multiplied by the quantity completed, the tendering contractor enters the rate which is then multiplied by the Expected Quantity to produce the Price, which is also entered.

If the Contractor is to be paid a Price for an item proportional to the length of time for which a service is provided, a unit of time is stated in the Unit column and the expected length of time (as a quantity of the stated units of time) is stated in the Expected Quantity column.

C2.2 the price list
	Description
	Quantity
	Measurement
	Unit price
	Total price


	VAT

	Hourly rate of Diesel Generator Technician with ECSA Registration (working hours)
	1
	LE
	Reverse E-Auction

	Hourly rate of Diesel Generator Technician with ECSA Registration (after hours)
	1
	LE
	Reverse E-Auction

	Hourly rate-Supervisor (normal time)
	1
	LE
	Reverse E-Auction

	Hourly rate-Supervisor (after hours)
	1
	LE
	Reverse E-Auction

	Hourly rate-Artisan (normal time)
	1
	LE
	Reverse E-Auction

	Hourly rate-Artisan (after hours)
	1
	LE
	Reverse E-Auction

	Hourly rate-Labourer (normal time)
	1
	LE
	Reverse E-Auction

	Hourly rate- Labourer (after hours)
	1
	LE
	Reverse E-Auction

	Call-out fees
	
	
	Reverse E-Auction

	Transport per kilometre.
	
	
	Reverse E-Auction

	Percentage mark-up on materials
	
	
	Reverse E-Auction

	SHEQ requirement/ compliance of the Contract
	
	
	Reverse E-Auction


Notes:

•
Prices above exclude VAT.

•
Prices will be fixed and firm for contract period of 12 months.

Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Employer’s Service Information
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	12


C3.1: Employer’s service Information

Contents

2Part 3: Scope of Work

C3.1: Employer’s service Information
1
1
Description of the service
2
1.1
Executive overview
2
1.2
Employer’s requirements for the service
2
1.3
Interpretation and terminology
8
2
Management strategy and start up.
9
2.1
Management meetings
9
2.2
Contractor’s management, supervision and key people
8
2.3
Documentation control
9
2.4
Invoicing and payment
10
2.5
Contract change management
10
2.6 
Records of Defined Cost to be kept by the Contractor………………………………………………....10 
3
Health and safety, the environment and quality assurance
10
3.1
Health and safety risk management
10
3.2
Environmental constraints and management
10
3.3
Quality assurance requirements
10
4
Procurement
9
4.1
People
9
4.1.1
Accelerated Shared Growth Initiative – South Africa (ASGI-SA)…………………………………..10
4.2
Plant and Materials
11
4.2.1
Specifications
11
5
Working on the Affected Property
10
5.1
Employer’s site entry and security control, permits, and site regulations
11
5.2
People restrictions, hours of work, conduct and records
11
5.3
Records of Contractor’s Equipment
11
5.4
Equipment provided by the Employer
11
5.5
Site services and facilities
11
5.5.1
Provided by the Employer
11
5.5.2
Provided by the Contractor
12
5.6
Control of noise, dust, water and waste
12
5.7
Hook ups to existing works
12
5.8
Tests and inspections
12
6
List of drawings
12
6.1
Drawings issued by the Employer
12


1. Description of the service
1.1 Executive overview 

The provision of Diesel Generator, UPS Maintenance and Diesel Supply Service within GOU, as and when required basis. 

1.2 Employer’s requirements for the service
The scope of work includes:

•
Execution of planned, unplanned and emergency maintenance of diesel generator, UPS, and diesel supply service within Gauteng Unit, as and when required basis   

•
Provision of maintenance service record (includes inspections/ test results, etc) as and when required.

•
Execution of maintenance scope/ service must comply with all Engineering Standards, Health and Safety Regulation, as and when required basis

•
Provision of compliance documents on all infrastructure as and when required basis

•
Provision of on-site supervision for emergency works as and when required.

•
Provision of all consumables and materials for maintenance, as and when require basis.
SCOPE REQUIREMENT


Diesel Generator & Storage Tanks 

Inspection and service

· Check fan belt condition and tension

· Check that radiator passages are clean and fit for operation

· Check that radiator hoses and clamps for wear and tear

· Add water conditioner

· Drain radiator/system and refill

· Drain oil and refill

· Change fuel filters

· Change oil filters

· Change water conditioner filters

· Change air filters 

· Check seal faces of elements, air cleaner, hoses and clamps for dust ingress

· Check thermos heater operation and temperature

· Check all guards in position and secure

· Check battery charger

· Check batteries, lugs, clean and tighten

· Battery test:

a. Check hydrometer

b. Check casing condition

c. Check terminals

d. Note Volts

e. Note Amps

f. Compile battery report

· Start engine

· Check for any leaks

· Check charge alternator operation

· Take oil pressure gauge reading

· Take engine temperature gauge reading

· Check low radiator level

· Check low fuel level

· When engine has stopped, top up with oil

· Check alternator coupling

· Check air vents on alternator

· Check fuel system

· Drain water trap

· Check all pipes and fittings

· Check exhaust, manifold, silencer and pipes

· Check base and anti-vibration mounts

· Run plant on load

· Clean plant and equipment

Annual service
The annual service includes all the items listed in above for the bi-annual inspection and service in addition to the following items:

· Drain radiator

· Refill with new water conditioner

· Drain oil

· Supply and fit new oil filters

· Refill with new oil

· Remove and replace fuel filters

· Remove and replace air filter

· Run the set up to temperature and top up all levels afterwards

· Check entire panel operation

· Fuel system

· Air intake system 

· DC Diesel Generator system 

· Engine 

· Lubrication service 

· Cooling system service 

· Air intake service 

· Servicing and testing Starting batteries 

· Cleaning batteries 

· Checking specific gravity 

· Checking electrolyte level

· Checking dampers  bi-annually

DIESEL STORAGE 

Annual Service Pressure tanks 

· Pressure test of diesel tank.

· Test for loss and leaks including a written report

Service Diesel tank & Diesel fuel testing 

· Visual inspection of the fuel system.

· Checking the filters, tanks, fillers and site tubes.

Bi-annual Service Bioscience test

· Bioscience Fuel-stat test and written report.

Annual Service Filtration & Additives 

· The diesel in both tanks will be filtered and polished if no filtration system is installed including additives added. 

· The “Fuel Right” method to be utilised

Service Fuel supply

· Supply of 50ppm diesel to fill up tank.

· Proof of purchase to be submitted. Mark-up % to be added to cost of fuel

Service Hot water storage tank
· Hot water storage tank shall be thoroughly inspected and monitored during the summer period for any signs of leaks.

· Repairs and/or recoating of the hot water storage tank shall be carried out during summer period.

Diesel Generator and UPS System 

Service

· The checking of the mechanical soundness of all parts.

· The checking of the semi-conductor power devices, transformers, filter elements and the like

· The checking and, if necessary, adjusting of the voltage of the DC circuitry.

· The checking and, if necessary, adjusting of the output voltage of the AC circuitry.

· The checking and adjusting of all electronic regulating circuits.

· The cleaning of the UPS system

· The checking of the DC caps.

· The checking of the AC filters caps.

· The checking of all Fan operations.

· Visual checking for Hot Spots (Hot Spots are discolouring of power wires and main bus bars)

· The checking of batteries for loose connections, hot spots and terminal corrosion.

· The checking of load currents and voltages.

· The checking of environmental temperature and ensuring that it is within the UPS operational specifications.

· The checking and recording on a log sheet of the voltage of each battery block.

· The cleaning of the batteries.

· Conduct a battery discharge test using the s existing load connected to the Equipment to determine the capacity of the battery. 

· The checking of sufficient lighting. 

· Should the Technician find any problem during the inspection

· Submit the detailed service report will be handed to site personnel directly after completion of the service 

· Where after arrangements to correct these faults can be made

Main and Sub Diesel Generator Distribution Boards All Blocks

Service

•
The Contractor shall be responsible for the cleaning, service, maintenance and repairs to all Main and Sub Diesel Generator Distribution Boards and Control Equipment. 

Switches, Change-Overs, etc.

Service 

•
Main incoming supply, main switches, change-over systems, bus bars and the supply up’s to each of the local isolators for each individual piece of equipment. 

Charger and Batteries 

Battery Tripping Unit

Service

•
Clean off any acid from battery terminals

•
Check water levels on all cells

•
Check all connections

•
Check load circuits on battery

•
Check supply voltage

•
Check battery voltage

•
Test all single cell internal battery resistance (Test conducted per battery)

•
Test all single cell battery voltage(Test conducted per battery)

•
Check all indication functional

•
Compile test report according to Charger specifications

Battery Testing 

Service

•
Check hydrometer

•
Check casing condition

•
Check the water

•
Check terminals

•
Note Volts

•
Note Amps

•
Compile battery report

•
Checking of input and output terminations 

•
Installation of batteries in battery cabinets or onto stands. 

•
Checking of battery connections 

•
Complete mechanical check of the UPS system. 

•
Diesel Generator and calibration check of the UPS system 

•
Testing of all UPS alarm functions including Remote Alarm Panel (RAP) if supplied 

•
Mains failure test, using existing load, to prove correct operation of UPS system 

•
Explanation of UPS operation and alarms to customer 

•
Hand-over acceptances. 

Certificate of Compliance 

Service

•
Issue the certificate of compliance as Diesel Generator regulation.  

Earthing and Bonding

Service 

•
Must be done as per earthing and bonding regulation

Infra-Red Scanning 

Service

•
Must be done on the  tested, balanced and commissioned complete Diesel Generator installation

•
Conduct an Infra-Red Scan survey on all the above mentioned distribution boards under full load condition.

•
On completion of the survey, a detailed written report including photographs shall be handed to the Employer.

OTHERS

Other elements of storage tanks, generator, UPS systems not detailed in the scope that may be required shall be included in all requirements, as and when required basis.
The work comprises amongst others consist of the supervision, labour, plant and equipment necessary to carry out maintenance service “as and when required” basis. The Contractor to respond within 24 hours, however, should the emergency; arise, the response time to be immediate. The Contractor must have registered vehicles as means of transport within Gauteng sites to provide  maintenance Service, as and when required basis.

Document identification, As built drawings requirement
The Diesel Generator assessment and “as built” wiring drawing/s must be conducted by Diesel Generator Technician with ECSA Registration, poses a minimum of National Diploma in Electrical/ Mechanical Engineering. 

All documents/ drawings supplied by the Contractor are subject to the Employer’s acceptance. The language of all documentation is in English. The Contractor includes the Employer’s drawing number in the drawing title block. This requirement only applies to design drawings developed by the Contractor and his Sub-Contractors. Drawing numbers are assigned by the Employer as drawings are developed. 

The Contractor is required to submit a programme of work as per agreed dates to the delegated Employer’s Representative. The Employer pre-allocates document numbers on the programme and sends back to the Contractor through the delegated Employer’s Representative. The programme is revisable and changes are discussed and agreed upon by all parties. The Contractor’s programme indicates the format of documents submitted.

Document Submission

All Contract documents are submitted to the Employer’s Representative with transmittal note according to the Contract Technical Documents and Records Management Work Instruction (240-76992014). In order to portray a consistent image it is important that all documents used within the Contract follow the same standards of layout, style and formatting as described in the Work Instruction. 

The Contractor is required to submit documents as hard copies and electronic copies in PDF and native CAD formats (.DGN or .DWG which must be compatible with Bentley Microstation). Both copies must be delivered to the Employer’s Representative with a transmittal note.

Email Subject

The Contractor submits all documentation to the Employer’s Representative in the following media:

· Electronic copies are submitted to email address Employer’s Representative provided. The email subject as a minimum has the following: (Contract Name_and Subject). Electronic copies that are too large for email are delivered on USB, large file transfer protocol and/or hard drives to the Employer’s Representative. In a case where USB/hard drive has been submitted, a notification email, with the transmittal note attached, must be sent Employer’s Representative is copied on the email as well.

· Hard copies are submitted to the Employer’s Representative accompanied by the Transmittal Note. 

As-built drawings, maintenance schedules

The Contractor is responsible for the compilation and the supply of all the documentation as and when required basis. 
The Contractor provides two full sets of as-built documentation/ drawings as hard copies and electronic PDF and native CAD formats (.DGN or .DWG which must be compatible with Bentley Microstation) to the Employer.

Documentation System

The Contractor’s document system is comprehensive in the management and control of the documentation based on a master document. 

All documentation submitted, by the Contractor, is accompanied by a signed documentation transmittal note.

As-built revision of all the design documents;

Inspections and test records for the tests and inspections required.

Documentation Control

The Contractor implements a comprehensive document control of all documents, their revision status and of the document status in relation to the 'as built' drawings, with followings:
· Drawing number (Employer and Contractor’s number)

· Revision

· Approval status

· Location of drawing 

· Drawing description

· Sheet number

· Transmittal number

· Date of submission

1.2.3 Accredited Certification/Qualification 
The Supplier must a poses a minimum qualification of a Diploma in Electrical and Mechanical Engineering and two years experience. 
 The Supplier must be poses a Registration with petroleum wholesale licence from department of minerals and energy.
1.3 Interpretation and terminology

The following abbreviations are used in this Service Information:

	Abbreviation
	Meaning given to the abbreviation

	GOU
	Gauteng Operating Unit

	DX
	Eskom Distribution Division

	ERE
	Eskom Real Estate

	TO
	Task Order

	SANS
	South Africa National Standards

	ECSA
	Engineering Council of South Africa


2. Management strategy and start up.

2.1 Management meetings

Meeting will be conducted at Eskom offices within Gauteng sites.

Regular meetings of a general nature may be convened and chaired by the Service Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Risk register and compensation events
	Bi-Weekly 
	Gauteng site
	The Supplier and key staff members; and, Service Manager

	Overall contract progress and feedback
	Monthly on a last Thursday at 10:00
	
	Employer, Contractor and key staff members

	
	
	
	

	
	
	
	


Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

Meetings of a specialist nature may be convened as specified elsewhere in this Service Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the service.  Records of these meetings shall be submitted to the Service Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  




2.2 Contractor’s management, supervision and key people

The Contractor must submit an organogram that indicate all his employees and key people that are involved in the project.

2.3 Documentation control

All Diesel Generator Maintenance Service documents must be submitted to Site Supervisor for record purpose.

The Supplier must keep all Diesel Generator, UPS Maintenance and Diesel Supply Service documents for Employer Audit purpose. 
2.4 Invoicing and payment

Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Service Manager’s payment certificate.  

The Contractor shall address the tax invoice to 

_________________________ 

and include on each invoice the following information:

Name and address of the Contractor and the Service Manager; 

The contract number and title;

Contractor’s VAT registration number;

The Employer’s VAT registration number 4740101508;

Description of service provided for each item invoiced based on the Price List;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

(add other as required)

Add procedures for invoice submission and payment (e. g. electronic payment instructions)

2.5 Contract change management 

The NEC contractual mechanism will be applied for changes to the Contract, and supporting documents must be provided by the Contractor when required by the Employer.
2.6 Records of Defined Cost to be kept by the Contractor

In order to substantiate the Defined Cost of compensation events, the Employer may require the Contractor to keep records of amounts paid by him for people employed by the Contractor, plant and materials, work subcontracted by the Contractor and equipment.  State in what form these records are to be kept and how accessed by the Employer.

3. Health and safety, the environment and quality assurance

3.1 Health and safety risk management

The Contractor shall comply with the health and safety requirements contained in the tender document for this Service Information.

3.2 Environmental constraints and management

The Contractor shall comply with the environmental criteria and constraints stated in tender document for this Service Information.

3.3 Quality assurance requirements

The Contractor must comply with Quality Management (QM58) specification in tender document for this Service Information.

4. Procurement
4.1 People
4.1.1 Supplier Development and localisation= Refer to SD&L document in tender document for this Service Information.
4.2 Plant and Materials

4.2.1 Specifications

The Suppliers must provide plant and materials required for execution of Diesel Generator, UPS maintenance and Diesel Supply service, as and when required basis.

5. Working on the affected Property
5.1 Employer’s site entry and security control, permits, and site regulations
The Supplier to comply site and security control requirement at all times.

5.2 People restrictions, hours of work, conduct and records

The Supplier must records of people and hours of work specific to site for Employer’s payment assessment purpose.

	                  5.2.1 Overtime work and normal work:

	The tenderers are advised that the following works may be done during normal working hours as well as after normal working hours. Tenderers must make due allowance for these working hours in the pricing as no claims will be entertained in this regard.


Tenderers are advised that all labour charges and transport charges must be procured from the closest to the effected site.

Any call out work commenced during working hours and completed after normal working hours will be compensated by using normal working hour rates only.

Any call out work commenced after normal working hours will be compensated by using after normal working hour rates only.

5.3 Records of Contractor’s Equipment

The Supplier is responsible to safe guard his equipment at site

5.4 Equipment provided by the Employer
The Employer provide no equipment to the Supplier.

5.5 Site services and facilities

  5.5.1 Provided by the Employer
The Employer will provide water and electricity at Site. The Contractor is responsible to bring these services close to his specific work areas within Site. 

5.5.2 Provided by the Contractor
The Supplier provide his own storage, vehicles, equipment, etc to provide Diesel Generator, UPS maintenance and Diesel Supply service, as and when required basis.

5.6 Control of noise, dust, water and waste 

The Supplier must comply with SHE and Environmental Requirements.

5.7 Hook ups to existing works

The Supplier must comply with SHE and Environmental Requirements.
5.8 Tests and inspections

Test and inspection within Gauteng Operating Unit.
Testing and inspection must be conducted in compliance with Quality Management (QM-58) specification.
6. List of drawings

Drawings issued by the Employer

	Drawing  number
	Revision
	Title

	
	
	

	No drawing available.
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


� This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902 � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 5391902 or � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 







DOCUMENT C2.1
PAGE 1





Part C2: Pricing Data
PAGE 20
C2 TSC3 Cover

_1691388009.pdf


  


 


 


 


    Escap SOC Ltd  Reg No 1993/003340/30  


 


To whom it may concern 
    
 
This letter serves to confirm the insurance covers as follows: 
 
 
Insurer     : ESCAP SOC Ltd 
 


Insured    :  Eskom Holdings SOC Ltd and its subsidiaries 


Additional Insureds    : Contractors and sub-contractors 


 
Policy name    :  Annual Construction All Risks  


 
Period of insurance   :  01 April 2021 – 31 March 2022 


 
Policy limit : Section I - Contract Works:  


Project value at inception: Maximum of R1 billion 


Project period at inception: Maximum of 60 months 


 


Section II - Contract Works Public Liability –         


R25, 000,000 any occurrence or series of occurrences 


arising out of one event  


       
Policy coverage   : Direct physical loss of or damage to any part of the  


Works and property insured including while in transit 


or at storage, including third party liability. 


 
  


Policy deductibles   : As per table below 


Deductible Division / Coverage 


Section I – Contract Works 


R 500,000 Other Divisions 


R10 000 000 Transmission – Theft and Vandalism 


R 5,000,000 Distribution - Theft & Vandalism 


R1 000 000 Eskom Rotek Industries – Theft and Vandalism 


R 50,000 Debris Removal 


R 50,000 Debris Removal (No Damage) 


ESCAP SOC Ltd 
Maxwell Drive Megawatt Park Sunninghill Sandton 
PO Box 1091 Johannesburg 2000 SA     
Tel +27 11 800 6804 Fax +27 11 800 4737  www.eskom.co.za 







 


 


Escap SOC Ltd  Reg No 1993/003340/30  


Deductible Division / Coverage 


Section I – Contract Works 


R 25,000 Borrowing of plant for commission purposes 


R 1,000 Documentation 


Section II – Contractors’ Public Liability 


R 50,000 Loss of damage to veld, grass and/or bush fires 


R 20,000 All other losses 


 


Should you have any queries, please contact the Insurer at ChaithK@eskom.co.za  


 
 
 
Yours sincerely 


 


________________________ 


Jacqui Kilani 


Escap SOC Ltd – Chief Executive Officer  


Date: 03 June 2021 



mailto:MphahlTM@eskom.co.za




