Agricultural Research Council-NRE

141 Cresswell Rd

Weavind Park

Pretoria,

0184

Request for quotation: ‪‪‪ ‪‪‪RFQ-016059‬‬

Closing Date: 	14 July 2023 at 11h00

VAT Registration:	4140125313

Delivery address: Agricultural Research Council-NRE

141 Cresswell Rd

Weavind Park

Pretoria,

0184

COMPULSORY SITE BRIEFING – 6 July 2023 AT 10:00

Request for Quotation for Exterior Painting Of Two Buildings-ARC NRE

Good day

- You are kindly requested to submit a written quotation to the Agricultural Research Council per the specifications below.

Quotations with Supporting Documentation must be emailed to:

KubhekaL@arc.agric.za

  - SPECIFICATION IN DETAIL

SPECIFICATION FOR EXTERIOR PAINTING OF TWO BUILDINGS ARC NRE

Background This specification is for the external painting of the existing buildings and roof painting on the following buildings. This exercise is meant to improve and maintain the aging buildings. Main building exterior painting (Colour-Acacia) Corridor; Square meter (m2). Block O; 444. Block N; 546. Block M; 740. Block K; 268. Block L; 318. Skip hall building exterior and interior painting. Building; Square meter(m2); Colour. Exterior painting; 900 (note only paint top sink structure); Green. Interior painting; 900; Cream (note paint colour subject to change). Scope of work Exterior painting - Repair holes in the dry walls - Prepare the surface walls thoroughly using sandpaper or a sanding block to dull uneven surfaces until the wall is smooth. - Dull the surface for paint. - Ensure the walls are clean and dust free. Construction Industry Development Board 1GB /1SN grading or Above. Guarantee -10 years guarantee on painting and workmanship from the date of completion. Compliance -Service provider must be conversant with and adhere to the National Building Regulations Act No 103 of 1997 -Service provider must be conversant with and adhere to the Health and Safety Act 85 of 1993 -Paint must be similar or equivalent to Plascon Enamel Doors and trims (NY 1/g). Strictly to manufacturer’s specification and instructions (SABS) approved. References -At least three proof of reference letters that indicate you have successfully completed similar work. The letter should be on the letterhead of the company where services were provided with the value of work completed. Site Briefing -Compulsory site briefing so that the buildings can be assessed. Contingency -10% of the project price -NOTE: contingency amount belongs to ARC therefore it’s within our right to use it Safety -Contractor will provide all PPE, ladder, and scaffolding for their workers as required when a person works in an elevated position. Work will be stopped in case proper protection equipment is not found with the workers and a lapse of time will at the part of the contractor. - The contractor will make sure that all the arrangements for the work are in working conditions are safe in all respect, under no circumstance, ARC will be held responsible for any incident that happens on the site due to negligence of the contractor/ worker. Project duration and penalty -Duration of the project will be one month and two weeks. -One-day extension can be considered for each rainy day if more than 5 mm rain/24 hours were measured on-site. -Start of project: Official site handover. -Date of Completion: Final site inspection and if all the items on the snag list were successfully addressed. -Penalty for Late Completion will be based on the quoted amount for work chosen by the ARC and will be calculated by: Penalty per calendar day = Tender amount awarded to contractor X 0.0274%

- Request for Quotation Evaluation stages:

The RFQ evaluation process consists of several stages that are applicable according to the merits of the request for quotation, as defined below:

Stage 1: Specification

Stage 2: Evaluation Criteria: National Treasury Procurement Regulations

Stage 3: Agricultural Research Council Preference Points System – See Annexure A

Requirements (Administrative):

(NOTE: Failure to provide the below-listed documents May lead to disqualification)

| Description | Comply | Do Not Comply |
| --- | --- | --- |
| 1. Submission of original valid Tax pin or a Tax Compliance Status letter issued by the South African Revenue Services |  |  |
| 2. Completed and signed Standard Bidding Documents (SBD) forms included in the bid document. (SBD 4) |  |  |
| 3. Local Content Declaration (Annex C, D, E) |  |  |
| 4. Only bidders registered on the Central Supplier Database (CSD) will be considered. Bidders shall include the CSD registration number with the bid proposal. |  |  |
| 5. BBBEE Certificate or Sworn Affidavit |  |  |

- All price quotations that have a rand value of R 2000.00 to below R 50,000,000.00, including VAT, will be evaluated by applying the 80/20 principle as prescribed by the Preferential Procurement Policy Framework Act 5 of 2000 and its Regulations of 2022, and the Agricultural Research Council Preference Points System – See Annexure A

- Administrative Requirements:

  - Valid Tax Pin issued by the South African Revenue Services (SARS).

  - Only bidders registered on the Central Supplier Database (CSD) will be considered.  Bidders shall include the CSD registration number with the bid proposal.

  - Completed and signed Standard Bidding Documents (SBD) forms included in the bid document.

  - The above-specified goods/services should be delivered/rendered to the at above-mentioned delivery address.

  - The particulars of the guarantee that will apply to the goods quoted for, with regards to the period and extent of the warranty must be clearly stated.  Where services are required, service providers must submit documentation pertaining to the relevant experience.

  - Your written quotation must be emailed to   KubhekaL@arc.agric.za

  - Standard conditions:

  - The validity of the quotations must be indicated.

  - Prices quoted should be in South African Rand and inclusive of VAT costs such as delivery, insurance, taxes, etc.

  - No price adjustments or amendments of the delivery particulars contained in paragraph 2 will be considered by the ARC.

  - The supplier accepts full responsibility for the proper execution and fulfilment of the goods/services quoted.

  - ARC reserves the right to accept or reject any special terms and conditions that may qualify the goods/services to be provided.

  - Quotes should be submitted on official letterhead and duly signed.

  - Goods and services should be supplied/rendered upon receipt of a purchase order from the ARC.

  - The General Conditions of Contract issued by the National Treasury are applicable.

  - The ARC supply chain management code of conduct is applicable.

  - Standard Bidding Documents (SBD) forms must be signed and returned together with the quotation Failure to comply will result in the disqualification of your quotation.

  - Your quotation must indicate the delivery date.

  - The ARC reserves the right to do due diligence on the quotations.

  - The ARC reserves the right to benchmark prices quoted.

Thank you in anticipation.

Ms. Lungile Kubheka

Tel: +27 (0)12 842- 4078

Email: KubhekaL@arc.agric.za

Supply Chain Management: ARC