Table top battery operated scale specification

- Table top scale with internal battery

- Stainless steel pan 125 x 145mm at least

- Capacity of 2000 – 3000g (3000g preferred)

- Readability of 0.01g or better

- Adjustable feet for levelling, with built in level preferred

- Models with wind shield preferred

- All quoted to be accompanied by brochures outlining additional specifications of the make and model quoted on.