{"text_format":"3","workbook":"xlsx","n_sheets":4,"sheets":["LOSS_GPS","LOSS_PS1","LOSS_VA","LOSS_PLC"],"read":"whole","date_system":"1900"}

{"sheet":"LOSS_GPS","index":0,"n_rows":63,"n_cols":22,"rows_kept":63,"merged":[[62,11,62,19]]}
[]
[{"$nulls":3},"BASIC ENGINEERING",null,"LOCATION DETAILS",null,"CONNECTION DETAILS",null,"BASIC DESIGN FREEZE",null,"DETAILED ENGINEERING AND MANUFACTURING",null,"REMOVE EXISTING EQUIPMENT",null,"SUPPLY",null,"ERECTION\\INSTALATION",null,"COMMISSIONING",null,"REMARKS:                                                                                                                          "]
{"$rows_empty":8}
[null,"OSP HMI",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C"]
{"$rows_empty":12}
[null,"DUAL BUS",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C"]
[]
[]
[]
[]
[null,"GPS ANTENNA",null,"E",null,"E",null,"E",null,"E",null,"E",null,"E",null,"E",null,"E",null,"E"]
[]
[]
[]
[null,"DUAL BUS",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C"]
[]
[]
[]
[]
[]
[null,"DUAL GPS",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C"]
{"$rows_empty":19}
[null,"E = EMPLOYER "]
[{"$nulls":4},"REVISION",{"$nulls":5},0]
[]
[]
[null,"C = C & I SUPPLIER",null,null,"DATE",{"$nulls":6},"2020-01-17"]

{"sheet":"LOSS_PS1","index":1,"n_rows":63,"n_cols":22,"rows_kept":63,"merged":[[62,11,62,19]]}
[]
[{"$nulls":3},"BASIC ENGINEERING",null,"LOCATION DETAILS",null,"CONNECTION DETAILS",null,"BASIC DESIGN FREEZE",null,"DETAILED ENGINEERING AND / OR MANUFACTURING",null,"REMOVE EXISTING EQUIPMENT",null,"SUPPLY",null,"ERECTION\\INSTALATION",null,"COMMISSIONING",null,"REMARKS:                                                                                                                          "]
{"$rows_empty":8}
[null,"C&I EQUIPMENT 1 TO N",null,"C",null,"C",null,"C",null,"C",null,"C",{"$nulls":3},"C",null,"C",null,"C"]
[]
[]
[]
[]
[]
[null,"  POWER CABLING FOR ",null,"C",null,"E",null,"E",null,"C",null,"C",null,"E",null,"C",null,"C",null,"C"]
[null,"EQUIPMENT 1 TO N"]
[]
[]
[]
[null,"220V AC DISTRIBUTION BOARD",null,"C",null,"E",null,"E",null,"C",null,"C",null,"E",null,"E",null,"E",null,"E"]
[null,"INCLUDING CHOP-OVER CCT"]
[]
[]
[]
[]
[]
[]
[null,"POWER CABLING",null,"E",null,"E",null,"E",null,"E",null,"E",null,"E",null,"E",null,"E",null,"E"]
{"$rows_empty":8}
[null,"220V AC UPS AND BACK-UP  ",null,"E",null,"E",null,"E",null,"E",null,"E",null,"E",null,"E",null,"E",null,"E"]
[null,"BATTERIES"]
[]
[null,"POWER CABLING",null,"E",null,"E",null,"E",null,"E",null,"E",{"$nulls":3},"E",null,"E",null,"E"]
[]
[]
[null,"SUPPLY FROM SWITCHGEAR",null,"E",null,"E",null,"E",null,"E",null,"E",{"$nulls":3},"E",null,"E",null,"E"]
{"$rows_empty":13}
[null,"E = EMPLOYER "]
[{"$nulls":4},"REVISION",{"$nulls":5},0]
[]
[]
[null,"C = C & I SUPPLIER",null,null,"DATE",{"$nulls":6},"2020-01-17"]

{"sheet":"LOSS_VA","index":2,"n_rows":63,"n_cols":22,"rows_kept":63,"merged":[[61,13,61,17],[62,11,62,17]]}
[]
[{"$nulls":3},"BASIC ENGINEERING",null,"LOCATION DETAILS",null,"CONNECTION DETAILS",null,"BASIC DESIGN FREEZE",null,"DETAILED ENGINEERING AND MANUFACTURING",null,"REMOVE EXISTING EQUIPMENT",null,"SUPPLY",null,"ERECTION\\INSTALATION",null,"COMMISSIONING",null,"REMARKS:                                                                                                                          "]
{"$rows_empty":8}
[null,"OSP HMI",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C"]
{"$rows_empty":12}
[null," REDUNDANT BUS",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C"]
[]
[]
[]
[null,"DUAL FIREWALL",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C"]
[]
[]
[]
[]
[null," REDUNDANT BUS",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C"]
[]
[]
[]
[]
[]
[]
[null,"VISUAL AUTOMATION ",null,"C",null,"E",null,"E",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C"]
{"$rows_empty":18}
[null,"E = EMPLOYER "]
[{"$nulls":4},"REVISION",{"$nulls":5},0]
[]
[]
[null,"C = C & I SUPPLIER",null,null,"DATE",{"$nulls":6},"2020-01-17"]

{"sheet":"LOSS_PLC","index":3,"n_rows":63,"n_cols":22,"rows_kept":63,"merged":[[61,13,61,17],[62,11,62,17]]}
[]
[{"$nulls":3},"BASIC ENGINEERING",null,"LOCATION DETAILS",null,"CONNECTION DETAILS",null,"BASIC DESIGN FREEZE",null,"DETAILED ENGINEERING AND MANUFACTURING",null,"REMOVE EXISTING EQUIPMENT",null,"SUPPLY",null,"ERECTION\\INSTALATION",null,"COMMISSIONING",null,"REMARKS:                                                                                                                          "]
{"$rows_empty":8}
[null,"OSP HMI",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C"]
{"$rows_empty":12}
[null,"BUS",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C",null,"C"]
{"$rows_empty":15}
[null,"PLCs",null,"C",null,"E",null,"E",null,"C",null,"C",null,"C",null,"E",null,"C",null,"C"]
{"$rows_empty":18}
[null,"E = EMPLOYER "]
[{"$nulls":4},"REVISION",{"$nulls":5},0]
[]
[]
[null,"C = C & I SUPPLIER",null,null,"DATE",{"$nulls":6},"2020-01-17"]