TENDER NO.: WMM LM 00062 W13 ECDC









                       WARD 13 ECDC


WINNIE MADIKIZELA - MANDELA LOCAL MUNICIPALITY

PROVINCE OF EASTERN CAPE

TENDER NO.: WMM LM 00062 W13 ECDC

	PART C3.2: ENGINEERING


C3.2.1
Design

•
The Employer represented by the Engineer is responsible for the design of the permanent Works as reflected in the Contract Documents unless otherwise stated.

•
The Contractor is responsible for the design of the temporary Works and their compatibility with the permanent Works

•
The Contractor shall supply all details necessary to assist the Engineer in the compilation of the as - built drawings

C3.2.2
Employer's Design

The Employer has designed the permanent works included in this contract. The detail of the works is indicated on the drawings and in the specifications. The Tenderer may submit alternative offers for designs prepared by himself subject to the conditions specified in clause 05 of the Standard Specifications.

C3.2.3
Drawings

The Contractor shall use only the dimensions stated in figures on the Drawings in setting out the Works, and dimensions shall not be scaled from the Drawings, unless required by the Engineer. The Engineer will, on the request of the Contractor in accordance with the provisions of the Conditions of Contract, provide such dimensions as may have been omitted from the Drawings.

The Contractor shall ensure that accurate as-built records are kept of all infrastructure installed or relocated during the contract. The position of pipe bends, junction boxes, duct ends and all other underground infrastructure shall be given by either co-ordinates or stake value and offset. Where necessary, levels shall also be given. A marked-up set of drawings shall also be kept and updated by the Contractor. This information shall be supplied to the Engineer's Representative on a regular basis.

All information in possession of the Contractor, required by the Engineer and/or the Engineer's Representative to complete the as-built/record drawings, must be submitted to the Engineer’s Representative before a Certificate of Completion will be issued.

The drawings listed below are attached in order to give an overview of the project.

	Drawing No
	Title

	ARCHI
	Construction of WARD 13 ECDC : Plan and Elevations

	
	

	
	



Additional construction drawings will, in terms of Clause 13 of the General Conditions of Contract (2010), be issued to the Contractor by the Engineer/Employer on the commencement date and from time to time as required."













The Contract – Part 3 – Scope of Works


 C3.2.1 


