Specifications: Cooled incubator

Internal volume: 100 - 260L

Operating temperature range: at least 15 – 40°C, wider range preferred if possible

Shelves: At least 2 included, with option to add