ARC Infruitec-Nietvoorbij

Private Bag X5026, Stellenbosch, 7599, South Africa

Tel: (021) 809 3172

Fax: (021) 809 3400/3592

28 April 2022

OFFICE OF SUPPLY CHAIN MANAGEMENT

DESCRIPTION OF SERVICE: SUPPLY AND DELIVER Steel for De Doorns Store at Robertson Research Farm in Robertson

Scope of Work, Conditions for Supply and deliver steel for De Doorns Store at Robertson Research Farm in Robertson

| Steel for De Doorns Store |  | Quantity | If No, Please Indicate Deviation |
| --- | --- | --- | --- |
| 1. Specific Description | Compliance to Specification (Yes/No) *Describe If Specification Differs |  |  |
| Square Tube 32 x 2mm |  | 240m |  |
| Expa Metal 346 50 x 25 x 3 (20-3HF) Flat |  | 18 |  |
| Disk Cut Steel 230 SG Elastic |  | 10 |  |
| Disk Grinding Steel 115mm Steel |  | 5 |  |
| Welding Rods RB36 R6013 2.6mm |  | 5kg |  |
| Coach Screw 10 x 60 |  | 100 |  |
| Plugs 12mm |  | 100 |  |
| Lug 30 x 50 |  | 100 |  |
| 2. General |  |  |  |
| 2.2 The supplier must deliver to Robertson Research Farm, Robertson |  |  |  |

- PRICING SCHEDULE FOR DELIVERY AND SUPPLY STEEL FOR DE DOORNS STORE AT ROBERTSON RESEARCH FARM

| Item description | Quantity | Unit price | Total Price |  |
| --- | --- | --- | --- | --- |
| Square Tube 32 x 2mm | 240m |  |  |  |
| Expa Metal 346 50 x 25 x 3 (20-3HF) Flat | 18 |  |  |  |
| Disk Cut Steel 230 SG Elastic | 10 |  |  |  |
| Disk Grinding Steel 115mm Steel | 5 |  |  |  |
| Welding Rods RB36 R6013 2.6mm | 5kg |  |  |  |
| Coach Screw 10 x 60 | 100 |  |  |  |
| Plugs 12mm | 100 |  |  |  |
| Lug 30 x 50 | 100 |  |  |  |
| SUBTOTAL |  |  |  |  |  |
| VAT |  |  |  |  |  |
| GRANDTOTAL |  |  |  |  |  |

Company name:……………………………………………………………………………………………….

Contact person:………………………………………………………………………………………………..

Contact number:……………………………………………………………………………………………….

Date and signature:…………………………………………………………………………………………

Contact: SK Qotyiwe – qotyiwes@arc.agric.za or 083 629 5819

NB: Bidders must complete the table below as per the commitment of the RFQ.

AGREE WITH THE ABOVE SPECIFICATION: We the undersigned submit this RFQ in accordance with the conditions contained in the referenced above RFQ document and attach the documents required:

Bidders representative:…………………………………………………………………….

Capacity:………………………………………………………………………………………

Date and signature:…………………………………………………………………………

| DISAGREE WITH THE ABOVE SPECIFICATION: |  |  |
| --- | --- | --- |
| PAGE NUMBER | CLAUSE NUMBER | DEVIATION |
| Bidders representative and capacity ……………………………………………………………………….. |  |  |
| Date and signature………………………………………………………………………………………………………….. |  |  |

- EVALUATION PROCESS & CRITERIA STAGE ONE FOR SUPPLY AND DELIVER STEEL FOR DE DOORNS STORE AT ROBERTSON RESEARCH

FARM ADMINISTRATIVE COMPLIANCE EVALUATION OF ALL PROPOSALS

|  | Comply with specification. Please indicate Yes or No |  |  |
| --- | --- | --- | --- |
|  | Yes | No | If no, indicate deviation |
| EVALUATION PROCESS: NB: It must be noted that ARC reserve the rights to request for clarification if all the below questions are not answered properly. |  |  |  |
| STAGE ONE: ADMINISTRATION COMPLIANCE |  |  |  |
| All suppliers are duly lodged will be examined to determine compliance with quoting requirements and conditions. Quotes with obvious deviations from the requirements/conditions, will be eliminated or disqualified from further adjudication. - Mandatory Quotes will only be compliant if supplier has submitted the following documents: |  |  |  |
| Administrative documents - According to National Treasury SCM Instruction number 4 of 2016/2017, only suppliers who are registered on Central Supplier Database (CSD) may be appointed. Suppliers is therefore encourage to register their entities on CSD, www.csd.gov.za and such information will be verified through Central Supplier Database (CSD); |  |  |  |
| - All SBD documents must be submitted and completed; |  |  |  |
| - Non-Mandatory - Valid B-BBEE certificate or sworn affidavit certify by commissioner of oaths. |  |  |  |