NEC3 Term Service Contract (TSC3)

| Between | Eskom Holdings SOC Ltd. (Reg no. 2002/015527/30; VAT No. 4740101508) |  |
| --- | --- | --- |
| and |  |  |
| for | HVAC Maintenance Services |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data |  |
| Part C2 | Pricing Data |  |
| Part C3 | Service Information |  |
| CONTRACT No. |  |  |

PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance |  |
| C1.2a | Contract Data provided by the Employer |  |
| C1.2b | Contract Data provided by the Contractor |  |

C1.1 Form of Offer & Acceptance

## Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

HVAC Maintenance Services

The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

Delete the row for the Options which do not apply

| Options A | The offered total of the Prices exclusive of VAT is | R |
| --- | --- | --- |
|  | Sub total | R |
|  | Value Added Tax @ 15% is | R |
|  | The offered total of the amount due inclusive of VAT is | R |
|  | (in words) |  |

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |
| Tenderer’s CIDB registration number: |  |  |  |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work: Service Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the employer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Employer prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | None | N/A |

By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the Tenderer: |  | #### For the Employer |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  |  |
| On behalf of | (Insert name and address of organisation) |  | (Insert name and address of organisation) |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 TSC3 Contract Data

# Part one - Data provided by the Employer

Completion of this data in full, according to the Options chosen, is essential to create a complete contract.

|  | Clause | ## Statement |  |  | ## Data |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 | ## General |  |  |  |  |  |  |  |
|  | The conditions of contract are the core clauses and the clauses for main Option: |  |  |  |  |  |  |  |  |
|  |  |  | A: Priced contract with price list |  |  |  |  |  |  |
|  | dispute resolution Option |  | W1: Dispute resolution procedure |  |  |  |  |  |  |
|  | and secondary Options |  |  |  |  |  |  |  |  |
|  |  |  | X1: Price adjustment for inflation |  |  |  |  |  |  |
|  |  |  | X2 Changes in the law |  |  |  |  |  |  |
|  |  |  | X17: Low service damages |  |  |  |  |  |  |
|  |  |  | X18: Limitation of liability |  |  |  |  |  |  |
|  |  |  | X19: Task Order |  |  |  |  |  |  |
|  |  |  | X20 : Key performance indicators |  |  |  |  |  |  |
|  |  |  | Z: Additional conditions of contract |  |  |  |  |  |  |
|  | of the NEC3 Term Service Contract April 2013 (TSC3) |  | If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data |  |  |  |  |  |  |
|  | 10.1 | The Employer is (name): |  |  | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state-owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |  |
|  |  | Address |  |  | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |  |
|  |  | Tel No. |  |  | 014 763 8574 |  |  |  |  |
|  |  | Fax No. |  |  | N/A |  |  |  |  |
|  | 10.1 | The Service Manager is (name): |  |  | Maropeng Seshoka |  |  |  |  |
|  |  | Address |  |  | Matimba Power Station, Nelson Mandela Drive, Lephalale, Limpopo |  |  |  |  |
|  |  | Tel |  |  | 014 763 8574 |  |  |  |  |
|  |  | Fax |  |  | N/A |  |  |  |  |
|  |  | e-mail |  |  | seshokmm@eskom.co.za |  |  |  |  |
|  | 11.2(2) | The Affected Property is |  |  | Matimba Power Station |  |  |  |  |
|  | 11.2(13) | The service is |  |  | Part 3 and Appendix A of the contract |  |  |  |  |
|  | 11.2(14) | The following matters will be included in the Risk Register |  |  | - Skill shortage. - Long turnaround time. - Shortage of non-stock/stock items spares. - Long spares lead time. - Permit to work not issued due to system demand |  |  |  |  |
|  | 11.2(15) | The Service Information is in |  |  | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |  |  |
|  | 11.2(17) | The Site Service Manager |  |  | Replace the Service Manager’s functions for a particular site for all issues related to this contract |  |  |  |  |
|  | 12.2 | The law of the contract is the law of |  |  | Republic of South Africa |  |  |  |  |
|  | 13.1 | The language of this contract is |  |  | English |  |  |  |  |
|  | 13.3 | The period for reply is |  |  | Within 24 hours or any other period agreed between the parties and specified in the task order |  |  |  |  |
|  | ## 2 | ## The Contractor’s main responsibilities |  |  |  |  |  |  |  |
|  | 21.1 | The Contractor submits a first plan for acceptance within |  |  | The contractor’s liability for defects due to his design that are not listed on the defect certificate is limited to: see overall limitation of liability in option Z |  |  |  |  |
|  | ## 3 | ## Time |  |  |  |  |  |  |  |
|  | 30.1 | The starting date is. |  |  | 01 December 2023 |  |  |  |  |
|  | 30.1 | The service period is |  |  | Five (5) Years |  |  |  |  |
|  | ## 4 | ## Testing and defects |  |  | Defect date is 52 weeks after completion of each task order. The defect correction period is 24 hours or any other period agreed between the parties. |  |  |  |  |
|  | ## 5 | ## Payment |  |  |  |  |  |  |  |
|  | 50.1 | The assessment interval is |  |  | Monthly on the 25th working day of each month or any other period agreed between the parties |  |  |  |  |
|  | 51.1 | The currency of this contract is the |  |  | South African Rand |  |  |  |  |
|  | 51.2 | The period within which payments are made is |  |  | 30 days after receipt of Contractors Invoice |  |  |  |  |
|  | 51.4 | The interest rate is |  |  | the publicly quoted prime rate of interest (calculated on a 365 day year) charged by from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter (and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |  |
|  | ## 6 | ## Compensation events |  |  |  |  |  |  |  |
|  | ## 7 | ## Use of Equipment Plant and Materials |  |  | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data |  |  |  |  |
|  | ## 8 | ## Risks and insurance |  |  |  |  |  |  |  |
|  | 80.1 | These are additional Employer's risks |  |  | - N/A |  |  |  |  |
|  | 83.1 | The Employer provides these insurances from the Insurance Table |  |  | As stated for in the Annual Construction All Risk Insurance Policy (Format A) available on request from Eskom Group Insurance. |  |  |  |  |
|  | 83.1 | The Employer provides these additional insurances |  |  | As stated for in the Employers Asset All Risk Insurance Policy available on request from Eskom Group Insurance |  |  |  |  |
|  | 83.1 | The Contractor provides these additional insurances: |  |  |  |  |  |  |  |
|  | 83.1 | The minimum amount of cover for insurance against loss and damage caused by the Contractor to the Employer’s property is |  |  | the amount of the deductibles in the amount of R 500 000.00 (Five hundred thousand Rand) relevant to the event described in the “Format A” (Annual Construction All Risk Insurance Policy ) |  |  |  |  |
|  | 83.1 | The insurance against loss of or damage to the works, Plant and Materials is to include cover for Plant and Materials provided by the Employer for an amount of |  |  | The total Contract Value |  |  |  |  |
|  | 83.1 | The minimum amount of cover for insurance in respect of loss of or damage to property (except the Employer’s property, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Service for any one event is: |  |  | Whatever the Contractor deems necessary in addition to that provided by the Employer. |  |  |  |  |
|  | 83.1 | The minimum limit of indemnity for insurance in respect of death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract for any one event is: |  |  | As prescribed by the Compensation for Occupational Injuries and Diseases Act No. 130 of 1993 and the Contractor’s common law liability for people falling outside the scope of the Act with a limit of Indemnity of not less than R500 000 (Five hundred thousand Rands).and, or as per the laws of the Country in which the Contractor`s employees are domiciled.. |  |  |  |  |
|  | ## 9 | ## Termination |  |  |  |  |  |  |  |
|  | ## 10 | ## Data for main Option clause |  |  |  |  |  |  |  |
|  | A | Priced contract with price list |  |  |  |  |  |  |  |
|  | 20.5 | The Contractor prepares forecasts of the final total of the Prices and programme for the service as defined on the task order at intervals no longer than |  |  | Monthly or as Stated in the task order. Programme to be supplied in Primavera Format. The level of the programme to be agreed with the Site Service Manager |  |  |  |  |
|  | ## 11 | ## Data for Option W1 |  |  |  |  |  |  |  |
|  | W1.1 | The Adjudicator |  |  | All disputes shall in the first instance be directed at the Site Service Manager and the Contractor’s Site Representative on site. If the dispute is not settled within a reasonable period the disputed person would refer the dispute to the Service Manager and the Contractor’s National Representative. Should they be unable to settle the dispute it would be referred to Senior Management of each organisation. Should they fail to reach an agreement, it will be referred to the person/s selected from the Eskom panel of Adjudicators by the Party intending to refer a dispute to him within 60 days. (see: www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |  |  |
|  | W1.2(3) | The Adjudicator nominating body is: |  |  | the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the Institution of Civil Engineers (London) (see www.ice-sa.org.za ) or its successor body. |  |  |  |  |
|  | W1.4(2) | The tribunal is: |  |  | Arbitration |  |  |  |  |
|  | W1.4(5) | The arbitration procedure is |  |  | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |
|  |  | The place where arbitration is to be held is |  |  | South Africa |  |  |  |  |
|  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is |  |  | The Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |
|  | ## 12 | ## Data for secondary Option clauses |  |  |  |  |  |  |  |
|  | X1 | Price adjustment for inflation |  |  |  |  |  |  |  |
|  | X1.1 | The base date for indices is |  |  | The prices as per the price list will be fixed & firm for the 1st year of the contract. Escalation will apply on the anniversary of the contract A "fixed" portion is included in the CPA formula as per the table below. (15%) |  |  |  |  |
|  |  | The proportions used to calculate the Price Adjustment Factor are: |  |  | Proportion | linked to index for | Index prepared by |  |  |
|  |  |  |  |  | 0. |  |  |  |  |
|  |  |  |  |  | 0. |  |  |  |  |
|  |  |  |  |  | 0. |  |  |  |  |
|  |  |  |  |  | 0. |  |  |  |  |
|  |  |  |  |  | 0. |  |  |  |  |
|  |  |  |  |  | 0.15 | non-adjustable |  |  |  |
|  |  |  |  |  | 1.00 |  |  |  |  |
|  | X2 | Changes in the law |  |  | As per the terms and conditions on X2.1 of NEC3 TSC. |  |  |  |  |
|  | X17.1 | Low service damages |  |  |  |  |  |  |  |
|  |  | The service level table is in |  |  | Service level table Description; Penalty. Plant rework; R nil/overtime. Poor workmanship; Contractor to carry corrective cost. Compliance to SOW schedule; R1000 p/day overdue as per agreed schedule. The penalty for the late response will be R1000 per day to a maximum of 10% of the task order for the normal breakdown.. |  |
|  | X18 | Limitation of liability |  |  |  |  |  |  |  |
|  | X18.1 | The Contractor’s liability to the Employer for indirect or consequential loss is limited to |  |  | R0.0 (zero Rand) |  |  |  |  |
|  | X18.2 | For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to |  |  | The amount of the deductibles relevant to the event described in the “Format A” insurance policy available on request from Eskom Group Insurance. |  |  |  |  |
|  | X18.3 | The Contractor’s liability for Defects due to his design of an item of Equipment is limited to |  |  | The greater of - the total of the Prices at the Contract Date and the amounts excluded and unrecoverable from the Employer’s insurance (other than the resulting physical damage to the Employer’s property which is not excluded) plus the applicable deductibles in the Employer’s assets and works / maintenance policies available on request from Eskom Group Insurance |  |  |  |  |
|  | X18.4 | The Contractor’s total liability to the Employer, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to |  |  | The total of the Prices other than for the additional excluded matters. The Contractor’s total liability for the additional excluded matters is not limited. The additional excluded matters are amounts for which the Contractor is liable under this contract for - Defects due to his design, plan and specification, - Defects due to manufacture and fabrication outside the Affected Property, - loss of or damage to property (other than the Employer’s property, Plant and Materials), - death of or injury to a person and - Infringement of an intellectual property right. |  |  |  |  |
|  | X18.5 | The end of liability date is |  |  | 52 weeks after the end of the service period. |  |  |  |  |
|  | X19 | Task Order |  |  |  |  |  |  |  |
|  | X19.5 | The Contractor submits a Task Order programme to the Site Service Manager |  | 6 Hours or as agreed between the parties |  |  |  |  |  |
|  | X20 | Key Performance Indicators |  |  |  |  |  |  |  |
|  | X20.1 | The incentive schedule for Key Performance Indicators is in |  |  | Appendix A to this Contract Data |  |  |  |  |
|  | X20.2 | A report of performance against each Key Performance Indicator is provided at intervals of |  |  | 1 Month 1 Year |  |  |  |  |
|  | Z | The additional conditions of contract are |  |  | Z1 to Z14 always apply. |  |  |  |  |
|  | Z1 | Cession delegation and assignment |  |  |  |  |  |  |  |
|  | Z1.1 | The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer. |  |  |  |  |  |  |  |
|  | Z1.2 | Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |  |  |
|  | Z2 | Joint ventures |  |  |  |  |  |  |  |
|  | Z2.1 | If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract. |  |  |  |  |  |  |  |
|  | Z2.2 | Unless already notified to the Employer, the persons or organisations notify the Service Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf. |  |  |  |  |  |  |  |
|  | Z2.3 | The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing. |  |  |  |  |  |  |  |
|  | Z3 | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |  |  |  |
|  | Z3.1 | Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change. |  |  |  |  |  |  |  |
|  | Z3.2 | The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Service Manager within thirty days of the notification or as otherwise instructed by the Service Manager. |  |  |  |  |  |  |  |
|  | Z3.3 | Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Service. |  |  |  |  |  |  |  |
|  | Z3.4 | Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P4 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |  |  |  |
|  | Z4 | Ethics |  |  |  |  |  |  |  |
|  | Z4.1 | Any offer, payment, consideration, or benefit of any kind made by the Contractor, which constitutes or could be construed either directly or indirectly as an illegal or corrupt practice, as an inducement or reward for the award or in execution of this contract constitutes grounds for terminating the Contractor’s obligation to Provide the Service or taking any other action as appropriate against the Contractor (including civil or criminal action). |  |  |  |  |  |  |  |
|  | Z4.2 | The Employer may terminate the Contractor’s obligation to Provide the Service if the Contractor (or any member of the Contractor where the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations) is found guilty by a competent court, administrative or regulatory body of participating in illegal or corrupt practices. Such practices include making of offers, payments, considerations, or benefits of any kind or otherwise, whether in connection with any procurement process or contract with the Employer or other people or organisations and including in circumstances where the Contractor or any such member is removed from the an approved vendor data base of the Employer as a consequence of such practice. |  |  |  |  |  |  |  |
|  | Z4.3 | Notwithstanding the provisions of core clause 90.2, the procedures on termination in terms of this clause are P1, P2 and P4 as stated in the core clause 92 and the amount due is A1 and A3 as stated in core clause 93. |  |  |  |  |  |  |  |
|  | Z5 | Confidentiality |  |  |  |  |  |  |  |
|  | Z5.1 | The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time). Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |  |  |
|  | Z5.2 | If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Service Manager. |  |  |  |  |  |  |  |
|  | Z5.3 | In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |  |  |
|  | Z5.4 | The taking of images (whether photographs, video footage or otherwise) of the Affected Property or any portion thereof, in the course of Providing the Service and after the end of the service period, requires the prior written consent of the Service Manager. All rights in and to all such images vests exclusively in the Employer. |  |  |  |  |  |  |  |
|  | Z5.5 | The Contractor ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |  |  |
|  | Z6 | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |  |  |
|  | Z6.1 | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Service Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |  |  |
|  | Z7 | Health, safety and the environment: Add to core clause 27.4 |  |  |  |  |  |  |  |
|  | Z7.1 | The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor: - accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property; - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and - undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |
|  | Z7.2 | The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |
|  | Z8 | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |  |  |
|  | Z8.1 | Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Service Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |  |  |
|  | Z8.2 | If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |  |  |
|  | Z8.3 | The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |  |  |
|  | Z9 | Notifying compensation events |  |  |  |  |  |  |  |
|  | Z9.1 | Delete the last paragraph of core clause 61.3 and replace with: If the Contractor does not notify a compensation event within eight weeks of becoming aware of the event, he is not entitled to a change in the Prices. |  |  |  |  |  |  |  |
|  | Z10 | Employer’s limitation of liability |  |  |  |  |  |  |  |
|  | Z10.1 | The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |  |  |
|  | Z10.2 | The Contractor’s entitlement under the indemnity in 82.1 is provided for in 60.1(12) and the Employer’s liability under the indemnity is limited to compensation as provided for in core clause 63 and X19.11 if Option X19 Task Order applies to this contract. |  |  |  |  |  |  |  |
|  | Z11 | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |  |  |
|  | Z11.1 | or had a business rescue order granted against it. |  |  |  |  |  |  |  |
|  | Z12 | Warrantee: |  |  |  |  |  |  |  |
|  | Z12.1 | The warrantee period is 12 months after completion of each task order |  |  |  |  |  |  |  |
|  | Z12.2 | The Defects correction period is the period during which the Contractor undertakes to repair the Defect. The period for repair of a Defect shall be determined by the nature of the Defect and shall be such period as is reasonable in the circumstances |  |  |  |  |  |  |  |
|  | Z12.3 | The defective Service will be inspected by both the Service Manager and Contractor and a decision made as to how the defective services are to be corrected. Any decision made will be agreed in writing. |  |  |  |  |  |  |  |

# Annexure A:	Insurance provided by the Employer

These notes are provided as guidance to tendering contractors and the Contractor about the insurance provided by the Employer. The Contractor must obtain its own advice. Details of the insurance itself are available from the internet web link given below.

- Services provided in a TSC3 contract could include some element of construction or refurbishment as well as a continuous maintenance or operational service activity.  If an event occurs which causes loss or damage, a claim could be made either against the Employer’s “works” type policy which may be in place for the Employer’s portion of the Affected Property concerned or against the Employer’s assets policy which may be in place for the Employer’s portion of the Affected Property concerned, or both.

- The cover provided and the deductibles under the works policy are different to those under the assets policy.   Each policy has a range of applicable deductibles depending on the location of the Affected Property and the nature of the insurable event.

- The Contractor is required in terms of Contract Data for clause 83 to provide cover for the deductibles in the insurance provided by the Employer.  This can be provided from his own resources on a ‘self insured’ basis or obtained by him from his own insurers.   In order to assess the extent of this cover, tendering contractors and their brokers should consult the internet web link given below and scroll to ‘Format TSC3’ to establish both the cover and the deductibles in relation to the service provided in terms of this contract.

- Tendering contractors should note that cover provided by the Employer is only per the policies available on the internet web link listed below and may not be the cover required by the tendering contractor or as intended by each of the listed insurances in the left hand column of the Insurance Table in clause 83.2.  In terms of clause 83.1 “the Contractor provides the insurances stated in the Insurance Table except any insurance which the Employer is to provide”.  Hence the Contractor provides insurance which the Employer does not provide and in cases where the Employer does provide insurance the Contractor insures for the difference between what the Insurance Table requires and what the Employer provides.

- If Marine Insurance is required the Contractor needs to obtain a copy of the latest edition of Eskom’s Marine Policies Procedures found at internet website given below.

- Further information and full details of all Eskom provided policies and procedures may be obtained from:

http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx

C1.2 Contract Data

# Part two - Data provided by the Contractor

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | ## Statement | ## Data |
| --- | --- | --- |
| 10.1 | The Contractor is (Name): |  |
|  | Address |  |
|  | Tel No. |  |
|  | Fax No. |  |
| 11.2(8) | The direct fee percentage is | % |
|  | The subcontracted fee percentage is | % |
| 11.2(14) | The following matters will be included in the Risk Register |  |
| 11.2(15) | The Service Information for the Contractor’s plan is in: |  |
| 21.1 | The plan identified in the Contract Data is contained in: |  |
| 24.1 | The key people are: |  |
|  | 1 Name: |  |
|  | Job: |  |
|  | Responsibilities: |  |
|  | Qualifications: |  |
|  | Experience: |  |
|  | 2 Name: |  |
|  | Job |  |
|  | Responsibilities: |  |
|  | Qualifications: |  |
|  | Experience: |  |
|  |  | CV's (and further key person's data including CVs) are in . |
| A | Priced contract with price list |  |
| 11.2(12) | The price list is in |  |
| 11.2(19) | The tendered total of the Prices is | R |
| C | Target contract with price list |  |
| 11.2(12) | The price list is in |  |
| 11.2(20) | The tendered total of the Prices is | R |
| E | Cost reimbursable contract |  |
| 11.2(12) | The price list is in |  |

Part 2: Pricing Data

TSC3 Option A

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions: Option A | 2 |
| C2.2 | The price list | [●] |

C2.1 Pricing assumptions: Option A

# How work is priced and assessed for payment

Clause 11 in NEC3 Term Service Contract (TSC3) core clauses and Option A states:

| Identified and defined terms | 11 11.2 | (12) The Price List is the price list unless later changed in accordance with this contract. |
| --- | --- | --- |
|  |  | (17) The Price for Services Provided to Date is the total of - the Price for each lump sum item in the Price List which the Contractor has completed and - where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate. |
|  |  | (19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate. |

This confirms that Option A is a priced contract re-measureable where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both, where re-measurable means reviewing and applying the actual quantities and prices utilized on the task order

# Function of the Price List

Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not provide the Service in accordance with the Price List.   The Price List is only a pricing document.

# Link to the Contractor’s plan

Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17).

# Preparing the price list

Before preparing the price list, both the Employer and tendering contractors should read the TSC3 Guidance Notes pages 14 and 15.  In an Option A contract, either Party may have entered items into the price list either as a process of offer and acceptance (tendering) or by negotiation depending on the nature of the service to be provided.  Alternatively the Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in the price list to be prepared and priced by him.

It is assumed that in preparing or finalising the price list the Contractor:

- Has taken account of the guidance given in the TSC3 Guidance Notes relevant to Option A;

- Understands the function of the Price List and how work is priced and paid for;

- Is aware of the need to link operations shown in his plan to items shown in the Price List;

- Has listed and priced items in the price list which are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;

## Format of the price list

Refer to Clause C2.2

C2.2 the price list

Part 1:

| Item | Description | UOM | Quantity | Rate of month | Total |
| --- | --- | --- | --- | --- | --- |
| 1 | Site Supervisor (X1) | Monthly | 60 |  |  |
| 2 | Technicians Mechanical (X2) | Monthly | 60 |  |  |
| 3 | Technicians Electrical (X2) | Monthly | 60 |  |  |
| 4 | Semi-Skilled (X6) | Monthly | 60 |  |  |
| 5 | Safety Officer (X1) | Monthly | 60 |  |  |
| 6 | P&G (Detail cost breakdown to be attached) | Monthly | 60 |  |  |
| 7 | Safety File | Once off | 1 |  |  |
| 8 | PPE | Yearly | 5 |  |  |
| 9 | Site-Establishment | Once off | 1 |  |  |
| 10 | Site-destablishment | Once off | 1 |  |  |
| 11 | Transport (HomeWorkHome) | Monthly | 60 |  |  |
| 12 | LDV | Monthly | 60 |  |  |
| 13 | Medicals | Yearly | 5 |  |  |

Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page |  |
| C3.1 | Employer’s Service Information |  |
| C3.2 | Contractor’s Service Information(insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

C3.1: Employer’s service Information

Contents

- Description of the service.

- Site services and procedures.

- Management strategy and start up

- Turnaround time

- Management meetings

Appendix

- Scope of Work

# Description of the service

## Executive overview

The works covers the provision of a twenty-four hour seven days a week first line Air conditioning Maintenance and operating service as and when required and the contractor ensures that Matimba Power Station is the priority client. In providing this service the contractor is required to be authorised in terms of Plant Safety Regulations (PSR) and Operating Regulations for High Voltage System (ORHVS) as Appointed and Responsible person for PSR and Responsible person for Responsible.

# SITE SERVICES AND PROCEDURES

The following technical specification and procedures are applicable to this contract and are available (ESKOM related standards) on requests, only the latest revision to be used.

TITLE

Occupational Health and Safety Act, 85 of 1993.

ISO 9001:2008: Quality management systems.

PG/SA*/001

# Management strategy and start up

3.1 The Contractor’s plan for the service

- Eskom will provide the process control manual (32-1303) for executing maintenance work and contractor shall work according to PCM guideline.

- The contractor is to work in accordance with employer’s plans and procedures.

- In the event of an outage related work, the original duration, remaining duration, backlog, delays experienced etc. are to be clearly reflected in a general planning report.

- The method for reporting on activities in progress is by remaining duration, i.e., the time, in working days, needed to complete the activity from the report date. Once an activity has started, the remaining duration is assessed for each update.

# Turnaround time

- Call out response time is 30 Minutes.

- The maximum turnaround time for NCR is 5 working days.

- P1 work orders call out must be executed within 24 hours.

- P2 work orders must be executed within 2 days.

- P3 work orders must be executed within 30 days.

- P4 work orders must be executed within 12 months.

- Planned schedule work order must be executed with the specific week planned for and must be agreed upon.

# Management meetings

- The Employer will notify the contractor of any management meetings to be held.

- The Employer’s Supervisor shall meet with the contractor Supervisor on a daily basis to hand over the activity list that must be performed. The Contractor shall be required to perform these activities in accordance with all relevant information, guidelines, and report back to the Eskom Supervisor daily.

- Regular meetings of a general nature may be convened and chaired by the Service Manager as follows:

| Title and Purpose | Approximate time &Interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Daily feedback meeting intended to update CM on work progress and challenges | Daily at CM’s Office | Matimba | Contractor Site Supervisor |
| Contractor Safety Meeting | Monthly | Matimba | Safety office |
| Department meeting intended to discuss and present plant performance indicators | Bi-weekly | Matimba | Contractor Site Supervisor |
| Toolbox meeting | Daily | Matimba | All Contractors employees |
| Any other business-related meetings, e.g., Outage, scope challenge | As and when required | Matimba | Contractor Site Supervisor |

- Meetings of a specialist nature may be convened as specified elsewhere in this service information or if not so specified by persons and at times and locations to suit the parties, the nature and the progress of the service. Records of these meetings shall be submitted to the Service Manager by the person convening the meeting within five days of the meeting.

- All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting. Such meetings or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

# Site inspections, meetings, and discussions

- Site meetings between the Contractor and the Employer’s Management shall be held monthly. Inspections by senior members of the Contractor/s staff shall be carried out monthly, accompanied by a duly representative of the Employer.

- Problems discussed and pointed out during such inspections shall be noted and actions taken on the Contractor shall conduct daily toolbox talk or meeting with his/her team.

- Contractor shall conduct monthly SHEQ meeting with his/her team.

- Contractor shall attend weekly and monthly contractor’s meeting with Head of department.

- Any other meeting that may be initiated and scheduled by the Service Manager or Contract Supervisor.

# Contractor’s management, supervision, and key people

- Maintenance and repair services for HVAC system in accordance with relevant procedure and specification.

- The Contractor to provide technical support and advice on constant failure trends of the equipment.

- Ensure that the application and implementation of appropriate maintenance tools and innovative techniques.

- Develop key performance indicators (KPI), objectives and targets which support and in line with Employer’s objectives.

- To provide adequate resources capabilities to carry out maintenance and repair work that support Employer’s objectives.

- The Contractor shall notify Eskom Service Manager on any defects or repair work that fall outside the scope.

- The Contractor to adhere to all Employer’s health and Safety requirements and procedures on site.

- The Contractor to provide relevant documentation caters for the Employer’s equipment. This will include all records keeping of all activities, plant conditions and quality control and safety documentation.

- The Contractor shall comply with all relevant SABS standards, OHS Act 1993and also Employer’s standards as specified from time to time.

- The integrity of the plant is maintained within the parameters specified by the Employer.

- All other maintenance activities to be performed in accordance with the relevant procedures and specifications where applicable.

- Contractor shall carry out routine check if deem necessary as per operations and maintenance manuals of such equipment.

- The Contractor shall record and report to the Employer the following:

- All incidents and equipment failure to be reported to the Employer within same day.

- Overall monthly system performance report.

- Investigate and diagnosis of plant defects to determine the scope of work required.

- Execution of corrective maintenance activities.

- Determination of plant spares and specification.

- Execution of preventative maintenance activities as specified by Engineering.

- Supervision of maintenance activities to ensure quality, safety and productivity target are achieved.

- Quality control of maintenance activities.

- Quality inspections of spares received at stores receiving.

- Perform work planning

- Development of work instruction and procedures for maintenance activities.

- Assist with the investigation of incidents and their root cause analysis.

# Responsibilities of the Contractor’s Site Management

- The Employer’s expects the site management team of the Contractor’s to ensure and drive compliance in terms of the maintenance philosophy of the Employer, as detailed in the section entitled “Employer’s Expectations”.

- As a minimum requirement, the Employer expects the Contractor’s Site management to have the authority to make decisions on the operational and managerial aspects of the service.

- Ability to represent the Contractor on the Employer’s management meetings when so required.

- Ensure that all required permits are requested and issued prior to the commencement of work.

- Monitor and control its staff’s sick leave and absenteeism record.

- Administrate all quotations and invoices from site.

- Be actively involved in its staff health and safety issues.

- Be the single point of contact for all Employer request concerning its staff.

- Provide monthly resources utilization, plant status, time sheets, overall contract performance and monthly stats.

# Invoicing and payment

Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Service Manager’s payment certificate

In terms of core clause 50 the Contractor assesses the amount due and applies to the Employer for payment.  The Contractor applies for payment with a tax invoice addressed to the Employer as follows:

______________________________________________________________________

The Contractor includes the following information on each tax invoice:

Eskom Holdings Limited

Matimba Power Station

APS Department

Private Bag X 215

LEPHALALE

0555

- Name and address of the Contractor

- The contract number and title;

- Contractor’s VAT registration number;

- The Employer’s VAT registration number 4740101508;

- The total of

- The Price for each lump sum item in the Price List or Task Order which the Contractor has completed;

- Where a quantity is stated for an item in the Price List or Task Order, an amount calculated by multiplying the quantity which the Contractor has completed by the rate,

- Other amounts to be paid to the Contractor;

- Less amounts to be paid by or retained from the Contractor;

- The change in the amount due since the previous payment being the invoiced amount - excluding VAT, the VAT and including VAT;

- (add other as required)

The Contractor attaches the detail assessment of all work done for each item in the Price List to each tax invoice showing

- the Price for each lump sum item in the Price List or Task Order which the Contractor has completed and

- where a quantity is stated for an item in the Price List or Task Order, an amount calculated by multiplying the quantity which the Contractor has completed by the rate.

The Contractor shall send the tax invoice to: Invoiceseskomlocal@eskom.co.za

# Contractor change management

- Any changes to the contract management should be discussed and be approved by the Employer’

# Insurance provided by the Employer

- Refer to clause 8, Risk and Insurance.

# Management of work done by Task Order

- A task order together with a SAP 45-release order is the Employer’s notice to the Contractor to carry out a task.

- Work done by the Contractor without SAP 45-release order is done at risk of non-payment.

- Employer provides a tsk order to the Contractor for each task he requires to be carried out.

- The Contractor provides the work in accordance with the scope on receipt of each tsk order.

# Health and safety, the environment and quality assurance

# Records of Defined Cost

In order to substantiate the Defined Cost of compensation events, the Employer may require the Contractor to keep records of amounts paid by him for people employed by the Contractor, plant and materials, work subcontracted by the Contractor and equipment.  [See clause 11.2(2) and 63.2].  State in what form these records are to be kept and how accessed by the Employer.

APPENDIX A

Scope of Work

# Introduction

Eskom, Matimba Power Station Management has decided to outsource the HVAC Maintenance Services Scope of Work to a suitably qualified, experienced and well-established Service Provider.

This document describes the detail of the applicable requirements, scope of work, specifications, terms & conditions as well as the criteria to qualify for the tender.

# Supporting Clauses

## Scope

This document sets out the detailed User Scope of Work requirements necessary for the HVAC Maintenance Services.

### Purpose

The purpose of this document is to define a User Scope of Work requirement based on which a service contract will be established between the Employer and the Contractor.

Matimba Power Station is expected to perform at EAF>85, PCLF<8 and UCLF<5, and the specified HVAC Maintenance Services must support this requirement.

It is therefore imperative that the successful and suitably qualified Contractor aligns his/ her organisation fully to these specified scope activities and processes laid down in this document.

### Applicability

This document shall apply to the HVAC Maintenance Services associated with Eskom, Matimba Power Station.

### Effective date

The effective date of this document is as per the date and signature of the authorizer, as indicated on the cover page of this document.

## Normative/Informative References

Parties using this document shall apply the most recent edition of the documents listed in the following paragraphs.

### Normative

- ISO 9001 Quality Management Systems.

- 32 – 1303 Process Control Manual (PCM) for Execute Maintenance Work.

- [4] 32 – 1304 Process Control Manual (PCM) for Manage Work.

- [5] 240-145570860 HVAC Maintenance Strategy

### Informative

- Act No 85 Occupational Health and Safety Act & Regulations.

- 240-46554063: Safety Health Environmental and Quality Policy.

- GGR-0992 Plant Safety Regulations.

## Definitions

- Ad hoc: A solution designed for a specific problem or task, non-generalizable, and not intended to be able to be adapted to other purposes.

- Contractor: Partnership agreements and service provider contracted for supplying specific service to Eskom Generation Matimba Power Station.

- Controlled Disclosure: Controlled disclosure to external parties (either enforced by law, or discretionary.

- Employer: Eskom or Eskom Generation, Matimba Power Station.

- Parties: The Employer and the Contractor.

- Service Manager: The Employer’s representative in regard to the contract agreement.

- Task Order: The Service Manager’s instruction to perform a task. SAP PM orders will also be used as task orders.

## Abbreviations

| Abbreviation | Explanation |
| --- | --- |
| HVAC | Heating Ventilation Airconditioning |
| EW | Emergent Work. |
| NEC3 | New Engineering Contract. |
| NRC | Notification Response Compliance. |
| OEM | Original Equipment Manufacturer. |
| PCM | Process Control Manual. |
| PDF | Portable Document Format. |
| PM | Preventive Maintenance. |
| PMC | Preventive Maintenance Compliance. |
| QCP | Quality Control Plan. |
| SAP | Systems, Applications Products. |
| SAP PM | SAP Plant Maintenance |
| SCSA | Strategic & Critical Spares Availability. |
| SOV | Statutory Order Violations. |
| SOW | Scope of Work. |
| TSC | Term Service Contract. |
| URS | User Requirement Specification. |

## Roles and Responsibilities

### Contract Manager

- Co-ordinating and Manage contract budget and expenses.

- Ensures that the contractor operates within the budget.

- Holds monthly meetings with the contractor.

- Communicate technical interface between Eskom and the contractor.

- Ensures that all work performed complies with OHS act regulation and quality requirements.

- Review, verify and approve receipt of services or deliverables from the contractor.

- Manage and maintain contract records and correspondence between the employer and the contractor.

- Ensures that the contractor compliance with the conditions of the contract.

- Resolving any deviations and breaches in relation to the agreed conditions of the contract.

- Keep the records of the contract for history and audit purposes.

### Contractor

- Provide a maintenance service to the Employer in accordance with Matimba Power Station HVAC Maintenance Services SOW URS.

- Ensure that quality workmanship is delivered in Process for Monitoring in accordance to the Scope of Work as stipulated within Matimba Power Station HVAC Maintenance Services SOW URS.

- Obey an instruction which is in accordance to the contract and is given to him by the Service Manager.

- Acts in accordance with the Health and Safety requirements as stated in Matimba Power Station HVAC Maintenance Services SOW URS.

- Develop Key performance Indicator (KPI), objectives and targets which support and in line with the Employer’s objectives

- Draft a monthly Plant Status report

- Contractor to ensure that all technical drawings for the entire HVAC systems installed are kept updated for the duration of this contract at Matimba Power Station.

- The contractor shall record and report to the Employer the following.

-All incidents and equipment failure to be reported to the Employer within the same day.

-The contractor must provide monthly overall system performance report.

-The contractor submits to the Employer, a fully substantiated written damage report specifying the nature, scope and cost of rectification work required including a programme for execution.

## Process of Monitoring

Maintenance process monitoring shall be done by means of the following:

### Process Control Manuals (PCM)

- 32 – 1303 Process Control Manual (PCM) for Execute Maintenance Work.

- 32 – 1304 Process Control Manual (PCM) for Manage Work.

### On – Line Maintenance

- Preventive Maintenance Compliance (PMC).

- Notification Response Compliance (NRC).

- Statutory Order Violations (SOV).

- Emergent Work (EW).

## Related/Supporting Documents

- NEC 3 Term Service Contract.

- 32 – 1303 Process Control Manual (PCM) for Execute Maintenance Work.

- 32 – 1304 Process Control Manual (PCM) for Manage Work.

- Contractor to provide required qualifications (Trade Test certificate/National Diploma/Degree or relevant technical qualifications).

- A daily attendant register for the contractor employees to be signed by all employees when on site and maintained in a file

# Document Content

## General

### Adherence to Eskom General Policies & Standards

The Employees of the Contractor shall comply with Eskom’s policies and site regulations.

### Quality Standard

The Contractor shall provide a complete Quality Assurance plan in accordance with the requirements of ISO 9001: 2010 – Quality Management to the Employer for approval. This plan must ensure an integrated quality service as part of the contract.

Execution of all quality related activities, including inspection and test plans compilation and execution, stores material quality inspections and all quality-related record keeping is part of the Contractor’s scope of work.

Workmanship shall, always, be of a grade accepted as the best practice of the particular trade involved and as stipulated in written standards of recognised organisations or institutes of the respective trades, except as exceeded or qualified by the specifications. The Employer shall determine the acceptability of workmanship.

The contractor shall develop, maintain and implement quality control plan as per task as agreed by the Employer.

The QCP must be discussed with the employer for approval. This QCP shall comply with ISO 9001:2010 standards.

Any amendments to the QCP shall be discussed with the employer for approval.

All quality hold points, and witness point must be done in presence of an Eskom employee quality document to be handed to the employer.

### Document Control

All contractual communication between the Employer and Contractor shall be in written format accompanied by an official letterhead and signed by the authorised Parties.

All attached documentation shall be in the format of Microsoft Word/ Excel and/ or Power Point.

All contractual communication letterheads and attached documentation shall be electronically mailed as per PDF format.

### Contractual Meetings

The Contractor shall be required to adhere to and take part in the following meetings being held by the Service Manager and/ or person delegated in writing to do so:

- Daily toolbox meeting as when required

- Contractual Start – up Meeting.

- ADHOC Meetings.

- Supervisors and Contractors meeting.

- Monthly SHEQ meeting.

- Any other meeting that may be initiated and scheduled by the contract manager or supervisor as and when required.

### Correspondence

All verbal and non – verbal communication between the Employer and Contractor which this contract requires shall be communicated in a form which can be read, copied, and recorded. All correspondence between the Parties shall be in written format and exchanged by means of electronic mail service.

The rules of NEC3; Term Service Contract will set out the requirement for both Parties.

### Legal Requirements

Operating Regulations for High-Voltage Systems and Plant Safety Regulations

The Contractor’s employees shall be trained within the terms of the Operating Regulations for High-Voltage Systems and Plant Safety Regulations implemented at Matimba Power Station.

The Contractor shall ensure they have responsible persons (in terms of PSR and ORHVS) for any work performed on the plant. This will require individuals to successfully complete a written and oral examination for the relevant regulation based on the Plant Safety Regulations and Operating Regulations for High Voltage Systems.

The contractor shall have Authorised Appointed and Responsible Person in terms of Plant Safety regulations from the start of the contract.

### Task Order

The Contractor shall by no means carry out any maintenance work in terms of the Scope of Work Information, without the approval of the Employer.

The Contractor shall by no means carry out any maintenance work in terms of the Scope of Work Information, without the approval an official SAP Task Order Number being supplied by the Employer to the Contractor.

## Manpower

### Competent Personnel

The Contractor shall make use of competent personnel which has been fully trained and authorised to provide the HVAC Maintenance Services as stipulated in the scope of work information.

The Contractor shall supply the Employer with valid documentation as proof regarding the competency (See Appendix A for minimum requirements) of their personnel.

### HVAC Structure

This structure (See Appendix B under item 9.2) is a generic structure on which initial resource planning shall be based. Phasing in of resources need to be defined and agreed on.

The Contractor is required to do an assessment on resource utilisation using SAP - PM and the effectiveness of the generic structure and make proposals on how to optimise resources into a final working structure.

## Tools and Electrical Equipment

The Contractor shall supply their own tools and electrical equipment when providing the HVAC Maintenance Services to the Employer which will include but not limited to the following:

- Basic hand tools/ Toolbox.

- Vacuum pumps.

- Gas recovery and recycling station.

- Cylinders for recovered gas.

- Air flow meter for duct balancing.

- Leak detectors.

- Portapacks and gas blow torch.

- Bearing pullers.

- HVAC gauges/set.

- Pipe benders.

- Drill and angle grinders.

- Flaring and crimping tools for tubing.

- Fluke Multimeter.

The Contractor shall provide a comprehensive list of all tools and electrical equipment to be used for the Maintenance Service before entering the premises of the Employer.

All tools and electrical equipment shall be checked for compliance purposes before commencement of work and during the period of contract by the Employer.

All Testing equipment shall be calibrated and approved by a SANAS accredited supplier. Calibration certificates shall be made available to the Employer and all equipment used must have valid calibration at all times.

## Transport

### Vehicle transport to and from the Employer’s Premises

- The Contractor shall be responsible to provide means of transport in order to get employees, spares and tools onto and out from Employer premises.

- The Contractor shall ensure that all employees who is authorised to drive a motor vehicle/ specialised vehicle have the required authorisation to do so.

- All contractor transportation entering Matimba site shall be roadworthy and comply with Eskom standard.

# The Contractor shall supply the Employer with the required legal authorisation as proof of compliance.

## Site Services Provided by the Employer

### Site Facilities

- Workshop.

- Electricity, water, and toilet facilities at no cost to the contractor.

- Telephone service- to pay for all private telephone calls.

- Office facilities at no cost to the contractor.

- Secure parking for vehicles

- Secure storage for plant and materials

- Free access to all relevant premises

- Access to Eskom IT systems and networks

- All plant and materials excluding consumables

## Services Provided by the Contractor

- The Contractor shall be required to supply a maintenance service in terms of the scope of work of a permanent basis for the duration of the contract period.

- The contract period for this contract is 5 years.

- The Contractor shall be based at Matimba Power Station on a permanent basis for the duration of the contract period.

## Scope of Work Information

### Plant Areas to Be Covered

- The Contractor shall be responsible for the maintenance of all HVAC equipment installed on Matimba Power Station and shall also be responsible for implementing and adhering to good housekeeping practices in plant rooms and any other facility allocated to the Contractor in terms of their maintenance responsibilities.

- The following plant areas shall be covered it accordance to the Scope of Work Information:

See Appendix C (Under 10.3) – Plant Areas to Be Covered.

- The employees of the Contractor will be expected to be involved with erection, commissioning, take over and hand over activities related to HVAC equipment and plant.

- In terms of taking over plant, the supervisor(s) of the Contractor will advise the Employer on plant condition and suitability for take over.

### Maintenance of Matimba Power Station HVAC Systems.

Perform maintenance as per 240-145570860 HVAC Maintenance Strategy requirements and standards on all HVAC equipment.

Perform planned and unplanned maintenance on the following HVAC systems:

- Chilled Water Pumps Systems.

- Condenser Water Pumps Systems.

- Chillers and water treatment systems.

- Fan coil air handling units and filters.

- Air ducts.

- Electrical Heaters.

- Motorised Control Valves.

- Steam Humidifiers.

- Dust collector and associated equipment.

- Air extraction systems.

- Air ventilation systems.

- Measurement equipment (temp, pressure flow etc.).

- Room types split air conditioning units.

- Cold and Freezer Rooms.

- Electrical and control panels.

- Commissioning and return to service of HVAC systems after system outages.

- Perform system function tests.

- Perform statutory tests.

- Filter maintenance and filter washing.

- Implement a filter care programme to track filter movement and to monitor filter condition. The number of times washed should be one of the criteria for monitoring filter condition.

- Provide inputs on Design Proposals pertaining to Air conditioning, Ventilation and Refrigerant Plant included Duct Systems as and when required.

- Check drawings for correctness.

- Replace major equipment such as compressor units as and when required.

- Replacement and / or Installation of Domestic Type Air Conditioners.

- Attend to breakdowns and defects, carry out fault finding carry out repairs.

### Work Preparation and Work Management

- Adherence to the Works Management process is of utmost importance.

- The Eskom Plant Safety regulations shall always be adhered to.

- Risk assessments shall be done and documented for each job.

- Safe working procedures or temporary working procedures shall be available and used for each job.

- The staff shall perform Job Observations on the required frequencies.

- All documentation required to complete work shall be referenced and filed for future reference. (Test results, reports, drawings, etc.).

### Standby Services

- The Contractor shall provide a team of employees that are qualified and have adequate expertise to manage the plant area issues on a 24 – hour standby service.

- The Contractor shall ensure that there are at least two persons available for standby service. One for standby and the other a backup in cases of emergency.

- Response time to a callout shall be 30 minutes from the time that the Contractor ‘s standby person was notified of the plant concern until the person report on site.

- The Contractor shall provide a Technical Backup Support service from their Technical Support Section is also required. Normal response time of 12 hours for the person to arrive on Matimba Power Station site is expected.

### Condition Based Maintenance

Applicable to all HVAC equipment connected to the BMS system:

- Online monitoring of all input and output signals.

- Online monitoring of all field devices such as temperature devices etc.

- Online verifications of all applied settings and software configurations.

- Evaluation of all alarm’s signals initiated.

- Evaluation of all HVAC equipment for correctness against design specifications.

- Evaluation of all plant configurations to ensure correct plant status.

- Online implementation of setting and software configuration changes as per modification process and record keeping thereof.

- Downloading and record keeping of critical data for audit purposes.

### Plant and Material

The Contractor shall be required to:

- Provide tools required for fault finding, inspections, repairs, maintaining, replacing, refrigerant recovery tools and fitting as well as commissioning.

- Supply consumables spares and materials required for repairing, maintaining, replacing and fitting as per plant specifications. Examples of consumables include but is not limited to bearings; gaskets; seals; gases such as refrigerant; universal air conditioning remotes; chiller internal components etc.

- Replace and repair damaged HVAC ducting as per original design layout

- Any damage caused to existing spares is repaired by the Contractor at his own cost prior to take over

- The Contractor shall provide all relevant hand tools for the trade.

The Contractor shall be expected to make recommendations regarding to the inventory strategies to ensure that the correct spares are available in the Matimba Power Station Materials Management Warehouse.

### Continuous Improvement

- The Contractor shall implement a program of continuous improvement to optimise plant performance and reduce system and equipment failures.

- The Contractor will be responsible for participating in root cause failure investigations required by the Employer.

# The Contractor will participate in improvement programs pertaining to plant equipment.

### Management and Reporting

The Contractor will be responsible for implementing a performance management system consistent with the Employers supplier management requirement.

The KPA’s and KPI’s required will be jointly agreed by the Employer and the Contractor.

Typical KPI’s can include but not limited to:

- Plant and/ or equipment availability.

- Plant and/ or equipment reliability.

- Works management program compliance.

- Safety.

- Financial performance indicators.

| Item | KPI | Targets |
| --- | --- | --- |
| 1 | No of PM’s due | 0 |
| 2 | No of P1-P3 overdue | 0 |
| 3 | Utilisation | 100% |
| 4 | No of rework | 0 |
| 5 | Safety finding | 1/M |
| 6 | Assessments > 25th of M | 0 |
| 7 | No of NCR’s | <3 Per Month |
| 8 | SD&L | 100% |
| 9 | PSR and ORHVS authorisation | 100% |
| 10 | Emergency response time to call -out | 30 Minutes |
| 11 | Zero Overdue Statutory works order | 0% |

# Acceptance

This document has been seen and accepted by:

| Name | Designation |
| --- | --- |
| E Lemboe | Maintenance Group Manager |
| G Nkuna | Manager Technical Support |
| M Mahlaule | System Engineer HVAC Plant |
| M Mampane | Engineering Auxiliary Manager |
| A Buhrmann | Snr Supervisor Tech Maintenance |
| J Hlongwane | Snr Advisor Tech Support |

# Revisions

| Date | Rev. | Compiler | Remarks |
| --- | --- | --- | --- |
| September 2022 | 0 | Maropeng Seshoka | Compilation of Matimba Power Station HVAC Maintenance Services Scope of Work User Requirement Specification. |
| June 2023 | 1 | M Seshoka |  |

# Development Team

The following people were involved in the development of this document:

- J Hlongwane

- A Buhrmann

# Acknowledgements

Not Applicable.

# Appendix

## Appendix A – Permanent Core Crew and minimum qualifications

- Supervisor (x1)

- Minimum of N6 Electrical/Mechanical.

- Diploma in Air conditioning and Refrigeration or any other equivalent accredited qualification.

- Trade test certificate.

- SAQCC Gas practitioner on category C level (Commercial air conditioning and Refrigeration).

- Minimum of 5 years’ experience on HVAC and Supervisor level.

- Technician (X5)

- Minimum of N4 Electrical Engineering.

- Trade test certificate in Air conditioning

- SAQCC Gas practitioner on category B level (Air conditioner and Refrigeration).

- Minimum of 3 years’ experience as technician on HVAC System.

- Technician (X5)

- Minimum of N4 Mechanical Engineering.

- Trade test certificate in Air conditioning.

- SAQCC Gas practitioner on category B level (Air conditioner and Refrigeration).

- Minimum of 3 years’ experience on HVAC.

- Semi-Skilled (x8)

- Minimum of Grade 12.

- SAQCC Gas practitioner on category A level (Air conditioning and Refrigeration).

- Minimum of 1 year experience on HVAC.

- Safety Officer (x1)

- National Diploma in Safety Management.

- SAMTRAC

- Minimum of 3 years’ experience.

## 10.2 Appendix B – HVAC Structure

## 10.3 Appendix C Plant to Be Covered

- Unit1-6 ACC dust collector and control panels

- Air conditioning plant and plant rooms Unit1-6. These includes Chillers, Pumps, Humidifiers, Supply air fans, air handling units, extraction fans, essential and non-essential distribution boards, ducting, dampers., Excitor Cubicles

- Unit1-6 EFP air conditioning system supply and extraction fans and distribution boards.

- Unit1-6 Air Cooled Condenser Sub Station.

- Unit1-6 CPP Air conditioning package units, fans and distribution boards.

- Unit1-6 Air conditioning plant fire dampers.

- All stand-alone air conditioners installed in unit1-6 plant arears e.g. Workshops, computer rooms, SO3 plant skid from Unit1-6.

- Unit1 CPP sample point chillers and pumps.

- Admin block A, B, C & D, prefab Buildings around admin, simulator building.

- Fire station, medical station building, Lapa auditorium, farmhouse 1&2, Sandblasting and OPS support.

- C&I outside workshop, lubrication and Auxiliary Engineering prefab offices.

- Ash stacker, Ash spreader, Ash substation, Ash substation 1 & 2, Coal silo, Sub South, Auxiliary Cooling sub, sewage plant, MMD Ash plant workshop.

- Sub west, Coal stacker, Coal Sub, Sub North, Coal silo sub, old Computer training, fuel oil North A&B, Site Kitchen (Aircon and refrigeration), inkpot, Gym, Garage and Maintenance training.

- Fuel oil south A&B, Concor building-Medupi training, MMD, Procurement and stores.

- Security, security training, emergency preparedness, old ABB building, coal sub-1&2, PT&M building.

- Precipitation Unit1-6 dust collectors and air conditioning.

- Air conditioning plant and plant rooms at SSB, these includes Chillers, pumps, humidifiers, supply air fans, air handling units, extraction fans, essential distribution boards.

- Fridges and Aqua coolers for drinking water fountains in area above.

- All air conditioning system diffusers and Air conditioning return grid.

- All Matimba housing areas with air conditioning systems installed in houses, flats, rooms and offices in Lephalale area.

This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902 www.ecs.co.za