Specifications: Licor plant canopy analyser

Licor LAI-2200TC tall canopy analyser, to include all standard items:

* 1 x LAI-2270 control unit
* 2 x LAI-2250 Optical sensors with data cables
* Carrying case
* RS232 cable
* USB cable
* View restrictors
* Batteries
* Belt clip
* Windows FV2200 software