Specifications: Licor plant canopy analyser

Licor LAI-2200TC tall canopy analyser, to include all standard items:

- 1 x LAI-2270 control unit

- 2 x LAI-2250 Optical sensors with data cables

- Carrying case

- RS232 cable

- USB cable

- View restrictors

- Batteries

- Belt clip

- Windows FV2200 software