TSC: CCTV SPECIFICATION

Agricultural Research Council –TSC Main campus in Nelspruit wishes to appoint as service provider to supply and install the CCTV.

All service provider to be registered with PSIRA as supplier of security services.

The CCTV system will include:

- Control Room equipment incl. Network video recorders (NVR), camera and monitors, uninterruptible power supply, servers.

- IP Cameras with the following features:

- High Definition

- Day and night vision

- Water and weather protection

- Lightning and surge protection

- Motion detection

- Advanced Analytics

- User authentication (passwords)

- NVR Storage capacity of not less than one month

- Integration with other existing electronic systems e.g. remote monitoring or adding more cameras.

- Fiber optic cabling and connectors

- Wall brackets for mounting of monitors

The CCTV system must cover all sensitive areas, entrances and exits, public and parking areas as follow:

| Area | Quantities |  | Type of Cameras | Installation Location | Cost Including VAT |
| --- | --- | --- | --- | --- | --- |
|  | In door | Out Door |  |  |  |
| Server room | 02 |  | 4MP Varifocal cameras | Roof |  |
| Admin building entrance/reception/back | 01 | 05 |  | Roof |  |
| Biotech building main entrance/back | 02 | 01 |  | Roof |  |
| Research building entrance/back |  | 04 |  | Roof |  |
| Pathology building main entrance |  | 03 |  | Roof |  |
| Library | 01 |  | 4MP Varifocal cameras | Roof |  |
| Nursery | 01 |  | 4MP Varifocal cameras | Roof |  |
| Petty cash office | 02 |  | 4MP Varifocal cameras | Roof |  |
| Total No of Cameras | 9 | 13 |  |  |  |
| Other items |  |  |  |  |  |
| Wiring | 01 |  |  |  |  |
| System commissioning and Training | 02 |  | Persons |  |  |
| Labour | 01 |  |  |  |  |
| Sundries (clear breakdown i.e. attach clear bill of quantities) | 01 |  |  |  |  |
| Total | 05 |  |  |  |  |
| CONTROL ROOM |  |  |  |  |  |
| Control room |  | 01 | 32 Channel NVR with a hard drive capacity of 32 terabytes. | NVR box at the control room |  |
|  |  | 01 | 36 inch monitor | Wall Mounted |  |
|  |  | 01 | Full Computer set with 24 inch LED Monitor (for playback), keyboard, mouse) Minimum requirements Desktop intel core i5 9400 processor 8 gig ram and 256gb solid state windows 10 pro 64 bit |  |  |
| Total |  | 3 |  |  |  |

NB All cameras will be connected to the ARC ICT Infrastructure. 4MP Varifocal cameras for Indoor and 4MP fixed lens camera for all outdoor cameras must be installed.

OPTIONAL QUOTE

Specifications and needs for LAN installation at the ARC_ITSC main gate.

New Switch at Main gate

| Description | Quantity | UOM |
| --- | --- | --- |
| Extreme 8 Port switch Model number: X435-8P-4S 8 x 10/100/1000Mbps PoE+ ports + 2 SFP ports. Standalone. Fan less mode @ 60W PoE budget, Fan operation mode @ 170W PoE budget. | 1 | EA |
| Single mode mini-GBIC Product Type : SFP (mini-GBIC) transceiver module Connectivity Technology : Wired Cabling Type : 1000Base-LX Fibre Type : SMF Data Link Protocol : Gigabit Ethernet Data Transfer Rate : 1 Gbps Compliant Standards : IEEE 802.3z Manufacturer Part Number : AA1419015-E5 | 2 | EA |
| Four core single mode Aerial fibre form the Main Gate to the distribution switch in the Server Room Splice and patch, Pole mounting brackets, etc. (Distance 2km) | 1 | EA |
| Fibre tray | 1 | EA |
| LC/LC Fibre patch leads single mode & LC panel | 2 | EA |
| Clearline: 1000 base T POE protector 12-00376 12 with patch leads | 1 | EA |
| 9U Swivel MOBRAK mount cabinet Depth = 700mm | 1 | EA |
| Install Clearline devices and patch with Avaya switch. | 1 | EA |
| Install Cat 5 cables to Molex patch panels. In ducting and entries through wall needs to be sealed |  | EA |
| Install network points. Use PVC channels | Based on number of Cameras and access control units. |  |
| Test all network points |  | EA |
| Mark all network point |  | EA |
| 1U brush panels | 4 | EA |
| Site visit in consultation with ICT requested as part of RFQ |  |  |
| Cameras including wiring Area: Entrance/Exit Gate Location: Fixed camera on the roof | 2 | EA |

Company requirements

- Company must be an approved cable lining company registered to install Molex standard network points.

- Company must have own technical and technician employees registered to install and service cable faults.

GUARANTEES

- The supplier shall stipulate the guarantee of the CCTV System according to ISO and SANS standards or any South African CCTV System related regulations or standards (minimum of 12 months).

- The supplier shall in detail document what is covered by the guarantee as well as the terms and conditions.

- The supplier shall in detail document on what will constitutes a “system failure”. In addition, what will be Response plan in the event of system failure after implementation (i.e. while the system is still on guarantee).

- The supplier will provide end-user training for the administrator and hand over operation manuals.

The following documents are required:

| Document that must be submitted | Non-submission may result in disqualification. |  |
| --- | --- | --- |
| # PSIRA Business Certificate | Yes / No | Bidders required to submit a certified copy of a PSIRA Business Registration certificate. |
| # Three reference letters on similar projects | Yes / No | Bidders must submit three reference letters of successfully completed related or similar projects. |
| # Tax Compliance Status # Tax Clearance Certificate | Yes / No | Bidders must ensure compliance with TAX obligations. Bidders required to submit a printed Tax Compliance Status or Tax clearance certificate |

## All invited suppliers are kindly requested to attend a compulsory briefing session on Wednesday, 28 August 2021 at 10h00 at ARC TSC Campus, Nelspruit.