Agricultural Research Council-NRE

141 Cresswell Rd

Weavind Park

Pretoria,

0184

Request for quotation: RFQ-015670

Closing Date: 	30 May 2023 at 10h00

VAT Registration:	4140125313

Delivery address: Agricultural Research Council-NRE

141 Cresswell Rd

Weavind Park

Pretoria,

0184

COMPULSORY SITE BRIEFING – 25 MAY 2023 AT 10:00

Request for Quotation for Pest control service (2 Occasions)

Good day

- You are kindly requested to submit a written quotation to the Agricultural Research Council per the specifications below.

Quotations with Supporting Documentation must be emailed to:

KubhekaL@arc.agric.za

  - SPECIFICATION IN DETAIL

Specification for Pest control quarterly (2 Occasions)

Treatment of Ants, cockroaches, rats, snakes, mice, and termites - Pest control should be done on two occasions: - The supplier must quote for the first three months and the last three months. Below are the buildings which need to be fumigated. Main building: BLOCK; AREA. Block K; 270m2. Block M; 740m2. Block N; 547m2. Block O; 445m2. Hall 6; 1048m2. Hall 5; 1092m2. Library; 478m2. White building; 450m2. Maintenance; 120m2. Parking lot - treatment of termites (Subterranean and Harvester); 348m2. Kindly NOTE that the parking bays are included. Compulsory Requirements Site briefing and assessment will be required for all the service providers before quoting. Guarantee of two months on the chemical used, in case we do not see any changes after treatment within two months the supplier will be called to fumigate again at no cost. Details Date: 25 May 2023 Time: 10:00 to 11:00 Venue: ARC-IAE, 141 Creswell Road, Weavind Park, Pretoria Reference person: Mr. Ayanda Krwece General information You are required to execute the service according to the time frame that will be given by us therefore, to ensure that none of our personnel are exposed to the treatment. A systematic preventative approach to food and environmental safety according to HACCP guidelines (Hazard Analyses Critical Control Point). • The chemicals used must be Board of Pest Control approved..

- Request for Quotation Evaluation stages:

The RFQ evaluation process consists of several stages that are applicable according to the merits of the request for quotation, as defined below:

Stage 1: Specification

Stage 2: Evaluation Criteria: National Treasury Procurement Regulations

Stage 3: Agricultural Research Council Preference Points System – See Annexure A

Requirements (Administrative):

(NOTE: Failure to provide the below-listed documents May lead to disqualification)

| Description | Comply | Do Not Comply |
| --- | --- | --- |
| 1. Submission of original valid Tax pin or a Tax Compliance Status letter issued by the South African Revenue Services |  |  |
| 2. Completed and signed Standard Bidding Documents (SBD) forms included in the bid document. (SBD 4) |  |  |
| 3. Local Content Declaration (Annex C, D, E) |  |  |
| 4. Only bidders registered on the Central Supplier Database (CSD) will be considered. Bidders shall include the CSD registration number with the bid proposal. |  |  |
| 5. BBBEE Certificate or Sworn Affidavit |  |  |

- All price quotations that have a rand value of R 2000.00 to below R 50,000,000.00, including VAT, will be evaluated by applying the 80/20 principle as prescribed by the Preferential Procurement Policy Framework Act 5 of 2000 and its Regulations of 2022, and the Agricultural Research Council Preference Points System – See Annexure A

- Administrative Requirements:

  - Valid Tax Pin issued by the South African Revenue Services (SARS).

  - Only bidders registered on the Central Supplier Database (CSD) will be considered.  Bidders shall include the CSD registration number with the bid proposal.

  - Completed and signed Standard Bidding Documents (SBD) forms included in the bid document.

  - The above-specified goods/services should be delivered/rendered to the at above-mentioned delivery address.

  - The particulars of the guarantee that will apply to the goods quoted for, with regards to the period and extent of the warranty must be clearly stated.  Where services are required, service providers must submit documentation pertaining to the relevant experience.

  - Your written quotation must be emailed to   KubhekaL@arc.agric.za

  - Standard conditions:

  - The validity of the quotations must be indicated.

  - Prices quoted should be in South African Rand and inclusive of VAT costs such as delivery, insurance, taxes, etc.

  - No price adjustments or amendments of the delivery particulars contained in paragraph 2 will be considered by the ARC.

  - The supplier accepts full responsibility for the proper execution and fulfilment of the goods/services quoted.

  - ARC reserves the right to accept or reject any special terms and conditions that may qualify the goods/services to be provided.

  - Quotes should be submitted on official letterhead and duly signed.

  - Goods and services should be supplied/rendered upon receipt of a purchase order from the ARC.

  - The General Conditions of Contract issued by the National Treasury are applicable.

  - The ARC supply chain management code of conduct is applicable.

  - Standard Bidding Documents (SBD) forms must be signed and returned together with the quotation Failure to comply will result in the disqualification of your quotation.

  - Your quotation must indicate the delivery date.

  - The ARC reserves the right to do due diligence on the quotations.

  - The ARC reserves the right to benchmark prices quoted.

Thank you in anticipation.

Ms. Lungile Kubheka

Tel: +27 (0)12 842- 4078

Email: KubhekaL@arc.agric.za

Supply Chain Management: ARC