# TERMS OF REFERENCE (TOR) FOR THE APPOINTMENT OF A SERVICE PROVIDER TO STRIP AND INSTAL TWENTY-NINE (29) BIOMETRIC FINGERPRINT SCANNERS FOR NHBRC (BASEMENT, FIRST FLOOR, SECOND FLOOR AND THIRD FLOOR)

PROJECT BACKGROUND:

- The main objective of Physical and electronic security management at the NHBRC is, among others, to protect the assets, employees, contractors, visitors and facilities. As such the scope of security risk management at the NHBRC is centered around the following:

- Deterrence.

- Detection.

- Delay and Response

The NHBRC Branches and network or coverage comprises of 23 sites which also includes Sunninghill Office.

- The NHBRC Sunninghill office is exposed to physical threats and damage to infrastructure.

- A comprehensive security risk  assessment was conducted on the premises and based on the threat analysis; twenty-nine (29) Biometric Systems is required for the biometrics installation.

- The purpose of the biometric system is to load Fingerprints of all NHBRC employees and visitors on the biometric system to control access on the different floors

# BIOMETRICS FINGER PRINT SCANNERS SPECIFICATIONS:

| 1 | Biometrics Systems |
| --- | --- |
| 3 | IDC Controller incl Encl, Ps (105) |
| 4 | 12V Regulated Power Supply Backup (3Amp) |
| 5 | Inbio slave readers |
| 6 | 300kg maglock with ZL Bracket |
| 7 | Inbio Controller |
| 8 | Core Cable |
| 0 | RS533 Cable |
| 10 | 4-Pair Mylar Cable |
| 11 | Labour-Installation-Two Man Team (4-Days) |

SUNNUINGHILL OFFICE-HEAD OFFICE

COSTS

The service provider should break down the costs as follows:

| Area of Installation | Quantities | Description |
| --- | --- | --- |
| Sunninghill Ground Floor (GROUND) |  |  |
| Main Entrance Door Audit Entry Door Audit Access Door Business service Entry Door Business service Printer Access Door Business service Inspectorate Door. | Six (6) Biometrics Fingerprint scanner. | Biometrics Finger print scanner |
| Sunninghill First Floor (1) | Quantities | Description |
| Main Entrance Access Door HC Filing Room Access Door Executive HC office Access Door Legal Filing Access Door Executive Corporate Services Access Door | Five (5) Biometrics Fingerprint scanner. | Biometrics Finger print scanner |
| Sunninghill Second Floor (2) | Quantities | Description |
| Main Entrance Access Door Investigation Access Door CRO Access Door SCM Manager Access Door CFO Access Door Communication Manager Access Door | Six (6) Biometrics Fingerprint scanner. | Biometrics Finger print scanner |
| Sunninghill Third Floor (3) | Quantities | Description |
| Main Entrance CEO Access Door Second Entrance CEO Access Door Second Entrance COO Access Door CEO office Access Door COO office Access Door Internal Audit Access Door Secretariat office Access Door Head of Secretariat office Access Door | Eight (8) Biometrics Fingerprint scanner. | Biometrics Finger print scanner |
| Sunninghill Basement Main Entrance Basement Access Door IT Server Room Entrance Access Door IT Room Entrance COO Access Door IT Main office Access Door IT office Side Access Door Engineering and Technical Executive Access Door | Quantities | Description |
|  | Six (6) Biometrics Systems | Biometrics Finger print scanner |

MANDATORY REQUIREMENTS:

| Compliant | Not Compliant |
| --- | --- |
| - The Security Biometrics installer must have installation experience /Biometrics/Access Control Systems/Monitoring and Interception Devices. |  |  |
| - The appointed Biometrics installer must have at least 2 years’ experience in Biometric Systems, installation and Commissioning. Attach company’s proof of experience. curriculum vitae (CV) of the installer. |  |  |
| - The Biometrics installer must include a Maintenance Plan as part of the Biometrics installation for a period of 24 Months. |  |  |

GENERAL REQUIREMENTS:

- Biometric System must be integrated into the NHBRC Control Room as a standalone, supported by wireless installation and cloud saving for footage information.

- The successful biometric installer must strip the old biometrics system before installing the new biometric fingerprint scanners.

Price and Preference Points Evaluation

The contract will be awarded in terms of Regulations 4 of the Preferential Procurement Regulations pertaining to the Preferential Procurement Policy Framework Act, 2000 (Act 5 of 2000) and Preferential Procurement Regulations, 2017 and bids will be adjudicated in terms of a (80/20) preference point system in terms of which points are awarded to bidders on the basis of:

80/20 Preference point system (for acquisition of services, works or goods with a Rand value not more than R 50 million) (all applicable taxes included)

PS=801-Pt-PminPmin

Where.

Ps = Points scored for comparative price of bid or offer under consideration

Pt = Comparative price of bid or offer under consideration

Pmin = Comparative price of lowest acceptable bid or offer.

The points scored will be rounded off to the nearest two decimal places.

The points will be awarded to a Bidder for attaining the B-BBEE status level of contribution in accordance with the table below:

| Preference Points | Points Allocated |
| --- | --- |
| Women | 12 |
| Youth | 5 |
| Disabilities | 1.5 |
| Military Veterans | 1.5 |
| TOTAL | 20 Points |

The points scored for price will be added to the points scored for B-BBEE status level to obtain the Bidders total points scored out of 100 points