NEC3 Supply Contract (SC3)

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________ ) |  |
| for | Supply and delivery of clean drain system valves spares at Medupi Power Station for a period of 60 months (5 years) on an as and when required (ADHOC)Insert title of the goods and services |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | [●] |
| Part C2 | Pricing Data | [●] |
| Part C3 | Scope of Work | [●] |
| CONTRACT No. | [Insert at award stage] |  |

# PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] | [●] |
| C1.2a | Contract Data provided by the Purchaser | [●] |
| C1.2b | Contract Data provided by the Supplier [to be inserted from Returnable Documents at award stage] | [●] |
| C1.3 | Proforma Guarantees | [●] |

C1.1 Form of Offer & Acceptance

## Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Supply and delivery of clean drain system valves spares at Medupi Power Station for a period of 60 months (5 years) on an as and when required (ADHOC)

The tenderer, identified in the Offer signature block, has

| either | examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender. |
| --- | --- |
| or | examined the draft contract as listed in the Acceptance section and agreed to provide this Offer. |

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

|  | The offered total of the Prices exclusive of VAT is | R [●] |
| --- | --- | --- |
|  | Value Added Tax @ 15% is | R [●] |
|  | The offered total of the amount due inclusive of VAT is | R [●] |
|  | (in words) [●] |  |

This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| for the Purchaser | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | [●] | [●] |
| 2 | [●] | [●] |
| 3 | [●] | [●] |
| 4 | [●] | [●] |
| 5 | [●] | [●] |
| 6 | [●] | [●] |
| 7 | [●] | [●] |

By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Purchaser |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  |  |
| On behalf of | (Insert name and address of organisation) |  | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 SC3 Contract Data

# Part one - Data provided by the Purchaser

| Clause |  |  | ## Statement |  |  | ## Data |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  | ## General |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | The conditions of contract are the core clauses and the clauses for Options |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | X1: Price adjustment for inflation |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | X2 Changes in the law |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | X3: Multiple currencies |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | X7: Delay damages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | X17: Low performance damages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Z: Additional conditions of contract |  |  |  |  |  |  |  |  |  |  |
|  |  |  | of the NEC3 Supply Contract (April 2013) |  |  | (If the December 2009 edition is to be used delete April 2013 and replace by December 2013) |  |  |  |  |  |  |  |  |  |  |
| 10.1 |  |  | The Purchaser is (name): |  |  | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Address |  |  | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Tel No. |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Fax No. |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
| 10.1 |  |  | The Supply Manager is (name): |  |  | Tshimangadzo Tshifhango |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Address |  |  | Medupi Power station |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Tel |  |  | 014 762 2392 |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Fax |  |  | N/A |  |  |  |  |  |  |  |  |  |  |
|  |  |  | e-mail |  |  | TshifhT@eskom.co.za |  |  |  |  |  |  |  |  |  |  |
| 11.2(13) |  |  | The goods are |  |  | Drain valves |  |  |  |  |  |  |  |  |  |  |
| 11.2(13) |  |  | The services are |  |  | Supply and delivery of clean drain system valves spares at Medupi Power Station for a period of 60 months (5 years) on an as and when required (ADHOC |  |  |  |  |  |  |  |  |  |  |
| 11.2(14) |  |  | The following matters will be included in the Risk Register |  |  | Late delivery, Delivery of a wrong, Obsolete spares/ items |  |  |  |  |  |  |  |  |  |  |
| 11.2(15) |  |  | The Goods Information is in |  |  | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |  |  |  |  |  |  |  |  |
| 11.2(15) |  |  | The Supply Requirements as part of the Goods Information is in |  |  | Annexure A to this Contract Data |  |  |  |  |  |  |  |  |  |  |
| 12.2 |  |  | The law of the contract is the law of |  |  | the Republic of South Africa |  |  |  |  |  |  |  |  |  |  |
| 13.1 |  |  | The language of this contract is |  |  | English |  |  |  |  |  |  |  |  |  |  |
| 13.3 |  |  | The period for reply is |  |  | Two (2) weeks |  |  |  |  |  |  |  |  |  |  |
| ## 2 |  |  | ## The Supplier’s main responsibilities |  |  | Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |  |  |  |
| ## 3 |  |  | ## Time |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30.1 |  |  | The starting date is. |  |  | TBC |  |  |  |  |  |  |  |  |  |  |
| 30.1 |  |  | The delivery date of the goods and services is: |  |  | goods and services |  |  |  |  |  |  |  | delivery date |  |  |
|  |  |  |  |  |  | 1 | As per purchase order |  |  |  |  |  |  | As per purchase order |  |  |
|  |  |  |  |  |  | 2 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 3 |  |  |  |  |  |  |  |  |  |  |
| 30.2 |  |  | The Supplier does not bring the goods to the Delivery Place more than one week before the Delivery Date. |  |  | As per agreed date on the purchase order |  |  |  |  |  |  |  |  |  |  |
| 31.1 |  |  | The Supplier is to submit a first programme for acceptance within |  |  | One (1) week of the Contract Date. |  |  |  |  |  |  |  |  |  |  |
| 32.2 |  |  | The Supplier submits revised programmes at intervals no longer than |  |  | Two (2) weeks. |  |  |  |  |  |  |  |  |  |  |
| ## 4 |  |  | ## Testing and defects |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 42 |  |  | The defects date is |  |  | Fifty-two (52) weeks after Delivery. |  |  |  |  |  |  |  |  |  |  |
| 43.2 |  |  | The defect correction period is |  |  | To be agreed within 48 Hours, on the first working day from receipt of the Purchaser’s written defects notification |  |  |  |  |  |  |  |  |  |  |
| 42.2 |  |  | The defects access period is |  |  | Five (5) days |  |  |  |  |  |  |  |  |  |  |
| ## 5 |  |  | ## Payment |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 50.1 |  |  | The assessment interval is |  |  | between the twenty-five (25) days of each successive month. |  |  |  |  |  |  |  |  |  |  |
| 51.1 |  |  | The currency of this contract is the |  |  | South African Rand |  |  |  |  |  |  |  |  |  |  |
| 51.2 |  |  | The period within which payments are made is |  |  | Eight to nine (8-9) weeks after valid invoice is accepted. |  |  |  |  |  |  |  |  |  |  |
| 51.4 |  |  | The interest rate is |  |  | the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |  |  |  |  |  |  |  |
| ## 6 |  |  | ## Compensation events |  |  | As per NEC 3 SC clause 60 |  |  |  |  |  |  |  |  |  |  |
| ## 7 |  |  | ## Title |  |  | ## As per NEC 3 SC clause 70 |  |  |  |  |  |  |  |  |  |  |
| ## 8 |  |  | ## Risks, liabilities, indemnities and insurance |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 80.1 |  |  | These are additional Purchaser’s risks |  |  | Only the risks under sub-clause 80.1 of the NEC3 SC |  |  |  |  |  |  |  |  |  |  |
| 88.1 |  |  | The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to |  |  | R0.0 (zero Rand) |  |  |  |  |  |  |  |  |  |  |
| 88.2 |  |  | For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to |  |  | (1) for the Purchaser’s existing and surrounding property in the care, custody and control of the Supplier the amount of the deductible (first amount payable) relevant to the event and (2) for all other existing Purchaser’s property the applicable deductible as at contract date |  |  |  |  |  |  |  |  |  |  |
| 88.3 |  |  | The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to: |  |  | R[●] [This is a commercial decision, but consider using the total of the Prices. Delete this note after inserting a Rand amount] |  |  |  |  |  |  |  |  |  |  |
| 88.4 |  |  | The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to |  |  | R[●] [This is a commercial decision, but consider using at least the total of the Prices. Delete this note after inserting the Rand amount] |  |  |  |  |  |  |  |  |  |  |
| 88.5 |  |  | The end of liability date is |  |  | One (1) year after Delivery of the whole of the goods and services. |  |  |  |  |  |  |  |  |  |  |
| ## 9 |  |  | ## Termination and dispute resolution |  |  | As per NEC SC 3 Core Clause 90 This contract will end if the total contract value is depleted or at the end date of the contract whichever comes first. |  |  |  |  |  |  |  |  |  |  |
| 94.1 |  |  | The Adjudicator is |  |  | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Address |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Tel No. |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Fax No. |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
|  |  |  | e-mail |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
| 94.2(3) |  |  | The Adjudicator nominating body is: |  |  | the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za) |  |  |  |  |  |  |  |  |  |  |
| 94.4(2) |  |  | The tribunal is: |  |  | arbitration |  |  |  |  |  |  |  |  |  |  |
| 94.4(5) |  |  | The arbitration procedure is |  |  | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |  |  |  |  |
| 94.4(5) |  |  | The place where arbitration is to be held is |  |  | South Africa |  |  |  |  |  |  |  |  |  |  |
|  |  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is |  |  | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |  |  |  |  |
| ## 10 |  |  | ## Data for Option clauses |  |  |  |  |  |  |  |  |  |  |  |  |  |
| X1 |  |  | Price adjustment for inflation |  |  |  |  |  |  |  |  |  |  |  |  |  |
| X1.1 |  |  | The base date for indices is |  |  | Rates are fixed and firm for first 12 months after first order placement date. There after CPA escalation will apply. Base date will be the month before the month which the enquiry closes. |  |  |  |  |  |  |  |  |  |  |
|  |  |  | The proportions used to calculate the Price Adjustment Factor are: |  |  | proportion |  | linked to index for |  |  |  |  | Index prepared by |  |  |  |
|  |  |  |  |  |  | 70%. |  | Mechanical |  |  |  |  | SEIFSA Table G1 |  |  |  |
|  |  |  |  |  |  | 15%. |  | Transport |  |  |  |  | SEIFSA Table L2b |  |  |  |
|  |  |  |  |  |  | 15% |  | non-adjustable |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 100 |  |  |  |  |  |  |  |  |  |  |
| X2 |  |  | Changes in the law |  |  |  |  |  |  |  |  |  |  |  |  |  |
| X2.1 |  |  | A change in the law of |  |  | [●] is a compensation event if it occurs after the Contract Date |  |  |  |  |  |  |  |  |  |  |
| X3 |  |  | Multiple currencies |  |  |  |  |  |  |  |  |  |  |  |  |  |
| X3.1 |  |  | The Purchaser will pay for these items in the currencies stated |  |  | Items |  |  |  |  | Other currency |  |  |  | Total maximum payment in the currency |  |
|  |  |  |  |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | [●] |  |  |  |  |  |  |  |  |  |  |
| X3.1 |  |  | The exchange rates are those published in |  |  | [●] on [●] (date) |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | The items will be paid in the other currency - to a foreign Bank account nominated by the Supplier - to a valid SARB approved CFC account in South Africa - in accordance with an alternative payment method agreed with the Purchaser before the Contract Date. (select one of the three methods as agreed with the successful tenderer prior to contract award and delete the others and this note) |  |  |  |  |  |  |  |  |  |  |
| X7 |  |  | Delay damages |  |  |  |  |  |  |  |  |  |  |  |  |  |
| X7.1 |  |  | Delay damages for Delivery are |  |  | Delivery of |  |  |  |  |  | amount per day |  |  |  |  |
| No. | KPA |  |  |  | Employer’s Requirement |  |  |  |  | Damages payable by Contractor |  |  |  |  |  |  |
| 1 | On time delivery to Medupi Power Station |  |  |  | All deliveries to be delivered as per agreed lead time of the contract working from the time the supplier acknowledge receipt of an official Eskom Order Number that start with 45 number |  |  |  |  | 5% of full purchase order cost for 10days of delay of purchase order up to maximum of 10% of total value. |  |  |  |  |  |  |
| 2 | On time delivery to Medupi Power Station |  |  |  | All deliveries to be delivered as per agreed lead time of the contract working from the time the supplier acknowledge receipt of an official Eskom Order Number that start with 45 number |  |  |  |  | Failure to deliver will lead to contract termination. And a contractor will not be considered to do business with Medupi Power Station for two (2) years after termination of a contract |  |  |  |  |  |  |
| X17 |  |  | Low performance damages |  |  |  |  |  |  |  |  |  |  |  |  |  |
| X17.1 |  |  | The amounts for low performance damages are: |  |  | amount |  |  | performance level |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Contractor’s full cost |  |  | for Premature failure and defects rectification |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 5% of Purchase order value |  |  | for Defects between 32-45 days |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 7.5% of Purchase order value |  |  | for Delays between 46-59 days |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 10% of Purchase order value |  |  | for Delays between 60 days and more |  |  |  |  |  |  |  |
| Z |  |  | The additional conditions of contract are |  |  | Z1 to Z15 always apply for Eskom |  |  |  |  |  |  |  |  |  |  |
| Z1 |  |  | Cession delegation and assignment |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z1.1 |  |  | The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z1.2 |  |  | Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2 |  |  | Joint ventures |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2.1 |  |  | If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2.2 |  |  | Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2.3 |  |  | The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z3 |  |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z3.1 |  |  | Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z3.2 |  |  | The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z3.3 |  |  | Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z3.4 |  |  | Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4 |  |  | Confidentiality |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.1 |  |  | The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time). Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.2 |  |  | If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.3 |  |  | In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.4 |  |  | The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager. All rights in and to all such images vests exclusively in the Purchaser. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.5 |  |  | The Supplier ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z5 |  |  | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z5.1 |  |  | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z6 |  |  | Health, safety and the environment: Add to core clause 25.4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z6.1 |  |  | The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. Without limitation the Supplier: warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z6.2 |  |  | The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7 |  |  | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7.1 |  |  | Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7.2 |  |  | If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7.3 |  |  | The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z8 |  |  | Notifying compensation events |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z8.1 |  |  | Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z9 |  |  | Purchaser’s limitation of liability |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z9.1 |  |  | The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z9.2 |  |  | The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z10 |  |  | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z10.1 |  |  | or had a business rescue order granted against it. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z11 |  |  | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z11.1 |  |  | If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12 |  | Ethics |  |  |  |  |  |  |  |  |  |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Affected Party |  |  |  | means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |  |  |  |  |  |  |  |  |  |  |  |
| Coercive Action |  |  |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |  |  |  |  |  |
| Collusive Action |  |  |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |  |  |  |  |  |
| Committing Party |  |  |  | means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees, |  |  |  |  |  |  |  |  |  |  |  |
| Corrupt Action |  |  |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |  |  |  |  |  |  |  |  |  |  |  |
| Fraudulent Action |  |  |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |  |  |  |  |  |  |  |  |  |  |  |
| Obstructive Action |  |  |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |  |  |  |  |  |  |  |  |  |  |  |
| Prohibited Action |  |  |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |  |  |  |  |  |  |  |  |  |  |  |
| Z12.1 |  | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12.2 |  | The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12.3 |  | If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12.4 |  | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation. |  |  |  |  |  |  |  |  |  |  |  |  |  |

Z13	Insurance

Z __13.1	Replace core clause 84 with the following:

| Insurance cover | 84 |  |
| --- | --- | --- |
|  | 84.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 84.2 | The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued. |

INSURANCE TABLE A

Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage to the goods, plant and materials; The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.. Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract; Loss of or damage to property Purchaser’s property The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance. Other property The replacement cost Death of or bodily injury The amount required by the applicable law.. Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law.

Z _13.2		Replace core clause 87 with the following:

| Insurance by the Purchaser |  |  |  | 87 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 87.1 | The Purchaser provides the insurances stated in the Insurance Table B |  |
|  |  |  |  |  | INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |
| Z14 |  | Nuclear Liability |  |  |  |  |
| Z14.1 |  | The Purchaser is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |  |  |  |
| Z14.2 |  | The Purchaser is solely responsible for and indemnifies the Supplier or any other person against any and all liabilities which the Supplier or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Supplier or any other person or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |
| Z14.3 |  | Subject to clause Z14.4 below, the Purchaser waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Supplier or any other person, or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |
| Z14.4 |  | The Purchaser does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter. |  |  |  |  |
| Z14.5 |  | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |  |  |  |
| Z15 |  | Asbestos |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |
| AAIA |  |  |  | means approved asbestos inspection authority. |  |  |
| ACM |  |  |  | means asbestos containing materials. |  |  |
| AL |  |  |  | means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL. |  |  |
| Ambient Air |  |  |  | means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |  |  |
| Compliance Monitoring |  |  |  | means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |
| OEL |  |  |  | means occupational exposure limit. |  |  |
| Parallel Measurements |  |  |  | means measurements performed in parallel, yet separately, to existing measurements to verify validity of results. |  |  |
| Safe Levels |  |  |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |
| Standard |  |  |  | means the Purchaser’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |  |  |
| SANAS |  |  |  | means the South African National Accreditation System. |  |  |
| TWA |  |  |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA. |  |  |
| Z15.1 |  | The Purchaser ensures that the Ambient Air in the area where the Supplier will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |  |  |  |
| Z15.2 |  | Upon written request by the Supplier, the Purchaser certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Supplier may perform Parallel Measurements and related control measures at the Supplier’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |  |  |  |
| Z15.3 |  | The Purchaser manages asbestos and ACM according to the Standard. |  |  |  |  |
| Z15.4 |  | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe. |  |  |  |  |
| Z15.5 |  | The Supplier’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |  |  |  |
| Z15.6 |  | The Supplier continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations. |  |  |  |  |
| Z15.7 |  | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Purchaser at the Purchaser’s expense, and conducted in line with South African legislation. |  |  |  |  |

Annexure A:	Supply Requirements

[Notes: The example given in the NEC3 Supply Contract Guidance Notes pages 15 to 20 inclusive is based on Incoterms 2000.   However users will probably wish to use Incoterms 2010 which the details below are based on.    Users may need to adjust the information to comply with actual requirements. First decide whether Incoterms will be used or not, then delete the arrangement below which does not apply and delete these notes]

## The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2010 as follows:

[Select the group and then term within the group which applies and state the applicable delivery place.  Delete all the other groups and this note]

| Group | Category | Term | Delivery Place |
| --- | --- | --- | --- |
| E | departure | EXW |  |
| F | main carriage unpaid | FCA, FAS, FOB |  |
| C | main carriage paid | CFR, CIF, CPT, CIP |  |
| D | arrival | DAT, DAP, DDP |  |

The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

| A | The Supplier’s obligations | B | The Purchaser’s obligations |
| --- | --- | --- | --- |
| A1 | Provision of goods in conformity with contract | B1 | Payment of the price |
| A2 | Licences, authorisations and formalities | B2 | Licences, authorisations and formalities |
| A3 | Contracts of carriage and insurance | B3 | Contracts of carriage and insurance |
| A4 | Delivery | B4 | Taking delivery |
| A5 | Transfer of risks | B5 | Transfer of risks |
| A6 | Division of costs | B6 | Division of costs |
| A7 | Notice to the buyer | B7 | Notice to the seller |
| A8 | Proof of delivery, transport document or equivalent electronic message | B8 | Proof of delivery, transport document or equivalent electronic message |
| A9 | Checking - packing - marking | B9 | Inspection of goods |
| A10 | Other obligations | B10 | Other obligations |

[Should there be a need to amplify any of the published obligations listed above for the chosen INCOTERM, add them here.]

All other information NOT pertinent to the above is given in the balance of the Goods Information

## The Supply Requirements for this contract are as follows:

[Use these when INCOTERMS do not apply].  [Revise and complete as required]

| 1. The requirements for the supply are | [State the constraints on how the Supplier manufactures, prototypes, tests and stores the goods including order and timing] |  |
| --- | --- | --- |
| 2. The requirements for transport are | [State the extent to which the Supplier transports the goods and the mode of transport] |  |
| 3. The delivery place is | [State the location where the goods are to be placed by the Supplier, such as whether it is a dispatch department at the Supplier’s premises, the Purchaser is to collect or other location the Purchaser may require. If the delivery place for the services is different to the goods state it here] |  |
| 4. Actions of the Parties during supply | Action | Party which does it |
|  | Giving notice of Delivery | Supplier |
|  | Checking packing and marking before dispatch | Supplier |
|  | Contracting for transport | Supplier |
|  | Pay costs of transport | Supplier |
|  | Arrange access to delivery place | Purchaser |
|  | Loading the goods | Supplier |
|  | Unloading the goods | Purchaser |
| For international procurement | Undertake export requirements |  |
|  | Undertake import requirements |  |
| 5. Information to be provided by the Supplier | Title of document |  |
|  | Packing lists for cases and their contents |  |
|  | Copy of invoice for the goods |  |
|  | Delivery Note |  |
|  | Test results and maintenance manuals |  |
| For international procurement | Licences, authorisations and other formalities associated with export of the goods |  |
|  | Air Waybill or Bill of Lading with associated landing, delivery and forwarding order |  |
|  | The Bill of Entry endorsed by the importation authority |  |
|  | Customs work sheets, showing tax, duties and surcharges which the law of the country into which the goods are being imported requires the importer to pay |  |
|  | Invoice from the importation clearing agent showing airline fees, landing charges, wharfage and dock dues as applicable |  |
|  | Specify other import documents required by authorised officials. |  |

All other information NOT pertinent to the above is given in the balance of the Goods Information

C1.2 Contract Data

# Part two - Data provided by the Supplier

[Instructions to the contract compiler:  (delete this note before issue to tenderers with an enquiry)

Whenever a cell is shaded in the left hand column it denotes this data is optional and would be required in relation to the option selected.  In the event that the option is not required select and delete the whole row.]

Notes to a tendering supplier:

- Please read both the NEC3 Supply Contract (SC3) and the relevant parts of its Guidance Notes (SC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.

- The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

- Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | ## Statement | ## Data |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 10.1 | The Supplier is (Name): |  |  |  |  |
|  | Address |  |  |  |  |
|  | Tel No. |  |  |  |  |
|  | Fax No. |  |  |  |  |
| 11.2(8) | The Goods Information for the Supplier’s design is in: |  |  |  |  |
| 11.2(11) | The tendered total of the Prices is | R , (in words) |  |  |  |
| 11.2(12) | The price schedule is in: |  |  |  |  |
| 11.2(14) | The following matters will be included in the Risk Register |  |  |  |  |
| 25.2 | The restrictions to access for the Supply Manager and Others to work being done for this contract are |  |  |  |  |
| 30.1 | The delivery date of the goods and services is: | goods and services |  | delivery date |
|  |  | 1 | [●] | [●] |
|  |  | 2 | [●] | [●] |
|  |  | 3 | [●] | [●] |
| 31.1 | The programme identified in the Contract Data is contained in: |  |  |  |  |
| 63.2 | The percentage for overheads and profit added to the Defined Cost is | % |  |  |  |

# Part 2: Pricing Data

NEC3 Supply Contract

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions | 2 |
| C2.2 | The price schedule | [●] |

C2.1 Pricing assumptions

# How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

| Identified and defined terms | 11 11.2 | (11) The Prices are the amounts stated in the price column of the Price Schedule. Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate. |
| --- | --- | --- |
|  |  | (12) The Price Schedule is the price schedule unless later changed in accordance with this contract. |
| Assessing the amount due | 50.2 | The amount due is the Price for each lump sum item in the Price Schedule which the Supplier has completed, where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate, plus other amounts to be paid to the Supplier, less amounts to be paid by or retained from the Supplier. Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due. |

This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

# Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.

# Preparing the price schedule

Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has

- Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;

- Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

- Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices;

- Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;

- Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.

## Format of the price schedule

Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier.

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule

| Item No. | Mat No | Description | Unit | Qty | RATE |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Globe Valve, DN15 | Each | 10 |  |
| 2 |  | Globe Valve Repair kit, DN15 | Each | 18 |  |
| 3 |  | Valve butterfly; DN80, Process Conditions: Flow: 305m3/h, T =1200C, at 750 kPa, Output signal type: 4 -20mA, Manifold / Valve Material: 1.4571, Rack mounting type , Mounting Bracket Material | Each | 8 |  |
| 4 |  | Valve butterfly Repair kit, DN80, Process Conditions: Flow: 305m3/h, T =1200C, at 750 kPa, Output signal type: 4 -20mA, Manifold / Valve Material: 1.4571, Rack mounting type , Mounting Bracket Material | Each | 15 |  |
| 5 | 581716 | Minimum flow valve; Recirculation valve, 8"inlet, 8"outlet, 150#, horizontal | Each | 10 |  |
| 6 |  | Minimum flow valve Repair Kit; Recirculation valve, 8"inlet, 8"outlet, 150#, horizontal | Each | 10 |  |
| 7 | 0581717 | Minimum flow valve; Recirculation valve, 6"inlet, 6"outlet, 150#, horizontal | Each | 10 |  |
| 8 |  | Minimum flow valve Repair Kit; Recirculation valve, 6"inlet, 6"outlet, 150#, horizontal | Each | 10 |  |
| 9 |  | Valve Ball; DN300 | Each | 4 |  |
| 10 |  | Valve Ball Repair Kit; DN300 | Each | 10 |  |
| 11 | 653967 | Valve; Butterfly valve PN16 DN 350 | Each | 10 |  |
| 12 |  | Valve Repair Kit; Butterfly valve PN16 DN 350 | Each | 10 |  |
| 13 | 656215 | Valve; BALL VALVE; 15 kPa; DN25. Welded | Each | 10 |  |
| 14 |  | Valve Repair Kit; BALL VALVE; 15 kPa; DN25. Welded | Each | 15 |  |
| 15 | 0656218 | Valve; ALVE, BALL:DN50;15 KPA;FLANGE;PTFE | Each | 15 |  |
| 16 |  | Valve Repair Kit; ALVE, BALL:DN50;15 KPA;FLANGE;PTFE | Each | 20 |  |
| 17 |  | Valve; DN25, Flanged | Each | 16 |  |
| 18 |  | Valve Repair Kit; DN25, Flanged | Each | 20 |  |
| 19 | 0656219 | Valve, Ball; VALVE, BALL:DN100;15 KPA;FLANGE;PTFE | Each | 10 |  |
| 20 |  | Valve, Ball Repair Kit; VALVE, BALL:DN100;15 KPA;FLANGE;PTFE | Each | 14 |  |
| 21 |  | Valve butterfly; DN150 | Each | 5 |  |
| 22 |  | Valve butterfly Repair Kit; DN150 | Each | 15 |  |
| 23 |  | Valve Check; DN150 | Each | 8 |  |
| 24 |  | Valve Check Repair Kit; DN150 | Each | 15 |  |
| 25 | 653977 | Valve; Butterfly valve ; PN16; DN 100 | Each | 4 |  |
| 26 |  | Valve Repair Kit; Butterfly valve ; PN16; DN 100 | Each | 15 |  |
| 27 | 0653973 | Valve; Butterfly valve; PN16; DN80 | Each | 4 |  |
| 28 |  | Valve Repair Kit; Butterfly valve; PN16; DN80 | Each | 12 |  |
| 29 | 653967 | Valve; Butterfly valve PN16 DN 350 | Each | 6 |  |
| 30 |  | Valve Repair Kit; Butterfly valve PN16 DN 350 | Each | 12 |  |
| 31 | 653964 | Valve; Butterfly valve; PN16; DN500 | Each | 4 |  |
| 32 |  | Valve Repair Kit; Butterfly valve; PN16; DN500 | Each | 10 |  |
| 33 | 634022 | Valve; Butterfly valve; PN16; DN350 120 degC | Each | 4 |  |
| 34 |  | Valve Repair Kit; Butterfly valve; PN16; DN350 120 degC | Each | 10 |  |
| 35 |  | Valve Globe; DN15 Globe valve | Each | 10 |  |
| 36 |  | Valve Globe Repair Kit; DN15 Globe valve | Each | 18 |  |
| 37 | 0656209 | Valve; BALL VALVE; 15 kPa; DN25. Flanged | Each | 8 |  |
| 38 |  | Valve Repair Kit; BALL VALVE; 15 kPa; DN25. Flanged | Each | 18 |  |
| 39 | 0659220 | Valve; Globe VALVE; PN20; DN15 | Each | 15 |  |
| 40 |  | Valve Repair Kit; Globe VALVE; PN20; DN15 | Each | 20 |  |
| 41 | 0656215 | Valve; Ball Valve; PN20; DN25 , Welded | Each | 8 |  |
| 42 |  | Valve Repair Kit; Ball Valve; PN20; DN25 , Welded | Each | 16 |  |
| 43 | 0653957 | Butterfly Valve; Butterfly valve PN16 DN 250 | Each | 6 |  |
| 44 |  | Butterfly Valve Repair Kit; Butterfly valve PN16 DN 250 | Each | 15 |  |
| 45 |  | Globe valve; Globe valve, welded, DN 15 class 800 | Each | 6 |  |
| 46 |  | Globe valve, Repair kit; Globe valve, welded, DN 15 class 800 | Each | 15 |  |
| 47 |  | Globe Valve, Flanged; Globe valve (control cone) DN50 | Each | 4 |  |
| 48 |  | Globe Valve, Flanged Repair Kit; Globe valve (control cone) DN50 | Each | 10 |  |
| 49 |  | Ball Valve; DN25, flanged ball valve | Each | 5 |  |
| 50 |  | Ball Valve Repair Kit; DN25, flanged ball valve | Each | 10 |  |
| 51 |  | Globe valve; Globe valve (control cone), DN15 | Each | 5 |  |
| 52 |  | Globe valve Repair Kit; Globe valve (control cone), DN15 | Each | 12 |  |
|  |  | Transport | Each | 1 |  |

| The total of the Prices |  |
| --- | --- |

# Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Purchaser’s Goods Information |  |
| C3.2 | Supplier’s Goods Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

# C3.1: Purchaser’s Goods Information

Contents

Part 3: Scope of Work	1

C3.1: Purchaser’s Goods Information	2

1	Overview and purpose of the goods and services	4

2	Specification and description of the goods	4

2.1	Purchaser’s design	4

2.2	Procedure for submission and acceptance of Supplier’s design	4

2.3	Other requirements of the Supplier’s design	4

2.4	Use of Supplier’s design	5

2.5	Manufacture & fabrication	5

2.6	Factory acceptance testing (FAT)	5

2.7	Other tests and inspections and commissioning in place of use	5

2.8	Operating manuals and maintenance schedules	5

3	Supply Requirements	5

4	Specification of the services to be provided	6

5	Constraints on how the Supplier Provides the Goods	6

5.1	Programming constraints	6

5.2	Work to be done by the Delivery Date	6

5.3	Marking the goods	6

5.4	Constraints at the delivery place and place of use	6

5.5	Cooperating with Others	6

5.6	Services & other things to be provided by the Purchaser or Supplier	7

5.7	Management meetings	7

5.8	Documentation control	7

5.9	Health and safety risk management	8

5.10	Environmental constraints and management	8

5.11	Quality	8

5.12	Invoicing and payment	8

5.13	Insurance provided by the Purchaser	8

5.14	Contract change management	9

5.15	Provision of bonds and guarantees	9

5.16	Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier	9

6	Procurement	9

6.1	Subcontracting	9

6.1.1	Preferred subcontractors	9

6.1.2	Limitations on subcontracting	9

6.1.3	Spares and consumables	9

6.1.4	Other requirements related to procurement	10

6.1.5	Cataloguing requirements	10

7	List of drawings	10

7.1	Drawings issued by the Purchaser	10

C3.2	Supplier’s Goods Information	11

# Overview and purpose of the goods and services

The procurement of clean drain system valve spares for Medupi Power Station is critical to ensuring the reliable operation and ongoing maintenance of the plant’s clean drain system. The availability of these essential spares enables swift replacement during valve failures, significantly reducing system downtime and supporting operational continuity. This proactive approach mitigates the risk of production losses, such as unit trips or load reductions, and contributes to the long-term sustainability and efficiency of the clean drain infrastructure.

# Specification and description of the goods

The goods to be supplied under this contract consist of spare valves for the Clean Drain System, including three-way valves and associated components, as outlined in the Bill of Materials. These spares are critical to the ongoing operation and maintenance of Medupi Power Station’s clean drain systems, particularly in high-priority areas such as the LCM system.

The valves and components required may include, but are not limited to:

- Clean drain isolation valves

- Three-way valves for fluid routing

- High-turnover and critical spares required for regular maintenance or urgent replacement

## Purchaser’s design

N/A

## Procedure for submission and acceptance of Supplier’s design

The Supplier shall follow the procedure below for the submission and acceptance of any designs, modifications, or technical documentation related to the supply of clean drain system valve spares, including three-way valves:

    - Submission of Design and Documentation

- The Supplier must submit all designs, modifications, and technical documents for approval prior to manufacture or delivery. This includes datasheets, general arrangement drawings, specifications, certificates, and packaging details.

- Any proposed upgrades or design modifications to spare parts must be submitted as part of the tender response or immediately upon identification, with a full explanation of their compatibility with the existing system.

- For components expected to be obsolete within three years, the Supplier must propose alternatives, along with technical justifications, maintenance impacts, and compliance with system requirements.

    - Review and Acceptance

- The Employer will review all submitted designs and supporting documentation to ensure compliance with the Works Information and operational requirements.

- Acceptance will be communicated in writing. No manufacturing or delivery may proceed without formal acceptance of the design by the Employer.

- If the Employer identifies deficiencies, the Supplier will be required to make necessary corrections, revisions, or re-submissions at no additional cost.

    - Testing and Verification

- Where testing of spare parts is required, the Supplier must notify the Employer in advance to allow the Employer’s representative to witness the tests.

- If test results indicate non-compliance, the Supplier shall, at their own expense, repair, correct, or replace the affected components.

    - Data Capturing Forms (DCFs)

- The Supplier must verify and complete the electronic DCFs for all spares to ensure compatibility with Medupi’s Material Management System.

- The completed DCFs must include technical specifications, standards, part numbers, and any other necessary data, and must be submitted electronically for Employer approval at least three months prior to delivery (or one week before delivery for short lead-time items).

- Any changes to the DCFs must be clearly highlighted using the ‘Track Changes’ function, and all final submissions must be accurate and complete.

    - Ongoing Communication

- Throughout the contract period, the Supplier shall maintain open communication with the Employer to address any queries, clarifications, or design-related issues.

- The Employer reserves the right to request additional information or withhold acceptance of designs or documentation until all requirements have been fully met.

## Other requirements of the Supplier’s design

When developing, verifying, or submitting designs and specifications for the clean drain system valves and associated spares, the Supplier must take into account the following key particulars to ensure full compatibility, traceability, and functionality within the Medupi Power Station environment:

    - Codification and Traceability

- All spares must be accurately codified using the KKS (Kraftwerk-Kennzeichensystem) equipment identification system in use at Medupi. Each spare must be traceable to its respective KKS number, including part descriptions, OEM references, drawing numbers, and position numbers where applicable.

- The Supplier must ensure that labels, packaging, and documentation reflect the correct KKS codes to allow for seamless integration into the plant’s material management system.

- Codification must match the information captured in the Data Capturing Forms (DCFs), and any discrepancies must be resolved by the Supplier before delivery.

    - Compatibility with Existing Systems

- The Supplier must confirm that all components and spares are fully compatible with the current system configuration at Medupi, considering any design changes or equipment upgrades.

- If equipment has been modified or upgraded, the Supplier must design or source spares that support or adapt to the new design basis.

- The Supplier is responsible for verifying details with the OEM or consulting the Employer’s engineer where uncertainty exists.

    - Obsolescence and Design Continuity

- Where a required component is obsolete or approaching obsolescence, the Supplier must propose viable and compatible alternatives, ensuring continued system functionality and long-term maintainability.

- Alternative designs must be submitted with complete technical specifications, compliance certificates, and impact assessments on operation and maintenance.

    - Environmental and Operational Conditions

- All spares and designs must account for the environmental conditions at Medupi Power Station, such as:

  - Exposure to moisture, thermal stress, dust, and chemical contaminants

  - Requirements for corrosion resistance and mechanical durability

  - Storage and handling conditions, including long-term shelf life and preservation needs

    - Packaging and Identification Requirements

- All parts must be individually packed with protective measures in place to prevent damage during handling, transport, and storage.

- Packaging must include labels that clearly display the order number, part description, KKS code, Supplier and Employer details, and delivery note numbers for identification and inspection purposes.

## Use of Supplier’s design

N/A

## Manufacture & fabrication

The Supplier is responsible for ensuring that all spare parts for the clean drain system, including the three-way valve and associated components, are manufactured and fabricated in accordance with the following prescribed standards and requirements:

    - Compliance with Original Design Specifications

- All goods must be manufactured to match the original equipment manufacturer (OEM) specifications or Medupi-approved equivalents.

- No deviations, alterations, or substitutions may be made unless formally approved by the Employer.

- In cases where the OEM is no longer available or components are obsolete, the Supplier must manufacture to equivalent or superior technical specifications, subject to approval.

    - Material Standards and Workmanship

- All components must be fabricated using materials that meet or exceed industry-recognised standards, such as ASTM, ISO, SANS, or other relevant specifications appropriate to power plant applications.

- Materials must demonstrate adequate resistance to corrosion, pressure, thermal stress, and mechanical fatigue, based on the system's operating conditions.

- Fabrication processes must ensure high-quality workmanship, including proper welding, machining, finishing, and sealing where applicable.

    - Quality Control and Assurance

- All goods must undergo comprehensive quality control (QC) checks at the manufacturing site. This includes:

  - Dimensional verification

  - Pressure testing (where applicable)

  - Material certification

  - Visual and non-destructive testing (NDT)

- The Supplier must maintain a quality assurance (QA) system compliant with ISO 9001 or an equivalent standard, and make QA documentation available upon request.

## Factory acceptance testing (FAT)

The purpose of the Factory Acceptance Testing is to verify that the spare valves and components supplied for the clean drain system, including the three-way valves, comply with the specified technical and functional requirements prior to delivery to Medupi Power Station. FAT ensures that the items meet the performance, quality, and reliability expectations of the Employer.

    - FAT Requirements

a) Notification

- The Supplier must notify the Employer in writing at least two (2) weeks in advance of any planned FAT activity.

- The Employer shall nominate a representative (e.g., System Engineer or designated delegate) to attend the FAT. If unavailable, the Employer reserves the right to send an alternative representative or waive attendance.

b) Test Scope
FAT shall include, but not be limited to, the following checks:

- Visual inspection for material defects, finish, and correct labeling

- Dimensional verification against approved drawings/specifications

- Pressure testing (hydrostatic or pneumatic as applicable) to verify valve sealing and structural integrity

- Functional testing of valve operation (open/close cycles, actuator operation where applicable)

- Verification of correct assembly and orientation

- Documentation review, including:

  - Material certificates

  - Conformance certificates

  - Weld maps (if applicable)

  - Calibration certificates (if applicable)

c) Acceptance Criteria

- All tested items must comply with the applicable OEM standards, international standards (e.g., ISO, ANSI, SANS), and project specifications outlined in the Works Information.

- No visible leaks, deformation, or performance deviation is permitted during or after pressure and functional testing.

- Documentation must be complete, correct, and match the delivered item.

d) Failure and Re-Testing

- If any item fails to meet FAT requirements, the Supplier shall correct the fault at their own cost and schedule a re-test.

- The Employer reserves the right to reject the component or request a replacement if non-compliance persists.

e) FAT Report

- The Supplier must provide a comprehensive FAT report for each tested item, signed by both the Supplier and Employer’s representative (if in attendance).

- FAT reports must be submitted to the Employer within five (5) working days of test completion and must include all measured values, visual inspection checklists, test certificates, and photographic evidence.

f) Waiver of FAT Attendance

- If the Employer chooses not to attend the FAT, the Supplier is still required to conduct the full FAT and submit all documentation for review.

- Acceptance of FAT documentation by the Employer does not absolve the Supplier from liability for non-compliant or defective parts identified post-delivery.

## Other tests and inspections and commissioning in place of use

To ensure the supplied clean drain system valves, including three-way valves, are properly installed, integrated, and fully operational under actual site conditions at Medupi Power Station. This includes verifying correct function, leak-tightness, and compliance with design and operating parameters.

2.7.1 Site Testing and Inspection Requirements

The following tests and inspections may be required upon delivery and installation of the goods:

a) Visual Inspection

- Conducted by the Employer or appointed personnel upon receipt and before installation.

- To verify packaging integrity, label accuracy, and absence of transport-related damage.

- Includes cross-checking item details against the delivery note and DCF data.

b) Post-Installation Pressure/Leak Testing

- Once installed, the clean drain system valves and three-way valves must undergo site-specific hydrostatic or pneumatic pressure testing as per Medupi’s operational standards or applicable codes (e.g., SANS/ANSI).

- The Employer will coordinate this test; however, the Supplier may be requested to witness the test and provide technical input if issues arise.

c) Functionality Testing

- Valves shall be tested to confirm:

  - Correct open/close functionality under system pressure

  - Actuator function (if applicable)

  - Response time and sealing performance

- Testing to be done under normal system operating conditions.

## Operating manuals and maintenance schedules

The Supplier must provide detailed operating manuals and maintenance schedules for the clean drain and three-way valve spares.

- Format: Manuals and schedules must be submitted in electronic format (PDF preferred), with printed copies if requested. All documents must be in English.

- Submission Timing: Drafts are due within 30 days of contract award, and final versions at least one week before spare part delivery. Late submission may delay acceptance or payment.

- Content Requirements:

  - Operating manuals must include installation procedures, operational steps, safety guidelines, and troubleshooting instructions.

  - Maintenance schedules must outline inspection intervals, service life of components, preventive tasks, and any special tools or parts required.

# Supply Requirements

The Supply Requirements for this contract are in an Annexure to the Contract Data provided by the Purchaser.

# Specification of the services to be provided

The Supplier shall provide the following services in support of the delivery and proper use of the clean drain system valves and three-way valve spares. All services listed shall correspond to line items in the Price Schedule.

4.1. Training

- Provide on-site or virtual training sessions for Medupi Power Station personnel.

- Training shall cover:

  - Identification of spares

  - Installation and operational procedures

  - Preventive maintenance best practices

  - Safety protocols and troubleshooting

- Training materials (manuals, presentations, videos) must be provided.

4.2. Supervision of Installation

- When required, the Supplier shall provide technical support or qualified personnel to supervise the installation of supplied spares.

- This includes:

  - Verification of correct fit and orientation

  - Checking for compatibility with existing system

  - Providing installation recommendations to maintenance teams

4.3. Commissioning and Post-Delivery Monitoring

- If commissioning support is requested, the Supplier shall:

  - Assist or witness the start-up of installed spares

  - Confirm operational readiness

  - Provide performance feedback and verify integration

# Constraints on how the Supplier Provides the Goods

## Programming constraints

The Supplier must take into account specific constraints regarding the order and timing of the work, including but not limited to:

- Compliance with Medupi Power Station’s operational schedules and maintenance windows to minimize disruption.

- Adherence to delivery timelines as specified in individual purchase orders or task instructions.

- Coordination with Eskom’s planning team to align spare parts delivery with outage periods or planned maintenance activities.

- Flexibility to accommodate changes in priority or urgent requirements due to unexpected operational breakdowns.

- Any restrictions related to site access, offloading, and installation times as dictated by the Employer.

- Consideration of lead times for manufacturing, testing, transport, and customs clearance (if applicable) to ensure timely availability.

- Scheduling work in a manner that allows for proper inspection, acceptance, and integration of the goods without delaying plant operations.

## Work to be done by the Delivery Date

- All required spares to be delivered to the Employer 4 weeks from the day the purchase order is placed by the Employer. The Employer may request, in writing, that a spare be expedited quicker if its delivery in 4 weeks may lead to a delay that may result in undesirable consequences (loss of production, loss of revenue and/or safety to personnel or environment) to the Employer.

- The information for spares to be provided will either be in electronic format and/or hard copy. Information provided to be documented in such a manner that the information for each spare will be easily identifiable.

- All spares provided by the Supplier will be subject to a quality control process before acceptance. Only once the spares have passed the Quality control checks and are booked into the system can payment be processed.

## Marking the goods

N/A

## Constraints at the delivery place and place of use

- The supplier must comply with Eskom regulations delivering goods to Medupi Power Station.

- Buckle up :No person may drive any vehicle on Eskom business and/or on Eskom premises: Unless the driver and all passengers are wearing seat belts.

- Be Sober : The person making a delivery to Medupi power station should not be under the influence of alcohol or drugs.

- The spares and components will be supplied to the “goods received” section of the Medupi main store where it will be received by the material  management  section.   The spares will be delivered with all the required documents and certificates.

- Medupi Stores Working Times:           	Monday — Thursdays: 	07h00 — 16h00

Fridays:                          	07H00 — 12h00

- Supplier to quote the Eskom official purchase order in all delivery notes and invoices.

- Goods must be well packaged and safely transported.

- Eskom to acknowledge receipt of goods by stamping and signing the delivery note of the supplier upon delivery, rejected items to be communicated after the official quality inspection is done on site by the end-user of the product .

- Rejected goods must be collected and the correct goods supplied within 14 days.

## Cooperating with Others

Although not a direct requirement of the conditions of contract, the Supplier may be required to cooperate with other parties involved in the operation and maintenance of Medupi Power Station. These may include:

- Eskom-appointed contractors responsible for system installation or integration,

- Original Equipment Manufacturers (OEMs) for compatibility verification,

- Eskom engineering personnel for technical validation and inspections.

Where necessary, the Supplier shall engage with these stakeholders to:

- Clarify design specifications,

- Resolve technical queries,

- Coordinate delivery or installation interfaces,

- Ensure smooth incorporation of spares into existing systems.

The Employer will facilitate introductions and, where applicable, coordinate meetings to support this cooperation.

## Services & other things to be provided by the Purchaser or Supplier

To support the Supplier in fulfilling the contract requirements, the Purchaser (Eskom Holdings SOC Ltd) shall provide the following services and resources:

A. Technical Support and Documentation

- Design and Technical Information

  - Existing system diagrams, drawings, P&IDs, and specifications related to the clean drain system valves and associated equipment.

  - Historical data and past maintenance records, where available, to support accurate spare part specification.

- Data Capture Forms (DCFs)

  - Pre-populated DCFs for each required spare to guide the Supplier in completing detailed spares data.

  - Assistance in clarifying DCF fields and requirements.

B. Access and Site Services

- Site Access and Induction

  - Access permits, safety induction, and orientation for Supplier personnel requiring entry to Medupi Power Station.

- Escort and Site Supervision

  - Escorting and monitoring of Supplier personnel during site visits, inspections, or offloading activities (as per Eskom security policy).

- Design Verification Access

  - On-site verification access to inspect existing installed valves to ensure specification alignment, when necessary.

C. Offloading and Handling Support

- Material Handling Equipment

  - Use of cranes, forklifts, or rigging equipment (if available) for the offloading of large or heavy equipment.

  - On-site logistical support for movement of goods to designated storage or installation points.

- Temporary Storage Area

  - Designated storage space for delivered spares if immediate installation or handover is not possible.

  - Protection from environmental exposure (e.g. undercover space or temporary shelter, where available).

D. Personnel and Coordination

- Dedicated Eskom Contacts

  - Appointment of a system engineer or technical coordinator to assist with queries and document reviews.

- Review and Acceptance Personnel

  - Availability of Eskom representatives to witness FATs, review test certificates, and inspect delivered goods.

- Clarification and Coordination Meetings

  - Arrangement of pre-delivery and progress meetings (virtually or on-site) to ensure alignment on technical and procedural aspects.

## Management meetings

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Risk register and compensation events | Weekly on ________ at ___ |  |  |
| Overall contract progress and feedback | Monthly on _____ at ___ |  | Purchaser, Supplier, and ___ |

Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## Documentation control

All documentation exchanged during the execution of the contract must follow a standardised and controlled approach to ensure traceability, accuracy, and compliance.

- Format and Submission

- All communications must be submitted in a formal format (e.g., official letter, form, or report) as attachments to emails—not as messages in the body of the email.

- Technical documents must be in PDF and native format (e.g., Excel, Word, AutoCAD) where applicable.

- Review and Approval

The Employer will review submitted documents within a standard timeframe (typically 10 working days). Feedback categories include:

- Accepted

- Accepted with comments

- Rejected (requires resubmission)

- Routing

Documents must be routed through designated communication channels as per the contract, usually via the Employer’s Representative. Where applicable, submissions through Eskom’s Document Management System may be required.

- Retention and Archiving

The Supplier shall keep records of all submissions for at least five years post-contract. The Employer may request access for verification or auditing purposes.

## Health and safety risk management

5.9.1 The Supplier shall comply with the following requirements governing health and safety in Eskom and South Africa:

a)	Basic Conditions of Employment Act No 75 of 1997.

b)	Occupational Health and Safety Act and Regulations No 85 of 1993.

c)	National Road Traffic Act 93 of 1996.

d)	32-37 Eskom Substance Abuse Procedure.

e)	240-62196227 Life- Saving Rules.

f)	32-727 SHEQ Policy

g)	240-62946386 Vehicle and Driver Safety Management Procedure

h)	32-520 Risk Assessment procedure

i)	COIDA Act

5.9.2 Vehicle Safety Management

The Service Provider must comply to the following requirements when planning the route to Medupi Power Station for delivery:

a)	It is the responsibility of the driver to ensure:

- Their passengers wear seat belts whilst the vehicle is in motion.

- Comply with all traffic road rules, safety, direction, and speed signs.

- Ensure that vehicle loads are properly secured prior to moving off.

- Ensure that vehicles are not overloaded.

b)	Service Providers are required to conduct the route risk assessment prior to travelling/driving.

c)	No drivers or operators may text, talk on cell phones or two-way radios whilst driving.

d)	All drivers shall have a valid medical fitness certificate.

e)	The First aid box with valid contents and fire extinguishers must be included in the vehicle, be services annually and inspected monthly. Drivers must be trained on how to use the First aid box and fire extinguishers.

f)	Two triangles must be included in the vehicle and the emergency number be displayed at the back of the vehicle.

g)	Each Project site that is enclosed by demarcation will have system/ process to manage vehicle access to site.

h)	Contractor must maintain their vehicles in a roadworthy condition and a vehicle license must be valid at all times and this is applicable to yellow plant.

i)	Drivers of light vehicles must avoid stopping or parking in the vicinity of machines.  At least 30 (thirty) meters must be left clear between such a vehicle and such a machine.

j)	Contractor vehicles can be subject to inspections by the Client/Agent’s representative.  Vehicles which are not roadworthy will not be permitted to be used on site.

k)	Drivers/operators shall be responsible for the travel-worthiness of all loads conveyed by them.  Precautions shall be taken to secure all loads properly.  Loads projecting from vehicles shall be securely loaded and in daytime a red flag and during darkness a red light or red reflective material shall be attached to the extreme end of such projecting materials.

## Environmental constraints and management

The Supplier shall comply with all applicable environmental laws, permits, regulations and rules, guidelines and Environmental procedures for Eskom.

Supply to ensure that waste receptacles are provided where required. Waste disposal shall be a responsibility of the client.

## Quality

The Supplier shall implement and maintain a comprehensive Quality Management System to ensure that all goods and services delivered meet the required technical specifications and performance standards.

1. Quality Plan and Work Procedures

- The Supplier must submit a Quality Plan for review and approval prior to the commencement of any supply activities.

- The plan must outline:

  - Inspection and test plans

  - Quality control procedures

  - Traceability processes

  - Non-conformance handling

  - Document control related to quality

2. ISO Compliance

- Compliance with ISO 9001:2015 (Quality Management Systems) is mandatory.

- Proof of certification or a structured QMS equivalent to ISO 9001:2015 must be submitted.

- If applicable, specific components must also comply with ISO 14001 (Environmental Management) and ISO 45001 (Occupational Health & Safety), especially for items involving hazardous materials or processes.

3. Audits and Inspections

- The Employer reserves the right to conduct quality audits at the Supplier’s premises.

- The Supplier must provide full access to facilities, records, and personnel to verify compliance with the approved Quality Plan.

4. Third-Party Inspections

- If required, third-party inspections may be conducted at the cost of the Supplier unless otherwise agreed.

## Invoicing and payment

Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.

The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

Name and address of the Supplier and the Supply Manager;

The contract number and title;

Supplier’s VAT registration number;

The Purchaser’s VAT registration number.

Description of goods and services provided for each item invoiced based on the Price Schedule;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

(add other as required)

## Insurance provided by the Purchaser

| Name and Surname | Contact Details | e-mail address |
| --- | --- | --- |
| Mr Wiseman Khoza | +27 11 800 6268 | Wiseman.khoza@eskom.co.za |
| MR Krishan Chaithoo | +27 11 800 4455 | ChaithK@eskom.co.za |
| Ms Thembi Mabanga | +27 11 800 6509 | thembi.mabanga@eskom.co.za |
| Ms Mamosidi Katane- Mathibela | +27 11 800 6380 | KataneE@eskom.co.za |
| Mr Velaphi Mabaso | +27 11 800 3836 | Velaphi.mabaso@eskom.co.za |
| Ms Beverley Jemaine-Cain | +27 11 800 3331 | Beverley.jemaine-cain@eskom.co.za |

## Contract change management

In case of compensation event either party will notify the other. Then the NEC 3 SC compensation event process will be followed. No work to be done until Purchaser provide permission. Including Z Clause 8.1

## Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Supplier is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.

The Purchaser may withhold payment of amounts due to the Supplier until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Supplier by the Supply Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Supplier does not affect the Purchaser’s right to termination stated in this contract.

## Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier

The Contractor is required to keep record and submit proof of all the actuals, to be verified at the completion of the Payment Certificate and assessment, should the Service Manager request to do so.

# Procurement

## Subcontracting

### Preferred subcontractors

N/A

### Limitations on subcontracting

N/A

### Spares and consumables

To ensure the reliable operation, maintenance, and commissioning of the clean drain system valves, the Supplier shall provide a minimum set of initial spares, and repair kits as part of their scope under this contract.

These provisions are essential to support early operational readiness, reduce downtime, and ensure that critical maintenance can be performed without delay.

Scope of Supply:

- Spares: Common wear-and-tear components such as seals, gaskets, O-rings and fasteners components required for routine and preventative maintenance.

- Repair Kits: Comprehensive repair kits for LCM and other relevant valves, including tools, OEM-specified replacement parts, and service instructions to allow on-site corrective maintenance when necessary.

Requirements:

- All repair kits must include a list of contents, be pre-packed per valve type, and clearly labelled for traceability.

- Packaging and preservation of all items must protect them from environmental damage during transport and storage.

- Delivery of these items must coincide with or precede the delivery of the main goods to support seamless installation and early operational support.

### Other requirements related to procurement

N/A

### Cataloguing requirements by the Supplier

The Supplier’s primary role is to procure the required spares as specified by Eskom, either directly or through subcontractors. While Eskom personnel are responsible for cataloguing and providing the initial spare parts information, the Supplier must:

- Ensure that the spares procured fully correspond to the specifications and requirements outlined by Eskom.

- Verify the accuracy and correctness of the spares against the information provided by Eskom before procurement.

- Communicate promptly with Eskom to clarify or resolve any discrepancies in the spare parts information.

- Provide feedback if any supplied spares deviate from the required specifications or if alternatives need to be proposed.

- Support Eskom’s cataloguing process by submitting all relevant documentation and data required for accurate record-keeping and future maintenance

# List of drawings

## Drawings issued by the Purchaser

This is the list of drawings issued by the Purchaser at or before the Contract Date and which apply to this contract.

| Drawing number | Revision | Title |
| --- | --- | --- |
| MDI/16/N/----B05/MM/013 | Rev 1 | ACC and Condensate Handling & Ejector – Globe Valves |
| MDI/16/N/----B05/MM/015 | Rev G | ACC and Condensate Handling and Service Air – Ball Valves |
| MDI/16/N/----B05/MM/016 | Rev 0 | ACC and Condensate Handling – Check Valves |
| MDI/16/N/----B05/MM/014 | Rev F | ACC and Condensate Handling – Butterly Valves |
| MDI/16/N/SDR----B05/LV/004 | Rev C | Valve List Cleaning and Compressed Air System (ACC) |
| MDI/16/N/SDR----B05/LV/003 | Rev D | Valve List Air Extraction System (ACC) |
| MDI/16/N/SDR----B05/LV/001 | Rev F | Valve List Condensation System (ACC) |
| MDI/16/N/SDR----B05/LV/002 | Rev G | Valve List Condensate (TCT Drain) System |

# C3.2	Supplier’s Goods Information

This section of the Goods Information will always be contract specific depending on the nature of the goods and services. It is most likely to be required for supply contracts where the tendering supplier will have proposed specifications and schedules for the goods and services, which once accepted by the Purchaser prior to award of contract now become obligations of the Supplier per core clause 20.1.

This section could also be compiled as a separate file.

This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.

International Chamber of Commerce, Incoterms 2010, Paris, January 2011

Either April 2013 or December 2009 Edition as stated by Purchaser in Contract Data part 1.

Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902, or www.ecs.co.za