SCOPE

PORTION 1: THE WORKS

# PS 1	GENERAL DESCRIPTION OF WORKS

Water Supply Distribution Networks

Construction of 20.6 km Water supply distribution network pipelines with valves and all ancillary works as follows:

- Metered Yard connections with PN20 of 25mm diameter.

- 75mm diameter uPVC class 9 at (320m)

- 110mm diameter uPVC class 9 at (8km)

- 160mm diameter uPVC class 9 at (11.2 km)

- 200mm diameter uPVC class 9 at (350m)

- 250mm diameter uPVC class 9 at (530m)

Bulk water Supply Distribution Networks

Construction of 1.2 km bulk main line with valves and all ancillary works as follows:

- Bulk water pipeline of 160mm diameter uPVC class 12 at (1.2 km) booster pump to storage.

Storage Reservoirs

- Construction of 3Ml capacity reservoir

- 500kl elevated tank

- Booster Pump Station