Delivery, installation and commissioning of 3 x 150 Litres geysers

Specifications:

Capacity: 150 litres

Height (cm) 133.5

Depth (cm) 53.8

Gross weight (kg) 39

KWIKOT Class B Energy Rating